## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-11 00:00:00 | 3.928 | 290.333 | 5.083 | 290.34 | 5.546 | 295.467 | 6.064 | 294.433 | 15.644 | 889.883 | 32.336 | 16.8639
2020-09-11 00:15:00 | 4.142 | 272.213 | 5.214 | 275.149 | 5.415 | 281.067 | 5.723 | 280.667 | 15.324 | 889.717 | 32.635 | 14.5915
2020-09-11 00:30:00 | 4.731 | 273.533 | 5.96 | 271.679 | 6.245 | 278.267 | 6.589 | 275.833 | 15.281 | 889.75 | 32.584 | 14.551
2020-09-11 00:45:00 | 5.643 | 295.907 | 6.434 | 291.025 | 6.95 | 294.933 | 7.634 | 292.667 | 15.866 | 889.7 | 31.685 | 19.137
2020-09-11 01:00:00 | 6.15 | 296.68 | 7.288 | 292.318 | 7.714 | 296.733 | 8.208 | 294.3 | 15.564 | 889.783 | 31.312 | 28.3459
2020-09-11 01:15:00 | 6.432 | 299.467 | 7.269 | 295.444 | 7.623 | 298.967 | 8.216 | 297.1 | 15.438 | 889.517 | 31.92 | 38.5596
2020-09-11 01:30:00 | 7.169 | 316.507 | 8.119 | 310.049 | 8.436 | 314.5 | 8.777 | 312.8 | 15.146 | 889.833 | 33.027 | 43.1158
2020-09-11 01:45:00 | 5.139 | 293.6 | 5.92 | 292.038 | 6.491 | 297.133 | 7.135 | 293.767 | 15.008 | 889.4 | 33.784 | 19.552
2020-09-11 02:00:00 | 5.763 | 285.347 | 6.53 | 284.012 | 7.086 | 287.467 | 7.745 | 287.267 | 14.645 | 889.883 | 33.965 | 23.6938
2020-09-11 02:15:00 | 5.272 | 287.453 | 5.773 | 283.014 | 5.975 | 285.9 | 6.225 | 283.733 | 14.395 | 889.717 | 34.213 | 29.2505
2020-09-11 02:30:00 | 5.295 | 308.92 | 5.747 | 304.483 | 5.957 | 308.167 | 6.422 | 306.533 | 14.445 | 889.933 | 34.883 | 31.6614
2020-09-11 02:45:00 | 6.555 | 302.52 | 7.174 | 294.666 | 7.57 | 301.567 | 8.065 | 300.733 | 14.274 | 889.717 | 36.155 | 33.0627
2020-09-11 03:00:00 | 5.902 | 295.853 | 6.903 | 289.215 | 7.24 | 293.6 | 7.771 | 291.4 | 13.562 | 889.3 | 36.808 | 35.0842
2020-09-11 03:15:00 | 5.281 | 272.287 | 6.012 | 266.685 | 6.366 | 272.533 | 6.711 | 269.7 | 13.728 | 889.783 | 35.867 | 23.6178
2020-09-11 03:30:00 | 4.752 | 295.187 | 5.193 | 287.999 | 5.289 | 292.167 | 5.592 | 289.467 | 13.887 | 889.667 | 35.547 | 19.208
2020-09-11 03:45:00 | 7.364 | 307.173 | 7.964 | 301.401 | 8.378 | 305.867 | 8.828 | 302.667 | 13.391 | 889.95 | 35.968 | 31.9542
2020-09-11 04:00:00 | 7.015 | 303.373 | 8.103 | 296.688 | 8.772 | 302.733 | 9.339 | 300.767 | 13.23 | 889.7 | 38.333 | 42.5516
2020-09-11 04:15:00 | 6.482 | 295.48 | 7.716 | 289.269 | 8.489 | 294.867 | 9.248 | 293.767 | 12.818 | 889.825 | 43.072 | 38.3315
2020-09-11 04:30:00 | 6.931 | 298.48 | 8.262 | 292.075 | 9.018 | 295.367 | 9.564 | 293.1 | 11.424 | 889.975 | 58.357 | 61.609
2020-09-11 04:45:00 | 3.898 | 257.74 | 3.931 | 257.682 | 4.531 | 266.15 | 4.927 | 263.267 | 11.445 | 889.633 | 59.568 | 30.0378
2020-09-11 05:00:00 | 6.574 | 225.407 | 6.708 | 231.202 | 7.197 | 240.533 | 7.459 | 239.683 | 11.753 | 889.942 | 56.453 | 11.3477
2020-09-11 05:15:00 | 5.572 | 222.827 | 6.382 | 225.32 | 6.954 | 234 | 6.89 | 231.833 | 12.086 | 889.792 | 54.283 | 19.7353
2020-09-11 05:30:00 | 2.803 | 237.133 | 3.694 | 230.528 | 4.597 | 236.6 | 5.045 | 234.3 | 11.807 | 890.05 | 57.419 | 23.3634
2020-09-11 05:45:00 | 5.388 | 289.747 | 6.395 | 284.765 | 6.785 | 288.567 | 7.213 | 286.167 | 12.324 | 890.167 | 53.104 | 29.9774
2020-09-11 06:00:00 | 5.232 | 269.04 | 5.936 | 271.287 | 6.161 | 276.4 | 6.56 | 273.617 | 11.857 | 889.917 | 50.693 | 24.0889
2020-09-11 06:15:00 | 5.912 | 249.533 | 6.778 | 249.464 | 7.182 | 254.317 | 7.12 | 251.583 | 12.338 | 890.342 | 44.565 | 15.4335
2020-09-11 06:30:00 | 6.694 | 263.993 | 7.849 | 259.915 | 8.419 | 262.233 | 8.445 | 261.25 | 11.603 | 889.958 | 48.187 | 25.7964
2020-09-11 06:45:00 | 6.036 | 259.28 | 6.399 | 257.52 | 6.591 | 262.517 | 6.691 | 258.567 | 11.599 | 889.758 | 55.675 | 34.4007
2020-09-11 07:00:00 | 7.601 | 257.073 | 8.827 | 255.287 | 9.013 | 259.783 | 8.726 | 254.383 | 10.926 | 890.067 | 65.163 | 36.8145
2020-09-11 07:15:00 | 6.994 | 237.24 | 7.886 | 233.2 | 8.165 | 237.1 | 8.157 | 230.9 | 10.401 | 890.158 | 68.587 | 42.1501
2020-09-11 07:30:00 | 8.165 | 204.067 | 9.05 | 200.887 | 9.546 | 204.467 | 9.802 | 200.633 | 10.053 | 889.708 | 69.173 | 40.4909
2020-09-11 07:45:00 | 8.32 | 206.547 | 9.643 | 203.708 | 10.81 | 207.167 | 11.43 | 203.4 | 9.37 | 889.825 | 71.701 | 65.1526
2020-09-11 08:00:00 | 9.088 | 212.88 | 10.704 | 211.945 | 11.496 | 214.333 | 11.771 | 213.367 | 9.404 | 890.125 | 69.899 | 77.6585
2020-09-11 08:15:00 | 9.627 | 210.127 | 10.156 | 207.638 | 10.751 | 212.4 | 11.242 | 209.1 | 9.672 | 889.9 | 67.595 | 59.3643
2020-09-11 08:30:00 | 7.994 | 242.16 | 9.102 | 239.998 | 9.694 | 244.617 | 9.712 | 242.117 | 9.104 | 889.967 | 70.197 | 58.6814
2020-09-11 08:45:00 | 6.509 | 254.847 | 7.35 | 254.483 | 7.593 | 260.167 | 7.608 | 256.35 | 9.141 | 890.108 | 69.099 | 43.2458
2020-09-11 09:00:00 | 5.829 | 236.447 | 6.226 | 234.402 | 6.56 | 240.4 | 6.424 | 236.267 | 8.978 | 889.392 | 74.123 | 36.8585
2020-09-11 09:15:00 | 5.808 | 223.347 | 6.706 | 221.338 | 7.372 | 225.233 | 7.559 | 221 | 8.874 | 889.9 | 72.267 | 28.5293
2020-09-11 09:30:00 | 6.194 | 212.34 | 7.075 | 213.174 | 7.688 | 216.9 | 7.992 | 216.267 | 8.991 | 890.083 | 75.808 | 37.3694
2020-09-11 09:45:00 | 8.266 | 235.513 | 9.078 | 237.188 | 9.576 | 242.867 | 9.821 | 238.533 | 9.128 | 890.142 | 73.045 | 51.568
2020-09-11 10:00:00 | 6.966 | 248.427 | 7.68 | 245.489 | 8.031 | 250.25 | 8.155 | 245.033 | 9.658 | 890.075 | 67.04 | 58.086
2020-09-11 10:15:00 | 6.765 | 244.807 | 7.43 | 244.74 | 7.739 | 250.667 | 7.798 | 245.15 | 9.383 | 890.108 | 65.195 | 50.0544
2020-09-11 10:30:00 | 6.757 | 229.947 | 7.171 | 228.505 | 7.746 | 232.567 | 8.264 | 227.333 | 9.287 | 889.95 | 66.101 | 39.0329
2020-09-11 10:45:00 | 7.307 | 239.833 | 7.965 | 237.773 | 8.514 | 241.833 | 8.407 | 236.583 | 9.943 | 890.108 | 63.093 | 46.6025
2020-09-11 11:00:00 | 10.75 | 257.407 | 11.138 | 252.137 | 11.752 | 256.933 | 11.859 | 250.9 | 10.824 | 889.858 | 55.92 | 59.0687
2020-09-11 11:15:00 | 9.004 | 266.64 | 9.914 | 261.475 | 10.547 | 266.967 | 10.748 | 262.517 | 10.549 | 890.333 | 55.6 | 78.0039
2020-09-11 11:30:00 | 11.006 | 284.96 | 12.11 | 279.295 | 12.272 | 283.967 | 12.574 | 279.867 | 11.461 | 889.625 | 52.976 | 81.4658
2020-09-11 11:45:00 | 12.728 | 280.933 | 13.643 | 274.937 | 13.982 | 279.9 | 13.837 | 278.7 | 11.482 | 889.892 | 51.968 | 81.6683
2020-09-11 12:00:00 | 11.134 | 287.707 | 12.234 | 282.884 | 12.66 | 287.367 | 13.227 | 284.833 | 11.657 | 889.758 | 49.995 | 72.2639
2020-09-11 12:15:00 | 9.638 | 285.853 | 10.674 | 281.288 | 11.19 | 285.867 | 11.408 | 282.633 | 11.474 | 889.667 | 49.787 | 66.5623
2020-09-11 12:30:00 | 10.108 | 284.933 | 11.033 | 278.346 | 11.098 | 280.717 | 11.394 | 278.133 | 11.974 | 889.892 | 48.165 | 56.2499
2020-09-11 12:45:00 | 9.581 | 284.4 | 10.34 | 278.918 | 10.368 | 280.933 | 10.305 | 276.567 | 12.078 | 889.642 | 46.811 | 54.6582
2020-09-11 13:00:00 | 7.1 | 274.58 | 7.686 | 271.126 | 8.079 | 275.033 | 8.456 | 271.05 | 12.195 | 889.792 | 47.205 | 49.4654
2020-09-11 13:15:00 | 6.615 | 281.773 | 7.419 | 273.848 | 7.538 | 279.683 | 7.848 | 274.333 | 12.92 | 890.258 | 44.459 | 47.9121
2020-09-11 13:30:00 | 9.444 | 276.267 | 10.079 | 268.982 | 10.634 | 272.833 | 10.788 | 267.167 | 12.834 | 890.083 | 43.845 | 55.901
2020-09-11 13:45:00 | 9.114 | 272.593 | 9.889 | 266.709 | 10.196 | 272.167 | 10.151 | 265.967 | 12.436 | 889.917 | 42.971 | 54.2461
2020-09-11 14:00:00 | 9.577 | 287.227 | 10.167 | 279.702 | 10.339 | 284.333 | 10.354 | 279.933 | 13.474 | 889.867 | 38.696 | 55.7496
2020-09-11 14:15:00 | 9.25 | 301.093 | 9.357 | 293.203 | 9.511 | 299.067 | 9.991 | 297.367 | 12.982 | 889.675 | 39.747 | 55.2522
2020-09-11 14:30:00 | 10.466 | 298.96 | 11.021 | 293.092 | 11.54 | 298.7 | 11.87 | 297.067 | 13.397 | 889.85 | 37.08 | 54.2525
2020-09-11 14:45:00 | 9.394 | 285.547 | 10.098 | 280.054 | 10.445 | 284.833 | 10.682 | 280.133 | 13.745 | 889.283 | 35.176 | 54.5097
2020-09-11 15:00:00 | 11.31 | 297.32 | 11.759 | 291.454 | 12.285 | 294.367 | 12.548 | 289.9 | 13.578 | 889.7 | 37.048 | 55.9863
2020-09-11 15:15:00 | 10.905 | 291.213 | 11.798 | 286.467 | 11.814 | 288.833 | 12.054 | 288.367 | 13.745 | 889.983 | 34.136 | 57.1679
2020-09-11 15:30:00 | 8.856 | 287.187 | 9.507 | 280.892 | 9.786 | 283.767 | 10.108 | 279.167 | 14.395 | 889.65 | 33.445 | 55.3361
2020-09-11 15:45:00 | 8.244 | 289.453 | 9.073 | 280.996 | 9.257 | 288.967 | 9.408 | 287.633 | 14.241 | 889.7 | 33.416 | 54.6859
2020-09-11 16:00:00 | 8.303 | 296.293 | 8.645 | 290.894 | 8.92 | 294.233 | 9.222 | 289.6 | 14.604 | 889.933 | 31.992 | 52.0803
2020-09-11 16:15:00 | 9.659 | 308.347 | 10.359 | 303.766 | 10.722 | 306.167 | 11.095 | 302.8 | 14.308 | 889.7 | 30.027 | 59.1461
2020-09-11 16:30:00 | 8.611 | 311.76 | 9.013 | 304.834 | 9.338 | 308.767 | 9.618 | 306.6 | 14.737 | 889.617 | 29.043 | 55.3219
2020-09-11 16:45:00 | 7.574 | 295.373 | 7.798 | 288.382 | 7.766 | 290.467 | 8.083 | 287.5 | 14.387 | 889.55 | 28.984 | 51.644
2020-09-11 17:00:00 | 8.385 | 293 | 9.011 | 286.088 | 9.293 | 290.567 | 9.409 | 288.367 | 14.758 | 889.55 | 29.253 | 41.9689
2020-09-11 17:15:00 | 6.245 | 305.4 | 6.397 | 298.166 | 6.932 | 301.8 | 7.422 | 299.533 | 14.708 | 889.85 | 29.285 | 40.5314
2020-09-11 17:30:00 | 8.732 | 289.453 | 9.361 | 286.415 | 9.623 | 288.267 | 9.928 | 284.367 | 14.768 | 889.633 | 28.677 | 36.9964
2020-09-11 17:45:00 | 7.664 | 298.933 | 7.942 | 291.257 | 8.062 | 294.633 | 8.328 | 291.7 | 14.941 | 889.783 | 28.336 | 40.4831
2020-09-11 18:00:00 | 4.877 | 274.813 | 5.166 | 270.295 | 5.291 | 273.117 | 5.377 | 268.733 | 15.158 | 890.033 | 27.725 | 26.6271
2020-09-11 18:15:00 | 6.057 | 264.227 | 6.351 | 260.794 | 6.474 | 262.95 | 6.561 | 259.85 | 15.488 | 889.7 | 25.453 | 25.8142
2020-09-11 18:30:00 | 6.922 | 294.093 | 7.733 | 290.196 | 7.958 | 294.1 | 8.255 | 291.033 | 15.83 | 889.817 | 22.747 | 29.2483
2020-09-11 18:45:00 | 6.37 | 278.4 | 7.116 | 271.789 | 7.208 | 276.733 | 7.329 | 274.3 | 15.761 | 889.983 | 23.291 | 25.4752
2020-09-11 19:00:00 | 3.991 | 297.133 | 4.41 | 290.76 | 4.561 | 297.467 | 4.942 | 295.7 | 15.108 | 889.917 | 23.043 | 20.3741
2020-09-11 19:15:00 | 6.649 | 288.64 | 7.092 | 282.694 | 7.154 | 285.867 | 7.318 | 284.7 | 15.476 | 889.833 | 21.763 | 32.6456
2020-09-11 19:30:00 | 6.535 | 285.133 | 7.169 | 278.572 | 7.358 | 282.433 | 7.533 | 278.2 | 15.141 | 889.433 | 23.691 | 29.4253
2020-09-11 19:45:00 | 5.726 | 274.093 | 6.549 | 266.625 | 6.784 | 269.833 | 7.149 | 265.25 | 14.737 | 889.617 | 26.051 | 29.9696
2020-09-11 20:00:00 | 5.992 | 264.2 | 6.712 | 258.571 | 6.778 | 263.267 | 6.812 | 257.533 | 14.199 | 889.65 | 28.069 | 22.9136
2020-09-11 20:15:00 | 4.907 | 261.06 | 5.731 | 257.473 | 5.982 | 261.783 | 6.115 | 257.117 | 13.472 | 889.967 | 30.037 | 24.241
2020-09-11 20:30:00 | 5.82 | 261.693 | 6.832 | 257.854 | 7.076 | 262.767 | 7.197 | 257.333 | 13.051 | 889.567 | 30.435 | 23.5262
2020-09-11 20:45:00 | 4.696 | 258.32 | 5.725 | 257.549 | 5.928 | 263.533 | 6.279 | 259.65 | 12.77 | 889.417 | 31.747 | 21.6659
2020-09-11 21:00:00 | 4.711 | 250.96 | 5.69 | 253.786 | 5.832 | 260.533 | 6.059 | 256.45 | 12.543 | 889.683 | 33.259 | 20.1986
2020-09-11 21:15:00 | 4.388 | 248.453 | 5.54 | 252.415 | 5.688 | 258.633 | 5.794 | 254.783 | 12.216 | 889.983 | 34.837 | 18.3092
2020-09-11 21:30:00 | 5.038 | 240.913 | 5.656 | 247.394 | 5.853 | 254.667 | 6.147 | 250.7 | 11.566 | 889.583 | 37.909 | 17.9638
2020-09-11 21:45:00 | 4.917 | 238 | 5.911 | 244.599 | 6.045 | 251.2 | 6.055 | 246.9 | 10.995 | 889.575 | 40.805 | 18.0868
2020-09-11 22:00:00 | 5.241 | 244.7 | 6.653 | 245.948 | 6.45 | 251.133 | 6.202 | 246.467 | 11.078 | 889.575 | 41.579 | 19.4717
2020-09-11 22:15:00 | 5.007 | 242.947 | 6.019 | 248.771 | 6.098 | 256.533 | 6.278 | 252.6 | 10.614 | 889.8 | 42.891 | 17.7336
2020-09-11 22:30:00 | 5.366 | 245.673 | 6.184 | 251.178 | 6.476 | 256.6 | 6.582 | 254.333 | 10.241 | 890.208 | 44.075 | 17.9425
2020-09-11 22:45:00 | 4.511 | 236.28 | 5.513 | 243.039 | 5.519 | 250.033 | 5.582 | 247.7 | 10.439 | 889.725 | 44.341 | 15.425
2020-09-11 23:00:00 | 4.451 | 217.367 | 5.285 | 230.464 | 5.355 | 240.167 | 5.319 | 239.2 | 9.645 | 889.708 | 48.512 | 14.8224
2020-09-11 23:15:00 | 5.118 | 226.5 | 5.627 | 235.037 | 5.614 | 244.2 | 5.593 | 242.067 | 9.304 | 889.483 | 51.776 | 15.9778
2020-09-11 23:30:00 | 5.647 | 231.813 | 5.995 | 237.284 | 6.105 | 244.967 | 6.07 | 241.9 | 8.928 | 890.025 | 54.656 | 15.5373
2020-09-11 23:45:00 | 4.719 | 236.327 | 6.29 | 244.39 | 6.202 | 251.9 | 6.03 | 248.033 | 8.564 | 890.15 | 54.731 | 14.9972