## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-12 00:00:00 | 4.286 | 227.567 | 5.871 | 239.115 | 5.662 | 247.167 | 5.57 | 244.033 | 8.524 | 889.767 | 53.067 | 14.5957
2020-09-12 00:15:00 | 4.076 | 227.58 | 5.183 | 241.173 | 5.082 | 250.033 | 5.07 | 247.067 | 7.983 | 889.6 | 55.584 | 15.4363
2020-09-12 00:30:00 | 4.38 | 234.553 | 5.092 | 247.73 | 5.043 | 258.233 | 5.019 | 258.117 | 8.113 | 889.967 | 56.437 | 14.0593
2020-09-12 00:45:00 | 4.625 | 229.107 | 5.055 | 243.406 | 4.858 | 256.2 | 5.115 | 256.467 | 7.686 | 889.55 | 60.416 | 11.816
2020-09-12 01:00:00 | 4.578 | 237.733 | 5.213 | 247.797 | 4.877 | 259 | 4.896 | 260.767 | 7.522 | 889.608 | 58.656 | 10.6599
2020-09-12 01:15:00 | 3.811 | 226.5 | 4.963 | 245.837 | 4.534 | 257.667 | 4.504 | 258.533 | 7.256 | 889.875 | 57.696 | 8.8444
2020-09-12 01:30:00 | 4.818 | 216 | 4.435 | 233.075 | 4.064 | 254.133 | 3.988 | 257.7 | 7.172 | 889.892 | 59.136 | 7.6976
2020-09-12 01:45:00 | 5.118 | 227.42 | 4.488 | 233.659 | 4.134 | 253.2 | 4.022 | 258.1 | 7.779 | 889.842 | 55.339 | 7.186
2020-09-12 02:00:00 | 4.732 | 238.5 | 4.008 | 244.007 | 3.798 | 260.133 | 3.975 | 267.033 | 8.09 | 889.642 | 53.675 | 5.3811
2020-09-12 02:15:00 | 4.544 | 226.8 | 4.028 | 234.084 | 3.449 | 253.033 | 3.25 | 264.367 | 7.623 | 890.217 | 56.139 | 4.0211
2020-09-12 02:30:00 | 4.361 | 201.527 | 4.711 | 204.792 | 4.359 | 222.333 | 4.171 | 224.5 | 6.472 | 890.017 | 62.112 | 3.9365
2020-09-12 02:45:00 | 4.623 | 211.733 | 4.023 | 208.487 | 3.833 | 216.267 | 3.65 | 220.567 | 7.089 | 889.85 | 58.219 | 2.757
2020-09-12 03:00:00 | 5.112 | 221.36 | 4.429 | 218.316 | 4.051 | 227.2 | 3.82 | 225.933 | 7.893 | 889.575 | 56.672 | 2.6135
2020-09-12 03:15:00 | 5.358 | 220.713 | 3.941 | 227.554 | 3.541 | 235 | 3.516 | 233 | 6.781 | 889.717 | 60.405 | 3.0227
2020-09-12 03:30:00 | 5.824 | 218.827 | 4.908 | 220.157 | 4.465 | 226.667 | 4.379 | 228.567 | 6.439 | 889.325 | 63.147 | 4.861
2020-09-12 03:45:00 | 5.683 | 217.96 | 5.428 | 221.158 | 5.111 | 227.933 | 4.617 | 227.2 | 5.445 | 889.892 | 66.549 | 5.9062
2020-09-12 04:00:00 | 5.994 | 215.907 | 4.944 | 217.8 | 4.636 | 223.3 | 4.714 | 222.067 | 5.286 | 890.125 | 67.275 | 6.4491
2020-09-12 04:15:00 | 5.401 | 209.227 | 5.527 | 211.025 | 5.372 | 216.033 | 5.273 | 213.767 | 5.247 | 890.1 | 65.365 | 8.551
2020-09-12 04:30:00 | 4.957 | 209.187 | 6.042 | 204.987 | 5.84 | 211.333 | 5.805 | 210.733 | 5.359 | 890.217 | 63.051 | 11.1424
2020-09-12 04:45:00 | 5.015 | 213.753 | 5.542 | 209.953 | 5.468 | 214.367 | 5.595 | 213.533 | 5.277 | 889.708 | 63.808 | 10.3743
2020-09-12 05:00:00 | 4.605 | 218.927 | 5.357 | 212.113 | 5.47 | 216.033 | 5.549 | 213.767 | 5.494 | 889.908 | 66.283 | 9.56
2020-09-12 05:15:00 | 5.231 | 215.74 | 6.146 | 213.042 | 5.975 | 220.233 | 5.904 | 219.2 | 4.971 | 889.825 | 70.837 | 10.4475
2020-09-12 05:30:00 | 5.1 | 219.68 | 6.286 | 215.426 | 5.936 | 222.133 | 5.71 | 221.367 | 4.925 | 890.075 | 70.016 | 11.8167
2020-09-12 05:45:00 | 5.504 | 218.693 | 6.336 | 214.165 | 5.94 | 219.267 | 5.804 | 216.667 | 4.666 | 889.758 | 69.259 | 13.817
2020-09-12 06:00:00 | 5.787 | 216.1 | 6.483 | 213.572 | 6.321 | 218.4 | 6.141 | 215.467 | 5.084 | 889.683 | 66.315 | 13.9292
2020-09-12 06:15:00 | 4.736 | 220.413 | 5.898 | 221.841 | 5.615 | 226.4 | 5.406 | 222.733 | 5.09 | 890.217 | 66.848 | 12.9863
2020-09-12 06:30:00 | 4.296 | 221.173 | 5.658 | 222.456 | 5.801 | 228.867 | 5.687 | 226.067 | 4.673 | 890.117 | 68.075 | 13.5306
2020-09-12 06:45:00 | 4.772 | 217.793 | 6.238 | 222.631 | 6.25 | 227.767 | 6.168 | 225.133 | 4.451 | 889.642 | 66.859 | 16.731
2020-09-12 07:00:00 | 4.762 | 221.54 | 5.896 | 223.927 | 5.844 | 232.3 | 5.731 | 231.1 | 5.087 | 889.625 | 63.648 | 16.6663
2020-09-12 07:15:00 | 4.715 | 217.713 | 5.508 | 221.811 | 5.68 | 231.767 | 5.686 | 230.4 | 5.057 | 889.808 | 64.085 | 17.6896
2020-09-12 07:30:00 | 5.064 | 220.453 | 6.116 | 225.83 | 6.212 | 234.367 | 5.927 | 231.367 | 5.474 | 890.083 | 61.173 | 20.1836
2020-09-12 07:45:00 | 5.059 | 223.88 | 6.218 | 227.755 | 6.165 | 238.433 | 5.892 | 235.067 | 6.267 | 889.75 | 58.421 | 20.1247
2020-09-12 08:00:00 | 4.602 | 232.133 | 5.488 | 237.564 | 5.788 | 248.067 | 5.594 | 247.067 | 7.022 | 889.725 | 54.539 | 18.5401
2020-09-12 08:15:00 | 3.942 | 233.387 | 5.255 | 237.675 | 5.41 | 252.133 | 5.085 | 254 | 7.863 | 889.733 | 51.797 | 16.7978
2020-09-12 08:30:00 | 4.103 | 232.807 | 5.17 | 238.107 | 5.271 | 253.3 | 5.134 | 257.3 | 8.716 | 890.067 | 49.483 | 15.334
2020-09-12 08:45:00 | 4.153 | 239.071 | 4.695 | 239.942 | 5.322 | 251.882 | 5.365 | 254.235 | 10.218 | 890.353 | 44.235 | 14.7158
2020-09-12 09:00:00 | 4.844 | 242.5 | 4.964 | 240.418 | 5.334 | 249.467 | 5.562 | 249 | 11.378 | 889.85 | 39.109 | 12.0725
2020-09-12 09:15:00 | 4.523 | 241.02 | 4.59 | 237.135 | 4.999 | 245.867 | 5.386 | 243.933 | 12.42 | 889.733 | 36.827 | 10.6187
2020-09-12 09:30:00 | 6.121 | 261.913 | 6.409 | 259.278 | 6.64 | 264.217 | 6.85 | 260.75 | 12.672 | 889.9 | 31.048 | 11.5645
2020-09-12 09:45:00 | 6.05 | 277.88 | 6.692 | 272.126 | 6.932 | 275.733 | 7.107 | 271.167 | 12.44 | 889.7 | 30.523 | 21.2467
2020-09-12 10:00:00 | 5.873 | 277.12 | 6.13 | 271.008 | 6.132 | 271.767 | 6.37 | 265.483 | 12.703 | 889.817 | 30.248 | 27.4527
2020-09-12 10:15:00 | 8.323 | 272.267 | 8.888 | 267.92 | 9.19 | 273.967 | 9.23 | 269.167 | 12.791 | 889.667 | 30.061 | 31.7424
2020-09-12 10:30:00 | 6.117 | 284.373 | 6.42 | 278.424 | 6.68 | 281.867 | 6.86 | 278.1 | 12.599 | 889.717 | 29.683 | 32.2313
2020-09-12 10:45:00 | 7.316 | 317.547 | 7.654 | 309.378 | 7.982 | 312.967 | 8.42 | 310.9 | 12.784 | 889.967 | 28.085 | 26.7905
2020-09-12 11:00:00 | 5.842 | 316.667 | 5.982 | 311.748 | 6.114 | 317.033 | 6.245 | 315.2 | 13.228 | 889.683 | 28.331 | 30.8556
2020-09-12 11:15:00 | 6.463 | 313.2 | 6.561 | 310.413 | 6.868 | 312.933 | 7.141 | 310.3 | 13.499 | 889.817 | 25.557 | 24.8244
2020-09-12 11:30:00 | 6.13 | 317.013 | 6.531 | 310.443 | 6.64 | 316.4 | 7.044 | 316 | 13.949 | 889.667 | 23.341 | 26.1616
2020-09-12 11:45:00 | 5.716 | 286.48 | 6.521 | 286.318 | 6.785 | 292.833 | 7.021 | 289.067 | 14.228 | 889.583 | 20.245 | 32.1489
2020-09-12 12:00:00 | 7.426 | 323.293 | 7.684 | 318.75 | 7.892 | 321.8 | 8.095 | 322.533 | 14.312 | 889.533 | 19.617 | 30.8173
2020-09-12 12:15:00 | 7.282 | 308.053 | 7.553 | 299.576 | 7.661 | 301.733 | 7.933 | 300.4 | 14.616 | 889.667 | 19.136 | 39.3547
2020-09-12 12:30:00 | 7.375 | 317.72 | 7.7 | 310.289 | 7.922 | 314.8 | 8.304 | 311.067 | 14.733 | 889.467 | 18.687 | 39.8152
2020-09-12 12:45:00 | 7.424 | 327.96 | 7.817 | 320.246 | 7.927 | 325.4 | 8.187 | 322 | 14.904 | 889.467 | 18.057 | 39.4144
2020-09-12 13:00:00 | 6.741 | 314.373 | 7.26 | 305.101 | 7.401 | 308.733 | 7.713 | 307.967 | 15.012 | 889.5 | 17.111 | 38.7223
2020-09-12 13:15:00 | 6.378 | 302.373 | 6.728 | 298.482 | 6.803 | 304.367 | 6.931 | 302.4 | 15.369 | 889.567 | 16.179 | 38.0722
2020-09-12 13:30:00 | 7.092 | 313.707 | 7.262 | 305.629 | 7.478 | 310.933 | 7.933 | 308.867 | 15.486 | 889.6 | 15.484 | 29.2562
2020-09-12 13:45:00 | 9.258 | 325.147 | 9.498 | 320.254 | 9.846 | 324.267 | 10.308 | 322.5 | 15.737 | 889.533 | 15.421 | 30.8677
2020-09-12 14:00:00 | 6.692 | 319.64 | 6.935 | 312.93 | 6.874 | 317.1 | 7.368 | 316.2 | 15.742 | 889.233 | 15.132 | 34.5414
2020-09-12 14:15:00 | 6.765 | 314.4 | 7.155 | 303.691 | 7.373 | 305.467 | 7.766 | 306.8 | 15.861 | 889.733 | 14.951 | 28.0347
2020-09-12 14:30:00 | 6.735 | 313.12 | 7.328 | 289.869 | 7.88 | 315.967 | 8.297 | 322.767 | 15.664 | 889.1 | 14.476 | 32.3407
2020-09-12 14:45:00 | 8.177 | 316.813 | 8.53 | 311.391 | 8.842 | 316 | 8.941 | 312.567 | 16.077 | 888.967 | 13.877 | 36.5892
2020-09-12 15:00:00 | 7.167 | 286.6 | 7.329 | 281.511 | 7.692 | 287.567 | 7.86 | 282.767 | 16.364 | 889.133 | 13.523 | 36.5992
2020-09-12 15:15:00 | 4.261 | 297.987 | 4.421 | 292.668 | 4.527 | 296.367 | 5.084 | 294.2 | 16.398 | 889.433 | 13.192 | 22.9698
2020-09-12 15:30:00 | 7.038 | 320.6 | 7.504 | 318.184 | 7.622 | 318.167 | 7.726 | 316.2 | 16.648 | 889.8 | 12.487 | 25.0389
2020-09-12 15:45:00 | 8.901 | 302.507 | 8.948 | 296.803 | 8.947 | 299.167 | 9.246 | 297.867 | 16.664 | 889.9 | 12.124 | 23.7059
2020-09-12 16:00:00 | 4.818 | 298.12 | 5.253 | 292.888 | 5.701 | 297.8 | 6.276 | 295.3 | 16.802 | 889.567 | 11.659 | 21.3653
2020-09-12 16:15:00 | 7.059 | 297.58 | 7.189 | 290.745 | 7.319 | 295.833 | 7.611 | 295.667 | 17.327 | 889.533 | 10.597 | 16.8042
2020-09-12 16:30:00 | 5.484 | 312.68 | 6.022 | 302.824 | 6.279 | 308.467 | 6.863 | 304.133 | 17.081 | 889.767 | 11.684 | 18.0129
2020-09-12 16:45:00 | 3.544 | 292.341 | 3.418 | 318.098 | 3.646 | 315.967 | 4.182 | 308.167 | 16.981 | 889.333 | 11.093 | 18.7085
2020-09-12 17:00:00 | 2.846 | 272.36 | 3.485 | 270.423 | 3.808 | 275.117 | 4.177 | 272.817 | 17.064 | 889.833 | 10.708 | 13.0538
2020-09-12 17:15:00 | 5.833 | 290.133 | 6.129 | 283.309 | 6.258 | 286.733 | 6.288 | 285.3 | 17.114 | 889.933 | 11.66 | 15.2438
2020-09-12 17:30:00 | 4.032 | 266.36 | 4.121 | 289.649 | 4.253 | 282.933 | 4.599 | 274.5 | 16.998 | 889.4 | 12.125 | 14.6434
2020-09-12 17:45:00 | 5.53 | 283.667 | 5.789 | 277.171 | 5.751 | 281.767 | 5.73 | 279.2 | 17.048 | 889.633 | 11.309 | 8.9389
2020-09-12 18:00:00 | 4.476 | 326.76 | 4.865 | 319.09 | 4.894 | 321.633 | 4.914 | 319.767 | 17.114 | 889.6 | 11.964 | 8.9752
2020-09-12 18:15:00 | 3.473 | 163.828 | 3.721 | 275.796 | 3.844 | 264.733 | 4.134 | 285.533 | 17.114 | 889.733 | 11.643 | 5.0507
2020-09-12 18:30:00 | 3.434 | 310.6 | 3.477 | 306.059 | 3.599 | 313.733 | 3.912 | 307.533 | 17.339 | 889.333 | 11.103 | 5.8167
2020-09-12 18:45:00 | 4.086 | 328.053 | 4.052 | 321.381 | 4.117 | 327.367 | 4.302 | 329.933 | 17.168 | 889.533 | 11.229 | 8.865
2020-09-12 19:00:00 | 3.364 | 260.086 | 3.61 | 279.922 | 3.592 | 297.233 | 3.859 | 297.5 | 17.277 | 889.367 | 11.005 | 5.7563
2020-09-12 19:15:00 | 3.942 | 21.672 | 3.897 | 76.836 | 3.947 | 5.267 | 4.002 | 15.133 | 16.981 | 890.2 | 11.236 | 3.9579
2020-09-12 19:30:00 | 3.781 | 338.627 | 3.965 | 334.866 | 4.073 | 340.667 | 4.353 | 340.033 | 16.864 | 889.467 | 11.648 | 2.7385
2020-09-12 19:45:00 | 3.905 | 0.903 | 4.556 | 0.268 | 4.401 | 1.667 | 4.791 | 3.233 | 16.51 | 889.5 | 13.203 | 3.0831
2020-09-12 20:00:00 | 4.179 | 17.369 | 4.39 | 15.99 | 4.655 | 19.7 | 5.018 | 17.433 | 15.369 | 889.367 | 14.496 | 4.9072
2020-09-12 20:15:00 | 3.562 | 35.752 | 3.679 | 29.72 | 4.264 | 35.033 | 4.558 | 28.4 | 14.817 | 889.267 | 15.272 | 4.4737
2020-09-12 20:30:00 | 2.456 | 59.04 | 2.913 | 58.148 | 2.681 | 63.733 | 2.877 | 56.867 | 14.824 | 889.267 | 16.056 | 3.2217
2020-09-12 20:45:00 | 2.264 | 67.793 | 2.503 | 53.072 | 2.917 | 48.5 | 4.089 | 41.133 | 14.258 | 889.433 | 16.971 | 2.6241
2020-09-12 21:00:00 | 2.449 | 79.573 | 2.883 | 63.41 | 2.282 | 58.233 | 2.6 | 49.533 | 14.228 | 889.4 | 17.395 | 1.608
2020-09-12 21:15:00 | 1.857 | 79.373 | 2.078 | 71.266 | 2.224 | 75.1 | 2.784 | 65.9 | 13.633 | 889.533 | 17.933 | 1.1291
2020-09-12 21:30:00 | 1.513 | 81.92 | 2.24 | 69.926 | 2.301 | 69.5 | 2.834 | 62.633 | 13.812 | 889.533 | 18.141 | 0.87613
2020-09-12 21:45:00 | 1.573 | 83.88 | 2.646 | 70.864 | 2.827 | 72.3 | 3.048 | 65.067 | 13.545 | 889.433 | 18.76 | 0.9145
2020-09-12 22:00:00 | 1.916 | 122.093 | 2.018 | 95.869 | 2.077 | 87.867 | 2.683 | 73.567 | 13.883 | 889.55 | 19.683 | 0.54358
2020-09-12 22:15:00 | 2.234 | 135.57 | 3.389 | 102.969 | 3.472 | 100.933 | 3.694 | 95.7 | 12.488 | 889.5 | 22.096 | 8.4906
2020-09-12 22:30:00 | 6.713 | 116.527 | 8.015 | 110.749 | 8.766 | 113.867 | 9.38 | 109.367 | 12.457 | 889.6 | 23.2 | 47.1937
2020-09-12 22:45:00 | 6.296 | 119.793 | 7.533 | 113.136 | 8.169 | 116.767 | 8.544 | 112.067 | 11.782 | 889.75 | 23.691 | 53.6876
2020-09-12 23:00:00 | 6.89 | 116.49 | 7.274 | 110.892 | 7.717 | 112.733 | 8.19 | 109.367 | 11.849 | 890.167 | 23.813 | 48.6944
2020-09-12 23:15:00 | 6.446 | 115.687 | 7.208 | 109.466 | 7.666 | 115.7 | 7.526 | 105.033 | 11.557 | 889.867 | 23.989 | 48.9993
2020-09-12 23:30:00 | 5.746 | 117.537 | 6.932 | 110.367 | 7.208 | 112.5 | 7.345 | 108.5 | 11.266 | 889.217 | 24.448 | 44.6598
2020-09-12 23:45:00 | 6.23 | 114.727 | 6.956 | 109.715 | 7.696 | 113.767 | 8.221 | 109.867 | 11.724 | 889.633 | 24.315 | 46.8981