## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-13 00:00:00 | 5.65 | 117.367 | 6.872 | 110.751 | 7.476 | 116.2 | 7.768 | 109.2 | 11.328 | 889.9 | 24.496 | 42.8244
2020-09-13 00:15:00 | 5.737 | 118.83 | 6.954 | 113.808 | 7.538 | 116.567 | 7.905 | 110.733 | 10.928 | 889.967 | 25.296 | 39.7633
2020-09-13 00:30:00 | 5.932 | 114.29 | 6.652 | 109.725 | 6.904 | 111.767 | 6.785 | 105.233 | 10.422 | 890.117 | 25.712 | 43.3105
2020-09-13 00:45:00 | 4.965 | 118.787 | 6.182 | 110.916 | 6.777 | 113.267 | 7.34 | 108.633 | 10.559 | 889.933 | 25.872 | 34.1868
2020-09-13 01:00:00 | 4.84 | 115.287 | 5.888 | 108.663 | 6.526 | 113.6 | 7.265 | 110.9 | 10.258 | 889.583 | 26.213 | 35.3585
2020-09-13 01:15:00 | 5.315 | 116.393 | 5.962 | 109.557 | 6.45 | 111.767 | 7.064 | 108.533 | 10.012 | 889.5 | 26.107 | 32.5994
2020-09-13 01:30:00 | 5.363 | 121.693 | 6.422 | 115.072 | 6.903 | 118.9 | 7.434 | 115.033 | 10.062 | 889.85 | 25.904 | 37.1911
2020-09-13 01:45:00 | 4.581 | 121.89 | 5.507 | 113.72 | 5.877 | 119.833 | 6.202 | 113.533 | 10.032 | 890 | 26.181 | 30.9004
2020-09-13 02:00:00 | 4.209 | 122.23 | 5.304 | 115.444 | 5.85 | 117.233 | 6.408 | 112.833 | 9.872 | 889.767 | 27.024 | 22.7914
2020-09-13 02:15:00 | 4.326 | 121.713 | 5.107 | 114.169 | 5.805 | 116.067 | 6.13 | 107.867 | 9.724 | 889.633 | 27.136 | 19.9669
2020-09-13 02:30:00 | 4.575 | 128.65 | 5.215 | 121.482 | 5.526 | 123.9 | 5.928 | 117.3 | 9.908 | 889.633 | 26.896 | 18.9863
2020-09-13 02:45:00 | 4.169 | 131.02 | 5.498 | 122.798 | 5.77 | 126.967 | 5.944 | 122.567 | 9.599 | 889.567 | 27.013 | 18.9409
2020-09-13 03:00:00 | 4.109 | 135.7 | 4.847 | 124.665 | 4.945 | 130.467 | 5.779 | 123.7 | 9.574 | 889.417 | 27.051 | 17.1055
2020-09-13 03:15:00 | 3.891 | 133.787 | 4.888 | 123.268 | 4.848 | 127.4 | 5.457 | 121.333 | 9.27 | 889.617 | 27.547 | 17.1708
2020-09-13 03:30:00 | 4.048 | 131.88 | 5 | 124.241 | 5.236 | 124.233 | 5.722 | 122.767 | 8.837 | 889.917 | 27.611 | 17.433
2020-09-13 03:45:00 | 3.944 | 134.62 | 4.687 | 122.215 | 4.658 | 125.367 | 4.926 | 124.867 | 8.733 | 889.767 | 28.021 | 14.9276
2020-09-13 04:00:00 | 3.777 | 136.733 | 4.681 | 125.187 | 4.504 | 127.1 | 4.825 | 125.933 | 8.683 | 889.283 | 28.267 | 15.1884
2020-09-13 04:15:00 | 4.112 | 129.727 | 5.338 | 119.673 | 5.515 | 123.067 | 5.869 | 122.467 | 8.704 | 889.483 | 28.032 | 15.3035
2020-09-13 04:30:00 | 4.169 | 126.313 | 4.841 | 117.429 | 4.982 | 120.2 | 5.42 | 115.7 | 9.028 | 889.517 | 27.253 | 12.2289
2020-09-13 04:45:00 | 3.27 | 132.653 | 4.09 | 118.546 | 4.183 | 119.167 | 4.686 | 114.5 | 8.928 | 890.217 | 27.787 | 8.168
2020-09-13 05:00:00 | 3.023 | 154.98 | 3.521 | 129.024 | 3.749 | 128.067 | 4.3 | 119.667 | 7.883 | 890.067 | 29.589 | 7.623
2020-09-13 05:15:00 | 2.573 | 140.56 | 4.074 | 112.278 | 4.456 | 112.833 | 4.733 | 108.433 | 7.382 | 889.867 | 30.523 | 9.8371
2020-09-13 05:30:00 | 3.531 | 121.847 | 4.256 | 109.419 | 4.168 | 111.267 | 4.465 | 102.767 | 9.233 | 890.117 | 27.696 | 10.4894
2020-09-13 05:45:00 | 3.306 | 135.423 | 4.162 | 115.928 | 4.471 | 118.733 | 4.861 | 114.367 | 8.254 | 889.75 | 28.747 | 10.0318
2020-09-13 06:00:00 | 3.203 | 147.727 | 3.938 | 123.818 | 4.076 | 125.7 | 4.543 | 119.733 | 8.227 | 889.85 | 28.693 | 9.8072
2020-09-13 06:15:00 | 2.881 | 161.2 | 3.689 | 129.906 | 3.948 | 127.433 | 4.519 | 120.167 | 7.156 | 889.95 | 30.331 | 8.9631
2020-09-13 06:30:00 | 2.82 | 157.533 | 3.857 | 125.094 | 4.043 | 122.533 | 4.569 | 117.967 | 7.506 | 889.683 | 30.656 | 8.4707
2020-09-13 06:45:00 | 2.936 | 164.633 | 3.605 | 131.352 | 4.09 | 124.5 | 4.603 | 118.133 | 7.172 | 889.45 | 31.131 | 7.9413
2020-09-13 07:00:00 | 2.633 | 163.567 | 4.03 | 121.212 | 4.19 | 115.167 | 4.607 | 108.3 | 7.189 | 890.417 | 31.243 | 8.1061
2020-09-13 07:15:00 | 2.719 | 161.3 | 3.623 | 124.644 | 4.217 | 122 | 4.845 | 113.667 | 6.922 | 889.6 | 31.563 | 6.9778
2020-09-13 07:30:00 | 3.554 | 136.45 | 4.516 | 115.846 | 4.884 | 112.867 | 5.483 | 109.7 | 7.649 | 889.683 | 29.835 | 8.9297
2020-09-13 07:45:00 | 2.964 | 135.333 | 4.011 | 117.548 | 4.348 | 118.833 | 4.781 | 112.933 | 8.662 | 889.567 | 27.493 | 8.6654
2020-09-13 08:00:00 | 3.185 | 115.9 | 3.824 | 106.577 | 3.207 | 103.633 | 3.68 | 100.7 | 8.641 | 890.133 | 26.608 | 7.0751
2020-09-13 08:15:00 | 2.864 | 118.087 | 3.199 | 102.487 | 3.197 | 101.133 | 3.693 | 92.233 | 8.174 | 889.9 | 27.408 | 4.2527
2020-09-13 08:30:00 | 2.077 | 118.76 | 2.413 | 106.009 | 2.614 | 107.967 | 3.048 | 102.467 | 9.212 | 890.033 | 26.229 | 2.7151
2020-09-13 08:45:00 | 2.231 | 87.017 | 2.119 | 85.207 | 1.796 | 96.4 | 1.979 | 90.967 | 9.96 | 889.183 | 25.381 | 0.34107
2020-09-13 09:00:00 | 1.273 | 128.73 | 0.909 | 110.544 | 0.852 | 123.067 | 1.68 | 113.567 | 10.514 | 889.883 | 23.461 | 0.2352
2020-09-13 09:15:00 | 1.165 | 109.4 | 1.013 | 101.382 | 1.45 | 102.167 | 2.059 | 97.167 | 11.453 | 889.733 | 21.803 | 0.20962
2020-09-13 09:30:00 | 3.905 | 73.285 | 3.758 | 71.725 | 3.768 | 77 | 4.054 | 75.533 | 11.178 | 889.8 | 21.424 | 0.928
2020-09-13 09:45:00 | 3.942 | 75.213 | 4.033 | 72.688 | 3.993 | 76.3 | 4.418 | 72.667 | 11.145 | 889.583 | 21.872 | 3.4818
2020-09-13 10:00:00 | 3.697 | 72.455 | 3.788 | 67.376 | 3.939 | 73.1 | 4.207 | 69.9 | 11.278 | 889.65 | 21.824 | 3.5933
2020-09-13 10:15:00 | 3.797 | 74.813 | 3.866 | 70.03 | 4.001 | 75.6 | 3.985 | 71.967 | 11.599 | 889.817 | 21.909 | 1.8567
2020-09-13 10:30:00 | 3.342 | 76.238 | 3.366 | 71.563 | 3.444 | 75.5 | 3.686 | 69.5 | 12.074 | 889.733 | 21.445 | 1.1952
2020-09-13 10:45:00 | 2.618 | 52.01 | 2.666 | 50.184 | 2.584 | 56.4 | 2.724 | 49.033 | 12.699 | 889.967 | 20.912 | 0.64093
2020-09-13 11:00:00 | 2.747 | 102.235 | 2.737 | 102.693 | 2.795 | 107.9 | 3.135 | 102.4 | 12.912 | 889.433 | 19.547 | 0.59759
2020-09-13 11:15:00 | 2.988 | 75.897 | 3.127 | 74.109 | 3.433 | 80.833 | 3.669 | 83.167 | 13.464 | 889.033 | 19.139 | 0.7262
2020-09-13 11:30:00 | 3.317 | 72.627 | 3.264 | 71.411 | 3.285 | 78.7 | 3.554 | 70.9 | 13.97 | 889.567 | 18.451 | 0.91663
2020-09-13 11:45:00 | 3.551 | 72.408 | 3.848 | 71.228 | 4.171 | 78.4 | 4.079 | 81.767 | 14.595 | 889.5 | 17.472 | 0.98769
2020-09-13 12:00:00 | 2.93 | 75.67 | 3.158 | 76.489 | 3.089 | 83.3 | 3.194 | 80.533 | 14.879 | 889.8 | 17.147 | 2.3513
2020-09-13 12:15:00 | 3.571 | 89.23 | 3.8 | 85.297 | 3.806 | 90.467 | 4.11 | 84.267 | 15.293 | 889.7 | 16.533 | 4.4716
2020-09-13 12:30:00 | 3.451 | 57.014 | 3.332 | 55.235 | 3.771 | 61.333 | 3.779 | 57.033 | 15.666 | 889.367 | 15.979 | 10.6585
2020-09-13 12:45:00 | 5.6 | 73.793 | 5.51 | 73.491 | 5.848 | 76.533 | 6.016 | 70.3 | 15.167 | 889.367 | 16.341 | 12.3433
2020-09-13 13:00:00 | 3.876 | 60.473 | 3.892 | 58.587 | 3.902 | 64.8 | 4.169 | 63.033 | 15.918 | 889.6 | 15.381 | 11.4437
2020-09-13 13:15:00 | 5.66 | 90.003 | 5.799 | 85.088 | 5.94 | 91.467 | 6.228 | 86.333 | 15.74 | 889.333 | 15.171 | 11.6945
2020-09-13 13:30:00 | 3.68 | 72.097 | 3.957 | 67.945 | 4.419 | 73.3 | 4.894 | 73.967 | 16.134 | 889.767 | 15.021 | 12.5294
2020-09-13 13:45:00 | 4.596 | 83.3 | 4.737 | 79.472 | 5.014 | 80.7 | 5.658 | 78.433 | 16.431 | 889.6 | 14.336 | 12.7369
2020-09-13 14:00:00 | 5.424 | 52.033 | 5.047 | 48.433 | 5.207 | 55.2 | 5.71 | 51.8 | 16.331 | 889.5 | 14.395 | 11.9752
2020-09-13 14:15:00 | 5.511 | 49.02 | 5.125 | 46.58 | 5.459 | 52.567 | 5.607 | 49.567 | 17.014 | 889.6 | 13.859 | 11.1666
2020-09-13 14:30:00 | 4.293 | 79.073 | 4.408 | 77.716 | 4.745 | 78 | 5.098 | 70.833 | 16.714 | 889.5 | 14.307 | 11.0081
2020-09-13 14:45:00 | 4.069 | 50.598 | 4.214 | 55.379 | 4.711 | 60.9 | 5.185 | 58.667 | 17.706 | 889.3 | 13.92 | 10.2108
2020-09-13 15:00:00 | 5.1 | 39.336 | 5.315 | 32.898 | 5.707 | 39.1 | 5.73 | 36.767 | 17.248 | 889.167 | 13.645 | 7.6976
2020-09-13 15:15:00 | 2.925 | 37.624 | 3.137 | 39.974 | 3.458 | 46.267 | 3.762 | 44.9 | 17.26 | 889.167 | 14.301 | 6.5202
2020-09-13 15:30:00 | 2.279 | 101.534 | 2.15 | 53.761 | 2.68 | 48.879 | 3.094 | 39.333 | 17.523 | 889.7 | 13.917 | 7.1945
2020-09-13 15:45:00 | 3.58 | 81.157 | 3.847 | 75.66 | 3.834 | 75.933 | 3.928 | 66.733 | 17.352 | 889.4 | 14.256 | 6.6239
2020-09-13 16:00:00 | 3.716 | 64.27 | 3.971 | 62.482 | 4.152 | 68.5 | 4.415 | 69.033 | 17.794 | 889.633 | 14.08 | 3.7362
2020-09-13 16:15:00 | 3.168 | 42.172 | 3.274 | 38.782 | 3.441 | 41.1 | 3.554 | 41.3 | 17.46 | 889.267 | 14.112 | 1.9413
2020-09-13 16:30:00 | 2.883 | 220.121 | 2.796 | 152.583 | 2.786 | 84.536 | 3.019 | 64.6 | 17.685 | 889.567 | 13.587 | 1.1753
2020-09-13 16:45:00 | 2.877 | 85.633 | 2.7 | 77.176 | 2.609 | 89.8 | 2.963 | 70.8 | 17.298 | 889.467 | 14.315 | 1.5163
2020-09-13 17:00:00 | 3.068 | 60.742 | 3.034 | 54.018 | 2.876 | 58.733 | 3.218 | 56.1 | 17.323 | 889.5 | 14.235 | 0.88181
2020-09-13 17:15:00 | 1.524 | 63.464 | 1.612 | 50.931 | 1.671 | 61.033 | 2.231 | 55.067 | 17.66 | 889.833 | 13.856 | 0.49527
2020-09-13 17:30:00 | 3.206 | 52.262 | 3.244 | 51.288 | 3.331 | 62.333 | 3.577 | 62.333 | 17.435 | 889.4 | 14.109 | 0.28636
2020-09-13 17:45:00 | 3.376 | 41.398 | 3.299 | 41.663 | 3.343 | 44.9 | 3.681 | 41.333 | 17.66 | 889.433 | 14.016 | 0.34534
2020-09-13 18:00:00 | 2.213 | 59.095 | 2.535 | 48.97 | 2.585 | 52.7 | 3.38 | 48.267 | 17.273 | 889.5 | 14.333 | 1.0872
2020-09-13 18:15:00 | 3.824 | 72.37 | 3.829 | 67.364 | 3.738 | 73.1 | 3.959 | 71.133 | 17.681 | 889.967 | 14.581 | 1.9022
2020-09-13 18:30:00 | 3.125 | 61.815 | 3.105 | 62.358 | 3.005 | 66.767 | 3.297 | 65.433 | 17.206 | 889.667 | 14.773 | 1.8972
2020-09-13 18:45:00 | 3.853 | 72.533 | 3.72 | 72.063 | 3.938 | 76.3 | 4.222 | 72.733 | 17.048 | 889.533 | 15.235 | 2.2283
2020-09-13 19:00:00 | 3.02 | 68.293 | 3.066 | 64.452 | 3.025 | 72.767 | 3.267 | 68.933 | 17.014 | 889.3 | 15.552 | 2.3648
2020-09-13 19:15:00 | 3.473 | 71.92 | 3.461 | 63.318 | 3.294 | 66.3 | 3.587 | 62.133 | 16.864 | 889.433 | 15.533 | 1.9676
2020-09-13 19:30:00 | 3.246 | 61.087 | 3.1 | 56.083 | 2.883 | 58.567 | 3.277 | 57.433 | 16.881 | 889.367 | 15.909 | 2.0891
2020-09-13 19:45:00 | 2.893 | 63.02 | 3.056 | 58.086 | 2.907 | 60.767 | 3.115 | 57.4 | 16.864 | 889.9 | 15.915 | 2.1154
2020-09-13 20:00:00 | 2.606 | 62.96 | 2.62 | 57.912 | 2.485 | 61.7 | 2.943 | 59.9 | 16.498 | 889.3 | 15.955 | 0.92587
2020-09-13 20:15:00 | 2.112 | 55.007 | 1.997 | 49.151 | 1.572 | 54.133 | 1.76 | 50.1 | 16.331 | 889.567 | 16.096 | 0.37731
2020-09-13 20:30:00 | 1.538 | 40.377 | 1.77 | 48.12 | 1.952 | 55 | 2.492 | 58.9 | 15.97 | 889.6 | 16.213 | 0.17338
2020-09-13 20:45:00 | 1.507 | 43.087 | 1.89 | 45.115 | 2.062 | 52.767 | 2.522 | 58.067 | 15.656 | 889.733 | 16.461 | 0.26362
2020-09-13 21:00:00 | 1.256 | 51.263 | 1.624 | 48.392 | 1.966 | 56.5 | 2.596 | 59 | 15.492 | 889.467 | 16.461 | 0.23307
2020-09-13 21:15:00 | 1.668 | 27.172 | 1.993 | 39.124 | 1.897 | 48 | 2.449 | 58 | 15.34 | 889.433 | 16.435 | 0.19114
2020-09-13 21:30:00 | 0.3 | 27.028 | 1.48 | 39.126 | 1.379 | 47 | 1.879 | 58.067 | 15.585 | 889.433 | 16.205 | 0.1748
2020-09-13 21:45:00 | 0 | 27.04 | 0 | 39.127 | 0 | 46.933 | 0.541 | 58 | 15.319 | 889.5 | 16.597 | 0.16911
2020-09-13 22:00:00 | 0.389 | 328.213 | 0 | 39.102 | 0 | 47.096 | 0 | 58 | 15.217 | 889.467 | 16.373 | 0.17054
2020-09-13 22:15:00 | 1.697 | 268.667 | 0.07 | 38.495 | 0 | 47.008 | 0 | 58.033 | 14.741 | 889.433 | 16.971 | 0.17054
2020-09-13 22:30:00 | 1.752 | 264.933 | 0.612 | 17.06 | 0 | 47.058 | 0 | 57.867 | 14.47 | 889.2 | 16.84 | 0.16769
2020-09-13 22:45:00 | 2.448 | 262.44 | 1.584 | 285.617 | 0.458 | 310.533 | 1.041 | 58.096 | 14.216 | 889.433 | 17.037 | 0.16769
2020-09-13 23:00:00 | 2.806 | 252.107 | 2.119 | 255.489 | 1.597 | 268 | 1.808 | 58.033 | 14.628 | 889.633 | 17.733 | 0.17196
2020-09-13 23:15:00 | 2.823 | 251.587 | 2.049 | 255.495 | 1.58 | 267.933 | 1.724 | 58.004 | 14.233 | 889.367 | 18.533 | 0.16769
2020-09-13 23:30:00 | 3.826 | 244.82 | 3.033 | 255.467 | 2.515 | 268 | 2.478 | 242.567 | 13.512 | 889.483 | 20.576 | 0.20464
2020-09-13 23:45:00 | 4.097 | 244.433 | 3.994 | 256.949 | 3.524 | 264.733 | 3.362 | 247.367 | 12.924 | 889.55 | 20.891 | 0.40573