## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-14 00:00:00 | 3.844 | 238.5 | 3.671 | 256.448 | 3.07 | 263.867 | 2.937 | 247.15 | 12.564 | 890.067 | 21.443 | 0.53079
2020-09-14 00:15:00 | 3.894 | 236.173 | 4.196 | 248.112 | 3.84 | 255 | 3.91 | 252.033 | 12.618 | 889.583 | 22.197 | 1.3501
2020-09-14 00:30:00 | 4.098 | 247.7 | 4.634 | 259.421 | 4.32 | 265.267 | 4.283 | 262.117 | 12.436 | 889.95 | 21.467 | 3.7674
2020-09-14 00:45:00 | 6.452 | 274.893 | 7.945 | 276.524 | 8.745 | 284.2 | 9.416 | 282.967 | 12.789 | 889.6 | 21.069 | 24.1735
2020-09-14 01:00:00 | 4.581 | 282.093 | 5.856 | 278.986 | 6.348 | 283.7 | 6.808 | 281.067 | 14.112 | 889.1 | 19.315 | 32.6754
2020-09-14 01:15:00 | 5.799 | 278.147 | 7.003 | 274.28 | 7.585 | 278.933 | 8.215 | 278 | 13.491 | 889.367 | 19.231 | 28.8632
2020-09-14 01:30:00 | 5.268 | 275.067 | 6.531 | 270.104 | 6.65 | 274.8 | 7.238 | 271.433 | 13.824 | 889.6 | 19.375 | 31.1285
2020-09-14 01:45:00 | 5.038 | 277.907 | 6.412 | 273.663 | 6.98 | 277.233 | 7.403 | 275.267 | 13.214 | 889.667 | 19.711 | 26.7308
2020-09-14 02:00:00 | 6.066 | 264.473 | 7.191 | 261.633 | 7.485 | 268.6 | 7.805 | 266.3 | 12.943 | 889.5 | 20.088 | 29.5489
2020-09-14 02:15:00 | 5.727 | 265.813 | 6.873 | 262.484 | 7.241 | 268.3 | 7.709 | 265.383 | 13.039 | 889.683 | 20.316 | 33.7562
2020-09-14 02:30:00 | 6.079 | 259.8 | 7.101 | 259.495 | 7.475 | 265.867 | 8.065 | 261.783 | 12.634 | 889.8 | 20.493 | 38.3535
2020-09-14 02:45:00 | 5.86 | 260.72 | 6.885 | 258.755 | 7.444 | 266.433 | 7.719 | 262.3 | 12.63 | 889.667 | 20.864 | 38.8957
2020-09-14 03:00:00 | 6.22 | 262.88 | 7.315 | 260.289 | 7.979 | 265.733 | 8.242 | 262.717 | 12.632 | 889.583 | 24.227 | 40.7034
2020-09-14 03:15:00 | 6.567 | 266.507 | 7.946 | 264.282 | 8.4 | 270.967 | 8.541 | 266 | 12.676 | 890.2 | 31.291 | 45.5168
2020-09-14 03:30:00 | 6.801 | 269.293 | 7.921 | 263.742 | 8.382 | 268.867 | 8.699 | 265.467 | 12.689 | 889.467 | 32.395 | 50.3934
2020-09-14 03:45:00 | 7.178 | 265.267 | 8.431 | 262.566 | 8.952 | 267.367 | 9.643 | 265.2 | 12.582 | 890.033 | 32.52 | 54.8323
2020-09-14 04:00:00 | 7.781 | 269.28 | 9.176 | 263.858 | 9.778 | 268.067 | 10.107 | 264.417 | 12.301 | 889.983 | 33.032 | 56.311
2020-09-14 04:15:00 | 7.101 | 274.227 | 8.514 | 266.641 | 9.17 | 270.667 | 9.657 | 267.167 | 12.449 | 889.833 | 33.125 | 59.3273
2020-09-14 04:30:00 | 7.431 | 266.08 | 9.04 | 262.908 | 9.36 | 267.383 | 9.904 | 263.5 | 11.828 | 889.633 | 33.739 | 57.7499
2020-09-14 04:45:00 | 7.762 | 259.987 | 9.09 | 261.467 | 9.639 | 265.967 | 10.05 | 261.483 | 11.911 | 889.467 | 33.261 | 58.3077
2020-09-14 05:00:00 | 7.509 | 264.86 | 8.917 | 261.829 | 9.533 | 267.633 | 9.804 | 263.867 | 11.261 | 890.133 | 31.869 | 53.9761
2020-09-14 05:15:00 | 7.33 | 265.707 | 8.959 | 262.638 | 9.642 | 266.667 | 10.08 | 264.067 | 11.232 | 889.467 | 31.36 | 52.5741
2020-09-14 05:30:00 | 7.255 | 267.82 | 8.959 | 263.161 | 9.507 | 268.067 | 10 | 263.833 | 11.386 | 889.75 | 29.784 | 57.5793
2020-09-14 05:45:00 | 6.975 | 270.107 | 8.963 | 264.713 | 9.713 | 270.8 | 10.187 | 265.333 | 10.949 | 890.117 | 30 | 57.6341
2020-09-14 06:00:00 | 7.238 | 266.867 | 8.997 | 264.256 | 9.457 | 269.867 | 9.794 | 265.267 | 11.328 | 889.633 | 28.669 | 58.4917
2020-09-14 06:15:00 | 6.641 | 262.6 | 8.363 | 261.147 | 9.046 | 266.033 | 9.691 | 261.933 | 10.995 | 889.917 | 27.549 | 57.4124
2020-09-14 06:30:00 | 6.614 | 260.167 | 8.125 | 258.478 | 8.586 | 265.55 | 9.065 | 261.917 | 10.576 | 890.3 | 27.336 | 52.469
2020-09-14 06:45:00 | 6.334 | 259.673 | 7.76 | 259.26 | 8.469 | 263.9 | 8.97 | 259.7 | 10.703 | 889.817 | 27.912 | 51.7065
2020-09-14 07:00:00 | 6.168 | 256.767 | 7.616 | 256.727 | 8.18 | 262.283 | 8.45 | 258.883 | 10.73 | 889.367 | 28.501 | 48.0293
2020-09-14 07:15:00 | 6.091 | 246.667 | 7.333 | 251.817 | 7.659 | 259.133 | 7.912 | 258.183 | 10.28 | 889.433 | 29.277 | 45.5274
2020-09-14 07:30:00 | 5.697 | 243.513 | 6.8 | 249.267 | 7.202 | 255.667 | 7.604 | 253.517 | 9.908 | 889.283 | 29.323 | 42.413
2020-09-14 07:45:00 | 5.411 | 244.973 | 6.739 | 247.013 | 7.193 | 255.167 | 7.474 | 252.167 | 10.655 | 889.95 | 27.621 | 40.2998
2020-09-14 08:00:00 | 5.341 | 244.167 | 6.715 | 246.486 | 7.185 | 254.633 | 7.498 | 251.683 | 11.245 | 889.583 | 25.573 | 38.3379
2020-09-14 08:15:00 | 5.748 | 245.62 | 7.044 | 246.206 | 7.702 | 252.967 | 8.172 | 250.217 | 11.757 | 889.817 | 24.261 | 39.2418
2020-09-14 08:30:00 | 6.044 | 246.947 | 6.907 | 247.892 | 7.438 | 252.367 | 7.598 | 249.667 | 13.022 | 889.917 | 22.947 | 35.4132
2020-09-14 08:45:00 | 6.216 | 250.633 | 6.755 | 248.164 | 6.962 | 252.75 | 7.372 | 250.683 | 13.758 | 890.1 | 22.352 | 32.0196
2020-09-14 09:00:00 | 6.216 | 253.267 | 6.783 | 247.365 | 7.385 | 253.7 | 7.599 | 251.8 | 14.316 | 889.633 | 22.125 | 32.2228
2020-09-14 09:15:00 | 7.053 | 255.32 | 7.754 | 252.208 | 7.677 | 255.8 | 7.735 | 249.267 | 14.641 | 890.067 | 21.328 | 34.2081
2020-09-14 09:30:00 | 6.092 | 269.713 | 6.4 | 265.054 | 6.471 | 266.6 | 6.676 | 261.017 | 15.041 | 889.867 | 20.803 | 31.6785
2020-09-14 09:45:00 | 6.962 | 273.867 | 7.19 | 268.756 | 7.353 | 270.3 | 7.416 | 264.533 | 15.064 | 889.633 | 20.3 | 30.6929
2020-09-14 10:00:00 | 6.922 | 276.533 | 7.375 | 270.354 | 7.452 | 275.133 | 7.581 | 269.9 | 14.958 | 889.5 | 19.639 | 32.4303
2020-09-14 10:15:00 | 7.676 | 274.627 | 8.07 | 270.382 | 8.246 | 272.3 | 8.276 | 269.667 | 15.276 | 889.433 | 19.203 | 36.2851
2020-09-14 10:30:00 | 7.184 | 274.313 | 7.657 | 270.668 | 7.789 | 277.65 | 7.996 | 274.067 | 16.077 | 889.4 | 18.624 | 33.8244
2020-09-14 10:45:00 | 6.942 | 285.467 | 7.095 | 280.064 | 7.372 | 283.333 | 7.489 | 280.333 | 15.744 | 888.967 | 18.647 | 30.2673
2020-09-14 11:00:00 | 5.724 | 279.467 | 6.201 | 277.464 | 6.481 | 282.35 | 6.701 | 278.4 | 16.398 | 889.233 | 18.041 | 25.3225
2020-09-14 11:15:00 | 5.628 | 287.067 | 6.246 | 285.622 | 6.28 | 288.333 | 6.561 | 286.333 | 16.381 | 889.5 | 17.629 | 25.7396
2020-09-14 11:30:00 | 5.627 | 311.867 | 6.008 | 304.994 | 5.98 | 309.033 | 6.357 | 303.3 | 16.141 | 889.767 | 17.609 | 24.295
2020-09-14 11:45:00 | 6.73 | 289.173 | 7.258 | 282.408 | 7.172 | 286.067 | 7.271 | 283.867 | 16.648 | 889.367 | 17.211 | 21.2651
2020-09-14 12:00:00 | 6.546 | 306.973 | 6.817 | 300.764 | 6.921 | 303.3 | 7.147 | 300.533 | 16.864 | 889.767 | 17.285 | 18.1578
2020-09-14 12:15:00 | 5.843 | 326.613 | 5.972 | 320.591 | 6.141 | 323.833 | 6.419 | 318.933 | 17.131 | 889.3 | 17.157 | 20.0799
2020-09-14 12:30:00 | 4.54 | 300.72 | 5.049 | 293.345 | 5.192 | 299.1 | 5.969 | 299.4 | 17.564 | 890 | 16.984 | 19.8149
2020-09-14 12:45:00 | 5.952 | 287.107 | 6.25 | 283.078 | 6.126 | 287.467 | 6.356 | 285.867 | 17.177 | 889.2 | 16.868 | 15.8023
2020-09-14 13:00:00 | 4.916 | 319.187 | 5.049 | 309.745 | 5.104 | 310.233 | 5.245 | 301.3 | 17.985 | 889.433 | 16.176 | 10.7232
2020-09-14 13:15:00 | 5.452 | 304.96 | 5.814 | 297.592 | 5.975 | 301.5 | 6.407 | 296.267 | 17.785 | 889.767 | 16.249 | 14.2568
2020-09-14 13:30:00 | 5.519 | 288.52 | 5.794 | 283.418 | 5.778 | 287.967 | 5.959 | 283.85 | 18.406 | 889.2 | 16.285 | 14.3044
2020-09-14 13:45:00 | 6.118 | 260 | 6.496 | 253.016 | 6.491 | 258.6 | 6.639 | 252.567 | 18.164 | 889.333 | 17.019 | 18.9807
2020-09-14 14:00:00 | 6.939 | 304.933 | 7.309 | 298.345 | 7.633 | 303.367 | 7.914 | 303.8 | 18.639 | 889.333 | 15.991 | 17.3535
2020-09-14 14:15:00 | 4.901 | 295.453 | 5.15 | 293.644 | 5.359 | 295.533 | 6.04 | 295.167 | 18.289 | 889.6 | 16.031 | 17.5794
2020-09-14 14:30:00 | 6.506 | 301.147 | 6.654 | 299.782 | 6.911 | 305.067 | 7.329 | 302.567 | 18.981 | 889.467 | 15.863 | 21.9927
2020-09-14 14:45:00 | 7.724 | 300.307 | 7.893 | 292.219 | 8.098 | 298.2 | 8.438 | 295.433 | 18.664 | 889.467 | 15.981 | 21.5437
2020-09-14 15:00:00 | 6.746 | 257.973 | 7.049 | 255.389 | 7.316 | 260.483 | 7.416 | 254.117 | 19.602 | 889.3 | 15.987 | 22.6784
2020-09-14 15:15:00 | 6.574 | 312.333 | 6.952 | 305.027 | 7.148 | 309.6 | 7.894 | 303.917 | 19.231 | 889 | 15.728 | 25.5299
2020-09-14 15:30:00 | 5.185 | 266.687 | 5.986 | 277.331 | 6.119 | 279.167 | 6.528 | 285.033 | 18.968 | 889.7 | 16.803 | 21.5117
2020-09-14 15:45:00 | 6.028 | 294.773 | 6.42 | 287.251 | 6.466 | 289.567 | 6.813 | 283.15 | 19.439 | 889.533 | 16.695 | 24.9189
2020-09-14 16:00:00 | 4.477 | 274.393 | 4.712 | 267.023 | 4.696 | 273.767 | 4.916 | 268.083 | 19.106 | 889.533 | 16.897 | 25.9115
2020-09-14 16:15:00 | 6.961 | 306.92 | 7.398 | 293.91 | 7.49 | 296.7 | 7.803 | 293.567 | 19.235 | 889.6 | 16.351 | 22.5299
2020-09-14 16:30:00 | 6.878 | 304.96 | 7.336 | 301.149 | 7.419 | 307.333 | 7.757 | 303.3 | 19.648 | 889.4 | 15.861 | 30.1103
2020-09-14 16:45:00 | 7.121 | 305.867 | 7.504 | 299.381 | 7.529 | 303.033 | 8.093 | 300 | 19.485 | 889.5 | 15.628 | 24.4662
2020-09-14 17:00:00 | 6.403 | 281.027 | 6.856 | 275.94 | 6.966 | 283.067 | 7.26 | 281.2 | 19.468 | 889.467 | 15.513 | 27.3888
2020-09-14 17:15:00 | 6.241 | 302.453 | 6.756 | 297.686 | 6.923 | 301.333 | 7.453 | 299.733 | 19.76 | 889.667 | 15.108 | 23.1467
2020-09-14 17:30:00 | 5.676 | 298.133 | 6.283 | 293.462 | 6.624 | 298.833 | 7.086 | 297.867 | 19.473 | 889.5 | 14.435 | 24.9338
2020-09-14 17:45:00 | 4.437 | 308.68 | 4.66 | 300.1 | 4.939 | 301.133 | 5.16 | 303.067 | 19.21 | 889.367 | 13.709 | 18.2033
2020-09-14 18:00:00 | 5.276 | 284.6 | 5.843 | 280.883 | 5.897 | 285.5 | 6.023 | 284.7 | 19.552 | 889.4 | 13.777 | 16.7793
2020-09-14 18:15:00 | 5.776 | 281.96 | 6.071 | 278.807 | 6.18 | 283.2 | 6.328 | 281.2 | 19.631 | 889.5 | 13.099 | 16.8013
2020-09-14 18:30:00 | 4.936 | 284.88 | 5.328 | 280.424 | 5.393 | 284.467 | 5.76 | 281.2 | 19.685 | 889.2 | 12.928 | 13.6507
2020-09-14 18:45:00 | 5.999 | 302.52 | 6.146 | 297.111 | 6.132 | 299.9 | 6.397 | 296.8 | 19.573 | 889.567 | 12.965 | 15.5927
2020-09-14 19:00:00 | 4.548 | 288.213 | 5.194 | 282.67 | 5.367 | 288.967 | 5.731 | 290.767 | 19.294 | 889.333 | 12.901 | 15.7447
2020-09-14 19:15:00 | 4.978 | 312.093 | 5.282 | 309.035 | 5.337 | 313.7 | 5.633 | 312 | 19.377 | 889.4 | 12.971 | 14.9162
2020-09-14 19:30:00 | 4.345 | 303.64 | 4.58 | 297.651 | 4.947 | 301.667 | 5.342 | 299.333 | 19.102 | 889.5 | 13.264 | 11.9937
2020-09-14 19:45:00 | 4.469 | 292 | 5.069 | 287.023 | 5.254 | 292.7 | 5.63 | 291.2 | 18.656 | 889.467 | 14.272 | 9.781
2020-09-14 20:00:00 | 3.593 | 292.493 | 4.775 | 289.153 | 4.92 | 293.733 | 5.236 | 291.833 | 18.127 | 889.533 | 15.039 | 8.0749
2020-09-14 20:15:00 | 3.268 | 281.48 | 3.948 | 279.196 | 3.687 | 282.8 | 3.836 | 282.833 | 17.585 | 889.433 | 15.56 | 6.1926
2020-09-14 20:30:00 | 3.483 | 278.093 | 3.75 | 282.589 | 3.48 | 288.8 | 3.653 | 293.267 | 17.498 | 889.2 | 15.852 | 4.1497
2020-09-14 20:45:00 | 3.845 | 264.92 | 4.302 | 271.583 | 4.335 | 278.3 | 4.668 | 278.3 | 16.548 | 889.267 | 16.883 | 3.933
2020-09-14 21:00:00 | 4.066 | 250.3 | 4.296 | 263.841 | 4.151 | 271.267 | 4.459 | 269.333 | 16.174 | 889.633 | 17.788 | 5.5396
2020-09-14 21:15:00 | 4.155 | 250.167 | 4.41 | 260.979 | 4.368 | 266.6 | 4.549 | 264.9 | 15.438 | 889.067 | 18.692 | 6.6374
2020-09-14 21:30:00 | 4.31 | 241.927 | 4.408 | 258.293 | 4.364 | 265.2 | 4.672 | 264.8 | 14.566 | 889.333 | 19.569 | 7.252
2020-09-14 21:45:00 | 4.715 | 236.553 | 4.769 | 252.2 | 4.748 | 260.333 | 4.967 | 258.6 | 14.354 | 889.85 | 20.501 | 7.5334
2020-09-14 22:00:00 | 4.597 | 237.913 | 4.963 | 256.191 | 4.94 | 264.533 | 5.124 | 261.167 | 13.633 | 889.867 | 21.491 | 8.6178
2020-09-14 22:15:00 | 4.615 | 236.847 | 5.057 | 253.336 | 4.882 | 258.767 | 5.025 | 257.767 | 13.16 | 889.717 | 22.325 | 9.2679
2020-09-14 22:30:00 | 4.771 | 236.38 | 4.88 | 255.595 | 4.706 | 264.533 | 5.01 | 261.367 | 12.932 | 889.883 | 23.093 | 8.7286
2020-09-14 22:45:00 | 5.214 | 230.707 | 4.955 | 253.327 | 4.715 | 263.067 | 4.983 | 261.333 | 12.432 | 889.767 | 24.048 | 8.4053
2020-09-14 23:00:00 | 5.69 | 233.253 | 5.21 | 245.512 | 4.831 | 258.5 | 4.957 | 258.5 | 11.686 | 889.933 | 24.768 | 9.2637
2020-09-14 23:15:00 | 5.7 | 230.58 | 5.724 | 241.001 | 5.052 | 251.367 | 4.756 | 252.8 | 11.903 | 890.033 | 25.483 | 9.3638
2020-09-14 23:30:00 | 5.669 | 231.107 | 5.938 | 240.939 | 5.3 | 249.033 | 4.911 | 249.933 | 11.524 | 889.517 | 26.288 | 10.6194
2020-09-14 23:45:00 | 5.222 | 234.007 | 5.328 | 245.421 | 4.658 | 255.033 | 4.644 | 253.7 | 11.932 | 889.9 | 26.443 | 9.1144