## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-15 00:00:00 | 5.738 | 234.333 | 5.594 | 244.524 | 4.965 | 255.067 | 4.815 | 257.867 | 11.311 | 890.05 | 26.944 | 9.3063
2020-09-15 00:15:00 | 5.675 | 225.4 | 6.107 | 238.712 | 5.338 | 249.7 | 4.931 | 250.6 | 10.961 | 889.433 | 27.717 | 10.9903
2020-09-15 00:30:00 | 5.794 | 222.107 | 6.281 | 232.713 | 5.569 | 243.2 | 4.964 | 244.133 | 10.788 | 889.017 | 29.499 | 12.086
2020-09-15 00:45:00 | 5.603 | 223.32 | 5.927 | 234.641 | 5.177 | 246.167 | 4.658 | 249.933 | 10.526 | 889.45 | 29.435 | 10.1035
2020-09-15 01:00:00 | 5.635 | 220.587 | 6.465 | 229.55 | 6.015 | 237.8 | 5.488 | 236.033 | 10.636 | 889.483 | 30.155 | 10.7487
2020-09-15 01:15:00 | 6.036 | 217.067 | 6.23 | 223.467 | 5.777 | 231.967 | 5.354 | 230.633 | 9.876 | 890.133 | 32.432 | 10.7388
2020-09-15 01:30:00 | 6.39 | 217.233 | 6.806 | 221.797 | 6.033 | 230.333 | 5.559 | 228.233 | 9.783 | 889.633 | 32.704 | 11.136
2020-09-15 01:45:00 | 6.23 | 219.753 | 6.316 | 223.987 | 5.776 | 233.533 | 5.248 | 233.733 | 9.845 | 889.517 | 32.299 | 11.1857
2020-09-15 02:00:00 | 6.11 | 221 | 6.556 | 223.558 | 5.767 | 233 | 5.326 | 233.2 | 9.516 | 889.7 | 32.821 | 10.338
2020-09-15 02:15:00 | 6.19 | 222.893 | 6.146 | 225.97 | 5.61 | 234.967 | 5.26 | 233.5 | 10.066 | 889.733 | 32.405 | 9.6587
2020-09-15 02:30:00 | 5.968 | 222.46 | 5.514 | 232.195 | 5.004 | 241.6 | 4.725 | 240.767 | 9.774 | 889.65 | 32.373 | 7.5768
2020-09-15 02:45:00 | 6.276 | 222.28 | 6.059 | 232.692 | 5.356 | 240.533 | 4.862 | 240.6 | 9.458 | 889.85 | 32.645 | 6.9998
2020-09-15 03:00:00 | 6.417 | 220.14 | 5.79 | 231.949 | 5.098 | 241.2 | 4.688 | 242.1 | 8.854 | 889.85 | 32.789 | 7.1646
2020-09-15 03:15:00 | 6.548 | 218.52 | 6.177 | 224.659 | 5.192 | 234.667 | 4.384 | 237.433 | 8.916 | 889.75 | 33.781 | 6.4377
2020-09-15 03:30:00 | 6.226 | 218.387 | 5.743 | 226.802 | 4.827 | 234.633 | 4.267 | 234.967 | 8.883 | 889.95 | 33.285 | 5.9069
2020-09-15 03:45:00 | 6.579 | 215.107 | 5.926 | 224.979 | 4.76 | 233.367 | 3.965 | 235.033 | 8.487 | 889.567 | 34.293 | 5.9901
2020-09-15 04:00:00 | 6.247 | 213.547 | 6.849 | 216.915 | 5.49 | 227.633 | 4.673 | 228.933 | 8.3 | 889.617 | 34.539 | 8.4906
2020-09-15 04:15:00 | 5.836 | 209.64 | 6.992 | 208.704 | 6.292 | 214 | 5.477 | 215.5 | 8.454 | 889.817 | 33.653 | 7.5938
2020-09-15 04:30:00 | 6.239 | 211.5 | 6.26 | 202.535 | 5.649 | 206.767 | 4.971 | 208.667 | 8.441 | 890.083 | 32.923 | 4.9292
2020-09-15 04:45:00 | 6.28 | 209.573 | 6.125 | 202.409 | 5.365 | 204 | 4.582 | 203.933 | 8.766 | 889.867 | 32.789 | 4.4609
2020-09-15 05:00:00 | 5.733 | 211.653 | 6.151 | 202.472 | 5.32 | 204.933 | 4.52 | 205.4 | 8.754 | 890.083 | 33.552 | 5.779
2020-09-15 05:15:00 | 5.892 | 213.867 | 6.149 | 204.316 | 5.562 | 210.8 | 4.92 | 209.8 | 8.307 | 889.45 | 35.456 | 6.069
2020-09-15 05:30:00 | 6.448 | 215.76 | 6.759 | 211.942 | 5.698 | 212.4 | 5.147 | 211.233 | 8.394 | 889.433 | 35.52 | 6.8889
2020-09-15 05:45:00 | 6.656 | 216.973 | 7.096 | 212.597 | 6.236 | 216.867 | 5.449 | 215.867 | 7.953 | 889.4 | 36.011 | 9.0491
2020-09-15 06:00:00 | 7.102 | 215.493 | 7.878 | 208.734 | 7.254 | 212 | 6.773 | 208.667 | 8.01 | 889.6 | 36.437 | 13.0773
2020-09-15 06:15:00 | 6.754 | 217.267 | 7.617 | 208.303 | 7.313 | 212.233 | 6.66 | 210.033 | 8.29 | 889.883 | 35.435 | 14.6569
2020-09-15 06:30:00 | 6.332 | 212.94 | 7.984 | 204.153 | 7.717 | 208.433 | 7.456 | 205.433 | 8.404 | 889.567 | 36.043 | 18.4058
2020-09-15 06:45:00 | 6.166 | 214.32 | 6.838 | 206.612 | 6.576 | 208.667 | 6.395 | 203.133 | 8.18 | 889.5 | 36.293 | 14.4302
2020-09-15 07:00:00 | 4.144 | 209.967 | 7.278 | 209.442 | 6.8 | 207.1 | 6.258 | 199.067 | 7.672 | 889.783 | 36.773 | 12.9579
2020-09-15 07:15:00 | 5.672 | 214.36 | 6.653 | 205.992 | 6.425 | 207.567 | 5.904 | 204.2 | 7.693 | 890 | 37.429 | 9.9678
2020-09-15 07:30:00 | 6.437 | 217.433 | 7.203 | 207.677 | 6.225 | 210.7 | 5.619 | 207.7 | 7.889 | 890.033 | 36.901 | 8.8714
2020-09-15 07:45:00 | 6.276 | 216.573 | 7.908 | 209.134 | 6.872 | 212.1 | 6.121 | 208.3 | 8.571 | 889.767 | 36.048 | 13.0211
2020-09-15 08:00:00 | 5.52 | 208.067 | 7.922 | 203.43 | 7.295 | 203.2 | 6.745 | 197.133 | 9.716 | 890.033 | 33.36 | 13.3409
2020-09-15 08:15:00 | 4.354 | 204.227 | 6.455 | 199.36 | 7.347 | 198.5 | 7.143 | 194.467 | 10.597 | 889.55 | 31.781 | 10.8425
2020-09-15 08:30:00 | 3.928 | 203.387 | 5.988 | 198.878 | 7.364 | 198.233 | 6.421 | 191.933 | 12.049 | 889.45 | 28.555 | 11.6632
2020-09-15 08:45:00 | 4.632 | 212.393 | 5.764 | 207.584 | 6.891 | 203.833 | 7.091 | 195.4 | 13.783 | 889.5 | 25.541 | 10.65
2020-09-15 09:00:00 | 5.068 | 213.333 | 5.469 | 210.012 | 6.055 | 210.6 | 6.366 | 200.033 | 14.558 | 890.15 | 23.792 | 9.5763
2020-09-15 09:15:00 | 5.651 | 212.547 | 5.5 | 208.422 | 5.692 | 208.133 | 5.942 | 203.6 | 15.83 | 889.833 | 22.176 | 10.0439
2020-09-15 09:30:00 | 5.521 | 206.033 | 5.568 | 202.989 | 5.614 | 208.167 | 5.859 | 204.1 | 16.214 | 889.25 | 20.805 | 10.7814
2020-09-15 09:45:00 | 5.309 | 209.227 | 5.371 | 206.192 | 5.432 | 205.933 | 5.603 | 199.667 | 16.998 | 889.183 | 20.165 | 9.6353
2020-09-15 10:00:00 | 5.305 | 205.153 | 5.41 | 201.532 | 5.463 | 202.933 | 5.816 | 198.233 | 17.831 | 889.233 | 19.083 | 9.3958
2020-09-15 10:15:00 | 4.651 | 211.533 | 4.78 | 207.533 | 4.862 | 210.767 | 5.075 | 206.833 | 18.423 | 889.7 | 18.077 | 8.7741
2020-09-15 10:30:00 | 4.758 | 207.633 | 5.01 | 206.101 | 5.202 | 208.467 | 5.295 | 203.4 | 18.71 | 889.5 | 16.672 | 8.2625
2020-09-15 10:45:00 | 4.844 | 197.633 | 4.924 | 196.753 | 5.015 | 199.333 | 5.158 | 195.4 | 19.214 | 889.2 | 16.152 | 6.1386
2020-09-15 11:00:00 | 2.911 | 209.84 | 3.08 | 203.816 | 3.333 | 201.933 | 3.935 | 194.8 | 19.31 | 889.233 | 15.757 | 3.7489
2020-09-15 11:15:00 | 3.294 | 237.073 | 2.915 | 229.147 | 3.038 | 230.95 | 3.49 | 224.133 | 19.798 | 889.8 | 15.021 | 1.1397
2020-09-15 11:30:00 | 2.773 | 136.287 | 2.876 | 138.144 | 2.843 | 150.4 | 3.418 | 146.767 | 19.773 | 889.967 | 14.179 | 0.18119
2020-09-15 11:45:00 | 0.976 | 129.11 | 1.019 | 119.992 | 0.916 | 120.433 | 1.126 | 120.9 | 20.168 | 889.733 | 13.6 | 0.19683
2020-09-15 12:00:00 | 2.832 | 141.407 | 3.038 | 136.142 | 3.023 | 140.833 | 3.378 | 143.9 | 20.139 | 889.467 | 12.552 | 0.1414
2020-09-15 12:15:00 | 1.475 | 178.763 | 1.511 | 123.989 | 1.627 | 84.842 | 1.908 | 88.067 | 20.639 | 889.4 | 12.237 | 0.13359
2020-09-15 12:30:00 | 2.524 | 188.348 | 2.756 | 134.348 | 2.967 | 139.742 | 3.702 | 140.5 | 20.685 | 889.667 | 11.707 | 0.2757
2020-09-15 12:45:00 | 2.781 | 106.05 | 3.01 | 102.544 | 3.147 | 107.367 | 3.231 | 107.4 | 20.277 | 889.467 | 11.355 | 0.51871
2020-09-15 13:00:00 | 1.63 | 107.83 | 2.026 | 130.489 | 1.751 | 135.8 | 2.398 | 135.433 | 21.298 | 889.567 | 10.771 | 0.50379
2020-09-15 13:15:00 | 4.287 | 114.85 | 4.4 | 115.009 | 4.296 | 119.267 | 4.136 | 113.767 | 20.881 | 889.267 | 11.152 | 0.48674
2020-09-15 13:30:00 | 2.343 | 104.043 | 2.424 | 120.936 | 2.527 | 137.367 | 3.346 | 135.8 | 21.556 | 889.4 | 10.763 | 0.2423
2020-09-15 13:45:00 | 3.029 | 134.267 | 2.824 | 124.514 | 2.723 | 118.8 | 3.386 | 110.633 | 20.902 | 889.5 | 10.821 | 0.17338
2020-09-15 14:00:00 | 2.14 | 141.614 | 2.338 | 88.216 | 2.202 | 78.575 | 2.726 | 101.067 | 21.706 | 888.967 | 10.505 | 0.11511
2020-09-15 14:15:00 | 0.406 | 144.468 | 0.28 | 136.705 | 0 | 53.962 | 0.974 | 135.5 | 22.206 | 889.4 | 9.985 | 0.21885
2020-09-15 14:30:00 | 2.094 | 116.377 | 1.893 | 101.928 | 1.803 | 101.567 | 2.536 | 92.867 | 22.356 | 888.867 | 8.799 | 0.13714
2020-09-15 14:45:00 | 1.376 | 223.187 | 1.513 | 253.563 | 1.721 | 187.3 | 1.852 | 166.217 | 23.352 | 889.067 | 7.847 | 0.13217
2020-09-15 15:00:00 | 2.746 | 307.867 | 2.896 | 305.219 | 2.866 | 304.667 | 3.014 | 301.767 | 22.464 | 889 | 8.236 | 0.097348
2020-09-15 15:15:00 | 0.908 | 221.847 | 0.346 | 196.576 | 0.412 | 161.733 | 1.331 | 191.2 | 22.881 | 889.267 | 8.413 | 0.15419
2020-09-15 15:30:00 | 3.521 | 310.4 | 3.76 | 318.938 | 3.784 | 325.133 | 3.792 | 316.133 | 22.714 | 889.067 | 8.227 | 0.14851
2020-09-15 15:45:00 | 1.671 | 140.865 | 1.465 | 186.982 | 1.392 | 194.417 | 1.66 | 213.15 | 22.131 | 889.2 | 9.121 | 0.14993
2020-09-15 16:00:00 | 2.639 | 262.887 | 2.766 | 262.896 | 2.714 | 272.567 | 2.695 | 278.5 | 22.681 | 888.6 | 9.198 | 0.20535
2020-09-15 16:15:00 | 3.126 | 23.9 | 3.045 | 44.029 | 2.514 | 31.5 | 2.472 | 73.533 | 22.481 | 889.133 | 9.055 | 0.17906
2020-09-15 16:30:00 | 2.015 | 251.76 | 1.988 | 293.609 | 2.32 | 306.133 | 2.948 | 307 | 22.127 | 889.067 | 9.001 | 0.20109
2020-09-15 16:45:00 | 1.294 | 31.88 | 1.347 | 66.803 | 1.389 | 35.933 | 1.929 | 247.869 | 22.498 | 889.333 | 8.848 | 0.18688
2020-09-15 17:00:00 | 1.786 | 323.227 | 1.993 | 301.028 | 1.601 | 306.133 | 2.032 | 294.633 | 23.298 | 888.667 | 8.703 | 0.14567
2020-09-15 17:15:00 | 1.868 | 118.51 | 1.863 | 96.428 | 1.699 | 100.502 | 2.133 | 121.233 | 24.127 | 889.133 | 8.203 | 0.18759
2020-09-15 17:30:00 | 1.049 | 287.593 | 1.76 | 297.189 | 1.513 | 300.867 | 1.825 | 299.233 | 22.964 | 889.467 | 8.509 | 0.098058
2020-09-15 17:45:00 | 3.506 | 168.012 | 3.505 | 108.137 | 3.594 | 3.6 | 3.504 | 2.367 | 23.031 | 888.867 | 8.432 | 0.25367
2020-09-15 18:00:00 | 4.248 | 38.927 | 4.273 | 71.98 | 4.287 | 18.568 | 4.708 | 20 | 23.031 | 888.867 | 8.737 | 0.2153
2020-09-15 18:15:00 | 3.61 | 46.782 | 3.516 | 42.272 | 3.759 | 42.367 | 4.192 | 39.333 | 23.231 | 889.267 | 8.72 | 3.7433
2020-09-15 18:30:00 | 4.409 | 58.153 | 4.416 | 50.723 | 4.293 | 54.133 | 4.613 | 51.767 | 23.164 | 888.933 | 8.907 | 10.4077
2020-09-15 18:45:00 | 4.773 | 53.867 | 4.57 | 54.065 | 4.291 | 54.133 | 4.54 | 50.8 | 22.581 | 889.067 | 9.137 | 10.0687
2020-09-15 19:00:00 | 4.003 | 41.745 | 3.865 | 37.804 | 3.693 | 45.533 | 3.94 | 39.733 | 22.168 | 888.9 | 10.099 | 6.6871
2020-09-15 19:15:00 | 3.816 | 42.221 | 3.869 | 37.812 | 3.935 | 41.533 | 4.12 | 38.7 | 21.727 | 889.533 | 10.816 | 5.9752
2020-09-15 19:30:00 | 4.071 | 41.732 | 4.356 | 36.887 | 4.908 | 40.533 | 5.242 | 38.267 | 21.502 | 889.367 | 11.325 | 8.0273
2020-09-15 19:45:00 | 3.64 | 40.964 | 4.342 | 36.238 | 5.079 | 39.4 | 5.42 | 37.2 | 20.918 | 889.467 | 11.459 | 6.3603
2020-09-15 20:00:00 | 2.894 | 44.31 | 3.82 | 34.458 | 4.113 | 38.767 | 4.41 | 39.833 | 20.439 | 889.667 | 11.824 | 4.1696
2020-09-15 20:15:00 | 2.666 | 63.623 | 3.003 | 52.15 | 2.535 | 57.8 | 2.704 | 53.3 | 20.377 | 889.333 | 12.333 | 1.8503
2020-09-15 20:30:00 | 1.994 | 64.888 | 2.096 | 55.195 | 1.59 | 57.733 | 1.999 | 49.167 | 19.939 | 889.567 | 12.421 | 0.38513
2020-09-15 20:45:00 | 1.997 | 68.233 | 2.074 | 60.318 | 1.58 | 59.567 | 1.827 | 46.233 | 19.414 | 889.5 | 12.565 | 0.15988
2020-09-15 21:00:00 | 1.576 | 124.363 | 1.44 | 72.156 | 1.414 | 83.833 | 1.986 | 79 | 19.548 | 889.467 | 12.683 | 0.19754
2020-09-15 21:15:00 | 2.275 | 147.5 | 2.157 | 109.807 | 2.088 | 102.733 | 2.389 | 80.767 | 19.281 | 889.333 | 13.101 | 0.29418
2020-09-15 21:30:00 | 0.662 | 192.613 | 0 | 116.742 | 0 | 106 | 0.876 | 80 | 18.231 | 889.667 | 14.045 | 0.21033
2020-09-15 21:45:00 | 1.209 | 192.68 | 0 | 117.232 | 0 | 106 | 1.021 | 80 | 17.873 | 889.033 | 14.307 | 0.1748
2020-09-15 22:00:00 | 2.442 | 217.1 | 0.036 | 121.331 | 0 | 106 | 0 | 80.067 | 17.639 | 889.6 | 14.536 | 0.17054
2020-09-15 22:15:00 | 2.985 | 204.733 | 1.803 | 188.552 | 1.196 | 164.033 | 1.664 | 80.067 | 17.639 | 889.867 | 14.355 | 0.18048
2020-09-15 22:30:00 | 3.12 | 205.853 | 2.717 | 189.838 | 2.147 | 184.2 | 2.151 | 144.8 | 18.123 | 889.933 | 14.043 | 0.18048
2020-09-15 22:45:00 | 4.944 | 224.967 | 3.289 | 209.668 | 2.864 | 200.333 | 2.893 | 184.667 | 17.573 | 889.7 | 14.616 | 0.15632
2020-09-15 23:00:00 | 6.058 | 231.187 | 5.124 | 225.824 | 4.469 | 221.267 | 3.773 | 208.2 | 15.196 | 889.667 | 16.691 | 1.473
2020-09-15 23:15:00 | 6.252 | 228.42 | 5.72 | 233.054 | 5.226 | 232.4 | 4.829 | 220.8 | 13.878 | 889.367 | 18.648 | 6.6338
2020-09-15 23:30:00 | 5.539 | 226.333 | 5.436 | 237.003 | 5.261 | 239.8 | 5.267 | 230.567 | 13.372 | 889.533 | 19.581 | 12.4108
2020-09-15 23:45:00 | 6.409 | 221.867 | 6.9 | 228.559 | 5.964 | 230.8 | 5.656 | 224.133 | 13.178 | 889.683 | 20.392 | 11.6952