## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-16 00:00:00 | 6.819 | 226.653 | 7.665 | 231.712 | 7.12 | 235.367 | 6.692 | 228.767 | 13.504 | 889.633 | 19.493 | 18.3816
2020-09-16 00:15:00 | 6.685 | 233.353 | 7.302 | 235.74 | 7.036 | 241.133 | 6.743 | 236.933 | 13.862 | 889.333 | 18.552 | 28.2905
2020-09-16 00:30:00 | 5.163 | 238.007 | 5.837 | 244.073 | 5.157 | 256.1 | 4.808 | 259.567 | 13.883 | 889.4 | 18.581 | 18.187
2020-09-16 00:45:00 | 5.267 | 233.167 | 4.984 | 247.191 | 4.319 | 266.533 | 4.488 | 282.1 | 13.178 | 889.333 | 19.379 | 10.3594
2020-09-16 01:00:00 | 5.1 | 234.427 | 4.911 | 269.397 | 5.161 | 292.6 | 6.179 | 295.767 | 12.636 | 889.433 | 19.649 | 5.7613
2020-09-16 01:15:00 | 5.557 | 245.62 | 5.509 | 266.239 | 5.298 | 276.6 | 5.581 | 277.033 | 12.484 | 889.667 | 19.664 | 10.2236
2020-09-16 01:30:00 | 6.184 | 239.32 | 6.846 | 253.226 | 6.504 | 261.133 | 6.711 | 259.917 | 13.214 | 889.733 | 18.319 | 16.0467
2020-09-16 01:45:00 | 5.754 | 243.127 | 6.795 | 253.62 | 6.871 | 261.2 | 7.103 | 259.45 | 12.576 | 889.5 | 18.049 | 26.4118
2020-09-16 02:00:00 | 5.534 | 243.54 | 6.957 | 253.554 | 7.392 | 262.067 | 7.922 | 260.867 | 12.834 | 890.333 | 17.995 | 29.6726
2020-09-16 02:15:00 | 6.358 | 247.84 | 7.99 | 256.918 | 8.278 | 265 | 8.683 | 261.8 | 12.928 | 889.4 | 17.924 | 33.3007
2020-09-16 02:30:00 | 5.876 | 248.827 | 7.358 | 257.026 | 7.693 | 264.933 | 8.062 | 262.1 | 13.368 | 889.6 | 18.067 | 38.1581
2020-09-16 02:45:00 | 6.377 | 246.747 | 7.843 | 252.899 | 8.094 | 260.933 | 8.45 | 258.85 | 12.982 | 889 | 18.357 | 41.4808
2020-09-16 03:00:00 | 6.716 | 247.647 | 8.876 | 254.118 | 9.382 | 261.267 | 9.797 | 258.367 | 13.116 | 889.567 | 18.856 | 54.2773
2020-09-16 03:15:00 | 7.57 | 250 | 9.325 | 252.454 | 9.797 | 258.933 | 10.02 | 257.117 | 13.804 | 890.067 | 18.896 | 68.2265
2020-09-16 03:30:00 | 6.584 | 247.413 | 8.92 | 249.891 | 9.662 | 257.2 | 9.914 | 254.017 | 13.958 | 889.9 | 19.485 | 58.1698
2020-09-16 03:45:00 | 7.464 | 240.753 | 9.222 | 242.684 | 9.334 | 250.8 | 9.393 | 246.967 | 13.297 | 889.717 | 20.4 | 51.3498
2020-09-16 04:00:00 | 7.605 | 233.053 | 9.591 | 234.172 | 10.366 | 241.6 | 10.051 | 238.8 | 13.224 | 889.4 | 21.019 | 49.0653
2020-09-16 04:15:00 | 8.166 | 229.133 | 10.274 | 231.164 | 10.741 | 236.033 | 10.908 | 233.033 | 13.791 | 889.867 | 21.003 | 45.4258
2020-09-16 04:30:00 | 7.339 | 224.72 | 9.814 | 228.2 | 10.728 | 235.433 | 10.832 | 232.167 | 13.587 | 889.5 | 20.48 | 38.598
2020-09-16 04:45:00 | 7.805 | 227.233 | 10.004 | 228.33 | 10.569 | 234.367 | 10.618 | 231.533 | 13.924 | 889.467 | 20.499 | 34.3701
2020-09-16 05:00:00 | 7.387 | 230.813 | 9.63 | 233.705 | 10.993 | 241.967 | 11.508 | 239.4 | 13.633 | 889.433 | 21.195 | 33.1508
2020-09-16 05:15:00 | 7.614 | 230.46 | 9.589 | 231.293 | 10.354 | 237.967 | 10.603 | 233.6 | 13.904 | 890.017 | 21.648 | 31.2898
2020-09-16 05:30:00 | 8.258 | 232.26 | 9.986 | 233.559 | 10.864 | 238.9 | 11.055 | 236.7 | 13.887 | 889.517 | 22.149 | 29.7543
2020-09-16 05:45:00 | 7.975 | 236.16 | 10.236 | 236.194 | 11.809 | 243.933 | 11.846 | 239.333 | 14.191 | 889.733 | 22.283 | 30.1763
2020-09-16 06:00:00 | 8.279 | 237.067 | 10.166 | 235.99 | 11.382 | 243.8 | 11.506 | 241.333 | 14.216 | 889.983 | 22.891 | 30.4059
2020-09-16 06:15:00 | 8.135 | 240.4 | 10.306 | 237.369 | 11.33 | 244.867 | 11.2 | 242.167 | 14.078 | 889.867 | 23.611 | 29.863
2020-09-16 06:30:00 | 7.949 | 246.113 | 10.513 | 244.997 | 11.35 | 252.7 | 11.619 | 247.45 | 13.887 | 889.217 | 24.299 | 31.7545
2020-09-16 06:45:00 | 7.703 | 245.587 | 10.626 | 247.031 | 11.537 | 255.533 | 11.663 | 252.467 | 12.859 | 889.4 | 26.331 | 33.2574
2020-09-16 07:00:00 | 7.878 | 242.053 | 10.259 | 243.724 | 10.588 | 251.833 | 10.59 | 249.067 | 12.22 | 889.917 | 28.725 | 31.7957
2020-09-16 07:15:00 | 8.019 | 235.56 | 10 | 236.934 | 10.163 | 246.667 | 10.024 | 244.633 | 12.426 | 890.017 | 29.621 | 29.8594
2020-09-16 07:30:00 | 7.224 | 226.107 | 9.273 | 226.045 | 10.429 | 233.067 | 10.838 | 229.533 | 12.472 | 889.767 | 27.909 | 28.8078
2020-09-16 07:45:00 | 7.549 | 228.793 | 9.732 | 228.647 | 10.652 | 236.167 | 10.904 | 231.667 | 12.736 | 889.55 | 29.552 | 28.7971
2020-09-16 08:00:00 | 7.382 | 227.347 | 8.991 | 227.385 | 9.965 | 234.7 | 10.241 | 232.3 | 12.922 | 890.1 | 30.203 | 28.3132
2020-09-16 08:15:00 | 6.517 | 224.347 | 8.168 | 222.382 | 9.368 | 228.233 | 9.866 | 224.367 | 13.22 | 889.617 | 31.456 | 29.0252
2020-09-16 08:30:00 | 7.157 | 222.62 | 8.564 | 221.136 | 9.275 | 225.167 | 9.599 | 223.5 | 13.624 | 889.85 | 33.099 | 28.4326
2020-09-16 08:45:00 | 7.056 | 225.887 | 8.105 | 224.197 | 9.07 | 228.6 | 9.536 | 225.333 | 13.995 | 889.983 | 34.283 | 27.3199
2020-09-16 09:00:00 | 6.527 | 234.407 | 7.3 | 232.24 | 8.257 | 236.7 | 8.406 | 233.4 | 14.428 | 890.117 | 34.683 | 27.3049
2020-09-16 09:15:00 | 7.158 | 239.027 | 7.582 | 236.522 | 8.032 | 241.067 | 8.165 | 237.1 | 15.428 | 890.033 | 32.667 | 29.9042
2020-09-16 09:30:00 | 6.991 | 244.893 | 7.12 | 240.397 | 7.422 | 245.433 | 7.554 | 239.567 | 16.364 | 889.833 | 30.037 | 29.6633
2020-09-16 09:45:00 | 7.718 | 248.607 | 8.363 | 243.969 | 8.457 | 247.95 | 8.436 | 243.033 | 17.989 | 889.5 | 26.288 | 31.832
2020-09-16 10:00:00 | 7.64 | 266.753 | 8.05 | 260.917 | 8.222 | 264.4 | 8.152 | 257.083 | 18.856 | 889.633 | 24.768 | 41.1567
2020-09-16 10:15:00 | 7.386 | 256.92 | 7.892 | 251.068 | 7.921 | 257 | 7.958 | 253.133 | 19.264 | 889.517 | 22.992 | 38.9376
2020-09-16 10:30:00 | 8.243 | 262.313 | 8.832 | 257.324 | 9.163 | 261.3 | 8.894 | 255.5 | 19.098 | 889.717 | 23.392 | 46.81
2020-09-16 10:45:00 | 9.041 | 270.787 | 9.785 | 263.261 | 9.918 | 266.75 | 9.961 | 262.383 | 19.248 | 889.7 | 22.443 | 51.617
2020-09-16 11:00:00 | 8.892 | 268.333 | 9.403 | 261.243 | 9.587 | 266.633 | 9.566 | 260.15 | 18.923 | 890.05 | 25.144 | 61.4079
2020-09-16 11:15:00 | 8.025 | 270.553 | 8.466 | 265.158 | 8.419 | 267.633 | 8.422 | 260.1 | 17.939 | 889.717 | 25.432 | 49.0582
2020-09-16 11:30:00 | 6.127 | 279.2 | 6.431 | 274.487 | 6.376 | 277.967 | 6.523 | 274.033 | 17.844 | 889.917 | 27.387 | 29.7713
2020-09-16 11:45:00 | 6.822 | 290.467 | 7.049 | 284.314 | 7.148 | 288.267 | 7.33 | 284.933 | 17.894 | 889.717 | 27.467 | 21.5025
2020-09-16 12:00:00 | 6.927 | 289.387 | 7.341 | 281.561 | 7.458 | 282.933 | 7.646 | 279.5 | 18.185 | 889.533 | 27.811 | 26.1929
2020-09-16 12:15:00 | 5.25 | 283.627 | 5.77 | 272.984 | 5.816 | 276.967 | 6.204 | 271.967 | 19.06 | 889.783 | 25.264 | 18.1138
2020-09-16 12:30:00 | 7.61 | 306.733 | 7.766 | 301.109 | 7.769 | 303.733 | 8.015 | 297.1 | 19.181 | 889.767 | 25.616 | 17.9681
2020-09-16 12:45:00 | 7.611 | 289.36 | 7.976 | 283.122 | 8.17 | 285.933 | 8.349 | 282.7 | 18.498 | 890.067 | 27.448 | 39.5608
2020-09-16 13:00:00 | 6.843 | 296.8 | 7.221 | 290.98 | 7.358 | 292.533 | 7.648 | 289.6 | 18.539 | 889.4 | 27.072 | 31.9982
2020-09-16 13:15:00 | 6.561 | 297.267 | 6.684 | 291.688 | 6.8 | 296.9 | 6.751 | 295.833 | 18.839 | 889.767 | 26.955 | 23.4736
2020-09-16 13:30:00 | 6.952 | 308.413 | 7.079 | 303.56 | 7.062 | 302.5 | 6.987 | 300.233 | 19.502 | 889.783 | 25.328 | 16.1888
2020-09-16 13:45:00 | 5.866 | 316.613 | 5.984 | 311.809 | 6.308 | 314.133 | 6.609 | 311.6 | 19.602 | 889.8 | 23.771 | 16.1711
2020-09-16 14:00:00 | 5.861 | 305.013 | 6.123 | 302.102 | 6.248 | 305.2 | 6.406 | 303.033 | 19.735 | 889.817 | 22.829 | 17.7635
2020-09-16 14:15:00 | 5.489 | 309.547 | 5.762 | 305.11 | 5.8 | 309.933 | 6.072 | 307.833 | 19.702 | 889.767 | 22.947 | 18.9849
2020-09-16 14:30:00 | 4.526 | 305.307 | 5.173 | 304.148 | 5.316 | 309.8 | 5.614 | 306.267 | 19.831 | 889.783 | 22.811 | 16.3075
2020-09-16 14:45:00 | 5.832 | 301.613 | 5.762 | 297.557 | 6.2 | 300.9 | 6.734 | 300.167 | 20.252 | 889.717 | 22.755 | 17.4139
2020-09-16 15:00:00 | 6.132 | 321.013 | 6.352 | 316.504 | 6.368 | 321.5 | 6.681 | 317.633 | 20.268 | 889.75 | 22.488 | 17.9752
2020-09-16 15:15:00 | 5.936 | 293.96 | 6.276 | 290.891 | 6.078 | 298.3 | 6.448 | 297.033 | 20.552 | 890.217 | 22.816 | 19.5853
2020-09-16 15:30:00 | 4.911 | 304.373 | 5.097 | 300.378 | 5.447 | 303.133 | 5.669 | 301.333 | 20.818 | 890.133 | 22.528 | 18.3127
2020-09-16 15:45:00 | 6.658 | 311.32 | 7.079 | 303.968 | 7.143 | 305.333 | 7.521 | 300.1 | 21.381 | 889.817 | 21.995 | 16.9555
2020-09-16 16:00:00 | 3.348 | 327.76 | 3.574 | 315.22 | 3.683 | 320.5 | 4.365 | 316.2 | 20.856 | 889.583 | 22.013 | 15.3291
2020-09-16 16:15:00 | 6.309 | 280.882 | 6.716 | 307.042 | 6.76 | 297.667 | 7.05 | 296.5 | 20.789 | 889.5 | 22.029 | 10.9569
2020-09-16 16:30:00 | 4.759 | 319.093 | 4.862 | 309.059 | 4.763 | 311.1 | 4.972 | 311.367 | 21.389 | 889.65 | 22.101 | 9.7987
2020-09-16 16:45:00 | 4.656 | 300.293 | 5.017 | 292.476 | 5.015 | 293.05 | 5.387 | 290.1 | 21.423 | 889.917 | 21.912 | 11.9759
2020-09-16 17:00:00 | 5.436 | 316.24 | 5.705 | 306.777 | 5.55 | 310.7 | 6.039 | 309.333 | 20.785 | 889.9 | 22.437 | 12.7206
2020-09-16 17:15:00 | 5.064 | 301.68 | 5.134 | 299.918 | 5.232 | 303.7 | 5.721 | 303.467 | 21.731 | 889.683 | 22.08 | 10.7743
2020-09-16 17:30:00 | 5.646 | 318.227 | 5.496 | 308.847 | 5.547 | 311.1 | 5.982 | 311.2 | 21.898 | 889.783 | 22.176 | 8.8714
2020-09-16 17:45:00 | 4.738 | 302.68 | 5.127 | 300.628 | 5.148 | 305.567 | 5.58 | 300.633 | 21.564 | 889.617 | 22.024 | 7.6201
2020-09-16 18:00:00 | 5.005 | 329.347 | 5.193 | 323.894 | 5.407 | 329.567 | 5.711 | 328.767 | 21.752 | 889.5 | 22.144 | 6.054
2020-09-16 18:15:00 | 4.99 | 330.587 | 4.996 | 324.693 | 5.209 | 328.667 | 5.313 | 327.233 | 21.623 | 889.617 | 22.187 | 3.6793
2020-09-16 18:30:00 | 4.546 | 274.133 | 4.969 | 338.1 | 5.245 | 304.8 | 5.512 | 315.8 | 21.873 | 889.85 | 21.149 | 5.1083
2020-09-16 18:45:00 | 6.59 | 306.893 | 7.057 | 301.559 | 7.28 | 307.467 | 7.611 | 304.267 | 21.66 | 889.833 | 21.4 | 11.2582
2020-09-16 19:00:00 | 6.41 | 325.933 | 6.862 | 318.74 | 7.027 | 320.767 | 7.374 | 319.067 | 21.481 | 889.3 | 21.557 | 22.1029
2020-09-16 19:15:00 | 5.347 | 307.067 | 5.972 | 299.862 | 6.039 | 303.767 | 6.472 | 302.3 | 20.848 | 889.783 | 22.088 | 16.8859
2020-09-16 19:30:00 | 5.517 | 306.133 | 5.7 | 301.396 | 5.799 | 304.967 | 6.154 | 301.167 | 20.727 | 889.617 | 22.469 | 14.0316
2020-09-16 19:45:00 | 3.979 | 296.213 | 4.912 | 290.387 | 4.981 | 294.333 | 5.278 | 292.667 | 20.164 | 889.533 | 23.253 | 11.2731
2020-09-16 20:00:00 | 2.943 | 301.88 | 3.723 | 297.879 | 3.646 | 303.533 | 4.102 | 302.4 | 19.839 | 889.317 | 24.093 | 5.3584
2020-09-16 20:15:00 | 1.761 | 290.2 | 2.306 | 288.405 | 2.256 | 298.1 | 2.768 | 298.967 | 19.739 | 889.95 | 24.416 | 1.2343
2020-09-16 20:30:00 | 1.782 | 266.98 | 1.74 | 286.609 | 1.644 | 294.533 | 2.367 | 291.8 | 19.018 | 889.767 | 24.987 | 0.28849
2020-09-16 20:45:00 | 1.85 | 251.6 | 1.722 | 281.1 | 1.526 | 278.333 | 2.227 | 286.933 | 18.823 | 889.7 | 25.909 | 0.25865
2020-09-16 21:00:00 | 2.813 | 234.247 | 1.972 | 261.563 | 1.81 | 268 | 2.369 | 269 | 18.194 | 889.85 | 26.424 | 0.20606
2020-09-16 21:15:00 | 3.208 | 231.893 | 2.49 | 245.624 | 2.089 | 259.867 | 2.402 | 265 | 18.323 | 889.55 | 26.491 | 0.46187
2020-09-16 21:30:00 | 4.493 | 239.86 | 3.054 | 250.433 | 2.752 | 260 | 3.081 | 265 | 17.048 | 889.717 | 27.216 | 3.1919
2020-09-16 21:45:00 | 4.561 | 253.833 | 3.536 | 264.984 | 3.292 | 275.133 | 3.541 | 272.167 | 16.681 | 889.8 | 28.171 | 4.6009
2020-09-16 22:00:00 | 4.99 | 256.593 | 3.993 | 266.544 | 3.733 | 276.3 | 3.947 | 272.033 | 17.331 | 889.917 | 27.888 | 1.8837
2020-09-16 22:15:00 | 3.766 | 221.38 | 3.685 | 247.907 | 3.136 | 259.067 | 2.992 | 264.767 | 15.54 | 890.067 | 29.659 | 0.23733
2020-09-16 22:30:00 | 4.771 | 201.6 | 4.741 | 208.688 | 4.196 | 220.4 | 3.336 | 227.5 | 14.841 | 889.583 | 31.568 | 1.5163
2020-09-16 22:45:00 | 4.74 | 211.3 | 4.428 | 218.645 | 3.22 | 231.633 | 2.948 | 226 | 14.824 | 889.7 | 32.539 | 1.1248
2020-09-16 23:00:00 | 4.933 | 212.793 | 4.456 | 219.708 | 3.358 | 233 | 2.938 | 226.033 | 14.478 | 889.8 | 33.173 | 1.2968
2020-09-16 23:15:00 | 5.187 | 215.247 | 4.04 | 224.579 | 2.998 | 231 | 3.022 | 225.867 | 13.87 | 889.8 | 34.576 | 0.79583
2020-09-16 23:30:00 | 5.341 | 224.347 | 5.028 | 228.595 | 4.362 | 237.5 | 3.901 | 232.733 | 13.503 | 889.817 | 35.547 | 1.5803
2020-09-16 23:45:00 | 5.586 | 228.7 | 5.396 | 234.705 | 4.618 | 243.5 | 4.105 | 241.8 | 13.212 | 889.483 | 36.075 | 3.7944