## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-17 00:00:00 | 5.169 | 220.92 | 4.783 | 231.57 | 4.052 | 239.333 | 3.587 | 242.867 | 13.187 | 889.633 | 36.4 | 3.4939
2020-09-17 00:15:00 | 5.389 | 213.713 | 4.552 | 224.96 | 3.928 | 231.133 | 3.482 | 231.933 | 12.832 | 889.817 | 37.531 | 2.4692
2020-09-17 00:30:00 | 5.837 | 219.113 | 6.15 | 220.146 | 5.107 | 229.2 | 4.525 | 228.267 | 12.161 | 889.433 | 38.517 | 3.8363
2020-09-17 00:45:00 | 5.75 | 219.787 | 5.913 | 221.332 | 4.843 | 228 | 4.242 | 228 | 12.338 | 889.483 | 38.832 | 4.5263
2020-09-17 01:00:00 | 5.903 | 220.067 | 5.635 | 221.521 | 4.617 | 229.667 | 4.116 | 227.933 | 12.432 | 889.917 | 39.12 | 4.554
2020-09-17 01:15:00 | 6.111 | 220 | 6.675 | 219.511 | 6.114 | 223.867 | 5.038 | 219.6 | 12.418 | 889.95 | 39.296 | 6.4875
2020-09-17 01:30:00 | 5.888 | 217.76 | 6.186 | 216.864 | 5.294 | 218.9 | 4.771 | 215.933 | 12.24 | 889.833 | 39.669 | 7.4283
2020-09-17 01:45:00 | 6.065 | 216.42 | 5.907 | 215.902 | 5.179 | 219.367 | 4.813 | 213 | 12.166 | 889.45 | 39.547 | 5.8465
2020-09-17 02:00:00 | 5.738 | 212.147 | 6.978 | 209.98 | 5.939 | 213.933 | 5.312 | 210.733 | 12.057 | 889.817 | 39.573 | 7.0403
2020-09-17 02:15:00 | 6.201 | 218.767 | 5.883 | 207.561 | 5.607 | 204.633 | 5.626 | 197.667 | 12.266 | 889.7 | 39.259 | 7.2286
2020-09-17 02:30:00 | 4.925 | 213.12 | 5.899 | 202.361 | 5.438 | 202.567 | 5.472 | 196.9 | 12.099 | 890.033 | 39.408 | 7.8347
2020-09-17 02:45:00 | 4.852 | 206.44 | 5.758 | 193.948 | 5.16 | 195.3 | 5.138 | 190.067 | 12.357 | 890.083 | 38.192 | 7.8013
2020-09-17 03:00:00 | 5.247 | 200.367 | 5.067 | 187.36 | 4.87 | 186.633 | 4.557 | 175.967 | 12.984 | 889.667 | 37.12 | 5.7435
2020-09-17 03:15:00 | 4.912 | 208.247 | 6.082 | 187.189 | 5.793 | 184.1 | 5.108 | 175.567 | 12.074 | 889.767 | 38.715 | 3.577
2020-09-17 03:30:00 | 6.426 | 215.7 | 6.473 | 197.243 | 5.946 | 188.4 | 4.838 | 176.733 | 11.028 | 889.292 | 41.291 | 5.6582
2020-09-17 03:45:00 | 5.26 | 198.633 | 7.16 | 180.107 | 6.338 | 178.7 | 5.828 | 175.033 | 11.599 | 889.45 | 40.779 | 8.9567
2020-09-17 04:00:00 | 5.546 | 220.2 | 6.026 | 200.151 | 7.252 | 186.033 | 7.205 | 178.433 | 11.145 | 889.883 | 42.315 | 8.1175
2020-09-17 04:15:00 | 5.231 | 216 | 5.668 | 191.416 | 6.168 | 187.833 | 6.719 | 182.033 | 11.582 | 889.408 | 40.725 | 8.3456
2020-09-17 04:30:00 | 5.281 | 227.947 | 5.4 | 211.239 | 5.571 | 204.4 | 5.776 | 195.167 | 10.599 | 889.758 | 43.019 | 15.4626
2020-09-17 04:45:00 | 5.213 | 233.767 | 6.326 | 218.372 | 6.427 | 212.633 | 7.057 | 201 | 10.541 | 890.05 | 43.84 | 19.3473
2020-09-17 05:00:00 | 4.773 | 220.34 | 6.898 | 208.065 | 7.841 | 201.033 | 7.803 | 190.7 | 10.595 | 889.617 | 43.723 | 20.4387
2020-09-17 05:15:00 | 5.778 | 204.207 | 7.954 | 196.699 | 7.732 | 196.5 | 7.436 | 190 | 11.44 | 890.15 | 42.379 | 18.5124
2020-09-17 05:30:00 | 5.496 | 209.187 | 7.199 | 201.805 | 7.58 | 201.433 | 7.49 | 192.5 | 11.807 | 889.658 | 41.312 | 15.5714
2020-09-17 05:45:00 | 4.666 | 204.913 | 6.273 | 200.715 | 6.549 | 197.433 | 6.587 | 187.467 | 11.803 | 889.817 | 42.027 | 10.6542
2020-09-17 06:00:00 | 5.199 | 212.007 | 5.731 | 199.907 | 5.739 | 195.2 | 6.105 | 184.367 | 11.524 | 890.308 | 42.251 | 6.4235
2020-09-17 06:15:00 | 5.74 | 219.547 | 5.893 | 200.706 | 6.579 | 195.933 | 6.329 | 185.2 | 10.693 | 890.008 | 43.179 | 5.7208
2020-09-17 06:30:00 | 5.881 | 211.173 | 6.984 | 192.108 | 6.582 | 186.733 | 7.07 | 179 | 10.468 | 889.675 | 42.453 | 6.1166
2020-09-17 06:45:00 | 5.459 | 209.16 | 6.796 | 191.694 | 5.873 | 187.133 | 6.163 | 178.2 | 10.353 | 889.733 | 40.432 | 4.9505
2020-09-17 07:00:00 | 5.351 | 223.827 | 6.402 | 207.094 | 6.4 | 198.1 | 6.44 | 189.8 | 10.176 | 889.7 | 40.32 | 6.5059
2020-09-17 07:15:00 | 5.442 | 218.313 | 6.36 | 202.407 | 5.277 | 198.767 | 6.102 | 186.067 | 9.858 | 889.767 | 39.968 | 5.8906
2020-09-17 07:30:00 | 4.315 | 213.267 | 6.276 | 200.545 | 5.766 | 192.1 | 6.07 | 181.233 | 10.33 | 890.083 | 38.005 | 3.8719
2020-09-17 07:45:00 | 5.06 | 211.88 | 6.05 | 197.49 | 6.481 | 192.933 | 6.041 | 182.533 | 11.803 | 889.85 | 36.171 | 3.7717
2020-09-17 08:00:00 | 5.585 | 208.58 | 6.237 | 194.871 | 6.868 | 191.2 | 6.227 | 181.533 | 11.974 | 889.917 | 35.333 | 6.0093
2020-09-17 08:15:00 | 5.668 | 209.553 | 6.742 | 199.687 | 6.229 | 195.433 | 6.747 | 184.733 | 12.859 | 889.3 | 34.48 | 6.1805
2020-09-17 08:30:00 | 5.373 | 206.133 | 6.35 | 195.58 | 6.763 | 192.533 | 6.656 | 182.567 | 14.454 | 889.617 | 32.517 | 6.4008
2020-09-17 08:45:00 | 4.598 | 197.207 | 6.656 | 191.3 | 6.395 | 188.367 | 6.616 | 179.9 | 15.68 | 889.883 | 30.304 | 7.505
2020-09-17 09:00:00 | 4.428 | 195.08 | 4.821 | 189.47 | 5.364 | 186.033 | 5.979 | 178.2 | 17.248 | 889.8 | 27.563 | 4.3551
2020-09-17 09:15:00 | 4.464 | 190.853 | 4.701 | 184.735 | 5.036 | 186.967 | 5.743 | 180.633 | 18.814 | 889.967 | 25.093 | 3.6807
2020-09-17 09:30:00 | 4.468 | 190.96 | 4.579 | 186.18 | 4.785 | 188.467 | 5.006 | 183.367 | 19.235 | 889.7 | 23.045 | 2.2184
2020-09-17 09:45:00 | 4.149 | 180.98 | 4.262 | 175.655 | 4.124 | 175.933 | 4.395 | 172.067 | 19.748 | 889.483 | 22.144 | 1.5391
2020-09-17 10:00:00 | 3.104 | 164.867 | 3.083 | 158.893 | 3.023 | 163.733 | 3.681 | 154.267 | 19.756 | 889.45 | 22.064 | 3.091
2020-09-17 10:15:00 | 3.142 | 153.72 | 3.255 | 149.169 | 3.392 | 153.3 | 3.658 | 148.367 | 19.644 | 889.65 | 21.835 | 2.3236
2020-09-17 10:30:00 | 3.388 | 148.273 | 3.381 | 139.25 | 3.419 | 142.8 | 3.707 | 138.667 | 20.318 | 890.067 | 21.909 | 2.1232
2020-09-17 10:45:00 | 3.041 | 125.257 | 3.285 | 119.884 | 3.338 | 126.367 | 3.531 | 125.867 | 20.544 | 889.683 | 21.893 | 2.941
2020-09-17 11:00:00 | 4.237 | 121.133 | 4.196 | 117.797 | 4.387 | 123.2 | 4.636 | 119.933 | 20.835 | 890.067 | 21.248 | 4.2428
2020-09-17 11:15:00 | 3.632 | 143.757 | 3.958 | 133.86 | 3.889 | 139.167 | 4.208 | 130.5 | 20.864 | 889.733 | 20.525 | 5.2269
2020-09-17 11:30:00 | 3.964 | 125.44 | 4.049 | 116.661 | 4.166 | 121.4 | 4.542 | 120.8 | 21.389 | 889.367 | 20.285 | 5.5495
2020-09-17 11:45:00 | 4.537 | 113.1 | 4.549 | 110.856 | 4.735 | 115.8 | 5.012 | 109.033 | 21.61 | 889.233 | 20.152 | 4.559
2020-09-17 12:00:00 | 3.145 | 92.877 | 3.328 | 89.333 | 3.292 | 93.833 | 3.83 | 93.567 | 21.76 | 889.733 | 19.555 | 2.9005
2020-09-17 12:15:00 | 3.154 | 80.427 | 3.482 | 80.126 | 3.463 | 79.767 | 3.767 | 77.833 | 22.598 | 889.433 | 18.68 | 1.7857
2020-09-17 12:30:00 | 1.786 | 95.207 | 1.982 | 80.707 | 1.889 | 76.367 | 2.539 | 76.7 | 22.864 | 889.533 | 18.355 | 1.0282
2020-09-17 12:45:00 | 3.222 | 62.367 | 3.174 | 63.305 | 3.315 | 72.233 | 3.662 | 67.233 | 22.848 | 889.533 | 17.739 | 1.5995
2020-09-17 13:00:00 | 3.234 | 100.66 | 3.201 | 96.43 | 3.552 | 107.1 | 3.947 | 105.233 | 23.481 | 889.433 | 17.776 | 0.81076
2020-09-17 13:15:00 | 2.018 | 88.575 | 1.431 | 60.224 | 1.7 | 59.373 | 2.482 | 51.7 | 23.698 | 889.8 | 17.525 | 1.8006
2020-09-17 13:30:00 | 3.785 | 127.707 | 4.338 | 119.918 | 4.833 | 126.467 | 4.761 | 122.067 | 23.414 | 889.933 | 17.664 | 4.2783
2020-09-17 13:45:00 | 3.356 | 159.74 | 3.409 | 144.752 | 3.661 | 130.533 | 4.373 | 113.9 | 23.548 | 889.133 | 17.373 | 8.0557
2020-09-17 14:00:00 | 6.133 | 97.06 | 5.938 | 90.623 | 5.996 | 94.433 | 6.164 | 93.8 | 23.681 | 889.267 | 16.68 | 11.6846
2020-09-17 14:15:00 | 1.555 | 95.866 | 1.662 | 113.475 | 1.45 | 118.4 | 1.972 | 90.333 | 23.764 | 889.7 | 16.067 | 10.0076
2020-09-17 14:30:00 | 3.254 | 94.566 | 3.322 | 88.244 | 3.48 | 98.467 | 3.46 | 101.933 | 24.564 | 889.3 | 15.685 | 9.334
2020-09-17 14:45:00 | 5.884 | 111.257 | 5.572 | 103.946 | 5.403 | 109.1 | 6.042 | 102.8 | 24.448 | 889.133 | 15.248 | 10.7935
2020-09-17 15:00:00 | 5.102 | 101.917 | 5.345 | 101.331 | 5.269 | 105 | 5.426 | 101.767 | 24.994 | 889.7 | 14.837 | 10.7253
2020-09-17 15:15:00 | 3.619 | 87.123 | 3.777 | 88.47 | 3.807 | 91.533 | 3.972 | 92.533 | 24.777 | 889.667 | 14.728 | 10.596
2020-09-17 15:30:00 | 7.084 | 80.85 | 6.902 | 76.485 | 7.095 | 81.367 | 7.368 | 78.367 | 24.631 | 889.6 | 14.445 | 13.0666
2020-09-17 15:45:00 | 4.743 | 122.087 | 4.829 | 117.287 | 5.061 | 120.267 | 5.287 | 111.6 | 24.777 | 889.8 | 14.619 | 11.6938
2020-09-17 16:00:00 | 4.63 | 98.906 | 4.514 | 92.899 | 4.783 | 100.633 | 5.27 | 94.567 | 24.873 | 889.867 | 14.32 | 13.9257
2020-09-17 16:15:00 | 5.57 | 69.887 | 5.653 | 66.242 | 6.249 | 70.833 | 6.323 | 68.733 | 25.394 | 889.633 | 13.931 | 14.3328
2020-09-17 16:30:00 | 4.582 | 99.2 | 4.658 | 91.599 | 4.697 | 96.033 | 5.058 | 93 | 24.939 | 889.467 | 14.091 | 10.9157
2020-09-17 16:45:00 | 4.016 | 99.605 | 4.2 | 95.423 | 4.489 | 103.833 | 4.862 | 103.6 | 24.91 | 889.5 | 14.075 | 9.8918
2020-09-17 17:00:00 | 3.806 | 89.733 | 3.962 | 86.456 | 3.997 | 90.067 | 4.331 | 81.733 | 25.389 | 889.7 | 14.445 | 9.582
2020-09-17 17:15:00 | 4.859 | 70.013 | 4.792 | 63.54 | 5.284 | 65.367 | 5.227 | 59.667 | 24.981 | 889.533 | 14.507 | 10.2513
2020-09-17 17:30:00 | 4.529 | 74.898 | 4.555 | 74.343 | 4.785 | 80.733 | 5.158 | 80.933 | 24.973 | 889.067 | 14.429 | 13.7026
2020-09-17 17:45:00 | 5.263 | 65.738 | 5.262 | 60.578 | 5.645 | 66.133 | 6.081 | 65.6 | 24.868 | 889.5 | 14.677 | 13.6372
2020-09-17 18:00:00 | 4.916 | 91.067 | 4.803 | 86.571 | 4.78 | 88.433 | 4.736 | 81.967 | 25.223 | 889.667 | 14.323 | 14.6917
2020-09-17 18:15:00 | 5.297 | 91.1 | 5.16 | 85.748 | 5.09 | 87.833 | 5.652 | 82.567 | 25.006 | 889.3 | 14.131 | 18.8293
2020-09-17 18:30:00 | 6.096 | 85.795 | 5.754 | 81.637 | 6.222 | 87.033 | 6.37 | 80.533 | 25.139 | 889.867 | 13.997 | 23.6086
2020-09-17 18:45:00 | 6.398 | 79.918 | 6.532 | 74.623 | 6.819 | 77.433 | 7.178 | 73.933 | 24.71 | 889.767 | 14.381 | 26.4963
2020-09-17 19:00:00 | 6.248 | 77.3 | 6.375 | 72.147 | 6.847 | 76.3 | 7.165 | 74.167 | 24.664 | 889.533 | 14.461 | 28.3246
2020-09-17 19:15:00 | 7.08 | 76.908 | 7.048 | 74.837 | 7.199 | 79.367 | 7.388 | 74.367 | 24.214 | 889.433 | 14.832 | 27.6645
2020-09-17 19:30:00 | 5.633 | 84.913 | 6.158 | 79.322 | 6.592 | 83.433 | 6.836 | 78.4 | 23.973 | 889.4 | 15.517 | 28.1512
2020-09-17 19:45:00 | 4.643 | 82.593 | 5.115 | 79.159 | 5.244 | 85.633 | 5.411 | 81.867 | 23.164 | 889 | 16.624 | 26.2611
2020-09-17 20:00:00 | 4.698 | 91.167 | 5.084 | 90.264 | 4.119 | 94.133 | 4.365 | 90.4 | 22.731 | 889.433 | 17.283 | 24.5735
2020-09-17 20:15:00 | 4.15 | 90.143 | 4.665 | 85.06 | 4.144 | 92.4 | 4.279 | 86.233 | 22.252 | 888.933 | 17.792 | 17.163
2020-09-17 20:30:00 | 3.76 | 91.393 | 4.316 | 88.779 | 3.548 | 93.2 | 3.763 | 87.533 | 21.964 | 890.2 | 18.128 | 14.7869
2020-09-17 20:45:00 | 4.286 | 97.777 | 4.302 | 93.558 | 3.244 | 100.2 | 3.588 | 90.5 | 21.694 | 889.8 | 18.413 | 14.8267
2020-09-17 21:00:00 | 3.445 | 104.977 | 3.649 | 96.047 | 2.98 | 98.667 | 3.46 | 97.167 | 21.677 | 889.533 | 18.605 | 12.879
2020-09-17 21:15:00 | 3 | 96.883 | 3.756 | 89.626 | 3.14 | 93.567 | 3.2 | 87.133 | 20.727 | 889.567 | 18.912 | 8.9595
2020-09-17 21:30:00 | 2.318 | 89.547 | 3.203 | 82.977 | 3.434 | 84.9 | 4.156 | 80.633 | 20.631 | 889.167 | 19.107 | 4.8049
2020-09-17 21:45:00 | 2.786 | 116.747 | 3.238 | 104.995 | 3.097 | 107.567 | 3.275 | 100.7 | 20.339 | 889.367 | 19.357 | 4.9349
2020-09-17 22:00:00 | 3.131 | 117.883 | 3.694 | 106.224 | 3.382 | 108.6 | 3.446 | 98.967 | 20.985 | 889.633 | 19.045 | 5.6199
2020-09-17 22:15:00 | 2.402 | 130.52 | 3.376 | 112.831 | 3.521 | 115.933 | 4.073 | 108.967 | 20.781 | 889.633 | 19 | 5.1694
2020-09-17 22:30:00 | 2.502 | 156.953 | 3.59 | 120.23 | 3.961 | 119.067 | 4.702 | 113.933 | 19.748 | 889.367 | 19.733 | 4.0765
2020-09-17 22:45:00 | 2.565 | 169.993 | 2.781 | 132.672 | 2.95 | 131.633 | 3.421 | 124.533 | 19.594 | 889.883 | 20.291 | 2.6703
2020-09-17 23:00:00 | 2.443 | 175.587 | 2.318 | 138.851 | 2.298 | 130.267 | 3.056 | 122.733 | 19.885 | 889.467 | 20.221 | 1.6983
2020-09-17 23:15:00 | 2.243 | 212.393 | 1.2 | 152.521 | 1.401 | 136.433 | 2.322 | 127.933 | 18.931 | 889.917 | 20.816 | 0.61535
2020-09-17 23:30:00 | 2.941 | 245.633 | 0.462 | 154.584 | 0 | 133 | 0.279 | 123 | 18.606 | 890.067 | 21.189 | 0.2956
2020-09-17 23:45:00 | 2.837 | 222.327 | 1.26 | 154.462 | 1.593 | 140.567 | 2.645 | 123.233 | 18.239 | 889.9 | 21.797 | 0.21885