## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-18 00:00:00 | 4.082 | 205.633 | 3.023 | 163.261 | 2.83 | 144.9 | 3.675 | 126.6 | 18.473 | 889.867 | 21.376 | 0.74325
2020-09-18 00:15:00 | 3.818 | 233.533 | 3.26 | 224.953 | 1.748 | 220.9 | 0.927 | 181.867 | 14.045 | 889.55 | 26.411 | 0.44979
2020-09-18 00:30:00 | 6.259 | 224.587 | 4.828 | 221.478 | 3.402 | 215.3 | 2.564 | 197.667 | 13.795 | 889.6 | 28.544 | 0.29986
2020-09-18 00:45:00 | 6.052 | 243.333 | 5.072 | 247.128 | 3.752 | 246.367 | 2.872 | 229.1 | 14.078 | 889.75 | 28.235 | 0.97419
2020-09-18 01:00:00 | 5.742 | 230.187 | 6.094 | 242.377 | 4.906 | 253.2 | 3.657 | 250.117 | 14.199 | 890.083 | 28.416 | 3.6935
2020-09-18 01:15:00 | 5.726 | 231.553 | 6.022 | 237.296 | 5.086 | 246.467 | 4.204 | 245.667 | 13.691 | 889.85 | 30.027 | 5.0969
2020-09-18 01:30:00 | 5.379 | 232.013 | 5.321 | 241.078 | 4.582 | 249.667 | 4.097 | 248.067 | 13.303 | 890.067 | 30.459 | 4.5306
2020-09-18 01:45:00 | 5.901 | 229.54 | 6.618 | 236.839 | 5.456 | 247.933 | 4.538 | 248.433 | 12.962 | 889.35 | 31.029 | 4.4716
2020-09-18 02:00:00 | 6.245 | 227.92 | 6.315 | 241.521 | 5.542 | 253.733 | 4.794 | 257.467 | 13.13 | 889.783 | 31.029 | 7.5661
2020-09-18 02:15:00 | 5.537 | 229.027 | 5.552 | 236.063 | 4.92 | 243.5 | 4.257 | 240.633 | 13.445 | 889.633 | 31.147 | 4.9562
2020-09-18 02:30:00 | 4.956 | 222.153 | 4.99 | 228.749 | 4.236 | 237.233 | 3.625 | 233.3 | 13.247 | 889.367 | 31.227 | 1.7288
2020-09-18 02:45:00 | 5.805 | 220.36 | 4.714 | 225.016 | 3.947 | 229.667 | 3.242 | 224.9 | 12.98 | 889.9 | 31.264 | 1.198
2020-09-18 03:00:00 | 5.937 | 215.287 | 4.049 | 221.258 | 2.985 | 221.467 | 2.478 | 216.967 | 12.97 | 889.817 | 31.381 | 0.45689
2020-09-18 03:15:00 | 5.86 | 221.887 | 6.409 | 226.38 | 5.245 | 231.633 | 4.224 | 226.467 | 12.472 | 889.7 | 31.856 | 3.9699
2020-09-18 03:30:00 | 5.649 | 214.513 | 5.275 | 218.747 | 4.62 | 223.333 | 3.921 | 217.2 | 12.705 | 889.133 | 32.229 | 2.7755
2020-09-18 03:45:00 | 5.191 | 210.847 | 6.851 | 208.109 | 5.723 | 209.467 | 4.653 | 200.467 | 12.578 | 889.267 | 31.893 | 3.0128
2020-09-18 04:00:00 | 5.584 | 216.547 | 5.011 | 206.554 | 4.587 | 200.333 | 4.348 | 192.933 | 12.966 | 890 | 30.896 | 3.8001
2020-09-18 04:15:00 | 6.33 | 228.253 | 6.638 | 222.412 | 5.893 | 222.967 | 5.172 | 218.967 | 12.351 | 890.117 | 31.904 | 4.7828
2020-09-18 04:30:00 | 6.908 | 211.733 | 5.929 | 210.171 | 5.3 | 208.533 | 4.989 | 200.467 | 12.647 | 889.6 | 31.328 | 6.9906
2020-09-18 04:45:00 | 6.721 | 224.227 | 6.693 | 221.274 | 6.118 | 223.067 | 5.547 | 216.533 | 13.108 | 889.683 | 31.205 | 10.203
2020-09-18 05:00:00 | 5.015 | 226.18 | 6.903 | 218.599 | 6.139 | 221.6 | 5.635 | 215.933 | 11.974 | 890.2 | 32.229 | 11.0344
2020-09-18 05:15:00 | 6.077 | 218.58 | 6.83 | 220.5 | 6.16 | 223.967 | 5.369 | 218.1 | 12.316 | 889.767 | 32.379 | 12.0967
2020-09-18 05:30:00 | 6.476 | 220.5 | 7.194 | 222.334 | 6.317 | 226.8 | 5.762 | 223.433 | 12.757 | 889.9 | 32.229 | 11.0671
2020-09-18 05:45:00 | 5.6 | 220.053 | 6.7 | 219.785 | 5.957 | 222.133 | 5.326 | 217 | 12.011 | 889.6 | 32.821 | 9.2637
2020-09-18 06:00:00 | 5.688 | 218.427 | 6.966 | 220.193 | 5.813 | 227.067 | 5.03 | 223.233 | 11.782 | 889.65 | 33.243 | 6.2466
2020-09-18 06:15:00 | 6.712 | 225.44 | 6.648 | 226.902 | 5.888 | 234.1 | 5.198 | 230 | 11.828 | 889.65 | 33.083 | 6.1286
2020-09-18 06:30:00 | 6.132 | 227.133 | 6.446 | 231.18 | 6.107 | 239.767 | 5.633 | 235.133 | 11.62 | 889.667 | 33.429 | 7.645
2020-09-18 06:45:00 | 6.643 | 228.933 | 7.111 | 231.045 | 6.652 | 238.333 | 5.944 | 233.467 | 11.295 | 889.8 | 33.301 | 8.3747
2020-09-18 07:00:00 | 6.315 | 229.54 | 6.67 | 234.155 | 6.262 | 241.233 | 6.073 | 237.233 | 11.42 | 890.033 | 33.899 | 10.3672
2020-09-18 07:15:00 | 6.513 | 227.033 | 6.519 | 230.126 | 6.027 | 238.633 | 5.613 | 235.067 | 11.245 | 889.65 | 34.224 | 9.2402
2020-09-18 07:30:00 | 5.946 | 228.633 | 6.307 | 232.916 | 5.857 | 242.033 | 5.434 | 238.2 | 11.245 | 889.9 | 34.432 | 7.7303
2020-09-18 07:45:00 | 5.213 | 238.193 | 6.169 | 236.968 | 5.6 | 248.633 | 5.228 | 246.667 | 11.611 | 889.633 | 34.016 | 5.9787
2020-09-18 08:00:00 | 5.336 | 230.453 | 6.815 | 236.562 | 6.037 | 246.5 | 5.482 | 245.267 | 12.203 | 889.65 | 32.283 | 6.7582
2020-09-18 08:15:00 | 5.163 | 225.98 | 6.415 | 234.229 | 5.778 | 245.233 | 5.297 | 244.433 | 13.032 | 890.05 | 30.101 | 7.7999
2020-09-18 08:30:00 | 4.308 | 224.333 | 6.129 | 229.387 | 5.555 | 243.233 | 5.145 | 243.433 | 14.32 | 890.017 | 28.08 | 7.0282
2020-09-18 08:45:00 | 3.396 | 221.56 | 5.324 | 229.703 | 5.003 | 243.633 | 4.422 | 241.633 | 16.25 | 889.617 | 25.685 | 4.6912
2020-09-18 09:00:00 | 3.502 | 224.16 | 4.176 | 226.688 | 4.599 | 241.7 | 4.286 | 240.167 | 17.727 | 889.933 | 23.307 | 3.5457
2020-09-18 09:15:00 | 3.185 | 237.733 | 3.267 | 233.766 | 3.51 | 239.5 | 3.609 | 241.7 | 19.348 | 889.667 | 20.989 | 1.9761
2020-09-18 09:30:00 | 2.952 | 230.253 | 3.041 | 230.965 | 3.025 | 234.067 | 3.157 | 231.433 | 20.514 | 889.367 | 19.069 | 0.25509
2020-09-18 09:45:00 | 2.778 | 245.88 | 2.845 | 240.955 | 2.802 | 245.367 | 2.871 | 241.3 | 22.102 | 889.767 | 17.339 | 0.16343
2020-09-18 10:00:00 | 2.73 | 254.473 | 2.868 | 252.203 | 2.818 | 257.017 | 3.154 | 256.567 | 22.444 | 889.233 | 16.804 | 0.1414
2020-09-18 10:15:00 | 2.86 | 274.573 | 2.878 | 269.051 | 2.908 | 272.333 | 3.071 | 264.5 | 21.76 | 889.167 | 16.667 | 0.10161
2020-09-18 10:30:00 | 2.891 | 281.613 | 2.991 | 278.93 | 2.909 | 282.967 | 3.381 | 279 | 21.394 | 889.467 | 16.592 | 0.11369
2020-09-18 10:45:00 | 3.6 | 306.053 | 3.73 | 297.72 | 3.773 | 300.067 | 3.908 | 298.833 | 21.96 | 889.7 | 15.976 | 0.30057
2020-09-18 11:00:00 | 3.621 | 296.067 | 3.723 | 286.18 | 3.571 | 292.6 | 3.862 | 290.933 | 22.764 | 889.6 | 15.624 | 0.85197
2020-09-18 11:15:00 | 2.226 | 262.393 | 2.211 | 270.165 | 2.063 | 267.1 | 2.576 | 267.433 | 23.064 | 889.5 | 15.349 | 0.29062
2020-09-18 11:30:00 | 3.1 | 191.818 | 3.145 | 235.919 | 2.944 | 268.467 | 3.29 | 306.467 | 23.431 | 889.567 | 15.013 | 0.13714
2020-09-18 11:45:00 | 2.537 | 321.773 | 2.714 | 319.267 | 2.196 | 326.5 | 2.486 | 318.8 | 23.431 | 889.2 | 14.581 | 0.073899
2020-09-18 12:00:00 | 3.227 | 296.947 | 3.397 | 301.251 | 3.353 | 304.867 | 3.733 | 303.267 | 24.448 | 889.3 | 14.005 | 0.21957
2020-09-18 12:15:00 | 2.9 | 255.098 | 3.148 | 259.408 | 3.081 | 285.833 | 3.38 | 298.067 | 24.227 | 889.5 | 13.463 | 0.3162
2020-09-18 12:30:00 | 2.854 | 305.52 | 2.984 | 309.076 | 2.942 | 240.433 | 3.334 | 312.867 | 25.06 | 889.033 | 13.112 | 0.41355
2020-09-18 12:45:00 | 1.816 | 150.114 | 1.886 | 137.824 | 1.703 | 155.75 | 2.147 | 178.668 | 24.81 | 889.667 | 12.963 | 0.25012
2020-09-18 13:00:00 | 3.241 | 324.227 | 3.378 | 313.594 | 3.441 | 311.967 | 3.893 | 310.333 | 24.881 | 889.3 | 12.976 | 0.54216
2020-09-18 13:15:00 | 1.946 | 264.41 | 2.272 | 284.252 | 2.397 | 290.133 | 2.803 | 287.517 | 25.618 | 889.333 | 12.743 | 0.87897
2020-09-18 13:30:00 | 1.46 | 213.517 | 1.443 | 199.674 | 1.444 | 180.701 | 2.202 | 304.771 | 25.485 | 889.533 | 12.821 | 0.82355
2020-09-18 13:45:00 | 4.037 | 287.707 | 4.266 | 281.351 | 4.276 | 286.833 | 4.352 | 283.267 | 25.577 | 889.833 | 12.743 | 1.1781
2020-09-18 14:00:00 | 2.82 | 286.587 | 2.914 | 313.179 | 2.604 | 323.6 | 2.495 | 276.133 | 25.368 | 889.5 | 12.936 | 1.3977
2020-09-18 14:15:00 | 3.071 | 127.074 | 3.256 | 125.193 | 3.451 | 163.4 | 3.818 | 178.9 | 25.568 | 889.4 | 12.321 | 2.0933
2020-09-18 14:30:00 | 5.128 | 242.115 | 4.957 | 265.743 | 5.176 | 280.367 | 5.59 | 316.267 | 25.881 | 889.1 | 12.483 | 8.1346
2020-09-18 14:45:00 | 5.992 | 310.76 | 6.083 | 320.916 | 6.241 | 291.4 | 6.475 | 323.733 | 25.902 | 889.467 | 12.717 | 12.6289
2020-09-18 15:00:00 | 5.831 | 308.08 | 6.172 | 303.536 | 6.346 | 307.1 | 6.807 | 304.467 | 25.66 | 889.033 | 13.508 | 16.8504
2020-09-18 15:15:00 | 6.605 | 297.813 | 6.964 | 293.533 | 6.906 | 298.567 | 7.164 | 295.333 | 25.506 | 889.333 | 14.207 | 15.5508
2020-09-18 15:30:00 | 7.786 | 303.693 | 8.062 | 300.66 | 8.349 | 307.267 | 8.606 | 302.667 | 26.027 | 889.367 | 14.748 | 25.5115
2020-09-18 15:45:00 | 7.589 | 291.573 | 8.299 | 290.302 | 8.333 | 297.167 | 8.696 | 293.517 | 25.535 | 889.5 | 15.681 | 35.0807
2020-09-18 16:00:00 | 9.582 | 316.613 | 9.913 | 311.735 | 9.969 | 318.133 | 10.16 | 317.8 | 25.439 | 889.533 | 16.364 | 49.373
2020-09-18 16:15:00 | 7.002 | 318.933 | 7.518 | 313.4 | 7.675 | 314.567 | 8.151 | 310.5 | 25.039 | 889.4 | 16.845 | 46.7382
2020-09-18 16:30:00 | 9.41 | 292.04 | 10.405 | 287.506 | 10.661 | 290.033 | 11.073 | 287.1 | 24.668 | 889.6 | 18.125 | 56.473
2020-09-18 16:45:00 | 9.182 | 287.04 | 9.942 | 281.966 | 10.143 | 286 | 10.326 | 284.567 | 24.485 | 889.6 | 18.704 | 65.7587
2020-09-18 17:00:00 | 9.316 | 301.227 | 10.59 | 292.735 | 10.775 | 299.733 | 11.044 | 295.833 | 24.356 | 889.767 | 19.467 | 71.942
2020-09-18 17:15:00 | 10.888 | 294.76 | 11.51 | 288.09 | 11.858 | 292.5 | 12.156 | 287.633 | 23.998 | 889.483 | 20.384 | 83.1569
2020-09-18 17:30:00 | 12.137 | 283.72 | 13.22 | 277.344 | 13.835 | 281.167 | 14.186 | 276.933 | 23.231 | 889.817 | 22.195 | 94.3163
2020-09-18 17:45:00 | 13.018 | 282.987 | 14.34 | 278.092 | 14.723 | 281.567 | 15.007 | 278.5 | 22.448 | 889.933 | 22.677 | 97.6446
2020-09-18 18:00:00 | 13.153 | 281.133 | 14.224 | 278.826 | 14.324 | 280.733 | 14.865 | 279 | 22.581 | 890.033 | 22.299 | 91.6176
2020-09-18 18:15:00 | 13.699 | 286.147 | 15.013 | 280.531 | 15.396 | 283.233 | 16.203 | 280.833 | 22.123 | 889.85 | 24.008 | 90.2135
2020-09-18 18:30:00 | 15.296 | 276.973 | 17.172 | 274.557 | 17.508 | 278.867 | 18.197 | 276.433 | 21.573 | 889.833 | 26.659 | 90.4253
2020-09-18 18:45:00 | 15.671 | 282.36 | 18.148 | 275.706 | 18.638 | 278.067 | 19.187 | 275.167 | 20.806 | 889.733 | 28.323 | 90.8332
2020-09-18 19:00:00 | 15.061 | 280.467 | 16.825 | 272.471 | 17.452 | 277.3 | 17.741 | 276 | 20.135 | 889.75 | 29.808 | 91.0314
2020-09-18 19:15:00 | 14.817 | 277.773 | 16.422 | 271.847 | 17.251 | 276.867 | 17.765 | 272.8 | 19.902 | 889.517 | 31.275 | 90.7749
2020-09-18 19:30:00 | 14.546 | 274.48 | 16.371 | 269.198 | 17.158 | 273.5 | 17.808 | 270.067 | 19.498 | 889.833 | 31.867 | 90.6548
2020-09-18 19:45:00 | 16.218 | 275.48 | 17.909 | 269.62 | 18.789 | 273.033 | 19.396 | 269.6 | 19.552 | 889.967 | 33.725 | 90.2583
2020-09-18 20:00:00 | 15.828 | 275.4 | 17.93 | 269.312 | 18.897 | 272.633 | 19.429 | 269.233 | 19.185 | 889.667 | 34.973 | 91.1359
2020-09-18 20:15:00 | 15.798 | 272.673 | 18.386 | 266.16 | 19.302 | 269.9 | 19.604 | 265.267 | 18.885 | 889.65 | 36.203 | 91.3583
2020-09-18 20:30:00 | 16.867 | 274.2 | 18.782 | 266.997 | 19.772 | 270.467 | 20.494 | 266.567 | 18.623 | 889.733 | 37.704 | 90.8893
2020-09-18 20:45:00 | 16.175 | 270.173 | 18.48 | 265.251 | 19.527 | 269.8 | 20.345 | 264.933 | 18.139 | 890.283 | 39.035 | 89.5485
2020-09-18 21:00:00 | 16.853 | 276.607 | 18.767 | 270.203 | 19.741 | 273.433 | 20.124 | 268.467 | 17.81 | 889.567 | 40.173 | 95.5648
2020-09-18 21:15:00 | 15.674 | 277.973 | 18.277 | 272.138 | 19.276 | 276.1 | 20.276 | 272.6 | 17.139 | 889.933 | 40.981 | 97.5075
2020-09-18 21:30:00 | 16.032 | 280.067 | 17.959 | 274.902 | 18.695 | 277.6 | 19.076 | 273.967 | 17.014 | 889.408 | 41.387 | 97.1714
2020-09-18 21:45:00 | 14.603 | 281.16 | 16.845 | 277.958 | 17.632 | 279.4 | 18.49 | 277.867 | 16.514 | 889.6 | 41.984 | 93.7721
2020-09-18 22:00:00 | 16.878 | 281.693 | 19.523 | 276.364 | 20.22 | 279.233 | 21.168 | 277.233 | 16.186 | 889.658 | 42.592 | 93.0899
2020-09-18 22:15:00 | 18.623 | 276.747 | 20.827 | 271.92 | 21.556 | 275.633 | 22.312 | 272.5 | 15.72 | 889.917 | 43.003 | 92.2635
2020-09-18 22:30:00 | 18.223 | 278.587 | 20.582 | 273.508 | 20.752 | 277.833 | 21.092 | 272.933 | 15.345 | 889.683 | 43.467 | 87.0167
2020-09-18 22:45:00 | 16.146 | 275.6 | 18.205 | 270.577 | 19.064 | 273.567 | 19.849 | 270 | 14.858 | 889.825 | 44.117 | 83.8518
2020-09-18 23:00:00 | 15.343 | 280.2 | 17.29 | 272.296 | 17.847 | 275.5 | 18.589 | 272.033 | 14.791 | 889.825 | 44.229 | 77.7253
2020-09-18 23:15:00 | 15.317 | 281.08 | 16.78 | 276.468 | 17.535 | 278.767 | 18.045 | 275.9 | 14.528 | 889.85 | 44.672 | 77.2024
2020-09-18 23:30:00 | 12.938 | 282.573 | 14.351 | 277.034 | 15.491 | 279.467 | 16.062 | 276.533 | 14.574 | 890.183 | 45.195 | 78.3855
2020-09-18 23:45:00 | 12.276 | 283.427 | 13.97 | 276.517 | 14.974 | 280.767 | 15.686 | 278 | 14.345 | 890 | 45.221 | 79.5749