## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-19 00:00:00 | 10.027 | 276.747 | 11.35 | 269.542 | 11.936 | 275.6 | 12.472 | 272.433 | 14.628 | 889.875 | 45.893 | 80.5598
2020-09-19 00:15:00 | 10.305 | 278.52 | 12.113 | 273.597 | 12.708 | 277.4 | 13.172 | 273.5 | 14.191 | 889.9 | 46.677 | 81.0145
2020-09-19 00:30:00 | 11.825 | 275 | 12.747 | 270.022 | 13.113 | 273.833 | 13.646 | 269.5 | 14.145 | 889.95 | 46.773 | 80.2393
2020-09-19 00:45:00 | 11.334 | 273.067 | 13.164 | 266.785 | 14.007 | 272.367 | 14.714 | 269.067 | 14.078 | 889.925 | 47.2 | 80.9087
2020-09-19 01:00:00 | 13.817 | 275.413 | 15.573 | 270.41 | 16.386 | 273.6 | 17.063 | 270.1 | 13.608 | 889.517 | 47.184 | 82.2005
2020-09-19 01:15:00 | 12.673 | 265.28 | 14.798 | 260.296 | 15.69 | 265.2 | 16.354 | 260.65 | 13.754 | 890.008 | 47.797 | 81.7876
2020-09-19 01:30:00 | 13.42 | 273.733 | 15.441 | 264.814 | 16.296 | 270.9 | 16.806 | 267.633 | 13.583 | 889.75 | 48.475 | 82.8194
2020-09-19 01:45:00 | 12.848 | 275.6 | 14.882 | 269.856 | 15.88 | 273.167 | 16.503 | 270.133 | 13.084 | 890.008 | 49.072 | 84.0977
2020-09-19 02:00:00 | 13.102 | 273.9 | 15.605 | 267.348 | 16.344 | 271.767 | 16.54 | 269.367 | 13.07 | 890.333 | 49.792 | 77.5171
2020-09-19 02:15:00 | 13.048 | 271.853 | 14.821 | 266.168 | 15.942 | 271.667 | 16.768 | 267.867 | 12.847 | 889.767 | 53.685 | 75.9894
2020-09-19 02:30:00 | 12.256 | 264.593 | 14.578 | 260.755 | 15.284 | 265.333 | 15.96 | 260.8 | 12.253 | 890.217 | 55.877 | 76.0967
2020-09-19 02:45:00 | 12.102 | 262.06 | 13.668 | 258.62 | 14.299 | 261.733 | 14.86 | 258.95 | 11.857 | 889.975 | 56.24 | 77.2699
2020-09-19 03:00:00 | 11.935 | 263.273 | 14.184 | 260.75 | 14.836 | 265 | 15.433 | 261.367 | 11.849 | 890.1 | 55.531 | 75.6732
2020-09-19 03:15:00 | 11.908 | 266.707 | 13.427 | 262.714 | 14.29 | 267.133 | 14.618 | 263.5 | 11.857 | 889.842 | 55.957 | 74.0943
2020-09-19 03:30:00 | 12.13 | 267.02 | 13.848 | 261.857 | 14.576 | 266.633 | 15.109 | 263.85 | 11.682 | 889.833 | 57.328 | 73.5834
2020-09-19 03:45:00 | 13.452 | 266.013 | 15.072 | 260.379 | 16.137 | 265.567 | 16.256 | 261.15 | 11.67 | 889.925 | 58.853 | 72.4373
2020-09-19 04:00:00 | 13.665 | 267.26 | 15.28 | 263.558 | 16.269 | 266.733 | 16.878 | 262.317 | 11.328 | 889.492 | 59.952 | 74.2556
2020-09-19 04:15:00 | 14.519 | 269.067 | 16.692 | 262.778 | 17.899 | 268.167 | 18.695 | 264.283 | 11.29 | 890.142 | 60.203 | 72.6519
2020-09-19 04:30:00 | 13.815 | 272.133 | 16.068 | 266.767 | 17.019 | 271.133 | 17.52 | 266.567 | 10.728 | 889.775 | 61.317 | 77.8902
2020-09-19 04:45:00 | 13.399 | 274.247 | 15.272 | 270.087 | 16.313 | 273.333 | 17.07 | 268.133 | 11.045 | 889.775 | 61.643 | 76.9252
2020-09-19 05:00:00 | 12.304 | 277.88 | 14.047 | 267.816 | 14.965 | 270.467 | 15.497 | 267.533 | 10.945 | 889.442 | 61.493 | 78.1851
2020-09-19 05:15:00 | 13.623 | 264.453 | 14.942 | 260.789 | 15.832 | 263.933 | 16.506 | 260.617 | 10.995 | 890.117 | 60.384 | 78.4295
2020-09-19 05:30:00 | 11.587 | 264.273 | 13.092 | 259.592 | 14.002 | 263.083 | 14.624 | 261.217 | 10.945 | 890 | 61.371 | 81.1659
2020-09-19 05:45:00 | 10.948 | 265.713 | 13.028 | 259.571 | 13.506 | 263.433 | 14.044 | 259.517 | 10.597 | 889.783 | 61.877 | 83.4994
2020-09-19 06:00:00 | 9.226 | 256.687 | 10.712 | 254.583 | 11.569 | 259.483 | 12.15 | 255.067 | 10.632 | 890.192 | 62.96 | 82.0726
2020-09-19 06:15:00 | 8.906 | 249.32 | 10.574 | 248.23 | 11.523 | 250.883 | 11.781 | 247.85 | 10.391 | 889.458 | 63.525 | 75.232
2020-09-19 06:30:00 | 8.95 | 249.813 | 10.692 | 247.345 | 11.26 | 251.367 | 11.503 | 247.117 | 10.595 | 889.467 | 64.235 | 81.3265
2020-09-19 06:45:00 | 9.962 | 248.227 | 11.729 | 244.81 | 12.873 | 251.267 | 13.296 | 247.067 | 10.276 | 889.758 | 64.469 | 82.3497
2020-09-19 07:00:00 | 11.088 | 249.987 | 12.364 | 247.295 | 12.969 | 252.983 | 13.106 | 248.4 | 10.289 | 890.133 | 63.584 | 82.1799
2020-09-19 07:15:00 | 10.823 | 252.607 | 12.466 | 249.932 | 13.634 | 254.533 | 14.102 | 249.7 | 10.334 | 889.975 | 62.795 | 79.7412
2020-09-19 07:30:00 | 10.128 | 256.68 | 11.524 | 252.011 | 12.524 | 256.283 | 12.963 | 254.467 | 10.382 | 889.308 | 62.763 | 78.173
2020-09-19 07:45:00 | 9.878 | 257.64 | 11.053 | 254.952 | 12.088 | 261.217 | 12.493 | 256.683 | 10.695 | 890.083 | 60.667 | 76.3106
2020-09-19 08:00:00 | 10.655 | 260.467 | 12.159 | 254.397 | 12.934 | 258.95 | 13.341 | 255.567 | 10.945 | 889.725 | 58.453 | 76.5834
2020-09-19 08:15:00 | 11.35 | 259.267 | 12.931 | 256.068 | 13.777 | 262.767 | 14.24 | 256.9 | 10.399 | 890.042 | 58.251 | 76.8542
2020-09-19 08:30:00 | 11.702 | 267.993 | 13.47 | 261.308 | 14.385 | 265.467 | 14.553 | 260.55 | 10.861 | 889.825 | 56.795 | 80.6479
2020-09-19 08:45:00 | 11.378 | 274.333 | 13.136 | 269.554 | 13.958 | 272.633 | 14.165 | 269.167 | 10.601 | 889.483 | 56.832 | 79.4314
2020-09-19 09:00:00 | 12.904 | 275.107 | 14.794 | 268.1 | 15.402 | 272.8 | 15.857 | 268.933 | 10.586 | 889.983 | 56.747 | 74.1832
2020-09-19 09:15:00 | 11.425 | 280.267 | 13.4 | 274.958 | 13.948 | 275.5 | 14.616 | 272.833 | 10.761 | 890.058 | 56.411 | 70.2765
2020-09-19 09:30:00 | 13.819 | 280.8 | 15.77 | 276.925 | 16.622 | 278.967 | 17.259 | 276.933 | 11.278 | 889.967 | 51.563 | 67.6395
2020-09-19 09:45:00 | 15.353 | 285.067 | 17.545 | 279.2 | 18.207 | 280.833 | 18.784 | 279.233 | 11.466 | 890.517 | 50.88 | 67.8094
2020-09-19 10:00:00 | 14.088 | 283.52 | 15.737 | 277.189 | 16.108 | 279.9 | 16.787 | 278.9 | 11.324 | 889.767 | 50.987 | 66.8139
2020-09-19 10:15:00 | 14.634 | 285.733 | 16.112 | 277.761 | 16.477 | 281.2 | 17.038 | 277.333 | 11.311 | 889.667 | 51.845 | 62.9598
2020-09-19 10:30:00 | 12.366 | 281.213 | 13.74 | 273.451 | 14.39 | 277.167 | 14.541 | 274.7 | 11.811 | 889.542 | 49.808 | 62.2129
2020-09-19 10:45:00 | 12.977 | 277.08 | 14.21 | 270.293 | 14.477 | 275.567 | 14.608 | 272.467 | 12.049 | 890.125 | 47.829 | 57.9098
2020-09-19 11:00:00 | 13.385 | 278.693 | 14.509 | 272.524 | 14.769 | 276.5 | 14.683 | 272.133 | 12.722 | 889.858 | 45.845 | 49.0255
2020-09-19 11:15:00 | 11.635 | 272.773 | 13.006 | 267.575 | 13.364 | 272.567 | 13.558 | 268.467 | 12.832 | 889.792 | 45.12 | 43.4611
2020-09-19 11:30:00 | 12.049 | 278.427 | 13.673 | 268.815 | 13.756 | 273.967 | 14.274 | 269.9 | 13.666 | 889.333 | 41.245 | 43.5378
2020-09-19 11:45:00 | 13.594 | 275.027 | 14.932 | 270.784 | 15.022 | 275.333 | 15.444 | 272.767 | 14.67 | 889.933 | 39.995 | 43.5329
2020-09-19 12:00:00 | 12.176 | 281.84 | 13.506 | 274.708 | 13.756 | 278.3 | 13.959 | 274.333 | 14.337 | 889.65 | 38.256 | 42.6169
2020-09-19 12:15:00 | 13.544 | 281.653 | 14.166 | 278.549 | 14.8 | 279.433 | 15.252 | 278.267 | 14.516 | 890.217 | 37.96 | 42.6027
2020-09-19 12:30:00 | 13.504 | 280.24 | 14.538 | 273.776 | 15.115 | 279.267 | 15.434 | 275.833 | 14.42 | 889.967 | 38.611 | 42.2965
2020-09-19 12:45:00 | 13.267 | 284.6 | 14.96 | 277.315 | 15.178 | 280.567 | 15.42 | 277.433 | 14.47 | 889.483 | 37.475 | 41.7756
2020-09-19 13:00:00 | 14.753 | 287.933 | 15.841 | 281.831 | 16.055 | 284.033 | 16.692 | 283.567 | 14.791 | 890.117 | 35.763 | 41.8453
2020-09-19 13:15:00 | 16.17 | 287.8 | 17.762 | 280.052 | 18.21 | 283.3 | 18.3 | 281.3 | 14.858 | 890.067 | 36.44 | 42.0627
2020-09-19 13:30:00 | 15.368 | 283.867 | 16.587 | 280.26 | 17.1 | 282.4 | 17.529 | 279.7 | 15.141 | 890.2 | 35.819 | 42.2489
2020-09-19 13:45:00 | 15.51 | 286.213 | 17.111 | 282.271 | 17.218 | 284.5 | 17.908 | 282.333 | 15.497 | 889.867 | 33.115 | 42.7079
2020-09-19 14:00:00 | 15.016 | 284.453 | 16.012 | 280.146 | 16.077 | 283.467 | 16.484 | 282.567 | 16.141 | 889.517 | 31.371 | 43.314
2020-09-19 14:15:00 | 14.692 | 289.907 | 15.709 | 283.523 | 16.474 | 286 | 16.597 | 284.5 | 16.141 | 889.75 | 31.016 | 43.7212
2020-09-19 14:30:00 | 15.242 | 281.907 | 16.36 | 276.929 | 16.364 | 280.533 | 16.927 | 279.7 | 16.317 | 889.783 | 30.291 | 43.9485
2020-09-19 14:45:00 | 14.486 | 290.92 | 15.096 | 283.842 | 15.084 | 288.9 | 15.621 | 284.4 | 16.048 | 889.967 | 31.24 | 44.5305
2020-09-19 15:00:00 | 13.122 | 288.307 | 14.361 | 285.092 | 14.801 | 286.867 | 15.179 | 286.667 | 16.41 | 889.817 | 29.837 | 47.2477
2020-09-19 15:15:00 | 13.268 | 294.573 | 13.741 | 286.424 | 14.023 | 290.833 | 14.56 | 290.067 | 16.514 | 889.367 | 29.509 | 49.0788
2020-09-19 15:30:00 | 12.448 | 297.507 | 13.259 | 290.149 | 13.713 | 293.967 | 14.201 | 290.133 | 16.146 | 890.133 | 30.456 | 48.5331
2020-09-19 15:45:00 | 11.456 | 293.747 | 12.57 | 288.87 | 13.112 | 292 | 14.096 | 290.2 | 16.414 | 889.817 | 30.907 | 49.4853
2020-09-19 16:00:00 | 12.196 | 286.187 | 12.978 | 281.298 | 13.179 | 285.633 | 13.534 | 283.633 | 16.396 | 890.117 | 29.979 | 52.0519
2020-09-19 16:15:00 | 11.334 | 294.08 | 12.086 | 287.27 | 12.457 | 289.933 | 13.12 | 288.233 | 16.364 | 889.983 | 30.963 | 50.2129
2020-09-19 16:30:00 | 11.429 | 286.507 | 12.645 | 282.141 | 13.341 | 286.467 | 13.63 | 284.967 | 15.922 | 889.733 | 31.493 | 47.7899
2020-09-19 16:45:00 | 11.198 | 283.44 | 12.09 | 276.368 | 12.397 | 279.633 | 12.649 | 275.567 | 16.284 | 889.85 | 31.987 | 46.3012
2020-09-19 17:00:00 | 10.537 | 287 | 11.481 | 283.693 | 11.929 | 285.2 | 11.944 | 282.967 | 16.498 | 889.767 | 31.819 | 47.7089
2020-09-19 17:15:00 | 11.022 | 283.48 | 11.834 | 277.944 | 12.007 | 281.633 | 12.371 | 277.733 | 15.837 | 889.8 | 32.043 | 57.1182
2020-09-19 17:30:00 | 9.797 | 271.813 | 10.654 | 269.404 | 10.92 | 274.167 | 11.047 | 270.767 | 15.994 | 889.683 | 32.061 | 58.9415
2020-09-19 17:45:00 | 9.925 | 277.747 | 10.831 | 272.496 | 11.144 | 277.767 | 11.583 | 273.967 | 15.773 | 890.2 | 32.149 | 59.6059
2020-09-19 18:00:00 | 10.84 | 284.587 | 11.644 | 280.903 | 12.067 | 282.867 | 12.392 | 281.2 | 15.998 | 889.817 | 32.051 | 59.3906
2020-09-19 18:15:00 | 10.56 | 275.253 | 11.541 | 269.101 | 11.76 | 274.433 | 11.692 | 271 | 15.595 | 890.067 | 32.76 | 60.2156
2020-09-19 18:30:00 | 10.815 | 283.28 | 12.039 | 276.789 | 12.367 | 279.967 | 12.354 | 276.667 | 15.82 | 889.833 | 33.125 | 58.9202
2020-09-19 18:45:00 | 11.094 | 271.867 | 12.346 | 267.895 | 12.668 | 272.7 | 12.698 | 267.567 | 15.371 | 890.067 | 34.101 | 62.0481
2020-09-19 19:00:00 | 8.444 | 275.64 | 9.522 | 271.635 | 9.68 | 275.533 | 9.847 | 271.767 | 15.146 | 889.933 | 32.968 | 61.8207
2020-09-19 19:15:00 | 9.071 | 279.22 | 10.277 | 271.849 | 10.766 | 275 | 11.027 | 271.3 | 15.181 | 889.633 | 32.259 | 63.3662
2020-09-19 19:30:00 | 9.478 | 277.2 | 10.623 | 273.326 | 11.228 | 276.033 | 11.646 | 272.733 | 15.131 | 889.817 | 32.429 | 63.6291
2020-09-19 19:45:00 | 9.66 | 279.867 | 10.753 | 273.779 | 11.193 | 276.4 | 11.53 | 272.467 | 14.691 | 889.6 | 33.085 | 62.0772
2020-09-19 20:00:00 | 7.865 | 276.333 | 9.185 | 270.678 | 9.882 | 275.8 | 10.311 | 271.4 | 14.841 | 889.467 | 33.312 | 61.0348
2020-09-19 20:15:00 | 7.424 | 274.493 | 8.135 | 269.854 | 8.693 | 274.267 | 9.082 | 270.633 | 14.516 | 889.833 | 33.888 | 61.8264
2020-09-19 20:30:00 | 7.64 | 273.16 | 8.98 | 268.904 | 9.611 | 272.7 | 9.765 | 267 | 14.295 | 889.583 | 34.261 | 57.7883
2020-09-19 20:45:00 | 7.495 | 273.207 | 8.962 | 268.267 | 9.752 | 273 | 10.02 | 268.333 | 13.924 | 889.817 | 34.501 | 60.067
2020-09-19 21:00:00 | 7.417 | 270.147 | 8.877 | 266.475 | 9.595 | 271.8 | 10.005 | 267.5 | 13.762 | 889.767 | 34.704 | 58.6267
2020-09-19 21:15:00 | 7.047 | 268.333 | 8.388 | 263.111 | 8.918 | 268.767 | 9.156 | 266 | 13.637 | 889.867 | 35.624 | 53.63
2020-09-19 21:30:00 | 7.424 | 272.453 | 8.899 | 269.397 | 9.518 | 274.033 | 9.938 | 270.9 | 13.728 | 889.9 | 36.125 | 48.6077
2020-09-19 21:45:00 | 6.859 | 269.627 | 8.042 | 267.338 | 8.9 | 271.733 | 9.318 | 269.067 | 13.016 | 889.683 | 37.104 | 47.6989
2020-09-19 22:00:00 | 6.984 | 275.293 | 8.486 | 269.228 | 9.007 | 275.367 | 9.316 | 271.633 | 12.872 | 889.417 | 37.432 | 46.9358
2020-09-19 22:15:00 | 6.804 | 272.667 | 8.036 | 268.734 | 8.475 | 273.667 | 8.95 | 272.033 | 12.68 | 890.2 | 37.805 | 45.9055
2020-09-19 22:30:00 | 7.029 | 276.88 | 8.509 | 271.865 | 9.236 | 276.4 | 9.387 | 272.6 | 12.424 | 889.683 | 38.568 | 43.6807
2020-09-19 22:45:00 | 6.915 | 270.8 | 8.199 | 268.822 | 8.827 | 274.967 | 9.257 | 269.667 | 12.436 | 889.717 | 39.179 | 42.3661
2020-09-19 23:00:00 | 6.845 | 269.133 | 8.22 | 266.021 | 8.882 | 271.733 | 9.682 | 268.233 | 12.266 | 889.75 | 39.872 | 46.0767
2020-09-19 23:15:00 | 6.753 | 264.587 | 8.199 | 263.539 | 8.628 | 270.733 | 9.072 | 265.867 | 11.97 | 889.933 | 40.592 | 48.1047
2020-09-19 23:30:00 | 7 | 262.933 | 8.65 | 262.674 | 9.254 | 267.567 | 9.566 | 264.7 | 11.328 | 890.033 | 41.237 | 50.2001
2020-09-19 23:45:00 | 6.718 | 271.973 | 8.421 | 267.2 | 9.271 | 272.433 | 9.753 | 270.933 | 11.486 | 889.7 | 41.76 | 54.212