## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-20 00:00:00 | 6.479 | 266.133 | 8.227 | 264.065 | 9.16 | 269.4 | 9.651 | 267.4 | 11.278 | 890.067 | 42.587 | 54.7719
2020-09-20 00:15:00 | 6.852 | 266 | 8.272 | 264.537 | 8.902 | 271.6 | 9.272 | 267.533 | 11.011 | 889.725 | 43.456 | 55.3873
2020-09-20 00:30:00 | 6.41 | 267.747 | 8.256 | 266.356 | 9.218 | 272.9 | 9.813 | 269.1 | 10.811 | 889.967 | 44.181 | 54.9488
2020-09-20 00:45:00 | 6.601 | 265.74 | 8.678 | 265.151 | 9.994 | 271.7 | 10.418 | 268.9 | 10.274 | 890.3 | 45.355 | 51.3662
2020-09-20 01:00:00 | 6.901 | 265.947 | 8.725 | 264.389 | 9.58 | 269.967 | 9.998 | 265.967 | 10.655 | 890.058 | 45.397 | 43.9514
2020-09-20 01:15:00 | 6.803 | 264.867 | 8.576 | 262.609 | 9.281 | 268.567 | 9.488 | 265.6 | 10.27 | 889.992 | 45.947 | 38.7635
2020-09-20 01:30:00 | 6.726 | 259.807 | 8.574 | 259.876 | 9.531 | 266.467 | 9.777 | 262.283 | 10.314 | 889.717 | 46.811 | 34.4426
2020-09-20 01:45:00 | 6.216 | 252.34 | 7.717 | 255.326 | 8.685 | 262 | 9.362 | 258.533 | 10.391 | 890.317 | 47.637 | 31.9215
2020-09-20 02:00:00 | 5.894 | 248.027 | 7.36 | 250.178 | 8.011 | 257.2 | 8.437 | 254.65 | 10.093 | 890.258 | 48.331 | 30.2161
2020-09-20 02:15:00 | 5.608 | 245.467 | 7.01 | 248.18 | 8.106 | 256.1 | 8.463 | 253.467 | 9.91 | 889.983 | 49.003 | 33.1181
2020-09-20 02:30:00 | 5.525 | 235.9 | 7.103 | 240.512 | 7.667 | 249.233 | 7.873 | 246.833 | 8.658 | 890.067 | 50.635 | 35.0935
2020-09-20 02:45:00 | 7.376 | 233.3 | 9.021 | 237.723 | 10.066 | 245.833 | 10.321 | 242.967 | 9.166 | 889.492 | 50.709 | 46.0156
2020-09-20 03:00:00 | 7.824 | 232.86 | 9.573 | 231.728 | 10.624 | 238.267 | 10.624 | 236.833 | 9.078 | 889.85 | 50.923 | 61.3724
2020-09-20 03:15:00 | 6.685 | 236.353 | 8.378 | 235.736 | 9.411 | 243.567 | 9.631 | 240.233 | 9.016 | 890.033 | 50.315 | 58.9316
2020-09-20 03:30:00 | 5.588 | 239.453 | 7.134 | 236.321 | 7.981 | 242.067 | 8.256 | 238.4 | 9.345 | 889.758 | 51.104 | 47.4531
2020-09-20 03:45:00 | 5.96 | 234.867 | 7.062 | 234.684 | 7.572 | 241 | 7.637 | 238.3 | 8.624 | 889.717 | 51.883 | 43.6196
2020-09-20 04:00:00 | 6.135 | 242.113 | 7.271 | 240.818 | 7.672 | 246.367 | 7.708 | 241.867 | 8.758 | 889.9 | 52.235 | 40.2891
2020-09-20 04:15:00 | 5.046 | 231.22 | 6.478 | 231.582 | 7.19 | 238.933 | 7.345 | 234.667 | 8.883 | 890.025 | 51.979 | 29.9348
2020-09-20 04:30:00 | 4.828 | 230.953 | 6.316 | 235.959 | 6.778 | 243.667 | 6.898 | 240.133 | 7.68 | 889.867 | 53.909 | 26.1048
2020-09-20 04:45:00 | 4.695 | 233.7 | 6.016 | 236.745 | 6.319 | 243.733 | 6.399 | 239.067 | 7.322 | 890.142 | 55.189 | 25.3274
2020-09-20 05:00:00 | 5.081 | 229.527 | 6.395 | 232.558 | 6.475 | 240.367 | 6.291 | 238.233 | 7.192 | 890.142 | 56.789 | 24.3987
2020-09-20 05:15:00 | 4.883 | 227.733 | 5.97 | 233.348 | 6.051 | 242.833 | 5.883 | 240.7 | 7.106 | 890.067 | 56.971 | 22.9776
2020-09-20 05:30:00 | 5.335 | 232 | 6.097 | 237.073 | 6.322 | 244.867 | 6.357 | 244.467 | 7.089 | 890 | 57.408 | 23.2071
2020-09-20 05:45:00 | 5.402 | 220.927 | 6.578 | 228.918 | 6.759 | 238.133 | 6.614 | 237.733 | 6.737 | 889.958 | 57.493 | 25.336
2020-09-20 06:00:00 | 5.821 | 217.86 | 7.397 | 224.647 | 7.744 | 231 | 7.614 | 227.667 | 6.489 | 890.458 | 58.421 | 28.596
2020-09-20 06:15:00 | 5.915 | 225.767 | 7.539 | 227.302 | 8.076 | 233.4 | 8.036 | 229.833 | 6.889 | 889.417 | 57.504 | 31.5051
2020-09-20 06:30:00 | 5.714 | 227.533 | 7.504 | 228.173 | 8.284 | 234.733 | 8.198 | 231.333 | 7.606 | 889.7 | 56.384 | 34.3225
2020-09-20 06:45:00 | 6.032 | 227.153 | 7.52 | 229.121 | 8.009 | 236.7 | 7.952 | 232.667 | 7.546 | 889.925 | 55.861 | 36.3284
2020-09-20 07:00:00 | 5.252 | 222.8 | 6.926 | 227.099 | 7.505 | 234.933 | 7.547 | 231.2 | 7.322 | 889.908 | 55.883 | 33.8272
2020-09-20 07:15:00 | 5.495 | 221.847 | 7.121 | 225.977 | 7.607 | 233.433 | 7.736 | 230.967 | 6.98 | 889.258 | 57.323 | 34.2024
2020-09-20 07:30:00 | 5.318 | 220.22 | 7.257 | 224.426 | 7.64 | 231.567 | 7.731 | 228.333 | 6.75 | 889.85 | 58.485 | 34.8441
2020-09-20 07:45:00 | 5.112 | 223.467 | 6.867 | 228.516 | 7.516 | 235.967 | 7.693 | 233.333 | 7.006 | 889.558 | 56.96 | 32.5184
2020-09-20 08:00:00 | 5.509 | 218.793 | 7.01 | 224.994 | 7.602 | 233.567 | 7.608 | 230.767 | 7.626 | 890 | 55.157 | 30.5586
2020-09-20 08:15:00 | 5.279 | 216.4 | 6.727 | 222.824 | 7.356 | 231.9 | 7.344 | 229.9 | 8.19 | 889.583 | 52.693 | 29.1482
2020-09-20 08:30:00 | 5.003 | 215.193 | 6.638 | 213.886 | 7.796 | 221.333 | 7.566 | 221.133 | 9.333 | 890.192 | 49.419 | 28.0603
2020-09-20 08:45:00 | 5.692 | 215.093 | 6.41 | 213.932 | 7.022 | 220 | 7.171 | 219.367 | 10.48 | 889.85 | 45.675 | 26.9561
2020-09-20 09:00:00 | 6.039 | 215.54 | 6.329 | 214.114 | 6.472 | 218.8 | 6.782 | 216.667 | 11.336 | 890.15 | 42.539 | 23.1893
2020-09-20 09:15:00 | 5.782 | 224.927 | 5.93 | 222.632 | 6.297 | 226.333 | 6.362 | 223.7 | 12.107 | 889.817 | 39.424 | 19.6294
2020-09-20 09:30:00 | 5.576 | 229.56 | 5.92 | 228.446 | 6.215 | 232.9 | 6.265 | 227.967 | 13.335 | 890.083 | 36.571 | 17.7826
2020-09-20 09:45:00 | 5.088 | 237.713 | 5.249 | 232.782 | 5.531 | 236.3 | 5.584 | 230.967 | 13.633 | 889.933 | 34.512 | 14.6185
2020-09-20 10:00:00 | 4.877 | 251.98 | 5.214 | 247.347 | 5.248 | 251.7 | 5.166 | 247.383 | 14.637 | 889.5 | 32.069 | 12.3241
2020-09-20 10:15:00 | 3.792 | 257.607 | 4 | 255.483 | 4.32 | 262.867 | 4.553 | 261.117 | 14.808 | 889.6 | 30.939 | 8.2596
2020-09-20 10:30:00 | 3.171 | 283.82 | 3.277 | 277.815 | 3.408 | 280.017 | 3.637 | 272.283 | 14.612 | 889.367 | 30.432 | 3.7596
2020-09-20 10:45:00 | 3.335 | 258.387 | 3.415 | 252.702 | 3.674 | 256 | 4.042 | 250.467 | 16.129 | 889.867 | 29.176 | 2.9986
2020-09-20 11:00:00 | 3.694 | 275.507 | 3.814 | 269.282 | 3.904 | 271.25 | 4.048 | 267.3 | 15.4 | 889.617 | 28.885 | 3.0618
2020-09-20 11:15:00 | 3.408 | 286.067 | 3.534 | 288.02 | 3.561 | 290.9 | 3.997 | 289.567 | 15.124 | 889.967 | 29.083 | 2.8387
2020-09-20 11:30:00 | 3.413 | 279.52 | 3.21 | 272.187 | 3.398 | 285.5 | 3.634 | 279.633 | 16.543 | 889.8 | 27.067 | 1.7182
2020-09-20 11:45:00 | 3.581 | 319.853 | 3.447 | 312.368 | 3.458 | 309.867 | 3.863 | 305.033 | 16.548 | 889.683 | 26.373 | 1.4375
2020-09-20 12:00:00 | 2.675 | 306.293 | 2.955 | 328.047 | 3.052 | 301.233 | 3.185 | 282.733 | 16.964 | 889.917 | 26.269 | 0.44268
2020-09-20 12:15:00 | 2.665 | 308.762 | 2.214 | 323.053 | 2.062 | 320.167 | 2.495 | 323.4 | 17.264 | 889.833 | 25.445 | 0.12932
2020-09-20 12:30:00 | 1.702 | 185.286 | 1.373 | 322.805 | 1.384 | 319.633 | 1.958 | 138.533 | 17.594 | 889.317 | 24.205 | 0.17622
2020-09-20 12:45:00 | 1.478 | 195.478 | 1.36 | 219.11 | 1.25 | 204.567 | 1.737 | 197 | 18.435 | 889.767 | 22.56 | 0.17906
2020-09-20 13:00:00 | 1.876 | 150.975 | 1.801 | 164.09 | 1.572 | 138.9 | 1.695 | 124.767 | 18.385 | 890.033 | 21.424 | 0.21388
2020-09-20 13:15:00 | 1.143 | 122.075 | 1.19 | 98.313 | 0.913 | 76.9 | 1.2 | 68.133 | 18.673 | 889.617 | 20.18 | 0.12719
2020-09-20 13:30:00 | 4.077 | 83.479 | 3.707 | 98.318 | 3.64 | 79.602 | 3.999 | 83.633 | 19.01 | 889.5 | 19.556 | 0.73117
2020-09-20 13:45:00 | 3.115 | 75.888 | 3.13 | 63.981 | 3.363 | 73.5 | 3.584 | 58.038 | 19.485 | 889.167 | 19.149 | 2.32
2020-09-20 14:00:00 | 2.751 | 135.15 | 2.521 | 66.606 | 2.454 | 60.877 | 3.386 | 57.567 | 19.473 | 889.4 | 18.887 | 7.0744
2020-09-20 14:15:00 | 4.648 | 44.444 | 4.532 | 38.728 | 4.606 | 48.233 | 4.482 | 46.367 | 19.668 | 889.2 | 17.739 | 7.3942
2020-09-20 14:30:00 | 4.48 | 35.064 | 4.123 | 31.137 | 4.382 | 39.5 | 4.713 | 39.6 | 19.531 | 889.733 | 17.381 | 8.1232
2020-09-20 14:45:00 | 4.005 | 80.973 | 4.063 | 79.508 | 4.194 | 84.967 | 4.365 | 81.567 | 19.694 | 889.633 | 18.352 | 6.96
2020-09-20 15:00:00 | 4.005 | 87.516 | 3.895 | 72.068 | 4.16 | 64.6 | 4.367 | 58.7 | 19.514 | 889.733 | 18.269 | 10.1398
2020-09-20 15:15:00 | 3.854 | 85.722 | 3.983 | 78.11 | 4.111 | 80.067 | 4.163 | 74.533 | 20.485 | 889.6 | 18.035 | 13.23
2020-09-20 15:30:00 | 5.633 | 64.047 | 5.424 | 56.817 | 5.826 | 61.167 | 5.963 | 59.533 | 20.11 | 889.6 | 17.96 | 14.5403
2020-09-20 15:45:00 | 4.243 | 116.633 | 4.567 | 112.605 | 4.91 | 117.267 | 5.127 | 110.767 | 20.164 | 889.4 | 18.376 | 12.7127
2020-09-20 16:00:00 | 4.726 | 123.31 | 4.783 | 113.827 | 5.382 | 118.4 | 5.501 | 109.467 | 20.331 | 889.633 | 18.072 | 11.8793
2020-09-20 16:15:00 | 6.871 | 90.417 | 6.954 | 82.208 | 7.068 | 85.767 | 7.5 | 80.4 | 21.035 | 889.567 | 17.696 | 12.7817
2020-09-20 16:30:00 | 5.23 | 92.43 | 5.256 | 88.833 | 5.5 | 96.033 | 5.51 | 95.433 | 20.794 | 889.367 | 17.301 | 12.7255
2020-09-20 16:45:00 | 4.8 | 70.398 | 4.785 | 64.196 | 5.467 | 69.967 | 6.094 | 69.867 | 20.998 | 889.467 | 17.357 | 13.3913
2020-09-20 17:00:00 | 5.635 | 109.7 | 5.311 | 102.02 | 5.98 | 107.233 | 6.244 | 103.233 | 21.002 | 889.867 | 17.533 | 15.403
2020-09-20 17:15:00 | 4.141 | 119.487 | 4.207 | 114.158 | 4.166 | 118.2 | 4.545 | 112.9 | 20.814 | 889.933 | 17.331 | 7.8688
2020-09-20 17:30:00 | 3.647 | 104.927 | 3.487 | 97.546 | 3.618 | 102.5 | 3.778 | 98.933 | 20.964 | 889.5 | 17.176 | 10.7821
2020-09-20 17:45:00 | 3.308 | 85.038 | 3.467 | 78.758 | 3.62 | 81.633 | 3.883 | 86.667 | 21.423 | 889.233 | 16.789 | 10.3466
2020-09-20 18:00:00 | 4.649 | 88.89 | 4.369 | 83.869 | 4.562 | 85.433 | 4.903 | 79.367 | 21.644 | 889.867 | 16.48 | 13.0425
2020-09-20 18:15:00 | 4.997 | 77.092 | 4.874 | 72.95 | 5.229 | 77.5 | 5.486 | 73.6 | 22.048 | 889.333 | 16.059 | 9.572
2020-09-20 18:30:00 | 4.168 | 99.39 | 3.833 | 96.337 | 3.579 | 101.9 | 3.756 | 93.767 | 22.135 | 889.5 | 15.32 | 7.8532
2020-09-20 18:45:00 | 4.133 | 93.36 | 4.086 | 87.17 | 4.086 | 89.633 | 4.399 | 86.133 | 21.806 | 889.567 | 15.197 | 8.3335
2020-09-20 19:00:00 | 4.472 | 74.247 | 4.524 | 70.649 | 5.004 | 74.933 | 5.105 | 71.633 | 21.656 | 889.533 | 15.893 | 8.4998
2020-09-20 19:15:00 | 4.644 | 81.583 | 4.428 | 81.2 | 4.447 | 86.6 | 4.616 | 81.4 | 21.277 | 889.367 | 16.256 | 9.3404
2020-09-20 19:30:00 | 3.605 | 60.057 | 3.237 | 54.672 | 3.124 | 60 | 3.373 | 55.633 | 20.814 | 889.533 | 16.699 | 6.199
2020-09-20 19:45:00 | 2.364 | 66.252 | 2.776 | 64.736 | 2.833 | 68.967 | 3.172 | 65.133 | 20.702 | 889.367 | 17.072 | 1.7508
2020-09-20 20:00:00 | 2.397 | 68.54 | 2.629 | 69.976 | 2.734 | 71.767 | 3.018 | 67.767 | 20.235 | 889.467 | 17.411 | 0.80791
2020-09-20 20:15:00 | 1.849 | 31.595 | 2.907 | 44.819 | 2.945 | 47.567 | 3.3 | 43.367 | 19.777 | 889.2 | 17.939 | 0.42634
2020-09-20 20:30:00 | 1.223 | 17.057 | 1.853 | 25.401 | 2.15 | 30.8 | 2.792 | 30.2 | 19.798 | 889.7 | 18.339 | 0.18617
2020-09-20 20:45:00 | 0.35 | 11.044 | 2.295 | 25.468 | 2.777 | 30.733 | 3.072 | 29.233 | 19.089 | 889.467 | 18.845 | 0.13288
2020-09-20 21:00:00 | 0 | 8.038 | 1.28 | 25.627 | 1.855 | 38.967 | 2.489 | 48.033 | 18.473 | 889.6 | 19.576 | 0.31549
2020-09-20 21:15:00 | 0.363 | 207.324 | 0.6 | 30.53 | 1.87 | 44.104 | 3.117 | 41.567 | 17.968 | 889.8 | 20.109 | 0.1343
2020-09-20 21:30:00 | 1.806 | 157.78 | 1.344 | 109.393 | 1.6 | 93.267 | 1.975 | 70.6 | 17.227 | 889.467 | 20.371 | 0.65514
2020-09-20 21:45:00 | 0.6 | 57.757 | 1.68 | 37.318 | 1.957 | 26.633 | 3.067 | 26.833 | 18.156 | 889.233 | 19.667 | 1.6421
2020-09-20 22:00:00 | 0.03 | 177.463 | 0.347 | 27.435 | 1.333 | 17.893 | 2.314 | 22.2 | 16.881 | 889.567 | 20.467 | 1.8624
2020-09-20 22:15:00 | 0.763 | 63.798 | 1.479 | 24.373 | 2.258 | 26.279 | 3.189 | 33.467 | 16.614 | 889.65 | 20.928 | 0.31762
2020-09-20 22:30:00 | 0.586 | 7.068 | 0.92 | 20.373 | 2.292 | 35.3 | 3.823 | 36.4 | 17.248 | 889.783 | 20.621 | 0.32899
2020-09-20 22:45:00 | 0.951 | 41.198 | 1.864 | 25.391 | 3.016 | 27.606 | 4.676 | 34.7 | 16.614 | 889.383 | 20.552 | 2.9929
2020-09-20 23:00:00 | 1.486 | 303.013 | 1.895 | 15.008 | 2.912 | 36.269 | 4.096 | 38.433 | 16.431 | 889.217 | 20.4 | 2.8771
2020-09-20 23:15:00 | 0.736 | 357.667 | 1.447 | 26.929 | 2.199 | 49.567 | 2.936 | 65.633 | 16.514 | 889.383 | 20.339 | 1.748
2020-09-20 23:30:00 | 0.56 | 44.787 | 1.845 | 85.457 | 2.423 | 93.067 | 2.772 | 90.9 | 15.594 | 889.567 | 20.821 | 3.5024
2020-09-20 23:45:00 | 3.202 | 119.573 | 4.251 | 114.486 | 5.199 | 115.467 | 5.712 | 109.6 | 16.764 | 889.6 | 20.48 | 11.8501