## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-21 00:00:00 | 4.275 | 131.747 | 4.967 | 123.265 | 5.696 | 122.467 | 6.062 | 114.7 | 16.314 | 889.767 | 20.336 | 18.1479
2020-09-21 00:15:00 | 4.288 | 129.74 | 4.991 | 121.683 | 5.303 | 124.267 | 5.559 | 120.667 | 16.013 | 889.55 | 20.589 | 20.2973
2020-09-21 00:30:00 | 4.132 | 132.313 | 5.055 | 121.886 | 5.754 | 122.667 | 6.094 | 117.067 | 15.93 | 890.017 | 20.683 | 19.3601
2020-09-21 00:45:00 | 4.564 | 123.707 | 5.65 | 114.77 | 6.438 | 115.833 | 7.042 | 108.367 | 15.956 | 889.283 | 20.52 | 23.2959
2020-09-21 01:00:00 | 6.161 | 111.247 | 6.164 | 103.94 | 5.724 | 106.333 | 5.833 | 98.8 | 16.364 | 889.333 | 20.093 | 21.6382
2020-09-21 01:15:00 | 3.474 | 131.9 | 4.937 | 122.33 | 5.445 | 124.9 | 5.821 | 118.167 | 15.45 | 889.767 | 20.856 | 15.6417
2020-09-21 01:30:00 | 3.985 | 135.233 | 4.495 | 119.963 | 5.044 | 121.067 | 5.464 | 116.167 | 15.968 | 889.717 | 20.971 | 11.9865
2020-09-21 01:45:00 | 3.64 | 125.747 | 4.749 | 114.506 | 5.246 | 118.333 | 5.67 | 114.1 | 16.146 | 889.5 | 20.864 | 9.847
2020-09-21 02:00:00 | 3.056 | 129.94 | 3.6 | 115.121 | 3.996 | 117.333 | 4.37 | 110 | 16.15 | 890.017 | 20.784 | 5.8174
2020-09-21 02:15:00 | 1.392 | 144.2 | 2.506 | 106.458 | 2.516 | 105.7 | 3.023 | 96.467 | 15.404 | 889.8 | 21.6 | 2.7577
2020-09-21 02:30:00 | 0.944 | 202.393 | 1.267 | 115.406 | 2.178 | 101.367 | 2.411 | 89.867 | 14.191 | 890.117 | 23.509 | 1.2271
2020-09-21 02:45:00 | 1.822 | 220.667 | 0.163 | 128.316 | 1.214 | 90.4 | 3.216 | 77 | 11.516 | 889.867 | 26.693 | 0.22454
2020-09-21 03:00:00 | 4.737 | 232.04 | 1.519 | 204.648 | 0 | 100.267 | 0.46 | 92.033 | 12.099 | 889.65 | 27.627 | 0.22667
2020-09-21 03:15:00 | 3.192 | 241.86 | 1.056 | 240.528 | 0 | 203 | 1.418 | 90.667 | 11.174 | 889.767 | 29.173 | 0.24088
2020-09-21 03:30:00 | 3.008 | 252.513 | 0.17 | 240.672 | 0 | 203 | 1.875 | 67.2 | 13.099 | 889.8 | 27.435 | 0.17196
2020-09-21 03:45:00 | 4.513 | 245.74 | 2.723 | 273.602 | 0.449 | 306.867 | 0.86 | 46.788 | 11.303 | 889.7 | 28.843 | 0.15632
2020-09-21 04:00:00 | 3.95 | 246.753 | 2.326 | 286.281 | 0.85 | 280.967 | 1.104 | 25.325 | 11.195 | 889.733 | 30.675 | 0.17977
2020-09-21 04:15:00 | 2.807 | 262.813 | 1.209 | 293.17 | 0.2 | 264.671 | 1.397 | 33.794 | 11.328 | 889.617 | 31.653 | 0.18048
2020-09-21 04:30:00 | 2.595 | 265.287 | 0.683 | 321.005 | 0.07 | 22.579 | 1.589 | 50.8 | 12.455 | 889.983 | 29.709 | 0.21601
2020-09-21 04:45:00 | 1.366 | 42.138 | 1.635 | 36.055 | 2.047 | 47.933 | 3.199 | 56.2 | 13.37 | 890.017 | 26.619 | 1.4972
2020-09-21 05:00:00 | 2.174 | 69.107 | 2.696 | 65.223 | 3.171 | 67.4 | 3.803 | 66 | 13.599 | 889.783 | 25.712 | 5.2248
2020-09-21 05:15:00 | 0 | 73.31 | 1.802 | 79.163 | 2.364 | 83.467 | 3.006 | 78.2 | 13.214 | 890.117 | 25.136 | 2.104
2020-09-21 05:30:00 | 0 | 73.167 | 0.404 | 74.463 | 2.393 | 74.7 | 3.501 | 64.367 | 12.128 | 889.6 | 26.128 | 0.38086
2020-09-21 05:45:00 | 0.459 | 299.92 | 0.376 | 44.256 | 1.992 | 45.875 | 2.514 | 47.4 | 12.345 | 889.667 | 26.651 | 2.929
2020-09-21 06:00:00 | 0 | 282.84 | 0.307 | 75.446 | 1.566 | 68.333 | 2.534 | 65.2 | 12.859 | 890.05 | 25.595 | 0.20891
2020-09-21 06:15:00 | 0.825 | 235.507 | 0.027 | 61.123 | 0.786 | 77.858 | 2.06 | 64.767 | 12.566 | 889.833 | 25.765 | 0.21175
2020-09-21 06:30:00 | 2.046 | 223.38 | 0 | 83.038 | 0 | 82.033 | 0 | 66 | 12.511 | 889.833 | 25.68 | 0.17764
2020-09-21 06:45:00 | 3.821 | 237.933 | 2.338 | 228.119 | 1.633 | 235.533 | 1.363 | 236.5 | 11.516 | 889.95 | 27.888 | 0.17196
2020-09-21 07:00:00 | 2.445 | 256.973 | 0.928 | 244.526 | 0 | 244.417 | 0.057 | 235 | 11.474 | 889.9 | 28.101 | 0.2018
2020-09-21 07:15:00 | 2.941 | 281.507 | 2.126 | 295.035 | 1.598 | 289.533 | 1.569 | 246.8 | 12.92 | 889.717 | 26.333 | 0.18333
2020-09-21 07:30:00 | 3.553 | 312.387 | 3.567 | 318.695 | 3.316 | 327.6 | 3.336 | 330.533 | 13.345 | 889.683 | 24.267 | 0.14709
2020-09-21 07:45:00 | 3.24 | 294.48 | 3.369 | 294.075 | 3.214 | 299.3 | 3.216 | 301.233 | 12.955 | 890 | 24.704 | 0.44695
2020-09-21 08:00:00 | 4.262 | 294.173 | 3.906 | 297.531 | 3.39 | 301.833 | 3.233 | 301.6 | 12.843 | 889.817 | 25.323 | 0.7063
2020-09-21 08:15:00 | 3.689 | 324.147 | 4.481 | 323.384 | 4.166 | 326.367 | 3.968 | 325.133 | 13.039 | 889.45 | 26.587 | 2.0834
2020-09-21 08:30:00 | 3.153 | 130.788 | 3.144 | 108.106 | 2.921 | 10.269 | 3.238 | 16.1 | 13.52 | 890.033 | 24.565 | 0.46258
2020-09-21 08:45:00 | 2.224 | 306 | 1.931 | 339.354 | 1.342 | 188.438 | 1.632 | 6.133 | 13.606 | 889.483 | 26.28 | 0.26149
2020-09-21 09:00:00 | 1.817 | 276.6 | 0 | 334.906 | 0 | 28.427 | 0.897 | 49.067 | 13.178 | 889.9 | 27.323 | 0.15632
2020-09-21 09:15:00 | 2.032 | 164.122 | 1.914 | 9.925 | 2.187 | 32.405 | 2.938 | 48.467 | 13.449 | 889.683 | 27.381 | 0.1883
2020-09-21 09:30:00 | 4.153 | 28.077 | 3.926 | 29.04 | 4.419 | 36.333 | 4.769 | 37.6 | 14.308 | 889.517 | 26.928 | 3.6957
2020-09-21 09:45:00 | 4.28 | 50.74 | 3.771 | 47.775 | 3.851 | 50.3 | 4.086 | 51.333 | 14.758 | 889.967 | 26.469 | 5.023
2020-09-21 10:00:00 | 4.874 | 75.333 | 4.508 | 72.103 | 4.84 | 76.5 | 5.12 | 73.167 | 15.041 | 889.717 | 26.485 | 5.9716
2020-09-21 10:15:00 | 4.678 | 64.15 | 4.333 | 58.652 | 4.196 | 61.767 | 4.697 | 58.833 | 14.774 | 889.617 | 26.032 | 8.0543
2020-09-21 10:30:00 | 4.739 | 58.23 | 4.462 | 50.937 | 4.709 | 53.733 | 4.787 | 50 | 15.05 | 889.75 | 25.643 | 7.4823
2020-09-21 10:45:00 | 5.922 | 37.185 | 5.653 | 33.781 | 6.021 | 39.267 | 6.109 | 39.567 | 15.573 | 889.567 | 25.024 | 8.4671
2020-09-21 11:00:00 | 3.47 | 56.87 | 3.19 | 55.112 | 3.074 | 62.333 | 3.326 | 56.3 | 15.661 | 889.65 | 24.725 | 2.3129
2020-09-21 11:15:00 | 2.39 | 54.658 | 1.956 | 31.689 | 1.923 | 35.567 | 2.154 | 74.867 | 15.664 | 889.617 | 24.197 | 0.2352
2020-09-21 11:30:00 | 3.574 | 13.209 | 3.346 | 13.85 | 3.542 | 16.2 | 3.86 | 15.667 | 16.056 | 889.833 | 23.685 | 0.83065
2020-09-21 11:45:00 | 4.558 | 128.642 | 4.629 | 148.557 | 4.951 | 127.3 | 4.961 | 126.533 | 15.825 | 889.667 | 24.251 | 7.554
2020-09-21 12:00:00 | 5.795 | 150.775 | 5.436 | 159.216 | 5.562 | 127.967 | 5.795 | 150.767 | 16.431 | 889.867 | 23.864 | 8.3072
2020-09-21 12:15:00 | 5.436 | 55.877 | 5.716 | 54.133 | 5.644 | 8.2 | 5.688 | 5.467 | 16.681 | 889.683 | 23.037 | 6.7468
2020-09-21 12:30:00 | 2.736 | 87.262 | 2.888 | 130.601 | 2.801 | 86.769 | 3.167 | 50.967 | 16.898 | 889.783 | 23.136 | 4.5498
2020-09-21 12:45:00 | 2.512 | 142.253 | 2.64 | 210.303 | 2.749 | 140.3 | 3.168 | 174.733 | 16.948 | 889.733 | 23.248 | 2.0812
2020-09-21 13:00:00 | 2.903 | 252.817 | 3.121 | 242.592 | 2.966 | 178.435 | 3.2 | 156.033 | 17.031 | 889.317 | 23.437 | 0.29844
2020-09-21 13:15:00 | 3.861 | 160.09 | 3.803 | 158.418 | 4.34 | 115.8 | 4.725 | 126.767 | 17.135 | 890.05 | 23.453 | 1.9541
2020-09-21 13:30:00 | 6.876 | 73.102 | 6.603 | 68.932 | 6.911 | 72.133 | 6.891 | 68.967 | 17.531 | 889.917 | 22.523 | 12.0846
2020-09-21 13:45:00 | 5.465 | 94.58 | 5.171 | 88.172 | 5.08 | 92.167 | 5.431 | 88.767 | 17.014 | 889.45 | 23.451 | 16.5548
2020-09-21 14:00:00 | 4.234 | 93.387 | 3.896 | 89.126 | 3.942 | 92 | 4.09 | 91.1 | 16.981 | 890.35 | 23.621 | 6.3773
2020-09-21 14:15:00 | 3.539 | 125.813 | 3.4 | 122.976 | 3.575 | 127.733 | 3.704 | 122.367 | 16.931 | 889.883 | 23.557 | 3.9145
2020-09-21 14:30:00 | 3.27 | 138.14 | 3.308 | 130.952 | 3.206 | 136.433 | 3.454 | 134.633 | 17.164 | 889.7 | 23.077 | 3.2331
2020-09-21 14:45:00 | 3.035 | 160.387 | 2.866 | 151.86 | 2.878 | 154.633 | 3.222 | 153.967 | 17.681 | 889.55 | 23.131 | 2.978
2020-09-21 15:00:00 | 3.238 | 157.1 | 3.23 | 154.994 | 3.277 | 157.067 | 3.899 | 154.5 | 17.827 | 889.733 | 23.195 | 2.9538
2020-09-21 15:15:00 | 3.046 | 168.593 | 3.087 | 166.485 | 3.036 | 168.233 | 3.341 | 163.6 | 17.556 | 890.233 | 22.821 | 1.9342
2020-09-21 15:30:00 | 4.223 | 176.227 | 4.512 | 174.042 | 4.598 | 178.467 | 4.836 | 176.533 | 17.931 | 889.617 | 22.427 | 3.339
2020-09-21 15:45:00 | 5.192 | 206.92 | 5.322 | 201.574 | 5.537 | 201.3 | 5.699 | 194.133 | 18.002 | 890.117 | 24.16 | 11.5758
2020-09-21 16:00:00 | 7.737 | 209.927 | 8.113 | 207.011 | 8.22 | 208.333 | 8.327 | 203.6 | 17.66 | 889.667 | 27.952 | 25.3303
2020-09-21 16:15:00 | 6.972 | 216.913 | 7.053 | 213.486 | 7.319 | 215.567 | 7.568 | 210 | 17.014 | 889.65 | 31.355 | 22.1576
2020-09-21 16:30:00 | 7.188 | 210.893 | 7.336 | 206.614 | 7.464 | 208.633 | 7.515 | 203.433 | 16.414 | 889.583 | 33.776 | 23.9454
2020-09-21 16:45:00 | 5.87 | 202.907 | 6.16 | 200.059 | 6.544 | 203.367 | 6.765 | 199.5 | 15.944 | 889.383 | 36.256 | 21.4833
2020-09-21 17:00:00 | 6.549 | 200.153 | 6.661 | 196.687 | 6.921 | 199.767 | 7.422 | 195.6 | 16.279 | 890.1 | 37.685 | 19.4759
2020-09-21 17:15:00 | 5.332 | 200.04 | 5.5 | 196.48 | 5.779 | 199.633 | 6.096 | 194.733 | 15.73 | 889.983 | 38.725 | 14.4977
2020-09-21 17:30:00 | 6.214 | 197.613 | 6.452 | 193.158 | 6.68 | 195.4 | 6.926 | 191.067 | 15.226 | 889.95 | 40.709 | 12.5998
2020-09-21 17:45:00 | 5.934 | 198.247 | 6.228 | 194.37 | 6.193 | 196.933 | 6.347 | 192.4 | 15.193 | 889.692 | 43.531 | 12.9082
2020-09-21 18:00:00 | 5.423 | 198.42 | 5.635 | 194.995 | 5.821 | 198 | 6.175 | 192.367 | 15.112 | 889.592 | 44 | 12.032
2020-09-21 18:15:00 | 5.898 | 200.913 | 6.033 | 195.44 | 6.166 | 199.133 | 6.476 | 192.833 | 15.433 | 890.125 | 44.011 | 11.9929
2020-09-21 18:30:00 | 5.597 | 204 | 5.584 | 201.338 | 5.807 | 202.467 | 5.913 | 197.033 | 15.438 | 890 | 43.552 | 10.7352
2020-09-21 18:45:00 | 4.87 | 217.267 | 5.025 | 211.242 | 5.278 | 214 | 5.43 | 210.033 | 15.214 | 889.542 | 44.491 | 8.126
2020-09-21 19:00:00 | 4.337 | 214.407 | 4.252 | 211.561 | 4.567 | 213.867 | 4.712 | 209.033 | 15.134 | 889.7 | 44.843 | 4.9136
2020-09-21 19:15:00 | 3.29 | 227.753 | 3.184 | 223.045 | 3.49 | 224.6 | 3.647 | 219.267 | 14.929 | 889.258 | 46.635 | 1.8603
2020-09-21 19:30:00 | 3.804 | 234.133 | 3.793 | 231.506 | 3.824 | 234.233 | 3.915 | 228.167 | 14.758 | 889.775 | 47.531 | 2.3783
2020-09-21 19:45:00 | 3.694 | 229.667 | 3.761 | 225.727 | 3.862 | 226.867 | 4.011 | 220.933 | 15.091 | 889.758 | 49.184 | 2.0166
2020-09-21 20:00:00 | 3.884 | 238.933 | 3.993 | 234.492 | 3.941 | 237.733 | 3.92 | 230.633 | 14.658 | 889.417 | 51.168 | 2.1132
2020-09-21 20:15:00 | 4.544 | 202.927 | 4.623 | 199.697 | 4.748 | 201.467 | 4.934 | 196.2 | 14.549 | 889.875 | 53.824 | 5.9759
2020-09-21 20:30:00 | 3.36 | 215.787 | 3.72 | 212.913 | 3.938 | 213.9 | 4.248 | 208.9 | 14.37 | 889.792 | 54.635 | 4.5299
2020-09-21 20:45:00 | 3.137 | 214.007 | 3.527 | 209.84 | 3.715 | 212.067 | 3.881 | 204.6 | 13.812 | 889.683 | 56 | 2.1154
2020-09-21 21:00:00 | 3.033 | 231.467 | 3.697 | 226.538 | 3.896 | 226.533 | 4.021 | 221 | 13.616 | 889.933 | 57.163 | 1.7373
2020-09-21 21:15:00 | 3.61 | 224.667 | 4.432 | 220.377 | 4.496 | 224.2 | 4.61 | 218.7 | 12.874 | 890 | 58.304 | 2.865
2020-09-21 21:30:00 | 3.228 | 225.3 | 4.36 | 225.765 | 4.418 | 229.6 | 4.463 | 223.6 | 12.691 | 889.8 | 58.955 | 4.0708
2020-09-21 21:45:00 | 3.136 | 224.62 | 4.236 | 224.498 | 4.195 | 227.667 | 4.344 | 221.9 | 12.32 | 889.75 | 61.536 | 3.6154
2020-09-21 22:00:00 | 2.881 | 235.587 | 4.033 | 229.243 | 4.306 | 230.6 | 4.041 | 220.667 | 12.082 | 889.808 | 62.133 | 2.2624
2020-09-21 22:15:00 | 2.66 | 235.513 | 3.778 | 229.76 | 4.204 | 232.4 | 4.275 | 223.7 | 11.495 | 889.767 | 61.728 | 1.2996
2020-09-21 22:30:00 | 2.325 | 241.18 | 3.143 | 237.346 | 2.967 | 244.133 | 3.034 | 236.167 | 11.753 | 889.683 | 61.771 | 0.23804
2020-09-21 22:45:00 | 1.16 | 235.633 | 2.808 | 235.56 | 2.865 | 241.167 | 2.895 | 237.467 | 10.778 | 890.208 | 62.795 | 0.14709
2020-09-21 23:00:00 | 2.436 | 243.713 | 3.597 | 241.019 | 3.64 | 244.533 | 3.414 | 238.067 | 10.278 | 890.108 | 64.651 | 1.058
2020-09-21 23:15:00 | 2.312 | 247.093 | 3.567 | 242.392 | 3.621 | 244.833 | 3.514 | 237.033 | 10.514 | 889.833 | 64.544 | 0.57698
2020-09-21 23:30:00 | 3.704 | 229.833 | 4.372 | 234.939 | 4.507 | 240.233 | 4.129 | 234.567 | 10.778 | 889.875 | 63.893 | 2.1516
2020-09-21 23:45:00 | 2.838 | 227.92 | 3.334 | 229.574 | 3.27 | 238.367 | 3.103 | 234.033 | 10.493 | 889.917 | 63.968 | 1.2961