## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-22 00:00:00 | 2.927 | 216.12 | 3.757 | 219.267 | 3.49 | 233.133 | 3.1 | 234.067 | 10.609 | 889.367 | 64.32 | 0.33823
2020-09-22 00:15:00 | 3.239 | 227.58 | 2.95 | 228.838 | 2.316 | 239.367 | 2.046 | 238.567 | 9.908 | 889.933 | 65.28 | 0.28565
2020-09-22 00:30:00 | 3.792 | 224.733 | 2.84 | 234.517 | 2.214 | 250 | 1.586 | 244 | 9.699 | 889.633 | 65.504 | 0.17196
2020-09-22 00:45:00 | 3.309 | 251.107 | 1.941 | 263.569 | 1.383 | 280.467 | 1.795 | 309.817 | 10.108 | 890.183 | 66.021 | 0.16769
2020-09-22 01:00:00 | 3.901 | 244.227 | 2.52 | 253.811 | 1.297 | 274.4 | 1.603 | 319.033 | 9.808 | 890.283 | 67.856 | 0.16485
2020-09-22 01:15:00 | 3.671 | 246.807 | 1.787 | 270.85 | 0.984 | 319 | 1.443 | 337.5 | 9.037 | 889.642 | 68.928 | 0.16911
2020-09-22 01:30:00 | 3.363 | 243.76 | 1.109 | 283.636 | 0.9 | 316.133 | 1.502 | 43.384 | 9.37 | 889.633 | 69.915 | 0.17054
2020-09-22 01:45:00 | 3.423 | 239.673 | 0.793 | 283.986 | 0.09 | 152.667 | 1.864 | 24.2 | 10.097 | 890.092 | 68.251 | 0.17338
2020-09-22 02:00:00 | 4.186 | 224.707 | 0.855 | 242.459 | 0 | 336 | 0.581 | 25 | 10.268 | 889.45 | 66.411 | 0.16627
2020-09-22 02:15:00 | 4.456 | 221.673 | 1.582 | 226.166 | 0 | 331.733 | 0 | 25.017 | 9.566 | 890.125 | 67.573 | 0.17054
2020-09-22 02:30:00 | 4.492 | 221.327 | 2.735 | 215.421 | 1.14 | 214.933 | 1.018 | 97.7 | 9.266 | 889.917 | 68.352 | 0.16911
2020-09-22 02:45:00 | 4.075 | 221.493 | 2.111 | 214.468 | 1.564 | 206.667 | 1.737 | 175.2 | 9.558 | 889.575 | 67.445 | 0.17622
2020-09-22 03:00:00 | 4.146 | 221 | 3.615 | 219.21 | 2.599 | 217.567 | 2.286 | 194.167 | 9.583 | 889.675 | 67.072 | 0.12506
2020-09-22 03:15:00 | 4.329 | 219.147 | 5.128 | 217.372 | 4.204 | 224.4 | 3.364 | 215.367 | 9.974 | 889.917 | 66.315 | 2.0948
2020-09-22 03:30:00 | 4.752 | 213.053 | 5.512 | 204.064 | 5.004 | 206.867 | 4.605 | 207.2 | 9.978 | 889.433 | 66.357 | 3.803
2020-09-22 03:45:00 | 5.316 | 217.087 | 6.565 | 212.333 | 5.604 | 213.033 | 5.426 | 209.967 | 9.768 | 890.217 | 67.477 | 6.2118
2020-09-22 04:00:00 | 5.219 | 216.233 | 5.651 | 214.102 | 4.892 | 213.533 | 4.49 | 206.9 | 9.733 | 889.75 | 68.853 | 6.2324
2020-09-22 04:15:00 | 5.215 | 220.333 | 6.513 | 214.694 | 5.769 | 218.467 | 5.11 | 212.1 | 9.391 | 890.4 | 69.397 | 7.1192
2020-09-22 04:30:00 | 5.356 | 221.78 | 6.253 | 217.254 | 5.904 | 219.967 | 5.656 | 214.2 | 9.145 | 889.667 | 69.6 | 8.3087
2020-09-22 04:45:00 | 6.216 | 224.08 | 7.458 | 216.521 | 7.095 | 220.8 | 6.851 | 215.867 | 8.924 | 889.717 | 69.867 | 13.5228
2020-09-22 05:00:00 | 5.922 | 227.34 | 7.538 | 223.441 | 7.771 | 226.267 | 7.362 | 219.567 | 8.883 | 890.117 | 70.123 | 18.771
2020-09-22 05:15:00 | 5.421 | 221.213 | 7.283 | 217.937 | 7.229 | 219.367 | 6.93 | 213.267 | 9.183 | 890.275 | 69.76 | 18.965
2020-09-22 05:30:00 | 5.151 | 224.12 | 7.072 | 219.951 | 7.274 | 220.767 | 6.686 | 215 | 9.308 | 889.925 | 69.003 | 14.5538
2020-09-22 05:45:00 | 5.284 | 219.407 | 6.666 | 218.433 | 6.211 | 222.333 | 6.023 | 213.233 | 9.224 | 889.742 | 70.368 | 11.5417
2020-09-22 06:00:00 | 5.158 | 229.32 | 6.433 | 226.927 | 6.212 | 228.6 | 6.018 | 220.667 | 8.683 | 889.75 | 71.744 | 11.6256
2020-09-22 06:15:00 | 4.612 | 224.967 | 6.203 | 223.64 | 5.93 | 227.2 | 5.818 | 219.867 | 8.472 | 890.292 | 72.853 | 11.3847
2020-09-22 06:30:00 | 4.294 | 230.693 | 5.802 | 227.171 | 5.558 | 229.4 | 5.126 | 221.767 | 8.841 | 889.808 | 73.397 | 8.2511
2020-09-22 06:45:00 | 4.475 | 229.007 | 5.366 | 226.082 | 5.206 | 231.8 | 4.669 | 226.6 | 8.271 | 889.533 | 74.219 | 7.1042
2020-09-22 07:00:00 | 5.182 | 230.16 | 5.714 | 227.849 | 5.244 | 234.067 | 4.772 | 228.067 | 8.36 | 889.883 | 74.869 | 6.3304
2020-09-22 07:15:00 | 4.181 | 242.5 | 5.693 | 230.489 | 5.407 | 238.067 | 4.846 | 235.067 | 7.906 | 889.725 | 75.243 | 7.8333
2020-09-22 07:30:00 | 4.918 | 237.52 | 5.938 | 232.495 | 5.577 | 241.9 | 5.624 | 240.133 | 8.297 | 889.933 | 74.731 | 6.6708
2020-09-22 07:45:00 | 4.898 | 238.58 | 5.869 | 235.119 | 5.558 | 246.467 | 5.617 | 244.933 | 8.365 | 889.408 | 74.187 | 6.9842
2020-09-22 08:00:00 | 4.707 | 243.3 | 5.664 | 240.127 | 5.407 | 251.333 | 5.286 | 248.3 | 8.608 | 889.933 | 72.843 | 8.347
2020-09-22 08:15:00 | 4.68 | 229.293 | 5.07 | 237.091 | 4.755 | 245.833 | 4.289 | 244.767 | 9.366 | 890.108 | 70.432 | 6.4726
2020-09-22 08:30:00 | 4.07 | 224.44 | 4.599 | 231.018 | 3.973 | 242.167 | 3.554 | 245.133 | 9.92 | 889.992 | 67.787 | 3.5606
2020-09-22 08:45:00 | 3.599 | 218.1 | 4.248 | 223.269 | 4.003 | 237.767 | 3.506 | 234.9 | 11.061 | 889.683 | 64.928 | 2.1893
2020-09-22 09:00:00 | 3.602 | 221.787 | 3.592 | 222.165 | 3.723 | 234.3 | 3.254 | 235.133 | 11.945 | 890.075 | 61.003 | 1.1874
2020-09-22 09:15:00 | 3.95 | 227.067 | 3.825 | 225.794 | 3.95 | 234.567 | 3.676 | 234.267 | 13.633 | 889.675 | 54.475 | 1.122
2020-09-22 09:30:00 | 3.348 | 238.82 | 3.228 | 236.536 | 3.058 | 243.6 | 2.913 | 244.633 | 14.912 | 890.05 | 50.379 | 0.51019
2020-09-22 09:45:00 | 2.214 | 255.28 | 2.136 | 254.012 | 2.081 | 259.55 | 2.334 | 259.383 | 16.348 | 889.767 | 46.688 | 0.25083
2020-09-22 10:00:00 | 1.717 | 273.94 | 1.533 | 267.471 | 1.64 | 270.533 | 1.97 | 265.283 | 17.498 | 889.9 | 43.259 | 0.21743
2020-09-22 10:15:00 | 1.932 | 308.867 | 1.526 | 323.236 | 1.59 | 321.4 | 1.795 | 212.067 | 16.581 | 889.708 | 43.915 | 0.16627
2020-09-22 10:30:00 | 2.367 | 314.013 | 2.12 | 312.9 | 2.165 | 322.167 | 2.163 | 316.3 | 16.597 | 889.8 | 44.843 | 0.17196
2020-09-22 10:45:00 | 2.447 | 17.264 | 2.49 | 50.945 | 2.41 | 50.667 | 2.519 | 12.267 | 17.423 | 889.867 | 43.664 | 0.15917
2020-09-22 11:00:00 | 1.475 | 51.344 | 1.213 | 30.507 | 1.169 | 16.208 | 1.76 | 19.6 | 17.198 | 889.258 | 42.096 | 0.14638
2020-09-22 11:15:00 | 1.229 | 126.943 | 0.616 | 122.942 | 0.737 | 111.2 | 0.839 | 142.867 | 18.164 | 889.733 | 39.259 | 0.15348
2020-09-22 11:30:00 | 1.477 | 154.292 | 0.949 | 153.691 | 0.99 | 152.1 | 1.427 | 125.733 | 17.889 | 889.433 | 38.784 | 0.16201
2020-09-22 11:45:00 | 1.569 | 77.312 | 1.317 | 14.2 | 1.297 | 121.533 | 1.28 | 33.771 | 18.41 | 889.733 | 37.952 | 0.16059
2020-09-22 12:00:00 | 1.453 | 19.338 | 1.783 | 55.704 | 2.099 | 54.835 | 2.18 | 38.8 | 18.527 | 889.95 | 37.469 | 0.16485
2020-09-22 12:15:00 | 2.211 | 280.802 | 2.084 | 227.488 | 1.411 | 229.835 | 1.783 | 280.1 | 18.598 | 889.217 | 38.325 | 0.16201
2020-09-22 12:30:00 | 2.381 | 276.643 | 2.327 | 305.375 | 2.382 | 282.467 | 2.676 | 287.367 | 19.26 | 890.167 | 36.357 | 0.17622
2020-09-22 12:45:00 | 2.344 | 304.173 | 2.37 | 301.39 | 2.385 | 313.3 | 2.577 | 311.7 | 18.344 | 889.683 | 37.253 | 0.13856
2020-09-22 13:00:00 | 0.846 | 259.737 | 0.481 | 299.692 | 0.17 | 210.66 | 0.547 | 193.8 | 18.598 | 889.45 | 37.296 | 0.16556
2020-09-22 13:15:00 | 3.358 | 163.933 | 3.145 | 156.232 | 3.026 | 162.9 | 2.722 | 155.133 | 19.248 | 889.717 | 34.656 | 0.1073
2020-09-22 13:30:00 | 2.549 | 96.257 | 1.98 | 70.304 | 2.004 | 60.533 | 1.766 | 33.9 | 19.644 | 890.017 | 34.864 | 0.16698
2020-09-22 13:45:00 | 2.677 | 85.953 | 2.53 | 38.342 | 2.892 | 43.633 | 2.942 | 34.833 | 19.764 | 890.033 | 33.835 | 0.17338
2020-09-22 14:00:00 | 1.927 | 309.987 | 1.994 | 332.324 | 2.179 | 292.2 | 2.172 | 336.9 | 19.918 | 889.517 | 34.733 | 0.16983
2020-09-22 14:15:00 | 0.572 | 81.765 | 0.319 | 102.628 | 0.113 | 139.667 | 0.535 | 124.21 | 19.085 | 889.733 | 35.413 | 0.095926
2020-09-22 14:30:00 | 2.308 | 165.147 | 2.458 | 177.135 | 2.836 | 140.7 | 2.964 | 224.034 | 19.506 | 890.033 | 34.931 | 0.16627
2020-09-22 14:45:00 | 0.912 | 56.612 | 0.407 | 39.825 | 0.433 | 34.633 | 1.122 | 26.9 | 19.602 | 889.633 | 34.651 | 0.10943
2020-09-22 15:00:00 | 1.397 | 298.2 | 1.203 | 292.724 | 0.946 | 298.483 | 1.374 | 161.536 | 19.756 | 889.733 | 34.037 | 0.18546
2020-09-22 15:15:00 | 0.823 | 180.182 | 0.675 | 246.483 | 0.413 | 219.217 | 0.499 | 258.333 | 19.827 | 889.9 | 33.635 | 0.16059
2020-09-22 15:30:00 | 1.285 | 56.152 | 0.387 | 87.822 | 0.436 | 140.633 | 0.719 | 141.771 | 19.56 | 889.55 | 33.448 | 0.15206
2020-09-22 15:45:00 | 0.576 | 185.083 | 0.553 | 196.982 | 0.38 | 154.771 | 0.777 | 144.867 | 20.206 | 889.817 | 32.899 | 0.13785
2020-09-22 16:00:00 | 1.476 | 257.527 | 1.438 | 311.728 | 1.55 | 265 | 2.163 | 325.233 | 19.902 | 889.533 | 34.939 | 0.085268
2020-09-22 16:15:00 | 1.694 | 264.214 | 1.399 | 179.551 | 1.623 | 68.655 | 2.077 | 10.6 | 19.448 | 889.883 | 35.227 | 0.10658
2020-09-22 16:30:00 | 1.334 | 27.372 | 1.45 | 26.56 | 1.396 | 19.767 | 1.634 | 248.833 | 20.285 | 889.5 | 33.712 | 0.081005
2020-09-22 16:45:00 | 2.17 | 139.24 | 1.831 | 123.138 | 1.687 | 119.633 | 1.71 | 94.867 | 20.464 | 889.717 | 31.765 | 0.1279
2020-09-22 17:00:00 | 1.077 | 57.38 | 1.016 | 158.479 | 1.012 | 167.633 | 1.261 | 189.471 | 20.623 | 889.167 | 31.277 | 0.19612
2020-09-22 17:15:00 | 2.705 | 285.24 | 2.572 | 288.872 | 2.706 | 293.533 | 3.004 | 294.55 | 20.806 | 889.683 | 31.453 | 0.63311
2020-09-22 17:30:00 | 4.245 | 63.153 | 4.095 | 85.15 | 4.008 | 51.3 | 3.867 | 63.933 | 20.86 | 889.367 | 31.907 | 0.60398
2020-09-22 17:45:00 | 3.705 | 154.283 | 3.601 | 199.734 | 3.744 | 142.734 | 3.825 | 190.433 | 20.898 | 889.65 | 32.309 | 1.0595
2020-09-22 18:00:00 | 3.576 | 151.885 | 3.644 | 197.74 | 3.712 | 105.238 | 3.787 | 150.033 | 20.556 | 889.667 | 31.973 | 0.67433
2020-09-22 18:15:00 | 3.845 | 254.227 | 3.956 | 309.089 | 3.872 | 322.133 | 4.063 | 320.967 | 20.552 | 889.667 | 31.979 | 0.60043
2020-09-22 18:30:00 | 3.443 | 185.448 | 3.8 | 284.653 | 3.863 | 240.7 | 3.836 | 302.233 | 20.781 | 889.517 | 31.187 | 0.72904
2020-09-22 18:45:00 | 3.411 | 296.613 | 3.472 | 295.108 | 3.224 | 302.3 | 3.416 | 305.8 | 20.456 | 889.717 | 31.648 | 1.004
2020-09-22 19:00:00 | 3.45 | 323.44 | 3.549 | 342.176 | 3.483 | 345.5 | 3.591 | 347.667 | 20.439 | 890.05 | 31.781 | 0.67788
2020-09-22 19:15:00 | 2.427 | 73.987 | 2.592 | 185.834 | 2.636 | 177.3 | 2.834 | 154.733 | 20.173 | 889.767 | 32.699 | 0.50024
2020-09-22 19:30:00 | 2.114 | 20.699 | 2.449 | 64.088 | 2.433 | 7.733 | 2.725 | 28.933 | 19.956 | 889.383 | 33.405 | 0.81005
2020-09-22 19:45:00 | 2.636 | 21.83 | 3.017 | 17.378 | 3.23 | 17.4 | 3.659 | 16.767 | 19.323 | 889.883 | 34.784 | 0.30057
2020-09-22 20:00:00 | 2.781 | 8.926 | 3.098 | 8.358 | 3.439 | 9.7 | 3.462 | 13 | 19.127 | 889.8 | 35.403 | 0.30483
2020-09-22 20:15:00 | 2.967 | 17.962 | 3.245 | 19.751 | 3.011 | 23.733 | 3.226 | 19.533 | 19.256 | 889.733 | 35.861 | 0.46471
2020-09-22 20:30:00 | 2.034 | 26.514 | 2.199 | 21.36 | 2.423 | 24.767 | 2.762 | 18.8 | 19.044 | 890.117 | 36.405 | 0.24159
2020-09-22 20:45:00 | 1.384 | 15.768 | 1.462 | 15.733 | 1.46 | 24.933 | 1.948 | 20.867 | 18.823 | 889.75 | 36.773 | 0.28423
2020-09-22 21:00:00 | 1.646 | 15.258 | 1.62 | 17.397 | 1.706 | 31.333 | 2.121 | 21 | 18.706 | 889.433 | 37.509 | 0.23022
2020-09-22 21:15:00 | 0.51 | 18.083 | 1.087 | 21.056 | 0.956 | 31.867 | 1.572 | 20.967 | 18.164 | 889.8 | 38.448 | 0.17338
2020-09-22 21:30:00 | 0 | 18.087 | 0.978 | 23.067 | 1.034 | 32 | 1.602 | 20.967 | 17.864 | 889.683 | 39.152 | 0.16627
2020-09-22 21:45:00 | 0 | 343.293 | 0 | 21.065 | 0.186 | 27.628 | 1.396 | 21.067 | 17.394 | 889.967 | 39.877 | 0.16627
2020-09-22 22:00:00 | 2.423 | 239.973 | 0.24 | 307.98 | 0 | 13.967 | 1.219 | 21 | 16.981 | 889.35 | 40.568 | 0.16627
2020-09-22 22:15:00 | 2.175 | 235.347 | 0.41 | 329.37 | 0 | 14.133 | 0.342 | 21 | 16.731 | 889.6 | 41.011 | 0.16485
2020-09-22 22:30:00 | 2.72 | 233.36 | 0.945 | 290.884 | 0 | 10 | 0.901 | 21 | 16.564 | 889.25 | 40.747 | 0.16769
2020-09-22 22:45:00 | 4.265 | 227.5 | 1.641 | 253.884 | 0 | 10 | 0.466 | 21 | 15.008 | 889.492 | 40.613 | 0.16769
2020-09-22 23:00:00 | 5.075 | 224.02 | 2.825 | 228.364 | 0.943 | 268.4 | 0 | 21.021 | 14.337 | 890.117 | 43.136 | 0.17054
2020-09-22 23:15:00 | 5.35 | 224.373 | 3.353 | 224.107 | 1.848 | 235.467 | 0.37 | 72.267 | 13.662 | 889.992 | 44.651 | 0.16627
2020-09-22 23:30:00 | 5.175 | 224.533 | 3.913 | 225.306 | 2.586 | 230.3 | 1.459 | 264.5 | 13.308 | 890.283 | 45.632 | 0.1684
2020-09-22 23:45:00 | 5.338 | 224.547 | 4.188 | 228.426 | 2.829 | 231 | 1.822 | 240 | 13.303 | 889.983 | 46.784 | 0.16911