## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-23 00:00:00 | 5.69 | 221.113 | 4.888 | 225.75 | 3.414 | 226.867 | 2.212 | 229.8 | 12.916 | 889.633 | 47.925 | 0.17338
2020-09-23 00:15:00 | 5.573 | 222.673 | 4.676 | 226.473 | 3.114 | 228.633 | 1.98 | 225.933 | 12.845 | 889.792 | 49.131 | 0.17054
2020-09-23 00:30:00 | 5.624 | 224.5 | 4.667 | 229.134 | 3.535 | 237.033 | 2.807 | 227.367 | 12.63 | 890.175 | 49.941 | 0.24159
2020-09-23 00:45:00 | 5.438 | 223.84 | 4.587 | 228.333 | 4.034 | 239.733 | 3.131 | 233 | 12.828 | 890.192 | 50.869 | 1.6222
2020-09-23 01:00:00 | 5.764 | 224.087 | 5.717 | 226.775 | 4.595 | 236.067 | 3.73 | 232.867 | 12.616 | 889.75 | 51.84 | 2.8892
2020-09-23 01:15:00 | 5.861 | 219.433 | 5.515 | 225.233 | 4.408 | 233 | 3.62 | 232.9 | 12.245 | 889.775 | 52.523 | 4.3686
2020-09-23 01:30:00 | 5.859 | 218.373 | 5.812 | 221.483 | 4.596 | 230.1 | 3.722 | 229.3 | 12.082 | 889.7 | 53.131 | 4.1796
2020-09-23 01:45:00 | 6.011 | 217.833 | 6.079 | 220.691 | 4.704 | 227.5 | 3.808 | 226.033 | 11.99 | 889.75 | 53.781 | 3.7063
2020-09-23 02:00:00 | 5.799 | 219.433 | 5.931 | 223.373 | 4.983 | 230.533 | 4.06 | 226.667 | 11.94 | 889.583 | 54.133 | 3.9948
2020-09-23 02:15:00 | 5.646 | 220.76 | 6.36 | 223.949 | 5.355 | 231.533 | 4.535 | 228 | 11.393 | 890.267 | 54.859 | 6.2445
2020-09-23 02:30:00 | 5.637 | 219.653 | 6.047 | 224.078 | 4.898 | 232.067 | 4.074 | 231.067 | 11.332 | 889.817 | 54.923 | 5.3094
2020-09-23 02:45:00 | 5.83 | 218.987 | 6.418 | 221.255 | 5.193 | 228.567 | 4.038 | 228.767 | 11.503 | 889.8 | 54.859 | 4.8645
2020-09-23 03:00:00 | 6.092 | 218.42 | 6.593 | 221.617 | 5.291 | 229.8 | 4.095 | 228 | 11.674 | 890.258 | 55.285 | 5.3179
2020-09-23 03:15:00 | 6.321 | 218.76 | 6.929 | 220.772 | 5.422 | 228.733 | 4.282 | 227.533 | 11.561 | 890 | 55.637 | 7.0673
2020-09-23 03:30:00 | 5.87 | 215.107 | 6.816 | 215.966 | 5.913 | 221.3 | 4.699 | 221.1 | 11.745 | 889.967 | 55.637 | 6.0704
2020-09-23 03:45:00 | 5.818 | 216.733 | 7.181 | 213.206 | 6.573 | 215.667 | 5.556 | 214 | 11.77 | 890.192 | 55.467 | 8.126
2020-09-23 04:00:00 | 4.778 | 203.773 | 7.213 | 208.704 | 6.866 | 213.3 | 6.259 | 211.767 | 11.524 | 889.883 | 55.552 | 10.5192
2020-09-23 04:15:00 | 4.633 | 200.867 | 5.742 | 204.558 | 6.621 | 212 | 6.478 | 210 | 10.911 | 890.033 | 56.843 | 10.3181
2020-09-23 04:30:00 | 4.58 | 202.833 | 6.087 | 205.034 | 7.081 | 212 | 6.716 | 210 | 10.761 | 889.742 | 57.952 | 11.4721
2020-09-23 04:45:00 | 5.073 | 202.767 | 7.15 | 203.348 | 6.658 | 206.133 | 6.227 | 202.333 | 10.895 | 890.025 | 58.731 | 12.0349
2020-09-23 05:00:00 | 5.611 | 209.467 | 7.418 | 203.573 | 6.98 | 204.933 | 6.783 | 202.2 | 10.995 | 889.933 | 58.016 | 13.1249
2020-09-23 05:15:00 | 4.894 | 205.1 | 6.756 | 202.572 | 6.603 | 203.533 | 6.284 | 200 | 11.011 | 890.017 | 57.557 | 12.2729
2020-09-23 05:30:00 | 4.754 | 206.66 | 7.022 | 203.505 | 6.614 | 202.967 | 6.154 | 199.567 | 11.424 | 889.65 | 56.949 | 9.8755
2020-09-23 05:45:00 | 4.405 | 208.42 | 6.789 | 205.624 | 6.708 | 207.8 | 5.983 | 202.8 | 11.332 | 889.467 | 57.376 | 9.2295
2020-09-23 06:00:00 | 4.9 | 212.4 | 7.244 | 206.346 | 6.812 | 209.167 | 6.245 | 204.767 | 10.928 | 889.925 | 58.688 | 10.7651
2020-09-23 06:15:00 | 5.512 | 205.867 | 7.753 | 199.807 | 7.329 | 200.3 | 6.733 | 196.7 | 10.811 | 889.958 | 58.208 | 12.0057
2020-09-23 06:30:00 | 5.237 | 201.887 | 6.739 | 198.778 | 7.796 | 198.967 | 8.046 | 192.5 | 11.757 | 889.783 | 55.595 | 10.2371
2020-09-23 06:45:00 | 4.458 | 203.68 | 6.963 | 199.141 | 6.801 | 195.767 | 5.822 | 188.767 | 11.53 | 890.142 | 54.485 | 8.9567
2020-09-23 07:00:00 | 5.137 | 201.667 | 6.496 | 192.387 | 6.054 | 191 | 6.13 | 183.5 | 11.195 | 890.067 | 56.235 | 7.5668
2020-09-23 07:15:00 | 5.409 | 202.673 | 6.614 | 196.872 | 5.928 | 196.567 | 5.928 | 189 | 10.368 | 889.608 | 57.589 | 9.6609
2020-09-23 07:30:00 | 4.827 | 209.767 | 7.355 | 202.297 | 8.667 | 200.533 | 8.099 | 193.167 | 11.011 | 889.9 | 56.693 | 14.5915
2020-09-23 07:45:00 | 4.856 | 210.433 | 7.865 | 202.922 | 8.119 | 201.133 | 7.692 | 196.067 | 10.745 | 889.667 | 58.784 | 18.4605
2020-09-23 08:00:00 | 4.613 | 212.6 | 6.955 | 206.32 | 7.827 | 200.5 | 7.746 | 194.8 | 10.711 | 889.958 | 58.187 | 15.3589
2020-09-23 08:15:00 | 4.299 | 210.38 | 6.747 | 205.929 | 8.141 | 203.067 | 8.547 | 195.4 | 11.545 | 890 | 55.296 | 14.0905
2020-09-23 08:30:00 | 5.43 | 219.267 | 6.856 | 208.406 | 7.321 | 203.7 | 7.223 | 198 | 12.453 | 889.808 | 51.883 | 14.61
2020-09-23 08:45:00 | 4.513 | 215.093 | 5.981 | 207.573 | 7.185 | 204.667 | 7.518 | 196.567 | 13.41 | 890 | 48.48 | 14.4842
2020-09-23 09:00:00 | 5.289 | 212.267 | 6.418 | 207.973 | 7.253 | 206.533 | 7.511 | 199.7 | 15.008 | 889.583 | 44.619 | 12.8726
2020-09-23 09:15:00 | 5.834 | 204.98 | 6.058 | 200.781 | 6.563 | 200.6 | 7.197 | 195.367 | 16.448 | 889.7 | 41.515 | 10.8987
2020-09-23 09:30:00 | 5.907 | 205.707 | 5.982 | 200.821 | 6.097 | 200.967 | 6.235 | 193.133 | 17.181 | 890.317 | 39.328 | 9.4569
2020-09-23 09:45:00 | 4.632 | 197.58 | 4.64 | 192.463 | 4.723 | 194.1 | 4.927 | 188.9 | 18.464 | 889.35 | 37.461 | 5.0983
2020-09-23 10:00:00 | 4.562 | 197.5 | 4.469 | 194.573 | 4.675 | 195.1 | 4.832 | 189.933 | 18.856 | 890.017 | 35.563 | 5.4863
2020-09-23 10:15:00 | 4.42 | 202.627 | 4.447 | 198.816 | 4.443 | 197.433 | 4.671 | 192.767 | 19.385 | 889.8 | 34.283 | 5.2049
2020-09-23 10:30:00 | 3.766 | 188.613 | 3.836 | 183.889 | 4.055 | 188.133 | 4.286 | 185.033 | 19.802 | 890.183 | 32.677 | 4.1383
2020-09-23 10:45:00 | 2.706 | 194.2 | 2.666 | 183.459 | 3.031 | 183.6 | 3.569 | 178 | 20.202 | 889.733 | 31.611 | 1.6634
2020-09-23 11:00:00 | 1.328 | 172.19 | 1.323 | 166.312 | 1.428 | 183.867 | 2.355 | 168.533 | 20.373 | 889.817 | 30.101 | 0.81999
2020-09-23 11:15:00 | 2.27 | 169.68 | 2.487 | 174.985 | 2.592 | 176.167 | 2.908 | 179.367 | 20.898 | 889.8 | 29.461 | 0.50521
2020-09-23 11:30:00 | 2.559 | 187.553 | 2.432 | 175.075 | 2.767 | 180.567 | 3.309 | 173.033 | 21.418 | 889.583 | 28.443 | 0.22525
2020-09-23 11:45:00 | 2.366 | 141.463 | 2.19 | 146.696 | 2.28 | 154.867 | 2.648 | 155.083 | 20.939 | 889.85 | 28.179 | 0.23733
2020-09-23 12:00:00 | 2.753 | 133.69 | 2.438 | 134.5 | 2.111 | 150.2 | 2.664 | 160.567 | 21.235 | 889.7 | 27.941 | 0.54216
2020-09-23 12:15:00 | 2.81 | 119.203 | 2.78 | 116.669 | 2.936 | 125.133 | 3.239 | 123.267 | 21.239 | 889.85 | 26.571 | 1.279
2020-09-23 12:30:00 | 2.494 | 135.33 | 2.425 | 113.858 | 2.398 | 104.8 | 3.134 | 100.933 | 21.277 | 889.817 | 26.368 | 1.7984
2020-09-23 12:45:00 | 3.527 | 114.583 | 3.778 | 111.139 | 3.984 | 122.3 | 4.407 | 123.3 | 21.548 | 889.617 | 25.616 | 0.76954
2020-09-23 13:00:00 | 2.32 | 184.133 | 1.915 | 174.232 | 2.117 | 161.667 | 2.521 | 149.4 | 22.764 | 889.667 | 24.299 | 0.66793
2020-09-23 13:15:00 | 1.661 | 95.247 | 1.863 | 90.6 | 1.878 | 86.833 | 2.553 | 80.633 | 22.498 | 889.767 | 24.155 | 0.27925
2020-09-23 13:30:00 | 3.209 | 86 | 3.334 | 94.766 | 3.975 | 107.833 | 4.509 | 104.8 | 22.481 | 889.55 | 24.421 | 0.3567
2020-09-23 13:45:00 | 3.325 | 215.68 | 3.367 | 208.361 | 2.918 | 208.833 | 2.833 | 191.4 | 22.898 | 889.733 | 23.264 | 0.19541
2020-09-23 14:00:00 | 3.52 | 72.823 | 3.453 | 67.535 | 3.635 | 68.767 | 3.756 | 69.533 | 23.064 | 889.767 | 22.741 | 0.20962
2020-09-23 14:15:00 | 3.484 | 88.647 | 3.572 | 88.052 | 3.69 | 93.167 | 3.885 | 92.267 | 22.831 | 889.35 | 22.981 | 0.8072
2020-09-23 14:30:00 | 2.192 | 65.957 | 1.604 | 68.824 | 1.797 | 86.967 | 2.19 | 103.767 | 23.448 | 889.733 | 21.472 | 1.3082
2020-09-23 14:45:00 | 3.192 | 89.62 | 2.901 | 84.645 | 3.132 | 92.6 | 3.487 | 95.033 | 23.031 | 889.967 | 21.349 | 2.2816
2020-09-23 15:00:00 | 3.877 | 131.973 | 4.071 | 133.255 | 3.91 | 137.467 | 3.917 | 130.3 | 23.581 | 889.967 | 21.035 | 1.5085
2020-09-23 15:15:00 | 2.898 | 68.327 | 2.775 | 70.388 | 2.596 | 86.767 | 2.692 | 90.733 | 23.281 | 889.683 | 21.253 | 0.90171
2020-09-23 15:30:00 | 1.517 | 228.078 | 1.523 | 226.087 | 1.599 | 181.301 | 1.566 | 128.301 | 23.681 | 889.5 | 19.944 | 1.2783
2020-09-23 15:45:00 | 3.962 | 107.903 | 3.999 | 106.202 | 4.139 | 110.2 | 4.287 | 102.133 | 23.818 | 889.867 | 21.003 | 0.86618
2020-09-23 16:00:00 | 1.409 | 54.465 | 1.167 | 51.718 | 1.11 | 71.033 | 1.75 | 75.467 | 23.918 | 889.6 | 20.875 | 0.49953
2020-09-23 16:15:00 | 1.109 | 135.995 | 0.842 | 110.218 | 0.799 | 145.519 | 1.062 | 157.6 | 24.256 | 889.667 | 20.117 | 0.63169
2020-09-23 16:30:00 | 3.582 | 102.59 | 3.506 | 90.617 | 3.571 | 93.367 | 3.639 | 90.333 | 24.435 | 889.65 | 20.451 | 0.93511
2020-09-23 16:45:00 | 2.377 | 77.47 | 2.82 | 44.579 | 3.403 | 44.467 | 4.084 | 43.133 | 23.935 | 889.133 | 22.101 | 1.0808
2020-09-23 17:00:00 | 3.185 | 57.06 | 3.203 | 48.407 | 3.565 | 51.733 | 3.772 | 47.867 | 23.898 | 889.917 | 21.84 | 1.7537
2020-09-23 17:15:00 | 3.926 | 82.45 | 3.938 | 80.515 | 3.863 | 91.1 | 4.379 | 89.1 | 24.31 | 889.933 | 21.819 | 3.0903
2020-09-23 17:30:00 | 4.256 | 95.717 | 4.28 | 90.883 | 4.363 | 95.667 | 4.582 | 90.667 | 24.068 | 889.967 | 22.245 | 4.1518
2020-09-23 17:45:00 | 4.42 | 67.163 | 4.508 | 61.251 | 4.916 | 64.767 | 5.054 | 57.3 | 23.764 | 889.75 | 23.051 | 4.2733
2020-09-23 18:00:00 | 4.832 | 70.9 | 4.956 | 67.684 | 5.251 | 70.433 | 5.593 | 66.1 | 23.998 | 889.567 | 22.971 | 7.797
2020-09-23 18:15:00 | 4.98 | 80.117 | 5.036 | 72.622 | 5.333 | 76.967 | 5.505 | 71.667 | 23.718 | 890.1 | 22.971 | 10.1512
2020-09-23 18:30:00 | 5.516 | 79.033 | 5.469 | 75.498 | 6.043 | 78 | 6.437 | 72.767 | 23.381 | 889.867 | 23.04 | 13.272
2020-09-23 18:45:00 | 4.341 | 77.973 | 4.391 | 74.306 | 4.947 | 79.9 | 5.355 | 75.033 | 23.081 | 890.05 | 23.504 | 12.9067
2020-09-23 19:00:00 | 4.914 | 83.733 | 5.183 | 78.989 | 5.479 | 83.867 | 5.613 | 80.733 | 23.198 | 889.65 | 24.123 | 12.4243
2020-09-23 19:15:00 | 5.377 | 85.333 | 5.472 | 80.629 | 5.64 | 84.833 | 5.387 | 82.267 | 22.381 | 889.55 | 24.528 | 12.8804
2020-09-23 19:30:00 | 3.867 | 78.037 | 4.057 | 74.606 | 4.413 | 78.533 | 4.675 | 74.933 | 22.085 | 889.617 | 24.741 | 12.3006
2020-09-23 19:45:00 | 4.026 | 68.858 | 4.12 | 66.894 | 4.575 | 70.2 | 4.85 | 67.067 | 21.773 | 889.8 | 25.36 | 6.9671
2020-09-23 20:00:00 | 3.297 | 83.43 | 3.679 | 78.919 | 3.945 | 81.367 | 4.182 | 77.267 | 21.468 | 889.55 | 25.653 | 4.2456
2020-09-23 20:15:00 | 3.005 | 94.05 | 3.39 | 88.285 | 2.835 | 93.533 | 2.958 | 88.933 | 21.618 | 889.933 | 26.187 | 3.577
2020-09-23 20:30:00 | 2.915 | 109.983 | 3.009 | 99.676 | 2.635 | 106.333 | 2.719 | 96.867 | 21.018 | 889.683 | 27.243 | 4.5228
2020-09-23 20:45:00 | 3.095 | 128.54 | 3.45 | 120.197 | 3.66 | 123.6 | 3.975 | 119.6 | 20.931 | 889.533 | 28.213 | 5.0713
2020-09-23 21:00:00 | 3.362 | 124.313 | 3.669 | 117.524 | 3.896 | 121.467 | 4.218 | 117.167 | 20.648 | 889.533 | 29.733 | 3.9174
2020-09-23 21:15:00 | 1.785 | 161.827 | 1.783 | 163.055 | 1.583 | 165.467 | 2.09 | 145.433 | 19.573 | 889.817 | 30.971 | 1.1227
2020-09-23 21:30:00 | 2.224 | 165.253 | 2.194 | 149.546 | 2.115 | 149.467 | 2.598 | 137.833 | 20.314 | 889.567 | 31.024 | 0.21459
2020-09-23 21:45:00 | 6.34 | 238.26 | 7.398 | 236.701 | 8.09 | 242.867 | 8.09 | 239.033 | 19.794 | 889.867 | 29.184 | 12.9607
2020-09-23 22:00:00 | 6.505 | 253.313 | 7.973 | 252.631 | 8.755 | 255.35 | 8.97 | 251.667 | 19.585 | 889.55 | 28.755 | 32.9085
2020-09-23 22:15:00 | 10.292 | 266.407 | 11.569 | 261.658 | 12.143 | 266.8 | 12.741 | 262.067 | 19.931 | 889.933 | 27.861 | 60.2731
2020-09-23 22:30:00 | 12.429 | 274.847 | 13.994 | 268.604 | 15.033 | 274.25 | 15.294 | 271.633 | 19.581 | 889.95 | 27.403 | 85.6467
2020-09-23 22:45:00 | 9.961 | 279.84 | 11.703 | 273.548 | 12.375 | 279.067 | 12.894 | 275.867 | 19.677 | 890.017 | 27.581 | 92.6877
2020-09-23 23:00:00 | 10.894 | 287.68 | 12.499 | 281.549 | 13.035 | 285.5 | 13.699 | 283.767 | 19.244 | 889.8 | 27.797 | 89.8668
2020-09-23 23:15:00 | 10.909 | 292 | 12.406 | 285.369 | 13.025 | 288.467 | 13.908 | 285.333 | 18.689 | 889.867 | 28.219 | 87.6441
2020-09-23 23:30:00 | 9.117 | 298.133 | 10.754 | 290.706 | 11.464 | 295.067 | 12.227 | 293.167 | 18.723 | 890.067 | 29.357 | 88.7505
2020-09-23 23:45:00 | 7.724 | 299.973 | 8.704 | 293.39 | 9.378 | 296.5 | 10.103 | 293.733 | 18.035 | 889.8 | 32.979 | 70.3646