## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-24 00:00:00 | 6.451 | 297.013 | 7.602 | 290.585 | 8.015 | 296.6 | 8.588 | 293.9 | 18.098 | 889.567 | 33.904 | 41.0857
2020-09-24 00:15:00 | 4.827 | 296.213 | 5.8 | 290.676 | 6.148 | 294.2 | 6.78 | 291.667 | 17.381 | 889.75 | 34.451 | 26.1652
2020-09-24 00:30:00 | 4.876 | 285.08 | 5.696 | 278.795 | 6.134 | 285.267 | 6.622 | 284.033 | 16.981 | 889.317 | 34.901 | 23.2995
2020-09-24 00:45:00 | 5.433 | 298.987 | 6.198 | 293 | 6.494 | 297.3 | 6.797 | 294.467 | 17.435 | 889.35 | 34.979 | 21.4527
2020-09-24 01:00:00 | 4.361 | 278.24 | 5.229 | 275.399 | 5.62 | 280.767 | 5.97 | 280.1 | 16.948 | 889.517 | 35.451 | 15.457
2020-09-24 01:15:00 | 4.012 | 276.413 | 4.835 | 274 | 5.212 | 280.333 | 5.505 | 280.333 | 16.568 | 889.767 | 35.891 | 9.8634
2020-09-24 01:30:00 | 2.825 | 275.227 | 3.304 | 277.648 | 3.578 | 282.567 | 4.306 | 285.233 | 16.331 | 889.95 | 36.488 | 3.6147
2020-09-24 01:45:00 | 2.237 | 268.28 | 2.504 | 276.844 | 2.698 | 286.3 | 3.136 | 287.133 | 16.212 | 889.683 | 36.949 | 0.73117
2020-09-24 02:00:00 | 0.773 | 233.313 | 1.377 | 268.845 | 1.269 | 267.8 | 2.001 | 282.267 | 15.673 | 890.017 | 38.205 | 0.29773
2020-09-24 02:15:00 | 1.735 | 266.893 | 1.824 | 288.525 | 1.951 | 286.533 | 2.447 | 282.133 | 15.98 | 889.533 | 38.371 | 0.5514
2020-09-24 02:30:00 | 2.223 | 220.167 | 1.435 | 241.407 | 1.035 | 275.633 | 1.619 | 282.9 | 15.488 | 890.217 | 38.571 | 0.090242
2020-09-24 02:45:00 | 2.549 | 211.18 | 1.83 | 209.526 | 1.714 | 212.8 | 1.832 | 235.467 | 15.756 | 889.367 | 38.059 | 0.19185
2020-09-24 03:00:00 | 2.276 | 220.26 | 3.04 | 238.169 | 3.134 | 244.867 | 3.206 | 234.967 | 15.362 | 889.917 | 38.043 | 0.85979
2020-09-24 03:15:00 | 2.926 | 223.353 | 3.747 | 231.528 | 3.58 | 238 | 3.511 | 235.533 | 14.508 | 889.75 | 39.093 | 3.5749
2020-09-24 03:30:00 | 4.005 | 227.633 | 4.665 | 232.842 | 4.364 | 237.867 | 4.318 | 233.867 | 14.558 | 889.617 | 39.573 | 7.0517
2020-09-24 03:45:00 | 4.09 | 216.933 | 4.757 | 226.941 | 4.617 | 233.667 | 4.53 | 230.3 | 14.774 | 889.7 | 39.376 | 6.9515
2020-09-24 04:00:00 | 4.355 | 222.733 | 4.728 | 228.193 | 4.911 | 237.5 | 4.7 | 234.5 | 14.808 | 889.417 | 39.328 | 7.8646
2020-09-24 04:15:00 | 3.709 | 238.013 | 4.689 | 239.445 | 4.695 | 247.567 | 4.707 | 243.867 | 14.554 | 890.017 | 39.984 | 6.6033
2020-09-24 04:30:00 | 4.199 | 262.92 | 5.168 | 255.784 | 5.124 | 261.633 | 5.103 | 258.383 | 14.649 | 889.758 | 40.992 | 7.2925
2020-09-24 04:45:00 | 3.107 | 274.667 | 3.152 | 283.815 | 3.544 | 294.233 | 4.088 | 297.7 | 14.404 | 889.55 | 39.813 | 7.3338
2020-09-24 05:00:00 | 2.533 | 253.64 | 2.995 | 273.645 | 3.295 | 291.267 | 3.917 | 292.3 | 14.241 | 889.508 | 40.861 | 1.4346
2020-09-24 05:15:00 | 3.932 | 243.353 | 4.212 | 260.232 | 4.192 | 274.533 | 4.46 | 276.967 | 13.778 | 889.858 | 41.733 | 2.3321
2020-09-24 05:30:00 | 4.331 | 234.8 | 4.322 | 251.5 | 4.414 | 263.4 | 4.613 | 264.967 | 13.356 | 889.908 | 42.091 | 3.1215
2020-09-24 05:45:00 | 5.509 | 219.853 | 4.888 | 229.787 | 4.554 | 243.433 | 4.624 | 243.867 | 12.532 | 889.225 | 42.763 | 4.3615
2020-09-24 06:00:00 | 5.49 | 221.04 | 5.348 | 220.994 | 5.138 | 227.067 | 4.96 | 225.367 | 12.912 | 889.958 | 43.083 | 6.0135
2020-09-24 06:15:00 | 5.01 | 223.593 | 4.935 | 220.619 | 4.933 | 224.133 | 4.968 | 220.767 | 13.108 | 889.8 | 42.517 | 6.8108
2020-09-24 06:30:00 | 4.463 | 236.793 | 4.177 | 240.852 | 3.97 | 245.4 | 3.891 | 236.067 | 13.108 | 890.125 | 43.211 | 5.1168
2020-09-24 06:45:00 | 4.146 | 234.88 | 5.125 | 233.405 | 4.946 | 236.3 | 4.906 | 229.467 | 12.645 | 889.633 | 44.309 | 5.9851
2020-09-24 07:00:00 | 4.26 | 231.167 | 5.582 | 230.141 | 5.53 | 236.9 | 5.373 | 231 | 12.536 | 890.333 | 45.077 | 8.3833
2020-09-24 07:15:00 | 4.464 | 230.833 | 5.727 | 226.991 | 5.904 | 229.067 | 5.615 | 224.2 | 12.382 | 889.967 | 45.291 | 9.5628
2020-09-24 07:30:00 | 4.499 | 244.42 | 5.956 | 239.931 | 5.96 | 243.4 | 5.798 | 236.133 | 12.116 | 890.542 | 45.323 | 10.9171
2020-09-24 07:45:00 | 5.272 | 235.067 | 6.342 | 235.712 | 6.492 | 243.3 | 6.482 | 238.633 | 12.353 | 889.883 | 45.248 | 15.0569
2020-09-24 08:00:00 | 5.831 | 231.18 | 7.026 | 233.486 | 6.684 | 241.433 | 6.326 | 239.533 | 12.493 | 890.342 | 45.045 | 17.4679
2020-09-24 08:15:00 | 5.064 | 228.693 | 6.15 | 235.488 | 6.013 | 247.367 | 5.862 | 244.933 | 12.736 | 889.517 | 44.608 | 14.0394
2020-09-24 08:30:00 | 4.889 | 225.6 | 6.342 | 227.109 | 6.025 | 237.133 | 5.731 | 235.467 | 12.597 | 889.492 | 44.256 | 11.5908
2020-09-24 08:45:00 | 4.931 | 220.267 | 6.12 | 223.28 | 5.757 | 233.333 | 5.455 | 232.333 | 14.145 | 889.592 | 40.757 | 10.0765
2020-09-24 09:00:00 | 5.311 | 223.3 | 6.005 | 222.588 | 5.97 | 230.067 | 5.883 | 227.833 | 15.464 | 889.617 | 37.317 | 11.0117
2020-09-24 09:15:00 | 5.071 | 224.087 | 5.184 | 221.283 | 5.63 | 224.2 | 5.662 | 221.5 | 16.931 | 889.6 | 34.752 | 10.2727
2020-09-24 09:30:00 | 5.758 | 214.967 | 5.852 | 212.26 | 6.05 | 214.633 | 6.3 | 211.6 | 17.402 | 889.683 | 33.413 | 10.5597
2020-09-24 09:45:00 | 5.088 | 212.447 | 5.05 | 210.096 | 5.21 | 213.367 | 5.284 | 210.767 | 18.648 | 889.683 | 32.139 | 10.0254
2020-09-24 10:00:00 | 4.904 | 220.567 | 5.073 | 219.588 | 5.292 | 225.633 | 5.522 | 221.467 | 18.873 | 889.733 | 30.523 | 8.1829
2020-09-24 10:15:00 | 4.28 | 233.707 | 4.6 | 228.006 | 4.753 | 232.533 | 4.762 | 226.733 | 19.752 | 889.467 | 28.944 | 7.009
2020-09-24 10:30:00 | 3.002 | 245.02 | 3.074 | 242.378 | 3.194 | 243.383 | 3.597 | 236.1 | 20.218 | 889.617 | 27.165 | 3.7831
2020-09-24 10:45:00 | 2.838 | 202.98 | 2.749 | 199.669 | 2.822 | 207.7 | 3.141 | 204.3 | 20.602 | 889.85 | 26.549 | 1.4332
2020-09-24 11:00:00 | 3.485 | 208.74 | 3.387 | 208.019 | 3.398 | 210.433 | 3.787 | 205.5 | 21.581 | 890.017 | 25.691 | 1.0758
2020-09-24 11:15:00 | 2.949 | 210.553 | 2.734 | 213.174 | 2.94 | 215.933 | 3.27 | 215.233 | 21.739 | 889.85 | 25.221 | 0.47679
2020-09-24 11:30:00 | 2.849 | 212.887 | 3.169 | 202.287 | 3.068 | 205.483 | 3.217 | 204.433 | 21.881 | 889.467 | 25.189 | 0.25012
2020-09-24 11:45:00 | 2.207 | 180.44 | 2.507 | 173.461 | 2.719 | 170.867 | 2.926 | 165.7 | 21.377 | 889.3 | 24.741 | 0.16414
2020-09-24 12:00:00 | 0.892 | 187.74 | 1.2 | 178.756 | 1.27 | 167.333 | 1.414 | 176.833 | 22.189 | 889.9 | 23.867 | 0.20606
2020-09-24 12:15:00 | 1.689 | 223.973 | 1.961 | 202.458 | 1.538 | 237.169 | 1.703 | 230.438 | 23.381 | 889.9 | 22.635 | 0.1748
2020-09-24 12:30:00 | 1.183 | 230.867 | 0.833 | 162.347 | 0.786 | 158.407 | 0.799 | 59.107 | 22.514 | 889.783 | 23.096 | 0.17764
2020-09-24 12:45:00 | 2.392 | 90.847 | 2.481 | 82.464 | 2.128 | 75.533 | 2.424 | 63.967 | 23.064 | 890 | 22.965 | 0.20322
2020-09-24 13:00:00 | 2.398 | 179.127 | 2.441 | 68.504 | 2.169 | 48.306 | 1.706 | 57.467 | 23.231 | 889.95 | 22.539 | 0.15419
2020-09-24 13:15:00 | 3.461 | 53.46 | 3.442 | 52.639 | 3.609 | 66.8 | 3.866 | 68.7 | 22.981 | 889.467 | 23.104 | 0.21317
2020-09-24 13:30:00 | 7.178 | 89.77 | 7.056 | 86.014 | 6.872 | 89.5 | 7.127 | 82.967 | 23.602 | 889.2 | 22.944 | 15.4093
2020-09-24 13:45:00 | 6.808 | 58.1 | 6.315 | 53.576 | 6.519 | 51.6 | 6.91 | 53.833 | 22.331 | 889.483 | 22.827 | 23.4928
2020-09-24 14:00:00 | 6.459 | 57.107 | 5.991 | 54.036 | 6.37 | 54 | 6.83 | 52.867 | 22.264 | 889.833 | 21.744 | 21.9494
2020-09-24 14:15:00 | 4.617 | 73.737 | 4.857 | 68.272 | 5.313 | 69.633 | 5.806 | 64.8 | 22.46 | 889.983 | 22.523 | 17.8622
2020-09-24 14:30:00 | 6.516 | 79.18 | 6.451 | 72.749 | 6.787 | 76.867 | 7.145 | 73.4 | 22.314 | 889.267 | 23.093 | 23.2185
2020-09-24 14:45:00 | 7.06 | 75.87 | 7.202 | 69.334 | 7.542 | 74.167 | 7.653 | 70.833 | 21.752 | 889.783 | 23.109 | 27.9835
2020-09-24 15:00:00 | 5.896 | 84.347 | 5.782 | 78.847 | 5.959 | 82.733 | 6.2 | 78.2 | 21.498 | 889.717 | 23.317 | 19.1562
2020-09-24 15:15:00 | 5.3 | 75.132 | 5.314 | 68.649 | 5.688 | 75.1 | 5.921 | 71.033 | 21.973 | 889.4 | 23.723 | 16.8156
2020-09-24 15:30:00 | 5.391 | 68.013 | 5.292 | 62.315 | 5.484 | 67.767 | 5.71 | 64.267 | 21.71 | 890.133 | 23.344 | 13.3302
2020-09-24 15:45:00 | 4.872 | 66.408 | 4.138 | 60.274 | 4.486 | 59.233 | 4.856 | 58.467 | 22.214 | 889.85 | 23.259 | 13.7772
2020-09-24 16:00:00 | 3.658 | 58.98 | 3.576 | 53.377 | 3.773 | 53.9 | 4.006 | 48.533 | 22.481 | 890.017 | 22.672 | 9.069
2020-09-24 16:15:00 | 3.398 | 66.517 | 3.402 | 62.859 | 3.766 | 69.333 | 4.135 | 64.133 | 23.081 | 889.833 | 22.325 | 4.3757
2020-09-24 16:30:00 | 3.133 | 69.48 | 3.039 | 63.018 | 3.112 | 66.9 | 3.476 | 58.4 | 23.398 | 889.6 | 21.819 | 3.2601
2020-09-24 16:45:00 | 3.434 | 45.457 | 3.477 | 42.693 | 3.605 | 45.8 | 3.715 | 39.9 | 24.46 | 889.2 | 20.827 | 8.9887
2020-09-24 17:00:00 | 3.819 | 53.131 | 3.793 | 46.003 | 4.322 | 49.2 | 4.613 | 50.967 | 24.494 | 889.667 | 20.115 | 6.7774
2020-09-24 17:15:00 | 2.538 | 252.327 | 3.44 | 252.731 | 3.698 | 255.8 | 4.17 | 252.383 | 24.998 | 889.333 | 18.929 | 6.7511
2020-09-24 17:30:00 | 6.613 | 233.22 | 7.222 | 230.663 | 7.609 | 233.967 | 7.81 | 228.417 | 26.373 | 889.1 | 17.301 | 13.9292
2020-09-24 17:45:00 | 9.466 | 230.34 | 9.702 | 226.114 | 9.941 | 229.333 | 10.336 | 221.633 | 25.814 | 889.333 | 17.211 | 37.2792
2020-09-24 18:00:00 | 8.778 | 218.78 | 9.388 | 215.645 | 9.638 | 216.533 | 9.942 | 212.6 | 25.102 | 889.433 | 17.709 | 58.3816
2020-09-24 18:15:00 | 9.184 | 209.24 | 9.603 | 206.03 | 10.218 | 207.6 | 10.578 | 203.267 | 25.102 | 889.467 | 18.075 | 72.1921
2020-09-24 18:30:00 | 9.117 | 212.567 | 9.671 | 210.448 | 10.458 | 213.133 | 10.935 | 208.5 | 24.802 | 889.6 | 17.219 | 72.4401
2020-09-24 18:45:00 | 9.492 | 208.347 | 10.039 | 207.644 | 10.593 | 210 | 11.007 | 206.233 | 24.352 | 889.4 | 17.304 | 74.4383
2020-09-24 19:00:00 | 7.983 | 222.373 | 9.012 | 217.521 | 9.465 | 219.167 | 9.675 | 214.033 | 24.273 | 889.833 | 17.84 | 60.3363
2020-09-24 19:15:00 | 5.904 | 220.587 | 6.766 | 218.089 | 7.123 | 219.067 | 7.399 | 215.033 | 23.464 | 889.233 | 18.277 | 58.6281
2020-09-24 19:30:00 | 6.544 | 226.467 | 6.968 | 222.647 | 7.452 | 225.2 | 7.781 | 218.067 | 23.198 | 889.667 | 19.336 | 46.4313
2020-09-24 19:45:00 | 8.41 | 229.733 | 9.483 | 226.82 | 10.416 | 229.267 | 10.935 | 222.133 | 22.781 | 889.133 | 20.035 | 55.3574
2020-09-24 20:00:00 | 7.964 | 225.547 | 8.688 | 222.101 | 9.402 | 223.033 | 9.61 | 218.333 | 23.014 | 889.433 | 20.155 | 54.0159
2020-09-24 20:15:00 | 6.228 | 228.667 | 7.301 | 224.758 | 7.853 | 226.7 | 8.163 | 220.233 | 22.531 | 889.467 | 20.491 | 36.0158
2020-09-24 20:30:00 | 3.102 | 225.34 | 3.905 | 219.702 | 4.311 | 219.767 | 4.36 | 215.5 | 21.631 | 890.117 | 21.269 | 15.1294
2020-09-24 20:45:00 | 2.62 | 213.82 | 2.902 | 220.262 | 3.101 | 223.8 | 3.642 | 215.533 | 21.044 | 889.833 | 22.096 | 10.9562
2020-09-24 21:00:00 | 3.4 | 226.033 | 4.429 | 224.313 | 5.082 | 221.767 | 5.814 | 218.667 | 21.223 | 889.767 | 22.379 | 15.7426
2020-09-24 21:15:00 | 3.17 | 214.187 | 4.834 | 212.348 | 6.144 | 214 | 6.92 | 209.267 | 20.277 | 889.883 | 23.125 | 16.2258
2020-09-24 21:30:00 | 5.511 | 212.533 | 7.001 | 210.996 | 8.075 | 213.767 | 8.848 | 208.567 | 19.86 | 889.833 | 23.621 | 35.7408
2020-09-24 21:45:00 | 6.119 | 209.527 | 7.737 | 207.838 | 9.109 | 210.133 | 10.024 | 206.667 | 20.31 | 889.783 | 23.621 | 47.4239
2020-09-24 22:00:00 | 6.994 | 210.467 | 8.765 | 207.019 | 9.939 | 210.367 | 10.723 | 206.4 | 20.235 | 890.017 | 23.136 | 62.4659
2020-09-24 22:15:00 | 7.995 | 204.34 | 9.688 | 203.933 | 10.558 | 206.5 | 11.127 | 202.233 | 20.744 | 890.017 | 23.189 | 58.9891
2020-09-24 22:30:00 | 7.324 | 208.647 | 8.667 | 207.963 | 9.732 | 211.2 | 10.624 | 206.567 | 20.623 | 889.417 | 23.387 | 50.0211
2020-09-24 22:45:00 | 7.794 | 214.593 | 9.471 | 211.798 | 10.776 | 213.8 | 11.806 | 210.267 | 19.968 | 890.117 | 23.611 | 59.618
2020-09-24 23:00:00 | 8.42 | 212.18 | 10.255 | 210.857 | 11.462 | 213.233 | 12.32 | 209.167 | 20.298 | 889.833 | 23.28 | 74.0645
2020-09-24 23:15:00 | 8.788 | 217.98 | 9.944 | 216.711 | 10.557 | 220.033 | 10.893 | 214.867 | 20.706 | 890.3 | 23.195 | 78.4053
2020-09-24 23:30:00 | 6.797 | 216.393 | 8.215 | 214.585 | 8.906 | 217.533 | 9.355 | 213.133 | 20.035 | 890 | 23.723 | 69.8238
2020-09-24 23:45:00 | 5.529 | 230.44 | 7.057 | 228.794 | 8.011 | 234 | 8.511 | 230.4 | 19.718 | 889.8 | 24.379 | 55.3851