## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-25 00:00:00 | 14.145 | 262.88 | 15.513 | 257.116 | 16.885 | 260.05 | 17.275 | 255.867 | 19.41 | 890.05 | 29.616 | 78.6434
2020-09-25 00:15:00 | 13.332 | 261.053 | 14.887 | 254.576 | 15.732 | 258.133 | 15.95 | 255.567 | 18.577 | 889.733 | 31.061 | 88.8358
2020-09-25 00:30:00 | 14.552 | 261.727 | 16.532 | 258.595 | 17.506 | 263.5 | 17.758 | 257.55 | 18.552 | 889.633 | 31.915 | 90.831
2020-09-25 00:45:00 | 12.952 | 259.54 | 15.066 | 255.385 | 15.82 | 260.1 | 16.367 | 255.917 | 17.66 | 889.917 | 32.832 | 83.4177
2020-09-25 01:00:00 | 13.842 | 262.26 | 15.88 | 258.769 | 16.768 | 262.867 | 17.023 | 257.267 | 17.744 | 889.75 | 34.187 | 78.1936
2020-09-25 01:15:00 | 13.356 | 270.92 | 14.983 | 263.578 | 15.783 | 266.933 | 16.292 | 261.133 | 17.423 | 889.783 | 34.752 | 77.6458
2020-09-25 01:30:00 | 13.428 | 265.827 | 15.533 | 260.103 | 16.389 | 264.867 | 16.676 | 260.833 | 17.031 | 889.4 | 35.968 | 78.082
2020-09-25 01:45:00 | 14.729 | 265.393 | 16.178 | 259.442 | 16.748 | 264.433 | 17.227 | 258.3 | 16.681 | 889.583 | 36.549 | 78.2448
2020-09-25 02:00:00 | 15.01 | 263.107 | 17.457 | 260.13 | 18.168 | 265.967 | 18.245 | 260.15 | 16.364 | 889.9 | 36.749 | 78.1176
2020-09-25 02:15:00 | 15.028 | 264.187 | 17.067 | 261.175 | 17.815 | 266.567 | 18.504 | 260.183 | 15.868 | 889.567 | 37.525 | 78.0174
2020-09-25 02:30:00 | 15.541 | 264.187 | 17.51 | 260.041 | 18.864 | 264.133 | 18.996 | 258.417 | 15.678 | 889.5 | 38.731 | 79.7625
2020-09-25 02:45:00 | 14.508 | 267.52 | 16.478 | 264.774 | 17.677 | 268.867 | 18.348 | 264.367 | 14.908 | 889.983 | 39.904 | 80.3793
2020-09-25 03:00:00 | 15.598 | 278.027 | 17.897 | 270.366 | 19.025 | 274.333 | 19.468 | 271.6 | 14.499 | 889.458 | 41.92 | 79.1266
2020-09-25 03:15:00 | 13.96 | 270.613 | 16.179 | 266.239 | 17.261 | 270.133 | 18.813 | 265.4 | 13.991 | 889.458 | 42.859 | 77.0602
2020-09-25 03:30:00 | 14.353 | 273.12 | 16.212 | 266.207 | 16.947 | 270.333 | 17.703 | 266.067 | 13.854 | 889.892 | 43.397 | 76.636
2020-09-25 03:45:00 | 16.493 | 267.853 | 18.754 | 262.811 | 19.762 | 267.4 | 19.964 | 263.067 | 13.495 | 889.75 | 44.288 | 76.3525
2020-09-25 04:00:00 | 14.886 | 266.32 | 17.013 | 262.024 | 17.684 | 267.233 | 18.285 | 260.867 | 13.03 | 889.542 | 45.403 | 77.2031
2020-09-25 04:15:00 | 13.48 | 265.067 | 15.284 | 259.982 | 16.469 | 265.333 | 17.156 | 260.883 | 12.786 | 889.9 | 46.368 | 77.321
2020-09-25 04:30:00 | 13.411 | 266.047 | 15.411 | 262.195 | 16.472 | 266.5 | 17.154 | 261.917 | 13.07 | 889.817 | 46.928 | 76.7938
2020-09-25 04:45:00 | 11.865 | 268.733 | 14.127 | 264.867 | 15.148 | 268.3 | 16.102 | 265 | 12.459 | 889.958 | 48.288 | 77.0965
2020-09-25 05:00:00 | 12.316 | 274.267 | 14.524 | 268.32 | 15.64 | 273.3 | 16.371 | 268.467 | 12.557 | 889.533 | 49.355 | 77.7786
2020-09-25 05:15:00 | 12.772 | 274.267 | 14.457 | 270.197 | 15.386 | 274.267 | 15.975 | 268.4 | 12.349 | 889.533 | 50.16 | 77.8085
2020-09-25 05:30:00 | 10.862 | 277.88 | 12.784 | 271.942 | 13.937 | 276.7 | 14.732 | 273 | 11.828 | 889.892 | 51.248 | 78.2021
2020-09-25 05:45:00 | 11.323 | 275.287 | 12.828 | 270.738 | 13.528 | 274.167 | 14.267 | 272.433 | 11.432 | 889.992 | 51.616 | 80.3821
2020-09-25 06:00:00 | 10.156 | 268.36 | 11.979 | 264.197 | 13.161 | 268.5 | 13.457 | 266.467 | 11.22 | 890.017 | 52.027 | 81.5645
2020-09-25 06:15:00 | 11.03 | 272.6 | 12.383 | 267.81 | 13.293 | 271.3 | 13.99 | 268.967 | 11.361 | 890.225 | 52.848 | 85.3135
2020-09-25 06:30:00 | 11.238 | 270.647 | 12.316 | 266.196 | 13.005 | 269.6 | 13.313 | 266.567 | 10.945 | 890.008 | 52.491 | 88.7214
2020-09-25 06:45:00 | 10.246 | 270.18 | 11.95 | 265.378 | 12.568 | 270.367 | 13.153 | 266.5 | 10.291 | 889.767 | 53.765 | 87.4558
2020-09-25 07:00:00 | 9.808 | 274.013 | 11.118 | 264.794 | 11.813 | 270.067 | 12.441 | 265.6 | 10.334 | 890.258 | 53.829 | 73.9799
2020-09-25 07:15:00 | 7.96 | 269.16 | 9.305 | 263.924 | 9.653 | 268.167 | 9.964 | 264.933 | 10.612 | 889.825 | 53.243 | 64.2693
2020-09-25 07:30:00 | 7.43 | 281.28 | 8.025 | 275.661 | 8.221 | 281.5 | 8.402 | 276.867 | 10.241 | 889.55 | 52.144 | 76.0996
2020-09-25 07:45:00 | 7.941 | 289.027 | 9.422 | 281.971 | 10.033 | 282 | 10.29 | 278.233 | 10.455 | 890.058 | 51.723 | 72.5723
2020-09-25 08:00:00 | 7.121 | 281.613 | 8.072 | 275.32 | 8.393 | 277.467 | 8.576 | 274 | 10.418 | 889.858 | 51.883 | 50.7288
2020-09-25 08:15:00 | 5.062 | 280.693 | 5.643 | 274.104 | 5.774 | 277.867 | 6.232 | 274.333 | 10.422 | 889.667 | 50.821 | 32.8339
2020-09-25 08:30:00 | 6.28 | 274.133 | 7.136 | 267.835 | 7.397 | 271.267 | 7.551 | 267.867 | 10.878 | 889.95 | 49.429 | 36.7903
2020-09-25 08:45:00 | 6.696 | 273.38 | 7.367 | 267.975 | 7.701 | 271.833 | 7.901 | 268.9 | 10.828 | 890.292 | 47.739 | 36.8592
2020-09-25 09:00:00 | 6.31 | 277.133 | 6.642 | 270.888 | 6.888 | 272.433 | 7.14 | 269.967 | 11.011 | 889.725 | 47.152 | 42.855
2020-09-25 09:15:00 | 7.558 | 275.733 | 8.456 | 269.319 | 8.637 | 275.667 | 9.08 | 272.233 | 11.128 | 889.758 | 46.304 | 49.6139
2020-09-25 09:30:00 | 7.18 | 265.9 | 7.992 | 261.994 | 8.087 | 265.867 | 8.474 | 260.067 | 11.495 | 890.317 | 46.075 | 48.1317
2020-09-25 09:45:00 | 8.608 | 264.78 | 9.393 | 258.373 | 9.789 | 262.933 | 9.865 | 258.483 | 11.436 | 889.742 | 45.189 | 63.3861
2020-09-25 10:00:00 | 9.116 | 269.04 | 9.559 | 265.397 | 9.839 | 270.317 | 9.88 | 265 | 11.399 | 889.575 | 44.672 | 70.3688
2020-09-25 10:15:00 | 8.236 | 269.253 | 8.978 | 264.703 | 9.154 | 268 | 9.343 | 263.95 | 11.424 | 889.567 | 43.525 | 56.5441
2020-09-25 10:30:00 | 8.911 | 281.347 | 9.652 | 276.977 | 9.737 | 282.2 | 10.219 | 279.017 | 11.803 | 889.658 | 41.997 | 52.297
2020-09-25 10:45:00 | 8.553 | 295.04 | 9.315 | 289.478 | 9.586 | 293.667 | 9.792 | 288.767 | 11.74 | 889.308 | 40.8 | 53.2044
2020-09-25 11:00:00 | 8.405 | 292.413 | 8.862 | 288.123 | 9.126 | 291.5 | 9.718 | 289.467 | 12.003 | 889.95 | 41.301 | 59.9114
2020-09-25 11:15:00 | 8.968 | 297.8 | 9.772 | 293.938 | 9.875 | 297.567 | 10.4 | 294.433 | 11.582 | 889.642 | 40.547 | 62.4091
2020-09-25 11:30:00 | 10.026 | 288.727 | 11.031 | 283.19 | 11.302 | 288.233 | 11.686 | 285.233 | 11.861 | 889.733 | 39.989 | 73.668
2020-09-25 11:45:00 | 9.267 | 297.2 | 10.029 | 290.436 | 10.146 | 293.967 | 10.559 | 290.5 | 10.761 | 889.367 | 50.283 | 74.1327
2020-09-25 12:00:00 | 8.124 | 275.4 | 8.64 | 268.618 | 8.608 | 272.5 | 8.393 | 264.2 | 10.607 | 889.592 | 49.509 | 51.3349
2020-09-25 12:15:00 | 7.872 | 252.693 | 8.641 | 248.676 | 8.81 | 251.917 | 8.746 | 246.667 | 11.49 | 889.908 | 44.027 | 29.097
2020-09-25 12:30:00 | 9.246 | 259.747 | 9.602 | 255.545 | 9.63 | 258.917 | 9.47 | 255.15 | 12.236 | 889.767 | 39.613 | 45.2098
2020-09-25 12:45:00 | 9.53 | 278.827 | 10.149 | 273.134 | 10.471 | 277.033 | 10.324 | 274.733 | 11.736 | 890 | 39.963 | 53.4204
2020-09-25 13:00:00 | 8.133 | 279.593 | 8.743 | 274.474 | 8.984 | 275.733 | 9.214 | 269.2 | 11.52 | 889.675 | 40.573 | 51.6212
2020-09-25 13:15:00 | 8.478 | 286.587 | 9.076 | 278.909 | 9.518 | 282.667 | 9.732 | 281.333 | 11.407 | 889.883 | 40.176 | 52.9592
2020-09-25 13:30:00 | 8.406 | 280.453 | 9.02 | 278.056 | 8.899 | 283.333 | 9.164 | 282.467 | 11.595 | 889.767 | 39.141 | 48.909
2020-09-25 13:45:00 | 8.594 | 286.467 | 9.414 | 282.645 | 9.83 | 284.933 | 10.06 | 282.533 | 11.395 | 889.65 | 37.64 | 47.5568
2020-09-25 14:00:00 | 10.042 | 303.813 | 10.9 | 300.57 | 11.405 | 303.567 | 11.716 | 300.733 | 12.036 | 889.633 | 36.184 | 49.5961
2020-09-25 14:15:00 | 9.925 | 312.84 | 10.385 | 308.599 | 10.714 | 311.5 | 11.223 | 310.3 | 11.924 | 889.933 | 36.747 | 48.401
2020-09-25 14:30:00 | 10.715 | 303.947 | 11.416 | 299.759 | 11.713 | 304.5 | 12.038 | 301.933 | 11.607 | 890.033 | 36.381 | 50.2328
2020-09-25 14:45:00 | 9.452 | 305.427 | 10.201 | 300.595 | 10.606 | 304.067 | 10.905 | 302.133 | 11.578 | 889.717 | 36.659 | 56.0523
2020-09-25 15:00:00 | 9.339 | 306.6 | 9.722 | 299.95 | 10.668 | 303.833 | 11.381 | 301.567 | 11.228 | 889.767 | 37.779 | 70.2338
2020-09-25 15:15:00 | 7.7 | 295.467 | 8.068 | 288.464 | 8.216 | 291.867 | 8.468 | 288.433 | 10.961 | 889.467 | 37.443 | 52.7418
2020-09-25 15:30:00 | 8.932 | 296.267 | 9.558 | 292.165 | 10.023 | 295.6 | 10.342 | 294.067 | 11.061 | 889.817 | 36.861 | 51.6767
2020-09-25 15:45:00 | 7.302 | 299.56 | 7.889 | 293.02 | 8.068 | 294.8 | 8.344 | 293.4 | 11.428 | 889.867 | 36.203 | 53.4588
2020-09-25 16:00:00 | 8.016 | 315.867 | 8.615 | 310.091 | 9.209 | 313.467 | 9.644 | 312.967 | 11.399 | 890.033 | 37.869 | 49.5968
2020-09-25 16:15:00 | 7.321 | 301.267 | 7.817 | 296.609 | 8.128 | 301.5 | 8.579 | 299.4 | 11.582 | 889.6 | 36.877 | 50.0303
2020-09-25 16:30:00 | 7.741 | 293.547 | 8.372 | 287.529 | 8.699 | 289.367 | 8.955 | 287.8 | 11.524 | 889.883 | 36.435 | 38.5305
2020-09-25 16:45:00 | 8.395 | 282.253 | 9.269 | 277.179 | 9.614 | 280.833 | 9.702 | 277.933 | 11.54 | 889.733 | 36.584 | 41.0658
2020-09-25 17:00:00 | 8.325 | 284.253 | 9.315 | 279.227 | 9.511 | 282.567 | 9.614 | 279.433 | 11.87 | 889.767 | 36.656 | 46.9933
2020-09-25 17:15:00 | 7.433 | 286.067 | 7.835 | 279.305 | 8.329 | 281.133 | 8.693 | 278.267 | 11.79 | 889.933 | 35.528 | 47.7821
2020-09-25 17:30:00 | 7.805 | 305.853 | 8.067 | 299.825 | 8.352 | 307.1 | 8.802 | 305 | 11.953 | 889.833 | 35.147 | 39.516
2020-09-25 17:45:00 | 7.707 | 306.827 | 8.273 | 297.123 | 8.307 | 299.5 | 8.627 | 296.4 | 11.445 | 889.767 | 35.291 | 43.6082
2020-09-25 18:00:00 | 6.416 | 314.267 | 6.966 | 306.992 | 7.105 | 309.933 | 7.411 | 305.3 | 11.361 | 889.833 | 35.755 | 37.9229
2020-09-25 18:15:00 | 7.373 | 303.733 | 7.969 | 295.469 | 8.324 | 298.667 | 8.825 | 297.7 | 11.178 | 889.833 | 35.821 | 37.9016
2020-09-25 18:30:00 | 6.554 | 310.4 | 7.076 | 302.209 | 7.41 | 305.9 | 7.931 | 303.233 | 11.178 | 889.367 | 36.424 | 37.3047
2020-09-25 18:45:00 | 7.807 | 313.8 | 8.388 | 305.89 | 8.574 | 308.833 | 8.794 | 305.933 | 10.961 | 889.583 | 37.117 | 36.774
2020-09-25 19:00:00 | 8.385 | 295.667 | 9.119 | 289.435 | 9.303 | 292.4 | 9.721 | 293 | 10.995 | 890 | 37.44 | 42.6354
2020-09-25 19:15:00 | 8.515 | 297.4 | 9.077 | 292.562 | 9.37 | 296.267 | 9.729 | 292.967 | 10.568 | 889.933 | 38.101 | 45.9332
2020-09-25 19:30:00 | 8.5 | 292.827 | 9.481 | 287.511 | 9.802 | 290.133 | 10.204 | 288.633 | 10.566 | 889.8 | 38.707 | 46.9571
2020-09-25 19:45:00 | 8.277 | 287.707 | 9.032 | 281.534 | 9.446 | 283.967 | 9.818 | 280.767 | 10.432 | 890.05 | 39.008 | 46.2359
2020-09-25 20:00:00 | 8.534 | 277.627 | 9.416 | 272.995 | 9.963 | 275.367 | 10.282 | 271.6 | 10.472 | 889.883 | 39.179 | 44.6335
2020-09-25 20:15:00 | 6.911 | 274.76 | 7.847 | 270.248 | 8.112 | 274.4 | 8.299 | 269.367 | 10.312 | 889.417 | 39.549 | 42.2027
2020-09-25 20:30:00 | 6.35 | 264.2 | 6.997 | 258.904 | 7.083 | 262.883 | 7.332 | 259 | 10.212 | 889.8 | 39.853 | 30.8215
2020-09-25 20:45:00 | 6.166 | 261.707 | 6.712 | 260.651 | 6.987 | 264.533 | 7.133 | 259.583 | 10.024 | 889.733 | 40.259 | 34.0717
2020-09-25 21:00:00 | 6.145 | 264.267 | 6.933 | 259.865 | 7.531 | 262.033 | 7.769 | 257.733 | 10.297 | 889.883 | 40.939 | 36.2361
2020-09-25 21:15:00 | 6.149 | 264.127 | 7.058 | 262.889 | 7.369 | 264.5 | 7.247 | 261.267 | 9.93 | 889.983 | 41.195 | 31.0283
2020-09-25 21:30:00 | 5.35 | 268.48 | 5.76 | 263.707 | 6.153 | 268.967 | 6.398 | 263.567 | 9.72 | 889.983 | 42.037 | 26.3642
2020-09-25 21:45:00 | 5.209 | 264.52 | 6.139 | 259.914 | 6.446 | 265.233 | 6.822 | 260.083 | 9.52 | 890.083 | 42.805 | 22.061
2020-09-25 22:00:00 | 4.923 | 255.533 | 5.592 | 254.627 | 5.937 | 258.85 | 6.042 | 254.3 | 9.783 | 889.608 | 43.307 | 23.3549
2020-09-25 22:15:00 | 5.169 | 263.727 | 5.636 | 260.94 | 5.999 | 264.183 | 6.246 | 259.45 | 9.624 | 890.308 | 43.787 | 19.6848
2020-09-25 22:30:00 | 4.348 | 267.707 | 4.94 | 262.866 | 5.138 | 267.433 | 5.377 | 261.2 | 9.308 | 889.933 | 44.117 | 16.4716
2020-09-25 22:45:00 | 5.242 | 269.7 | 6.148 | 265.125 | 6.628 | 270.567 | 7.046 | 265.833 | 9.383 | 890.208 | 44.117 | 17.5588
2020-09-25 23:00:00 | 4.484 | 274.293 | 4.94 | 270.793 | 5.328 | 274.467 | 5.688 | 268.883 | 9.249 | 890 | 44.443 | 14.9063
2020-09-25 23:15:00 | 6.151 | 278.32 | 7.093 | 274.292 | 7.645 | 278.833 | 7.738 | 275.433 | 9.058 | 889.025 | 44.656 | 11.8729
2020-09-25 23:30:00 | 5.655 | 277.967 | 6.392 | 271.775 | 6.711 | 275.9 | 7.04 | 272 | 9.108 | 890.242 | 44.907 | 17.1325
2020-09-25 23:45:00 | 7.004 | 285.44 | 8.031 | 279.114 | 8.581 | 282.067 | 9.06 | 277.033 | 8.612 | 889.458 | 44.784 | 17.7691