## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-26 00:00:00 | 8.025 | 277.333 | 9.061 | 272.205 | 9.495 | 276.467 | 9.546 | 274.9 | 8.778 | 890.133 | 44.875 | 32.836
2020-09-26 00:15:00 | 7.06 | 280.053 | 7.863 | 277.482 | 8.478 | 279.467 | 8.9 | 275.8 | 8.758 | 889.9 | 45.077 | 43.5215
2020-09-26 00:30:00 | 7.273 | 283.907 | 8.008 | 279.006 | 8.343 | 282.333 | 8.722 | 279.033 | 8.716 | 889.558 | 44.981 | 40.2252
2020-09-26 00:45:00 | 6.79 | 286.147 | 7.765 | 280.556 | 8.321 | 282.8 | 8.651 | 279.3 | 8.804 | 889.35 | 44.597 | 40.8917
2020-09-26 01:00:00 | 5.834 | 283 | 6.948 | 277.096 | 7.335 | 279.6 | 7.69 | 277.267 | 8.541 | 889.775 | 44.843 | 30.877
2020-09-26 01:15:00 | 6.375 | 286.36 | 7.237 | 280.351 | 7.648 | 282.633 | 8.229 | 279.233 | 8.15 | 889.967 | 44.88 | 24.1586
2020-09-26 01:30:00 | 7.138 | 289.747 | 8.17 | 283.899 | 8.606 | 285.633 | 9.074 | 282.3 | 8.354 | 889.917 | 45.349 | 29.1602
2020-09-26 01:45:00 | 6.273 | 288.227 | 7.721 | 281.031 | 8.299 | 283.3 | 8.774 | 281.467 | 8.016 | 889.933 | 45.797 | 35.2597
2020-09-26 02:00:00 | 6.627 | 289 | 8.049 | 283.155 | 8.578 | 286.067 | 9.232 | 282.9 | 7.489 | 889.7 | 46.56 | 35.2334
2020-09-26 02:15:00 | 6.912 | 283.573 | 8.119 | 278.773 | 8.873 | 281.633 | 9.544 | 276.467 | 7.396 | 889.358 | 46.779 | 34.2919
2020-09-26 02:30:00 | 6.414 | 286.92 | 7.539 | 281.18 | 8.098 | 284.4 | 8.702 | 280.6 | 7.492 | 890.083 | 46.181 | 32.5845
2020-09-26 02:45:00 | 5.31 | 292.76 | 6.496 | 286.02 | 7.077 | 286 | 7.699 | 282.233 | 7.8 | 889.892 | 45.307 | 36.921
2020-09-26 03:00:00 | 5.699 | 295.227 | 6.886 | 287.608 | 7.414 | 289.633 | 8.031 | 286.3 | 7.983 | 890.017 | 44.672 | 38.2079
2020-09-26 03:15:00 | 6.973 | 292.8 | 7.995 | 285.956 | 8.658 | 288.767 | 9.142 | 285.333 | 7.806 | 890.117 | 43.749 | 42.9893
2020-09-26 03:30:00 | 7.17 | 294.333 | 8.399 | 286.006 | 9.085 | 288.7 | 9.872 | 286.033 | 8.09 | 890.25 | 42.997 | 50.4929
2020-09-26 03:45:00 | 6.721 | 293.44 | 7.902 | 287.063 | 8.708 | 289.2 | 9.506 | 287.933 | 7.863 | 889.492 | 42.155 | 46.8605
2020-09-26 04:00:00 | 6.668 | 285.893 | 7.794 | 279.673 | 8.13 | 283.533 | 8.664 | 279.733 | 7.983 | 890.133 | 41.301 | 45.1089
2020-09-26 04:15:00 | 6.203 | 277.707 | 6.89 | 272.121 | 7.381 | 274.8 | 7.771 | 270.967 | 7.779 | 889.758 | 41.275 | 45.8991
2020-09-26 04:30:00 | 5.956 | 272.72 | 6.781 | 267.923 | 7.192 | 272.567 | 7.489 | 267.9 | 7.592 | 890.025 | 41.381 | 41.5298
2020-09-26 04:45:00 | 5.313 | 273.853 | 6.092 | 266.56 | 6.521 | 271.067 | 6.594 | 266.5 | 8.077 | 890.1 | 41.536 | 34.9222
2020-09-26 05:00:00 | 5.281 | 269.187 | 5.999 | 265.812 | 6.246 | 270.167 | 6.497 | 267.467 | 7.676 | 889.425 | 41.739 | 26.4359
2020-09-26 05:15:00 | 4.755 | 277.24 | 5.639 | 271.576 | 6.013 | 275.833 | 6.316 | 273.267 | 7.796 | 889.792 | 41.237 | 20.0984
2020-09-26 05:30:00 | 4.226 | 277.933 | 5.103 | 272.941 | 5.422 | 277.067 | 5.644 | 272.867 | 7.322 | 889.7 | 41.296 | 13.645
2020-09-26 05:45:00 | 4.074 | 272.667 | 4.995 | 268.725 | 5.227 | 273.567 | 5.428 | 269.133 | 7.239 | 889.933 | 41.52 | 11.3087
2020-09-26 06:00:00 | 3.527 | 262.333 | 4.26 | 262.852 | 4.626 | 267 | 4.89 | 263.233 | 6.922 | 889.542 | 42.075 | 9.0142
2020-09-26 06:15:00 | 3.428 | 266.587 | 4.59 | 266.32 | 4.865 | 271.633 | 5.2 | 266.733 | 6.588 | 889.867 | 42.667 | 7.4425
2020-09-26 06:30:00 | 3.131 | 257.68 | 3.987 | 259.5 | 4.342 | 265.833 | 4.635 | 260.667 | 6.486 | 889.975 | 43.323 | 7.8837
2020-09-26 06:45:00 | 3.543 | 258.293 | 4.288 | 261.055 | 4.532 | 265.833 | 4.821 | 261.567 | 6.433 | 889.942 | 43.787 | 11.4749
2020-09-26 07:00:00 | 3.997 | 272.92 | 4.602 | 271.472 | 4.939 | 276.567 | 5.381 | 272.433 | 6.506 | 889.317 | 43.808 | 10.3309
2020-09-26 07:15:00 | 2.98 | 251.713 | 3.475 | 264.457 | 3.717 | 270.067 | 4.05 | 267.267 | 5.968 | 889.742 | 44.56 | 5.4856
2020-09-26 07:30:00 | 3.238 | 253.12 | 3.302 | 260.176 | 3.335 | 265.133 | 3.58 | 263.167 | 5.673 | 889.833 | 46.48 | 4.1277
2020-09-26 07:45:00 | 3.46 | 247.02 | 3.51 | 257.978 | 3.447 | 266.2 | 3.674 | 264.767 | 6.402 | 889.775 | 46.091 | 3.977
2020-09-26 08:00:00 | 3.008 | 240.747 | 3.34 | 265.489 | 3.418 | 273.867 | 3.911 | 270.567 | 6.135 | 890.133 | 45.451 | 2.1907
2020-09-26 08:15:00 | 2.93 | 236.173 | 2.42 | 260.914 | 2.453 | 274 | 2.958 | 272 | 5.798 | 889.792 | 45.909 | 0.9081
2020-09-26 08:30:00 | 3.908 | 229.94 | 3.546 | 250.924 | 3.163 | 273.2 | 3.554 | 272.067 | 6.314 | 889.75 | 45.552 | 2.0848
2020-09-26 08:45:00 | 2.766 | 241.893 | 2.943 | 253.775 | 2.891 | 261.067 | 3.055 | 268.533 | 8.21 | 889.733 | 41.733 | 1.8041
2020-09-26 09:00:00 | 2.79 | 247.8 | 2.745 | 251.279 | 2.945 | 265.9 | 3.354 | 273.433 | 9.783 | 889.567 | 37.565 | 1.5974
2020-09-26 09:15:00 | 2.745 | 256.833 | 2.8 | 255.25 | 2.807 | 261.35 | 3.141 | 263.867 | 10.028 | 889.917 | 35.651 | 0.76741
2020-09-26 09:30:00 | 2.837 | 259.733 | 2.592 | 255.421 | 2.72 | 259.233 | 3.082 | 255.75 | 9.856 | 890.233 | 35.072 | 1.0701
2020-09-26 09:45:00 | 2.734 | 274.16 | 2.613 | 268.984 | 2.523 | 272.167 | 2.89 | 267.867 | 9.545 | 889.9 | 33.645 | 1.392
2020-09-26 10:00:00 | 3.125 | 291.36 | 3.197 | 288.189 | 3.389 | 291.667 | 3.804 | 289.867 | 9.062 | 889.783 | 30.992 | 1.6769
2020-09-26 10:15:00 | 3.686 | 299.147 | 3.741 | 293.667 | 3.81 | 298.7 | 3.944 | 297.133 | 9.62 | 889.9 | 28.805 | 3.3539
2020-09-26 10:30:00 | 4.017 | 319.92 | 4.176 | 315.519 | 4.453 | 320.667 | 4.332 | 319.233 | 9.37 | 889.95 | 27.075 | 3.1244
2020-09-26 10:45:00 | 3.588 | 325.64 | 3.604 | 321.302 | 3.816 | 324.4 | 4.166 | 322.267 | 9.735 | 889.633 | 25.28 | 2.8835
2020-09-26 11:00:00 | 3.386 | 294.76 | 3.743 | 289.486 | 3.704 | 294.333 | 3.981 | 294.467 | 10.228 | 889.983 | 23.869 | 3.2523
2020-09-26 11:15:00 | 4.48 | 319.08 | 4.513 | 292.676 | 4.56 | 307.5 | 4.631 | 315.167 | 10.384 | 889.567 | 23.323 | 4.8141
2020-09-26 11:30:00 | 4.322 | 317.853 | 4.509 | 306.825 | 4.777 | 313.067 | 5.156 | 315.167 | 10.657 | 889.833 | 22.483 | 4.8496
2020-09-26 11:45:00 | 3.637 | 321.427 | 3.876 | 313.232 | 3.998 | 314.9 | 4.51 | 315.233 | 10.593 | 889.433 | 22.405 | 6.0363
2020-09-26 12:00:00 | 4.079 | 326.2 | 4.104 | 319.306 | 4.365 | 322.233 | 4.833 | 319.967 | 10.745 | 889.55 | 22.045 | 7.7487
2020-09-26 12:15:00 | 5.314 | 323.413 | 5.323 | 317.081 | 5.506 | 319.967 | 5.627 | 314.6 | 11.42 | 889.567 | 20.819 | 7.564
2020-09-26 12:30:00 | 4.94 | 303.64 | 5.145 | 296.807 | 5.152 | 300.4 | 5.287 | 294.667 | 11.52 | 889.8 | 19.755 | 7.2329
2020-09-26 12:45:00 | 4.234 | 309.133 | 4.397 | 306.522 | 4.371 | 310.667 | 4.734 | 310.1 | 12.128 | 889.333 | 19.835 | 7.375
2020-09-26 13:00:00 | 3.968 | 296.933 | 4.478 | 284.17 | 4.391 | 302.2 | 4.565 | 299.5 | 12.297 | 889.633 | 19.04 | 6.6147
2020-09-26 13:15:00 | 5.367 | 322.72 | 5.278 | 316.058 | 5.538 | 318.567 | 5.574 | 317.667 | 12.526 | 889.4 | 18.748 | 7.3515
2020-09-26 13:30:00 | 3.412 | 229.781 | 3.457 | 341.387 | 3.367 | 305.633 | 3.563 | 330.367 | 12.493 | 889.233 | 18.792 | 5.158
2020-09-26 13:45:00 | 2.889 | 295.067 | 2.977 | 315.948 | 2.892 | 317.367 | 3.36 | 316.033 | 13.07 | 889.6 | 18.732 | 7.2393
2020-09-26 14:00:00 | 4.189 | 334.16 | 4.271 | 327.803 | 4.428 | 332.7 | 4.577 | 331.433 | 12.966 | 889.633 | 17.184 | 6.5415
2020-09-26 14:15:00 | 4.274 | 323.32 | 4.298 | 313.13 | 4.705 | 312 | 4.909 | 310.167 | 13.478 | 889.733 | 16.793 | 6.2167
2020-09-26 14:30:00 | 4.632 | 318.28 | 4.454 | 312.723 | 4.86 | 315.667 | 5.318 | 316.567 | 13.541 | 889.267 | 15.637 | 7.348
2020-09-26 14:45:00 | 3.368 | 318.187 | 3.824 | 304.69 | 3.676 | 322.933 | 4.231 | 324.6 | 14.02 | 889.4 | 16.323 | 7.4645
2020-09-26 15:00:00 | 5.614 | 329.493 | 5.406 | 320.91 | 5.667 | 326.1 | 5.903 | 322.5 | 14.245 | 889.633 | 15.765 | 7.7544
2020-09-26 15:15:00 | 5.153 | 257.36 | 5.231 | 309.542 | 5.59 | 286.834 | 5.674 | 320.8 | 14.183 | 889.467 | 15.171 | 8.8828
2020-09-26 15:30:00 | 5.262 | 310.333 | 5.246 | 305.103 | 5.354 | 309.133 | 5.658 | 307.967 | 14.758 | 889.067 | 15.677 | 10.7693
2020-09-26 15:45:00 | 5.528 | 310.533 | 5.456 | 329.171 | 5.721 | 324.133 | 6.017 | 335.533 | 14.241 | 889.933 | 16.271 | 9.5983
2020-09-26 16:00:00 | 5.186 | 328.973 | 5.403 | 320.532 | 5.747 | 324.633 | 5.972 | 323.767 | 14.337 | 889.267 | 16.528 | 10.3991
2020-09-26 16:15:00 | 6.634 | 339.373 | 6.569 | 332.106 | 6.9 | 336.467 | 7.224 | 335.1 | 14.337 | 889.3 | 16.341 | 10.2386
2020-09-26 16:30:00 | 3.859 | 286.548 | 3.993 | 326.78 | 4.422 | 328.033 | 4.862 | 325.133 | 14.028 | 889.467 | 17.151 | 10.9051
2020-09-26 16:45:00 | 3.626 | 314.467 | 3.849 | 331.862 | 4.269 | 335.333 | 4.631 | 331.4 | 13.81 | 889.367 | 17.437 | 8.4934
2020-09-26 17:00:00 | 5.781 | 335.227 | 5.712 | 331.096 | 5.686 | 336.933 | 5.893 | 336.833 | 14.399 | 889.5 | 17.372 | 12.9728
2020-09-26 17:15:00 | 6.139 | 315.573 | 6.48 | 310.217 | 6.954 | 315.8 | 7.524 | 315.767 | 13.676 | 889.333 | 18.439 | 21.0029
2020-09-26 17:30:00 | 8.044 | 312.667 | 8.626 | 304.724 | 9.174 | 308.533 | 9.606 | 306.5 | 13.791 | 889.65 | 18.975 | 40.9947
2020-09-26 17:45:00 | 6.291 | 325.32 | 6.584 | 320.24 | 6.908 | 323.833 | 7.099 | 321.167 | 13.497 | 890 | 19.436 | 34.1172
2020-09-26 18:00:00 | 9.517 | 312.52 | 10.414 | 308.425 | 10.693 | 312.133 | 10.989 | 310.3 | 13.041 | 889.483 | 25.877 | 47.6847
2020-09-26 18:15:00 | 8.926 | 309.667 | 9.846 | 305.922 | 10.198 | 310.8 | 10.56 | 308.767 | 12.182 | 889.633 | 27.907 | 58.4029
2020-09-26 18:30:00 | 9.236 | 310.64 | 9.565 | 303.341 | 9.926 | 308.667 | 10.6 | 307.7 | 11.674 | 889.85 | 32.659 | 68.3153
2020-09-26 18:45:00 | 3.318 | 306.373 | 3.918 | 299.414 | 4.149 | 301.3 | 4.638 | 300.767 | 10.62 | 889.733 | 36.115 | 47.5874
2020-09-26 19:00:00 | 5.261 | 235.867 | 5.663 | 233.89 | 5.876 | 239.167 | 5.962 | 234.7 | 10.845 | 889.967 | 37.973 | 6.3717
2020-09-26 19:15:00 | 6.535 | 244.847 | 6.851 | 240.123 | 6.881 | 245.067 | 6.756 | 238.467 | 10.809 | 889.567 | 37.253 | 14.6029
2020-09-26 19:30:00 | 5.042 | 228.367 | 5.471 | 226.236 | 5.988 | 229.8 | 6.112 | 224.733 | 10.591 | 890.2 | 39.728 | 14.703
2020-09-26 19:45:00 | 4.418 | 230.887 | 4.82 | 228.578 | 5.172 | 235.833 | 5.436 | 233.3 | 10.536 | 889.633 | 38.592 | 13.2443
2020-09-26 20:00:00 | 5.274 | 261.413 | 6.164 | 258.189 | 6.473 | 261.517 | 6.722 | 257.5 | 11.161 | 889.683 | 30.773 | 13.9626
2020-09-26 20:15:00 | 5.974 | 264.547 | 6.731 | 258.133 | 6.96 | 262.783 | 7.118 | 258.467 | 11.059 | 890.05 | 29.285 | 21.8755
2020-09-26 20:30:00 | 5.792 | 261.627 | 6.758 | 258.752 | 6.82 | 264.4 | 7.293 | 260.517 | 11.228 | 889.767 | 27.517 | 26.7535
2020-09-26 20:45:00 | 5.335 | 268.5 | 6.218 | 264.832 | 6.386 | 268.7 | 6.61 | 264.067 | 11.224 | 889.85 | 27.128 | 25.4383
2020-09-26 21:00:00 | 5.582 | 276 | 6.488 | 268.591 | 6.42 | 273.933 | 6.527 | 268.133 | 11.228 | 889.483 | 26.688 | 23.7237
2020-09-26 21:15:00 | 5.684 | 274.733 | 6.204 | 270.08 | 6.48 | 273.6 | 7.042 | 271.233 | 11.211 | 890.067 | 26.747 | 22.3217
2020-09-26 21:30:00 | 5.331 | 274.893 | 6.249 | 269.609 | 6.801 | 272.5 | 6.955 | 270.4 | 11.682 | 889.783 | 27.248 | 26.4949
2020-09-26 21:45:00 | 5.896 | 273.827 | 6.793 | 267.616 | 7.05 | 272.133 | 7.442 | 268.2 | 11.478 | 889.967 | 27.725 | 28.7154
2020-09-26 22:00:00 | 6.021 | 273.107 | 6.758 | 266.567 | 7.284 | 270.667 | 7.676 | 265.8 | 11.286 | 889.317 | 28.555 | 34.6764
2020-09-26 22:15:00 | 6.589 | 277.467 | 7.238 | 272.15 | 7.551 | 277.133 | 7.906 | 273.2 | 10.961 | 889.883 | 28.72 | 33.155
2020-09-26 22:30:00 | 6.112 | 284.2 | 7.088 | 278.615 | 7.339 | 282.267 | 7.734 | 277.367 | 10.861 | 889.733 | 28.763 | 30.8144
2020-09-26 22:45:00 | 7.169 | 286.267 | 8.019 | 279.287 | 8.478 | 283.833 | 8.806 | 281.033 | 11.011 | 890 | 27.373 | 34.0127
2020-09-26 23:00:00 | 6.862 | 282.467 | 7.525 | 277.581 | 7.981 | 282.1 | 8.078 | 277.833 | 10.811 | 890.383 | 27.352 | 33.5032
2020-09-26 23:15:00 | 6.559 | 288.027 | 7.505 | 279.779 | 7.776 | 282.3 | 8.16 | 279.6 | 10.439 | 889.867 | 27.493 | 32.2214
2020-09-26 23:30:00 | 7.555 | 278.293 | 8.582 | 273.868 | 8.63 | 277.833 | 8.901 | 274 | 10.455 | 889.967 | 27.739 | 34.0219
2020-09-26 23:45:00 | 7.258 | 275.613 | 8.271 | 271.929 | 8.673 | 276.767 | 9.229 | 272.933 | 10.097 | 889.45 | 28.317 | 37.5662