## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-27 00:00:00 | 6.501 | 280.747 | 7.453 | 273.658 | 7.805 | 277.233 | 7.967 | 273.6 | 9.997 | 890.1 | 29.061 | 38.5177
2020-09-27 00:15:00 | 6.419 | 281.24 | 7.432 | 277.057 | 7.77 | 279.433 | 8.189 | 277.367 | 10.005 | 889.733 | 30.384 | 37.8029
2020-09-27 00:30:00 | 6.91 | 278.68 | 7.577 | 273.591 | 7.764 | 278.833 | 8.025 | 276.733 | 9.914 | 889.65 | 31.432 | 37.2237
2020-09-27 00:45:00 | 6.487 | 281.333 | 7.202 | 276.257 | 7.589 | 278.567 | 7.972 | 275.733 | 9.666 | 889.933 | 32.163 | 38.5099
2020-09-27 01:00:00 | 6.542 | 276.667 | 7.155 | 273.213 | 7.728 | 276.767 | 8.007 | 273.567 | 9.678 | 889.517 | 32.339 | 33.2296
2020-09-27 01:15:00 | 6.776 | 286.08 | 7.683 | 281.735 | 8.054 | 284.9 | 8.391 | 284.9 | 9.141 | 889.783 | 34.752 | 32.971
2020-09-27 01:30:00 | 7.098 | 283.533 | 7.951 | 277.705 | 8.295 | 280.1 | 8.491 | 278.133 | 9.308 | 889.3 | 36.467 | 37.9201
2020-09-27 01:45:00 | 7.408 | 275.547 | 8.354 | 271.178 | 8.679 | 275.433 | 8.924 | 271.5 | 8.866 | 889.75 | 37.608 | 40.1719
2020-09-27 02:00:00 | 6.343 | 271.347 | 7.083 | 268.677 | 7.354 | 273.533 | 7.683 | 270.233 | 8.854 | 889.767 | 38.515 | 35.6172
2020-09-27 02:15:00 | 5.828 | 261.34 | 6.469 | 258.692 | 6.84 | 262.75 | 7.239 | 259.367 | 8.552 | 890.017 | 39.771 | 29.6392
2020-09-27 02:30:00 | 5.901 | 257.987 | 6.592 | 256.185 | 6.893 | 260.433 | 7.097 | 256 | 8.21 | 889.7 | 41.232 | 29.6711
2020-09-27 02:45:00 | 6.338 | 265.173 | 6.946 | 261.907 | 7.312 | 265.967 | 7.381 | 260.867 | 8.103 | 889.6 | 43.259 | 31.2685
2020-09-27 03:00:00 | 5.632 | 265.553 | 6.432 | 263.23 | 6.592 | 267.767 | 6.922 | 262.533 | 8.29 | 889.767 | 44.123 | 29.7031
2020-09-27 03:15:00 | 5.554 | 276.947 | 6.228 | 271.025 | 6.487 | 274.233 | 6.772 | 269.867 | 8.17 | 889.492 | 44.656 | 29.2462
2020-09-27 03:30:00 | 5.032 | 267.273 | 5.565 | 262.045 | 5.933 | 265.35 | 6.19 | 261.467 | 8.425 | 889.833 | 44.816 | 23.9667
2020-09-27 03:45:00 | 5.353 | 271.853 | 6.168 | 267.973 | 6.478 | 272.067 | 6.745 | 267.333 | 7.909 | 889.883 | 44.635 | 23.2902
2020-09-27 04:00:00 | 5.311 | 273.52 | 5.93 | 266.437 | 6.285 | 270.133 | 6.432 | 265.117 | 8.127 | 889.617 | 44.251 | 21.9316
2020-09-27 04:15:00 | 4.496 | 271.4 | 5.095 | 266.132 | 5.572 | 270.333 | 5.75 | 265.3 | 8.137 | 889.467 | 43.989 | 19.6493
2020-09-27 04:30:00 | 5.619 | 273.333 | 6.034 | 269.778 | 6.087 | 274.2 | 6.28 | 269.3 | 7.789 | 889.9 | 44.112 | 18.3831
2020-09-27 04:45:00 | 4.828 | 268.373 | 5.309 | 262.622 | 5.444 | 268.9 | 5.842 | 264.533 | 7.886 | 889.55 | 44.048 | 16.0048
2020-09-27 05:00:00 | 4.573 | 270.973 | 5.025 | 266.835 | 5.258 | 272.067 | 5.487 | 267.133 | 7.813 | 889.925 | 43.877 | 14.9667
2020-09-27 05:15:00 | 4.288 | 267.107 | 4.966 | 263.934 | 5.166 | 268.667 | 5.406 | 264.383 | 7.769 | 889.867 | 43.669 | 16.7346
2020-09-27 05:30:00 | 5.427 | 259.713 | 5.892 | 255.982 | 5.941 | 259.85 | 6.056 | 255.8 | 7.776 | 889.817 | 44.123 | 19.461
2020-09-27 05:45:00 | 5.152 | 262.92 | 5.696 | 259.74 | 5.841 | 264.367 | 6.021 | 259 | 7.666 | 889.7 | 44.581 | 20.578
2020-09-27 06:00:00 | 5.588 | 269.107 | 6.101 | 264.185 | 6.318 | 269.633 | 6.522 | 265.733 | 7.73 | 889.908 | 44.443 | 18.3944
2020-09-27 06:15:00 | 4.344 | 275.053 | 4.961 | 269.639 | 5.297 | 272.367 | 5.496 | 269.667 | 7.526 | 889.708 | 44.517 | 12.6758
2020-09-27 06:30:00 | 4.011 | 282.08 | 4.379 | 277.339 | 4.503 | 281.8 | 4.795 | 277.233 | 7.686 | 889.683 | 44.475 | 8.2767
2020-09-27 06:45:00 | 3.162 | 283.307 | 3.47 | 278.772 | 3.649 | 283.033 | 4.033 | 282.4 | 7.78 | 889.792 | 44.491 | 5.7655
2020-09-27 07:00:00 | 2.551 | 278.587 | 2.908 | 272.347 | 3.044 | 276.033 | 3.204 | 275.5 | 7.336 | 889.867 | 44.549 | 3.5436
2020-09-27 07:15:00 | 2.742 | 272.2 | 3.197 | 268.556 | 3.486 | 275.2 | 3.762 | 267.667 | 7.389 | 889.975 | 44.464 | 3.3048
2020-09-27 07:30:00 | 3.117 | 271.867 | 3.677 | 267.064 | 3.796 | 272.6 | 4.169 | 268.5 | 7.606 | 889.833 | 44.453 | 6.2274
2020-09-27 07:45:00 | 4.784 | 286.92 | 5.207 | 283.998 | 5.439 | 286.667 | 5.702 | 286.467 | 7.542 | 890.283 | 42.933 | 10.132
2020-09-27 08:00:00 | 5.458 | 280.253 | 6.304 | 273.733 | 6.696 | 277.333 | 7.045 | 274.533 | 7.726 | 889.742 | 42.672 | 15.4655
2020-09-27 08:15:00 | 6.17 | 268.84 | 6.847 | 264.38 | 6.839 | 268.333 | 6.87 | 264.617 | 7.696 | 890.017 | 42.555 | 19.7282
2020-09-27 08:30:00 | 5.774 | 258.647 | 6.453 | 252.783 | 6.758 | 258.083 | 6.814 | 253.833 | 7.763 | 890.617 | 42.565 | 24.3525
2020-09-27 08:45:00 | 5.357 | 259.193 | 5.973 | 254.802 | 6.263 | 260.333 | 6.222 | 256.683 | 7.923 | 889.775 | 42.741 | 25.0297
2020-09-27 09:00:00 | 5.712 | 263.707 | 6.494 | 260.319 | 6.744 | 263.117 | 6.921 | 258.05 | 7.95 | 889.8 | 42.192 | 29.4914
2020-09-27 09:15:00 | 6.782 | 269.44 | 7.427 | 263.046 | 7.987 | 267.633 | 8.304 | 262.617 | 8.03 | 889.892 | 41.445 | 33.9963
2020-09-27 09:30:00 | 7.526 | 263.333 | 8.107 | 259.039 | 8.296 | 263.583 | 8.292 | 258.467 | 8.22 | 889.708 | 40.624 | 40.5066
2020-09-27 09:45:00 | 6.7 | 274.453 | 7.388 | 271.387 | 7.473 | 274.767 | 7.663 | 270.333 | 8.57 | 889.7 | 39.304 | 37.773
2020-09-27 10:00:00 | 7.166 | 283.133 | 7.761 | 277.838 | 7.976 | 281.067 | 8.13 | 278.667 | 8.878 | 889.633 | 38.576 | 36.6482
2020-09-27 10:15:00 | 7.375 | 272.14 | 7.741 | 268.817 | 7.882 | 274.1 | 8 | 270.6 | 8.999 | 889.833 | 37.328 | 29.3237
2020-09-27 10:30:00 | 6.471 | 278.533 | 6.796 | 275.279 | 7.078 | 281.4 | 7.267 | 280.467 | 9.324 | 889.617 | 35.493 | 24.56
2020-09-27 10:45:00 | 7.055 | 277.773 | 7.223 | 275.435 | 7.458 | 277.467 | 7.637 | 274.933 | 9.689 | 889.4 | 34.803 | 25.6266
2020-09-27 11:00:00 | 6.619 | 287.887 | 6.876 | 284.829 | 6.739 | 289.85 | 6.846 | 288.6 | 10.143 | 889.65 | 34.389 | 26.1595
2020-09-27 11:15:00 | 5.252 | 295.2 | 5.568 | 296.351 | 5.76 | 298 | 6.051 | 298.4 | 10.01 | 889.8 | 33.816 | 22.591
2020-09-27 11:30:00 | 6.261 | 305.947 | 6.527 | 298.78 | 6.917 | 300.733 | 7.049 | 298.667 | 10.308 | 889.817 | 33.752 | 17.4487
2020-09-27 11:45:00 | 5.664 | 289.587 | 5.75 | 283.932 | 6.048 | 292.033 | 6.208 | 289.267 | 10.99 | 889.767 | 33.029 | 13.7466
2020-09-27 12:00:00 | 5.772 | 315.067 | 5.771 | 304.838 | 5.97 | 309.6 | 6.559 | 306.033 | 11.195 | 889.567 | 32.048 | 12.9337
2020-09-27 12:15:00 | 5.234 | 285.6 | 5.597 | 282.432 | 5.483 | 288.1 | 5.751 | 286.133 | 11.095 | 889.683 | 32.197 | 11.6043
2020-09-27 12:30:00 | 4.986 | 303.4 | 5.08 | 298.132 | 5.319 | 300.6 | 5.616 | 297.6 | 11.84 | 890.083 | 31.365 | 9.2502
2020-09-27 12:45:00 | 4.888 | 312 | 4.823 | 307.894 | 5.012 | 314.6 | 5.586 | 312.9 | 11.178 | 889.883 | 31.451 | 10.4077
2020-09-27 13:00:00 | 4.171 | 293.02 | 4.619 | 285.25 | 4.484 | 295.533 | 4.939 | 301.767 | 11.749 | 889.383 | 31.04 | 11.1644
2020-09-27 13:15:00 | 3.665 | 255.539 | 4.101 | 320.571 | 4.332 | 311.8 | 4.623 | 321.933 | 11.928 | 890.083 | 30.283 | 9.1301
2020-09-27 13:30:00 | 4.798 | 294.881 | 5.006 | 282.751 | 4.94 | 297.167 | 5.186 | 316.333 | 11.945 | 889.933 | 30.307 | 7.8006
2020-09-27 13:45:00 | 3.362 | 259.181 | 3.472 | 315.273 | 3.796 | 294.067 | 4.302 | 321.8 | 12.966 | 889.833 | 29.043 | 3.7276
2020-09-27 14:00:00 | 4.563 | 302.813 | 4.671 | 300.377 | 4.701 | 304.167 | 4.916 | 303.867 | 12.828 | 889.517 | 27.989 | 3.9458
2020-09-27 14:15:00 | 5.216 | 310.053 | 5.13 | 303.395 | 5.355 | 307.633 | 5.655 | 306 | 12.77 | 889.7 | 26.944 | 4.6066
2020-09-27 14:30:00 | 5.47 | 299.4 | 5.57 | 294.104 | 5.573 | 298.067 | 5.835 | 296.4 | 12.934 | 889.433 | 26.667 | 3.7255
2020-09-27 14:45:00 | 4.552 | 254.631 | 4.465 | 291.59 | 4.442 | 305.033 | 4.673 | 292.533 | 13.141 | 890.133 | 26.461 | 2.6852
2020-09-27 15:00:00 | 3.406 | 144.108 | 3.349 | 256.403 | 3.348 | 242.933 | 3.794 | 251.867 | 12.909 | 889.3 | 25.968 | 3.9664
2020-09-27 15:15:00 | 3.076 | 271.413 | 3.162 | 265.445 | 3.35 | 265.017 | 3.593 | 262.15 | 13.52 | 889.683 | 24.923 | 2.968
2020-09-27 15:30:00 | 4.858 | 332.28 | 5.142 | 329.234 | 5.132 | 320.2 | 5.382 | 329.4 | 13.643 | 889.9 | 24.275 | 2.5211
2020-09-27 15:45:00 | 1.9 | 271.46 | 1.893 | 278.458 | 2.176 | 296.6 | 3.18 | 304.7 | 13.904 | 889.6 | 24.677 | 3.1599
2020-09-27 16:00:00 | 1.095 | 279.294 | 1.175 | 303.774 | 1.053 | 265.702 | 2.007 | 288 | 14.178 | 889.667 | 24.603 | 2.3761
2020-09-27 16:15:00 | 3.865 | 290.553 | 3.813 | 299.285 | 4.076 | 304.867 | 4.621 | 314.267 | 14.428 | 889.683 | 23.773 | 1.8645
2020-09-27 16:30:00 | 2.917 | 202.248 | 2.916 | 337.371 | 2.605 | 314.7 | 3.207 | 326.533 | 14.104 | 890.15 | 23.632 | 1.6883
2020-09-27 16:45:00 | 3.222 | 288.153 | 3.253 | 282.813 | 3.39 | 283.7 | 3.755 | 288.133 | 14.308 | 889.75 | 23.445 | 2.595
2020-09-27 17:00:00 | 3.184 | 235.099 | 3.308 | 290.974 | 3.354 | 307.767 | 4.028 | 334.5 | 14.024 | 889.6 | 24.091 | 1.6606
2020-09-27 17:15:00 | 2.412 | 221.402 | 2.971 | 313.649 | 2.928 | 288.333 | 3.463 | 255.8 | 14.124 | 889.883 | 23.648 | 0.69067
2020-09-27 17:30:00 | 2.412 | 258.28 | 2.622 | 239.551 | 2.563 | 300.033 | 3.414 | 298.4 | 14.428 | 889.65 | 23.525 | 1.3693
2020-09-27 17:45:00 | 3.699 | 161.109 | 3.742 | 298.867 | 3.953 | 310.867 | 4.338 | 308.533 | 14.599 | 889.533 | 23.056 | 1.0047
2020-09-27 18:00:00 | 2.054 | 307.04 | 2.296 | 300.372 | 1.952 | 304.733 | 2.629 | 307.833 | 14.012 | 889.683 | 23.253 | 1.1028
2020-09-27 18:15:00 | 3.543 | 338.08 | 3.346 | 333.44 | 3.352 | 334.067 | 3.686 | 333.567 | 14.424 | 889.433 | 22.493 | 1.851
2020-09-27 18:30:00 | 3.004 | 326.787 | 3.028 | 342.036 | 2.774 | 323.7 | 3.08 | 346.867 | 13.987 | 889.383 | 23.021 | 2.7506
2020-09-27 18:45:00 | 3.749 | 337.853 | 3.971 | 332.618 | 3.988 | 336.633 | 4.43 | 336.233 | 14.208 | 889.733 | 23.661 | 2.0876
2020-09-27 19:00:00 | 3.756 | 333.68 | 3.738 | 343.062 | 3.785 | 325.1 | 4.061 | 335.333 | 13.845 | 890 | 24.392 | 1.608
2020-09-27 19:15:00 | 3.798 | 349.04 | 4.167 | 344.131 | 4.272 | 336.633 | 4.545 | 348.467 | 13.778 | 890.1 | 24.493 | 3.2118
2020-09-27 19:30:00 | 4.006 | 269.24 | 4.305 | 346.64 | 4.687 | 328.167 | 4.954 | 350.467 | 13.341 | 889.667 | 24.307 | 5.207
2020-09-27 19:45:00 | 3.699 | 247.627 | 4.461 | 339.544 | 4.946 | 320.033 | 5.506 | 330.133 | 12.69 | 890.167 | 23.08 | 10.4226
2020-09-27 20:00:00 | 4.241 | 337.293 | 5.227 | 344.659 | 5.663 | 346.267 | 5.83 | 343.833 | 12.718 | 889.85 | 22.032 | 12.0576
2020-09-27 20:15:00 | 3.443 | 345.6 | 3.836 | 339.988 | 3.988 | 338.867 | 4.414 | 337.6 | 12.18 | 889.283 | 21.979 | 10.7068
2020-09-27 20:30:00 | 2.198 | 339.507 | 2.859 | 334.075 | 3.293 | 334.167 | 3.62 | 331.1 | 12.116 | 889.817 | 22.944 | 8.1118
2020-09-27 20:45:00 | 2.758 | 311.267 | 3.578 | 314.74 | 3.845 | 320.433 | 4.465 | 322.467 | 11.211 | 889.583 | 24.112 | 6.0633
2020-09-27 21:00:00 | 3.556 | 306.467 | 4.114 | 310.127 | 4.422 | 316.6 | 5.016 | 315.9 | 11.428 | 889.733 | 23.512 | 5.3534
2020-09-27 21:15:00 | 2.636 | 299.2 | 3.663 | 302.568 | 3.909 | 306.9 | 4.367 | 308.233 | 11.328 | 889.033 | 23.509 | 4.1696
2020-09-27 21:30:00 | 2.95 | 283.8 | 3.646 | 293.346 | 3.571 | 299.533 | 4.013 | 300.333 | 11.078 | 889.55 | 24.205 | 2.816
2020-09-27 21:45:00 | 3.08 | 278.2 | 3.992 | 290.562 | 4.204 | 299.567 | 4.572 | 300.1 | 10.695 | 889.633 | 24.296 | 2.6831
2020-09-27 22:00:00 | 3.507 | 266.773 | 4.106 | 279.92 | 4.207 | 284.9 | 4.678 | 286.933 | 10.232 | 889.433 | 24.333 | 4.1184
2020-09-27 22:15:00 | 4.032 | 267.533 | 4.507 | 277.666 | 4.74 | 285.067 | 5.177 | 284.867 | 9.616 | 889.317 | 24.899 | 6.6836
2020-09-27 22:30:00 | 3.815 | 277.6 | 4.78 | 282.542 | 4.91 | 288.533 | 5.356 | 288.867 | 9.816 | 889.6 | 24.688 | 8.654
2020-09-27 22:45:00 | 3.733 | 252.393 | 4.52 | 271.212 | 4.745 | 279.567 | 5.144 | 278.533 | 9.595 | 890.3 | 25.381 | 8.6313
2020-09-27 23:00:00 | 4.519 | 242.82 | 4.952 | 258.149 | 5.09 | 267.867 | 5.39 | 268.467 | 9.362 | 889.417 | 26.232 | 9.7994
2020-09-27 23:15:00 | 4.091 | 257.093 | 5.198 | 266.408 | 5.32 | 275.633 | 5.512 | 275.567 | 9.299 | 889.383 | 26.547 | 11.1275
2020-09-27 23:30:00 | 4.441 | 250.467 | 5.102 | 262.723 | 5.084 | 274 | 5.436 | 273.533 | 9.137 | 889.55 | 26.957 | 12.0022
2020-09-27 23:45:00 | 4.337 | 251.113 | 5.096 | 262.513 | 5.151 | 272.333 | 5.37 | 271.933 | 8.858 | 889.6 | 27.325 | 12.2651