## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-28 00:00:00 | 4.501 | 249.6 | 5.137 | 263.152 | 5.217 | 271.567 | 5.726 | 269.867 | 9.037 | 889.817 | 27.365 | 12.7433
2020-09-28 00:15:00 | 3.998 | 252.553 | 4.742 | 267.105 | 4.955 | 276.733 | 5.51 | 275.867 | 8.662 | 889.833 | 27.563 | 11.3634
2020-09-28 00:30:00 | 3.681 | 255.02 | 4.589 | 268.509 | 4.741 | 277.4 | 5.188 | 277.567 | 8.584 | 889.833 | 27.6 | 10.8965
2020-09-28 00:45:00 | 3.629 | 259.793 | 4.492 | 268.43 | 4.674 | 275.867 | 5.082 | 275.333 | 8.928 | 889.667 | 27.771 | 10.1242
2020-09-28 01:00:00 | 4.18 | 253.333 | 4.855 | 263.267 | 5.043 | 271.133 | 5.466 | 270.2 | 9.137 | 889.75 | 27.605 | 11.0607
2020-09-28 01:15:00 | 4.497 | 246.367 | 5.276 | 257.486 | 5.383 | 264.567 | 5.662 | 262.6 | 8.474 | 889.767 | 27.912 | 11.2881
2020-09-28 01:30:00 | 4.919 | 240.247 | 5.903 | 251.902 | 5.954 | 259.667 | 6.134 | 257.933 | 8.551 | 889.667 | 28.192 | 16.2499
2020-09-28 01:45:00 | 5.293 | 245.907 | 6.232 | 252.581 | 6.359 | 259.633 | 6.592 | 257.667 | 8.254 | 889.6 | 29.141 | 22.0773
2020-09-28 02:00:00 | 4.765 | 249.88 | 5.943 | 256.419 | 6.482 | 263.167 | 6.728 | 260.15 | 8.591 | 890.067 | 29.219 | 23.2952
2020-09-28 02:15:00 | 4.181 | 261.633 | 5.731 | 261.169 | 6.243 | 268 | 6.376 | 265.667 | 8.912 | 889.65 | 28.776 | 17.4018
2020-09-28 02:30:00 | 3.975 | 268.947 | 5.326 | 270.775 | 5.76 | 277.3 | 6.06 | 275 | 9.366 | 889.917 | 28.227 | 13.1355
2020-09-28 02:45:00 | 3.756 | 272.347 | 4.709 | 273.166 | 5.044 | 280.2 | 5.545 | 278.267 | 9.549 | 890.4 | 27.595 | 9.2217
2020-09-28 03:00:00 | 4.09 | 266.7 | 5.005 | 266.626 | 5.287 | 273.467 | 5.702 | 269.933 | 9.421 | 889.383 | 27.069 | 12.5514
2020-09-28 03:15:00 | 5.587 | 272.147 | 6.744 | 268.266 | 6.938 | 273.133 | 7.212 | 268.867 | 9.914 | 889.917 | 26.645 | 27.1117
2020-09-28 03:30:00 | 6.198 | 268.68 | 7.286 | 264.662 | 7.71 | 269.1 | 7.905 | 265.9 | 9.787 | 889.85 | 26.509 | 42.8671
2020-09-28 03:45:00 | 6.864 | 277.92 | 8.009 | 273.376 | 8.534 | 277.533 | 8.858 | 274.967 | 10.082 | 889.833 | 27.299 | 54.3292
2020-09-28 04:00:00 | 8.237 | 285.707 | 9.982 | 282.244 | 10.59 | 284.9 | 11.124 | 284.6 | 9.462 | 889.75 | 36.933 | 66.3158
2020-09-28 04:15:00 | 7.036 | 263.147 | 7.938 | 260.069 | 8.176 | 265.4 | 8.244 | 261.917 | 9.162 | 889.45 | 34.979 | 57.8181
2020-09-28 04:30:00 | 5.483 | 245.567 | 6.089 | 247.46 | 6.206 | 254.8 | 6.257 | 253 | 8.691 | 889.583 | 38.309 | 39.769
2020-09-28 04:45:00 | 5.742 | 247.093 | 6.519 | 248.165 | 6.612 | 255.433 | 6.862 | 254.783 | 8.67 | 889.683 | 39.256 | 32.9433
2020-09-28 05:00:00 | 6.812 | 266.02 | 8.251 | 260.19 | 8.632 | 264.033 | 8.886 | 259.3 | 9.212 | 889.75 | 38.992 | 46.9592
2020-09-28 05:15:00 | 7.053 | 269.04 | 8.038 | 265.14 | 8.299 | 269.4 | 8.511 | 266.433 | 9.308 | 889.933 | 36.896 | 40.206
2020-09-28 05:30:00 | 5.734 | 264.473 | 6.728 | 262.992 | 6.905 | 269.433 | 7.31 | 266.5 | 9.528 | 889.683 | 36.339 | 26.9411
2020-09-28 05:45:00 | 5.762 | 269.52 | 6.807 | 265.028 | 7.166 | 270.233 | 7.304 | 263.967 | 9.789 | 889.833 | 36.568 | 24.4371
2020-09-28 06:00:00 | 5.789 | 277.693 | 6.371 | 274.417 | 6.755 | 278.933 | 7.491 | 276.733 | 9.858 | 889.767 | 33.824 | 32.2398
2020-09-28 06:15:00 | 6.128 | 282.8 | 6.981 | 277.779 | 7.259 | 281.233 | 7.666 | 279.7 | 9.633 | 889.8 | 32.12 | 32.1617
2020-09-28 06:30:00 | 4.383 | 267.74 | 5.053 | 266.385 | 5.302 | 271.9 | 5.582 | 268.9 | 9.587 | 889.817 | 34.416 | 19.1782
2020-09-28 06:45:00 | 4.324 | 268.907 | 5.272 | 267.995 | 5.439 | 273.567 | 5.766 | 271.467 | 9.12 | 889.767 | 37.699 | 12.5415
2020-09-28 07:00:00 | 3.82 | 269.387 | 4.58 | 268.076 | 4.865 | 273.733 | 5.279 | 269.8 | 8.787 | 889.933 | 38.984 | 11.1609
2020-09-28 07:15:00 | 4.02 | 254.34 | 4.714 | 257.281 | 4.814 | 264.4 | 4.984 | 261.983 | 8.999 | 889.85 | 40.051 | 8.4607
2020-09-28 07:30:00 | 4.47 | 271.053 | 5.468 | 267.947 | 5.703 | 273.567 | 6.066 | 271.1 | 8.637 | 889.783 | 41.173 | 12.4577
2020-09-28 07:45:00 | 4.347 | 255.913 | 5.132 | 253.969 | 5.415 | 259.45 | 5.629 | 256.45 | 8.712 | 889.9 | 40.469 | 13.4695
2020-09-28 08:00:00 | 3.86 | 248.3 | 4.312 | 248.565 | 4.66 | 252.133 | 4.841 | 247.967 | 8.691 | 890.05 | 40.197 | 10.8191
2020-09-28 08:15:00 | 3.854 | 235.547 | 4.259 | 236.334 | 4.526 | 243.1 | 4.747 | 241.333 | 9.033 | 889.267 | 39.669 | 7.9548
2020-09-28 08:30:00 | 3.447 | 237.873 | 4.077 | 236.248 | 4.372 | 243.333 | 4.629 | 239.833 | 9.108 | 889.533 | 39.547 | 8.0259
2020-09-28 08:45:00 | 4.499 | 247.827 | 4.784 | 244.975 | 4.686 | 251.833 | 4.828 | 247.867 | 9.624 | 889.9 | 39.067 | 9.7859
2020-09-28 09:00:00 | 3.664 | 255.86 | 4.057 | 254.319 | 4.135 | 258.617 | 4.401 | 254.617 | 9.704 | 889.35 | 38.525 | 7.8987
2020-09-28 09:15:00 | 3.961 | 258.093 | 4.195 | 253.143 | 4.076 | 256.6 | 4.294 | 250.933 | 9.966 | 889.667 | 37.453 | 7.6585
2020-09-28 09:30:00 | 4.225 | 252.513 | 4.282 | 248.261 | 4.161 | 253 | 4.26 | 248.833 | 10.103 | 889.9 | 36.389 | 5.7599
2020-09-28 09:45:00 | 3.516 | 245.827 | 3.495 | 246.525 | 3.554 | 250.517 | 3.85 | 245.833 | 10.778 | 890.017 | 35.04 | 5.1999
2020-09-28 10:00:00 | 2.983 | 238.813 | 3.113 | 237.321 | 3.128 | 241.633 | 3.299 | 238.067 | 10.826 | 889.617 | 33.915 | 2.8202
2020-09-28 10:15:00 | 2.752 | 244.3 | 2.97 | 247.895 | 3.084 | 250.967 | 3.367 | 245.867 | 11.966 | 889.467 | 30.437 | 1.9413
2020-09-28 10:30:00 | 2.033 | 279.787 | 2.111 | 282.431 | 1.914 | 287.133 | 2.426 | 279.6 | 11.586 | 889.467 | 29.744 | 0.15064
2020-09-28 10:45:00 | 1.409 | 321.64 | 0.876 | 320.359 | 0.726 | 304 | 1.236 | 269.7 | 11.786 | 889.583 | 28.629 | 0.28494
2020-09-28 11:00:00 | 0.806 | 200.925 | 0.71 | 244.945 | 0.38 | 239.233 | 1.038 | 208.7 | 13.076 | 889.717 | 27.336 | 0.20891
2020-09-28 11:15:00 | 1.317 | 277.44 | 1.369 | 237.074 | 1.053 | 324.467 | 1.631 | 346.367 | 12.493 | 889.5 | 27.027 | 0.16627
2020-09-28 11:30:00 | 1.377 | 308.613 | 1.117 | 332.218 | 1.14 | 282.502 | 1.732 | 233.6 | 11.978 | 889.95 | 27.739 | 0.16911
2020-09-28 11:45:00 | 1.117 | 73.018 | 1.067 | 60.098 | 0.87 | 36.733 | 1.02 | 36.5 | 12.891 | 889.633 | 26.704 | 0.15206
2020-09-28 12:00:00 | 1.238 | 170.043 | 1.023 | 174.332 | 0.679 | 115.97 | 1.341 | 132.7 | 13.378 | 889.767 | 25.749 | 0.17338
2020-09-28 12:15:00 | 0.998 | 272.9 | 0.4 | 229.876 | 0.186 | 123.504 | 0.773 | 159.1 | 14.087 | 889.267 | 24.787 | 0.18475
2020-09-28 12:30:00 | 2.326 | 46.014 | 2.324 | 40.041 | 1.644 | 43.433 | 2.028 | 37.1 | 13.095 | 889.367 | 25.851 | 0.25367
2020-09-28 12:45:00 | 4.21 | 37.1 | 4.074 | 26.286 | 4.311 | 24.267 | 4.439 | 21.133 | 12.92 | 889.75 | 27.749 | 0.72762
2020-09-28 13:00:00 | 3.828 | 94.293 | 3.773 | 63.701 | 4.005 | 64.104 | 4.26 | 35.8 | 13.364 | 889.8 | 26.997 | 1.6514
2020-09-28 13:15:00 | 2.37 | 71.873 | 2.311 | 116.59 | 2.719 | 76.168 | 3.233 | 96.4 | 13.678 | 889.833 | 26.192 | 2.1445
2020-09-28 13:30:00 | 3.319 | 245.177 | 3.626 | 312.883 | 3.652 | 269.8 | 3.926 | 176.167 | 13.155 | 889.783 | 26.36 | 1.1383
2020-09-28 13:45:00 | 1.981 | 109.113 | 1.694 | 86.146 | 1.977 | 96.767 | 2.491 | 102 | 14.208 | 889.833 | 25.491 | 0.81218
2020-09-28 14:00:00 | 2.099 | 198.23 | 2.697 | 203.312 | 2.628 | 211.168 | 3.18 | 237.633 | 14.774 | 889.65 | 23.181 | 1.122
2020-09-28 14:15:00 | 1.951 | 245.114 | 1.776 | 218.16 | 1.634 | 182.069 | 1.945 | 164.434 | 14.108 | 890.067 | 22.661 | 0.56632
2020-09-28 14:30:00 | 1.429 | 62.982 | 1.223 | 65.703 | 0.872 | 49.9 | 1.607 | 59.533 | 15.179 | 889.85 | 20.923 | 0.095216
2020-09-28 14:45:00 | 2.943 | 96.065 | 3.115 | 53.877 | 3.345 | 65.8 | 3.633 | 43.404 | 14.691 | 889.717 | 21.12 | 0.39934
2020-09-28 15:00:00 | 4.61 | 31.502 | 4.518 | 39.464 | 4.618 | 28.867 | 4.9 | 25.9 | 14.924 | 889.717 | 22.099 | 0.83065
2020-09-28 15:15:00 | 3.89 | 41.155 | 3.606 | 31.873 | 3.476 | 48.133 | 3.68 | 28.133 | 14.974 | 889.6 | 22.149 | 0.47182
2020-09-28 15:30:00 | 2.975 | 298.08 | 3.049 | 292.85 | 2.8 | 239.367 | 2.997 | 230.4 | 14.699 | 889.9 | 22.771 | 0.36523
2020-09-28 15:45:00 | 1.472 | 160.81 | 1.59 | 144.416 | 0.75 | 145.9 | 1.88 | 42.252 | 15.041 | 889.7 | 22.805 | 0.16627
2020-09-28 16:00:00 | 3.918 | 284.627 | 3.988 | 337.87 | 3.784 | 334.667 | 3.881 | 347.633 | 15.276 | 889.683 | 22.029 | 0.19612
2020-09-28 16:15:00 | 3.271 | 194.482 | 3.25 | 310.404 | 3.19 | 308.367 | 3.409 | 293.367 | 15.416 | 889.867 | 22.851 | 0.095926
2020-09-28 16:30:00 | 2.793 | 296.693 | 2.965 | 319.431 | 2.964 | 326.867 | 3.247 | 323.967 | 15.305 | 889.55 | 23.259 | 0.10161
2020-09-28 16:45:00 | 0.16 | 55.33 | 0.34 | 51.38 | 0.246 | 52.367 | 0.444 | 54.533 | 15.63 | 889.417 | 22.64 | 0.11937
2020-09-28 17:00:00 | 2.673 | 64.86 | 2.719 | 207.283 | 2.941 | 191.967 | 3.26 | 166.733 | 15.552 | 889.667 | 22.565 | 0.10445
2020-09-28 17:15:00 | 2.858 | 187.947 | 3.399 | 237.802 | 3.445 | 250.033 | 3.704 | 273.433 | 15.842 | 889.3 | 22.549 | 0.17764
2020-09-28 17:30:00 | 2.758 | 302.52 | 2.408 | 303.018 | 1.837 | 317.533 | 2.189 | 313.133 | 15.518 | 889.767 | 23.685 | 0.074609
2020-09-28 17:45:00 | 2.768 | 326.933 | 2.561 | 326.762 | 2.343 | 302.567 | 2.725 | 270.733 | 15.573 | 890.267 | 23.717 | 0.14353
2020-09-28 18:00:00 | 1.803 | 288.127 | 2.035 | 309.558 | 1.586 | 302 | 2.078 | 246.867 | 15.248 | 889.917 | 24.195 | 0.18404
2020-09-28 18:15:00 | 2.704 | 307.667 | 2.604 | 307.902 | 2.259 | 316.567 | 2.953 | 324.2 | 15.471 | 889.383 | 24.917 | 0.096637
2020-09-28 18:30:00 | 3.188 | 264.876 | 3.225 | 285.786 | 3.094 | 254.3 | 3.452 | 280.233 | 15.041 | 889.55 | 25.637 | 0.6253
2020-09-28 18:45:00 | 3.658 | 116.209 | 3.621 | 246.391 | 3.718 | 164.567 | 4.062 | 269.1 | 14.867 | 889.517 | 25.691 | 1.7096
2020-09-28 19:00:00 | 4.014 | 325.907 | 4.001 | 330.327 | 4.08 | 334.033 | 4.363 | 333.767 | 14.974 | 889.5 | 26.736 | 2.8643
2020-09-28 19:15:00 | 3.982 | 322.667 | 3.994 | 316.645 | 3.968 | 317.933 | 4.408 | 317.467 | 14.991 | 890.117 | 27.165 | 3.7035
2020-09-28 19:30:00 | 3.24 | 300.4 | 3.309 | 297.372 | 3.24 | 301.433 | 3.524 | 299.8 | 14.558 | 889.817 | 27.579 | 2.3719
2020-09-28 19:45:00 | 3.843 | 309.4 | 3.96 | 303.133 | 3.848 | 307.867 | 4.094 | 305.133 | 14.741 | 889.6 | 27.552 | 1.8787
2020-09-28 20:00:00 | 2.427 | 271.867 | 2.506 | 268.031 | 2.365 | 272.8 | 2.658 | 269.033 | 14.891 | 889.717 | 27.736 | 2.438
2020-09-28 20:15:00 | 2.384 | 277.96 | 2.482 | 274.663 | 2.32 | 276.033 | 2.69 | 268 | 14.52 | 889.833 | 27.872 | 1.247
2020-09-28 20:30:00 | 2.296 | 268 | 2.243 | 266.79 | 2.028 | 268 | 2.488 | 268 | 14.278 | 889.883 | 28.237 | 0.31407
2020-09-28 20:45:00 | 1.836 | 251.793 | 2.114 | 259.01 | 1.924 | 260.133 | 2.392 | 258.967 | 14.07 | 889.35 | 28.661 | 0.67291
2020-09-28 21:00:00 | 2.986 | 256.107 | 3.424 | 257.532 | 3.35 | 256.133 | 3.573 | 251 | 13.912 | 889.717 | 28.944 | 2.2184
2020-09-28 21:15:00 | 2.51 | 252.14 | 3.098 | 249.752 | 3.192 | 251.867 | 3.32 | 250.017 | 13.862 | 890.25 | 28.811 | 1.9541
2020-09-28 21:30:00 | 2.41 | 272.547 | 2.9 | 260.995 | 2.962 | 268.533 | 3.327 | 270.033 | 13.762 | 889.967 | 29.027 | 1.8731
2020-09-28 21:45:00 | 2.57 | 281.413 | 3.289 | 286.968 | 3.382 | 297.533 | 3.947 | 301.167 | 14.224 | 889.983 | 28.837 | 2.617
2020-09-28 22:00:00 | 5.216 | 291.16 | 6.045 | 287.347 | 6.211 | 289.8 | 6.623 | 288.267 | 14.295 | 889.75 | 27.904 | 10.4261
2020-09-28 22:15:00 | 4.061 | 296.6 | 4.835 | 291.886 | 5.077 | 296.8 | 5.592 | 293.133 | 13.874 | 890.05 | 27.547 | 14.3421
2020-09-28 22:30:00 | 4.144 | 299.88 | 5.263 | 294.914 | 5.472 | 299.1 | 6.042 | 295.267 | 13.712 | 890.183 | 27.707 | 11.6028
2020-09-28 22:45:00 | 4.005 | 301.173 | 4.99 | 294.278 | 5.205 | 297.467 | 5.786 | 294.667 | 13.491 | 890 | 27.531 | 10.6862
2020-09-28 23:00:00 | 4.081 | 291.827 | 4.972 | 287.395 | 5.126 | 291.667 | 5.569 | 289.967 | 13.387 | 889.5 | 27.179 | 11.5787
2020-09-28 23:15:00 | 4.034 | 290.68 | 4.845 | 287.281 | 4.948 | 290.567 | 5.382 | 289.4 | 13.382 | 889.283 | 26.789 | 13.7118
2020-09-28 23:30:00 | 4.518 | 287.213 | 5.526 | 282.535 | 5.702 | 286.6 | 6.04 | 284.267 | 13.462 | 889.95 | 26.493 | 17.9745
2020-09-28 23:45:00 | 4.688 | 291.627 | 5.732 | 287.352 | 5.941 | 290.267 | 6.269 | 287.733 | 13.126 | 890.2 | 25.112 | 16.0439