## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-29 00:00:00 | 4.251 | 292.72 | 5.205 | 287.026 | 5.562 | 290.367 | 6.025 | 287.767 | 12.864 | 889.867 | 25.016 | 15.3205
2020-09-29 00:15:00 | 3.985 | 291.733 | 4.76 | 287.958 | 4.939 | 290.667 | 5.332 | 289.867 | 12.707 | 889.933 | 25.352 | 16.2421
2020-09-29 00:30:00 | 3.561 | 283.84 | 4.412 | 281.928 | 4.616 | 285.933 | 4.987 | 284.933 | 12.132 | 889.467 | 25.517 | 14.6199
2020-09-29 00:45:00 | 3.753 | 271.933 | 4.618 | 269.699 | 4.861 | 274.567 | 5.193 | 272.233 | 11.957 | 889.883 | 25.859 | 10.9456
2020-09-29 01:00:00 | 3.71 | 255.167 | 4.448 | 256.73 | 4.798 | 263.933 | 5.184 | 262.817 | 11.89 | 889.583 | 26.528 | 8.578
2020-09-29 01:15:00 | 4.162 | 255.173 | 4.944 | 254.07 | 5.002 | 261.5 | 5.175 | 259.283 | 11.703 | 889.933 | 27.296 | 9.3418
2020-09-29 01:30:00 | 4.235 | 255.64 | 5.143 | 257.471 | 5.371 | 262.533 | 5.524 | 258.117 | 11.411 | 889.733 | 27.637 | 13.2073
2020-09-29 01:45:00 | 4.578 | 253.967 | 5.547 | 257.016 | 5.698 | 261.933 | 5.932 | 257.767 | 10.995 | 889.55 | 28.077 | 16.3985
2020-09-29 02:00:00 | 4.96 | 254.74 | 5.507 | 256.296 | 6.144 | 261.1 | 6.553 | 258.067 | 11.028 | 889.6 | 28.456 | 18.1685
2020-09-29 02:15:00 | 4.379 | 249.047 | 5.021 | 251.425 | 5.787 | 258.967 | 6.072 | 254.683 | 10.63 | 889.867 | 29.005 | 17.2987
2020-09-29 02:30:00 | 5.021 | 250.647 | 5.738 | 254.46 | 6.28 | 260.233 | 6.596 | 257.117 | 10.041 | 889.733 | 29.787 | 18.6083
2020-09-29 02:45:00 | 4.802 | 250.72 | 5.512 | 256.638 | 6.045 | 263.4 | 6.46 | 260.567 | 9.685 | 889.717 | 30.704 | 18.1848
2020-09-29 03:00:00 | 4.634 | 242.307 | 5.496 | 250.713 | 6.037 | 258.467 | 6.31 | 256.717 | 9.516 | 889.717 | 31.888 | 16.9179
2020-09-29 03:15:00 | 4.689 | 234.02 | 5.394 | 241.393 | 5.638 | 253.6 | 5.921 | 252.983 | 8.43 | 889.817 | 33.205 | 18.6716
2020-09-29 03:30:00 | 4.622 | 242.967 | 5.627 | 247.855 | 5.835 | 256.3 | 6.006 | 253.367 | 8.574 | 889.883 | 33.984 | 21.1003
2020-09-29 03:45:00 | 4.709 | 245.307 | 5.133 | 252.158 | 5.421 | 259.967 | 5.614 | 259.667 | 8.549 | 889.833 | 34.325 | 22.0368
2020-09-29 04:00:00 | 4.793 | 242.873 | 5.27 | 248.385 | 5.593 | 257.867 | 5.679 | 257.183 | 8.437 | 889.783 | 34.661 | 18.4584
2020-09-29 04:15:00 | 4.429 | 249.553 | 5.275 | 259.237 | 5.854 | 268.667 | 6.224 | 268 | 8.264 | 889.733 | 34.875 | 17.1403
2020-09-29 04:30:00 | 4.491 | 253.113 | 5.316 | 262.849 | 5.696 | 272.533 | 6.295 | 271 | 8.501 | 889.783 | 35.192 | 16.6877
2020-09-29 04:45:00 | 4.252 | 251.507 | 5.232 | 260.351 | 6.162 | 270.067 | 6.419 | 266.167 | 8.404 | 889.75 | 35.235 | 16.0986
2020-09-29 05:00:00 | 4.264 | 256.607 | 5.19 | 262.047 | 5.734 | 269.733 | 6.08 | 265.467 | 8.658 | 890.1 | 35.091 | 15.1003
2020-09-29 05:15:00 | 4.88 | 252.067 | 5.697 | 256.591 | 6.384 | 262.767 | 6.781 | 260.45 | 9.241 | 889.383 | 34.685 | 17.4679
2020-09-29 05:30:00 | 5.242 | 260.327 | 6.378 | 260.394 | 6.837 | 264.5 | 7.086 | 263.067 | 9.595 | 889.617 | 34.203 | 21.5373
2020-09-29 05:45:00 | 4.766 | 256.533 | 6.112 | 256.472 | 6.52 | 262.433 | 7.004 | 258.567 | 9.749 | 889.733 | 33.512 | 22.8333
2020-09-29 06:00:00 | 5.281 | 263.347 | 6.321 | 262.354 | 6.806 | 268.8 | 7.298 | 265.6 | 9.92 | 889.8 | 33.512 | 20.5347
2020-09-29 06:15:00 | 5.227 | 269.147 | 6.502 | 267.02 | 6.816 | 273.867 | 7.067 | 270.9 | 10.258 | 889.833 | 33.259 | 21.9053
2020-09-29 06:30:00 | 5.427 | 269.013 | 6.322 | 265.883 | 6.592 | 272.3 | 6.962 | 269 | 10.368 | 890.017 | 33.04 | 23.2398
2020-09-29 06:45:00 | 6.171 | 288.467 | 7.211 | 281.97 | 7.736 | 286.267 | 8.318 | 282.833 | 10.811 | 889.667 | 32.483 | 29.6527
2020-09-29 07:00:00 | 4.185 | 257.227 | 4.871 | 260.143 | 5.319 | 267.05 | 5.858 | 269.367 | 10.961 | 889.783 | 33.499 | 20.4956
2020-09-29 07:15:00 | 5.736 | 255.433 | 6.436 | 254.941 | 6.544 | 261.2 | 6.725 | 257.75 | 10.824 | 889.933 | 34.141 | 22.1064
2020-09-29 07:30:00 | 6.247 | 266.4 | 7.117 | 263.844 | 7.233 | 269.833 | 7.581 | 267.433 | 10.651 | 890.067 | 33.947 | 29.8175
2020-09-29 07:45:00 | 7.439 | 288.493 | 8.463 | 282.289 | 9.07 | 284.167 | 9.766 | 282.533 | 10.859 | 889.717 | 36.472 | 34.7758
2020-09-29 08:00:00 | 7.511 | 280.8 | 8.912 | 275.976 | 9.448 | 279.767 | 9.786 | 277.633 | 10.828 | 890.417 | 33.992 | 36.8379
2020-09-29 08:15:00 | 6.578 | 263.113 | 7.783 | 260.172 | 7.971 | 264.033 | 8.065 | 260.4 | 10.241 | 889.7 | 33.629 | 43.9471
2020-09-29 08:30:00 | 6.022 | 270.36 | 6.875 | 265.506 | 7.282 | 271.967 | 7.557 | 269.9 | 10.439 | 889.983 | 33.056 | 44.4147
2020-09-29 08:45:00 | 7.601 | 278.733 | 8.855 | 273.217 | 9.319 | 276.467 | 9.467 | 273.067 | 10.751 | 889.65 | 34.304 | 53.6471
2020-09-29 09:00:00 | 7.458 | 302.2 | 8.408 | 296.924 | 8.692 | 300.433 | 9.25 | 297.2 | 10.043 | 889.833 | 46.016 | 49.5542
2020-09-29 09:15:00 | 6.312 | 288.84 | 7.018 | 282.003 | 7.265 | 283 | 7.312 | 278.3 | 8.492 | 890.183 | 66.096 | 35.4303
2020-09-29 09:30:00 | 5.425 | 274.693 | 5.963 | 268.39 | 6.328 | 270.2 | 6.574 | 264.467 | 8.15 | 889.733 | 70.651 | 19.3587
2020-09-29 09:45:00 | 6.19 | 272.827 | 6.806 | 267.651 | 7.139 | 272.233 | 7.425 | 267.233 | 8.484 | 889.65 | 70.837 | 25.3722
2020-09-29 10:00:00 | 4.641 | 242.2 | 5.067 | 237.528 | 5.577 | 241.7 | 5.86 | 234.933 | 8.474 | 889.617 | 70.187 | 22.9698
2020-09-29 10:15:00 | 6.244 | 242.16 | 6.33 | 237.036 | 6.661 | 240.8 | 6.741 | 236.633 | 9.474 | 889.742 | 61.941 | 20.9518
2020-09-29 10:30:00 | 6.69 | 241.127 | 7.051 | 238.524 | 7.566 | 242.95 | 7.586 | 237.267 | 9.839 | 889.908 | 58.667 | 36.0677
2020-09-29 10:45:00 | 6.819 | 249.233 | 7.333 | 244.999 | 7.895 | 249.233 | 7.878 | 242.467 | 9.849 | 890.317 | 54.763 | 43.4703
2020-09-29 11:00:00 | 5.48 | 251.647 | 6.249 | 248.628 | 6.642 | 251.967 | 6.826 | 246.883 | 9.345 | 889.9 | 54.315 | 27.4563
2020-09-29 11:15:00 | 6.356 | 259.293 | 6.73 | 256.504 | 6.917 | 262.883 | 6.983 | 258.5 | 10.251 | 889.867 | 47.675 | 26.8459
2020-09-29 11:30:00 | 8.536 | 270.747 | 9.271 | 265.682 | 9.469 | 268.933 | 9.509 | 264.333 | 10.468 | 890.167 | 43.243 | 40.9642
2020-09-29 11:45:00 | 8.03 | 275.933 | 8.628 | 268.324 | 8.964 | 272.4 | 8.865 | 270.233 | 11.161 | 889.792 | 40.408 | 54.6674
2020-09-29 12:00:00 | 9.362 | 286.267 | 10.064 | 279.762 | 10.362 | 281.967 | 10.567 | 279.067 | 11.553 | 889.383 | 33.149 | 54.7932
2020-09-29 12:15:00 | 8.964 | 279.733 | 9.577 | 275.513 | 9.804 | 282.8 | 9.96 | 280.333 | 12.111 | 889.667 | 31.635 | 61.9984
2020-09-29 12:30:00 | 9.747 | 297.987 | 10.136 | 292.821 | 10.355 | 295.667 | 10.509 | 292.5 | 12.472 | 889.333 | 31.088 | 62.262
2020-09-29 12:45:00 | 9.811 | 289.387 | 10.375 | 282.915 | 10.679 | 285.1 | 10.833 | 281.833 | 12.653 | 889.45 | 30.131 | 65.1774
2020-09-29 13:00:00 | 10.444 | 281.76 | 11.121 | 275.084 | 11.101 | 278.767 | 11.346 | 275.533 | 12.722 | 889.5 | 30.523 | 74.8788
2020-09-29 13:15:00 | 10.791 | 293.24 | 11.415 | 287.921 | 11.304 | 290.233 | 11.6 | 288.433 | 12.666 | 889.683 | 30.443 | 83.1143
2020-09-29 13:30:00 | 10.839 | 282.08 | 11.452 | 277.246 | 11.922 | 282.467 | 12.139 | 278.467 | 12.576 | 890.217 | 30.512 | 86.8774
2020-09-29 13:45:00 | 10.391 | 295.373 | 11.394 | 288.88 | 11.401 | 291.3 | 11.633 | 288.933 | 12.682 | 889.5 | 29.976 | 89.4994
2020-09-29 14:00:00 | 11.93 | 295.947 | 12.77 | 287.45 | 13.121 | 290.433 | 13.709 | 288.633 | 12.784 | 889.667 | 28.995 | 90.1333
2020-09-29 14:15:00 | 12.084 | 287.16 | 13.201 | 281.853 | 13.738 | 284.267 | 13.963 | 282.633 | 12.33 | 889.7 | 29.611 | 92.1726
2020-09-29 14:30:00 | 12.759 | 292.08 | 13.808 | 285.742 | 14.17 | 288.2 | 14.305 | 287.067 | 12.474 | 889.783 | 30.291 | 88.1323
2020-09-29 14:45:00 | 13.39 | 298.707 | 14.018 | 292.302 | 14.384 | 295.2 | 14.773 | 294.067 | 12.082 | 889.6 | 30.085 | 86.0688
2020-09-29 15:00:00 | 14.249 | 296.733 | 15.387 | 290.94 | 15.716 | 292.733 | 16.177 | 291.2 | 12.347 | 889.65 | 29.707 | 86.7289
2020-09-29 15:15:00 | 13.425 | 289.933 | 14.601 | 283.785 | 14.865 | 284.6 | 15.609 | 284.367 | 11.99 | 889.433 | 29.741 | 87.1325
2020-09-29 15:30:00 | 14.392 | 289.267 | 15.601 | 283.612 | 15.887 | 285.367 | 16.485 | 284.267 | 11.84 | 890.017 | 30.435 | 87.1773
2020-09-29 15:45:00 | 15.014 | 283.667 | 16.426 | 277.618 | 16.511 | 280.033 | 16.582 | 277.067 | 11.428 | 890 | 31.539 | 87.2988
2020-09-29 16:00:00 | 15.87 | 300.867 | 17.421 | 295.85 | 17.861 | 300.7 | 18.794 | 298 | 10.795 | 889.733 | 38.213 | 86.827
2020-09-29 16:15:00 | 14.582 | 299.787 | 15.705 | 294.515 | 16.432 | 296.433 | 17.096 | 294.3 | 10.353 | 889.692 | 40.843 | 87.6463
2020-09-29 16:30:00 | 14.263 | 294.6 | 15.936 | 290.871 | 16.67 | 293.6 | 17.093 | 292.033 | 9.833 | 890.208 | 43.109 | 88.8528
2020-09-29 16:45:00 | 14.98 | 294.347 | 16.19 | 289.371 | 16.898 | 294.2 | 17.477 | 292.733 | 9.964 | 889.867 | 44.011 | 86.5875
2020-09-29 17:00:00 | 13.818 | 291.64 | 15.279 | 285.874 | 15.703 | 288.667 | 16.274 | 287.767 | 9.224 | 889.75 | 48.736 | 88.4876
2020-09-29 17:15:00 | 12.99 | 297.013 | 14.493 | 291.667 | 14.639 | 293.833 | 14.816 | 291.967 | 8.699 | 889.65 | 52.528 | 88.5686
2020-09-29 17:30:00 | 12.704 | 289.4 | 13.813 | 284.098 | 14.236 | 284.067 | 14.648 | 282.567 | 8.524 | 889.675 | 54.576 | 88.386
2020-09-29 17:45:00 | 13.25 | 288.053 | 14.901 | 282.997 | 14.91 | 286.033 | 15.507 | 284.533 | 8.494 | 889.675 | 58.448 | 87.9603
2020-09-29 18:00:00 | 12.4 | 291.18 | 13.69 | 285.27 | 14.035 | 288.6 | 14.67 | 286.733 | 7.339 | 889.833 | 62.725 | 88.2318
2020-09-29 18:15:00 | 12.062 | 311.747 | 13.02 | 307.628 | 13.366 | 310.1 | 14.022 | 306.033 | 6.694 | 889.367 | 67.163 | 89.6572
2020-09-29 18:30:00 | 11.614 | 309.827 | 12.758 | 304.601 | 13.193 | 308.233 | 13.893 | 306.2 | 6.482 | 889.725 | 70.555 | 82.8613
2020-09-29 18:45:00 | 10.353 | 310.707 | 10.908 | 302.145 | 11.394 | 307.1 | 12.185 | 305.033 | 5.839 | 890.108 | 71.984 | 87.9241
2020-09-29 19:00:00 | 13.289 | 294 | 14.761 | 287.887 | 15.32 | 291.3 | 16.24 | 290.8 | 6.393 | 889.692 | 66.875 | 89.0681
2020-09-29 19:15:00 | 12.914 | 295.28 | 14.66 | 288.847 | 15.411 | 292.367 | 16.225 | 290.6 | 6.645 | 889.825 | 64.555 | 92.2628
2020-09-29 19:30:00 | 12.892 | 290.387 | 14.241 | 282.96 | 14.829 | 285.333 | 15.471 | 284.233 | 6.274 | 890.058 | 64.299 | 93.8737
2020-09-29 19:45:00 | 12.868 | 287.413 | 14.643 | 281.958 | 15.831 | 283.067 | 16.412 | 282.667 | 6.778 | 890.017 | 63.152 | 96.3237
2020-09-29 20:00:00 | 12.285 | 288.333 | 13.617 | 282.667 | 14.31 | 284.133 | 14.756 | 283.933 | 6.425 | 889.742 | 61.717 | 97.1203
2020-09-29 20:15:00 | 13.652 | 279.573 | 15.345 | 273.473 | 15.652 | 276.333 | 15.992 | 272.433 | 5.938 | 890 | 63.739 | 96.3578
2020-09-29 20:30:00 | 14.137 | 280.267 | 15.728 | 275.698 | 16.469 | 278.367 | 16.909 | 275.267 | 5.746 | 890.017 | 65.589 | 96.431
2020-09-29 20:45:00 | 12.665 | 274.947 | 13.726 | 270.729 | 14.138 | 274.533 | 14.452 | 270.233 | 5.518 | 889.867 | 67.899 | 96.3486
2020-09-29 21:00:00 | 11.018 | 266.567 | 13.173 | 261.702 | 13.956 | 267.283 | 14.065 | 261.95 | 5.524 | 889.775 | 66.56 | 94.8692
2020-09-29 21:15:00 | 13.142 | 270.32 | 14.942 | 262.859 | 15.819 | 265.9 | 15.839 | 260.867 | 5.644 | 889.992 | 66.021 | 94.4642
2020-09-29 21:30:00 | 12.63 | 258.48 | 14.24 | 254.135 | 14.929 | 257.65 | 14.751 | 252.383 | 5.594 | 889.992 | 63.861 | 96.6875
2020-09-29 21:45:00 | 12.739 | 271.747 | 14.032 | 266.355 | 14.494 | 269.367 | 14.723 | 265.017 | 5.588 | 889.783 | 63.115 | 96.0736
2020-09-29 22:00:00 | 11.997 | 271.853 | 13.329 | 266.038 | 13.776 | 269.767 | 13.832 | 266.417 | 5.528 | 889.783 | 64.56 | 93.7884
2020-09-29 22:15:00 | 13.918 | 274.973 | 15.579 | 268.061 | 16.091 | 271.6 | 16.507 | 267.667 | 5.06 | 889.733 | 65.355 | 91.1536
2020-09-29 22:30:00 | 12.541 | 271.48 | 14.031 | 266.087 | 14.67 | 270.633 | 14.95 | 265.633 | 4.673 | 889.833 | 66.267 | 94.4002
2020-09-29 22:45:00 | 9.286 | 287.867 | 11.124 | 281.409 | 11.561 | 283.533 | 12.111 | 280.467 | 4.223 | 889.833 | 64.805 | 94.3057
2020-09-29 23:00:00 | 9.522 | 285.52 | 10.333 | 281.661 | 10.618 | 285.033 | 10.96 | 281.967 | 4.268 | 889.517 | 62.075 | 82.1337
2020-09-29 23:15:00 | 9.565 | 267.333 | 11.111 | 263.646 | 12.138 | 267.333 | 12.496 | 265.35 | 3.956 | 889.742 | 64.08 | 89.4689
2020-09-29 23:30:00 | 11.034 | 279.453 | 13.006 | 277.834 | 14.726 | 279.867 | 15.888 | 278.133 | 3.886 | 890.233 | 63.499 | 72.9439
2020-09-29 23:45:00 | 13.644 | 277.933 | 15.556 | 273.876 | 16.754 | 277.267 | 17.234 | 273.2 | 3.521 | 890.033 | 61.696 | 82.9913