## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-30 00:00:00 | 13.841 | 269.067 | 15.563 | 263.528 | 16.494 | 268.5 | 16.932 | 264.267 | 3.571 | 890.233 | 63.029 | 90.2505
2020-09-30 00:15:00 | 10.628 | 273.467 | 12.072 | 266.599 | 12.741 | 270.5 | 12.985 | 266.333 | 3.672 | 889.683 | 62.523 | 96.4132
2020-09-30 00:30:00 | 10.179 | 269.133 | 11.579 | 265.359 | 12.154 | 269.3 | 12.46 | 265.033 | 3.605 | 889.983 | 62.416 | 95.3772
2020-09-30 00:45:00 | 8.833 | 269.527 | 10.115 | 264.967 | 10.458 | 268.3 | 10.35 | 264.3 | 3.796 | 890.058 | 62.677 | 85.0982
2020-09-30 01:00:00 | 6.471 | 262.6 | 7.889 | 258.897 | 8.765 | 261.467 | 8.976 | 256.717 | 3.505 | 889.817 | 63.419 | 59.77
2020-09-30 01:15:00 | 6.729 | 252.647 | 8.148 | 250.309 | 8.82 | 254.733 | 8.995 | 252.2 | 3.026 | 889.658 | 65.781 | 56.1042
2020-09-30 01:30:00 | 8.058 | 262.433 | 9.341 | 260.422 | 10.018 | 262.6 | 10.376 | 258.583 | 3.104 | 889.725 | 66.267 | 56.1156
2020-09-30 01:45:00 | 8.54 | 263.267 | 9.89 | 260.464 | 10.805 | 265.333 | 11.071 | 260.033 | 3.405 | 889.767 | 66.539 | 57.0201
2020-09-30 02:00:00 | 7.497 | 261.56 | 9.416 | 257.847 | 10.378 | 261.217 | 10.938 | 257.5 | 3.09 | 890.1 | 68.032 | 57.8579
2020-09-30 02:15:00 | 8.211 | 258.273 | 10.054 | 254.049 | 10.754 | 259.7 | 10.93 | 256.417 | 3.167 | 890.117 | 67.248 | 58.6516
2020-09-30 02:30:00 | 7.212 | 248.327 | 9.08 | 246.454 | 10.492 | 251.8 | 10.834 | 247.017 | 2.908 | 889.933 | 67.408 | 57.3996
2020-09-30 02:45:00 | 8.228 | 252.12 | 9.709 | 249.673 | 10.701 | 252.633 | 11.089 | 248.883 | 2.456 | 889.892 | 67.296 | 59.2591
2020-09-30 03:00:00 | 8.923 | 254.767 | 10.53 | 251.8 | 11.064 | 256.583 | 11.158 | 250.517 | 2.897 | 889.775 | 67.301 | 60.6277
2020-09-30 03:15:00 | 7.984 | 257.193 | 9.564 | 253.366 | 10.211 | 256.583 | 10.769 | 251.483 | 2.729 | 889.725 | 67.755 | 61.2651
2020-09-30 03:30:00 | 8.339 | 262.7 | 10.012 | 258.518 | 10.637 | 262.333 | 10.868 | 257.05 | 2.74 | 889.667 | 67.947 | 62.4467
2020-09-30 03:45:00 | 8.316 | 262.313 | 9.695 | 257.525 | 10.502 | 262.45 | 10.808 | 258.5 | 2.783 | 890.167 | 69.125 | 67.1862
2020-09-30 04:00:00 | 7.171 | 271.413 | 8.417 | 266.727 | 8.931 | 270.667 | 9.089 | 266.933 | 2.827 | 889.908 | 69.728 | 65.8368
2020-09-30 04:15:00 | 6.984 | 259.073 | 8.26 | 257.534 | 8.582 | 262.117 | 8.596 | 257.383 | 2.494 | 890.083 | 70.971 | 57.1928
2020-09-30 04:30:00 | 5.466 | 253.773 | 6.772 | 254.114 | 6.955 | 258.767 | 6.912 | 254.183 | 2.392 | 890.1 | 72.443 | 50.3614
2020-09-30 04:45:00 | 5.268 | 259.827 | 6.728 | 261.185 | 7.35 | 267.4 | 7.409 | 263.167 | 2.168 | 889.817 | 73.445 | 38.3194
2020-09-30 05:00:00 | 6.09 | 252.34 | 7.968 | 251.352 | 8.981 | 256.917 | 9.205 | 252.183 | 1.912 | 889.85 | 73.675 | 40.8533
2020-09-30 05:15:00 | 9.322 | 256.093 | 11.759 | 252.489 | 12.74 | 256.617 | 12.756 | 252.75 | 2.019 | 889.808 | 73.547 | 60.5218
2020-09-30 05:30:00 | 8.88 | 253.673 | 10.426 | 249.152 | 10.713 | 253.283 | 10.604 | 248.567 | 2.582 | 889.983 | 70.624 | 72.1374
2020-09-30 05:45:00 | 8.008 | 253 | 9.324 | 249.198 | 10.048 | 254.95 | 10.099 | 250.917 | 2.557 | 890.075 | 71.248 | 74.7466
2020-09-30 06:00:00 | 7.339 | 251.887 | 8.286 | 249.321 | 8.781 | 253.533 | 8.774 | 248.183 | 2.434 | 889.617 | 71.509 | 71.8554
2020-09-30 06:15:00 | 7.317 | 254.173 | 8.328 | 254.528 | 8.714 | 259.533 | 8.92 | 256.7 | 1.962 | 889.792 | 72.512 | 62.0922
2020-09-30 06:30:00 | 8.27 | 256.267 | 9.743 | 255.595 | 10.216 | 260.883 | 10.172 | 256.083 | 2.025 | 889.683 | 72.997 | 65.8972
2020-09-30 06:45:00 | 8.007 | 259.18 | 9.811 | 258.223 | 10.381 | 262.033 | 10.503 | 258.45 | 2.512 | 889.858 | 71.024 | 63.9837
2020-09-30 07:00:00 | 5.42 | 260.873 | 7.334 | 258.911 | 7.906 | 264.167 | 8.033 | 259.1 | 1.868 | 890.092 | 72.304 | 49.3446
2020-09-30 07:15:00 | 4.939 | 241.8 | 6.068 | 245.547 | 6.666 | 253.267 | 6.821 | 247.083 | 1.499 | 889.5 | 73.968 | 26.065
2020-09-30 07:30:00 | 4.692 | 222.533 | 5.314 | 231.192 | 5.646 | 239.033 | 5.736 | 238.4 | 1.6 | 890.4 | 73.984 | 23.3755
2020-09-30 07:45:00 | 5.917 | 221.2 | 6.946 | 225.14 | 7.298 | 231.9 | 7.407 | 230.1 | 1.132 | 890.017 | 73.483 | 39.4727
2020-09-30 08:00:00 | 5.889 | 227.7 | 7.235 | 227.498 | 7.91 | 232.467 | 8.06 | 228.367 | 2.148 | 890.442 | 69.888 | 42.1672
2020-09-30 08:15:00 | 6.422 | 234.833 | 7.735 | 233.031 | 8.434 | 237.733 | 8.591 | 233 | 3.371 | 889.6 | 64.757 | 56.2804
2020-09-30 08:30:00 | 8.015 | 235.58 | 9.107 | 233.059 | 9.773 | 238.4 | 10.047 | 234.033 | 4.014 | 889.625 | 59.915 | 67.9373
2020-09-30 08:45:00 | 7.906 | 235.98 | 8.691 | 234.714 | 9.427 | 240 | 9.449 | 233.733 | 4.875 | 889.608 | 54.229 | 61.5123
2020-09-30 09:00:00 | 8.553 | 240.08 | 9.17 | 236.301 | 9.776 | 242.233 | 9.871 | 234.967 | 5.122 | 890.025 | 52.704 | 67.2587
2020-09-30 09:15:00 | 8.759 | 240.727 | 9.531 | 239.134 | 10.032 | 240.767 | 9.91 | 236.2 | 5.901 | 889.625 | 51.435 | 73.6964
2020-09-30 09:30:00 | 8.878 | 250.273 | 9.73 | 247.413 | 10.193 | 251.867 | 10.126 | 247.933 | 6.028 | 890.208 | 49.781 | 75.627
2020-09-30 09:45:00 | 9.149 | 256.033 | 9.488 | 252.051 | 10.282 | 253.85 | 10.472 | 250.3 | 6.452 | 889.967 | 48.299 | 66.2909
2020-09-30 10:00:00 | 8.407 | 258.38 | 8.749 | 254.175 | 8.97 | 256.9 | 9.086 | 251.683 | 6.789 | 889.367 | 45.84 | 62.5967
2020-09-30 10:15:00 | 8.67 | 257.687 | 9.144 | 254.917 | 9.598 | 258.9 | 9.62 | 255.1 | 7.359 | 889.858 | 43.611 | 64.4484
2020-09-30 10:30:00 | 8.688 | 269.587 | 9.452 | 262.249 | 9.722 | 263.3 | 9.533 | 257.217 | 7.339 | 889.717 | 41.675 | 64.1258
2020-09-30 10:45:00 | 9.738 | 273.22 | 10.318 | 266.513 | 10.624 | 270.5 | 10.725 | 266.7 | 7.462 | 889.717 | 39.179 | 68.8518
2020-09-30 11:00:00 | 8.911 | 261.96 | 9.536 | 256.418 | 9.899 | 261.833 | 9.776 | 256.883 | 7.78 | 889.6 | 37.968 | 59.7047
2020-09-30 11:15:00 | 8.755 | 266.647 | 9.321 | 262.114 | 9.485 | 264.35 | 9.578 | 260.1 | 7.93 | 889.683 | 37.669 | 49.7851
2020-09-30 11:30:00 | 8.181 | 281 | 8.885 | 275.431 | 9.287 | 277.217 | 9.538 | 271.7 | 7.953 | 889.667 | 35.965 | 44.6804
2020-09-30 11:45:00 | 7.212 | 264.253 | 7.462 | 258.932 | 7.64 | 263.117 | 7.759 | 258.133 | 8.788 | 890.017 | 33.221 | 38.3301
2020-09-30 12:00:00 | 6.61 | 294.347 | 7.025 | 285.867 | 7.286 | 291.8 | 7.391 | 287.767 | 8.582 | 890.05 | 29.579 | 30.263
2020-09-30 12:15:00 | 5.357 | 270.827 | 5.731 | 267.533 | 6.011 | 273.7 | 5.995 | 270.733 | 8.724 | 889.683 | 31.933 | 30.1366
2020-09-30 12:30:00 | 5.87 | 251.513 | 6.001 | 248.073 | 6.306 | 251.25 | 6.439 | 245.767 | 9.712 | 889.85 | 29.104 | 25.5001
2020-09-30 12:45:00 | 4.884 | 281.867 | 5.298 | 274.808 | 5.369 | 279.55 | 5.669 | 276.1 | 9.687 | 889.417 | 27.901 | 28.3331
2020-09-30 13:00:00 | 7.28 | 262.333 | 7.64 | 255.263 | 7.766 | 260.15 | 7.908 | 255.167 | 10.42 | 889.65 | 26.877 | 28.8987
2020-09-30 13:15:00 | 6.306 | 270.293 | 6.714 | 272.147 | 7.042 | 278.1 | 7.124 | 276.133 | 10.774 | 889.65 | 25.728 | 32.1908
2020-09-30 13:30:00 | 5.116 | 274.48 | 5.598 | 272.466 | 5.779 | 271.967 | 5.821 | 267.333 | 10.01 | 889.45 | 25.24 | 23.4309
2020-09-30 13:45:00 | 4.598 | 284.373 | 4.903 | 272.339 | 5.321 | 271.367 | 5.39 | 266.267 | 10.566 | 889.517 | 25.893 | 16.5129
2020-09-30 14:00:00 | 5.198 | 248.933 | 5.513 | 252.649 | 6.013 | 259.783 | 6.186 | 257.567 | 10.601 | 889.55 | 24.469 | 19.9776
2020-09-30 14:15:00 | 6.051 | 275.467 | 6.451 | 271.24 | 6.535 | 274.367 | 6.469 | 272.1 | 10.353 | 889.667 | 23.456 | 21.948
2020-09-30 14:30:00 | 5.446 | 277.56 | 5.755 | 272.968 | 5.76 | 280.9 | 5.889 | 283.067 | 10.472 | 889.967 | 23.653 | 23.9376
2020-09-30 14:45:00 | 6.598 | 314.267 | 6.924 | 303.436 | 6.9 | 306.8 | 6.994 | 300.6 | 10.961 | 889.95 | 22.357 | 19.9236
2020-09-30 15:00:00 | 5.577 | 317 | 5.947 | 305.265 | 6.3 | 306.967 | 6.67 | 302.7 | 11.111 | 889.783 | 21.581 | 20.3982
2020-09-30 15:15:00 | 5.849 | 302 | 6.299 | 294.225 | 6.771 | 295 | 6.97 | 293.267 | 10.761 | 889.433 | 22.592 | 19.4901
2020-09-30 15:30:00 | 4.522 | 272.28 | 4.641 | 268.469 | 4.73 | 273.433 | 4.821 | 270.183 | 11.828 | 889.35 | 20.655 | 22.2663
2020-09-30 15:45:00 | 7.112 | 289.453 | 7.552 | 281.56 | 7.786 | 288.267 | 8.39 | 286.467 | 11.495 | 889.5 | 20.623 | 22.6131
2020-09-30 16:00:00 | 7.026 | 299.04 | 7.218 | 295.24 | 7.236 | 300.3 | 7.636 | 296.4 | 11.382 | 889.717 | 20.231 | 27.9267
2020-09-30 16:15:00 | 5.644 | 281.507 | 6.316 | 276.822 | 6.528 | 281.533 | 6.902 | 277.35 | 11.403 | 889.45 | 20.275 | 30.6645
2020-09-30 16:30:00 | 8.095 | 293.133 | 8.477 | 287.907 | 8.418 | 290.333 | 8.531 | 287.833 | 11.466 | 889.4 | 19.165 | 36.6041
2020-09-30 16:45:00 | 6.837 | 272.693 | 7.09 | 266.184 | 7.351 | 271.067 | 7.504 | 268.517 | 11.607 | 889.333 | 18.029 | 45.3796
2020-09-30 17:00:00 | 7.318 | 279.12 | 7.844 | 272.713 | 8.055 | 276.9 | 8.316 | 271.533 | 11.899 | 889.833 | 19.068 | 43.7041
2020-09-30 17:15:00 | 7.959 | 308.187 | 8.444 | 301.044 | 8.635 | 304.833 | 8.898 | 301.733 | 11.374 | 889.567 | 20.976 | 43.8597
2020-09-30 17:30:00 | 6.344 | 303.107 | 6.831 | 295.71 | 7.048 | 297.9 | 7.471 | 297.3 | 11.349 | 889.517 | 22.765 | 46.9109
2020-09-30 17:45:00 | 8.223 | 288.667 | 8.82 | 282.323 | 9.045 | 282.667 | 9.237 | 282.167 | 11.345 | 890.133 | 21.429 | 46.1776
2020-09-30 18:00:00 | 8.056 | 291.533 | 8.54 | 287.128 | 8.871 | 290.367 | 9.16 | 287.9 | 11.328 | 889.433 | 22.984 | 47.8524
2020-09-30 18:15:00 | 8.223 | 287.867 | 8.834 | 284.435 | 8.998 | 285.667 | 9.239 | 282.667 | 11.045 | 890.1 | 23.981 | 49.2139
2020-09-30 18:30:00 | 8.469 | 285.013 | 9.531 | 278.587 | 9.763 | 282.933 | 10.004 | 280 | 10.995 | 889.717 | 22.909 | 61.2516
2020-09-30 18:45:00 | 7.979 | 284.76 | 8.809 | 280.439 | 9.391 | 285.367 | 9.673 | 281.1 | 10.616 | 889.583 | 23.283 | 66.3648
2020-09-30 19:00:00 | 8.572 | 289.96 | 9.347 | 284.6 | 9.57 | 288.233 | 10.17 | 286.5 | 10.666 | 889.633 | 23.776 | 56.2726
2020-09-30 19:15:00 | 6.94 | 287.387 | 7.882 | 281.073 | 8.171 | 284.367 | 8.297 | 281.467 | 10.016 | 889.467 | 25.771 | 56.6734
2020-09-30 19:30:00 | 6.874 | 289.933 | 8.133 | 284.46 | 8.581 | 286.433 | 8.763 | 281.567 | 9.733 | 890.067 | 25.741 | 51.3349
2020-09-30 19:45:00 | 5.802 | 293.24 | 6.986 | 290.105 | 7.752 | 290.667 | 8.386 | 288.3 | 9.462 | 889.2 | 26.84 | 43.4149
2020-09-30 20:00:00 | 6.673 | 292.987 | 7.601 | 286.677 | 7.924 | 290.967 | 8.392 | 287.4 | 8.958 | 889.683 | 27.632 | 40.0092
2020-09-30 20:15:00 | 6.67 | 295.013 | 7.782 | 288.428 | 8.512 | 292.333 | 9.048 | 289.067 | 8.958 | 889.933 | 27.795 | 43.417
2020-09-30 20:30:00 | 6.564 | 294.267 | 7.721 | 286.856 | 8.313 | 290.9 | 8.661 | 287.067 | 8.641 | 890.167 | 28.392 | 41.7451
2020-09-30 20:45:00 | 5.988 | 287.493 | 7.202 | 283.044 | 7.84 | 284.5 | 8.492 | 284.367 | 7.95 | 889.517 | 29.371 | 35.8488
2020-09-30 21:00:00 | 6.432 | 278.213 | 7.554 | 274.904 | 7.863 | 280.2 | 8.165 | 279.233 | 8.237 | 889.7 | 28.533 | 35.561
2020-09-30 21:15:00 | 5.529 | 276.587 | 6.729 | 275.202 | 7.084 | 279.333 | 7.367 | 278.2 | 7.592 | 889.75 | 28.501 | 33.8756
2020-09-30 21:30:00 | 5.024 | 276.467 | 6.053 | 273.13 | 6.504 | 277.5 | 6.784 | 273.633 | 7.239 | 889.883 | 29.533 | 27.5757
2020-09-30 21:45:00 | 5.336 | 275.867 | 6.532 | 273.038 | 6.74 | 277.8 | 7.29 | 274.8 | 7.072 | 889.583 | 30.144 | 24.285
2020-09-30 22:00:00 | 4.037 | 265.987 | 5.411 | 268.274 | 5.845 | 276.1 | 6.208 | 272.433 | 6.787 | 889.933 | 31.44 | 22.7673
2020-09-30 22:15:00 | 4.378 | 255.58 | 5.924 | 257.684 | 6.178 | 263.3 | 6.176 | 259.417 | 5.333 | 889.667 | 34.661 | 21.0861
2020-09-30 22:30:00 | 5.71 | 253.367 | 7.116 | 254.014 | 7.273 | 259.5 | 7.363 | 256.133 | 6.014 | 889.7 | 35.456 | 35.0302
2020-09-30 22:45:00 | 5.358 | 250.22 | 6.75 | 252.812 | 7.084 | 258.233 | 7.196 | 254.15 | 6.256 | 889.383 | 35.747 | 40.0383
2020-09-30 23:00:00 | 5.072 | 250.593 | 6.547 | 251.305 | 7.077 | 257.733 | 7.337 | 255.15 | 5.508 | 889.4 | 37.459 | 39.1892
2020-09-30 23:15:00 | 4.063 | 272.16 | 5.335 | 265.568 | 5.712 | 271.5 | 6.006 | 267.333 | 5.24 | 889.8 | 38.552 | 32.9284
2020-09-30 23:30:00 | 3.535 | 257.813 | 4.677 | 265.08 | 5.031 | 273.2 | 5.219 | 269.967 | 5.74 | 889.933 | 38.539 | 18.4023
2020-09-30 23:45:00 | 3.92 | 243.68 | 4.635 | 255.14 | 4.885 | 265 | 5.061 | 264.067 | 4.825 | 889.683 | 40.043 | 12.9842