## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-01 00:00:00 | 4.113 | 243.427 | 4.861 | 253.973 | 5.144 | 261.533 | 5.358 | 259.7 | 4.981 | 889.6 | 41.403 | 12.0434
2020-10-01 00:15:00 | 4.642 | 235.24 | 5.062 | 244.126 | 5.237 | 252.667 | 5.361 | 249.9 | 4.938 | 889.883 | 42.571 | 16.3331
2020-10-01 00:30:00 | 5.545 | 239.3 | 6.767 | 243.122 | 7.077 | 249.7 | 7.114 | 247.267 | 4.77 | 889.558 | 43.797 | 32.254
2020-10-01 00:45:00 | 5.608 | 250.753 | 6.934 | 252.822 | 7.611 | 259.967 | 8.058 | 256.233 | 4.63 | 889.875 | 44.933 | 50.4325
2020-10-01 01:00:00 | 6.249 | 249.353 | 7.652 | 251.891 | 7.982 | 258.267 | 8.357 | 256.65 | 4.481 | 889.8 | 45.771 | 59.4076
2020-10-01 01:15:00 | 5.724 | 262.133 | 6.997 | 262.769 | 7.514 | 268.3 | 7.796 | 266.75 | 4.685 | 889.442 | 46.075 | 45.5701
2020-10-01 01:30:00 | 5.094 | 265.56 | 6.363 | 265.782 | 6.85 | 270.667 | 7.011 | 266.9 | 5.025 | 890.367 | 45.099 | 31.1775
2020-10-01 01:45:00 | 4.902 | 263.773 | 5.964 | 264.72 | 6.434 | 271.9 | 6.643 | 268.067 | 4.382 | 889.792 | 45.771 | 23.2512
2020-10-01 02:00:00 | 4.271 | 255.22 | 5.509 | 261.092 | 5.862 | 268.367 | 6.042 | 264.567 | 4.285 | 889.792 | 46.64 | 16.3949
2020-10-01 02:15:00 | 4.398 | 242.467 | 5.081 | 252.168 | 5.404 | 259.4 | 5.556 | 258.583 | 3.355 | 890.033 | 47.931 | 14.5567
2020-10-01 02:30:00 | 4.818 | 233.453 | 5.31 | 244.643 | 5.485 | 253.433 | 5.644 | 249.717 | 2.931 | 889.783 | 48.672 | 17.4529
2020-10-01 02:45:00 | 5.934 | 226.893 | 6.425 | 232.938 | 6.432 | 241.5 | 6.37 | 237.267 | 2.84 | 889.725 | 49.355 | 21.8535
2020-10-01 03:00:00 | 5.168 | 222.327 | 6.5 | 228.528 | 6.873 | 236.833 | 6.923 | 234.2 | 2.639 | 890.042 | 50.24 | 26.3769
2020-10-01 03:15:00 | 5.029 | 225.04 | 6.267 | 229.982 | 6.46 | 238.7 | 6.509 | 235.833 | 2.467 | 889.6 | 51.605 | 24.5892
2020-10-01 03:30:00 | 5.064 | 220.233 | 6.089 | 227.8 | 6.41 | 236.033 | 6.511 | 233.7 | 2.519 | 890.05 | 52.512 | 21.3632
2020-10-01 03:45:00 | 5.578 | 218.727 | 6.668 | 224.759 | 6.886 | 231.5 | 6.954 | 228.967 | 1.676 | 890.1 | 53.045 | 21.1003
2020-10-01 04:00:00 | 4.449 | 234.847 | 5.924 | 235.711 | 6.58 | 243.167 | 6.732 | 240.7 | 1.916 | 889.833 | 54.187 | 25.1569
2020-10-01 04:15:00 | 5.376 | 239.333 | 6.48 | 240.84 | 6.948 | 245.6 | 6.847 | 242.65 | 2.418 | 890.108 | 54.763 | 27.8862
2020-10-01 04:30:00 | 4.985 | 227.52 | 6.158 | 232.629 | 6.54 | 238.833 | 6.582 | 233.967 | 2.696 | 890.05 | 54.421 | 22.4901
2020-10-01 04:45:00 | 5.59 | 226.393 | 6.486 | 230.817 | 6.94 | 238.567 | 7.245 | 236.7 | 1.802 | 890.075 | 55.979 | 27.3042
2020-10-01 05:00:00 | 6.027 | 231.027 | 7.293 | 233.011 | 7.743 | 239.7 | 8.048 | 236.167 | 1.746 | 890.367 | 57.205 | 36.6631
2020-10-01 05:15:00 | 5.969 | 239.12 | 7.413 | 241.054 | 8.054 | 247.333 | 8.047 | 242.733 | 2.131 | 890.05 | 57.835 | 40.3843
2020-10-01 05:30:00 | 6.107 | 241.24 | 7.737 | 241.583 | 8.246 | 247.133 | 8.351 | 242.133 | 2.118 | 889.892 | 58.304 | 43.7283
2020-10-01 05:45:00 | 6.464 | 244.1 | 7.594 | 244.766 | 7.822 | 250.267 | 7.925 | 246.033 | 2.148 | 889.975 | 58.368 | 46.4618
2020-10-01 06:00:00 | 5.932 | 238.62 | 7.555 | 239.69 | 7.939 | 246.433 | 7.932 | 243.233 | 1.64 | 889.85 | 59.584 | 45.2865
2020-10-01 06:15:00 | 5.818 | 227.64 | 7.132 | 230.44 | 7.527 | 236.567 | 7.548 | 232.633 | 1.58 | 889.867 | 60.331 | 40.513
2020-10-01 06:30:00 | 6.264 | 229.387 | 7.903 | 229.25 | 8.404 | 234.8 | 8.17 | 230.5 | 1.356 | 889.7 | 60.949 | 38.5624
2020-10-01 06:45:00 | 5.615 | 213.733 | 7.516 | 217.058 | 7.962 | 221.933 | 8.016 | 218.833 | 1.239 | 889.775 | 60.512 | 35.8737
2020-10-01 07:00:00 | 6.582 | 223.367 | 8.09 | 220.179 | 8.354 | 225.2 | 8.393 | 222.033 | 0.798 | 889.775 | 61.973 | 41.0096
2020-10-01 07:15:00 | 5.509 | 224.813 | 7.359 | 226.248 | 7.922 | 231.467 | 7.967 | 226.5 | 0.888 | 889.817 | 62.069 | 43.2088
2020-10-01 07:30:00 | 5.785 | 219.22 | 7.723 | 223.181 | 8.492 | 227.967 | 8.471 | 223.667 | 1.149 | 890.158 | 62.635 | 44.5724
2020-10-01 07:45:00 | 6.221 | 229.36 | 7.852 | 231.231 | 8.581 | 235.933 | 8.591 | 231.467 | 1.443 | 889.817 | 61.589 | 44.8694
2020-10-01 08:00:00 | 5.556 | 233.627 | 7.227 | 233.585 | 7.633 | 238.067 | 7.723 | 233.467 | 1.933 | 889.783 | 59.093 | 36.403
2020-10-01 08:15:00 | 5.483 | 231.72 | 6.559 | 232.901 | 7.251 | 238.5 | 7.405 | 233.933 | 3.017 | 889.575 | 55.605 | 34.633
2020-10-01 08:30:00 | 5.374 | 236.167 | 6.478 | 235.222 | 7.019 | 241.667 | 7.066 | 237.533 | 3.554 | 890.35 | 52.459 | 35.3926
2020-10-01 08:45:00 | 4.72 | 232.973 | 5.401 | 232.664 | 5.877 | 237 | 6.153 | 233.333 | 4.557 | 889.867 | 49.664 | 24.5245
2020-10-01 09:00:00 | 5.432 | 228.933 | 5.599 | 226.519 | 5.885 | 230 | 6.074 | 225.933 | 4.785 | 889.658 | 47.456 | 19.5797
2020-10-01 09:15:00 | 5.36 | 233.52 | 5.586 | 229.64 | 5.699 | 234.333 | 5.811 | 229.833 | 5.441 | 889.9 | 45.099 | 16.1924
2020-10-01 09:30:00 | 5.12 | 225.033 | 5.291 | 224.888 | 5.479 | 229.667 | 5.431 | 226.2 | 6.095 | 889.667 | 42.507 | 15.2388
2020-10-01 09:45:00 | 5.337 | 254.34 | 5.523 | 249.869 | 5.51 | 254.567 | 5.562 | 249.017 | 6.749 | 889.717 | 39.221 | 13.4524
2020-10-01 10:00:00 | 4.467 | 272.847 | 4.966 | 272.377 | 5.13 | 276.417 | 5.101 | 272.517 | 7.456 | 889.933 | 35.885 | 11.5467
2020-10-01 10:15:00 | 4.941 | 285.347 | 5.114 | 278.984 | 5.378 | 278.967 | 5.544 | 277.3 | 6.94 | 889.583 | 35.317 | 9.1123
2020-10-01 10:30:00 | 4.38 | 299.533 | 4.584 | 288.541 | 4.59 | 291.4 | 4.806 | 286 | 7.006 | 889.6 | 33.859 | 8.2184
2020-10-01 10:45:00 | 4.529 | 283.32 | 4.762 | 279.176 | 5.041 | 282.067 | 5.207 | 278.133 | 7.102 | 890.017 | 33.419 | 8.1687
2020-10-01 11:00:00 | 4.018 | 288.213 | 4.157 | 283.2 | 4.181 | 288.733 | 4.201 | 282.2 | 7.619 | 889.35 | 32.808 | 7.3927
2020-10-01 11:15:00 | 3.704 | 275.167 | 3.71 | 272.23 | 3.683 | 271.333 | 3.606 | 267.65 | 8.13 | 889.817 | 31.701 | 5.2532
2020-10-01 11:30:00 | 4.708 | 283.88 | 4.855 | 278.13 | 4.918 | 279.233 | 5.25 | 274.767 | 8.592 | 889.45 | 30.968 | 4.7643
2020-10-01 11:45:00 | 3.3 | 300.04 | 3.451 | 286.576 | 3.695 | 285.3 | 4.089 | 283.45 | 8.741 | 890.1 | 30.027 | 4.1547
2020-10-01 12:00:00 | 3.235 | 321.907 | 3.641 | 312.837 | 3.894 | 313.3 | 4.391 | 309.6 | 9.258 | 889.583 | 29.485 | 5.3811
2020-10-01 12:15:00 | 2.493 | 309.7 | 2.711 | 294.384 | 2.7 | 296.317 | 3.062 | 282.9 | 9.206 | 889.55 | 28.544 | 6.4498
2020-10-01 12:30:00 | 4.327 | 264.26 | 4.462 | 256.336 | 4.498 | 261.233 | 4.686 | 257.967 | 10.464 | 889.667 | 26.491 | 8.1005
2020-10-01 12:45:00 | 4.371 | 300.133 | 4.835 | 295.602 | 5.313 | 299.433 | 5.444 | 298.2 | 10.407 | 889.817 | 25.696 | 9.0214
2020-10-01 13:00:00 | 5.686 | 298 | 6.074 | 292.964 | 6.213 | 293.3 | 6.076 | 291.2 | 10.287 | 889.783 | 24.808 | 9.8804
2020-10-01 13:15:00 | 5.045 | 287.467 | 5.35 | 283.77 | 5.563 | 289.7 | 5.869 | 291.567 | 11.045 | 889.783 | 23.744 | 10.8035
2020-10-01 13:30:00 | 5.627 | 299.4 | 6.097 | 295.617 | 6.089 | 300.933 | 6.39 | 298.233 | 10.745 | 889.717 | 23.672 | 10.2599
2020-10-01 13:45:00 | 5.733 | 322.973 | 6.009 | 312.492 | 5.818 | 314.367 | 5.936 | 311 | 11.349 | 889.8 | 21.973 | 11.5034
2020-10-01 14:00:00 | 6.614 | 313.987 | 6.859 | 307.028 | 7.01 | 310 | 7.502 | 308.867 | 11.39 | 889.65 | 20.547 | 14.5162
2020-10-01 14:15:00 | 5.656 | 300.413 | 5.844 | 292.158 | 6.014 | 292.733 | 6.071 | 288.067 | 11.524 | 889.6 | 19.879 | 17.1026
2020-10-01 14:30:00 | 7.112 | 315.867 | 7.533 | 307.078 | 7.701 | 312.867 | 7.629 | 311.933 | 11.857 | 888.967 | 19.393 | 15.4832
2020-10-01 14:45:00 | 5.733 | 292.387 | 6.236 | 288.299 | 6.457 | 291.2 | 6.895 | 292.433 | 12.459 | 889.6 | 18.18 | 21.7242
2020-10-01 15:00:00 | 5.094 | 303.28 | 5.589 | 298.986 | 5.73 | 305.633 | 6.088 | 304.167 | 12.474 | 889.433 | 17.443 | 17.5631
2020-10-01 15:15:00 | 5.257 | 293.527 | 5.746 | 292.921 | 5.678 | 299.467 | 6.16 | 297.767 | 11.999 | 889.4 | 19.116 | 21.3888
2020-10-01 15:30:00 | 7.59 | 291.933 | 8.127 | 284.353 | 7.983 | 289.267 | 8.424 | 288.933 | 12.807 | 889.533 | 18.707 | 30.8251
2020-10-01 15:45:00 | 6.884 | 279.433 | 7.477 | 273.772 | 7.629 | 279.367 | 7.701 | 276.433 | 13.076 | 889 | 17.908 | 35.8779
2020-10-01 16:00:00 | 7.912 | 304.173 | 8.497 | 299.543 | 9.132 | 304.867 | 9.406 | 300.533 | 12.659 | 889.833 | 18.219 | 38.6591
2020-10-01 16:15:00 | 9.982 | 288.147 | 10.766 | 278.866 | 11.181 | 283.1 | 11.427 | 280.133 | 12.862 | 889.633 | 18.463 | 50.6257
2020-10-01 16:30:00 | 9.129 | 279.613 | 9.162 | 275.898 | 9.468 | 284.233 | 9.777 | 282.35 | 12.366 | 889.2 | 18.537 | 60.2568
2020-10-01 16:45:00 | 9.294 | 303.2 | 9.885 | 296.956 | 10.03 | 301.033 | 10.489 | 297.167 | 12.453 | 889.333 | 18.448 | 64.6971
2020-10-01 17:00:00 | 8.526 | 309.92 | 9.306 | 305.718 | 9.959 | 308.567 | 10.476 | 306 | 11.97 | 889.633 | 19.449 | 68.3366
2020-10-01 17:15:00 | 9.527 | 292.96 | 9.997 | 289.813 | 10.356 | 293 | 10.9 | 290.333 | 12.09 | 889.45 | 20.608 | 75.3435
2020-10-01 17:30:00 | 9.297 | 284.307 | 9.746 | 277.799 | 10.017 | 282.433 | 10.297 | 279.6 | 11.553 | 889.717 | 20.397 | 79.4818
2020-10-01 17:45:00 | 10.25 | 292.16 | 11.132 | 284.922 | 11.392 | 287.933 | 11.683 | 288.067 | 11.461 | 889.883 | 21.416 | 78.8622
2020-10-01 18:00:00 | 10.249 | 282.72 | 11.071 | 276.689 | 11.437 | 280.033 | 11.724 | 276.1 | 11.24 | 889.567 | 20.152 | 78.5418
2020-10-01 18:15:00 | 10.317 | 283.2 | 11.385 | 278.79 | 11.685 | 281.267 | 12.227 | 279.2 | 11.361 | 889.3 | 21.272 | 74.8376
2020-10-01 18:30:00 | 12.189 | 283.2 | 13.364 | 277.166 | 13.835 | 281.5 | 13.984 | 279.367 | 10.878 | 889.8 | 21.055 | 75.7429
2020-10-01 18:45:00 | 10.833 | 286.12 | 11.803 | 282.222 | 12.473 | 283.6 | 12.716 | 281.833 | 10.486 | 890.25 | 21.325 | 75.0167
2020-10-01 19:00:00 | 10.278 | 287 | 11.413 | 282.387 | 11.946 | 284.733 | 12.471 | 282.1 | 10.314 | 889.533 | 22.283 | 74.0815
2020-10-01 19:15:00 | 9.752 | 282.413 | 10.81 | 278.471 | 11.231 | 281.533 | 11.638 | 278.767 | 9.654 | 889.417 | 23.373 | 74.6308
2020-10-01 19:30:00 | 8.644 | 275.893 | 10.074 | 273.324 | 10.978 | 276.067 | 11.721 | 274.667 | 9.337 | 890.133 | 23.851 | 74.7552
2020-10-01 19:45:00 | 10.174 | 281.84 | 11.648 | 278.275 | 12.318 | 281.8 | 12.927 | 279.8 | 9.02 | 889.467 | 25.901 | 75.4181
2020-10-01 20:00:00 | 10.548 | 282.733 | 11.936 | 278.325 | 12.468 | 281.367 | 12.982 | 278.1 | 8.591 | 889.45 | 25.107 | 76.8321
2020-10-01 20:15:00 | 10.58 | 281.76 | 12.186 | 276.217 | 13.153 | 280.767 | 14.065 | 277.433 | 8.217 | 889.383 | 26.573 | 77.66
2020-10-01 20:30:00 | 10.772 | 280.64 | 12.83 | 274.031 | 13.505 | 277.367 | 14.122 | 276.3 | 7.812 | 889.983 | 27.525 | 77.7474
2020-10-01 20:45:00 | 9.987 | 279.573 | 11.373 | 272.991 | 12.338 | 275.367 | 13 | 273.4 | 7.696 | 889.783 | 27.675 | 78.2071
2020-10-01 21:00:00 | 9.893 | 280.133 | 11.903 | 273.448 | 12.643 | 277.2 | 13.339 | 272.333 | 7.489 | 889.75 | 27.896 | 78.7585
2020-10-01 21:15:00 | 10.236 | 275.733 | 11.935 | 271.077 | 12.894 | 274.867 | 13.636 | 271.433 | 7.089 | 889.9 | 27.96 | 78.2824
2020-10-01 21:30:00 | 10.876 | 272.867 | 12.395 | 266.972 | 13.443 | 270.333 | 14.182 | 266.6 | 7.056 | 889.667 | 28.523 | 78.1929
2020-10-01 21:45:00 | 11.225 | 271.733 | 12.864 | 264.617 | 13.71 | 269.333 | 14.044 | 264.3 | 6.906 | 889.917 | 28.629 | 78.1872
2020-10-01 22:00:00 | 10.882 | 267.087 | 12.626 | 261.632 | 13.61 | 264.983 | 14.078 | 261.117 | 6.811 | 889.717 | 30.712 | 78.2043
2020-10-01 22:15:00 | 11.179 | 265.087 | 12.424 | 257.223 | 13.281 | 262.1 | 13.585 | 257.767 | 6.87 | 890.1 | 33.499 | 77.849
2020-10-01 22:30:00 | 9.606 | 262.107 | 11.496 | 259.435 | 12.72 | 263.133 | 12.961 | 258.117 | 6.724 | 889.667 | 35.84 | 78.5148
2020-10-01 22:45:00 | 10.174 | 268.92 | 11.903 | 262.38 | 12.705 | 266.667 | 13.296 | 260.417 | 6.352 | 889.683 | 37.733 | 78.6142
2020-10-01 23:00:00 | 10.219 | 263.367 | 11.911 | 259.274 | 12.962 | 264 | 13.462 | 259.85 | 6.176 | 889.083 | 39.211 | 78.4807
2020-10-01 23:15:00 | 11.925 | 263.207 | 13.778 | 260.363 | 14.785 | 263.867 | 14.892 | 259.867 | 5.845 | 889.767 | 41.264 | 77.5022
2020-10-01 23:30:00 | 10.998 | 261.52 | 12.736 | 258.828 | 13.45 | 262.733 | 13.711 | 259.05 | 6.077 | 889.933 | 42.885 | 77.1739
2020-10-01 23:45:00 | 9.213 | 260.38 | 11.039 | 255.63 | 11.967 | 260.833 | 12.188 | 255.6 | 5.723 | 890.125 | 44.107 | 77.0808