## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-02 00:00:00 | 6.683 | 248.647 | 7.899 | 247.523 | 8.471 | 251.55 | 8.81 | 246.417 | 5.617 | 890.258 | 44.869 | 78.7528
2020-10-02 00:15:00 | 7.778 | 257.107 | 9.285 | 253.214 | 9.905 | 258.4 | 10.377 | 254.667 | 5.247 | 889.9 | 45.963 | 79.1138
2020-10-02 00:30:00 | 10.237 | 260.3 | 11.906 | 257.681 | 12.51 | 262.083 | 12.559 | 257.717 | 5.222 | 889.933 | 46.491 | 76.9458
2020-10-02 00:45:00 | 10.038 | 260.953 | 11.529 | 257.882 | 12.122 | 261.55 | 12.598 | 258.867 | 4.655 | 889.942 | 46.923 | 75.7834
2020-10-02 01:00:00 | 10.334 | 267.233 | 11.948 | 263.667 | 12.749 | 267.867 | 13.632 | 262.5 | 4.597 | 890.2 | 47.408 | 75.6931
2020-10-02 01:15:00 | 11.9 | 263.873 | 13.85 | 259.858 | 14.975 | 264.7 | 15.224 | 260.483 | 4.61 | 889.317 | 48.32 | 71.8504
2020-10-02 01:30:00 | 10.348 | 269.647 | 11.846 | 263.653 | 13.12 | 267.9 | 13.888 | 263.05 | 4.551 | 889.967 | 49.003 | 69.9183
2020-10-02 01:45:00 | 11.523 | 268.133 | 13.405 | 264.192 | 13.986 | 267 | 14.481 | 262.433 | 4.008 | 889.3 | 49.744 | 69.8089
2020-10-02 02:00:00 | 9.497 | 270.973 | 11.076 | 264.985 | 11.703 | 269.633 | 12.315 | 263.85 | 4.265 | 889.592 | 50.464 | 71.1391
2020-10-02 02:15:00 | 7.675 | 263.26 | 8.838 | 262.087 | 9.753 | 267.733 | 10.166 | 260.733 | 3.93 | 889.817 | 51.045 | 73.3475
2020-10-02 02:30:00 | 8.353 | 265.8 | 9.877 | 263.845 | 10.715 | 266.9 | 11.306 | 262.533 | 3.722 | 890.3 | 52.187 | 62.9477
2020-10-02 02:45:00 | 10.374 | 264.433 | 11.774 | 262.14 | 12.601 | 265.1 | 12.798 | 260.683 | 3.588 | 889.917 | 52.885 | 71.4723
2020-10-02 03:00:00 | 10.138 | 268.333 | 11.828 | 263.787 | 12.678 | 269.033 | 13.057 | 262.983 | 3.337 | 889.725 | 53.392 | 87.1091
2020-10-02 03:15:00 | 13.324 | 262.2 | 14.908 | 259.658 | 15.67 | 263.133 | 16.252 | 259.117 | 3.354 | 890.083 | 54.005 | 86.7396
2020-10-02 03:30:00 | 11.651 | 267.867 | 13.686 | 262.663 | 14.579 | 266.267 | 15.094 | 260.75 | 3.421 | 889.958 | 53.947 | 85.0491
2020-10-02 03:45:00 | 11.853 | 260.433 | 14.023 | 257.034 | 14.961 | 260.2 | 15.42 | 256.217 | 3.388 | 889.933 | 55.472 | 81.6548
2020-10-02 04:00:00 | 13.094 | 268.933 | 15.348 | 262.756 | 16.31 | 266.767 | 16.915 | 261.367 | 3.221 | 889.917 | 55.813 | 79.9899
2020-10-02 04:15:00 | 13.026 | 265.433 | 14.969 | 262.154 | 15.993 | 264.7 | 16.545 | 259.717 | 3.271 | 890 | 51.749 | 80.2756
2020-10-02 04:30:00 | 12.46 | 263.433 | 14.337 | 258.452 | 15.079 | 261.367 | 15.606 | 257.967 | 3.237 | 889.95 | 46.875 | 80.2336
2020-10-02 04:45:00 | 11.704 | 261.933 | 14.396 | 261.684 | 15.475 | 264.9 | 16.621 | 258.3 | 3.304 | 889.942 | 43.061 | 79.0093
2020-10-02 05:00:00 | 13.122 | 264.233 | 15.694 | 260.067 | 16.77 | 264.533 | 17.63 | 261.433 | 3.372 | 890.325 | 43.877 | 78.4579
2020-10-02 05:15:00 | 12.519 | 270.733 | 14.51 | 265.3 | 15.293 | 268.9 | 15.911 | 265.667 | 3.121 | 889.967 | 43.408 | 78.4487
2020-10-02 05:30:00 | 11.591 | 262.567 | 13.442 | 261.477 | 14.82 | 265.967 | 15.453 | 261.583 | 3.371 | 889.992 | 42.997 | 77.9854
2020-10-02 05:45:00 | 11.772 | 260 | 13.714 | 258.139 | 14.774 | 263.367 | 15.921 | 258.367 | 3.204 | 889.642 | 44.021 | 78.5325
2020-10-02 06:00:00 | 10.735 | 264.64 | 12.982 | 258.384 | 13.895 | 262.6 | 14.504 | 258.933 | 2.659 | 890.017 | 45.067 | 75.718
2020-10-02 06:15:00 | 11.269 | 264.127 | 13.078 | 257.77 | 14.118 | 262.95 | 14.607 | 258.05 | 2.676 | 889.758 | 47.387 | 74.4205
2020-10-02 06:30:00 | 10.116 | 258.1 | 11.274 | 255.851 | 11.857 | 260.967 | 12.172 | 258.95 | 3.304 | 890.108 | 49.893 | 76.7057
2020-10-02 06:45:00 | 9.853 | 255.807 | 11.003 | 253.564 | 11.768 | 258.767 | 12.093 | 254.617 | 2.929 | 889.308 | 51.675 | 76.1649
2020-10-02 07:00:00 | 7.707 | 250.507 | 9.337 | 247.792 | 9.892 | 252.433 | 10.047 | 247.217 | 2.702 | 890.192 | 53.301 | 76.4115
2020-10-02 07:15:00 | 7.373 | 247.58 | 8.638 | 245.914 | 9.39 | 250.65 | 9.748 | 246.517 | 2.37 | 889.758 | 54.421 | 78.3201
2020-10-02 07:30:00 | 7.619 | 243.627 | 9.024 | 241.464 | 10.087 | 247.433 | 9.994 | 243.667 | 2.74 | 889.908 | 54.069 | 76.9721
2020-10-02 07:45:00 | 8.53 | 248.693 | 9.761 | 243.679 | 10.61 | 248.267 | 11.026 | 243.133 | 2.76 | 889.658 | 52.16 | 72.8089
2020-10-02 08:00:00 | 7.623 | 243.9 | 8.973 | 243.207 | 9.77 | 249.133 | 10.028 | 244.967 | 3.438 | 890.483 | 48.256 | 61.8179
2020-10-02 08:15:00 | 6.3 | 247.087 | 7.511 | 244.119 | 8.403 | 248.667 | 8.531 | 245.2 | 4.067 | 890.025 | 45.824 | 53.2094
2020-10-02 08:30:00 | 6.546 | 243.08 | 7.541 | 241.906 | 7.959 | 249.167 | 8.212 | 246.417 | 4.54 | 890.058 | 43.867 | 56.586
2020-10-02 08:45:00 | 8.766 | 255.133 | 9.851 | 251.433 | 10.326 | 257.133 | 10.465 | 252.517 | 5.319 | 889.85 | 41.979 | 70.4527
2020-10-02 09:00:00 | 8.752 | 259.533 | 9.608 | 253.704 | 10.286 | 257.6 | 10.132 | 253.75 | 5.61 | 889.575 | 41.021 | 72.9759
2020-10-02 09:15:00 | 8.671 | 264.773 | 9.362 | 258.423 | 9.629 | 262.117 | 9.541 | 258.3 | 5.435 | 889.8 | 41.653 | 65.7118
2020-10-02 09:30:00 | 8.928 | 265.327 | 9.926 | 259.481 | 10.093 | 263.933 | 9.786 | 259.267 | 6.223 | 889.408 | 40.752 | 64.3503
2020-10-02 09:45:00 | 8.51 | 273.307 | 9.248 | 267.347 | 9.213 | 269.8 | 9.114 | 264.017 | 5.912 | 889.667 | 40.429 | 64.4562
2020-10-02 10:00:00 | 9.625 | 276.413 | 10.322 | 269.639 | 10.511 | 272.233 | 10.363 | 269.033 | 6.168 | 889.333 | 39.725 | 67.1464
2020-10-02 10:15:00 | 9.107 | 283.173 | 9.57 | 276.086 | 9.671 | 278.867 | 9.751 | 275.9 | 6.784 | 889.7 | 37.899 | 64.1961
2020-10-02 10:30:00 | 8.052 | 279.667 | 8.59 | 275.069 | 8.632 | 277.3 | 8.776 | 274.9 | 7.056 | 889.633 | 37.091 | 57.8863
2020-10-02 10:45:00 | 8.419 | 279.933 | 8.852 | 274.682 | 8.948 | 279.767 | 8.963 | 276 | 7.539 | 889.433 | 36.088 | 53.4751
2020-10-02 11:00:00 | 7.275 | 284.187 | 7.731 | 278.369 | 7.706 | 283.1 | 7.615 | 278.167 | 7.759 | 889.65 | 35.264 | 40.6188
2020-10-02 11:15:00 | 7.077 | 281.213 | 7.302 | 275.774 | 7.645 | 278.733 | 7.761 | 275.1 | 7.819 | 889.483 | 34.496 | 36.8045
2020-10-02 11:30:00 | 7.674 | 286.873 | 8.08 | 277.974 | 8.745 | 281.833 | 8.979 | 279.65 | 8.103 | 890.167 | 33.917 | 31.4468
2020-10-02 11:45:00 | 6.378 | 290.667 | 6.571 | 285.964 | 6.736 | 293.533 | 7.068 | 291.033 | 8.608 | 889.733 | 32.971 | 30.1863
2020-10-02 12:00:00 | 6.687 | 294.36 | 6.848 | 286.951 | 7.328 | 295.867 | 7.51 | 293.233 | 8.841 | 889.883 | 32.219 | 30.7285
2020-10-02 12:15:00 | 7.027 | 288.213 | 7.338 | 285.007 | 7.552 | 289.667 | 7.621 | 288.7 | 9.349 | 889.733 | 30.213 | 34.9435
2020-10-02 12:30:00 | 7.528 | 317.493 | 7.676 | 311.648 | 8.122 | 316.433 | 8.412 | 315 | 9.149 | 890.117 | 30.6 | 33.6801
2020-10-02 12:45:00 | 7.046 | 319.827 | 7.684 | 316.388 | 7.88 | 317.8 | 8.378 | 314.6 | 9.508 | 889.733 | 30.317 | 33.1835
2020-10-02 13:00:00 | 6.134 | 295.52 | 6.649 | 290.602 | 7.069 | 293.867 | 7.36 | 291.6 | 9.574 | 889.817 | 29.715 | 37.6693
2020-10-02 13:15:00 | 7.171 | 314.613 | 7.23 | 311.953 | 7.607 | 315.7 | 7.993 | 313.533 | 9.954 | 890.233 | 30.149 | 37.9677
2020-10-02 13:30:00 | 6.769 | 320.12 | 6.917 | 316.865 | 7.185 | 300.833 | 7.633 | 319.833 | 9.956 | 889.917 | 30.235 | 33.7896
2020-10-02 13:45:00 | 6.347 | 300.893 | 6.352 | 329.19 | 6.892 | 332.233 | 7.003 | 330.1 | 10.422 | 889.45 | 30.013 | 34.1704
2020-10-02 14:00:00 | 6.473 | 315.84 | 6.527 | 310.351 | 6.737 | 315.767 | 7.364 | 316.033 | 10.028 | 890.1 | 29.08 | 31.935
2020-10-02 14:15:00 | 7.36 | 312.013 | 7.71 | 306.027 | 8.217 | 311.567 | 8.507 | 307.7 | 10.351 | 889.9 | 27.699 | 29.539
2020-10-02 14:30:00 | 5.762 | 312.24 | 5.744 | 308.051 | 5.757 | 310.3 | 6.012 | 309.367 | 10.272 | 889.567 | 27.411 | 25.817
2020-10-02 14:45:00 | 4.946 | 327.307 | 5.345 | 331.918 | 5.574 | 334.7 | 5.946 | 322.167 | 10.495 | 889.967 | 26.779 | 21.7156
2020-10-02 15:00:00 | 5.315 | 326.373 | 5.878 | 316.067 | 6.242 | 320.4 | 7.001 | 319.567 | 10.636 | 889.683 | 26.744 | 22.223
2020-10-02 15:15:00 | 6.332 | 333.067 | 6.476 | 326.145 | 6.622 | 329.533 | 6.726 | 329.267 | 11.011 | 889.817 | 26.515 | 29.0849
2020-10-02 15:30:00 | 6.986 | 319.027 | 6.968 | 311.978 | 7.202 | 311.967 | 7.553 | 310.133 | 11.126 | 889.733 | 25.837 | 20.1176
2020-10-02 15:45:00 | 5.554 | 332.267 | 5.563 | 325.112 | 5.712 | 324.9 | 5.718 | 323.733 | 10.995 | 889.817 | 26.459 | 25.5307
2020-10-02 16:00:00 | 5.085 | 295.907 | 5.015 | 297.806 | 5.17 | 304.4 | 5.29 | 302.967 | 11.486 | 889.783 | 26.728 | 20.4629
2020-10-02 16:15:00 | 5.775 | 299.24 | 6.245 | 327.805 | 6.311 | 326.267 | 6.885 | 323.7 | 11.499 | 889.8 | 26.757 | 22.0468
2020-10-02 16:30:00 | 6.544 | 327.707 | 6.821 | 319.085 | 7.252 | 323.267 | 7.478 | 320.8 | 11.69 | 889.867 | 26.725 | 24.8315
2020-10-02 16:45:00 | 7.251 | 323.96 | 7.547 | 316.56 | 7.42 | 321.467 | 7.612 | 318.1 | 11.295 | 889.817 | 26.856 | 25.6976
2020-10-02 17:00:00 | 5.914 | 311.88 | 6.25 | 304.427 | 6.484 | 308.5 | 6.645 | 305.767 | 11.745 | 889.683 | 26.429 | 22.5619
2020-10-02 17:15:00 | 6.802 | 326.627 | 7.076 | 319.354 | 7.41 | 320.833 | 7.818 | 317.633 | 11.666 | 889.633 | 26.357 | 21.8165
2020-10-02 17:30:00 | 4.007 | 325 | 4.184 | 315.344 | 4.34 | 315.433 | 4.674 | 311.833 | 11.411 | 889.75 | 26.539 | 22.0936
2020-10-02 17:45:00 | 4.786 | 316.413 | 5.022 | 309.599 | 5.189 | 317.4 | 5.464 | 317.567 | 11.899 | 889.517 | 25.915 | 15.9167
2020-10-02 18:00:00 | 5.985 | 323.467 | 6.392 | 316.412 | 6.38 | 319.1 | 6.498 | 313.633 | 11.432 | 889.967 | 26.157 | 14.6654
2020-10-02 18:15:00 | 4.462 | 311.053 | 4.823 | 306.058 | 4.783 | 309.433 | 5.037 | 306.467 | 11.936 | 889.45 | 26.12 | 13.5498
2020-10-02 18:30:00 | 5.066 | 309.533 | 5.243 | 303.588 | 5.241 | 308.3 | 5.448 | 304.167 | 11.466 | 889.867 | 24.891 | 14.4394
2020-10-02 18:45:00 | 4.707 | 319.32 | 4.871 | 315.052 | 4.962 | 320.467 | 5.353 | 319.867 | 11.578 | 889.2 | 24.733 | 12.2758
2020-10-02 19:00:00 | 3.987 | 321.8 | 4.032 | 317.672 | 4.35 | 321.7 | 4.551 | 318.8 | 11.482 | 889.767 | 25.336 | 11.158
2020-10-02 19:15:00 | 4.148 | 325.733 | 4.437 | 319.82 | 4.925 | 321.6 | 5.165 | 321.2 | 11.145 | 890.05 | 26.499 | 10.6336
2020-10-02 19:30:00 | 4.2 | 326.987 | 4.599 | 319.098 | 5.089 | 321.7 | 5.28 | 321.133 | 10.514 | 889.867 | 27.229 | 8.9659
2020-10-02 19:45:00 | 3.508 | 319.227 | 4.183 | 312.812 | 4.631 | 315.3 | 5.076 | 313.4 | 9.974 | 889.467 | 27.712 | 8.0195
2020-10-02 20:00:00 | 3.317 | 309 | 3.944 | 308.648 | 4.539 | 312.6 | 5.043 | 311.533 | 10.137 | 890.05 | 27.928 | 7.9655
2020-10-02 20:15:00 | 3.297 | 303.747 | 4.004 | 304.496 | 4.296 | 310.4 | 4.788 | 307.167 | 9.483 | 889.35 | 28.107 | 8.47
2020-10-02 20:30:00 | 3.446 | 294.333 | 4.795 | 297.703 | 5.042 | 303.833 | 5.576 | 302.067 | 9.204 | 890.317 | 28.587 | 9.3617
2020-10-02 20:45:00 | 4.281 | 288.027 | 4.992 | 291.012 | 5.297 | 296.267 | 5.863 | 293.467 | 8.774 | 890.283 | 29.285 | 11.254
2020-10-02 21:00:00 | 3.815 | 274.987 | 4.264 | 281.568 | 4.667 | 285.267 | 5.378 | 284.567 | 8.722 | 889.633 | 30.011 | 10.5747
2020-10-02 21:15:00 | 4.042 | 264.567 | 4.556 | 276.216 | 5.045 | 281.433 | 5.448 | 279.567 | 7.542 | 889.683 | 31.392 | 8.7769
2020-10-02 21:30:00 | 4.536 | 265 | 5.282 | 271.72 | 5.564 | 278.8 | 5.852 | 276.4 | 7.072 | 889.75 | 33.437 | 10.5135
2020-10-02 21:45:00 | 4.355 | 270.333 | 4.93 | 273.758 | 5.212 | 279.367 | 5.544 | 276.933 | 6.823 | 889.767 | 35.011 | 12.8662
2020-10-02 22:00:00 | 4.272 | 263.76 | 4.945 | 269.79 | 5.248 | 277.5 | 5.559 | 273.4 | 6.996 | 889.8 | 35.325 | 12.6659
2020-10-02 22:15:00 | 5.124 | 263.747 | 5.685 | 266.228 | 6.143 | 272.2 | 6.458 | 266.967 | 6.164 | 889.917 | 36.331 | 14.6576
2020-10-02 22:30:00 | 5.143 | 259.32 | 5.258 | 263.69 | 5.632 | 271.133 | 5.96 | 266.3 | 6.489 | 890.017 | 36.4 | 16.4468
2020-10-02 22:45:00 | 4.888 | 251.713 | 5.265 | 260.15 | 5.715 | 266.467 | 5.986 | 263.9 | 5.297 | 890.233 | 36.896 | 12.0484
2020-10-02 23:00:00 | 4.513 | 228.733 | 5.176 | 248.831 | 5.561 | 257.767 | 5.769 | 255.067 | 5.067 | 890.267 | 38.704 | 11.0088
2020-10-02 23:15:00 | 4.642 | 221.767 | 5.572 | 236.424 | 5.874 | 246.333 | 5.546 | 243.833 | 4.008 | 889.742 | 41.237 | 11.3975
2020-10-02 23:30:00 | 4.416 | 233.493 | 5.708 | 238.665 | 5.853 | 249.5 | 5.495 | 247.1 | 4.468 | 889.917 | 42.197 | 12.8016
2020-10-02 23:45:00 | 4.83 | 238.373 | 5.56 | 245.079 | 5.194 | 253.433 | 5.066 | 251.15 | 4.656 | 889.558 | 42.603 | 11.0998