## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-03 00:00:00 | 4.818 | 228.84 | 5.41 | 238.467 | 5.101 | 247.567 | 4.634 | 247.633 | 4.408 | 890.158 | 42.475 | 9.1649
2020-10-03 00:15:00 | 4.786 | 227.133 | 5.312 | 237.995 | 5.074 | 246.5 | 4.64 | 244.033 | 3.504 | 890.15 | 43.584 | 8.5694
2020-10-03 00:30:00 | 4.779 | 225.7 | 4.666 | 240.701 | 4.455 | 249.733 | 4.29 | 248.3 | 3.706 | 889.75 | 43.979 | 8.4962
2020-10-03 00:45:00 | 5.157 | 223.9 | 5.551 | 232.71 | 4.882 | 243 | 4.199 | 245.067 | 3.388 | 889.883 | 43.872 | 9.123
2020-10-03 01:00:00 | 5.436 | 218.7 | 6.044 | 226.403 | 5.819 | 235.967 | 5.49 | 233.667 | 3.371 | 889.75 | 43.968 | 11.2348
2020-10-03 01:15:00 | 5.472 | 217.62 | 6.871 | 220.606 | 6.298 | 228.333 | 5.971 | 228.4 | 3.1 | 889.35 | 44.427 | 13.2578
2020-10-03 01:30:00 | 5.975 | 217.533 | 7.331 | 219.217 | 6.521 | 223.667 | 6.116 | 221.267 | 2.851 | 889.8 | 44.533 | 13.52
2020-10-03 01:45:00 | 5.651 | 219.407 | 6.317 | 223.259 | 6.193 | 229.233 | 6.064 | 227.167 | 2.798 | 890.258 | 44.683 | 15.1877
2020-10-03 02:00:00 | 5.725 | 220.767 | 6.095 | 227.715 | 5.84 | 235.767 | 5.676 | 233.3 | 3.237 | 889.833 | 45.312 | 13.1043
2020-10-03 02:15:00 | 5.551 | 224.333 | 5.853 | 232.753 | 5.561 | 240.833 | 5.276 | 237.033 | 2.884 | 889.825 | 45.824 | 11.0685
2020-10-03 02:30:00 | 5.413 | 224.953 | 6.029 | 232.638 | 5.646 | 240.367 | 5.291 | 237.167 | 3.049 | 889.908 | 46.112 | 10.721
2020-10-03 02:45:00 | 5.436 | 220.72 | 5.839 | 230.977 | 5.334 | 239.667 | 4.947 | 236.6 | 2.394 | 889.592 | 46.955 | 9.1926
2020-10-03 03:00:00 | 5.574 | 224.333 | 5.576 | 232.461 | 5.156 | 239.1 | 4.793 | 237 | 2.399 | 889.792 | 47.2 | 8.6945
2020-10-03 03:15:00 | 5.702 | 224.14 | 5.675 | 233.634 | 5.228 | 241.833 | 4.906 | 239.933 | 2.283 | 889.625 | 47.381 | 8.4408
2020-10-03 03:30:00 | 5.532 | 221.393 | 5.84 | 234.579 | 5.338 | 242.9 | 5.126 | 241.733 | 2.462 | 889.492 | 47.925 | 10.5896
2020-10-03 03:45:00 | 5.784 | 224.867 | 5.758 | 236.114 | 5.294 | 245.667 | 5.016 | 244.7 | 2.23 | 889.533 | 48.501 | 9.5955
2020-10-03 04:00:00 | 5.845 | 225.453 | 5.727 | 237.607 | 5.27 | 246.633 | 4.894 | 246.933 | 2.217 | 890.042 | 48.512 | 8.9112
2020-10-03 04:15:00 | 5.12 | 224.787 | 5.907 | 235.375 | 5.319 | 246.133 | 4.918 | 245.467 | 1.439 | 890.025 | 49.205 | 8.1836
2020-10-03 04:30:00 | 4.837 | 222.433 | 5.325 | 235.115 | 4.863 | 245.067 | 4.552 | 244 | 1.739 | 890.608 | 49.888 | 6.2572
2020-10-03 04:45:00 | 5.469 | 220.567 | 5.437 | 228.649 | 4.931 | 236.567 | 4.526 | 234.467 | 1.556 | 890.2 | 50.208 | 5.45
2020-10-03 05:00:00 | 5.704 | 218.533 | 5.259 | 231.013 | 4.864 | 237.767 | 4.524 | 236.167 | 1.256 | 889.758 | 50.976 | 5.4095
2020-10-03 05:15:00 | 5.818 | 213.72 | 5.878 | 221.478 | 5.072 | 230.333 | 4.459 | 230.067 | 1.142 | 889.842 | 51.755 | 6.4221
2020-10-03 05:30:00 | 5.641 | 216.673 | 4.68 | 220.725 | 3.854 | 231.067 | 3.562 | 230.033 | 0.915 | 889.542 | 51.701 | 3.1393
2020-10-03 05:45:00 | 6.232 | 216.82 | 5.855 | 217.213 | 4.751 | 224.167 | 4.019 | 223.167 | 0.898 | 890.092 | 51.467 | 3.7845
2020-10-03 06:00:00 | 6.599 | 216.433 | 5.994 | 219.644 | 4.812 | 225.6 | 4.033 | 227.633 | 1.179 | 889.975 | 51.328 | 5.0372
2020-10-03 06:15:00 | 6.087 | 220.327 | 6.024 | 221.279 | 4.998 | 227.333 | 4.1 | 227.967 | 1.182 | 889.708 | 51.36 | 5.7797
2020-10-03 06:30:00 | 5.639 | 217.387 | 5.367 | 218.704 | 4.632 | 224.433 | 4.037 | 224.467 | 1.356 | 890 | 51.637 | 5.0429
2020-10-03 06:45:00 | 5.687 | 214.687 | 6.126 | 214.323 | 5.008 | 216.2 | 4.336 | 216.8 | 0.848 | 890.158 | 52.8 | 4.0907
2020-10-03 07:00:00 | 4.69 | 212.147 | 6.74 | 212.394 | 6.204 | 215.633 | 5.737 | 212.233 | 1.115 | 890.133 | 52.875 | 5.8572
2020-10-03 07:15:00 | 4.38 | 208.993 | 5.504 | 209.367 | 5.12 | 212 | 4.924 | 207.1 | 0.682 | 889.867 | 54.112 | 4.8553
2020-10-03 07:30:00 | 4.839 | 212.567 | 5.286 | 210.153 | 4.77 | 210.667 | 4.542 | 207 | 0.698 | 890.017 | 53.792 | 3.2516
2020-10-03 07:45:00 | 5.021 | 211.547 | 5.09 | 208.534 | 4.41 | 212 | 4.383 | 207 | 0.915 | 889.317 | 53.557 | 2.3797
2020-10-03 08:00:00 | 5.353 | 214.24 | 4.945 | 204.641 | 4.561 | 209.167 | 4.543 | 207 | 1.78 | 889.583 | 50.539 | 1.9832
2020-10-03 08:15:00 | 6.386 | 219 | 4.585 | 208.913 | 4.089 | 209.733 | 4.108 | 206.967 | 2.399 | 890.067 | 46.805 | 2.1701
2020-10-03 08:30:00 | 5.542 | 220.34 | 5.115 | 212.543 | 4.307 | 214.2 | 3.964 | 211.933 | 3.457 | 889.942 | 43.189 | 2.6618
2020-10-03 08:45:00 | 4.659 | 226.52 | 5.658 | 213.6 | 4.335 | 216.633 | 3.4 | 215.2 | 4.497 | 890.283 | 39.925 | 1.7423
2020-10-03 09:00:00 | 3.732 | 216.56 | 4.545 | 211.28 | 4.614 | 216.967 | 3.74 | 213.667 | 6.24 | 889.95 | 36.299 | 1.5533
2020-10-03 09:15:00 | 0.403 | 182.22 | 0.29 | 207.179 | 0.34 | 209.9 | 1.162 | 201.833 | 7.936 | 889.217 | 33.259 | 0.26859
2020-10-03 09:30:00 | 1.784 | 90.38 | 1.469 | 83.119 | 0.29 | 93 | 0 | 95.933 | 6.556 | 889.55 | 35.392 | 0.25296
2020-10-03 09:45:00 | 2.419 | 84.46 | 2.358 | 81.426 | 2.011 | 89.667 | 1.942 | 96 | 6.353 | 889.75 | 35.851 | 0.24159
2020-10-03 10:00:00 | 1.817 | 105.93 | 1.853 | 103.037 | 1.631 | 105.367 | 1.989 | 96 | 7.189 | 890 | 33.888 | 0.23022
2020-10-03 10:15:00 | 1.918 | 101.203 | 1.932 | 104.624 | 1.786 | 110.5 | 2.009 | 98.333 | 8.304 | 889.7 | 31.579 | 0.23022
2020-10-03 10:30:00 | 2.07 | 121.487 | 2.406 | 108.622 | 2.43 | 112.933 | 2.751 | 102.7 | 8.858 | 889.433 | 31.579 | 0.24088
2020-10-03 10:45:00 | 1.887 | 70.41 | 1.98 | 63.861 | 1.998 | 75.7 | 2.136 | 87.9 | 9.362 | 890 | 31.563 | 0.23093
2020-10-03 11:00:00 | 3.309 | 63.732 | 3.292 | 59.623 | 3.252 | 60.7 | 3.582 | 58.333 | 10.016 | 889.85 | 29.701 | 0.16983
2020-10-03 11:15:00 | 2.345 | 83.653 | 2.609 | 82.107 | 2.785 | 86.4 | 3.024 | 76.367 | 9.937 | 889.65 | 29.792 | 0.27215
2020-10-03 11:30:00 | 2.104 | 164.907 | 2.369 | 124.76 | 2.943 | 108.721 | 3.476 | 104.567 | 10.08 | 889.783 | 29.803 | 0.86405
2020-10-03 11:45:00 | 2.279 | 154.707 | 2.701 | 147.597 | 2.91 | 141.867 | 3.232 | 137.8 | 10.659 | 890.017 | 28.816 | 1.1646
2020-10-03 12:00:00 | 2.848 | 104.577 | 3.088 | 91.511 | 2.997 | 97 | 3.224 | 89.233 | 10.822 | 890.183 | 28.997 | 2.1999
2020-10-03 12:15:00 | 4.31 | 60.72 | 4.203 | 60.315 | 4.483 | 63.7 | 4.511 | 62.133 | 10.978 | 889.667 | 28.64 | 2.4259
2020-10-03 12:30:00 | 3.261 | 110.07 | 3.646 | 98.815 | 3.574 | 101.367 | 3.585 | 93.6 | 10.995 | 889.4 | 28.197 | 2.3896
2020-10-03 12:45:00 | 3.2 | 100.11 | 3.223 | 97.696 | 3.147 | 99.4 | 3.427 | 92.8 | 11.395 | 889.85 | 28.027 | 3.1677
2020-10-03 13:00:00 | 2.386 | 85.323 | 2.681 | 87.063 | 2.691 | 101.933 | 3.11 | 101.033 | 11.574 | 889.833 | 26.645 | 2.7897
2020-10-03 13:15:00 | 4.311 | 96.695 | 4.032 | 94.066 | 4.137 | 98.733 | 4.183 | 93.667 | 11.72 | 889.917 | 25.317 | 3.3091
2020-10-03 13:30:00 | 4.672 | 70.793 | 4.754 | 67.069 | 5.29 | 74.2 | 5.547 | 77.867 | 11.974 | 889.817 | 25.003 | 5.2923
2020-10-03 13:45:00 | 5.219 | 80.093 | 5.411 | 76.156 | 5.722 | 74.633 | 6.18 | 69.667 | 11.595 | 889.9 | 25.381 | 9.7298
2020-10-03 14:00:00 | 6.522 | 74.47 | 6.21 | 68.108 | 6.732 | 72.133 | 6.892 | 67.4 | 11.911 | 889.967 | 24.443 | 13.0425
2020-10-03 14:15:00 | 4.831 | 69.131 | 4.779 | 68.822 | 5.055 | 73.267 | 5.483 | 68.9 | 12.27 | 889.767 | 23.051 | 12.2097
2020-10-03 14:30:00 | 3.371 | 101.972 | 3.916 | 96.106 | 4.425 | 101 | 4.5 | 93.2 | 12.182 | 889.55 | 23.499 | 12.2232
2020-10-03 14:45:00 | 3.451 | 114.79 | 3.763 | 102.261 | 4.13 | 114.167 | 4.169 | 93.433 | 12.561 | 889.5 | 22.245 | 10.0794
2020-10-03 15:00:00 | 5.389 | 86.702 | 5.512 | 80.48 | 5.62 | 84.033 | 6.162 | 83.933 | 12.736 | 889.8 | 21.851 | 11.4288
2020-10-03 15:15:00 | 4.625 | 78.298 | 4.665 | 73.402 | 5.186 | 75.4 | 5.87 | 72.367 | 12.928 | 889.517 | 21.568 | 13.7644
2020-10-03 15:30:00 | 5.211 | 97.032 | 5.03 | 92.724 | 5.138 | 93.3 | 5.364 | 87.267 | 12.691 | 889.6 | 21.845 | 17.3627
2020-10-03 15:45:00 | 5.628 | 82.277 | 5.273 | 78.158 | 5.607 | 84.567 | 5.845 | 83 | 12.947 | 889.633 | 21.707 | 18.3198
2020-10-03 16:00:00 | 5.255 | 89.897 | 5.248 | 90.462 | 5.352 | 93.233 | 5.514 | 90.7 | 12.88 | 889.5 | 21.963 | 17.6654
2020-10-03 16:15:00 | 7.408 | 71.107 | 7.377 | 70.285 | 7.879 | 74.267 | 7.688 | 72.467 | 13.282 | 889.583 | 21.979 | 19.6664
2020-10-03 16:30:00 | 5.383 | 77.445 | 5.188 | 73.69 | 5.588 | 79.567 | 5.708 | 76.1 | 12.653 | 890.1 | 22.213 | 13.1988
2020-10-03 16:45:00 | 4.506 | 98.867 | 4.325 | 93.448 | 4.823 | 94.4 | 5.03 | 91.633 | 12.353 | 889.533 | 22.299 | 10.7395
2020-10-03 17:00:00 | 5.484 | 88.533 | 5.592 | 87.266 | 6.05 | 91 | 6.33 | 88.367 | 12.403 | 890.05 | 21.573 | 15.56
2020-10-03 17:15:00 | 5.91 | 84.787 | 5.746 | 80.981 | 5.876 | 86.167 | 6.366 | 82.167 | 12.912 | 889.45 | 20.992 | 22.0205
2020-10-03 17:30:00 | 6.976 | 87.423 | 6.54 | 84.772 | 6.052 | 87.5 | 6.22 | 85.2 | 12.639 | 889.8 | 21.237 | 29.3585
2020-10-03 17:45:00 | 6.671 | 88.877 | 6.371 | 86.867 | 6.384 | 88.967 | 6.91 | 83.467 | 12.743 | 889.533 | 20.997 | 32.5688
2020-10-03 18:00:00 | 6.296 | 91.387 | 5.646 | 87.227 | 5.419 | 95.067 | 5.771 | 89.6 | 12.036 | 889.5 | 20.219 | 31.9322
2020-10-03 18:15:00 | 6.475 | 88.107 | 6.293 | 80.522 | 6.151 | 86.333 | 6.392 | 77.3 | 12.211 | 889.5 | 20.133 | 33.9502
2020-10-03 18:30:00 | 6.435 | 85.127 | 6.612 | 79.508 | 7 | 82.8 | 7.163 | 79.9 | 11.807 | 889.5 | 20.211 | 33.0797
2020-10-03 18:45:00 | 6.031 | 86.213 | 6.199 | 82.413 | 6.333 | 86.567 | 6.522 | 81.433 | 11.545 | 889.467 | 20.301 | 32.7386
2020-10-03 19:00:00 | 6.089 | 90.533 | 5.876 | 85.529 | 5.174 | 93.233 | 5.351 | 86.033 | 11.328 | 889.583 | 20.504 | 32.8616
2020-10-03 19:15:00 | 5.616 | 87.433 | 5.615 | 83.334 | 5.238 | 89.7 | 5.285 | 83.433 | 10.761 | 889.733 | 20.645 | 31.4561
2020-10-03 19:30:00 | 5.453 | 80.647 | 5.529 | 80.768 | 5.599 | 85.267 | 5.8 | 81.833 | 10.386 | 889.85 | 21.061 | 27.5529
2020-10-03 19:45:00 | 5.002 | 86.913 | 5.129 | 84.315 | 4.404 | 91.733 | 4.482 | 84.8 | 10.032 | 889.867 | 21.68 | 25.7687
2020-10-03 20:00:00 | 4.728 | 83.56 | 5.179 | 78.673 | 5.213 | 84.7 | 5.437 | 80.567 | 10.045 | 890.017 | 21.851 | 20.3506
2020-10-03 20:15:00 | 4.698 | 84.187 | 4.899 | 81.338 | 4.788 | 87.733 | 5.105 | 81.667 | 9.087 | 890.15 | 22.539 | 18.2594
2020-10-03 20:30:00 | 5.065 | 82.38 | 5.01 | 82.802 | 5.228 | 86.233 | 5.375 | 83.067 | 9.366 | 890 | 22.709 | 20.8125
2020-10-03 20:45:00 | 4.314 | 83.667 | 4.503 | 82.786 | 4.559 | 87.9 | 4.589 | 86.3 | 8.591 | 889.667 | 23.003 | 20.4458
2020-10-03 21:00:00 | 3.462 | 76.073 | 3.901 | 75.938 | 4.068 | 82.033 | 4.354 | 80.767 | 8.878 | 889.4 | 23.243 | 10.9434
2020-10-03 21:15:00 | 3.889 | 78.967 | 3.908 | 78.317 | 3.634 | 87.4 | 3.884 | 85.367 | 8.608 | 889.717 | 23.072 | 9.8691
2020-10-03 21:30:00 | 3.562 | 80.88 | 3.931 | 78.91 | 3.679 | 88.667 | 3.898 | 84.433 | 8.787 | 889.733 | 23.195 | 9.9586
2020-10-03 21:45:00 | 3.866 | 75.603 | 4.38 | 75.313 | 4.611 | 80.867 | 4.913 | 80.233 | 8.454 | 890 | 23.248 | 8.9325
2020-10-03 22:00:00 | 3.193 | 72.68 | 3.862 | 74.739 | 4.31 | 80.6 | 4.795 | 78 | 8.527 | 889.983 | 23.253 | 7.4176
2020-10-03 22:15:00 | 2.867 | 72.157 | 3.503 | 73.667 | 4.126 | 79.5 | 4.669 | 78.633 | 8.05 | 889.867 | 23.376 | 6.4967
2020-10-03 22:30:00 | 2.903 | 71.89 | 3.478 | 71.725 | 3.908 | 79.167 | 4.601 | 77.3 | 8.447 | 889.767 | 23.392 | 6.9223
2020-10-03 22:45:00 | 2.348 | 69.735 | 3.017 | 68.575 | 3.303 | 77.467 | 3.802 | 77.9 | 8.344 | 889.85 | 23.248 | 6.7618
2020-10-03 23:00:00 | 2.29 | 67.108 | 3.18 | 69.046 | 3.605 | 76.767 | 4.35 | 74.867 | 8.25 | 889.85 | 23.211 | 6.2672
2020-10-03 23:15:00 | 2.409 | 44.783 | 3.451 | 62.346 | 4.145 | 70.767 | 4.739 | 68.733 | 7.706 | 889.617 | 23.323 | 7.8141
2020-10-03 23:30:00 | 2.148 | 67.728 | 3.186 | 65.841 | 3.473 | 77 | 4.215 | 76.767 | 7.576 | 889.633 | 23.088 | 6.9515
2020-10-03 23:45:00 | 2.777 | 65.81 | 3.736 | 70.761 | 4.322 | 78.3 | 4.986 | 75.1 | 8.23 | 889.65 | 21.728 | 9.2928