## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-04 00:00:00 | 1.907 | 29.114 | 3.119 | 61.443 | 3.683 | 71.733 | 4.11 | 72.667 | 7.8 | 889.55 | 21.963 | 6.3226
2020-10-04 00:15:00 | 1.939 | 32.333 | 2.668 | 57.143 | 3.229 | 70.1 | 3.978 | 69.833 | 6.822 | 889.85 | 22.912 | 5.4763
2020-10-04 00:30:00 | 2.114 | 41.276 | 2.882 | 61.815 | 3.548 | 70.467 | 4.015 | 70.4 | 7.456 | 889.483 | 22.357 | 4.807
2020-10-04 00:45:00 | 2.117 | 33.968 | 3.283 | 63.169 | 4.034 | 72.633 | 4.438 | 71.633 | 6.731 | 889.483 | 22.501 | 6.6481
2020-10-04 01:00:00 | 2.048 | 54.25 | 3.122 | 65.446 | 3.877 | 75.067 | 4.515 | 74.433 | 6.632 | 889.467 | 22.011 | 6.8087
2020-10-04 01:15:00 | 2.747 | 67.682 | 3.578 | 73.364 | 3.985 | 81.533 | 4.11 | 78.1 | 6.711 | 889.55 | 21.152 | 5.32
2020-10-04 01:30:00 | 1.919 | 68.39 | 2.882 | 71.032 | 2.845 | 76.933 | 3.013 | 79.733 | 7.039 | 889.417 | 20.448 | 2.8146
2020-10-04 01:45:00 | 1.017 | 34.976 | 2.613 | 64.975 | 2.655 | 71.6 | 2.96 | 74.133 | 5.728 | 889.9 | 20.859 | 1.1504
2020-10-04 02:00:00 | 1.715 | 65.43 | 1.61 | 33.31 | 2.169 | 61.708 | 2.916 | 68.933 | 6.266 | 889.567 | 20.971 | 0.18191
2020-10-04 02:15:00 | 1.18 | 142.04 | 1.224 | 47.212 | 2.463 | 78 | 2.384 | 85.267 | 5.64 | 890.083 | 21.163 | 0.40005
2020-10-04 02:30:00 | 1.538 | 299.387 | 0 | 31.062 | 0 | 61.042 | 0.403 | 79.133 | 5.644 | 889.983 | 21.264 | 0.26859
2020-10-04 02:45:00 | 1.864 | 295.867 | 0 | 27.057 | 0 | 61.054 | 0 | 79.133 | 5.912 | 889.783 | 21.04 | 0.20038
2020-10-04 03:00:00 | 2.63 | 279.04 | 2.287 | 298.294 | 1.292 | 320.2 | 0 | 79.283 | 5.673 | 889.817 | 21.669 | 0.18901
2020-10-04 03:15:00 | 3.294 | 310.987 | 3.341 | 341.946 | 3.451 | 346.233 | 3.176 | 338.667 | 5.462 | 889.9 | 21.885 | 0.22312
2020-10-04 03:30:00 | 2.17 | 17.827 | 3.32 | 33.566 | 3.926 | 43.233 | 3.437 | 32.467 | 5.24 | 889.683 | 21.803 | 0.38086
2020-10-04 03:45:00 | 0.853 | 35.826 | 2.197 | 42.069 | 1.879 | 45.2 | 2.344 | 38.333 | 5.219 | 889.783 | 22.528 | 0.24017
2020-10-04 04:00:00 | 0.848 | 328.08 | 0.213 | 17.834 | 0.643 | 27.357 | 1.532 | 39 | 4.855 | 889.733 | 22.144 | 0.21814
2020-10-04 04:15:00 | 1.83 | 292.507 | 1.424 | 319.073 | 1.187 | 0 | 1.044 | 39 | 4.828 | 889.55 | 22.269 | 0.17764
2020-10-04 04:30:00 | 0.934 | 338.427 | 1.051 | 234.221 | 1.452 | 126.758 | 2.285 | 19.267 | 5.012 | 889.9 | 22.037 | 0.18475
2020-10-04 04:45:00 | 1.898 | 278.96 | 0.98 | 307.844 | 0.277 | 338.067 | 1.064 | 24.033 | 5.008 | 890.033 | 22.112 | 0.18759
2020-10-04 05:00:00 | 2.091 | 278.8 | 1.017 | 302.806 | 0.053 | 337.467 | 0 | 24 | 5.102 | 890.017 | 21.637 | 0.19043
2020-10-04 05:15:00 | 3.331 | 256.76 | 2.593 | 277.423 | 1.95 | 278.1 | 1.892 | 298 | 5.064 | 889.55 | 22.123 | 0.22596
2020-10-04 05:30:00 | 3.493 | 274.213 | 3.23 | 285.64 | 2.732 | 282.733 | 2.578 | 298.7 | 4.358 | 889.467 | 23.085 | 0.1478
2020-10-04 05:45:00 | 2.899 | 278.32 | 3.371 | 301.969 | 2.849 | 314.867 | 2.825 | 309.2 | 4.367 | 890.017 | 24.059 | 0.36523
2020-10-04 06:00:00 | 4.003 | 287.48 | 3.687 | 300.793 | 2.95 | 311.633 | 2.778 | 307.933 | 3.893 | 889.533 | 25.387 | 0.43629
2020-10-04 06:15:00 | 3.834 | 303.32 | 4.121 | 313.066 | 3.896 | 320.067 | 3.48 | 320.467 | 4.102 | 889.967 | 25.267 | 1.0452
2020-10-04 06:30:00 | 2.232 | 248.833 | 2.89 | 285.852 | 2.736 | 293.533 | 2.866 | 294.533 | 3.739 | 889.333 | 25.581 | 0.25012
2020-10-04 06:45:00 | 2.306 | 266.667 | 2.73 | 295.759 | 2.408 | 300.867 | 2.591 | 294.067 | 3.605 | 889.483 | 25.448 | 0.20891
2020-10-04 07:00:00 | 2.795 | 254.633 | 2.804 | 276.563 | 2.877 | 295.8 | 2.927 | 304.433 | 3.154 | 889.5 | 26.624 | 0.16911
2020-10-04 07:15:00 | 2.421 | 278.6 | 2.371 | 284.757 | 2.187 | 293.6 | 2.749 | 302.067 | 3.504 | 889.967 | 25.707 | 0.30483
2020-10-04 07:30:00 | 3.054 | 263.267 | 3.182 | 269.135 | 2.985 | 275.533 | 3.296 | 275.233 | 3.588 | 890.1 | 25.917 | 0.13927
2020-10-04 07:45:00 | 3.384 | 260.333 | 3.457 | 264.724 | 2.812 | 268.967 | 3.081 | 273.1 | 3.019 | 889.383 | 26.667 | 0.11369
2020-10-04 08:00:00 | 2.915 | 243.66 | 2.876 | 265.724 | 2.261 | 274.2 | 2.425 | 273.667 | 2.466 | 890.1 | 27.573 | 0.21033
2020-10-04 08:15:00 | 3.466 | 260.787 | 3.084 | 276.542 | 2.957 | 282.067 | 2.9 | 274.067 | 2.364 | 890.017 | 27.827 | 0.23449
2020-10-04 08:30:00 | 2.836 | 242.427 | 2.605 | 266.817 | 2.17 | 278 | 2.276 | 274.933 | 2.451 | 890.083 | 27.621 | 0.25154
2020-10-04 08:45:00 | 2.104 | 262.613 | 2.37 | 291.023 | 2.444 | 301.967 | 2.966 | 298.633 | 4.424 | 890.333 | 25.539 | 0.2558
2020-10-04 09:00:00 | 1.624 | 275.72 | 2.313 | 289.133 | 1.942 | 300.267 | 1.838 | 298.067 | 4.799 | 889.95 | 24.117 | 0.24017
2020-10-04 09:15:00 | 1.559 | 275.44 | 1.557 | 283.218 | 1.34 | 305.367 | 1.426 | 298.067 | 4.463 | 889.617 | 23.069 | 0.2288
2020-10-04 09:30:00 | 2.647 | 280.76 | 2.53 | 272.906 | 2.387 | 274.1 | 2.493 | 270.567 | 5.224 | 889.9 | 21.629 | 0.24017
2020-10-04 09:45:00 | 2.347 | 302.64 | 2.41 | 293.239 | 2.212 | 294.967 | 2.46 | 292 | 5.458 | 889.767 | 20.527 | 0.25438
2020-10-04 10:00:00 | 2.516 | 304.2 | 2.423 | 296.389 | 2.188 | 304.933 | 2.581 | 307.267 | 5.912 | 889.6 | 19.739 | 0.23662
2020-10-04 10:15:00 | 2.406 | 308.413 | 2.444 | 307.258 | 2.237 | 314.233 | 2.408 | 314.6 | 6.943 | 889.567 | 18.739 | 0.25367
2020-10-04 10:30:00 | 2.717 | 255.523 | 2.937 | 300.344 | 2.868 | 315.167 | 3.275 | 327.767 | 7.022 | 889.567 | 18.536 | 0.17125
2020-10-04 10:45:00 | 2.923 | 159.229 | 3.055 | 274.565 | 2.822 | 276.967 | 2.971 | 326.367 | 7.389 | 889.433 | 18.631 | 0.40929
2020-10-04 11:00:00 | 2.612 | 235.004 | 2.807 | 270.397 | 2.509 | 130 | 2.418 | 60.6 | 7.489 | 889.267 | 18.135 | 0.42421
2020-10-04 11:15:00 | 2.881 | 108.776 | 2.873 | 167.621 | 2.976 | 120.234 | 3.344 | 120.034 | 8.18 | 889.067 | 17.803 | 0.72123
2020-10-04 11:30:00 | 3.108 | 59.237 | 3.23 | 28.126 | 3.621 | 35.975 | 3.869 | 30.667 | 8.451 | 889.633 | 17.333 | 0.81218
2020-10-04 11:45:00 | 3.62 | 79.383 | 3.648 | 71.095 | 4.194 | 75.767 | 4.336 | 67.433 | 9.466 | 889.467 | 17.056 | 2.6589
2020-10-04 12:00:00 | 3.648 | 55.432 | 3.364 | 54.138 | 3.328 | 64.633 | 3.647 | 62.9 | 10.01 | 889.433 | 16.763 | 4.5498
2020-10-04 12:15:00 | 3.886 | 73.597 | 4.035 | 66.973 | 4.316 | 70.767 | 4.717 | 67.833 | 10.008 | 889.6 | 17.387 | 5.0273
2020-10-04 12:30:00 | 4.157 | 70.198 | 4.109 | 68.142 | 4.242 | 75.933 | 4.551 | 73.633 | 10.895 | 889.433 | 16.693 | 4.8503
2020-10-04 12:45:00 | 4.186 | 109.11 | 4.106 | 103.021 | 4.172 | 106.4 | 4.198 | 97.667 | 11.045 | 889.533 | 17.163 | 3.7113
2020-10-04 13:00:00 | 2.895 | 74.942 | 3.144 | 79.376 | 3.24 | 88.367 | 3.661 | 84.267 | 11.928 | 889.8 | 16.363 | 3.0476
2020-10-04 13:15:00 | 4.506 | 93.05 | 4.754 | 82.504 | 4.989 | 83.733 | 5.32 | 80.067 | 12.432 | 889.733 | 16.603 | 4.8816
2020-10-04 13:30:00 | 5.874 | 67.25 | 6.086 | 61.902 | 6.377 | 65.7 | 6.651 | 65.133 | 12.743 | 889.6 | 16.664 | 10.2748
2020-10-04 13:45:00 | 6.108 | 71.965 | 5.96 | 66.046 | 6.301 | 71.433 | 6.515 | 67.933 | 12.388 | 889.7 | 16.699 | 16.3025
2020-10-04 14:00:00 | 6.348 | 71.105 | 6.433 | 68.926 | 6.608 | 71.733 | 7.097 | 70.1 | 12.557 | 889.333 | 16.907 | 20.0628
2020-10-04 14:15:00 | 5.982 | 69.432 | 5.967 | 65.774 | 6.303 | 70.2 | 6.476 | 69.467 | 12.795 | 889.7 | 16.899 | 21.3071
2020-10-04 14:30:00 | 5.302 | 68.592 | 5.526 | 66.707 | 5.876 | 72.633 | 6.145 | 67.667 | 12.793 | 889.533 | 16.933 | 20.4544
2020-10-04 14:45:00 | 5.873 | 75.913 | 5.728 | 69.006 | 5.85 | 74 | 6.077 | 68.433 | 13.193 | 889.8 | 16.899 | 20.47
2020-10-04 15:00:00 | 5.777 | 89.958 | 5.782 | 84.975 | 5.95 | 86.933 | 6.15 | 81.667 | 13.474 | 889.367 | 18.149 | 20.1474
2020-10-04 15:15:00 | 5.67 | 75.818 | 5.375 | 71.273 | 5.461 | 74.933 | 5.773 | 67.033 | 12.818 | 889.3 | 18.301 | 21.0186
2020-10-04 15:30:00 | 5.746 | 77.937 | 5.581 | 74.512 | 5.617 | 80.333 | 5.833 | 73.9 | 13.226 | 889.533 | 18.584 | 17.2909
2020-10-04 15:45:00 | 5.143 | 78.907 | 4.885 | 76.712 | 5.145 | 79.1 | 5.499 | 74.4 | 13.758 | 889.367 | 18.848 | 16.628
2020-10-04 16:00:00 | 5.184 | 68.478 | 5.252 | 68.824 | 5.325 | 74.467 | 5.561 | 70.733 | 13.339 | 889.567 | 19.091 | 14.1723
2020-10-04 16:15:00 | 4.836 | 78.937 | 4.769 | 74.554 | 5.297 | 77.7 | 5.4 | 74.333 | 13.554 | 889.433 | 18.688 | 10.9044
2020-10-04 16:30:00 | 4.37 | 85.393 | 4.171 | 78.676 | 4.246 | 80.433 | 4.508 | 77.567 | 13.37 | 889.533 | 19.453 | 11.6952
2020-10-04 16:45:00 | 5.603 | 81.46 | 5.491 | 76.12 | 5.727 | 79.867 | 5.978 | 77.4 | 13.516 | 889.6 | 19.12 | 12.7312
2020-10-04 17:00:00 | 4.701 | 76.72 | 4.914 | 70.297 | 4.901 | 76.933 | 5.152 | 73.4 | 13.566 | 889.333 | 18.688 | 10.6876
2020-10-04 17:15:00 | 4.989 | 72.347 | 4.607 | 63.958 | 4.595 | 70.033 | 4.868 | 62.767 | 13.945 | 889.6 | 18.397 | 10.51
2020-10-04 17:30:00 | 4.366 | 75.157 | 4.523 | 70.966 | 4.84 | 75.5 | 4.984 | 70.233 | 13.824 | 889.633 | 18.891 | 10.6798
2020-10-04 17:45:00 | 4.34 | 67.307 | 4.144 | 61.78 | 4.023 | 60.5 | 4.138 | 58.233 | 13.845 | 889.567 | 19.107 | 9.2949
2020-10-04 18:00:00 | 4.424 | 82.777 | 4.121 | 75.261 | 4.325 | 78.567 | 4.75 | 78.433 | 13.495 | 889.767 | 19.453 | 10.5079
2020-10-04 18:15:00 | 4.394 | 70.553 | 4.477 | 68.144 | 4.568 | 72.867 | 4.989 | 71.167 | 13.654 | 890 | 19.456 | 10.0389
2020-10-04 18:30:00 | 4.486 | 80.735 | 4.108 | 78.484 | 4.056 | 83.533 | 4.451 | 79.8 | 13.068 | 889.633 | 19.637 | 8.978
2020-10-04 18:45:00 | 4.474 | 74.483 | 4.21 | 69.451 | 4.458 | 75 | 4.71 | 71.833 | 13.339 | 889.433 | 18.963 | 7.0595
2020-10-04 19:00:00 | 3.702 | 75.52 | 3.811 | 72.328 | 4.025 | 77.733 | 4.406 | 73.4 | 12.928 | 889.367 | 19.536 | 6.8506
2020-10-04 19:15:00 | 3.895 | 71.1 | 4.304 | 67.626 | 4.574 | 71.933 | 4.654 | 69.7 | 12.495 | 889.367 | 19.632 | 6.5067
2020-10-04 19:30:00 | 3.298 | 72.047 | 3.532 | 70.191 | 3.447 | 75.867 | 3.696 | 72.233 | 12.19 | 889.233 | 18.971 | 4.9214
2020-10-04 19:45:00 | 3.41 | 59.655 | 3.774 | 60.224 | 3.771 | 65.367 | 3.663 | 61.133 | 11.707 | 889.667 | 17.621 | 3.5322
2020-10-04 20:00:00 | 2.42 | 52.45 | 3.105 | 56.856 | 2.918 | 63.533 | 3.208 | 62.733 | 10.845 | 889.467 | 17.936 | 2.8337
2020-10-04 20:15:00 | 2.627 | 61.348 | 3.31 | 62.053 | 3.111 | 69.9 | 3.438 | 69.6 | 10.645 | 889.733 | 17.656 | 1.9228
2020-10-04 20:30:00 | 1.37 | 51.668 | 2.653 | 59.257 | 2.42 | 70.667 | 2.739 | 69 | 9.914 | 889.4 | 18.088 | 0.57201
2020-10-04 20:45:00 | 0.863 | 49.017 | 2.255 | 54.468 | 1.986 | 69.8 | 2.12 | 70.833 | 9.862 | 889.133 | 18.504 | 0.25651
2020-10-04 21:00:00 | 0 | 43.003 | 1.3 | 52.148 | 1.429 | 62 | 1.818 | 71.033 | 9.387 | 889.333 | 19.024 | 0.21317
2020-10-04 21:15:00 | 0.057 | 9.613 | 1.3 | 48.647 | 0.053 | 62 | 1.192 | 71.033 | 9.124 | 889.533 | 19.128 | 0.17338
2020-10-04 21:30:00 | 0.948 | 324.213 | 0.854 | 44.233 | 0 | 61.946 | 0.82 | 71.033 | 8.991 | 889.5 | 19.235 | 0.16769
2020-10-04 21:45:00 | 2.023 | 280.56 | 0 | 38.116 | 0 | 54.158 | 0 | 71 | 8.795 | 889.333 | 19.176 | 0.17054
2020-10-04 22:00:00 | 2.566 | 280.4 | 1.502 | 343 | 0.831 | 343 | 0.891 | 71 | 9.204 | 889.7 | 18.747 | 0.17054
2020-10-04 22:15:00 | 2.548 | 276.867 | 1.42 | 314.52 | 1.167 | 321.1 | 0.978 | 71.167 | 9.17 | 889.233 | 18.711 | 0.17054
2020-10-04 22:30:00 | 3.858 | 262.133 | 2.271 | 288.568 | 2.161 | 301.9 | 1.964 | 292.267 | 8.274 | 889.467 | 19.327 | 0.17338
2020-10-04 22:45:00 | 4.656 | 259.927 | 3.202 | 280.641 | 3.142 | 294.3 | 2.544 | 292.367 | 7.389 | 889.7 | 20.291 | 0.2288
2020-10-04 23:00:00 | 4.931 | 249.093 | 3.313 | 276.956 | 3.023 | 292 | 2.36 | 291.933 | 6.306 | 889.717 | 21.36 | 0.10943
2020-10-04 23:15:00 | 3.65 | 283.2 | 3.267 | 300.876 | 3.188 | 306.5 | 3.018 | 323.267 | 7.306 | 889.55 | 21.256 | 0.20606
2020-10-04 23:30:00 | 4.19 | 241.447 | 3.597 | 277.349 | 3.075 | 312.1 | 3.578 | 334.067 | 6.741 | 889.6 | 20.711 | 1.0055
2020-10-04 23:45:00 | 3.487 | 247.433 | 2.966 | 285.74 | 2.786 | 307.8 | 3.146 | 324.233 | 6.012 | 889.4 | 23.179 | 0.53719