## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-05 00:00:00 | 2.727 | 244.38 | 2.389 | 295.064 | 2.086 | 312 | 2.443 | 326.2 | 5.852 | 889.4 | 24.112 | 0.58337
2020-10-05 00:15:00 | 3.792 | 249.653 | 3.188 | 278.356 | 2.883 | 305.767 | 2.984 | 317.267 | 6.807 | 889.817 | 24.413 | 0.25651
2020-10-05 00:30:00 | 3.416 | 262.76 | 3.08 | 279.462 | 2.745 | 295.6 | 3.148 | 316.967 | 6.631 | 889.467 | 24.869 | 0.41284
2020-10-05 00:45:00 | 3.563 | 265.027 | 3.408 | 285.807 | 3.121 | 300.867 | 3.368 | 316.067 | 6.498 | 889.383 | 25.173 | 0.54429
2020-10-05 01:00:00 | 3.751 | 283.733 | 3.805 | 297.016 | 3.381 | 312.667 | 3.129 | 321.567 | 7.106 | 889.6 | 23.979 | 0.3695
2020-10-05 01:15:00 | 3.42 | 269.973 | 2.875 | 301.837 | 2.543 | 323.433 | 2.456 | 330.6 | 7.366 | 889.933 | 23.725 | 0.21033
2020-10-05 01:30:00 | 3.827 | 244.307 | 2.231 | 277.533 | 0.804 | 307.8 | 0.715 | 11.8 | 6.611 | 889.417 | 24.933 | 0.29133
2020-10-05 01:45:00 | 3.054 | 233.86 | 0.556 | 269.077 | 0 | 33.6 | 1.346 | 71.671 | 6.373 | 889.617 | 25.699 | 0.20038
2020-10-05 02:00:00 | 2.902 | 254.12 | 1.243 | 302.826 | 0.36 | 258.533 | 1.381 | 12.813 | 6.611 | 890.05 | 26.211 | 0.22312
2020-10-05 02:15:00 | 3.468 | 267.42 | 2.947 | 299.996 | 2.213 | 323.167 | 2.277 | 337.667 | 5.995 | 889.483 | 27.125 | 0.24444
2020-10-05 02:30:00 | 3.193 | 277.227 | 2.864 | 302.124 | 2.414 | 324.733 | 2.314 | 338.833 | 5.057 | 889.8 | 27.901 | 0.21246
2020-10-05 02:45:00 | 3.686 | 282.373 | 2.791 | 318.763 | 2.187 | 335.567 | 2.248 | 0 | 5.74 | 889.7 | 26.373 | 0.23022
2020-10-05 03:00:00 | 3.045 | 263.667 | 1.633 | 314.854 | 0.104 | 332.667 | 0.027 | 358.033 | 5.151 | 889.733 | 26.373 | 0.22241
2020-10-05 03:15:00 | 3.956 | 249.06 | 2.2 | 288.84 | 1.026 | 312 | 1.156 | 346.567 | 4.186 | 890.017 | 27.752 | 0.23733
2020-10-05 03:30:00 | 5.204 | 243.6 | 3.967 | 259.909 | 2.741 | 278 | 2.377 | 291.267 | 3.672 | 889.617 | 30.669 | 0.26931
2020-10-05 03:45:00 | 4.878 | 244.367 | 3.985 | 257.378 | 3.262 | 268.6 | 2.778 | 276.533 | 3.588 | 889.7 | 31.301 | 0.12151
2020-10-05 04:00:00 | 4.477 | 226.493 | 4.378 | 248.979 | 3.586 | 254.6 | 3.244 | 255.1 | 3.143 | 889.75 | 33.227 | 0.23662
2020-10-05 04:15:00 | 5.23 | 236.347 | 4.508 | 253.874 | 3.718 | 258.333 | 3.402 | 252.233 | 2.727 | 889.583 | 36.216 | 0.40786
2020-10-05 04:30:00 | 4.793 | 228.693 | 4.358 | 257.538 | 3.541 | 266.8 | 3.26 | 260.267 | 2.537 | 889.683 | 37.872 | 0.82568
2020-10-05 04:45:00 | 4.933 | 233.893 | 4.278 | 258.685 | 3.83 | 272.8 | 3.717 | 273.367 | 2.554 | 889.967 | 38.459 | 0.57485
2020-10-05 05:00:00 | 4.366 | 232.36 | 4.377 | 252.362 | 3.744 | 265.267 | 3.395 | 268.467 | 2.908 | 889.683 | 38.523 | 0.56561
2020-10-05 05:15:00 | 4.939 | 230.273 | 4.546 | 251.011 | 3.68 | 258.933 | 3.403 | 262.367 | 2.742 | 889.683 | 38.293 | 0.8811
2020-10-05 05:30:00 | 5.075 | 229.173 | 4.117 | 251.018 | 3.294 | 264.8 | 3.162 | 266 | 2.287 | 889.75 | 40.523 | 0.6189
2020-10-05 05:45:00 | 5.324 | 226.08 | 4.309 | 244.763 | 3.278 | 252.433 | 2.456 | 262.5 | 2.438 | 889.575 | 41.408 | 0.21957
2020-10-05 06:00:00 | 5.559 | 220.813 | 3.939 | 231.513 | 3.1 | 238.4 | 2.476 | 240.9 | 1.999 | 889.908 | 42.656 | 0.76528
2020-10-05 06:15:00 | 5.562 | 219.413 | 4.484 | 231.586 | 3.694 | 235.633 | 3.273 | 231 | 1.925 | 889.408 | 43.723 | 1.6549
2020-10-05 06:30:00 | 5.694 | 224.167 | 4.694 | 233.278 | 4.255 | 237.533 | 4.001 | 230.867 | 1.913 | 889.558 | 44.96 | 3.0675
2020-10-05 06:45:00 | 4.972 | 226.207 | 3.887 | 233.497 | 3.718 | 238.033 | 3.752 | 233 | 2.456 | 889.842 | 44.021 | 2.0841
2020-10-05 07:00:00 | 5.539 | 220.153 | 3.985 | 217.604 | 3.615 | 223.3 | 3.529 | 221.8 | 2.398 | 889.733 | 45.195 | 1.2698
2020-10-05 07:15:00 | 5.368 | 224.087 | 3.538 | 223.577 | 3.257 | 225.8 | 3.369 | 220 | 2.048 | 889.633 | 44.619 | 0.89034
2020-10-05 07:30:00 | 5.676 | 224 | 4.075 | 228.686 | 3.763 | 232.4 | 3.592 | 221.033 | 2.332 | 890.017 | 45.419 | 1.8489
2020-10-05 07:45:00 | 5.519 | 219.167 | 4.796 | 232.214 | 4.297 | 237.333 | 3.856 | 230.633 | 1.299 | 889.783 | 46.805 | 2.5829
2020-10-05 08:00:00 | 5.537 | 220.047 | 4.686 | 235.836 | 4.238 | 242.233 | 3.998 | 234 | 1.955 | 889.742 | 47.093 | 1.4091
2020-10-05 08:15:00 | 5.365 | 220.78 | 4.968 | 234.113 | 3.583 | 243.067 | 2.986 | 234 | 2.72 | 890.067 | 44.981 | 2.6426
2020-10-05 08:30:00 | 4.806 | 220.333 | 4.909 | 232.048 | 3.944 | 240.7 | 2.927 | 233.467 | 3.404 | 889.825 | 42.176 | 5.3548
2020-10-05 08:45:00 | 5.435 | 225.667 | 5.532 | 235.17 | 4.583 | 245.467 | 3.864 | 245.9 | 4.702 | 889.617 | 37.691 | 4.3721
2020-10-05 09:00:00 | 3.953 | 226.933 | 4.848 | 234.324 | 4.652 | 242.567 | 4.222 | 237.433 | 6.045 | 889.667 | 34.091 | 7.7537
2020-10-05 09:15:00 | 3.052 | 231.067 | 3.819 | 236.095 | 3.807 | 244.4 | 3.852 | 235.267 | 7.706 | 889.95 | 29.664 | 3.3475
2020-10-05 09:30:00 | 3.792 | 258.267 | 3.89 | 254.14 | 3.831 | 259.5 | 3.814 | 255.683 | 9.566 | 889.883 | 25.192 | 3.631
2020-10-05 09:45:00 | 3.159 | 274.48 | 3.081 | 269.606 | 2.934 | 275.633 | 3.109 | 272.433 | 9.837 | 889.817 | 20.579 | 2.3122
2020-10-05 10:00:00 | 2.47 | 309.2 | 2.489 | 302.942 | 2.264 | 302.267 | 2.618 | 303.667 | 9.358 | 889.233 | 19.299 | 0.20535
2020-10-05 10:15:00 | 1.905 | 310.907 | 1.751 | 305.077 | 1.447 | 307.667 | 1.998 | 301.467 | 9.768 | 889.167 | 18.812 | 0.28209
2020-10-05 10:30:00 | 1.48 | 321.573 | 1.354 | 317.268 | 1.05 | 305.9 | 1.438 | 290.8 | 10.466 | 889.1 | 17.887 | 0.21601
2020-10-05 10:45:00 | 2.51 | 299.573 | 2.527 | 300.895 | 2.411 | 330.733 | 2.68 | 334.4 | 10.016 | 889.8 | 17.453 | 0.18759
2020-10-05 11:00:00 | 1.953 | 78.089 | 2.041 | 141.443 | 1.817 | 117.934 | 2.205 | 255.5 | 10.551 | 889.267 | 17.597 | 0.19896
2020-10-05 11:15:00 | 1.643 | 104.975 | 1.507 | 148.564 | 1.283 | 221.6 | 1.885 | 186.567 | 10.024 | 889.367 | 17.744 | 0.18901
2020-10-05 11:30:00 | 2.445 | 75.109 | 2.259 | 117.771 | 2.286 | 105.067 | 2.617 | 199.5 | 10.353 | 889.733 | 18.055 | 0.17409
2020-10-05 11:45:00 | 2.434 | 40.105 | 2.279 | 23.969 | 2.264 | 65.968 | 2.47 | 72.134 | 10.945 | 889.467 | 17.376 | 0.097347
2020-10-05 12:00:00 | 2.351 | 51.759 | 2.394 | 37.6 | 2.705 | 16.833 | 2.885 | 36.033 | 11.616 | 889.633 | 16.952 | 0.063951
2020-10-05 12:15:00 | 2.796 | 22.46 | 2.808 | 19.726 | 2.823 | 28.333 | 3.035 | 25.9 | 12.657 | 889.533 | 16.477 | 0.18759
2020-10-05 12:30:00 | 1.563 | 46.47 | 1.783 | 46.726 | 1.842 | 63.9 | 2.413 | 55.833 | 13.037 | 889.733 | 16.875 | 0.13288
2020-10-05 12:45:00 | 1.824 | 74.968 | 2.267 | 59.334 | 1.995 | 60.4 | 2.314 | 47.633 | 13.151 | 889.533 | 16.56 | 0.14282
2020-10-05 13:00:00 | 2.523 | 61.633 | 2.476 | 50.029 | 1.85 | 59.567 | 2.428 | 68.2 | 13.762 | 889.367 | 15.243 | 0.42208
2020-10-05 13:15:00 | 2.309 | 43.278 | 2.55 | 41.435 | 2.048 | 48.533 | 2.102 | 32.2 | 13.733 | 889.433 | 15.115 | 0.091663
2020-10-05 13:30:00 | 2.756 | 100.587 | 2.774 | 56.915 | 2.711 | 59.088 | 3.238 | 47.067 | 14.087 | 889.5 | 14.531 | 0.18546
2020-10-05 13:45:00 | 2.641 | 44.594 | 2.717 | 27.799 | 2.685 | 32.767 | 2.879 | 29 | 13.733 | 889.433 | 14.603 | 0.15632
2020-10-05 14:00:00 | 3.031 | 122.985 | 3.48 | 241.699 | 3.279 | 159.967 | 3.382 | 116.5 | 14.412 | 889.333 | 14.203 | 0.17622
2020-10-05 14:15:00 | 2.853 | 35.598 | 3.074 | 38.839 | 2.795 | 56.467 | 3.197 | 97.667 | 13.916 | 889.033 | 14.211 | 0.20322
2020-10-05 14:30:00 | 2.55 | 155.29 | 2.539 | 165.606 | 2.517 | 108.933 | 2.582 | 153.7 | 14.17 | 889.467 | 14.099 | 0.83207
2020-10-05 14:45:00 | 2.434 | 281.98 | 2.82 | 299.603 | 2.517 | 311.567 | 3.224 | 285.6 | 14.062 | 889.667 | 14.168 | 0.55424
2020-10-05 15:00:00 | 3.292 | 290.02 | 3.721 | 318.12 | 4.316 | 269.833 | 4.696 | 270.133 | 14.358 | 889.767 | 14.532 | 0.88892
2020-10-05 15:15:00 | 3.093 | 263.427 | 3.484 | 292.684 | 3.573 | 275.971 | 3.627 | 280.2 | 14.183 | 889.667 | 14.899 | 2.2703
2020-10-05 15:30:00 | 3.566 | 111.723 | 3.668 | 248.348 | 3.686 | 189.7 | 4.057 | 235.133 | 14.166 | 889.467 | 15.257 | 2.9361
2020-10-05 15:45:00 | 3.41 | 216.248 | 3.592 | 216.401 | 3.47 | 160.135 | 3.808 | 182.867 | 14.458 | 889.4 | 14.889 | 3.3489
2020-10-05 16:00:00 | 4.63 | 21.125 | 4.487 | 17.394 | 4.714 | 25.667 | 4.661 | 22.133 | 14.533 | 889.7 | 14.941 | 5.2461
2020-10-05 16:15:00 | 3.736 | 232.161 | 3.998 | 265.876 | 4.066 | 232.834 | 4.449 | 269.167 | 14.408 | 889.133 | 15.427 | 4.1049
2020-10-05 16:30:00 | 4.929 | 17.14 | 4.605 | 44.316 | 4.68 | 28.733 | 4.806 | 41.567 | 14.72 | 889.267 | 15.42 | 5.0408
2020-10-05 16:45:00 | 3.228 | 74.6 | 3.429 | 50.642 | 3.398 | 26.733 | 3.724 | 20.533 | 14.924 | 889.567 | 15.315 | 3.8001
2020-10-05 17:00:00 | 4.195 | 76.073 | 4.369 | 73.035 | 4.364 | 51.601 | 4.263 | 75.333 | 14.541 | 889.067 | 15.459 | 2.8913
2020-10-05 17:15:00 | 3.046 | 44.733 | 3.105 | 31.83 | 3.229 | 34.133 | 3.416 | 78.767 | 14.67 | 889.333 | 15.709 | 1.4602
2020-10-05 17:30:00 | 3.36 | 24.927 | 3.298 | 19.389 | 3.345 | 22.033 | 3.604 | 16.533 | 14.562 | 889.633 | 15.704 | 0.79797
2020-10-05 17:45:00 | 3.009 | 59.47 | 2.677 | 50.913 | 2.451 | 46.267 | 2.698 | 31.7 | 14.716 | 889.233 | 15.525 | 0.17054
2020-10-05 18:00:00 | 2.235 | 48.138 | 2.208 | 44.77 | 2.125 | 50.9 | 2.505 | 47.867 | 14.216 | 889.333 | 15.824 | 0.17054
2020-10-05 18:15:00 | 2.401 | 255.03 | 2.425 | 262.044 | 2.073 | 233.5 | 2.382 | 266.767 | 14.258 | 889.867 | 15.975 | 0.18688
2020-10-05 18:30:00 | 2.366 | 15.217 | 2.197 | 9.432 | 2.064 | 4.467 | 2.267 | 1.3 | 14.274 | 889.667 | 16.125 | 0.19185
2020-10-05 18:45:00 | 0 | 262.377 | 0 | 17.799 | 0.043 | 217.269 | 0.188 | 352.6 | 14.412 | 889.533 | 16.072 | 0.16627
2020-10-05 19:00:00 | 1.92 | 45.513 | 1.943 | 38.138 | 1.77 | 41.967 | 2.08 | 35.033 | 13.999 | 889.367 | 16.552 | 0.13643
2020-10-05 19:15:00 | 0.672 | 47.2 | 0.33 | 38.11 | 0 | 42.133 | 1.051 | 35 | 13.499 | 889.567 | 17.936 | 0.14353
2020-10-05 19:30:00 | 2.034 | 44.998 | 2.497 | 38.268 | 2.162 | 42.1 | 2.409 | 35 | 13.218 | 889.667 | 19.019 | 0.15632
2020-10-05 19:45:00 | 1.802 | 71.22 | 2.106 | 61.507 | 2.088 | 68.667 | 2.417 | 55.033 | 12.912 | 889.667 | 19.355 | 0.15775
2020-10-05 20:00:00 | 1.067 | 72.147 | 1.999 | 61.009 | 1.846 | 68.833 | 2.25 | 62.867 | 12.274 | 889.233 | 19.349 | 0.14922
2020-10-05 20:15:00 | 0.46 | 27.942 | 2.271 | 28.07 | 2.469 | 37 | 2.786 | 37.1 | 12.17 | 889.833 | 19.56 | 0.16485
2020-10-05 20:30:00 | 0 | 81.827 | 1.632 | 51.609 | 2.201 | 47.733 | 2.707 | 49 | 11.249 | 889.433 | 19.877 | 0.16769
2020-10-05 20:45:00 | 0 | 138.34 | 0.177 | 41.116 | 1.164 | 23.733 | 1.522 | 49 | 10.368 | 889.583 | 20.6 | 0.16627
2020-10-05 21:00:00 | 1.216 | 190.4 | 0 | 41.137 | 0 | 23.933 | 0.269 | 49 | 9.749 | 889.933 | 21.515 | 0.16059
2020-10-05 21:15:00 | 1.973 | 217.42 | 0 | 41.133 | 0 | 24.033 | 0.907 | 49 | 10.035 | 890.017 | 21.2 | 0.16201
2020-10-05 21:30:00 | 2.754 | 221.293 | 1.176 | 236.381 | 0 | 310.6 | 0 | 48.6 | 10.26 | 889.55 | 20.629 | 0.17054
2020-10-05 21:45:00 | 3.882 | 227.3 | 1.726 | 227.495 | 0.497 | 241.067 | 1.16 | 49 | 9.633 | 889.817 | 20.829 | 0.16911
2020-10-05 22:00:00 | 4.802 | 237.487 | 3.067 | 227.548 | 2.469 | 234.233 | 1.914 | 49.1 | 8.097 | 889.767 | 21.552 | 0.1748
2020-10-05 22:15:00 | 5.057 | 229.313 | 3.947 | 234.229 | 2.799 | 233.833 | 2.433 | 51.033 | 6.847 | 889.817 | 22.384 | 0.23591
2020-10-05 22:30:00 | 4.982 | 218.807 | 3.482 | 237.407 | 2.79 | 236.467 | 2.442 | 220 | 6.032 | 890.317 | 23.792 | 0.24017
2020-10-05 22:45:00 | 5.206 | 218.733 | 3.294 | 234.616 | 2.715 | 239.3 | 2.636 | 223.033 | 5.895 | 889.6 | 24.864 | 0.22383
2020-10-05 23:00:00 | 4.619 | 218.233 | 3.952 | 231.448 | 3.344 | 237.3 | 3.015 | 228.167 | 5.896 | 889.967 | 25.52 | 0.1343
2020-10-05 23:15:00 | 5.402 | 221.427 | 5.296 | 230.783 | 4.897 | 235.733 | 4.559 | 230 | 5.676 | 890.083 | 26.347 | 3.2444
2020-10-05 23:30:00 | 5.307 | 223.04 | 5.407 | 231.499 | 5.007 | 240.1 | 4.697 | 239.467 | 5.684 | 889.95 | 26.672 | 5.7641
2020-10-05 23:45:00 | 5.144 | 228.373 | 5.005 | 237.776 | 4.552 | 248.6 | 4.45 | 247 | 5.319 | 889.95 | 26.981 | 5.1694