## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-06 00:00:00 | 5.688 | 225.5 | 6.074 | 232.675 | 5.217 | 243.3 | 4.884 | 242.667 | 5.3 | 889.833 | 28.149 | 6.405
2020-10-06 00:15:00 | 6.079 | 225.1 | 5.891 | 236.434 | 5.358 | 245.1 | 5.193 | 241.2 | 5.3 | 889.933 | 29.035 | 8.8437
2020-10-06 00:30:00 | 5.902 | 227.687 | 5.787 | 241.871 | 5.547 | 250.067 | 5.333 | 245.7 | 5.459 | 889.2 | 29.44 | 10.3245
2020-10-06 00:45:00 | 5.897 | 229.693 | 6.075 | 241.415 | 5.888 | 248.9 | 5.577 | 244.733 | 4.931 | 889.317 | 30.123 | 11.2142
2020-10-06 01:00:00 | 6.316 | 231.433 | 6.392 | 240.828 | 6.244 | 247.7 | 5.938 | 244.167 | 5.102 | 889.267 | 30.133 | 13.7878
2020-10-06 01:15:00 | 5.91 | 232.933 | 6.572 | 243.315 | 6.131 | 250.7 | 5.624 | 245.967 | 5.514 | 889.783 | 30.277 | 12.4633
2020-10-06 01:30:00 | 5.959 | 229.027 | 5.833 | 244.229 | 5.157 | 253 | 4.935 | 250.267 | 5.494 | 889.733 | 30.56 | 11.7307
2020-10-06 01:45:00 | 6.174 | 224.8 | 6.127 | 236.701 | 5.093 | 247.8 | 4.673 | 247.633 | 4.984 | 889.75 | 31.083 | 9.2409
2020-10-06 02:00:00 | 5.926 | 226.667 | 5.649 | 238.948 | 5.07 | 245.667 | 4.621 | 243.9 | 4.902 | 889.767 | 31.008 | 8.4664
2020-10-06 02:15:00 | 5.78 | 226.04 | 5.341 | 238.866 | 4.918 | 245.6 | 4.509 | 243.167 | 4.722 | 889.283 | 31.077 | 6.501
2020-10-06 02:30:00 | 5.882 | 220.5 | 5.605 | 233.05 | 5.32 | 238.567 | 4.896 | 234 | 4.702 | 889.567 | 31.413 | 6.8257
2020-10-06 02:45:00 | 6.047 | 223.68 | 5.534 | 231.957 | 4.97 | 239.033 | 4.62 | 234 | 4.361 | 889.5 | 32.107 | 6.0114
2020-10-06 03:00:00 | 6.16 | 219.38 | 5.05 | 230.372 | 4.551 | 240.533 | 4.24 | 240.633 | 4.544 | 889.7 | 32.352 | 4.6805
2020-10-06 03:15:00 | 6.239 | 217.107 | 4.933 | 221.787 | 4.407 | 230.6 | 4.163 | 230 | 3.893 | 889.65 | 33.435 | 5.0841
2020-10-06 03:30:00 | 6.346 | 218.913 | 5.351 | 218.029 | 4.696 | 224.967 | 4.154 | 225.633 | 3.896 | 889.483 | 33.845 | 3.4939
2020-10-06 03:45:00 | 5.645 | 216.047 | 6.285 | 216.248 | 5.522 | 220.7 | 4.902 | 216.267 | 4.046 | 889.917 | 33.931 | 5.5588
2020-10-06 04:00:00 | 5.226 | 210.833 | 6.923 | 211.978 | 6.194 | 217.5 | 5.669 | 213.733 | 3.756 | 889.733 | 34.48 | 5.8565
2020-10-06 04:15:00 | 6.151 | 214.26 | 6.118 | 209.673 | 6.013 | 214 | 5.773 | 213 | 3.869 | 889.65 | 34.8 | 7.2734
2020-10-06 04:30:00 | 5.338 | 212.067 | 5.456 | 209.52 | 4.908 | 213.4 | 4.587 | 212.867 | 3.706 | 889.717 | 35.275 | 5.1047
2020-10-06 04:45:00 | 5.925 | 217.633 | 5.643 | 204.369 | 4.632 | 207.467 | 4.298 | 203.033 | 3.404 | 889.417 | 35.712 | 3.7241
2020-10-06 05:00:00 | 5.482 | 213.593 | 5.09 | 205.288 | 4.283 | 206.533 | 4.068 | 195.933 | 4.037 | 889.75 | 35.157 | 2.6973
2020-10-06 05:15:00 | 5.021 | 216.013 | 4.358 | 199.578 | 3.532 | 196.2 | 3.31 | 182.933 | 4.328 | 889.867 | 35.808 | 0.51942
2020-10-06 05:30:00 | 5.763 | 218.147 | 4.344 | 205.711 | 3.342 | 201.4 | 2.701 | 185.2 | 3.796 | 889.483 | 36.384 | 0.25438
2020-10-06 05:45:00 | 6.327 | 217.373 | 4.4 | 205.467 | 3.646 | 199.733 | 3.311 | 186.8 | 3.742 | 889.7 | 36.795 | 0.57769
2020-10-06 06:00:00 | 5.087 | 218 | 4.874 | 213.451 | 3.371 | 204.567 | 3.173 | 187.267 | 3.723 | 889.767 | 37.029 | 1.1191
2020-10-06 06:15:00 | 4.7 | 212.96 | 5.39 | 218.269 | 4.254 | 216.467 | 3.478 | 207.5 | 2.858 | 889.417 | 38.747 | 2.1786
2020-10-06 06:30:00 | 4.935 | 219.4 | 3.644 | 231.136 | 2.799 | 236.6 | 2.149 | 221.567 | 3.404 | 889.483 | 38.309 | 0.69209
2020-10-06 06:45:00 | 4.456 | 208.807 | 5.83 | 216.305 | 4.137 | 221.633 | 2.796 | 222.067 | 2.557 | 889.75 | 39.365 | 2.0393
2020-10-06 07:00:00 | 5.031 | 189.88 | 5.405 | 202.09 | 4.889 | 210.933 | 3.832 | 207.833 | 2.618 | 889.433 | 39.595 | 2.5225
2020-10-06 07:15:00 | 6.323 | 197.533 | 5.146 | 189.022 | 4.602 | 188.867 | 4.603 | 181.2 | 3.071 | 889.417 | 39.355 | 4.7054
2020-10-06 07:30:00 | 6.17 | 196.173 | 5.772 | 186.491 | 5.266 | 185.333 | 5.269 | 178.967 | 3.561 | 889.867 | 39.2 | 5.3072
2020-10-06 07:45:00 | 5.614 | 203.6 | 5.675 | 194.216 | 5.264 | 192.367 | 4.973 | 183.867 | 3.689 | 889.283 | 38.021 | 7.5157
2020-10-06 08:00:00 | 5.375 | 208.873 | 5.337 | 199.61 | 5.173 | 203.333 | 5.145 | 195.833 | 4.342 | 889.733 | 37.168 | 8.2923
2020-10-06 08:15:00 | 4.669 | 213.473 | 4.939 | 197.782 | 5.207 | 193.933 | 4.978 | 186.433 | 5.319 | 889.9 | 35.563 | 3.1279
2020-10-06 08:30:00 | 4.538 | 216.333 | 5.258 | 201.721 | 4.694 | 200.233 | 4.944 | 187.6 | 6.045 | 889.633 | 33.739 | 3.1094
2020-10-06 08:45:00 | 2.877 | 205.267 | 5.076 | 197.984 | 5.146 | 199.333 | 5.014 | 194.367 | 7.006 | 889.833 | 32.059 | 3.1947
2020-10-06 09:00:00 | 2.644 | 194.927 | 3.998 | 198.201 | 3.858 | 190.667 | 3.878 | 177.267 | 7.759 | 889.733 | 30.64 | 0.33326
2020-10-06 09:15:00 | 2.68 | 209.34 | 3.651 | 198.089 | 3.266 | 186.467 | 3.003 | 174.233 | 8.371 | 889.367 | 29.456 | 0.22525
2020-10-06 09:30:00 | 2.468 | 201.873 | 3.063 | 191.353 | 3.369 | 182.4 | 2.916 | 171.733 | 9.551 | 889.767 | 27.595 | 0.11369
2020-10-06 09:45:00 | 2.787 | 189.793 | 2.927 | 184.89 | 2.813 | 181.733 | 3.125 | 169.933 | 10.353 | 889.583 | 25.877 | 0.60682
2020-10-06 10:00:00 | 3.016 | 178.067 | 2.817 | 170.13 | 2.731 | 169.7 | 3.206 | 163.9 | 11.028 | 889.467 | 23.765 | 1.6443
2020-10-06 10:15:00 | 3.119 | 151.713 | 3.151 | 146.792 | 3.095 | 150.833 | 3.329 | 146.867 | 11.732 | 889.933 | 22.373 | 2.7243
2020-10-06 10:30:00 | 3.411 | 154.66 | 3.36 | 150.013 | 3.337 | 152.167 | 3.692 | 147.667 | 11.882 | 889.633 | 22.224 | 3.5265
2020-10-06 10:45:00 | 3.741 | 142.57 | 3.878 | 138.865 | 3.644 | 145.267 | 3.832 | 140.267 | 12.357 | 889.833 | 20.949 | 4.6563
2020-10-06 11:00:00 | 3.915 | 139.75 | 3.772 | 135.525 | 3.764 | 134.133 | 3.987 | 132.9 | 13.003 | 889.4 | 20.277 | 4.4716
2020-10-06 11:15:00 | 4.298 | 119.403 | 4.548 | 113.294 | 4.396 | 115.6 | 4.534 | 110.333 | 13.364 | 889.067 | 20.005 | 5.8195
2020-10-06 11:30:00 | 4.339 | 96.047 | 4.312 | 91.623 | 4.02 | 94.833 | 4.389 | 94.567 | 13.545 | 889.033 | 19.992 | 7.5391
2020-10-06 11:45:00 | 5.125 | 105.587 | 4.99 | 99.289 | 4.762 | 102.3 | 5.178 | 98.6 | 13.828 | 889.6 | 19.371 | 8.1125
2020-10-06 12:00:00 | 6.011 | 96.227 | 5.867 | 90.245 | 5.806 | 92.9 | 5.935 | 86.733 | 14.07 | 889.567 | 18.651 | 12.9373
2020-10-06 12:15:00 | 5.844 | 72.693 | 5.864 | 71.81 | 6.446 | 76.4 | 6.543 | 72.9 | 14.391 | 889.367 | 18.587 | 14.3023
2020-10-06 12:30:00 | 6.344 | 73.267 | 6.498 | 69.968 | 6.78 | 75.633 | 6.838 | 75.267 | 14.428 | 889.567 | 18.936 | 18.6659
2020-10-06 12:45:00 | 6.542 | 72.517 | 6.755 | 72.192 | 6.836 | 78.6 | 6.924 | 77.1 | 14.262 | 889.633 | 18.675 | 22.8262
2020-10-06 13:00:00 | 6.199 | 70.623 | 6.386 | 69.083 | 6.647 | 73.9 | 7.062 | 70.933 | 14.32 | 889.467 | 18.637 | 25.1555
2020-10-06 13:15:00 | 6.913 | 72.177 | 6.775 | 68.332 | 7.105 | 73.333 | 7.258 | 71.667 | 14.378 | 890.133 | 18.128 | 30.2083
2020-10-06 13:30:00 | 6.721 | 71.303 | 6.811 | 66.548 | 7.025 | 67.7 | 7.457 | 64.067 | 14.233 | 889.9 | 18.08 | 26.1965
2020-10-06 13:45:00 | 6.755 | 82.533 | 6.879 | 77.555 | 6.708 | 82.3 | 6.701 | 76.633 | 14.824 | 889.3 | 17.901 | 28.0276
2020-10-06 14:00:00 | 6.885 | 80.813 | 6.458 | 78.552 | 6.718 | 82.4 | 7.009 | 77.333 | 15.088 | 889.533 | 17.381 | 28.6088
2020-10-06 14:15:00 | 6.732 | 69.307 | 7.008 | 65.815 | 7.363 | 69.433 | 7.714 | 65.3 | 14.991 | 889.433 | 16.277 | 26.3876
2020-10-06 14:30:00 | 6.093 | 85.233 | 6.25 | 79.69 | 6.359 | 82.833 | 6.692 | 78 | 15.671 | 889.4 | 15.885 | 23.3378
2020-10-06 14:45:00 | 6.047 | 68.98 | 5.972 | 62.28 | 6.32 | 66.9 | 6.494 | 61.267 | 15.443 | 889.5 | 16.013 | 20.6043
2020-10-06 15:00:00 | 6.59 | 81.113 | 6.257 | 75.209 | 6.571 | 79.867 | 6.769 | 74.633 | 15.808 | 889.267 | 15.731 | 24.7199
2020-10-06 15:15:00 | 6.764 | 53.563 | 6.433 | 51.96 | 6.55 | 56.067 | 6.65 | 55.533 | 16.381 | 889.433 | 15.427 | 30.4066
2020-10-06 15:30:00 | 7.102 | 74.94 | 6.893 | 67.612 | 7.117 | 70.733 | 7.356 | 65.7 | 16.381 | 889.133 | 15.712 | 39.3093
2020-10-06 15:45:00 | 6.45 | 69.613 | 6.371 | 66.681 | 6.368 | 73.1 | 6.396 | 70.167 | 16.514 | 889.533 | 15.923 | 41.5923
2020-10-06 16:00:00 | 7.054 | 67.147 | 6.816 | 61.633 | 7.005 | 70.1 | 7.464 | 64.233 | 16.464 | 889.5 | 15.84 | 40.6444
2020-10-06 16:15:00 | 6.936 | 88.2 | 6.912 | 80.675 | 6.99 | 85.267 | 7.347 | 82.067 | 16.381 | 889.567 | 16.149 | 40.5677
2020-10-06 16:30:00 | 6.693 | 73.653 | 6.896 | 71.003 | 7.401 | 75.267 | 7.682 | 73.067 | 16.548 | 889.633 | 15.837 | 42.4571
2020-10-06 16:45:00 | 6.417 | 71.553 | 6.564 | 68.106 | 7.051 | 73.267 | 7.317 | 70.5 | 16.431 | 889.267 | 16.088 | 36.8628
2020-10-06 17:00:00 | 7.412 | 71.233 | 7.633 | 69.187 | 8.039 | 73.833 | 8.261 | 72 | 16.364 | 889.3 | 15.688 | 47.7359
2020-10-06 17:15:00 | 7.705 | 73.63 | 7.64 | 68.051 | 7.941 | 72.567 | 8.219 | 69.6 | 16.291 | 889.4 | 16.232 | 49.4021
2020-10-06 17:30:00 | 7.544 | 73.033 | 7.868 | 68.858 | 8.034 | 73.067 | 8.359 | 70.233 | 16.214 | 889.6 | 16.304 | 45.072
2020-10-06 17:45:00 | 7.428 | 75.99 | 7.302 | 71.462 | 7.601 | 75.5 | 7.901 | 70 | 16.3 | 889.3 | 16.037 | 44.1475
2020-10-06 18:00:00 | 7.201 | 81.86 | 7.341 | 77.608 | 7.354 | 83 | 7.368 | 78.6 | 16.022 | 889.267 | 16.611 | 43.1236
2020-10-06 18:15:00 | 7.011 | 77.787 | 7.187 | 72.409 | 7.25 | 76.6 | 7.541 | 74.267 | 15.49 | 889.433 | 17.032 | 38.1382
2020-10-06 18:30:00 | 6.087 | 80.113 | 6.229 | 75.601 | 6.576 | 81.133 | 6.934 | 77.3 | 15.478 | 889.667 | 17.059 | 30.3078
2020-10-06 18:45:00 | 6.139 | 85.007 | 6.109 | 79.164 | 6.164 | 86 | 6.124 | 82.333 | 15.573 | 889.267 | 16.885 | 24.6872
2020-10-06 19:00:00 | 4.955 | 93.913 | 4.915 | 92.873 | 3.984 | 97.933 | 4.046 | 94.033 | 15.005 | 889.6 | 16.72 | 19.5619
2020-10-06 19:15:00 | 5.198 | 96.433 | 4.861 | 91.399 | 3.696 | 97.867 | 3.954 | 90.9 | 14.608 | 889.733 | 16.779 | 19.3921
2020-10-06 19:30:00 | 4.479 | 77.853 | 4.486 | 73.921 | 4.804 | 77.567 | 5.346 | 75.033 | 14.474 | 889.433 | 16.907 | 20.097
2020-10-06 19:45:00 | 3.48 | 81.773 | 4.131 | 81.013 | 3.901 | 87.333 | 3.856 | 88.133 | 14.008 | 889.467 | 17.115 | 24.6858
2020-10-06 20:00:00 | 4.448 | 87.787 | 4.976 | 85.43 | 4.571 | 90.1 | 4.367 | 87.4 | 13.474 | 889.3 | 17.301 | 21.4456
2020-10-06 20:15:00 | 3.436 | 103.81 | 3.679 | 96.517 | 3.364 | 99.9 | 3.405 | 98.067 | 13.606 | 889.4 | 17.344 | 12.3383
2020-10-06 20:30:00 | 3.268 | 74.857 | 3.889 | 80.949 | 3.733 | 91.467 | 3.79 | 88.767 | 12.789 | 889.267 | 17.872 | 11.2198
2020-10-06 20:45:00 | 3.798 | 101.84 | 4.158 | 97.666 | 3.637 | 104.967 | 3.563 | 97.9 | 12.661 | 889.467 | 18.456 | 8.3143
2020-10-06 21:00:00 | 3.227 | 108.343 | 3.2 | 95.812 | 2.476 | 100.733 | 3.184 | 97.633 | 13.08 | 889.5 | 18.275 | 6.3901
2020-10-06 21:15:00 | 3.448 | 146.63 | 4.316 | 108.694 | 4.348 | 110.833 | 4.139 | 101.367 | 11.574 | 889.533 | 19.016 | 5.1495
2020-10-06 21:30:00 | 4.798 | 121.89 | 5.398 | 114.266 | 5.77 | 117.067 | 6.386 | 113.733 | 12.909 | 889.6 | 18.115 | 8.1189
2020-10-06 21:45:00 | 3.265 | 164.5 | 3.927 | 143.334 | 4.031 | 137.2 | 4.612 | 124.933 | 11.89 | 889.433 | 18.717 | 11.0834
2020-10-06 22:00:00 | 3.56 | 144.763 | 3.662 | 132.832 | 3.309 | 130.033 | 3.918 | 122.367 | 12.503 | 889.633 | 18.6 | 10.7473
2020-10-06 22:15:00 | 3.231 | 140.46 | 3.96 | 125.792 | 4.07 | 124.333 | 4.834 | 115.333 | 12.928 | 889.567 | 18 | 10.4709
2020-10-06 22:30:00 | 3.56 | 149.793 | 3.531 | 132.641 | 3.148 | 131.067 | 3.848 | 122.7 | 12.086 | 889.433 | 18.355 | 6.6132
2020-10-06 22:45:00 | 3.345 | 156.633 | 3.339 | 145.651 | 2.89 | 142.567 | 3.004 | 132.433 | 13.078 | 889.467 | 17.483 | 4.0602
2020-10-06 23:00:00 | 3.218 | 182.107 | 3.016 | 145.422 | 2.997 | 131.8 | 3.611 | 124.2 | 11.949 | 889.567 | 18.144 | 2.6234
2020-10-06 23:15:00 | 3.689 | 184.16 | 3.382 | 160.981 | 3.141 | 152.367 | 3.371 | 136.567 | 11.849 | 889.5 | 18.787 | 1.7444
2020-10-06 23:30:00 | 3.022 | 200.727 | 3.03 | 165.633 | 2.787 | 156.2 | 3.187 | 136.7 | 12.486 | 889.267 | 18.541 | 0.82568
2020-10-06 23:45:00 | 4.644 | 216.947 | 3.034 | 190.692 | 2.398 | 178.7 | 2.672 | 159.833 | 11.428 | 888.967 | 19.979 | 0.46826