## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-07 00:00:00 | 4.047 | 230.34 | 2.533 | 205.092 | 1.745 | 182.633 | 2.197 | 157.2 | 10.822 | 889.367 | 20.515 | 0.20464
2020-10-07 00:15:00 | 5.493 | 227.447 | 4.3 | 228.137 | 3.366 | 222.8 | 3.118 | 203.5 | 8.995 | 889.467 | 22.549 | 0.20322
2020-10-07 00:30:00 | 5.114 | 231.167 | 4.482 | 234.274 | 3.801 | 233.867 | 3.402 | 213.767 | 8.591 | 889.767 | 24.539 | 1.09
2020-10-07 00:45:00 | 6.093 | 231.233 | 6.306 | 240.133 | 5.495 | 243.2 | 4.742 | 228.9 | 9.324 | 889.683 | 24.715 | 3.3048
2020-10-07 01:00:00 | 5.814 | 235.653 | 6.243 | 241.364 | 5.717 | 245.467 | 5.105 | 234.333 | 9.033 | 889.517 | 24.688 | 8.3456
2020-10-07 01:15:00 | 5.696 | 238.207 | 6.678 | 241.317 | 6.332 | 247.733 | 5.671 | 241.7 | 10.174 | 889.833 | 24.064 | 11.7791
2020-10-07 01:30:00 | 5.177 | 236.48 | 7.516 | 244.626 | 7.099 | 251.367 | 6.204 | 247.667 | 10.082 | 889.467 | 24.64 | 10.272
2020-10-07 01:45:00 | 5.912 | 245.04 | 6.815 | 253.943 | 6.395 | 259.333 | 6.026 | 257.85 | 10.274 | 889.633 | 24.635 | 17.9248
2020-10-07 02:00:00 | 8.479 | 255.667 | 10.196 | 257.573 | 10.379 | 264.75 | 10.542 | 263.4 | 9.856 | 889.383 | 25.061 | 21.7519
2020-10-07 02:15:00 | 14.643 | 270.307 | 16.286 | 263.485 | 17.061 | 268.5 | 17.591 | 263.4 | 10.666 | 889.6 | 32.221 | 60.2042
2020-10-07 02:30:00 | 17.345 | 265.06 | 19.89 | 259.162 | 21.022 | 261.333 | 21.042 | 258.95 | 10.212 | 889.767 | 35.773 | 89.11
2020-10-07 02:45:00 | 18.073 | 262.933 | 20.612 | 258.861 | 21.64 | 263.033 | 22.403 | 258.133 | 9.274 | 890.142 | 42.235 | 92.8391
2020-10-07 03:00:00 | 18.081 | 264.907 | 19.937 | 260.425 | 20.632 | 265.333 | 21.004 | 260.567 | 8.974 | 889.858 | 46.464 | 89.2116
2020-10-07 03:15:00 | 16.598 | 265.2 | 18.52 | 260.59 | 18.737 | 264.5 | 19.226 | 259.367 | 8.474 | 890.25 | 48.112 | 84.431
2020-10-07 03:30:00 | 17.076 | 260.267 | 19.873 | 256.867 | 20.413 | 261.033 | 20.951 | 256.833 | 8.568 | 890 | 53.744 | 84.659
2020-10-07 03:45:00 | 15.732 | 260.04 | 18.028 | 256.508 | 18.951 | 260.933 | 19.377 | 257.767 | 7.696 | 889.725 | 56.821 | 83.5697
2020-10-07 04:00:00 | 18.098 | 261.653 | 20.001 | 259.747 | 21.406 | 262.433 | 21.814 | 258.717 | 7.916 | 889.908 | 59.536 | 92.4014
2020-10-07 04:15:00 | 17.233 | 266.38 | 19.22 | 261.093 | 20.145 | 265.267 | 20.488 | 260.85 | 7.542 | 890.067 | 62.667 | 95.373
2020-10-07 04:30:00 | 19.175 | 264.2 | 21.464 | 260.791 | 22.708 | 264.033 | 23.604 | 261.333 | 7.189 | 890.033 | 64.027 | 95.9507
2020-10-07 04:45:00 | 16.543 | 261.033 | 19.029 | 259.026 | 20.244 | 262.683 | 20.924 | 259.183 | 6.989 | 889.942 | 65.968 | 91.9921
2020-10-07 05:00:00 | 17.765 | 262.493 | 20.417 | 259.072 | 21.442 | 262.967 | 22.052 | 258.6 | 6.893 | 890.217 | 65.397 | 97.106
2020-10-07 05:15:00 | 19.166 | 267.653 | 22.107 | 263.682 | 23.179 | 268.1 | 23.745 | 262.783 | 6.324 | 889.542 | 67.147 | 93.9703
2020-10-07 05:30:00 | 19.368 | 265.987 | 21.502 | 262.359 | 22.45 | 265.8 | 23.276 | 261.183 | 6.506 | 890.025 | 66.528 | 86.8028
2020-10-07 05:45:00 | 18.054 | 268.4 | 20.231 | 263.454 | 20.983 | 265.967 | 21.486 | 261.483 | 6.682 | 889.725 | 67.659 | 88.9459
2020-10-07 06:00:00 | 18.06 | 275.387 | 20.151 | 268.96 | 20.649 | 273.233 | 21.439 | 268.4 | 6.274 | 889.692 | 69.664 | 97.04
2020-10-07 06:15:00 | 15.63 | 277.387 | 17.257 | 270.77 | 17.895 | 275.567 | 19.049 | 270.933 | 6.539 | 889.733 | 69.301 | 97.887
2020-10-07 06:30:00 | 15.488 | 284.507 | 17.648 | 277.826 | 18.588 | 281 | 19.373 | 277.367 | 6.635 | 889.692 | 66.507 | 98.0944
2020-10-07 06:45:00 | 16.749 | 275.68 | 19.19 | 267.086 | 20.22 | 271.333 | 20.408 | 268.767 | 6.082 | 890.042 | 62.907 | 98.012
2020-10-07 07:00:00 | 17.868 | 276.56 | 20.464 | 270.696 | 21.06 | 274.7 | 21.768 | 270.5 | 5.704 | 889.808 | 63.669 | 98.0944
2020-10-07 07:15:00 | 17.287 | 275.36 | 19.256 | 270.496 | 19.71 | 273.233 | 20.194 | 269.567 | 5.438 | 889.708 | 64.283 | 97.2787
2020-10-07 07:30:00 | 16.827 | 273.28 | 19.212 | 266.513 | 19.881 | 269.3 | 20.272 | 265.233 | 5.014 | 890.225 | 65.861 | 97.2851
2020-10-07 07:45:00 | 16.672 | 270.8 | 18.661 | 265.193 | 19.196 | 268.433 | 19.356 | 264.333 | 4.819 | 889.675 | 66.395 | 95.0966
2020-10-07 08:00:00 | 16.581 | 268.747 | 18.193 | 265.132 | 19.009 | 269.5 | 19.587 | 265.3 | 4.308 | 889.867 | 65.851 | 96.9888
2020-10-07 08:15:00 | 17.529 | 269.627 | 19.894 | 262.17 | 20.303 | 266.933 | 20.44 | 262.217 | 4.305 | 889.617 | 66.555 | 96.3138
2020-10-07 08:30:00 | 18.075 | 267.533 | 20.054 | 263.018 | 20.665 | 266.867 | 21.119 | 262.7 | 4.066 | 890.017 | 64.491 | 96.3791
2020-10-07 08:45:00 | 15.147 | 273.507 | 17.052 | 268.092 | 17.822 | 271.333 | 18.122 | 267.2 | 4.091 | 889.833 | 65.163 | 92.2287
2020-10-07 09:00:00 | 16.053 | 270.82 | 17.653 | 266.002 | 18.486 | 268.933 | 18.846 | 265.9 | 3.852 | 889.817 | 63.291 | 84.8509
2020-10-07 09:15:00 | 16.48 | 274.173 | 18.292 | 269.309 | 19.142 | 273.067 | 19.828 | 270.3 | 4 | 890.317 | 60.587 | 75.6071
2020-10-07 09:30:00 | 15.25 | 272.087 | 16.751 | 267.074 | 17.469 | 269.333 | 17.309 | 266.233 | 3.985 | 889.708 | 64.107 | 72.6988
2020-10-07 09:45:00 | 14.687 | 267 | 16.22 | 260.566 | 16.586 | 265.4 | 16.518 | 259.583 | 3.555 | 890.017 | 68.187 | 71.2087
2020-10-07 10:00:00 | 14.179 | 268.613 | 15.114 | 262.707 | 15.48 | 266.8 | 15.294 | 263.45 | 3.725 | 889.975 | 66.491 | 71.0396
2020-10-07 10:15:00 | 12.17 | 277.067 | 13.28 | 271.769 | 13.828 | 276.267 | 14.221 | 273.7 | 3.538 | 889.708 | 64.907 | 67.7312
2020-10-07 10:30:00 | 11.577 | 281.96 | 12.693 | 276.539 | 13.037 | 278.9 | 13.256 | 275.867 | 3.979 | 889.342 | 63.451 | 71.0659
2020-10-07 10:45:00 | 12.051 | 276.88 | 13.209 | 272.166 | 13.998 | 276.367 | 14.211 | 271.5 | 4.291 | 889.733 | 60.523 | 69.6526
2020-10-07 11:00:00 | 10.566 | 281.773 | 11.615 | 276.574 | 11.919 | 280.433 | 12.226 | 277.167 | 4.265 | 890.067 | 58.149 | 70.8876
2020-10-07 11:15:00 | 10.933 | 293.213 | 11.809 | 285.019 | 12.258 | 287.4 | 12.741 | 285.067 | 4.392 | 889.467 | 54.309 | 69.1921
2020-10-07 11:30:00 | 12.546 | 274.3 | 13.217 | 267.929 | 13.577 | 272.1 | 13.649 | 269.367 | 4.305 | 889.908 | 57.227 | 68.6763
2020-10-07 11:45:00 | 11.565 | 274.467 | 12.788 | 272.801 | 13.203 | 274.767 | 13.392 | 269.533 | 4.702 | 889.783 | 55.867 | 64.1322
2020-10-07 12:00:00 | 11.804 | 276.053 | 13.401 | 272.94 | 13.428 | 276.133 | 13.527 | 271.867 | 4.898 | 890.308 | 57.835 | 61.7731
2020-10-07 12:15:00 | 13.663 | 278.72 | 14.628 | 272.761 | 14.878 | 277.667 | 15.119 | 274.533 | 4.732 | 889.7 | 61.92 | 59.9114
2020-10-07 12:30:00 | 14.185 | 270.44 | 14.987 | 263.171 | 15.807 | 268.567 | 15.925 | 263.133 | 4.513 | 890.3 | 61.717 | 58.9841
2020-10-07 12:45:00 | 14.742 | 269 | 15.965 | 264.582 | 16.194 | 268.1 | 16.122 | 263.7 | 5.912 | 889.8 | 48.229 | 57.9197
2020-10-07 13:00:00 | 17.343 | 268.773 | 18.834 | 263.4 | 19.404 | 268.433 | 19.514 | 263.633 | 6.635 | 889.942 | 43.451 | 57.3264
2020-10-07 13:15:00 | 15.262 | 265.533 | 15.895 | 261.916 | 16.326 | 265.8 | 16.025 | 262.1 | 6.27 | 889.725 | 46.832 | 55.933
2020-10-07 13:30:00 | 14.868 | 269.4 | 16.251 | 262.233 | 16.345 | 267.6 | 16.253 | 263.767 | 6.044 | 890.15 | 48.203 | 55.4313
2020-10-07 13:45:00 | 15.098 | 275.987 | 16.067 | 270.054 | 15.958 | 273.967 | 16.152 | 270.1 | 5.644 | 889.683 | 49.355 | 55.2814
2020-10-07 14:00:00 | 11.726 | 276.693 | 12.406 | 271.298 | 12.669 | 274.667 | 12.734 | 271.667 | 5.438 | 890.175 | 44.384 | 53.1767
2020-10-07 14:15:00 | 11.805 | 265.253 | 12.987 | 259.563 | 13.135 | 264.35 | 13.172 | 262.917 | 6.472 | 889.567 | 37.813 | 52.7439
2020-10-07 14:30:00 | 10.406 | 262.92 | 11.452 | 258.791 | 11.984 | 260.7 | 12.346 | 256.35 | 6.419 | 889.75 | 37.6 | 53.4346
2020-10-07 14:45:00 | 11 | 277.013 | 12.121 | 272.204 | 12.712 | 274.467 | 12.77 | 270.967 | 6.743 | 889.967 | 33.344 | 52.3546
2020-10-07 15:00:00 | 10.94 | 271.9 | 11.566 | 267.74 | 11.763 | 272.417 | 11.594 | 268.95 | 6.806 | 889.767 | 35.264 | 52.3141
2020-10-07 15:15:00 | 12.246 | 276.927 | 13.464 | 272.707 | 13.538 | 276.367 | 13.655 | 274.233 | 6.744 | 889.7 | 35.237 | 51.9048
2020-10-07 15:30:00 | 11.497 | 284.207 | 12.283 | 282.094 | 12.602 | 284.667 | 13.014 | 281.483 | 6.913 | 889.433 | 34.296 | 51.5061
2020-10-07 15:45:00 | 12.759 | 289.76 | 14.009 | 283.777 | 14.257 | 286.333 | 14.252 | 283.267 | 6.168 | 890.017 | 35.168 | 50.7508
2020-10-07 16:00:00 | 12.23 | 284.587 | 13.382 | 276.269 | 14.001 | 278.433 | 14.299 | 276.033 | 6.108 | 889.7 | 35.571 | 48.1373
2020-10-07 16:15:00 | 11.426 | 288.04 | 12.297 | 283.751 | 12.561 | 285.233 | 13.086 | 284.167 | 6.452 | 889.8 | 34.072 | 49.3538
2020-10-07 16:30:00 | 12.301 | 273.587 | 13.506 | 268.958 | 13.92 | 271.3 | 14.101 | 267.5 | 6.654 | 889.833 | 35.248 | 50.7451
2020-10-07 16:45:00 | 12.189 | 280.427 | 12.929 | 275.739 | 12.95 | 278.367 | 13.204 | 275.333 | 5.835 | 889.767 | 37.72 | 50.76
2020-10-07 17:00:00 | 11.414 | 271.927 | 12.8 | 266.962 | 13.013 | 272.05 | 13.136 | 268.133 | 6.532 | 889.767 | 36.632 | 53.2918
2020-10-07 17:15:00 | 11.192 | 279.467 | 12.552 | 275.904 | 13.376 | 277.133 | 13.435 | 275.633 | 5.945 | 889.7 | 36.368 | 51.3548
2020-10-07 17:30:00 | 11.286 | 287.067 | 12.131 | 281.312 | 12.634 | 283.933 | 13.031 | 283.233 | 5.845 | 889.817 | 35.523 | 50.8538
2020-10-07 17:45:00 | 11.967 | 279.293 | 12.876 | 275.375 | 13.053 | 276.567 | 12.953 | 274.033 | 6.035 | 889.833 | 36.571 | 50.9896
2020-10-07 18:00:00 | 11.883 | 283.813 | 12.994 | 277.249 | 13.743 | 279.667 | 14.125 | 277.533 | 5.997 | 889.917 | 36.709 | 51.742
2020-10-07 18:15:00 | 10.457 | 283.68 | 11.607 | 278.567 | 11.907 | 280.4 | 12.295 | 280.333 | 5.733 | 889.567 | 38.608 | 52.3091
2020-10-07 18:30:00 | 10.054 | 284.467 | 11.06 | 277.082 | 11.271 | 281.5 | 11.6 | 278.6 | 5.812 | 889.483 | 38.76 | 68.6621
2020-10-07 18:45:00 | 10.641 | 275.327 | 11.811 | 270.506 | 12.239 | 274.367 | 12.455 | 271.967 | 5.498 | 889.433 | 38.717 | 69.6497
2020-10-07 19:00:00 | 9.418 | 275.533 | 10.708 | 270.344 | 11.146 | 274.4 | 11.419 | 270.133 | 5.068 | 890.233 | 39.648 | 77.606
2020-10-07 19:15:00 | 7.661 | 272.653 | 8.607 | 269.319 | 9.108 | 274.333 | 9.274 | 269.967 | 4.733 | 890.025 | 42.021 | 76.2061
2020-10-07 19:30:00 | 8.404 | 269 | 9.962 | 264.961 | 10.569 | 268.767 | 10.751 | 264.483 | 4.388 | 889.925 | 42.475 | 68.7587
2020-10-07 19:45:00 | 8.773 | 260.433 | 10.219 | 257.541 | 10.856 | 261.317 | 10.884 | 257.75 | 3.924 | 889.842 | 45.013 | 63.3705
2020-10-07 20:00:00 | 8.219 | 267.32 | 9.317 | 260.975 | 10.246 | 266.917 | 10.442 | 262.5 | 4.235 | 889.8 | 45.589 | 57.6092
2020-10-07 20:15:00 | 7.196 | 266.54 | 8.401 | 262.386 | 8.899 | 264.033 | 9.067 | 258.317 | 3.967 | 890.067 | 46.704 | 59.2357
2020-10-07 20:30:00 | 7.402 | 255.2 | 8.484 | 253.64 | 8.972 | 258.083 | 9.094 | 252.567 | 3.572 | 889.958 | 48.619 | 65.915
2020-10-07 20:45:00 | 7.15 | 262.8 | 8.51 | 258.733 | 8.78 | 263.9 | 8.969 | 260.417 | 3.171 | 890.058 | 50.283 | 65.8056
2020-10-07 21:00:00 | 6.523 | 257.207 | 7.656 | 255.143 | 7.956 | 259.917 | 8.085 | 257.533 | 2.639 | 889.592 | 51.941 | 52.0675
2020-10-07 21:15:00 | 6.956 | 265.373 | 8.468 | 261.996 | 8.722 | 266.767 | 8.826 | 260.8 | 2.214 | 890.167 | 52.869 | 48.7513
2020-10-07 21:30:00 | 8.042 | 263.26 | 10.095 | 260.505 | 10.562 | 263.767 | 10.816 | 258.367 | 2.452 | 890.217 | 53.413 | 62.9214
2020-10-07 21:45:00 | 6.831 | 256.18 | 8.568 | 254.236 | 9.208 | 257.717 | 9.368 | 253.633 | 2.781 | 890.333 | 54.629 | 55.1556
2020-10-07 22:00:00 | 7.133 | 254.76 | 8.942 | 252.219 | 9.678 | 256.7 | 9.77 | 252.4 | 2.966 | 890.025 | 55.621 | 42.9736
2020-10-07 22:15:00 | 6.543 | 258.72 | 8.238 | 257.43 | 8.984 | 260.65 | 9.297 | 254.9 | 2.578 | 890.242 | 55.744 | 49.8775
2020-10-07 22:30:00 | 7.984 | 259.7 | 9.622 | 255.97 | 10.602 | 260.917 | 10.708 | 254.5 | 2.578 | 889.942 | 54.699 | 47.1731
2020-10-07 22:45:00 | 5.636 | 244.82 | 6.884 | 248.123 | 7.534 | 252.9 | 7.732 | 250.55 | 2.499 | 890.25 | 55.573 | 38.8275
2020-10-07 23:00:00 | 4.927 | 236.987 | 5.803 | 239.161 | 6.221 | 246.467 | 6.218 | 245.7 | 1.961 | 889.917 | 56.907 | 47.1369
2020-10-07 23:15:00 | 4.904 | 238.507 | 5.766 | 241.159 | 6.308 | 248.567 | 6.523 | 246.2 | 1.159 | 890.183 | 57.76 | 45.7093
2020-10-07 23:30:00 | 6.251 | 246.153 | 7.563 | 245.833 | 8.098 | 250.267 | 8.154 | 246.3 | 1.242 | 889.642 | 58.101 | 48.4585
2020-10-07 23:45:00 | 6.005 | 255.4 | 7.416 | 253.548 | 8.138 | 258.733 | 8.639 | 254.2 | 1.439 | 889.925 | 57.467 | 56.5192