## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-08 00:00:00 | 7.069 | 258.887 | 8.705 | 256.348 | 9.531 | 260.933 | 9.683 | 255 | 2.053 | 889.692 | 56.48 | 60.2219
2020-10-08 00:15:00 | 6.584 | 245.62 | 8.129 | 246.427 | 9.046 | 253.233 | 9.273 | 249.433 | 2.324 | 889.617 | 55.323 | 60.2148
2020-10-08 00:30:00 | 6.069 | 241.647 | 7.449 | 242.346 | 8.103 | 250.367 | 8.235 | 246.783 | 1.459 | 889.842 | 56.715 | 58.0739
2020-10-08 00:45:00 | 6.581 | 240.88 | 7.755 | 240.506 | 8.281 | 248.567 | 8.298 | 247.067 | 1.829 | 889.733 | 57.259 | 53.2229
2020-10-08 01:00:00 | 7.222 | 243.3 | 8.502 | 242.898 | 8.902 | 251.333 | 8.814 | 249.217 | 1.656 | 889.942 | 57.76 | 63.8252
2020-10-08 01:15:00 | 7.299 | 245.953 | 8.668 | 246.339 | 9.262 | 252.333 | 9.156 | 251.117 | 1.779 | 890.183 | 58.283 | 76.079
2020-10-08 01:30:00 | 7.078 | 249.66 | 8.634 | 250.17 | 9.528 | 259.1 | 9.906 | 255.667 | 2.091 | 889.533 | 58.987 | 75.9688
2020-10-08 01:45:00 | 6.637 | 249.26 | 8.42 | 250.852 | 9.176 | 257.667 | 9.419 | 253.417 | 1.68 | 890.258 | 60.528 | 64.1684
2020-10-08 02:00:00 | 7.904 | 256.147 | 9.658 | 255.172 | 10.213 | 260.25 | 10.413 | 255.233 | 2.085 | 889.817 | 60.763 | 64.8278
2020-10-08 02:15:00 | 7.846 | 261.373 | 9.617 | 258.09 | 10.165 | 262.417 | 10.347 | 257.35 | 2.359 | 889.967 | 60.229 | 71.2762
2020-10-08 02:30:00 | 7.856 | 257.26 | 9.177 | 257.906 | 9.672 | 263.1 | 9.921 | 260.217 | 1.966 | 890.492 | 60.048 | 72.8828
2020-10-08 02:45:00 | 7.153 | 260.907 | 8.494 | 259.755 | 9.063 | 263.233 | 9.272 | 259.3 | 2.016 | 889.783 | 60.832 | 66.8856
2020-10-08 03:00:00 | 5.917 | 265.5 | 7.102 | 262.777 | 7.983 | 267.733 | 8.18 | 262.7 | 1.95 | 889.883 | 61.301 | 49.896
2020-10-08 03:15:00 | 4.862 | 259.893 | 6.25 | 257.864 | 6.75 | 262 | 7.211 | 254.583 | 1.835 | 889.842 | 62.491 | 30.1259
2020-10-08 03:30:00 | 6.367 | 260.12 | 8.203 | 257.403 | 8.866 | 261.617 | 9.456 | 257.8 | 1.859 | 889.942 | 63.307 | 34.39
2020-10-08 03:45:00 | 7.664 | 259.267 | 9.166 | 256.484 | 9.91 | 262.4 | 10.015 | 258.3 | 2.151 | 889.75 | 62.48 | 58.0505
2020-10-08 04:00:00 | 8.51 | 263.84 | 9.972 | 259.556 | 10.723 | 263.617 | 10.912 | 261.433 | 2.098 | 890.083 | 61.792 | 69.5297
2020-10-08 04:15:00 | 9.482 | 268.587 | 11.125 | 264.63 | 11.487 | 269.733 | 11.966 | 266.467 | 2.098 | 890.058 | 61.173 | 80.5534
2020-10-08 04:30:00 | 8.812 | 271.16 | 10.63 | 266.582 | 11.697 | 270.567 | 12.36 | 267.1 | 2.517 | 889.792 | 61.285 | 82.0271
2020-10-08 04:45:00 | 10.056 | 269.56 | 11.667 | 264.718 | 12.292 | 268.933 | 12.56 | 264.133 | 2.352 | 889.592 | 61.333 | 88.4812
2020-10-08 05:00:00 | 10.055 | 272.053 | 11.705 | 265.17 | 12.11 | 269.067 | 12.515 | 264.167 | 2.184 | 889.708 | 61.499 | 95.6444
2020-10-08 05:15:00 | 9.269 | 271.08 | 11.026 | 266.518 | 11.543 | 271.4 | 11.996 | 267.233 | 2.467 | 890.075 | 60.592 | 91.2439
2020-10-08 05:30:00 | 8.733 | 275.453 | 10.494 | 270.06 | 11.09 | 274.033 | 11.649 | 269.5 | 2.376 | 889.867 | 59.845 | 90.053
2020-10-08 05:45:00 | 8.308 | 266.593 | 9.991 | 264.325 | 10.612 | 269.433 | 11.272 | 266.467 | 1.9 | 889.408 | 58.827 | 90.2512
2020-10-08 06:00:00 | 8.002 | 265.667 | 9.612 | 263.863 | 10.228 | 268.4 | 10.552 | 265.8 | 2.251 | 889.75 | 58.283 | 81.1133
2020-10-08 06:15:00 | 7.348 | 255.407 | 8.666 | 254.602 | 8.909 | 260.683 | 9.392 | 257.917 | 1.466 | 889.508 | 59.403 | 62.0367
2020-10-08 06:30:00 | 6.145 | 241.36 | 7.395 | 245.644 | 7.742 | 253.1 | 7.798 | 250.517 | 1.276 | 890.092 | 59.915 | 43.7936
2020-10-08 06:45:00 | 6.262 | 252.353 | 7.619 | 249.941 | 7.877 | 257.7 | 8.043 | 255.367 | 1.119 | 889.933 | 61.184 | 37.4845
2020-10-08 07:00:00 | 5.544 | 251.547 | 7.001 | 252.412 | 7.346 | 260 | 7.566 | 257.8 | 1.499 | 889.842 | 60.667 | 32.431
2020-10-08 07:15:00 | 5.593 | 230.827 | 6.707 | 233.492 | 6.952 | 239.233 | 6.778 | 235.067 | 0.982 | 890.008 | 60.672 | 29.4885
2020-10-08 07:30:00 | 5.794 | 232.387 | 6.768 | 234.376 | 6.942 | 239.133 | 6.804 | 235.167 | 0.253 | 889.783 | 61.675 | 30.6297
2020-10-08 07:45:00 | 5.213 | 231.033 | 6.281 | 233.031 | 6.455 | 239.2 | 6.377 | 234.3 | -0.116 | 889.75 | 62.176 | 25.1889
2020-10-08 08:00:00 | 6.143 | 236.027 | 6.392 | 234.464 | 6.499 | 240.2 | 6.549 | 235.067 | 0.948 | 889.75 | 58.72 | 23.8289
2020-10-08 08:15:00 | 6.196 | 232.873 | 6.981 | 233.02 | 6.999 | 237.8 | 6.848 | 232.6 | 1.536 | 890.208 | 55.221 | 27.1074
2020-10-08 08:30:00 | 4.876 | 226.22 | 6.238 | 229.216 | 6.491 | 233.267 | 6.519 | 228.7 | 2.048 | 889.95 | 53.355 | 25.557
2020-10-08 08:45:00 | 5.097 | 238.793 | 6.486 | 242.129 | 6.972 | 249.217 | 6.998 | 245.517 | 2.892 | 890.342 | 50.981 | 26.0281
2020-10-08 09:00:00 | 5.138 | 236.467 | 5.7 | 237.79 | 5.931 | 245.3 | 5.724 | 245.05 | 3.857 | 889.925 | 47.947 | 23.1517
2020-10-08 09:15:00 | 5.548 | 241.687 | 5.851 | 239.878 | 6.071 | 245.333 | 5.998 | 242.333 | 4.067 | 889.85 | 46.421 | 17.5489
2020-10-08 09:30:00 | 5.53 | 247.7 | 5.682 | 241.372 | 5.945 | 244.4 | 6.447 | 238.067 | 4.536 | 889.933 | 45.291 | 11.2248
2020-10-08 09:45:00 | 5.168 | 248.253 | 5.146 | 243.464 | 5.472 | 245.85 | 5.504 | 240.983 | 5.102 | 890 | 40.117 | 8.5517
2020-10-08 10:00:00 | 6.054 | 267.98 | 6.656 | 261.772 | 6.567 | 264.65 | 6.48 | 259.867 | 5.918 | 889.5 | 38.251 | 9.8485
2020-10-08 10:15:00 | 4.898 | 279.267 | 4.985 | 272.198 | 5.37 | 276.6 | 5.488 | 270.4 | 5.982 | 890 | 38.091 | 9.9373
2020-10-08 10:30:00 | 4.302 | 284.707 | 4.401 | 278.828 | 4.485 | 280.733 | 4.576 | 275.517 | 5.755 | 889.883 | 37.131 | 8.0365
2020-10-08 10:45:00 | 4.691 | 278.16 | 5.099 | 274.082 | 5.19 | 276 | 5.379 | 272.533 | 6.697 | 889.933 | 34.571 | 9.3631
2020-10-08 11:00:00 | 5.463 | 281.8 | 5.881 | 275.815 | 5.978 | 278.467 | 6.022 | 276.733 | 7.056 | 889.65 | 32.205 | 12.2146
2020-10-08 11:15:00 | 5.82 | 296.267 | 6.206 | 289.253 | 6.186 | 292.367 | 6.306 | 287.733 | 7.122 | 889.817 | 32.048 | 14.5012
2020-10-08 11:30:00 | 6.023 | 298.32 | 6.293 | 297.347 | 6.49 | 300.9 | 6.783 | 296.167 | 7.626 | 889.883 | 29.869 | 11.3072
2020-10-08 11:45:00 | 4.712 | 298.667 | 5.169 | 293.639 | 5.311 | 296.267 | 5.375 | 290.633 | 7.906 | 889.833 | 29.109 | 13.0126
2020-10-08 12:00:00 | 5.303 | 285.733 | 5.774 | 277.722 | 5.976 | 279.817 | 6.103 | 277.783 | 8.534 | 889.6 | 26.589 | 15.2196
2020-10-08 12:15:00 | 5.129 | 308.747 | 5.131 | 300.091 | 5.149 | 300.8 | 5.192 | 296.467 | 8.887 | 890.017 | 25.368 | 17.7599
2020-10-08 12:30:00 | 6.042 | 323.093 | 5.947 | 314.054 | 6.16 | 316.467 | 6.216 | 313.767 | 8.808 | 889.833 | 26.157 | 17.2028
2020-10-08 12:45:00 | 4.968 | 310.173 | 5.048 | 303.761 | 5.369 | 310.233 | 5.45 | 307.633 | 9.633 | 889.517 | 25.165 | 14.0955
2020-10-08 13:00:00 | 5.481 | 313.733 | 5.537 | 303.59 | 5.374 | 302.467 | 5.718 | 295.733 | 9.649 | 889.667 | 25.019 | 12.4541
2020-10-08 13:15:00 | 5.866 | 330.147 | 5.951 | 325.567 | 6.26 | 330.333 | 6.471 | 314.7 | 10.451 | 889.75 | 24.861 | 12.8058
2020-10-08 13:30:00 | 4.477 | 308.547 | 4.966 | 307.275 | 5.297 | 313.467 | 5.713 | 310.633 | 10.501 | 889.867 | 24.157 | 15.3383
2020-10-08 13:45:00 | 4.802 | 322.667 | 4.787 | 314.906 | 4.967 | 317.133 | 5.401 | 314.867 | 10.828 | 889.55 | 23.56 | 15.8108
2020-10-08 14:00:00 | 4.775 | 309.561 | 5.079 | 327.915 | 5.128 | 307.7 | 5.18 | 330.4 | 10.67 | 889.95 | 22.888 | 19.4837
2020-10-08 14:15:00 | 4.764 | 331.067 | 4.993 | 313.724 | 5.374 | 331.633 | 5.551 | 331.2 | 10.811 | 889.75 | 22.232 | 22.0055
2020-10-08 14:30:00 | 6.64 | 324.533 | 6.814 | 316.675 | 6.895 | 318.433 | 7.005 | 315.633 | 11.195 | 889.783 | 21.312 | 20.9489
2020-10-08 14:45:00 | 6.357 | 328.307 | 6.466 | 321.584 | 6.58 | 327.8 | 6.836 | 325.2 | 11.403 | 889.683 | 21.384 | 21.6602
2020-10-08 15:00:00 | 6.288 | 333.627 | 6.517 | 325.78 | 6.679 | 330 | 6.92 | 329.467 | 11.77 | 889.9 | 21.368 | 20.3222
2020-10-08 15:15:00 | 6.554 | 324.027 | 6.761 | 318.828 | 7.121 | 324.233 | 7.289 | 320.833 | 11.953 | 889.783 | 20.759 | 20.6832
2020-10-08 15:30:00 | 5.484 | 320.413 | 5.521 | 314.924 | 5.656 | 321.233 | 5.696 | 320.1 | 12.036 | 889.667 | 19.988 | 19.7829
2020-10-08 15:45:00 | 6.307 | 330.8 | 6.539 | 324.336 | 7.019 | 328.133 | 7.454 | 324.167 | 12.353 | 889.033 | 19.747 | 20.0401
2020-10-08 16:00:00 | 5.228 | 294.934 | 5.259 | 312.81 | 5.369 | 294.667 | 5.606 | 293.367 | 12.847 | 889.567 | 19.684 | 24.4385
2020-10-08 16:15:00 | 5.111 | 310.32 | 5.442 | 317.427 | 5.872 | 319.067 | 6.102 | 316.933 | 12.486 | 889.6 | 19.273 | 19.8056
2020-10-08 16:30:00 | 6.885 | 320.68 | 7.309 | 315.136 | 7.375 | 320.5 | 7.905 | 317.4 | 12.978 | 889.5 | 17.516 | 22.8568
2020-10-08 16:45:00 | 8.16 | 320.013 | 8.363 | 313.992 | 8.837 | 320.933 | 9.207 | 320.533 | 13.055 | 889.533 | 16.884 | 25.0198
2020-10-08 17:00:00 | 7.454 | 313.333 | 7.715 | 306.769 | 7.644 | 310.033 | 7.966 | 308.367 | 12.984 | 889.367 | 17.059 | 33.7057
2020-10-08 17:15:00 | 6.759 | 317.067 | 6.821 | 313.036 | 6.998 | 319.033 | 7.493 | 317.233 | 12.597 | 889.633 | 17.917 | 31.2571
2020-10-08 17:30:00 | 7.751 | 321.267 | 8.263 | 315.805 | 8.757 | 322.4 | 8.808 | 318.8 | 12.503 | 889.633 | 18.264 | 36.6844
2020-10-08 17:45:00 | 7.588 | 320.293 | 7.837 | 315.271 | 7.961 | 318.633 | 8.034 | 318.267 | 12.478 | 889.167 | 19.14 | 40.815
2020-10-08 18:00:00 | 6.451 | 319.333 | 6.678 | 314.334 | 6.684 | 319.2 | 7.15 | 317.033 | 12.182 | 889.633 | 19.465 | 34.628
2020-10-08 18:15:00 | 7.442 | 326.28 | 7.517 | 319.127 | 7.775 | 323.133 | 8.037 | 322.067 | 11.949 | 889.467 | 20.069 | 32.2569
2020-10-08 18:30:00 | 6.502 | 327.613 | 7.007 | 321.976 | 7.109 | 324.867 | 7.512 | 323.067 | 12.016 | 889.667 | 20.189 | 33.3881
2020-10-08 18:45:00 | 5.816 | 320.133 | 6.382 | 315.217 | 6.603 | 320.367 | 7.002 | 319.133 | 11.161 | 889.3 | 20.431 | 29.0416
2020-10-08 19:00:00 | 4.971 | 326.6 | 5.967 | 319.254 | 6.469 | 322.867 | 6.808 | 322.333 | 11.295 | 889.583 | 21.501 | 23.9113
2020-10-08 19:15:00 | 5.216 | 325.067 | 5.692 | 319.845 | 5.957 | 324.133 | 6.526 | 324.367 | 10.33 | 889.833 | 23.768 | 22.8291
2020-10-08 19:30:00 | 4.47 | 318.88 | 5.66 | 313.749 | 6.122 | 318.633 | 6.553 | 317.067 | 10.03 | 889.533 | 24.925 | 18.5834
2020-10-08 19:45:00 | 4.077 | 315.733 | 4.98 | 308.93 | 5.344 | 314.633 | 6.017 | 312.7 | 9.528 | 889.5 | 25.52 | 17.9937
2020-10-08 20:00:00 | 4.202 | 311.867 | 5.316 | 308.084 | 5.933 | 313.467 | 6.504 | 312.267 | 8.828 | 889.717 | 26.307 | 17.2788
2020-10-08 20:15:00 | 3.962 | 305.16 | 5.418 | 300.532 | 6.331 | 305.967 | 6.974 | 304.667 | 8.758 | 889.35 | 26.909 | 17.1588
2020-10-08 20:30:00 | 4.138 | 303.027 | 5.3 | 302.082 | 5.862 | 308.333 | 6.891 | 304.4 | 8.584 | 889.65 | 27.691 | 18.1827
2020-10-08 20:45:00 | 4.217 | 292.187 | 5.508 | 294.254 | 6.08 | 300.333 | 6.612 | 297.733 | 8.01 | 889.9 | 28.632 | 14.4195
2020-10-08 21:00:00 | 3.622 | 289.613 | 4.941 | 292.087 | 5.457 | 298.9 | 6.079 | 297.233 | 7.736 | 889.7 | 29.475 | 8.6554
2020-10-08 21:15:00 | 3.659 | 235.167 | 3.468 | 243.945 | 3.698 | 263.233 | 4.719 | 274.067 | 6.624 | 889.65 | 30.744 | 5.1445
2020-10-08 21:30:00 | 3.53 | 268.647 | 4.016 | 271.677 | 4.507 | 279.867 | 5.322 | 279.233 | 7.006 | 889.75 | 30.659 | 5.2738
2020-10-08 21:45:00 | 3.77 | 227.367 | 3.58 | 256.785 | 4.194 | 273.533 | 4.73 | 273.933 | 5.102 | 889.533 | 30.437 | 3.7717
2020-10-08 22:00:00 | 3.807 | 231.867 | 3.46 | 255.186 | 3.377 | 270.333 | 3.844 | 277.033 | 4.769 | 889.733 | 31.387 | 2.7314
2020-10-08 22:15:00 | 3.787 | 227.34 | 3.582 | 248.968 | 3.301 | 262.8 | 3.609 | 269.833 | 4.442 | 889.85 | 32.533 | 2.109
2020-10-08 22:30:00 | 3.595 | 243.067 | 3.093 | 259.819 | 3.064 | 273.2 | 3.508 | 272.767 | 4.619 | 889.4 | 34.352 | 1.0282
2020-10-08 22:45:00 | 4.084 | 231.633 | 3.037 | 255.226 | 3.032 | 268.067 | 3.514 | 269.2 | 4.869 | 890.367 | 33.035 | 0.44268
2020-10-08 23:00:00 | 2.99 | 231.647 | 1.825 | 264.954 | 1.637 | 275.933 | 2.482 | 278 | 4.892 | 889.833 | 34.091 | 0.22028
2020-10-08 23:15:00 | 4.855 | 201.413 | 3.176 | 215.712 | 1.964 | 236.133 | 1.65 | 271.067 | 4.327 | 889.783 | 33.509 | 0.2288
2020-10-08 23:30:00 | 4.719 | 210.32 | 3.714 | 211.447 | 2.819 | 213.133 | 2.63 | 218.267 | 4.612 | 889.683 | 34.181 | 0.22596
2020-10-08 23:45:00 | 3.362 | 216.967 | 2.69 | 218.976 | 1.998 | 219.967 | 2.01 | 216 | 5.895 | 890.033 | 32.485 | 0.22738