## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-09 00:00:00 | 3.88 | 226.073 | 2.639 | 220.221 | 2.578 | 224.8 | 2.752 | 218.433 | 5.385 | 889.3 | 31.637 | 0.21814
2020-10-09 00:15:00 | 4.085 | 226.707 | 3.592 | 229.009 | 3.669 | 235.533 | 3.667 | 232.733 | 5.221 | 889.983 | 32.683 | 2.0173
2020-10-09 00:30:00 | 3.968 | 227.56 | 3.009 | 228.861 | 2.954 | 233.6 | 3.256 | 230.6 | 5.148 | 889.983 | 32.837 | 2.7065
2020-10-09 00:45:00 | 4.144 | 226.113 | 2.964 | 228.374 | 3.039 | 235.433 | 3.246 | 235.933 | 4.444 | 889.633 | 34.629 | 1.7977
2020-10-09 01:00:00 | 3.943 | 226.507 | 2.281 | 249.916 | 2.526 | 255 | 2.913 | 252.3 | 4.607 | 889.7 | 33.84 | 1.333
2020-10-09 01:15:00 | 3.477 | 234.513 | 2.464 | 254.452 | 2.358 | 268 | 3.065 | 262.867 | 4.096 | 889.25 | 34.976 | 0.28281
2020-10-09 01:30:00 | 4.268 | 230.567 | 3.058 | 236.649 | 2.811 | 245.067 | 3.1 | 253.8 | 4.073 | 889.583 | 34.827 | 0.10943
2020-10-09 01:45:00 | 4.651 | 235.207 | 3.477 | 237.546 | 2.991 | 242.1 | 3.135 | 241.4 | 4.274 | 889.467 | 35.541 | 0.18119
2020-10-09 02:00:00 | 4.259 | 232.14 | 3.89 | 235.593 | 3.312 | 238 | 3.04 | 238.067 | 3.808 | 889.983 | 37.131 | 0.1073
2020-10-09 02:15:00 | 5.08 | 227.72 | 3.234 | 233.565 | 2.637 | 242.9 | 2.72 | 239.933 | 2.847 | 889.533 | 37.611 | 0.078873
2020-10-09 02:30:00 | 4.614 | 230.133 | 2.83 | 234.138 | 2.234 | 244 | 2.609 | 243.367 | 2.148 | 889.917 | 38.827 | 0.22667
2020-10-09 02:45:00 | 3.319 | 235.733 | 1.97 | 244.529 | 1.718 | 254.967 | 2.237 | 251.567 | 3.003 | 889.967 | 37.504 | 0.31691
2020-10-09 03:00:00 | 4.99 | 229.607 | 2.976 | 245.993 | 1.984 | 262.733 | 2.101 | 254.117 | 2.844 | 889.15 | 36.763 | 0.25012
2020-10-09 03:15:00 | 5.422 | 223.46 | 3.642 | 234.742 | 2.57 | 245.9 | 2.062 | 237.033 | 1.389 | 890.117 | 38.651 | 0.24657
2020-10-09 03:30:00 | 5.595 | 224.14 | 2.924 | 241.622 | 1.974 | 248.567 | 2.09 | 238 | 0.982 | 889.4 | 37.675 | 0.1947
2020-10-09 03:45:00 | 5.051 | 232.593 | 3.053 | 253.552 | 2.482 | 264.133 | 2.421 | 256.9 | 0.532 | 889.5 | 35.949 | 0.13145
2020-10-09 04:00:00 | 5.613 | 228.32 | 4.082 | 241.895 | 3.371 | 256.533 | 2.994 | 267.467 | 0.366 | 890.05 | 34.224 | 0.17835
2020-10-09 04:15:00 | 5.313 | 228.133 | 3.56 | 241.992 | 3.237 | 250.133 | 3.057 | 245 | 0.349 | 890.083 | 33.616 | 0.098769
2020-10-09 04:30:00 | 4.601 | 236.42 | 2.942 | 256.001 | 2.815 | 260 | 2.732 | 254.5 | 1.016 | 889.5 | 32.195 | 0.15206
2020-10-09 04:45:00 | 6.291 | 225.573 | 5.247 | 240.655 | 3.909 | 249.5 | 3.047 | 249.3 | -0.249 | 889.767 | 32.736 | 0.99764
2020-10-09 05:00:00 | 6.119 | 224.173 | 3.975 | 240.776 | 3.334 | 250.267 | 2.664 | 251.567 | -0.133 | 890.167 | 32.656 | 2.0038
2020-10-09 05:15:00 | 5.668 | 224.74 | 4.362 | 246.38 | 3.491 | 253.6 | 3.276 | 250.517 | -0.05 | 889.567 | 33.168 | 2.4515
2020-10-09 05:30:00 | 5.934 | 221.5 | 4.355 | 243.215 | 3.738 | 255.967 | 3.658 | 254.133 | 0.116 | 889.9 | 33.915 | 2.9894
2020-10-09 05:45:00 | 6.113 | 221.24 | 4.979 | 240.951 | 4.088 | 252.667 | 4.038 | 258 | -0.05 | 889.733 | 33.536 | 3.5052
2020-10-09 06:00:00 | 6.343 | 219.987 | 4.842 | 234.713 | 4.48 | 244.8 | 4.399 | 243.567 | 0.233 | 889.967 | 32.368 | 4.1277
2020-10-09 06:15:00 | 6.913 | 215.14 | 5.175 | 227.93 | 4.659 | 237.967 | 4.442 | 236.667 | -0.05 | 889.867 | 32.405 | 4.8915
2020-10-09 06:30:00 | 7.063 | 214.267 | 5.902 | 220.412 | 5.264 | 229.133 | 4.867 | 227.167 | 0.216 | 889.883 | 32.075 | 6.9785
2020-10-09 06:45:00 | 7.248 | 212.787 | 6.526 | 214.224 | 6.238 | 220.433 | 5.637 | 218.533 | 1.165 | 889.667 | 30.795 | 10.3736
2020-10-09 07:00:00 | 6.762 | 218.88 | 6.249 | 218.056 | 5.68 | 225.067 | 5.279 | 223.567 | 0.948 | 889.533 | 30.293 | 10.154
2020-10-09 07:15:00 | 6.637 | 217.84 | 5.627 | 222.232 | 5.264 | 229.733 | 5.127 | 229.133 | 0.882 | 889.633 | 30.832 | 8.2014
2020-10-09 07:30:00 | 6.334 | 215.533 | 6.221 | 217.809 | 5.427 | 223.8 | 4.785 | 223.467 | 0.682 | 889.95 | 31.269 | 7.4794
2020-10-09 07:45:00 | 7.281 | 214.793 | 6.982 | 212.398 | 6.126 | 213.833 | 5.411 | 213.767 | 1.015 | 889.567 | 30.928 | 6.4697
2020-10-09 08:00:00 | 6.218 | 212.507 | 6.49 | 210.205 | 5.717 | 211.967 | 5.186 | 211.967 | 1.958 | 889.917 | 29.771 | 8.8394
2020-10-09 08:15:00 | 5.056 | 210.12 | 6.554 | 211.502 | 5.884 | 211.933 | 5.139 | 211.3 | 1.861 | 889.783 | 30.005 | 7.5256
2020-10-09 08:30:00 | 5.544 | 211.187 | 5.8 | 210.032 | 5.053 | 211.933 | 4.571 | 207.467 | 2.594 | 889.85 | 28.891 | 6.0022
2020-10-09 08:45:00 | 4.754 | 213.8 | 5.382 | 212.643 | 5.158 | 216.433 | 4.68 | 211.967 | 3.706 | 889.5 | 27.317 | 4.6905
2020-10-09 09:00:00 | 3.276 | 204.287 | 4.574 | 207.931 | 4.614 | 213.1 | 4.448 | 211.3 | 4.961 | 889.433 | 27.013 | 3.5869
2020-10-09 09:15:00 | 2.874 | 219.3 | 3.611 | 216.483 | 4.563 | 222.3 | 4.062 | 219.9 | 6.79 | 889.767 | 27.109 | 1.0566
2020-10-09 09:30:00 | 3.616 | 222.733 | 3.698 | 219.953 | 3.614 | 228.467 | 3.279 | 231.967 | 7.489 | 889.733 | 24.565 | 0.70062
2020-10-09 09:45:00 | 2.565 | 233.92 | 2.4 | 233.216 | 2.309 | 240.6 | 2.524 | 234.867 | 8.983 | 889.65 | 23.285 | 0.25154
2020-10-09 10:00:00 | 2.867 | 250.173 | 2.71 | 249.979 | 2.473 | 254.633 | 2.75 | 257.2 | 10.203 | 889.717 | 21.24 | 0.13714
2020-10-09 10:15:00 | 1.72 | 284.067 | 1.16 | 293.659 | 1.15 | 276.35 | 2.066 | 271.217 | 9.799 | 889.3 | 19.621 | 0.27357
2020-10-09 10:30:00 | 3.642 | 332.933 | 3.618 | 328.02 | 3.453 | 332.7 | 3.617 | 330.9 | 9.099 | 889.733 | 19.856 | 0.53008
2020-10-09 10:45:00 | 4.433 | 336.52 | 4.456 | 334.005 | 4.534 | 338.567 | 4.817 | 336.633 | 9.266 | 889.367 | 20.191 | 4.2066
2020-10-09 11:00:00 | 3.341 | 311.853 | 3.346 | 307.21 | 3.523 | 292.433 | 3.978 | 260.9 | 9.299 | 889.533 | 20.392 | 5.5886
2020-10-09 11:15:00 | 4.265 | 316.747 | 4.42 | 314.34 | 4.496 | 319.5 | 5.063 | 315.867 | 9.516 | 889.367 | 20.4 | 7.4588
2020-10-09 11:30:00 | 5.37 | 329 | 5.574 | 321.601 | 5.763 | 328.833 | 5.754 | 325.733 | 9.545 | 889.8 | 20.089 | 10.5498
2020-10-09 11:45:00 | 5.302 | 320.36 | 5.49 | 313.487 | 5.403 | 316.9 | 5.634 | 316.733 | 9.574 | 889.667 | 20.123 | 11.6782
2020-10-09 12:00:00 | 4.506 | 333.12 | 4.593 | 324.182 | 4.786 | 328.667 | 5.154 | 326.3 | 9.822 | 889.667 | 20.313 | 10.0979
2020-10-09 12:15:00 | 5.268 | 314.373 | 5.326 | 312.962 | 5.564 | 316.533 | 5.806 | 315.067 | 10.055 | 889.7 | 20.567 | 9.8527
2020-10-09 12:30:00 | 4.526 | 305.627 | 4.796 | 297.637 | 4.944 | 303.233 | 5.056 | 300.467 | 10.389 | 889.883 | 21.099 | 9.7269
2020-10-09 12:45:00 | 4.713 | 319.853 | 4.805 | 312.366 | 4.899 | 317.3 | 5.227 | 316.033 | 10.597 | 889.6 | 20.583 | 9.1827
2020-10-09 13:00:00 | 5.701 | 282.201 | 5.865 | 288.768 | 5.885 | 234.4 | 5.952 | 255.467 | 10.895 | 890 | 20.409 | 13.1263
2020-10-09 13:15:00 | 4.718 | 318.96 | 4.711 | 321.951 | 5.22 | 324.367 | 5.542 | 323.833 | 10.645 | 889.333 | 20.275 | 15.8954
2020-10-09 13:30:00 | 4.619 | 293.4 | 5.168 | 291.648 | 5.144 | 298.967 | 5.388 | 299.033 | 11.011 | 889.833 | 20.14 | 14.0529
2020-10-09 13:45:00 | 4.464 | 282.007 | 5.126 | 264.14 | 5.355 | 259.634 | 5.857 | 289.8 | 10.678 | 889.7 | 20.477 | 15.3127
2020-10-09 14:00:00 | 6.853 | 322.933 | 6.957 | 320.643 | 6.95 | 314.467 | 7.216 | 322.533 | 11.261 | 889.7 | 20.099 | 21.6062
2020-10-09 14:15:00 | 5.7 | 313.933 | 6.321 | 308.619 | 6.733 | 314.667 | 6.935 | 313.067 | 10.928 | 889.633 | 19.968 | 22.326
2020-10-09 14:30:00 | 6.231 | 334.4 | 6.522 | 313.391 | 6.809 | 328.6 | 6.966 | 328.367 | 11.011 | 889.6 | 19.585 | 29.9546
2020-10-09 14:45:00 | 7.48 | 315.44 | 7.906 | 309.776 | 8.063 | 312.6 | 8.482 | 311.567 | 11.52 | 889.067 | 18.995 | 33.4442
2020-10-09 15:00:00 | 6.209 | 312.907 | 7.008 | 304.338 | 7.115 | 305.567 | 7.24 | 303.267 | 11.636 | 889.6 | 19.012 | 43.1627
2020-10-09 15:15:00 | 9.349 | 315.733 | 9.84 | 311.11 | 10.091 | 315.333 | 10.313 | 312 | 11.753 | 889.533 | 20.009 | 53.8936
2020-10-09 15:30:00 | 8.233 | 302.8 | 8.363 | 297.815 | 8.5 | 300.333 | 8.755 | 298.267 | 11.599 | 889.5 | 19.989 | 53.5682
2020-10-09 15:45:00 | 8.277 | 299.467 | 8.499 | 292.91 | 8.723 | 297 | 9.149 | 293.167 | 11.161 | 889.3 | 19.711 | 55.9927
2020-10-09 16:00:00 | 10.696 | 295.067 | 11.196 | 288.201 | 11.408 | 292.067 | 11.64 | 292.467 | 11.111 | 889.783 | 20.513 | 53.8617
2020-10-09 16:15:00 | 8.856 | 308.667 | 9.676 | 303.322 | 9.816 | 309.367 | 10.194 | 307.133 | 10.702 | 889.85 | 21.472 | 66.9546
2020-10-09 16:30:00 | 9.612 | 306.733 | 10.255 | 299.885 | 10.752 | 302.733 | 10.986 | 300.567 | 11.111 | 890.083 | 21.475 | 64.1123
2020-10-09 16:45:00 | 8.176 | 305.2 | 8.638 | 299.744 | 8.846 | 305.767 | 9.137 | 306.267 | 11.028 | 890.217 | 22.885 | 72.5254
2020-10-09 17:00:00 | 8.244 | 312.253 | 8.632 | 305.187 | 9.136 | 308.567 | 9.766 | 304.9 | 10.74 | 889.883 | 22.664 | 66.0543
2020-10-09 17:15:00 | 8.507 | 298.067 | 8.888 | 290.816 | 9.155 | 296.067 | 9.463 | 295.4 | 11.045 | 889.7 | 22.104 | 67.2494
2020-10-09 17:30:00 | 9.621 | 311.4 | 10.38 | 305.929 | 10.728 | 311.533 | 10.849 | 309.9 | 11.078 | 889.883 | 21.653 | 66.6846
2020-10-09 17:45:00 | 9.286 | 307.707 | 9.967 | 301.642 | 10.074 | 304.333 | 10.542 | 302.233 | 10.52 | 889.733 | 21.747 | 65.7466
2020-10-09 18:00:00 | 9.752 | 290.72 | 10.624 | 284.024 | 10.981 | 287.5 | 11.255 | 285.5 | 10.403 | 889.917 | 22.763 | 68.6343
2020-10-09 18:15:00 | 8.663 | 300.053 | 9.527 | 292.144 | 9.991 | 295.1 | 10.332 | 291.833 | 10.564 | 889.817 | 23.272 | 62.8979
2020-10-09 18:30:00 | 8.583 | 291.667 | 9.43 | 286.595 | 10.163 | 290.3 | 10.418 | 288.433 | 10.237 | 889.6 | 23.352 | 70.4214
2020-10-09 18:45:00 | 8.698 | 285.893 | 9.944 | 281.552 | 10.327 | 283.667 | 10.798 | 283.133 | 10.178 | 889.717 | 24.923 | 71.9754
2020-10-09 19:00:00 | 8.98 | 299.6 | 9.973 | 294.68 | 10.6 | 298.833 | 11.102 | 294.067 | 9.662 | 889.75 | 27.528 | 79.4911
2020-10-09 19:15:00 | 9.046 | 286.667 | 10.011 | 282.71 | 10.558 | 286.533 | 10.85 | 286.5 | 8.791 | 890.033 | 28.912 | 77.4525
2020-10-09 19:30:00 | 6.95 | 309.693 | 7.393 | 302.848 | 7.938 | 308.433 | 8.613 | 305.133 | 8.978 | 889.967 | 30.771 | 62.6073
2020-10-09 19:45:00 | 7.039 | 312.267 | 7.809 | 306.54 | 8.306 | 309.733 | 8.908 | 308.7 | 8.173 | 889.867 | 32.608 | 53.9981
2020-10-09 20:00:00 | 6.678 | 302.667 | 7.734 | 297.574 | 8.006 | 302.933 | 8.141 | 302 | 8.39 | 889.783 | 33.408 | 50.7984
2020-10-09 20:15:00 | 5.869 | 297.92 | 6.541 | 293.99 | 6.972 | 296.6 | 7.386 | 296.133 | 7.876 | 890 | 33.64 | 48.4436
2020-10-09 20:30:00 | 7.937 | 293.573 | 8.796 | 288.667 | 8.941 | 293.6 | 9.637 | 293.167 | 7.896 | 890.2 | 36.445 | 48.2617
2020-10-09 20:45:00 | 9.117 | 297.253 | 9.927 | 289.76 | 10.361 | 293.7 | 11.359 | 291.267 | 7.676 | 889.517 | 37.755 | 59.3529
2020-10-09 21:00:00 | 8.531 | 290.533 | 9.218 | 282.804 | 9.632 | 286.967 | 10.205 | 285.1 | 7.339 | 889.767 | 38.461 | 69.546
2020-10-09 21:15:00 | 8.69 | 293.667 | 9.591 | 288.933 | 10.157 | 292.367 | 10.683 | 289.967 | 7.039 | 890.167 | 39.037 | 63.8188
2020-10-09 21:30:00 | 7.403 | 289.933 | 8.669 | 282.809 | 9.066 | 286.733 | 9.584 | 284 | 7.106 | 890.167 | 39.675 | 62.797
2020-10-09 21:45:00 | 9.751 | 295.027 | 11.305 | 288.95 | 11.937 | 292.833 | 12.466 | 290.667 | 6.864 | 889.842 | 42.869 | 72.0145
2020-10-09 22:00:00 | 8.01 | 291.28 | 8.885 | 285.625 | 9.129 | 287.3 | 9.498 | 284.167 | 6.396 | 889.525 | 45.931 | 68.9179
2020-10-09 22:15:00 | 9.151 | 290.187 | 9.946 | 285.844 | 10.203 | 288.867 | 10.436 | 289.133 | 6.091 | 889.392 | 47.056 | 58.0775
2020-10-09 22:30:00 | 8.231 | 293.333 | 8.496 | 287.787 | 9.194 | 293.033 | 9.737 | 292.6 | 5.762 | 889.992 | 48.336 | 59.9782
2020-10-09 22:45:00 | 9.117 | 292.067 | 9.862 | 287.066 | 10.42 | 289.7 | 10.895 | 288.233 | 5.928 | 889.825 | 48.896 | 63.8799
2020-10-09 23:00:00 | 10.671 | 290.32 | 11.634 | 287.993 | 12.517 | 290.233 | 13.093 | 288.533 | 5.942 | 889.558 | 49.36 | 66.6419
2020-10-09 23:15:00 | 8.905 | 294.387 | 9.987 | 288.9 | 10.372 | 292.5 | 10.975 | 290.167 | 5.495 | 890.15 | 50.331 | 61.4221
2020-10-09 23:30:00 | 8.834 | 291.547 | 9.533 | 284.922 | 9.739 | 286.867 | 10.069 | 286.333 | 5.518 | 889.625 | 50.816 | 58.0583
2020-10-09 23:45:00 | 8.27 | 287.133 | 9.216 | 282.08 | 9.548 | 285 | 9.764 | 283.333 | 5.068 | 890.35 | 51.621 | 64.7106