## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-10 00:00:00 | 9.221 | 288.6 | 10.058 | 283.784 | 10.606 | 286.767 | 10.765 | 286.067 | 5.216 | 889.858 | 53.029 | 64.2843
2020-10-10 00:15:00 | 8.44 | 281.8 | 9.165 | 276.762 | 9.64 | 280.467 | 10.274 | 277.133 | 4.719 | 889.633 | 54.629 | 56.7416
2020-10-10 00:30:00 | 10.38 | 279.133 | 11.502 | 274.743 | 11.819 | 277.5 | 12.136 | 274.6 | 4.752 | 889.592 | 54.24 | 57.1416
2020-10-10 00:45:00 | 10.435 | 279.593 | 11.192 | 273.32 | 11.783 | 277.033 | 12.11 | 273.7 | 4.685 | 889.725 | 52.549 | 56.6258
2020-10-10 01:00:00 | 9.749 | 274.067 | 10.846 | 267.62 | 11.303 | 272.967 | 11.695 | 268.2 | 4.952 | 889.917 | 53.44 | 55.2899
2020-10-10 01:15:00 | 10.366 | 280.32 | 11.467 | 272.432 | 12.129 | 275.667 | 12.592 | 273.033 | 4.749 | 890.292 | 52.64 | 54.5516
2020-10-10 01:30:00 | 8.039 | 279.12 | 8.888 | 273.75 | 10.013 | 278.633 | 10.477 | 273.7 | 4.55 | 890.167 | 52.523 | 53.9547
2020-10-10 01:45:00 | 8.39 | 273.347 | 9.18 | 273.439 | 9.387 | 277.5 | 9.782 | 274.8 | 4.226 | 890.042 | 52.704 | 57.0947
2020-10-10 02:00:00 | 6.304 | 273 | 7.169 | 269.193 | 7.864 | 272.4 | 8.304 | 267 | 4.458 | 889.758 | 52.805 | 52.3759
2020-10-10 02:15:00 | 6.909 | 275.16 | 7.689 | 270.337 | 7.737 | 275.6 | 8.203 | 270.333 | 4.461 | 889.65 | 53.141 | 50.8567
2020-10-10 02:30:00 | 8.554 | 279.52 | 9.804 | 276.27 | 10.467 | 280.033 | 10.832 | 277.367 | 4.318 | 889.992 | 52.864 | 53.2754
2020-10-10 02:45:00 | 7.943 | 283.587 | 9.071 | 277.047 | 9.571 | 280.967 | 10.172 | 277.133 | 4.435 | 890.55 | 52.149 | 54.6156
2020-10-10 03:00:00 | 10.322 | 289.333 | 11.131 | 281.829 | 11.311 | 284.667 | 11.362 | 283.533 | 4.554 | 890.1 | 52.523 | 63.6519
2020-10-10 03:15:00 | 7.152 | 283.16 | 7.998 | 279.94 | 8.144 | 281.8 | 8.66 | 277.967 | 4.246 | 890.417 | 52.8 | 64.7987
2020-10-10 03:30:00 | 9.401 | 284.667 | 10.632 | 281.097 | 11.274 | 283.2 | 11.851 | 282.333 | 4.189 | 889.917 | 54.704 | 67.5756
2020-10-10 03:45:00 | 8.626 | 283.68 | 9.81 | 279.057 | 10.201 | 281.733 | 10.689 | 280.467 | 3.742 | 890.158 | 54.976 | 68.5477
2020-10-10 04:00:00 | 9.429 | 281.747 | 10.83 | 276.711 | 11.519 | 281 | 11.984 | 277.567 | 3.585 | 889.725 | 56.384 | 66.5325
2020-10-10 04:15:00 | 10.648 | 277.313 | 12.072 | 272.181 | 12.943 | 274.8 | 13.431 | 272.967 | 3.908 | 889.583 | 55.925 | 61.4228
2020-10-10 04:30:00 | 9.393 | 285.667 | 10.83 | 279.745 | 11.468 | 282.533 | 12.187 | 280.533 | 3.806 | 889.933 | 56.688 | 68.3537
2020-10-10 04:45:00 | 8.296 | 278.2 | 9.562 | 270.234 | 10.429 | 274 | 10.745 | 270.267 | 3.271 | 890.267 | 57.707 | 68.1355
2020-10-10 05:00:00 | 9.106 | 274.667 | 10.443 | 272.98 | 11.033 | 275.233 | 11.507 | 272.433 | 3.104 | 890.075 | 58.981 | 67.3056
2020-10-10 05:15:00 | 9.806 | 272.6 | 11.286 | 267.154 | 12.096 | 272.567 | 12.376 | 267.933 | 3.254 | 889.858 | 59.547 | 66.1424
2020-10-10 05:30:00 | 9.299 | 272.533 | 10.485 | 264.618 | 10.986 | 269.1 | 11.342 | 263.917 | 2.834 | 889.908 | 60.224 | 64.4129
2020-10-10 05:45:00 | 9.119 | 266.48 | 10.178 | 261.441 | 10.808 | 266.583 | 10.921 | 262.6 | 2.676 | 889.392 | 61.589 | 64.8676
2020-10-10 06:00:00 | 9.643 | 273.387 | 11.028 | 266.602 | 11.64 | 270.133 | 12.285 | 267 | 2.537 | 889.767 | 62.235 | 67.6388
2020-10-10 06:15:00 | 8.388 | 271.293 | 9.682 | 266.29 | 10.576 | 271.533 | 10.993 | 267.167 | 2.618 | 890.017 | 63.04 | 62.2314
2020-10-10 06:30:00 | 8.594 | 262.667 | 9.971 | 262.055 | 10.488 | 266.083 | 10.706 | 261.2 | 2.131 | 889.808 | 63.408 | 59.4616
2020-10-10 06:45:00 | 8.97 | 259.8 | 10.203 | 257.342 | 11.082 | 261.65 | 11.148 | 258 | 2.217 | 890.158 | 64.901 | 59.6464
2020-10-10 07:00:00 | 8.739 | 269.027 | 10.264 | 264.061 | 10.705 | 268.267 | 10.914 | 263.683 | 1.985 | 889.992 | 64.709 | 59.9185
2020-10-10 07:15:00 | 8.452 | 272.653 | 9.978 | 267.239 | 10.576 | 270.8 | 11.278 | 266.783 | 1.815 | 889.6 | 64.613 | 57.6653
2020-10-10 07:30:00 | 8.616 | 265.84 | 10.07 | 262.041 | 10.781 | 266.867 | 11.219 | 265.217 | 1.792 | 889.542 | 66.347 | 55.5748
2020-10-10 07:45:00 | 9.227 | 267.913 | 11.043 | 264.935 | 11.783 | 268.867 | 12.17 | 265.233 | 1.396 | 889.975 | 67.147 | 52.923
2020-10-10 08:00:00 | 8.927 | 267.56 | 10.889 | 262.041 | 11.411 | 268.233 | 11.655 | 264.233 | 1.706 | 889.908 | 67.232 | 60.1992
2020-10-10 08:15:00 | 8.282 | 259.2 | 9.926 | 255.818 | 10.46 | 261.767 | 10.608 | 258.517 | 2.065 | 889.717 | 64.389 | 61.5784
2020-10-10 08:30:00 | 8.121 | 254.187 | 9.378 | 252.951 | 9.99 | 256.133 | 9.848 | 252.583 | 2.81 | 889.9 | 61.259 | 64.7404
2020-10-10 08:45:00 | 7.68 | 255.733 | 8.327 | 253.189 | 8.59 | 258.233 | 8.636 | 254.883 | 3.237 | 890.042 | 59.013 | 58.685
2020-10-10 09:00:00 | 8.886 | 262.807 | 10.114 | 260.188 | 10.854 | 263.933 | 10.834 | 260.633 | 3.317 | 889.633 | 59.275 | 64.9998
2020-10-10 09:15:00 | 8.461 | 266.42 | 9.738 | 261.642 | 10.112 | 266.183 | 9.966 | 261.45 | 3.076 | 890.1 | 59.504 | 66.2298
2020-10-10 09:30:00 | 11.031 | 279.133 | 12.018 | 276.049 | 12.135 | 279.3 | 12.2 | 276.333 | 3.472 | 889.842 | 57.872 | 69.9418
2020-10-10 09:45:00 | 12.497 | 282.733 | 13.715 | 278.994 | 14.076 | 281 | 14.392 | 278.233 | 3.973 | 890.075 | 57.072 | 74.8447
2020-10-10 10:00:00 | 11.567 | 283.013 | 12.526 | 279.846 | 12.727 | 282.967 | 12.892 | 281.567 | 3.977 | 889.725 | 55.435 | 75.4799
2020-10-10 10:15:00 | 10.525 | 283.707 | 11.553 | 279.568 | 11.477 | 282.667 | 11.712 | 281.367 | 4.181 | 889.883 | 56.384 | 70.2018
2020-10-10 10:30:00 | 10.356 | 284.907 | 11.081 | 279.405 | 11.232 | 284.167 | 11.516 | 280.533 | 4.299 | 889.917 | 54.763 | 68.6393
2020-10-10 10:45:00 | 10.426 | 298.96 | 11.038 | 294.734 | 11.486 | 297.6 | 12.057 | 294.1 | 4.594 | 889.933 | 53.845 | 66.0145
2020-10-10 11:00:00 | 11.621 | 290.28 | 12.656 | 286.157 | 12.724 | 288.033 | 12.928 | 287.167 | 4.457 | 889.608 | 54.011 | 62.8439
2020-10-10 11:15:00 | 9.427 | 286.907 | 10.414 | 281.024 | 10.297 | 283.6 | 10.447 | 281.633 | 4.596 | 890.025 | 53.643 | 59.8112
2020-10-10 11:30:00 | 9.452 | 292.8 | 10.26 | 286.224 | 10.552 | 290.8 | 11.249 | 286.267 | 5.085 | 889.875 | 50.432 | 52.3212
2020-10-10 11:45:00 | 10.76 | 291.267 | 11.607 | 286.358 | 11.834 | 288.2 | 12.208 | 286.8 | 4.702 | 889.717 | 51.675 | 48.7925
2020-10-10 12:00:00 | 9.412 | 298.507 | 10.231 | 294.192 | 10.395 | 297.2 | 11.123 | 292.95 | 5.26 | 889.658 | 49.168 | 48.8053
2020-10-10 12:15:00 | 10.047 | 280.293 | 10.81 | 278.374 | 11.086 | 279.767 | 11.45 | 277.1 | 5.521 | 890.125 | 49.669 | 48.2567
2020-10-10 12:30:00 | 11.233 | 305.76 | 12.24 | 299.229 | 12.51 | 302.967 | 13.22 | 300.867 | 4.609 | 889.542 | 54.149 | 49.7773
2020-10-10 12:45:00 | 10.41 | 285.653 | 11.154 | 280.571 | 11.289 | 283.167 | 11.531 | 281.267 | 4.882 | 889.842 | 52.176 | 50.6456
2020-10-10 13:00:00 | 11.532 | 286.6 | 12.221 | 283.189 | 12.397 | 284.533 | 12.752 | 283.567 | 5.432 | 889.792 | 48.037 | 50.7536
2020-10-10 13:15:00 | 10.614 | 278.32 | 11.175 | 274.071 | 11.609 | 278 | 12.004 | 275.333 | 5.793 | 890.192 | 47.605 | 50.8268
2020-10-10 13:30:00 | 10.472 | 288.04 | 11.396 | 283.288 | 11.846 | 287.333 | 12.466 | 284.4 | 5.426 | 889.558 | 48.539 | 50.8808
2020-10-10 13:45:00 | 11.473 | 289.907 | 11.916 | 285.819 | 11.941 | 288.7 | 12.284 | 286.233 | 5.26 | 889.692 | 49.712 | 51.2162
2020-10-10 14:00:00 | 9.416 | 281.547 | 10.24 | 276.18 | 10.652 | 279.5 | 10.833 | 276.567 | 5.224 | 889.767 | 47.925 | 51.2638
2020-10-10 14:15:00 | 9.146 | 280.333 | 9.501 | 274.753 | 9.866 | 278.833 | 10.254 | 274.967 | 6.028 | 889.783 | 44.032 | 51.5267
2020-10-10 14:30:00 | 10.43 | 275.493 | 11.391 | 270.856 | 11.93 | 272.867 | 11.993 | 271.733 | 5.802 | 889.575 | 44.448 | 52.238
2020-10-10 14:45:00 | 9.576 | 282.067 | 10.431 | 277.529 | 10.45 | 280.533 | 10.855 | 277.933 | 6.226 | 889.667 | 42.453 | 53.0211
2020-10-10 15:00:00 | 9.969 | 289.547 | 11.291 | 283.042 | 11.853 | 284.833 | 12.121 | 284.967 | 6.147 | 889.6 | 39.696 | 54.104
2020-10-10 15:15:00 | 12.101 | 286.36 | 13.387 | 281.605 | 13.435 | 284.4 | 13.89 | 282.3 | 6.234 | 890.142 | 40.469 | 55.1016
2020-10-10 15:30:00 | 11.416 | 294.72 | 11.876 | 289.117 | 12.093 | 293.867 | 12.136 | 291.833 | 6.074 | 889.867 | 40.512 | 54.5367
2020-10-10 15:45:00 | 10.702 | 291.373 | 11.775 | 287.878 | 12.374 | 290.4 | 12.761 | 288.633 | 6.551 | 889.85 | 39.955 | 55.0547
2020-10-10 16:00:00 | 11.427 | 283.8 | 12.097 | 280.244 | 12.2 | 283.833 | 12.681 | 281.8 | 6.194 | 889.858 | 41.213 | 55.3304
2020-10-10 16:15:00 | 11.218 | 298.2 | 12.032 | 291.905 | 12.391 | 294.133 | 12.596 | 292.567 | 5.895 | 889.8 | 43.541 | 55.5343
2020-10-10 16:30:00 | 11.838 | 282.093 | 12.846 | 276.466 | 13.244 | 279.6 | 13.297 | 278.5 | 6.15 | 890.125 | 42.392 | 69.843
2020-10-10 16:45:00 | 11.702 | 287.093 | 13.098 | 280.464 | 13.219 | 283.667 | 13.958 | 283.9 | 5.636 | 889.45 | 42.357 | 80.3786
2020-10-10 17:00:00 | 11.124 | 283.72 | 12.241 | 277.399 | 12.864 | 278.733 | 13.338 | 278.467 | 5.925 | 890.008 | 44.144 | 79.2459
2020-10-10 17:15:00 | 12.666 | 281 | 13.869 | 274.028 | 14.115 | 277.567 | 14.24 | 276 | 5.912 | 889.658 | 40.675 | 78.259
2020-10-10 17:30:00 | 12.416 | 285.16 | 13.55 | 277.366 | 14.171 | 280.433 | 14.605 | 278.5 | 5.372 | 889.842 | 42.44 | 79.1863
2020-10-10 17:45:00 | 13.326 | 282.68 | 14.306 | 277.953 | 14.852 | 280.367 | 15.526 | 279.467 | 5.667 | 889.583 | 40.544 | 78.8615
2020-10-10 18:00:00 | 11.801 | 279.6 | 12.937 | 275.166 | 13.269 | 277.5 | 13.664 | 274.667 | 5.2 | 889.725 | 44.107 | 80.0823
2020-10-10 18:15:00 | 10.466 | 278.467 | 11.354 | 274.206 | 11.928 | 277.067 | 12.073 | 275.133 | 4.869 | 889.592 | 47.12 | 81.9354
2020-10-10 18:30:00 | 8.682 | 281.733 | 9.524 | 278.338 | 9.825 | 282.433 | 10.221 | 279.6 | 4.702 | 889.95 | 46.459 | 74.6827
2020-10-10 18:45:00 | 9.358 | 276.933 | 10.926 | 274.073 | 11.485 | 277.533 | 11.964 | 273.533 | 5.226 | 889.608 | 44.155 | 77.5591
2020-10-10 19:00:00 | 7.851 | 262.687 | 9.13 | 259.124 | 9.536 | 263.433 | 10.039 | 259.25 | 4.68 | 889.733 | 49.547 | 76.0804
2020-10-10 19:15:00 | 7.938 | 263.56 | 9.18 | 260.54 | 9.806 | 265.267 | 10.092 | 262.2 | 3.728 | 890.092 | 52.709 | 69.7173
2020-10-10 19:30:00 | 6.88 | 278.053 | 7.957 | 272.262 | 8.146 | 277.367 | 8.659 | 272.467 | 4.235 | 889.883 | 50.053 | 50.9334
2020-10-10 19:45:00 | 7.5 | 278.96 | 8.605 | 273.718 | 8.978 | 278.5 | 9.092 | 273.567 | 4.246 | 890.042 | 51.12 | 45.2929
2020-10-10 20:00:00 | 6.16 | 270.88 | 7.058 | 268.016 | 7.433 | 273.333 | 7.763 | 269.133 | 4.224 | 889.575 | 52.064 | 37.0695
2020-10-10 20:15:00 | 5.815 | 264.267 | 6.875 | 262.257 | 7.244 | 266.067 | 7.447 | 262.15 | 3.605 | 889.933 | 52.229 | 29.7649
2020-10-10 20:30:00 | 5.85 | 265.033 | 6.922 | 262.152 | 7.277 | 266.067 | 7.471 | 263.1 | 3.254 | 889.917 | 53.781 | 34.5456
2020-10-10 20:45:00 | 5.797 | 277.733 | 6.912 | 273.872 | 7.357 | 276.867 | 7.696 | 272.783 | 3.004 | 890.008 | 54.267 | 37.282
2020-10-10 21:00:00 | 5.02 | 269.267 | 6.106 | 266.733 | 6.525 | 271.533 | 6.885 | 267.733 | 3.287 | 889.942 | 54.811 | 36.4421
2020-10-10 21:15:00 | 4.665 | 258.76 | 5.63 | 258.284 | 5.964 | 263.267 | 6.239 | 258.717 | 2.415 | 889.967 | 56.299 | 33.5636
2020-10-10 21:30:00 | 5.195 | 262.4 | 6.406 | 260.275 | 6.722 | 266.967 | 6.808 | 263.35 | 2.639 | 889.667 | 56.517 | 34.1967
2020-10-10 21:45:00 | 4.562 | 262.74 | 5.591 | 263.277 | 6.058 | 266.65 | 6.378 | 265.35 | 2.7 | 890.067 | 55.195 | 27.2694
2020-10-10 22:00:00 | 3.801 | 238.72 | 4.508 | 240.677 | 4.806 | 249.867 | 4.906 | 249.4 | 2.593 | 889.942 | 56.315 | 20.5169
2020-10-10 22:15:00 | 4.308 | 255.407 | 4.916 | 254.382 | 5.365 | 260.3 | 5.723 | 257.117 | 2.098 | 890.092 | 57.04 | 24.6197
2020-10-10 22:30:00 | 5.215 | 254.327 | 6.125 | 256.168 | 6.444 | 262.2 | 6.509 | 259.65 | 2.332 | 889.825 | 54.896 | 29.9909
2020-10-10 22:45:00 | 5.092 | 265.28 | 6.796 | 266.613 | 7.369 | 270.633 | 7.69 | 267.217 | 2.216 | 889.983 | 55.317 | 29.124
2020-10-10 23:00:00 | 4.392 | 259.1 | 5.247 | 261.03 | 5.834 | 265.683 | 6.384 | 262.467 | 2.114 | 890.133 | 55.541 | 27.6823
2020-10-10 23:15:00 | 3.984 | 245.287 | 5.042 | 249.228 | 5.658 | 255.933 | 6.036 | 253.383 | 2.131 | 889.708 | 56.725 | 24.3611
2020-10-10 23:30:00 | 4.11 | 259.04 | 4.999 | 259.63 | 5.58 | 264.633 | 6.038 | 261.6 | 1.72 | 889.9 | 56.949 | 22.7928
2020-10-10 23:45:00 | 4.628 | 253.353 | 5.785 | 253.756 | 6.135 | 260.3 | 6.171 | 256.35 | 1.945 | 889.583 | 57.307 | 20.0358