## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-11 00:00:00 | 3.612 | 242.413 | 4.655 | 252.947 | 5.235 | 260.267 | 5.569 | 259.267 | 1.429 | 889.842 | 58.277 | 22.4987
2020-10-11 00:15:00 | 3.877 | 235.387 | 4.436 | 251.727 | 4.76 | 264.533 | 5.446 | 263.817 | 1.226 | 889.842 | 59.349 | 21.2175
2020-10-11 00:30:00 | 3.516 | 241.313 | 4.491 | 250.96 | 4.964 | 263.833 | 5.389 | 263.167 | 0.965 | 890.142 | 60.725 | 20.4835
2020-10-11 00:45:00 | 3.873 | 256.64 | 4.58 | 259.272 | 5.078 | 262.85 | 5.548 | 262 | 0.915 | 889.85 | 60.864 | 23.745
2020-10-11 01:00:00 | 3.411 | 263.6 | 4.709 | 263.455 | 5.439 | 270.167 | 5.733 | 264.3 | 1.539 | 890.117 | 60.027 | 26.7379
2020-10-11 01:15:00 | 4.622 | 269.507 | 5.885 | 263.863 | 6.492 | 269.633 | 7.103 | 266.633 | 1.319 | 890.025 | 58.741 | 31.3573
2020-10-11 01:30:00 | 6.267 | 262.613 | 7.747 | 260.356 | 8.51 | 265.933 | 9.067 | 261.633 | 1.646 | 889.933 | 58.645 | 41.3628
2020-10-11 01:45:00 | 6.88 | 266.2 | 8.158 | 261.642 | 9.16 | 266 | 9.593 | 262.317 | 1.379 | 890.5 | 58.171 | 58.5884
2020-10-11 02:00:00 | 7.834 | 264.973 | 9.152 | 263.304 | 9.853 | 268.467 | 10.384 | 264.6 | 1.775 | 889.675 | 58.347 | 74.9889
2020-10-11 02:15:00 | 7.52 | 266.68 | 8.714 | 262.313 | 9.516 | 267.267 | 9.835 | 261.833 | 1.686 | 890.008 | 58.304 | 75.8565
2020-10-11 02:30:00 | 7.74 | 267.36 | 9.287 | 262.37 | 9.608 | 266.267 | 10.1 | 263.3 | 1.673 | 889.733 | 58.437 | 78.8786
2020-10-11 02:45:00 | 8.542 | 268.933 | 10.022 | 263.711 | 11.049 | 267.367 | 11.475 | 264.7 | 1.132 | 889.858 | 59.291 | 84.4345
2020-10-11 03:00:00 | 10.198 | 265.56 | 12.158 | 262.132 | 13.213 | 267.1 | 13.848 | 263.067 | 1.346 | 889.708 | 59.584 | 87.0409
2020-10-11 03:15:00 | 11.25 | 267.107 | 13.39 | 263.468 | 14.312 | 267.3 | 14.782 | 262.833 | 1.479 | 889.608 | 60 | 83.9336
2020-10-11 03:30:00 | 11.96 | 268.953 | 14.301 | 262.739 | 15.429 | 268.433 | 15.99 | 264.767 | 1.559 | 889.658 | 59.488 | 80.3452
2020-10-11 03:45:00 | 11.496 | 266.607 | 13.386 | 262.4 | 14.313 | 267.15 | 14.951 | 264.8 | 1.62 | 889.808 | 59.568 | 79.1223
2020-10-11 04:00:00 | 10.871 | 265.753 | 13.114 | 263.089 | 14.304 | 266.033 | 15.016 | 262.867 | 1.342 | 890.2 | 59.856 | 81.7706
2020-10-11 04:15:00 | 10.766 | 262.613 | 12.86 | 260.047 | 13.525 | 265.267 | 14.264 | 259.217 | 1.276 | 889.875 | 59.669 | 82.2381
2020-10-11 04:30:00 | 9.919 | 259.94 | 11.826 | 257.838 | 13.159 | 262.217 | 13.455 | 257.817 | 1.109 | 890.075 | 60.459 | 81.9134
2020-10-11 04:45:00 | 8.854 | 254.553 | 10.685 | 253.236 | 11.712 | 258.2 | 12.073 | 254.55 | 1.185 | 889.767 | 60.805 | 81.7947
2020-10-11 05:00:00 | 8.107 | 248.52 | 9.757 | 246.514 | 10.676 | 253.383 | 11.042 | 249.433 | 0.849 | 889.892 | 61.584 | 81.0678
2020-10-11 05:15:00 | 8.122 | 251.267 | 10.094 | 250.481 | 10.803 | 256.533 | 11.06 | 252.6 | 0.882 | 889.433 | 62.256 | 82.8848
2020-10-11 05:30:00 | 8.023 | 258.94 | 9.523 | 255.098 | 10.103 | 260.017 | 10.411 | 258.533 | 0.582 | 889.892 | 62.379 | 81.3535
2020-10-11 05:45:00 | 7.601 | 256.4 | 9.302 | 253.676 | 9.896 | 259.467 | 10.252 | 255.617 | 0.715 | 889.45 | 62.624 | 73.5749
2020-10-11 06:00:00 | 7.176 | 256.313 | 8.605 | 253.514 | 9.223 | 258.067 | 9.592 | 254.433 | 0.532 | 890.017 | 62.736 | 66.0053
2020-10-11 06:15:00 | 6.871 | 255.727 | 8.496 | 253.348 | 9.031 | 258.8 | 9.341 | 256.467 | 0.2 | 889.95 | 63.989 | 62.8546
2020-10-11 06:30:00 | 6.365 | 249.553 | 7.603 | 250.312 | 7.965 | 256.367 | 8.148 | 253.6 | 0.116 | 890.217 | 65.301 | 64.1912
2020-10-11 06:45:00 | 6.741 | 254.067 | 8.035 | 254 | 8.175 | 260.033 | 8.522 | 256.333 | -0.093 | 890.342 | 66.816 | 69.0735
2020-10-11 07:00:00 | 6.136 | 245.267 | 7.525 | 248.509 | 7.875 | 255.4 | 8.057 | 252.7 | -0.535 | 889.875 | 67.445 | 60.0273
2020-10-11 07:15:00 | 6.322 | 241.613 | 7.512 | 243.442 | 7.725 | 250.967 | 7.839 | 247.917 | -0.932 | 889.85 | 68.939 | 52.6928
2020-10-11 07:30:00 | 6.567 | 242.7 | 7.93 | 241.709 | 8.417 | 247.767 | 8.258 | 243.7 | -0.562 | 889.742 | 69.205 | 51.9915
2020-10-11 07:45:00 | 5.523 | 237.167 | 6.611 | 239.132 | 7.149 | 246.2 | 7.188 | 241.767 | -0.698 | 889.517 | 69.237 | 38.8282
2020-10-11 08:00:00 | 4.993 | 217.267 | 5.772 | 226.254 | 6.214 | 235.767 | 6.33 | 234.5 | -0.376 | 889.508 | 68.288 | 39.3391
2020-10-11 08:15:00 | 4.718 | 216.247 | 5.596 | 227.355 | 6.61 | 237.667 | 7.193 | 236.9 | -0.149 | 889.992 | 67.488 | 41.453
2020-10-11 08:30:00 | 6.133 | 241.113 | 7.532 | 242.411 | 7.998 | 248.467 | 8.366 | 243.233 | 0.865 | 889.558 | 63.989 | 45.4663
2020-10-11 08:45:00 | 5.702 | 238.973 | 6.871 | 236.939 | 7.776 | 243.667 | 7.922 | 239.167 | 1.906 | 889.642 | 59.36 | 44.7451
2020-10-11 09:00:00 | 7.186 | 248.587 | 8.461 | 242.061 | 8.917 | 247.383 | 8.744 | 243.1 | 2.55 | 890.067 | 56.352 | 41.3202
2020-10-11 09:15:00 | 7.267 | 264.967 | 8.235 | 261.011 | 8.605 | 262.467 | 8.654 | 257.767 | 3.321 | 889.833 | 52.651 | 57.5268
2020-10-11 09:30:00 | 10.295 | 264.767 | 11.101 | 259.993 | 11.458 | 264.517 | 11.74 | 258.35 | 3.722 | 890.083 | 48.581 | 68.8617
2020-10-11 09:45:00 | 10.688 | 260.253 | 11.774 | 258.668 | 12.017 | 262.3 | 11.802 | 257.8 | 4.166 | 890.133 | 45.6 | 80.1327
2020-10-11 10:00:00 | 9.622 | 256.813 | 10.225 | 251.994 | 10.359 | 257.283 | 9.988 | 252.517 | 4.583 | 889.792 | 42.581 | 78.1275
2020-10-11 10:15:00 | 10.255 | 252.92 | 10.615 | 248.657 | 10.982 | 253.9 | 10.758 | 249.533 | 4.878 | 889.65 | 39.592 | 79.5387
2020-10-11 10:30:00 | 9.547 | 254.967 | 10.325 | 250.928 | 10.685 | 254.8 | 10.39 | 250.517 | 5.303 | 889.4 | 38.075 | 81.2981
2020-10-11 10:45:00 | 9.629 | 260.56 | 10.214 | 255.513 | 10.711 | 259 | 10.697 | 253.383 | 5.878 | 890.1 | 34.557 | 80.0738
2020-10-11 11:00:00 | 8.17 | 261.86 | 8.833 | 256.692 | 9.232 | 261.233 | 9.243 | 256 | 6.044 | 889.733 | 33.515 | 76.0299
2020-10-11 11:15:00 | 9.115 | 268.487 | 9.811 | 264.585 | 10.006 | 269.933 | 9.901 | 266.033 | 6.018 | 889.4 | 31.88 | 68.4503
2020-10-11 11:30:00 | 8.8 | 276.993 | 9.337 | 270.55 | 9.503 | 275.033 | 9.359 | 271.9 | 5.806 | 889.567 | 31.275 | 68.2123
2020-10-11 11:45:00 | 9.82 | 279.547 | 10.628 | 274.27 | 11.011 | 276.8 | 10.97 | 273.633 | 6.08 | 889.75 | 27.197 | 60.212
2020-10-11 12:00:00 | 8.184 | 283.533 | 8.604 | 275.769 | 8.779 | 280.4 | 8.908 | 277.133 | 5.862 | 889.717 | 28.691 | 51.7101
2020-10-11 12:15:00 | 7.455 | 270.313 | 7.871 | 265.578 | 8.163 | 267.75 | 8.281 | 265.4 | 6.499 | 889.7 | 28.413 | 50.0495
2020-10-11 12:30:00 | 8.653 | 281.76 | 9.065 | 276.971 | 9.194 | 280.3 | 9.46 | 278.3 | 6.731 | 889.55 | 26.581 | 48.0734
2020-10-11 12:45:00 | 8.088 | 289.547 | 8.638 | 284.382 | 8.609 | 287.933 | 8.792 | 286.733 | 6.893 | 889.6 | 27.419 | 55.2728
2020-10-11 13:00:00 | 9.814 | 280.027 | 10.565 | 275.281 | 10.427 | 278.4 | 10.544 | 275.967 | 7.03 | 889.383 | 26.939 | 59.1817
2020-10-11 13:15:00 | 9.79 | 279.127 | 10.258 | 275.469 | 10.387 | 279.833 | 10.596 | 275.4 | 7.072 | 889.35 | 27.027 | 73.2722
2020-10-11 13:30:00 | 9.375 | 287.267 | 9.937 | 284.108 | 10.088 | 286.133 | 10.339 | 286.2 | 7.439 | 889.867 | 26.547 | 70.9281
2020-10-11 13:45:00 | 7.75 | 279.513 | 8.445 | 277.264 | 8.832 | 279.067 | 9.184 | 276.183 | 7.506 | 889.717 | 26.296 | 68.3402
2020-10-11 14:00:00 | 8.315 | 275.773 | 8.86 | 272.621 | 8.991 | 274.867 | 8.899 | 270.667 | 7.532 | 890.1 | 24.725 | 68.9271
2020-10-11 14:15:00 | 8.329 | 285.693 | 9.171 | 277.431 | 9.135 | 278.133 | 9.111 | 271.833 | 7.616 | 889.35 | 23.251 | 67.9153
2020-10-11 14:30:00 | 9.934 | 294.2 | 10.388 | 286.327 | 10.62 | 289.267 | 11.043 | 286.567 | 7.389 | 890.1 | 22.763 | 70.3802
2020-10-11 14:45:00 | 9.082 | 299.08 | 9.726 | 290.83 | 10.138 | 293.167 | 10.403 | 291.5 | 8.137 | 889.483 | 22.157 | 66.5275
2020-10-11 15:00:00 | 8.879 | 283.813 | 9.384 | 276.115 | 9.518 | 277.1 | 9.595 | 273.967 | 7.753 | 889.867 | 21.309 | 61.1514
2020-10-11 15:15:00 | 9.804 | 289.293 | 10.161 | 283.309 | 10.345 | 284.467 | 10.691 | 282.833 | 8.284 | 889.383 | 19.915 | 67.7561
2020-10-11 15:30:00 | 8.475 | 302.653 | 8.699 | 295.114 | 9.032 | 299.667 | 9.737 | 297.3 | 8.01 | 889.383 | 21.208 | 69.762
2020-10-11 15:45:00 | 9.09 | 283.68 | 9.7 | 277.367 | 9.696 | 280.967 | 10.022 | 279.367 | 8.471 | 889.983 | 21.339 | 70.285
2020-10-11 16:00:00 | 8.999 | 297.467 | 9.725 | 291.581 | 10.136 | 293.6 | 10.819 | 294.25 | 8.357 | 889.967 | 21.877 | 72.5446
2020-10-11 16:15:00 | 10.171 | 289.133 | 10.866 | 283.72 | 10.979 | 285.633 | 11.531 | 285.7 | 8.507 | 889.433 | 22.549 | 81.809
2020-10-11 16:30:00 | 9.403 | 289.733 | 9.905 | 286.058 | 9.951 | 289.233 | 10.468 | 288.867 | 8.171 | 889.833 | 22.555 | 81.9525
2020-10-11 16:45:00 | 8.739 | 278.76 | 9.535 | 275.559 | 9.728 | 278.933 | 9.992 | 276.967 | 7.95 | 889.767 | 23.413 | 75.0252
2020-10-11 17:00:00 | 10.298 | 291.2 | 10.943 | 286.234 | 11.268 | 289.2 | 11.812 | 285.933 | 8.324 | 889.383 | 23.299 | 76.6041
2020-10-11 17:15:00 | 10.062 | 292.48 | 10.711 | 287.842 | 10.898 | 291.4 | 11.058 | 289.833 | 8.12 | 889.467 | 23.728 | 79.0832
2020-10-11 17:30:00 | 10.194 | 293.16 | 10.544 | 290.808 | 11.138 | 293.133 | 11.559 | 290.833 | 8.016 | 889.35 | 24.624 | 82.4186
2020-10-11 17:45:00 | 9.53 | 291.347 | 10.081 | 286.556 | 10.42 | 291.233 | 10.948 | 291.233 | 7.836 | 889.517 | 23.664 | 82.1664
2020-10-11 18:00:00 | 9.289 | 295.173 | 10.336 | 289.168 | 10.789 | 292.133 | 11.244 | 290.1 | 7.529 | 889.483 | 26.08 | 81.2554
2020-10-11 18:15:00 | 10.173 | 293.187 | 11.161 | 288.7 | 11.441 | 292.867 | 11.94 | 290.033 | 7.943 | 890.117 | 25.824 | 78.3137
2020-10-11 18:30:00 | 8.633 | 286.067 | 9.786 | 278.514 | 10.348 | 280.933 | 10.583 | 278.233 | 7.456 | 889.817 | 26.533 | 75.0444
2020-10-11 18:45:00 | 9.765 | 289.733 | 10.79 | 283.827 | 11.064 | 288.233 | 11.355 | 286.7 | 7.289 | 889.85 | 27.16 | 76.84
2020-10-11 19:00:00 | 9.349 | 281.213 | 10.619 | 276.663 | 11.008 | 280.167 | 11.398 | 279.967 | 7.01 | 889.667 | 28.752 | 76.2651
2020-10-11 19:15:00 | 7.77 | 289.24 | 9.185 | 285.623 | 9.82 | 290.367 | 10.424 | 287.267 | 6.353 | 889.8 | 30.056 | 73.5429
2020-10-11 19:30:00 | 7.046 | 283.933 | 8.184 | 280.355 | 8.591 | 282.267 | 9.02 | 281.233 | 6.363 | 889.617 | 30.381 | 60.3953
2020-10-11 19:45:00 | 6.234 | 287.707 | 7.683 | 281.202 | 8.395 | 284.167 | 8.835 | 281.4 | 6.004 | 889.667 | 30.197 | 49.3624
2020-10-11 20:00:00 | 5.479 | 282.04 | 6.402 | 278.764 | 6.738 | 283.133 | 7.291 | 281.4 | 5.69 | 890.067 | 29.955 | 37.8618
2020-10-11 20:15:00 | 5.376 | 271.133 | 6.571 | 268.056 | 6.845 | 273.1 | 7.114 | 269.767 | 5.166 | 889.75 | 30.419 | 32.8367
2020-10-11 20:30:00 | 5.408 | 272.92 | 7.111 | 269.751 | 7.53 | 273.367 | 7.905 | 270.533 | 4.948 | 889.333 | 29.931 | 38.1333
2020-10-11 20:45:00 | 6.062 | 267.067 | 7.292 | 265.29 | 7.961 | 271.3 | 8.165 | 267.733 | 4.752 | 890.233 | 28.264 | 46.8938
2020-10-11 21:00:00 | 5.709 | 266.84 | 7.155 | 266.006 | 7.654 | 270.933 | 8.027 | 266.667 | 4.265 | 890.1 | 28.171 | 52.7141
2020-10-11 21:15:00 | 5.516 | 259.46 | 6.758 | 260.519 | 7.145 | 265.9 | 7.345 | 261.267 | 4.166 | 889.883 | 28.32 | 46.4782
2020-10-11 21:30:00 | 5.72 | 255.533 | 7.071 | 257.431 | 7.594 | 263.967 | 7.841 | 261.033 | 4.252 | 889.517 | 29.597 | 32.4487
2020-10-11 21:45:00 | 5.984 | 252.513 | 7.26 | 254.986 | 7.758 | 261.2 | 7.905 | 257.7 | 3.855 | 889.55 | 30.432 | 35.9618
2020-10-11 22:00:00 | 5.787 | 254.833 | 6.944 | 257.11 | 7.161 | 262.9 | 7.456 | 260.1 | 3.455 | 889.5 | 31.184 | 36.9281
2020-10-11 22:15:00 | 5.425 | 253.533 | 6.809 | 254.471 | 7.234 | 260.65 | 7.359 | 256.217 | 3.271 | 890.017 | 31.6 | 35.7479
2020-10-11 22:30:00 | 5.77 | 257.433 | 7.227 | 255.969 | 7.722 | 262.333 | 8.258 | 258.217 | 3.087 | 889.55 | 32.259 | 36.6233
2020-10-11 22:45:00 | 5.883 | 254.067 | 6.948 | 254.991 | 7.416 | 260.433 | 7.714 | 257.45 | 3.371 | 889.667 | 32.437 | 37.2202
2020-10-11 23:00:00 | 5.315 | 239.32 | 5.874 | 246.696 | 6.2 | 255.867 | 6.663 | 254.9 | 2.585 | 890.05 | 33.52 | 33.6873
2020-10-11 23:15:00 | 5.136 | 239.533 | 5.645 | 245.753 | 6.153 | 254.533 | 6.697 | 254 | 2.234 | 889.8 | 34.389 | 32.2128
2020-10-11 23:30:00 | 4.401 | 241.4 | 6.277 | 252.073 | 6.687 | 258.767 | 7.01 | 255.7 | 2.047 | 890.017 | 34.6 | 30.2794
2020-10-11 23:45:00 | 5.805 | 246.407 | 6.785 | 250.736 | 7.15 | 256.367 | 7.43 | 253.133 | 1.962 | 889.683 | 35.987 | 34.3857