## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-12 00:00:00 | 5.912 | 224.313 | 6.48 | 231.444 | 6.774 | 246.133 | 6.908 | 250 | 1.486 | 889.667 | 35.413 | 31.7943
2020-10-12 00:15:00 | 5.678 | 224.387 | 5.923 | 232.873 | 5.889 | 244.233 | 6.093 | 246.7 | 1.302 | 889.483 | 35.269 | 35.2811
2020-10-12 00:30:00 | 5.126 | 222.647 | 5.918 | 231.743 | 6.127 | 240.6 | 6.341 | 239.267 | 0.948 | 890.033 | 36.283 | 39.4656
2020-10-12 00:45:00 | 4.873 | 216.04 | 5.765 | 226.549 | 6.22 | 240 | 6.479 | 238.167 | 1.219 | 889.867 | 35.632 | 31.9329
2020-10-12 01:00:00 | 4.993 | 211.74 | 5.705 | 223.434 | 6.048 | 231.367 | 6.244 | 227.7 | 0.848 | 889.867 | 35.669 | 22.6806
2020-10-12 01:15:00 | 5.03 | 215.893 | 5.331 | 220.389 | 5.386 | 225.5 | 5.519 | 221.9 | 1.389 | 889.967 | 36.133 | 19.0943
2020-10-12 01:30:00 | 4.681 | 220.58 | 4.841 | 223.522 | 5.217 | 228.467 | 5.613 | 223.967 | 2.194 | 889.9 | 33.467 | 15.0917
2020-10-12 01:45:00 | 4.533 | 219.9 | 4.661 | 225.121 | 4.813 | 230.033 | 4.965 | 226.733 | 2.598 | 889.717 | 31.952 | 12.7085
2020-10-12 02:00:00 | 4.385 | 223.687 | 3.976 | 234.563 | 4.173 | 240.233 | 4.393 | 234.533 | 2.43 | 889.867 | 32.704 | 8.6398
2020-10-12 02:15:00 | 2.998 | 239.333 | 2.753 | 253.182 | 2.948 | 260.6 | 3.503 | 263.35 | 2.021 | 889.9 | 34.101 | 7.284
2020-10-12 02:30:00 | 3.988 | 230.107 | 3.698 | 243.366 | 4.103 | 259.6 | 4.894 | 260 | 2.045 | 890.067 | 35.435 | 10.8603
2020-10-12 02:45:00 | 5.596 | 217.64 | 4.902 | 227.377 | 5.236 | 240.067 | 5.498 | 243.9 | 2.071 | 890.117 | 36.267 | 16.5178
2020-10-12 03:00:00 | 5.252 | 216.933 | 5.287 | 228.937 | 5.204 | 240.3 | 5.209 | 241.2 | 0.998 | 889.467 | 38.32 | 17.7201
2020-10-12 03:15:00 | 4.442 | 216.347 | 4.389 | 228.862 | 4.29 | 239.667 | 4.284 | 237.8 | 0.499 | 889.8 | 40.123 | 13.4844
2020-10-12 03:30:00 | 3.578 | 212.913 | 3.537 | 230.059 | 3.579 | 241.1 | 3.618 | 241.8 | 0.698 | 890.183 | 40.992 | 9.5458
2020-10-12 03:45:00 | 4.609 | 215.033 | 4.452 | 238.744 | 4.758 | 255.8 | 5.259 | 257.7 | 1.309 | 890.067 | 40.304 | 12.5294
2020-10-12 04:00:00 | 4.734 | 210.14 | 4.487 | 222.972 | 4.29 | 237.033 | 4.82 | 250.667 | 0.782 | 889.417 | 42.005 | 11.514
2020-10-12 04:15:00 | 4.57 | 217.927 | 4.823 | 224.867 | 4.741 | 236.533 | 4.965 | 242.867 | 0.482 | 890.158 | 44.747 | 11.3477
2020-10-12 04:30:00 | 5.976 | 222.44 | 5.431 | 231.964 | 5.486 | 243.233 | 5.532 | 241.967 | 0.382 | 889.467 | 46.219 | 18.7618
2020-10-12 04:45:00 | 5.336 | 235.66 | 6.031 | 250.252 | 6.452 | 259.667 | 6.734 | 258.1 | 0.183 | 889.967 | 48.192 | 20.9617
2020-10-12 05:00:00 | 4.332 | 233.507 | 6.151 | 252.975 | 6.721 | 261.633 | 7.221 | 259.417 | -0.163 | 890.058 | 49.365 | 21.6389
2020-10-12 05:15:00 | 4.1 | 216.133 | 5.203 | 243.036 | 5.862 | 252.5 | 6.25 | 249.667 | -0.798 | 889.842 | 51.712 | 15.7113
2020-10-12 05:30:00 | 5.818 | 212.213 | 5.45 | 226.841 | 6.013 | 238.733 | 6.47 | 243.2 | -0.066 | 889.808 | 51.051 | 23.2881
2020-10-12 05:45:00 | 6.605 | 216.733 | 6.823 | 227.115 | 6.921 | 235.967 | 7.094 | 234.233 | 0.682 | 889.683 | 49.312 | 33.5274
2020-10-12 06:00:00 | 6.747 | 224.76 | 7.354 | 232.696 | 7.611 | 240.267 | 7.692 | 238.033 | 0.266 | 890.167 | 51.051 | 43.9329
2020-10-12 06:15:00 | 6.93 | 238.14 | 7.693 | 238.424 | 7.965 | 245.7 | 8.098 | 242.733 | 0.732 | 890.117 | 52.512 | 53.7544
2020-10-12 06:30:00 | 6.915 | 243.933 | 7.732 | 243.994 | 7.933 | 249.633 | 8.164 | 247.3 | 1.369 | 889.775 | 51.061 | 58.2693
2020-10-12 06:45:00 | 6.694 | 243.087 | 8.141 | 244.304 | 8.436 | 250 | 8.681 | 246.417 | 1.539 | 889.867 | 51.115 | 54.8827
2020-10-12 07:00:00 | 6.236 | 237.1 | 7.338 | 240.506 | 7.924 | 248.1 | 8.012 | 243.75 | 1.269 | 890.1 | 51.36 | 52.3517
2020-10-12 07:15:00 | 5.947 | 227.227 | 6.726 | 232.001 | 6.766 | 239.967 | 6.823 | 237.733 | 0.05 | 889.975 | 51.872 | 44.8595
2020-10-12 07:30:00 | 4.956 | 221.347 | 7.033 | 233.013 | 7.295 | 241.1 | 7.239 | 238.8 | -0.03 | 889.875 | 53.771 | 36.1472
2020-10-12 07:45:00 | 5.642 | 226.093 | 7.424 | 235.286 | 7.587 | 243.367 | 7.406 | 241.1 | -1.182 | 889.783 | 57.888 | 35.5632
2020-10-12 08:00:00 | 6.114 | 233.72 | 7.656 | 237.582 | 7.759 | 245.733 | 7.705 | 243.867 | 0.133 | 889.842 | 56.48 | 36.1998
2020-10-12 08:15:00 | 6.118 | 235.7 | 7.347 | 237.229 | 7.46 | 245.6 | 7.476 | 243.767 | 1.048 | 889.775 | 54.272 | 33.9438
2020-10-12 08:30:00 | 5.498 | 227.533 | 6.655 | 231.333 | 6.847 | 239.967 | 6.877 | 237.333 | 1.756 | 889.833 | 51.723 | 36.0442
2020-10-12 08:45:00 | 5.183 | 226.387 | 6.454 | 228.984 | 6.778 | 235.667 | 6.825 | 232.067 | 2.606 | 889.908 | 50.485 | 38.6626
2020-10-12 09:00:00 | 5.331 | 225.067 | 6.546 | 223.772 | 6.997 | 229.367 | 7.003 | 227.3 | 3.454 | 889.708 | 46.933 | 39.904
2020-10-12 09:15:00 | 5.581 | 230.407 | 6.031 | 229.458 | 6.713 | 235.033 | 6.931 | 233.9 | 4.028 | 889.792 | 44.661 | 37.0141
2020-10-12 09:30:00 | 5.239 | 243.747 | 5.37 | 239.2 | 5.509 | 244.9 | 5.83 | 239.7 | 5.505 | 889.8 | 43.829 | 30.4165
2020-10-12 09:45:00 | 5.459 | 259.327 | 5.674 | 259.03 | 5.865 | 264.033 | 6.071 | 258.617 | 6.044 | 889.675 | 42.576 | 24.8769
2020-10-12 10:00:00 | 6.298 | 270.58 | 6.671 | 266.121 | 6.923 | 269.933 | 7.147 | 266.167 | 5.739 | 889.7 | 44.139 | 27.4648
2020-10-12 10:15:00 | 7.548 | 270.673 | 8.058 | 264.584 | 8.224 | 268.5 | 8.157 | 263.833 | 5.646 | 890.025 | 44.869 | 36.8123
2020-10-12 10:30:00 | 8.132 | 272.88 | 8.3 | 267.236 | 8.575 | 269.9 | 8.538 | 266.483 | 5.998 | 890.108 | 44.277 | 39.0023
2020-10-12 10:45:00 | 7.538 | 282.52 | 7.993 | 274.881 | 8.165 | 280.2 | 8.346 | 277.8 | 6.804 | 890.042 | 42.021 | 36.0115
2020-10-12 11:00:00 | 6.477 | 296.933 | 7.152 | 287.51 | 7.163 | 287.5 | 7.616 | 284.567 | 5.962 | 889.825 | 42.981 | 30.1373
2020-10-12 11:15:00 | 5.912 | 278.58 | 6.444 | 270.749 | 6.624 | 274.35 | 6.921 | 271.85 | 6.512 | 889.742 | 42.469 | 23.6789
2020-10-12 11:30:00 | 6.225 | 284.853 | 6.374 | 282.138 | 6.878 | 285 | 7.083 | 284.9 | 7.426 | 889.65 | 38.76 | 22.3011
2020-10-12 11:45:00 | 5.826 | 305.2 | 6.209 | 296.616 | 6.632 | 300.2 | 7.163 | 297.2 | 7.489 | 889.883 | 38.411 | 20.5809
2020-10-12 12:00:00 | 8.016 | 308.173 | 8.505 | 300.867 | 8.59 | 303.333 | 8.795 | 300.2 | 7.729 | 889.7 | 36.789 | 23.804
2020-10-12 12:15:00 | 5.14 | 290.933 | 5.398 | 285.952 | 5.664 | 294.633 | 6.104 | 293.267 | 7.439 | 890.067 | 37.517 | 40.9976
2020-10-12 12:30:00 | 5.556 | 276.767 | 6.292 | 274.487 | 6.831 | 278.7 | 7.299 | 278.733 | 7.699 | 889.867 | 38.221 | 26.7571
2020-10-12 12:45:00 | 6.085 | 313.067 | 6.355 | 309.081 | 6.496 | 311.867 | 6.928 | 308.867 | 8.641 | 889.65 | 35.792 | 26.453
2020-10-12 13:00:00 | 7.375 | 297.893 | 7.877 | 292.141 | 8.186 | 298.3 | 8.38 | 296.567 | 8.808 | 889.633 | 34.707 | 35.62
2020-10-12 13:15:00 | 7.84 | 283.427 | 7.996 | 279.539 | 8.353 | 284.733 | 8.554 | 282.567 | 9.37 | 889.933 | 33.365 | 39.0179
2020-10-12 13:30:00 | 7.881 | 305.173 | 8.04 | 299.182 | 8.301 | 301.267 | 8.643 | 298.1 | 9.104 | 889.417 | 32.955 | 45.0513
2020-10-12 13:45:00 | 7.631 | 295.88 | 7.981 | 289.119 | 8.164 | 291.233 | 8.75 | 289.267 | 9.516 | 889.5 | 30.992 | 48.7484
2020-10-12 14:00:00 | 10.05 | 299.813 | 10.369 | 295.346 | 10.746 | 300.467 | 10.918 | 297.8 | 9.549 | 889.817 | 32.269 | 65.7544
2020-10-12 14:15:00 | 8.242 | 298.96 | 8.873 | 292.5 | 9.209 | 293.233 | 9.473 | 292.367 | 9.691 | 890.05 | 30.709 | 63.7876
2020-10-12 14:30:00 | 9.44 | 295.467 | 10.028 | 291.413 | 10.469 | 294.4 | 10.824 | 293.433 | 9.666 | 889.25 | 30.853 | 67.4584
2020-10-12 14:45:00 | 10.557 | 303.133 | 10.922 | 295.651 | 10.967 | 299.267 | 11.389 | 298 | 9.749 | 889.85 | 31.712 | 68.0112
2020-10-12 15:00:00 | 9.787 | 303.72 | 10.067 | 295.531 | 10.663 | 300.533 | 11.099 | 299.2 | 9.624 | 889.417 | 32.189 | 71.9953
2020-10-12 15:15:00 | 8.633 | 300.627 | 9.15 | 297.342 | 9.418 | 301.1 | 9.844 | 298.3 | 10.289 | 890 | 32.589 | 71.7125
2020-10-12 15:30:00 | 10.19 | 300.92 | 10.509 | 296.062 | 10.795 | 301.4 | 11.029 | 299.2 | 9.872 | 889.733 | 32.771 | 72.9269
2020-10-12 15:45:00 | 8.998 | 285.933 | 9.716 | 281.025 | 9.869 | 283.433 | 10.247 | 281.333 | 9.733 | 889.8 | 33.872 | 76.9394
2020-10-12 16:00:00 | 10.091 | 297.587 | 10.735 | 292.505 | 11.069 | 297.3 | 11.3 | 297.033 | 10.049 | 890.05 | 34.509 | 78.4814
2020-10-12 16:15:00 | 9.049 | 292.747 | 9.787 | 287.575 | 9.916 | 292.3 | 10.485 | 290.967 | 10.004 | 889.483 | 34.832 | 82.0626
2020-10-12 16:30:00 | 10.204 | 287.707 | 11.293 | 281.275 | 11.624 | 284.233 | 12.003 | 280.667 | 9.962 | 889.683 | 34.496 | 83.1178
2020-10-12 16:45:00 | 10.414 | 305.893 | 11.266 | 300.6 | 11.79 | 304.633 | 12.564 | 302.4 | 10.068 | 889.417 | 34.475 | 82.5195
2020-10-12 17:00:00 | 9.723 | 301.267 | 9.957 | 294.976 | 10.128 | 299.3 | 10.802 | 295.933 | 9.993 | 889.65 | 35.387 | 79.2012
2020-10-12 17:15:00 | 10.713 | 308 | 11.073 | 304.426 | 11.476 | 309.267 | 11.828 | 307.833 | 9.764 | 890.183 | 35.944 | 78.1936
2020-10-12 17:30:00 | 9.062 | 302.32 | 9.49 | 299.566 | 9.799 | 303.6 | 10.311 | 301.7 | 9.674 | 889.767 | 36.128 | 70.1145
2020-10-12 17:45:00 | 8.526 | 308.68 | 8.938 | 303.404 | 9.375 | 308.033 | 9.597 | 304.267 | 9.537 | 889.867 | 36.168 | 67.3219
2020-10-12 18:00:00 | 10.212 | 301.28 | 11.063 | 294.068 | 11.182 | 298.267 | 11.788 | 296 | 9.245 | 889.767 | 35.755 | 71.8518
2020-10-12 18:15:00 | 8.578 | 305.92 | 9.178 | 302.451 | 9.729 | 307.233 | 10.299 | 305.033 | 9.587 | 889.8 | 36.197 | 70.7504
2020-10-12 18:30:00 | 8.556 | 308.68 | 9.354 | 303.1 | 9.689 | 306.9 | 10.266 | 304.9 | 9.208 | 890.05 | 36.104 | 56.2499
2020-10-12 18:45:00 | 7.903 | 300.467 | 8.52 | 295.033 | 8.863 | 300.933 | 9.09 | 302.8 | 9.049 | 889.5 | 36.411 | 60.6774
2020-10-12 19:00:00 | 7.511 | 301.147 | 8.507 | 294.738 | 8.78 | 299.567 | 9.093 | 295.2 | 8.649 | 889.95 | 37.616 | 43.9386
2020-10-12 19:15:00 | 7.674 | 299.8 | 9.154 | 294.378 | 9.581 | 299.767 | 10.594 | 297.033 | 8.641 | 889.5 | 36.995 | 49.9756
2020-10-12 19:30:00 | 5.658 | 299.787 | 6.801 | 294.731 | 7.433 | 298.867 | 8.332 | 298.467 | 8.377 | 889.4 | 37.376 | 42.5288
2020-10-12 19:45:00 | 6.785 | 289.28 | 7.67 | 282.6 | 7.998 | 287.233 | 8.571 | 284.433 | 8.137 | 889.633 | 36.453 | 41.4651
2020-10-12 20:00:00 | 6.76 | 287.867 | 7.912 | 283.45 | 8.222 | 285.633 | 8.842 | 284.367 | 7.99 | 889.7 | 37.632 | 47.252
2020-10-12 20:15:00 | 6.754 | 284.28 | 7.852 | 279.426 | 8.191 | 283.233 | 8.624 | 282.3 | 7.82 | 889.25 | 38.368 | 42.5651
2020-10-12 20:30:00 | 6.905 | 284.08 | 7.902 | 278.364 | 8.23 | 281.3 | 8.487 | 279.9 | 7.653 | 889.933 | 39.027 | 38.3173
2020-10-12 20:45:00 | 7.381 | 283 | 8.347 | 277.038 | 8.66 | 280.567 | 9.153 | 280.7 | 7.189 | 890.1 | 40.179 | 43.9343
2020-10-12 21:00:00 | 7.219 | 274.533 | 8.281 | 269.164 | 8.468 | 274.367 | 8.817 | 271.933 | 7.172 | 889.667 | 41.163 | 47.6883
2020-10-12 21:15:00 | 6.517 | 272.227 | 7.582 | 267.088 | 7.941 | 270.933 | 8.292 | 266.6 | 6.896 | 889.608 | 42.064 | 46.071
2020-10-12 21:30:00 | 6.359 | 266.493 | 7.438 | 263.482 | 7.772 | 268.167 | 8.018 | 264.667 | 6.761 | 889.617 | 43.088 | 42.4635
2020-10-12 21:45:00 | 6.282 | 264.593 | 7.064 | 260.053 | 7.508 | 266.317 | 7.728 | 262.15 | 6.621 | 890.233 | 43.253 | 40.0596
2020-10-12 22:00:00 | 7.015 | 271.08 | 8.019 | 265.624 | 8.476 | 270.467 | 8.808 | 267.9 | 6.015 | 890.1 | 43.168 | 41.1958
2020-10-12 22:15:00 | 6.318 | 261.893 | 7.674 | 258.812 | 7.946 | 263.75 | 8.212 | 258.283 | 6.17 | 889.692 | 43.797 | 40.5186
2020-10-12 22:30:00 | 5.325 | 249.48 | 6.687 | 250.254 | 7.347 | 254.233 | 7.519 | 250.7 | 5.869 | 889.758 | 44.453 | 42.8152
2020-10-12 22:45:00 | 6.388 | 248.707 | 7.308 | 247.269 | 7.831 | 252.483 | 8.086 | 248.917 | 5.498 | 889.967 | 45.472 | 46.3609
2020-10-12 23:00:00 | 5.98 | 240.72 | 6.994 | 244.167 | 7.425 | 252.883 | 7.786 | 251.017 | 5.421 | 889.608 | 45.269 | 50.6037
2020-10-12 23:15:00 | 5.807 | 234.353 | 6.449 | 237.679 | 6.682 | 245.3 | 6.736 | 242.567 | 5.144 | 889.892 | 45.355 | 55.3396
2020-10-12 23:30:00 | 4.564 | 234.847 | 5.419 | 237.254 | 6.06 | 245.1 | 6.253 | 242.583 | 5.007 | 890.042 | 45.088 | 41.7238
2020-10-12 23:45:00 | 6.391 | 249.58 | 7.638 | 249.758 | 8.142 | 254.85 | 8.498 | 249.4 | 5.052 | 889.775 | 44.859 | 42.2723