## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-13 00:00:00 | 6.771 | 254.327 | 7.999 | 251.83 | 8.441 | 256.933 | 8.593 | 252.7 | 5.26 | 889.75 | 44.395 | 49.2231
2020-10-13 00:15:00 | 6.41 | 253.607 | 7.374 | 249.852 | 7.786 | 254.9 | 8.114 | 250.967 | 5.6 | 889.342 | 44.272 | 52.5976
2020-10-13 00:30:00 | 5.384 | 255.54 | 6.254 | 251.494 | 6.808 | 255.167 | 7.092 | 251.167 | 5.277 | 889.883 | 44.432 | 50.0125
2020-10-13 00:45:00 | 6.864 | 251.813 | 8.025 | 249.554 | 8.508 | 254.433 | 8.723 | 251.433 | 5.426 | 889.858 | 44.757 | 57.7399
2020-10-13 01:00:00 | 7.909 | 258.16 | 8.984 | 254.409 | 9.502 | 259.333 | 9.566 | 255.533 | 5.26 | 890.083 | 44.981 | 56.6442
2020-10-13 01:15:00 | 7.283 | 254.827 | 8.492 | 251.342 | 8.956 | 256.383 | 9.29 | 252.417 | 5.161 | 890.092 | 45.109 | 62.1931
2020-10-13 01:30:00 | 7.623 | 251.113 | 9.071 | 247.724 | 9.804 | 253.967 | 9.854 | 250.15 | 5.485 | 889.908 | 45.408 | 69.4955
2020-10-13 01:45:00 | 8.266 | 248.273 | 9.534 | 244.65 | 10.17 | 248.8 | 10.342 | 245.267 | 5.418 | 889.517 | 45.835 | 78.6327
2020-10-13 02:00:00 | 7.55 | 255 | 8.898 | 250.993 | 9.541 | 254.683 | 9.734 | 248.883 | 5.352 | 889.8 | 46.315 | 85.1593
2020-10-13 02:15:00 | 8.306 | 251.607 | 9.435 | 250.466 | 10.309 | 254.017 | 10.107 | 250.433 | 4.869 | 890.158 | 46.629 | 80.4702
2020-10-13 02:30:00 | 7.152 | 253.727 | 8.384 | 252.093 | 9.009 | 257.383 | 9.333 | 252.233 | 5.094 | 890.1 | 47.461 | 74.1419
2020-10-13 02:45:00 | 6.581 | 256.5 | 7.481 | 252.34 | 8 | 256.717 | 8.302 | 253.75 | 4.785 | 890.058 | 48.016 | 60.3186
2020-10-13 03:00:00 | 6.204 | 259.473 | 7.29 | 256.037 | 7.707 | 259.8 | 7.914 | 257.067 | 5.094 | 889.275 | 48.592 | 50.6208
2020-10-13 03:15:00 | 6.449 | 264.693 | 7.596 | 261.346 | 7.86 | 265.4 | 8.111 | 261.6 | 4.835 | 889.667 | 49.173 | 46.535
2020-10-13 03:30:00 | 6.687 | 261.707 | 7.804 | 258.48 | 8.092 | 263.767 | 8.319 | 260.15 | 4.613 | 889.967 | 49.696 | 44.8225
2020-10-13 03:45:00 | 6.43 | 258.147 | 7.631 | 255.693 | 8.062 | 261.567 | 8.322 | 256.333 | 4.557 | 889.725 | 50.229 | 47.9384
2020-10-13 04:00:00 | 6.7 | 261.033 | 7.765 | 256.902 | 8.22 | 261.817 | 8.309 | 256.767 | 4.59 | 889.825 | 52.085 | 47.0225
2020-10-13 04:15:00 | 8.107 | 260.347 | 8.981 | 255.368 | 9.342 | 260.733 | 9.438 | 255.267 | 4.332 | 889.617 | 53.408 | 56.6663
2020-10-13 04:30:00 | 7.818 | 260.853 | 8.889 | 257.962 | 9.38 | 262.867 | 9.638 | 257.95 | 4.501 | 889.792 | 54.411 | 63.9673
2020-10-13 04:45:00 | 8.539 | 268.133 | 9.873 | 261.499 | 10.078 | 266.317 | 10.401 | 262.4 | 4.008 | 890.358 | 55.355 | 60.0976
2020-10-13 05:00:00 | 7.537 | 266.653 | 8.908 | 261.195 | 9.256 | 266.167 | 9.624 | 261.833 | 4.345 | 890.208 | 55.659 | 60.5076
2020-10-13 05:15:00 | 7.925 | 267.773 | 8.676 | 262.442 | 8.907 | 268.667 | 9.112 | 263.4 | 4.49 | 890.117 | 56.016 | 59.1447
2020-10-13 05:30:00 | 7.561 | 265.327 | 8.593 | 262.28 | 9.2 | 267.367 | 9.466 | 263.65 | 4.524 | 889.833 | 56.773 | 51.9176
2020-10-13 05:45:00 | 8.253 | 267.773 | 9.319 | 262.358 | 9.49 | 269.1 | 9.917 | 263.817 | 4.116 | 889.617 | 57.819 | 62.6094
2020-10-13 06:00:00 | 9.072 | 261.907 | 9.681 | 259.041 | 10.19 | 264.167 | 10.412 | 260.067 | 3.908 | 890.067 | 58.832 | 59.5561
2020-10-13 06:15:00 | 8.856 | 263.507 | 9.918 | 259.632 | 10.413 | 263.583 | 10.681 | 260.167 | 4.007 | 889.808 | 59.973 | 74.127
2020-10-13 06:30:00 | 9.935 | 266.173 | 10.537 | 262.795 | 11.076 | 267.833 | 11.699 | 262.433 | 4.224 | 890.008 | 61.179 | 80.1519
2020-10-13 06:45:00 | 9.861 | 267.68 | 10.71 | 263.174 | 11.712 | 268.867 | 12.124 | 262.9 | 3.751 | 889.842 | 61.36 | 81.0728
2020-10-13 07:00:00 | 9.42 | 261.367 | 10.564 | 259.985 | 11.147 | 264.567 | 11.492 | 259.9 | 3.689 | 889.917 | 61.317 | 80.5029
2020-10-13 07:15:00 | 9.657 | 259.147 | 11.093 | 256.114 | 11.695 | 258.783 | 11.793 | 255.7 | 3.886 | 890.167 | 60.219 | 81.5873
2020-10-13 07:30:00 | 8.784 | 262.173 | 10.52 | 257.701 | 10.944 | 262.65 | 10.925 | 256.917 | 3.701 | 890.133 | 58.757 | 81.1694
2020-10-13 07:45:00 | 10.287 | 257.767 | 11.843 | 255.913 | 12.589 | 259.433 | 12.664 | 255.567 | 3.655 | 889.517 | 59.328 | 80.1619
2020-10-13 08:00:00 | 8.554 | 258.867 | 9.063 | 252.991 | 9.465 | 257 | 9.46 | 253.25 | 3.689 | 890.142 | 58.219 | 80.3971
2020-10-13 08:15:00 | 8.51 | 261.6 | 9.828 | 258.058 | 10.507 | 259.717 | 10.449 | 255.95 | 3.806 | 889.933 | 57.664 | 76.4286
2020-10-13 08:30:00 | 8.244 | 257.1 | 9.321 | 253.253 | 9.916 | 255.217 | 10.224 | 250.85 | 3.588 | 889.983 | 58.405 | 70.1756
2020-10-13 08:45:00 | 8.274 | 256.807 | 9.798 | 255.409 | 10.135 | 260.083 | 10.365 | 254.717 | 3.852 | 890.092 | 58.459 | 73.7753
2020-10-13 09:00:00 | 8.288 | 255.427 | 9.182 | 251.569 | 9.407 | 254.15 | 9.398 | 250.033 | 3.731 | 889.55 | 59.392 | 71.2265
2020-10-13 09:15:00 | 7.588 | 251.867 | 8.3 | 250.296 | 8.816 | 253.9 | 9.302 | 250.217 | 3.84 | 889.808 | 60.069 | 73.0192
2020-10-13 09:30:00 | 8.075 | 259.353 | 9.179 | 257.013 | 9.075 | 259.85 | 9.047 | 254.25 | 4.166 | 889.692 | 59.2 | 69.4664
2020-10-13 09:45:00 | 8.56 | 253.173 | 9.714 | 250.633 | 10.174 | 253.25 | 10.045 | 248.117 | 4.613 | 889.792 | 60.832 | 66.6227
2020-10-13 10:00:00 | 8.042 | 258.38 | 8.845 | 256.38 | 9.106 | 261.433 | 9.195 | 257.033 | 4.368 | 889.692 | 60.704 | 60.1587
2020-10-13 10:15:00 | 9.841 | 276.987 | 10.57 | 271.297 | 10.681 | 275.433 | 10.667 | 269.2 | 4.616 | 889.683 | 60.432 | 62.1653
2020-10-13 10:30:00 | 8.257 | 258.2 | 8.891 | 257.544 | 9.197 | 263.75 | 9.055 | 258.067 | 4.719 | 889.842 | 60.496 | 56.463
2020-10-13 10:45:00 | 7.967 | 268.493 | 8.844 | 263.126 | 8.892 | 264.7 | 8.84 | 259.517 | 5.3 | 890.008 | 56.928 | 58.9763
2020-10-13 11:00:00 | 8.986 | 262.053 | 9.753 | 257.647 | 9.741 | 262.2 | 9.559 | 256.55 | 6.128 | 889.958 | 54.059 | 68.0524
2020-10-13 11:15:00 | 9.465 | 268.22 | 10.224 | 263.198 | 10.207 | 270 | 10.659 | 265.217 | 6.185 | 890 | 54.443 | 72.2227
2020-10-13 11:30:00 | 10.016 | 279.013 | 10.786 | 272.914 | 11.025 | 275.6 | 11.148 | 271.5 | 5.948 | 890.008 | 55.947 | 80.9279
2020-10-13 11:45:00 | 10.712 | 285.027 | 12.098 | 279.252 | 12.464 | 281.2 | 12.998 | 277.567 | 6.085 | 890.025 | 55.317 | 82.6105
2020-10-13 12:00:00 | 12.419 | 277.973 | 13.382 | 275.399 | 13.616 | 280.233 | 13.884 | 279.3 | 5.723 | 889.592 | 56.944 | 82.4961
2020-10-13 12:15:00 | 11.157 | 288.173 | 12.19 | 281.581 | 12.439 | 285.533 | 13.088 | 282.1 | 5.376 | 889.75 | 57.371 | 82.7817
2020-10-13 12:30:00 | 12.235 | 290.693 | 13.217 | 284.083 | 13.398 | 285.367 | 13.811 | 283.033 | 5.521 | 890 | 57.136 | 82.9189
2020-10-13 12:45:00 | 11.451 | 286.667 | 12.232 | 279.484 | 12.499 | 280.133 | 12.633 | 277.8 | 6.044 | 889.567 | 54.101 | 83.2166
2020-10-13 13:00:00 | 11.414 | 285.24 | 12.354 | 278.792 | 13.033 | 283.533 | 13.249 | 277.933 | 6.038 | 889.958 | 55.595 | 83.3495
2020-10-13 13:15:00 | 10.622 | 285.2 | 11.849 | 277.171 | 12.094 | 279.667 | 12.215 | 278.367 | 6.21 | 890.017 | 53.963 | 83.3395
2020-10-13 13:30:00 | 10.009 | 287.56 | 11.393 | 283.747 | 11.976 | 287.167 | 12.244 | 282.267 | 5.752 | 889.7 | 54.683 | 82.4854
2020-10-13 13:45:00 | 11.406 | 282.933 | 12.203 | 276.558 | 12.471 | 280.067 | 12.513 | 277.5 | 5.845 | 890.258 | 55.285 | 83.7936
2020-10-13 14:00:00 | 10.212 | 301.44 | 10.75 | 293.988 | 11.328 | 297.533 | 11.51 | 293.567 | 5.144 | 889.95 | 57.429 | 79.9423
2020-10-13 14:15:00 | 10.805 | 294.747 | 11.426 | 288.555 | 11.741 | 292.333 | 12.186 | 290.133 | 5.502 | 889.933 | 57.589 | 69.9851
2020-10-13 14:30:00 | 11.336 | 298.373 | 11.959 | 292.201 | 12.187 | 295.767 | 12.378 | 289.333 | 5.458 | 889.692 | 56.949 | 53.9896
2020-10-13 14:45:00 | 11.673 | 268.86 | 12.686 | 264.248 | 13.305 | 267.767 | 13.294 | 263.067 | 6.174 | 889.817 | 55.568 | 44.9973
2020-10-13 15:00:00 | 12.664 | 264.953 | 13.926 | 259.592 | 14.587 | 264.1 | 14.688 | 260.483 | 6.876 | 889.783 | 51.712 | 44.3543
2020-10-13 15:15:00 | 11.318 | 279.053 | 12.634 | 272.971 | 13.102 | 276.1 | 13.241 | 271.117 | 7.152 | 889.9 | 49.984 | 44.5319
2020-10-13 15:30:00 | 11.632 | 270.853 | 12.788 | 263.779 | 13.378 | 267.567 | 13.177 | 263.933 | 6.456 | 890.608 | 52.667 | 45.4485
2020-10-13 15:45:00 | 12.518 | 269.667 | 13.724 | 264.015 | 13.782 | 267.017 | 13.74 | 262.4 | 5.895 | 889.892 | 54.8 | 45.7555
2020-10-13 16:00:00 | 12.618 | 272.06 | 13.766 | 267.17 | 13.848 | 269.6 | 13.617 | 266.6 | 5.968 | 889.708 | 53.824 | 45.9559
2020-10-13 16:15:00 | 14.198 | 271.16 | 15.717 | 265.741 | 16.047 | 269.133 | 15.915 | 265.183 | 6.38 | 889.975 | 53.36 | 47.2626
2020-10-13 16:30:00 | 12.69 | 273.853 | 14.242 | 264.378 | 14.538 | 267.5 | 14.987 | 264.233 | 6.241 | 889.542 | 52.4 | 45.9857
2020-10-13 16:45:00 | 13.573 | 267.52 | 14.767 | 262.971 | 15.016 | 265.933 | 14.889 | 261.883 | 6.522 | 889.708 | 50.389 | 45.4272
2020-10-13 17:00:00 | 12.785 | 267.82 | 13.738 | 261.965 | 13.993 | 265.683 | 13.77 | 261.167 | 6.088 | 889.717 | 50.027 | 45.4159
2020-10-13 17:15:00 | 13.419 | 263.733 | 14.887 | 258.793 | 14.97 | 262.917 | 14.966 | 258 | 6.392 | 890.167 | 48.539 | 45.8202
2020-10-13 17:30:00 | 12.173 | 263.533 | 13.113 | 260.003 | 13.507 | 262.983 | 13.483 | 258.75 | 6.28 | 890.108 | 49.573 | 47.2221
2020-10-13 17:45:00 | 11.86 | 260.76 | 12.491 | 255.703 | 12.749 | 259.5 | 12.563 | 254.583 | 6.459 | 889.667 | 53.669 | 49.1677
2020-10-13 18:00:00 | 11.55 | 262.46 | 12.382 | 259.012 | 12.885 | 263.6 | 12.98 | 259.567 | 5.634 | 889.825 | 54.027 | 50.5256
2020-10-13 18:15:00 | 10.434 | 261.94 | 11.49 | 260.674 | 11.876 | 262.933 | 12.047 | 259.133 | 5.995 | 889.667 | 54.411 | 52.3197
2020-10-13 18:30:00 | 9.619 | 263.4 | 10.744 | 258.711 | 10.976 | 262.083 | 11.032 | 258.117 | 5.573 | 889.475 | 53.739 | 55.1634
2020-10-13 18:45:00 | 9.246 | 260.933 | 10.238 | 259.528 | 10.494 | 263.3 | 10.524 | 257.35 | 5.359 | 890.117 | 54.512 | 61.7291
2020-10-13 19:00:00 | 8.618 | 264.6 | 9.948 | 258.883 | 10.41 | 262.933 | 10.359 | 258.967 | 5.2 | 889.5 | 55.525 | 61.7568
2020-10-13 19:15:00 | 6.74 | 259.327 | 7.622 | 256.509 | 8.292 | 261.667 | 8.508 | 258.05 | 5.014 | 889.533 | 56.976 | 54.8543
2020-10-13 19:30:00 | 6.697 | 266.393 | 7.993 | 262.258 | 8.426 | 266.6 | 8.661 | 259.083 | 4.752 | 889.867 | 58.779 | 38.6186
2020-10-13 19:45:00 | 5.615 | 257.487 | 6.812 | 255.59 | 7.535 | 259.95 | 7.826 | 254.75 | 4.574 | 889.675 | 60.016 | 29.7401
2020-10-13 20:00:00 | 4.725 | 248 | 5.83 | 248.186 | 6.359 | 252.817 | 6.574 | 250.217 | 4.189 | 889.358 | 61.376 | 24.7945
2020-10-13 20:15:00 | 4.867 | 229.5 | 5.818 | 234.323 | 6.259 | 243.4 | 6.307 | 241.283 | 3.672 | 889.933 | 62.763 | 29.7642
2020-10-13 20:30:00 | 4.41 | 231.067 | 5.715 | 238.023 | 6.597 | 246.4 | 6.923 | 245.25 | 3.355 | 889.95 | 64.267 | 26.9291
2020-10-13 20:45:00 | 5.038 | 236 | 6.282 | 235.485 | 6.668 | 242.4 | 6.669 | 237.9 | 3.254 | 890.133 | 65.152 | 25.1974
2020-10-13 21:00:00 | 6.142 | 248.867 | 7.469 | 246.906 | 7.626 | 251.667 | 7.504 | 248.183 | 3.137 | 889.908 | 66.752 | 32.4224
2020-10-13 21:15:00 | 5.619 | 243.133 | 6.399 | 242.767 | 6.704 | 250.267 | 6.938 | 247.2 | 3.522 | 889.617 | 66.485 | 36.4691
2020-10-13 21:30:00 | 4.426 | 246.92 | 5.261 | 251.202 | 5.404 | 257.333 | 5.625 | 255.45 | 2.897 | 889.967 | 67.797 | 30.3376
2020-10-13 21:45:00 | 5.433 | 236.34 | 6.358 | 237.67 | 6.476 | 244.267 | 6.314 | 240.4 | 2.557 | 890.042 | 68.704 | 27.6666
2020-10-13 22:00:00 | 5.765 | 236.227 | 6.919 | 238.673 | 7.15 | 245.1 | 7.272 | 241.133 | 2.74 | 889.558 | 66.869 | 31.4625
2020-10-13 22:15:00 | 5.181 | 233.72 | 5.825 | 235.034 | 6.211 | 241.367 | 6.491 | 238.9 | 2.781 | 890.042 | 66.869 | 27.4002
2020-10-13 22:30:00 | 4.554 | 235.993 | 6.23 | 241.973 | 6.807 | 250.067 | 6.964 | 248.5 | 2.908 | 890.317 | 67.467 | 27.3732
2020-10-13 22:45:00 | 3.873 | 238.56 | 5.66 | 247.893 | 6.455 | 257.767 | 6.863 | 255.967 | 2.124 | 889.792 | 68.533 | 22.8412
2020-10-13 23:00:00 | 3.305 | 239.553 | 5.22 | 251.018 | 6.013 | 258.633 | 6.544 | 255.583 | 2.048 | 889.692 | 71.136 | 19.5448
2020-10-13 23:15:00 | 3.647 | 244.62 | 5.404 | 250.499 | 6.025 | 257.067 | 6.498 | 254.233 | 2.217 | 890.067 | 70.816 | 19.9946
2020-10-13 23:30:00 | 4.79 | 250.04 | 6.589 | 251.447 | 6.888 | 256.333 | 7.032 | 251.65 | 1.988 | 890.117 | 70.283 | 28.925
2020-10-13 23:45:00 | 5.736 | 248.993 | 7.478 | 246.526 | 7.715 | 250.9 | 7.706 | 244.967 | 2.098 | 889.492 | 69.291 | 36.9694