## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-14 00:00:00 | 4.791 | 248.34 | 6.351 | 245.772 | 6.824 | 250.167 | 6.747 | 244.533 | 2.569 | 889.55 | 67.36 | 26.4757
2020-10-14 00:15:00 | 4.432 | 245.033 | 6.414 | 243.568 | 6.86 | 251.017 | 6.851 | 246.583 | 2.453 | 890.242 | 67.04 | 23.1908
2020-10-14 00:30:00 | 4.614 | 251.133 | 6.301 | 249.124 | 6.765 | 254.283 | 6.74 | 249.433 | 2.262 | 890.275 | 66.005 | 26.4409
2020-10-14 00:45:00 | 3.997 | 240.86 | 5.635 | 240.546 | 6.37 | 248.067 | 6.323 | 244.333 | 1.933 | 889.758 | 65.205 | 22.9165
2020-10-14 01:00:00 | 4.194 | 231.773 | 5.73 | 232.49 | 6.082 | 240.433 | 6 | 236.833 | 1.919 | 889.908 | 66.261 | 20.4743
2020-10-14 01:15:00 | 4.282 | 239.753 | 5.513 | 234.91 | 6.138 | 241.967 | 6.076 | 237.033 | 1.232 | 889.792 | 67.2 | 23.6171
2020-10-14 01:30:00 | 4.147 | 238.26 | 5.521 | 238.591 | 5.838 | 245.8 | 5.781 | 240.933 | 1.566 | 889.883 | 67.253 | 22.5854
2020-10-14 01:45:00 | 4.03 | 233.733 | 5.326 | 237.182 | 5.876 | 245.1 | 5.883 | 241.167 | 1.048 | 889.867 | 68.715 | 19.7317
2020-10-14 02:00:00 | 3.541 | 235.107 | 5.604 | 230.06 | 6.054 | 240.8 | 5.944 | 238.367 | 0.482 | 889.608 | 69.888 | 19.9214
2020-10-14 02:15:00 | 3.752 | 239.987 | 5.208 | 233.285 | 6.149 | 238.667 | 5.966 | 235.433 | 0.249 | 890.058 | 71.787 | 19.3658
2020-10-14 02:30:00 | 3.973 | 233.24 | 6.119 | 225.554 | 6.825 | 230.567 | 6.687 | 228.133 | 0.482 | 889.783 | 71.115 | 22.0226
2020-10-14 02:45:00 | 4.44 | 232.127 | 6.906 | 224.247 | 7.166 | 229.867 | 7.028 | 226.8 | 0.366 | 889.9 | 71.872 | 26.9582
2020-10-14 03:00:00 | 5.529 | 232.367 | 7.154 | 230.658 | 7.426 | 236.633 | 7.305 | 233.067 | 0.798 | 889.567 | 71.659 | 32.7593
2020-10-14 03:15:00 | 5.171 | 229.787 | 6.725 | 228.441 | 7.344 | 233.5 | 7.184 | 230.3 | 1.219 | 889.858 | 69.589 | 30.6894
2020-10-14 03:30:00 | 5.366 | 222.433 | 7.116 | 224.85 | 7.329 | 229.4 | 7.243 | 226.133 | 0.732 | 889.733 | 69.888 | 30.8869
2020-10-14 03:45:00 | 5.183 | 223.447 | 6.936 | 224.467 | 7.213 | 228.767 | 7.193 | 225 | 1.085 | 889.892 | 69.504 | 29.3194
2020-10-14 04:00:00 | 5.336 | 216.907 | 7.343 | 219.236 | 7.112 | 224.967 | 7.008 | 223.767 | 0.599 | 889.917 | 70.421 | 27.3298
2020-10-14 04:15:00 | 5.367 | 220.087 | 7.437 | 221.881 | 7.223 | 228.8 | 7.194 | 226.167 | 0.366 | 890.15 | 71.648 | 26.8132
2020-10-14 04:30:00 | 5.468 | 220.433 | 7.164 | 223.055 | 7.275 | 229.867 | 7.224 | 227.433 | 0.067 | 889.983 | 72.299 | 28.0553
2020-10-14 04:45:00 | 5.511 | 214.413 | 7.328 | 223.822 | 7.596 | 232.533 | 7.503 | 230.2 | 0 | 889.883 | 72.107 | 28.2493
2020-10-14 05:00:00 | 6.321 | 216.133 | 8.132 | 219.376 | 7.843 | 225.933 | 7.762 | 223.833 | 0.166 | 890.233 | 72.747 | 35.3677
2020-10-14 05:15:00 | 6.302 | 216.573 | 8.111 | 220.742 | 8.033 | 226.333 | 8.019 | 224.133 | -0.05 | 889.942 | 72.192 | 38.5724
2020-10-14 05:30:00 | 6.568 | 221.067 | 8.203 | 226.595 | 8.651 | 234.7 | 8.583 | 232.633 | 0.299 | 889.733 | 71.883 | 43.7617
2020-10-14 05:45:00 | 5.792 | 216.247 | 7.711 | 221.31 | 7.958 | 229.8 | 8.018 | 229.533 | 0.399 | 890.033 | 72.395 | 41.3251
2020-10-14 06:00:00 | 5.801 | 220.273 | 8.058 | 221.011 | 8.209 | 227.367 | 8.034 | 224.933 | 0.2 | 889.5 | 72.672 | 38.7984
2020-10-14 06:15:00 | 6.78 | 219.18 | 8.214 | 221.584 | 8.35 | 227.9 | 8.268 | 226.6 | 0.116 | 889.367 | 71.979 | 41.9007
2020-10-14 06:30:00 | 6.11 | 222.42 | 8.028 | 227.051 | 8.355 | 235.433 | 8.277 | 234.2 | 0.083 | 889.967 | 73.205 | 40.918
2020-10-14 06:45:00 | 6.292 | 221.22 | 7.956 | 227.288 | 8.198 | 237.533 | 8.056 | 235.267 | -0.226 | 890.017 | 73.632 | 37.8178
2020-10-14 07:00:00 | 6.125 | 222.527 | 7.728 | 229.473 | 7.866 | 239.2 | 7.76 | 236.967 | -0.159 | 890.417 | 73.707 | 36.6276
2020-10-14 07:15:00 | 5.715 | 224.2 | 7.253 | 232.546 | 7.816 | 243.733 | 7.905 | 241.133 | -0.236 | 890.058 | 73.557 | 37.5925
2020-10-14 07:30:00 | 5.281 | 228.967 | 7.022 | 235.041 | 8.004 | 244.133 | 8.035 | 241.833 | -0.116 | 889.95 | 74.517 | 38.2043
2020-10-14 07:45:00 | 5.067 | 237.573 | 6.697 | 238.007 | 7.895 | 247.033 | 8.166 | 244.467 | 0.632 | 890 | 72.768 | 37.9308
2020-10-14 08:00:00 | 4.937 | 239.333 | 7.227 | 237.452 | 8.188 | 246.533 | 8.284 | 242.8 | 0.965 | 889.733 | 70.485 | 40.4995
2020-10-14 08:15:00 | 6.071 | 233.407 | 7.819 | 235.71 | 8.225 | 244.667 | 8.294 | 242.133 | 1.242 | 889.542 | 68.523 | 42.1799
2020-10-14 08:30:00 | 6.063 | 222.953 | 7.854 | 231.843 | 7.998 | 240.967 | 7.892 | 238.633 | 1.539 | 889.958 | 66.517 | 39.7775
2020-10-14 08:45:00 | 5.73 | 221.56 | 7.286 | 226.723 | 7.819 | 236.9 | 7.82 | 234.3 | 2.447 | 889.775 | 63.541 | 35.0992
2020-10-14 09:00:00 | 5.414 | 222.4 | 6.37 | 224.432 | 7.322 | 233.867 | 7.811 | 231.9 | 3.922 | 889.725 | 58.688 | 30.1699
2020-10-14 09:15:00 | 6.603 | 230.3 | 7.082 | 228.587 | 7.574 | 234.167 | 7.567 | 230 | 4.602 | 889.975 | 55.435 | 29.4182
2020-10-14 09:30:00 | 6.58 | 233.253 | 7.05 | 227.728 | 7.502 | 231.967 | 7.407 | 230.4 | 4.829 | 890.233 | 54.315 | 27.5465
2020-10-14 09:45:00 | 6.755 | 232.993 | 7.24 | 233.248 | 7.611 | 237.9 | 7.842 | 232.5 | 4.582 | 889.967 | 53.899 | 28.25
2020-10-14 10:00:00 | 7.505 | 240.653 | 7.784 | 238.26 | 7.868 | 245.133 | 7.692 | 239.767 | 4.978 | 890.133 | 53.643 | 30.4741
2020-10-14 10:15:00 | 7.228 | 250.193 | 7.874 | 247.774 | 7.872 | 251.433 | 7.768 | 245.817 | 5.26 | 889.825 | 52.021 | 29.5049
2020-10-14 10:30:00 | 6.173 | 267.1 | 6.538 | 257.544 | 6.641 | 258.467 | 6.616 | 254.45 | 6.886 | 889.775 | 46.699 | 28.2159
2020-10-14 10:45:00 | 6.106 | 279.933 | 6.402 | 272.277 | 6.655 | 277.267 | 6.812 | 270.7 | 6.095 | 890.008 | 46.709 | 25.5157
2020-10-14 11:00:00 | 5.638 | 281 | 6 | 274.55 | 6.26 | 276.133 | 6.591 | 271.767 | 6.554 | 889.867 | 46.411 | 21.0676
2020-10-14 11:15:00 | 5.837 | 283.613 | 6.506 | 273.86 | 6.488 | 278.133 | 6.659 | 272.65 | 6.314 | 889.8 | 45.44 | 18.7121
2020-10-14 11:30:00 | 6.253 | 278.147 | 6.534 | 274.433 | 6.396 | 280.633 | 6.544 | 280.3 | 6.545 | 890.125 | 44.341 | 19.2166
2020-10-14 11:45:00 | 5.318 | 276.013 | 5.63 | 270.981 | 5.882 | 275.6 | 6.033 | 272.6 | 7.156 | 890.133 | 43.643 | 18.204
2020-10-14 12:00:00 | 7.215 | 296.8 | 7.546 | 290.484 | 7.586 | 295.967 | 7.768 | 293.1 | 7.256 | 889.733 | 40.091 | 18.8265
2020-10-14 12:15:00 | 7.639 | 295.053 | 7.983 | 290.313 | 7.964 | 294.4 | 8.318 | 292.8 | 7.459 | 889.567 | 39.157 | 25.5186
2020-10-14 12:30:00 | 6.928 | 294.893 | 7.499 | 284.469 | 7.625 | 287.567 | 7.848 | 284.333 | 7.449 | 890.1 | 39.099 | 26.3329
2020-10-14 12:45:00 | 7.987 | 301.04 | 8.197 | 292.689 | 8.438 | 298.4 | 8.731 | 294.6 | 8.423 | 889.633 | 37.757 | 25.9137
2020-10-14 13:00:00 | 7.354 | 297.04 | 7.717 | 294.749 | 8.167 | 296.9 | 8.561 | 296.567 | 8.18 | 889.95 | 38.219 | 27.2836
2020-10-14 13:15:00 | 7.846 | 306.827 | 8.137 | 302.304 | 8.309 | 307.233 | 8.53 | 302.633 | 7.95 | 889.55 | 37.872 | 31.3651
2020-10-14 13:30:00 | 7.323 | 304.84 | 7.575 | 293.852 | 7.76 | 297.033 | 7.966 | 294.467 | 8.347 | 889.7 | 37.523 | 33.9061
2020-10-14 13:45:00 | 7.762 | 304.6 | 8.24 | 297.346 | 8.58 | 301.767 | 8.824 | 300.9 | 8.674 | 890.033 | 37.195 | 30.3426
2020-10-14 14:00:00 | 7.939 | 308.787 | 8.294 | 305.426 | 8.475 | 308.467 | 9.008 | 307.633 | 9.266 | 889.667 | 35.117 | 28.4433
2020-10-14 14:15:00 | 7.981 | 298.653 | 8.137 | 296.029 | 8.171 | 298.833 | 8.302 | 297.933 | 9.449 | 889.067 | 33.52 | 32.7486
2020-10-14 14:30:00 | 6.789 | 316.827 | 7.338 | 312.21 | 7.566 | 316.1 | 7.846 | 314.933 | 9.337 | 889.4 | 34.4 | 35.1894
2020-10-14 14:45:00 | 8.408 | 312.387 | 8.857 | 306.08 | 9.227 | 310.933 | 9.576 | 308.367 | 9.316 | 889.8 | 36.035 | 41.2555
2020-10-14 15:00:00 | 9.486 | 327.747 | 9.735 | 320.92 | 10.154 | 326.133 | 10.262 | 324.133 | 8.954 | 889.7 | 36.688 | 53.7814
2020-10-14 15:15:00 | 8.584 | 317.333 | 9.04 | 311.484 | 9.533 | 314.367 | 9.796 | 315.933 | 9.254 | 889.933 | 35.741 | 57.1637
2020-10-14 15:30:00 | 8.393 | 314.027 | 8.75 | 304.875 | 8.962 | 310.033 | 9.308 | 306.467 | 9.045 | 889.783 | 36.712 | 55.7191
2020-10-14 15:45:00 | 9.135 | 300.747 | 9.312 | 299.869 | 9.553 | 302.6 | 9.974 | 300.5 | 9.245 | 889.667 | 35.493 | 51.347
2020-10-14 16:00:00 | 8.47 | 300.693 | 8.746 | 297.108 | 9.126 | 302.4 | 9.477 | 301.933 | 9.062 | 889.533 | 36.552 | 54.4607
2020-10-14 16:15:00 | 7.847 | 304.8 | 8.368 | 300.013 | 8.697 | 305.167 | 9.205 | 304.033 | 9.204 | 889.767 | 35.899 | 49.3417
2020-10-14 16:30:00 | 7.119 | 297.573 | 7.57 | 293.705 | 7.712 | 298.867 | 8 | 295.633 | 9.528 | 889.883 | 35.069 | 39.8997
2020-10-14 16:45:00 | 6.757 | 306.853 | 7.242 | 300.236 | 7.281 | 302.833 | 7.579 | 301 | 9.162 | 889.95 | 34.893 | 42.3533
2020-10-14 17:00:00 | 6.896 | 304.427 | 7.61 | 300.484 | 7.79 | 304.767 | 8.044 | 302.3 | 9.524 | 889.783 | 34.691 | 37.6899
2020-10-14 17:15:00 | 8.016 | 285.107 | 8.659 | 279.637 | 9.094 | 283.067 | 9.184 | 280.333 | 9.241 | 889.717 | 35.333 | 41.8161
2020-10-14 17:30:00 | 7.879 | 290.267 | 8.207 | 288.566 | 8.795 | 290.8 | 9.213 | 287.933 | 9.37 | 889.767 | 35.08 | 47.5142
2020-10-14 17:45:00 | 7.14 | 316.667 | 7.705 | 310.416 | 7.964 | 316.133 | 8.22 | 313.967 | 9.766 | 890.117 | 35.219 | 47.5263
2020-10-14 18:00:00 | 8.418 | 321.52 | 8.712 | 315.722 | 9.106 | 318.633 | 9.401 | 317.3 | 8.991 | 890.167 | 37.6 | 53.4844
2020-10-14 18:15:00 | 8.72 | 307.64 | 9.608 | 303.881 | 10.15 | 309.967 | 10.711 | 308.6 | 9.191 | 889.817 | 36.797 | 60.6902
2020-10-14 18:30:00 | 7.942 | 313.613 | 8.481 | 307.055 | 8.854 | 312.133 | 9.01 | 311.233 | 8.82 | 889.95 | 38.323 | 77.0048
2020-10-14 18:45:00 | 6.707 | 310.587 | 7.477 | 304.084 | 7.718 | 309.367 | 8.063 | 306.967 | 7.909 | 889.817 | 39.571 | 55.1457
2020-10-14 19:00:00 | 5.528 | 305.64 | 6.183 | 300.785 | 6.316 | 306.7 | 6.701 | 303.567 | 8.347 | 890.033 | 40.179 | 26.0508
2020-10-14 19:15:00 | 4.859 | 310.933 | 5.349 | 308.733 | 5.435 | 314.567 | 5.609 | 314.8 | 7.572 | 889.65 | 41.083 | 21.6844
2020-10-14 19:30:00 | 3.127 | 298.467 | 3.684 | 298.248 | 3.958 | 302.2 | 4.372 | 297.967 | 7.372 | 889.542 | 42.032 | 11.4479
2020-10-14 19:45:00 | 3.779 | 305.88 | 4.672 | 306.666 | 5.299 | 315.033 | 5.794 | 314.733 | 6.71 | 890.117 | 42.469 | 7.8134
2020-10-14 20:00:00 | 4.107 | 309.48 | 4.801 | 307.856 | 5.178 | 312.467 | 5.802 | 309.8 | 6.413 | 890.025 | 46.059 | 15.1763
2020-10-14 20:15:00 | 4.082 | 300.387 | 5.08 | 298.635 | 5.492 | 303.1 | 6.045 | 302.033 | 6.522 | 889.842 | 48.688 | 13.8802
2020-10-14 20:30:00 | 3.517 | 298.013 | 4.416 | 301.112 | 4.84 | 306.233 | 5.508 | 304.733 | 5.634 | 890.042 | 50.976 | 12.452
2020-10-14 20:45:00 | 3.87 | 281.733 | 5.154 | 286.367 | 5.535 | 293.667 | 6.049 | 292.367 | 5.3 | 889.792 | 52.555 | 12.4413
2020-10-14 21:00:00 | 3.57 | 277.213 | 4.758 | 277.462 | 4.934 | 282.533 | 5.202 | 279.467 | 4.988 | 889.633 | 54.4 | 15.0825
2020-10-14 21:15:00 | 3.255 | 285.307 | 3.973 | 283.577 | 4.21 | 287.333 | 4.668 | 287.1 | 5.574 | 889.85 | 56.768 | 13.8418
2020-10-14 21:30:00 | 3.504 | 273.173 | 3.924 | 271.145 | 4.233 | 274.633 | 4.55 | 272.967 | 5.359 | 889.767 | 62.048 | 8.7577
2020-10-14 21:45:00 | 3.661 | 260.093 | 3.938 | 262.613 | 3.822 | 268.5 | 4.228 | 266.167 | 5.054 | 889.825 | 64.123 | 8.7329
2020-10-14 22:00:00 | 3.989 | 256.487 | 4.028 | 259.918 | 4.103 | 268.167 | 4.274 | 264 | 4.418 | 889.858 | 66.187 | 4.4283
2020-10-14 22:15:00 | 3.702 | 258.893 | 3.64 | 263.876 | 3.554 | 274.5 | 3.713 | 271.167 | 4.543 | 889.625 | 66.037 | 3.7696
2020-10-14 22:30:00 | 2.687 | 250.753 | 2.863 | 261.219 | 2.661 | 275.9 | 2.918 | 282.467 | 4.342 | 890.05 | 65.829 | 1.1469
2020-10-14 22:45:00 | 1.604 | 320.66 | 1.604 | 310.238 | 1.659 | 288.633 | 2.896 | 257.667 | 4.378 | 889.45 | 66.603 | 0.28991
2020-10-14 23:00:00 | 1.07 | 255.367 | 3.064 | 234.051 | 3.862 | 244.1 | 3.916 | 240.7 | 4.094 | 889.875 | 68.075 | 2.1182
2020-10-14 23:15:00 | 2.269 | 259.867 | 2.952 | 264.871 | 3.25 | 270.733 | 3.49 | 267.467 | 4.206 | 890.017 | 68.416 | 1.2328
2020-10-14 23:30:00 | 2.236 | 254.673 | 2.276 | 260.83 | 2.445 | 269.1 | 2.627 | 268.233 | 4.127 | 889.783 | 68.688 | 0.46684
2020-10-14 23:45:00 | 0.14 | 244.9 | 0.264 | 248.035 | 1.75 | 243.283 | 2.764 | 243.033 | 3.924 | 889.5 | 71.605 | 1.22