## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-15 00:00:00 | 1.604 | 270.507 | 2.149 | 269.461 | 2.588 | 264.3 | 2.92 | 252.117 | 4 | 889.675 | 72.48 | 0.35599
2020-10-15 00:15:00 | 1.9 | 235.84 | 1.613 | 241.425 | 1.747 | 254 | 2.532 | 249.533 | 4.075 | 889.708 | 71.531 | 0.11795
2020-10-15 00:30:00 | 2.763 | 234.167 | 3.308 | 236.025 | 3.713 | 245.133 | 3.793 | 242.7 | 3.673 | 889.533 | 74.965 | 1.4929
2020-10-15 00:45:00 | 4.18 | 226.993 | 4.716 | 229.462 | 4.312 | 238.167 | 3.82 | 239.133 | 2.447 | 889.967 | 79.104 | 3.8989
2020-10-15 01:00:00 | 4.346 | 224.62 | 4.308 | 231.407 | 3.916 | 241.4 | 3.703 | 242.8 | 2.142 | 889.558 | 79.979 | 3.1926
2020-10-15 01:15:00 | 4.667 | 220.54 | 4.6 | 232.493 | 4.172 | 242.633 | 4.032 | 242.467 | 1.636 | 890.192 | 80.565 | 4.1206
2020-10-15 01:30:00 | 4.685 | 221.433 | 4.606 | 232.446 | 4.231 | 240.467 | 4.02 | 241.433 | 1.6 | 889.975 | 80.725 | 4.6137
2020-10-15 01:45:00 | 5.065 | 220.647 | 4.634 | 235.803 | 4.379 | 244.367 | 4.155 | 242.067 | 1.399 | 889.567 | 81.045 | 5.3229
2020-10-15 02:00:00 | 4.911 | 220.553 | 4.207 | 239.998 | 4.193 | 249.9 | 4.272 | 247.9 | 1.065 | 889.933 | 80.64 | 5.7705
2020-10-15 02:15:00 | 5.213 | 224.34 | 5.557 | 234.809 | 4.728 | 247.1 | 4.39 | 247.2 | 0.865 | 890.258 | 79.872 | 8.0919
2020-10-15 02:30:00 | 5.294 | 232.887 | 5.573 | 242.294 | 4.98 | 251.2 | 4.316 | 247.8 | 0.515 | 889.883 | 79.061 | 7.8617
2020-10-15 02:45:00 | 5.516 | 230.367 | 5.659 | 240.178 | 4.982 | 247.867 | 4.498 | 248.367 | 0.548 | 889.925 | 78.144 | 8.3357
2020-10-15 03:00:00 | 5.46 | 228.633 | 5.544 | 237.904 | 4.895 | 246.933 | 4.06 | 246.7 | 0.216 | 890.15 | 78.027 | 8.5673
2020-10-15 03:15:00 | 4.946 | 223.38 | 5.519 | 234.325 | 4.601 | 245.267 | 3.75 | 246.867 | 0.017 | 889.742 | 78.485 | 7.1945
2020-10-15 03:30:00 | 5.53 | 219.813 | 5.695 | 230.998 | 5.006 | 237.2 | 4.207 | 238.333 | -0.106 | 890.2 | 79.307 | 7.677
2020-10-15 03:45:00 | 5.648 | 223.293 | 5.744 | 231.221 | 5.114 | 238 | 4.548 | 234.933 | -0.076 | 889.817 | 79.477 | 7.2393
2020-10-15 04:00:00 | 5.974 | 220.573 | 5.756 | 225.984 | 5.314 | 234.233 | 4.946 | 232.8 | -0.13 | 890.292 | 78.805 | 7.4041
2020-10-15 04:15:00 | 5.251 | 220.12 | 5.29 | 222.993 | 4.806 | 226.167 | 4.833 | 226.333 | -0.505 | 889.917 | 78.379 | 7.0602
2020-10-15 04:30:00 | 5.538 | 221.433 | 6.021 | 231.797 | 5.796 | 240.5 | 5.495 | 236.5 | -0.498 | 889.742 | 78.133 | 8.2632
2020-10-15 04:45:00 | 5.406 | 224.567 | 5.93 | 236.345 | 5.523 | 245.267 | 5.281 | 241.967 | -0.538 | 890.125 | 78.165 | 10.063
2020-10-15 05:00:00 | 5.506 | 221.8 | 5.649 | 236.181 | 5.088 | 248.633 | 4.586 | 249.033 | -0.459 | 890.092 | 78.091 | 9.4512
2020-10-15 05:15:00 | 5.734 | 221.64 | 5.94 | 231.996 | 5.425 | 241 | 4.787 | 239.467 | -0.918 | 890.233 | 78.133 | 8.6895
2020-10-15 05:30:00 | 5.84 | 220.007 | 5.629 | 231.218 | 5.072 | 239.9 | 4.662 | 238.7 | -0.779 | 889.783 | 77.728 | 7.797
2020-10-15 05:45:00 | 6.17 | 220.773 | 6.3 | 227.775 | 5.796 | 235.233 | 5.245 | 232.5 | -1.165 | 889.908 | 78.528 | 9.2033
2020-10-15 06:00:00 | 5.758 | 220.907 | 6.279 | 226.736 | 5.823 | 233.6 | 5.15 | 231.067 | -1.082 | 890.008 | 78.485 | 9.1741
2020-10-15 06:15:00 | 5.624 | 222.38 | 6.004 | 227.758 | 5.632 | 235.4 | 5.312 | 233.167 | -0.848 | 889.625 | 77.952 | 9.6928
2020-10-15 06:30:00 | 5.764 | 220.547 | 5.728 | 228.362 | 5.629 | 234.667 | 5.229 | 231.9 | -1.115 | 889.875 | 77.995 | 9.7667
2020-10-15 06:45:00 | 5.555 | 220.807 | 5.942 | 227.54 | 5.702 | 233.867 | 5.355 | 229.967 | -1.336 | 889.692 | 77.888 | 9.0242
2020-10-15 07:00:00 | 5.82 | 222.527 | 5.762 | 227.298 | 5.612 | 233.733 | 5.342 | 230.333 | -1.389 | 889.4 | 77.867 | 9.7404
2020-10-15 07:15:00 | 6.038 | 221.7 | 5.537 | 228.143 | 5.328 | 236.233 | 5.048 | 233.4 | -1.202 | 889.792 | 77.408 | 9.7234
2020-10-15 07:30:00 | 5.945 | 219.733 | 6.338 | 221.5 | 5.547 | 227.5 | 4.971 | 228.5 | -1.6 | 890.325 | 78.165 | 9.4257
2020-10-15 07:45:00 | 5.762 | 221.593 | 6.456 | 221.397 | 5.937 | 227.233 | 5.271 | 226.6 | -1.733 | 889.483 | 78.677 | 10.5654
2020-10-15 08:00:00 | 6.372 | 222.973 | 7.338 | 224.389 | 6.502 | 227.233 | 5.669 | 223.367 | -1.659 | 889.633 | 78.603 | 11.3172
2020-10-15 08:15:00 | 6.328 | 221.287 | 6.831 | 226.774 | 6.272 | 231.867 | 5.917 | 227.7 | -1.065 | 890.067 | 75.179 | 15.2765
2020-10-15 08:30:00 | 6.008 | 222.533 | 7.391 | 224.691 | 6.833 | 231.6 | 6.167 | 228.967 | -0.518 | 889.725 | 73.525 | 17.1673
2020-10-15 08:45:00 | 5.502 | 216.72 | 6.73 | 221.498 | 6.29 | 228.6 | 5.836 | 227.3 | 0.582 | 889.917 | 70.453 | 15.501
2020-10-15 09:00:00 | 4.885 | 217.967 | 6.71 | 220.298 | 5.826 | 224.8 | 5.599 | 222.467 | 1.299 | 889.758 | 66.859 | 13.284
2020-10-15 09:15:00 | 4.323 | 219.487 | 5.547 | 218.886 | 5.224 | 228.267 | 4.94 | 227.167 | 2.949 | 889.658 | 61.579 | 9.9387
2020-10-15 09:30:00 | 4.404 | 219.747 | 4.62 | 216.534 | 4.583 | 226.1 | 4.323 | 228 | 4.262 | 890.075 | 55.051 | 6.1194
2020-10-15 09:45:00 | 3.891 | 215.627 | 3.832 | 215.298 | 4.042 | 218.3 | 4.116 | 215.4 | 5.277 | 899.15 | 50.699 | 3.6928
2020-10-15 10:00:00 | 3.607 | 223.373 | 3.546 | 221.263 | 3.638 | 227.8 | 3.79 | 228.167 | 6.307 | 918.167 | 45.995 | 2.7236
2020-10-15 10:15:00 | 3.569 | 226.167 | 3.527 | 225.554 | 3.644 | 229.6 | 3.718 | 227.067 | 7.014 | 918.192 | 42.24 | 2.4984
2020-10-15 10:30:00 | 2.547 | 247.547 | 2.545 | 248.118 | 2.668 | 248.6 | 2.838 | 244.783 | 7.698 | 917.717 | 38.917 | 1.4098
2020-10-15 10:45:00 | 2.478 | 252.38 | 2.35 | 241.224 | 2.589 | 239.317 | 2.802 | 236.25 | 8.277 | 917.683 | 36.411 | 0.33041
2020-10-15 11:00:00 | 2.08 | 255.913 | 2.173 | 250.665 | 2.421 | 253.183 | 2.678 | 241.517 | 8.629 | 917.667 | 34.069 | 0.82284
2020-10-15 11:15:00 | 2.802 | 241.713 | 2.924 | 234.954 | 2.987 | 237.35 | 3.157 | 229.367 | 9.083 | 918.133 | 33.976 | 1.3181
2020-10-15 11:30:00 | 1.57 | 273.873 | 1.51 | 267.316 | 1.62 | 267.917 | 1.87 | 258.3 | 9.06 | 917.633 | 33.816 | 0.53719
2020-10-15 11:45:00 | 0.914 | 205.753 | 0.843 | 198.383 | 1.069 | 212.467 | 1.709 | 210.883 | 9.929 | 917.667 | 32.368 | 0.1684
2020-10-15 12:00:00 | 0.422 | 203.903 | 0.213 | 211.313 | 0.286 | 230.7 | 0.824 | 284.45 | 10.626 | 917.65 | 29.707 | 0.23875
2020-10-15 12:15:00 | 0.719 | 166.927 | 0.483 | 171.907 | 0.529 | 161.633 | 0.984 | 188.567 | 11.53 | 917.65 | 26.677 | 0.21672
2020-10-15 12:30:00 | 1.42 | 280.107 | 1.096 | 262.069 | 1.219 | 266.833 | 1.727 | 276.533 | 10.3 | 917.517 | 25.933 | 0.18333
2020-10-15 12:45:00 | 2.564 | 36.941 | 1.802 | 26.776 | 1.174 | 28.5 | 1.425 | 74.9 | 10.545 | 916.25 | 25.243 | 0.17764
2020-10-15 13:00:00 | 1.798 | 77.065 | 1.65 | 65.882 | 1.822 | 71.767 | 1.831 | 65.7 | 10.736 | 906.5 | 24.891 | 0.17409
2020-10-15 13:15:00 | 0.718 | 140.167 | 0.247 | 187.516 | 0.376 | 205.867 | 0.806 | 132.3 | 10.868 | 903.867 | 22.768 | 0.18759
2020-10-15 13:30:00 | 1.893 | 73.394 | 1.59 | 52.69 | 1.593 | 56.4 | 1.739 | 52.133 | 11.479 | 903.5 | 24.107 | 0.17693
2020-10-15 13:45:00 | 0.409 | 121.931 | 0.21 | 142.758 | 0.442 | 180.967 | 0.729 | 221.533 | 11.95 | 903.15 | 23.024 | 0.15846
2020-10-15 14:00:00 | 1.846 | 131.773 | 1.41 | 104.356 | 1.626 | 84.3 | 2.304 | 89.367 | 12.245 | 908.333 | 19.797 | 0.16911
2020-10-15 14:15:00 | 0.586 | 71.767 | 0.31 | 126.14 | 0.456 | 109.067 | 1.045 | 216.9 | 12.958 | 907.233 | 19.143 | 0.13785
2020-10-15 14:30:00 | 2.694 | 74.753 | 2.766 | 71.655 | 2.56 | 75 | 2.688 | 69.9 | 11.481 | 899.9 | 18.76 | 0.1613
2020-10-15 14:45:00 | 2.133 | 75.422 | 2.131 | 82.892 | 2.091 | 94.833 | 2.576 | 105.867 | 11.278 | 889.417 | 20.152 | 0.15846
2020-10-15 15:00:00 | 2.032 | 112.085 | 2.03 | 96.388 | 1.837 | 100.567 | 1.491 | 109.467 | 11.47 | 889.433 | 19.027 | 0.14496
2020-10-15 15:15:00 | 1.642 | 146.152 | 1.48 | 122.611 | 1.323 | 118.633 | 1.891 | 105.167 | 12.049 | 889.5 | 18.627 | 0.093795
2020-10-15 15:30:00 | 3.07 | 102.257 | 2.835 | 109.839 | 2.805 | 114.9 | 2.738 | 119.433 | 11.899 | 889.583 | 20.232 | 0.13359
2020-10-15 15:45:00 | 1.542 | 83.851 | 0.523 | 105.342 | 0.313 | 175.133 | 0.751 | 275.8 | 12.082 | 889.4 | 19.611 | 0.21672
2020-10-15 16:00:00 | 2.788 | 95.13 | 2.517 | 92.651 | 2.628 | 90.8 | 2.619 | 78.2 | 12.12 | 889.867 | 18.749 | 0.13927
2020-10-15 16:15:00 | 0.669 | 147.182 | 0.07 | 90.813 | 0 | 108.484 | 0.047 | 163.733 | 11.999 | 889.4 | 19.08 | 0.39436
2020-10-15 16:30:00 | 4.14 | 77.78 | 3.891 | 75.362 | 3.787 | 77.667 | 3.789 | 73.633 | 11.878 | 889.533 | 19.616 | 0.31407
2020-10-15 16:45:00 | 3.043 | 44.134 | 2.852 | 41.46 | 2.63 | 38.7 | 2.266 | 28.6 | 11.649 | 889.3 | 19.299 | 0.10516
2020-10-15 17:00:00 | 2.263 | 21.365 | 1.878 | 52.19 | 2.176 | 25.433 | 2.334 | 31.467 | 11.745 | 889.5 | 19.405 | 0.16911
2020-10-15 17:15:00 | 2.145 | 113.076 | 2.05 | 111.989 | 1.869 | 21.303 | 2.425 | 33.433 | 11.524 | 889.567 | 19.685 | 0.22738
2020-10-15 17:30:00 | 1.937 | 56.054 | 1.971 | 56.545 | 2.563 | 53.867 | 3.063 | 53.567 | 11.844 | 890.3 | 19.768 | 0.50663
2020-10-15 17:45:00 | 2.535 | 81.592 | 2.54 | 75.209 | 3 | 75.667 | 3.253 | 69.967 | 11.553 | 889.567 | 20.539 | 0.97419
2020-10-15 18:00:00 | 3.324 | 48.099 | 3.294 | 45.81 | 3.412 | 53.467 | 3.639 | 48.933 | 11.49 | 889.817 | 21.008 | 1.3501
2020-10-15 18:15:00 | 3.249 | 44.419 | 3.184 | 40.067 | 3.059 | 44.633 | 3.093 | 40.067 | 11.261 | 889.667 | 21.237 | 1.6862
2020-10-15 18:30:00 | 3.036 | 55.659 | 3.061 | 51.215 | 3.132 | 56.1 | 3.384 | 51.1 | 10.928 | 889.683 | 21.728 | 3.7042
2020-10-15 18:45:00 | 3.684 | 53.953 | 3.243 | 49.593 | 2.967 | 56.2 | 2.993 | 47.467 | 10.48 | 889.783 | 21.216 | 4.208
2020-10-15 19:00:00 | 3.573 | 68.303 | 3.774 | 62.854 | 3.894 | 67.167 | 4.011 | 62.3 | 10.386 | 889.7 | 22.117 | 4.4275
2020-10-15 19:15:00 | 3.574 | 74.003 | 3.775 | 69.517 | 4.027 | 73.167 | 4.318 | 69.167 | 10.03 | 889.583 | 22.533 | 4.6727
2020-10-15 19:30:00 | 3.337 | 77.137 | 3.47 | 70.774 | 3.59 | 74 | 3.975 | 71.3 | 9.36 | 889.783 | 22.645 | 4.7111
2020-10-15 19:45:00 | 2.415 | 89.993 | 2.807 | 78.026 | 2.905 | 83.233 | 3.285 | 77.867 | 9.054 | 889.75 | 22.661 | 3.5578
2020-10-15 20:00:00 | 2.419 | 91.37 | 3.035 | 77.992 | 3.013 | 81.867 | 3.232 | 75.767 | 8.521 | 889.667 | 22.784 | 2.3832
2020-10-15 20:15:00 | 2.439 | 114.52 | 2.146 | 93.628 | 2.047 | 93.967 | 2.198 | 80.033 | 8.633 | 889.367 | 23.237 | 1.1213
2020-10-15 20:30:00 | 2.08 | 131.78 | 2.124 | 100.218 | 1.6 | 97.9 | 1.921 | 92.433 | 8.053 | 889.983 | 23.877 | 1.1895
2020-10-15 20:45:00 | 2.128 | 152.853 | 2.348 | 109.662 | 2.176 | 104.467 | 2.032 | 92.767 | 7.68 | 889.983 | 24.864 | 0.5848
2020-10-15 21:00:00 | 2.23 | 152.473 | 2.423 | 120.558 | 2.55 | 110.267 | 2.338 | 101.467 | 7.686 | 889.717 | 25.109 | 1.7402
2020-10-15 21:15:00 | 2.16 | 145.833 | 2.681 | 110.692 | 2.452 | 109.3 | 2.365 | 99.2 | 7.539 | 889.967 | 25.259 | 1.7537
2020-10-15 21:30:00 | 1.562 | 150.567 | 1.827 | 117.299 | 1.745 | 108.367 | 1.633 | 103.733 | 7.272 | 889.733 | 25.744 | 0.52937
2020-10-15 21:45:00 | 1.818 | 190.22 | 0.417 | 130.068 | 1.279 | 107 | 2.005 | 102.867 | 6.188 | 890.1 | 27.541 | 0.30128
2020-10-15 22:00:00 | 2.811 | 208.4 | 1.223 | 141.23 | 1.298 | 127 | 1.76 | 103 | 5.845 | 889.85 | 28.896 | 0.22312
2020-10-15 22:15:00 | 2.878 | 208.973 | 1.221 | 151.485 | 1.776 | 140 | 2.149 | 123.4 | 5.699 | 889.883 | 29.691 | 0.21743
2020-10-15 22:30:00 | 2.831 | 210.5 | 1.595 | 151.557 | 2.092 | 139.967 | 2.093 | 125 | 5.813 | 889.767 | 29.621 | 0.17196
2020-10-15 22:45:00 | 3.144 | 209.533 | 1.727 | 158.074 | 2.12 | 142.7 | 3.074 | 126.867 | 6.012 | 889.483 | 29.472 | 0.11653
2020-10-15 23:00:00 | 3.49 | 210.093 | 1.825 | 171.002 | 1.915 | 157.533 | 1.958 | 138 | 6.024 | 890.017 | 29.376 | 0.25509
2020-10-15 23:15:00 | 3.378 | 212.093 | 1.622 | 178.484 | 1.15 | 156.033 | 2.099 | 138 | 5.511 | 889.817 | 29.765 | 0.27002
2020-10-15 23:30:00 | 4.339 | 214.953 | 2.67 | 191.871 | 2.351 | 165.5 | 2.712 | 137.867 | 5.59 | 889.883 | 29.232 | 0.2288
2020-10-15 23:45:00 | 3.01 | 211.867 | 1.86 | 185.315 | 1.801 | 164.433 | 2.33 | 141 | 5.712 | 889.617 | 29.941 | 0.24017