## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-16 00:00:00 | 5.653 | 221.647 | 2.833 | 209.43 | 2.446 | 197.767 | 2.54 | 179.533 | 2.266 | 889.6 | 31.141 | 0.25865
2020-10-16 00:15:00 | 5.07 | 219.173 | 2.703 | 207.605 | 1.87 | 201.433 | 1.982 | 180.867 | 2.475 | 889.7 | 31.072 | 0.23236
2020-10-16 00:30:00 | 5.1 | 219.207 | 2.15 | 210.531 | 1.22 | 189.467 | 1.404 | 168.1 | 2.114 | 889.55 | 32.24 | 0.23875
2020-10-16 00:45:00 | 5.975 | 219.753 | 3.992 | 221.757 | 2.796 | 222.567 | 2.08 | 208.7 | 2.781 | 889.817 | 30.757 | 0.24159
2020-10-16 01:00:00 | 5.282 | 218.82 | 4.918 | 222.989 | 3.697 | 226.133 | 3.261 | 220.167 | 1.563 | 890.117 | 32.715 | 0.38655
2020-10-16 01:15:00 | 4.643 | 232.547 | 5.253 | 224.287 | 4.131 | 234.667 | 3.604 | 233.8 | 0.732 | 889.467 | 34.891 | 1.7977
2020-10-16 01:30:00 | 4.988 | 229.34 | 5.901 | 220.512 | 4.574 | 226.267 | 3.535 | 220.5 | 0.332 | 889.567 | 37.168 | 2.7499
2020-10-16 01:45:00 | 2.887 | 210.633 | 4.708 | 212.657 | 5.935 | 222 | 4.912 | 220.4 | 1.499 | 890.183 | 36.523 | 3.4733
2020-10-16 02:00:00 | 3.568 | 205.92 | 4.719 | 210.213 | 6.1 | 223.433 | 5.038 | 223.633 | 1.309 | 889.35 | 37.312 | 4.7615
2020-10-16 02:15:00 | 3.914 | 209.12 | 6.353 | 217.888 | 4.845 | 228.667 | 4.099 | 229.6 | 0.799 | 889.733 | 38.651 | 5.46
2020-10-16 02:30:00 | 5.141 | 218.6 | 7.016 | 214.83 | 5.96 | 222.1 | 5.158 | 222 | 0.549 | 889.717 | 40.811 | 8.2369
2020-10-16 02:45:00 | 5.998 | 221.127 | 6.99 | 218.498 | 6.432 | 224.933 | 5.83 | 223.2 | 1.175 | 889.817 | 40.315 | 10.154
2020-10-16 03:00:00 | 5.947 | 218.24 | 7.256 | 215.813 | 7.01 | 221.333 | 6.354 | 220.1 | 1.312 | 889.533 | 41.995 | 12.2033
2020-10-16 03:15:00 | 7.028 | 217.153 | 6.962 | 214.261 | 6.575 | 220.067 | 5.997 | 219.6 | 0.975 | 890.033 | 42.592 | 12.3475
2020-10-16 03:30:00 | 6.801 | 218.927 | 7.185 | 214.176 | 6.809 | 220.367 | 6.205 | 219.867 | 0.665 | 889.575 | 43.968 | 13.0503
2020-10-16 03:45:00 | 6.406 | 217.3 | 7.246 | 214.648 | 6.452 | 218.867 | 5.951 | 219.233 | 1.316 | 889.967 | 44.843 | 12.8037
2020-10-16 04:00:00 | 5.818 | 218.2 | 6.616 | 215.706 | 5.702 | 218.9 | 5.046 | 220.033 | 1.132 | 889.667 | 45.269 | 11.1261
2020-10-16 04:15:00 | 5.754 | 223.427 | 6.011 | 218.216 | 5.234 | 225.8 | 4.433 | 226.3 | 1.015 | 890.067 | 45.632 | 8.0592
2020-10-16 04:30:00 | 5.73 | 224.627 | 6.216 | 219.375 | 5.756 | 223.933 | 4.37 | 223.4 | 0.882 | 889.875 | 45.632 | 5.3911
2020-10-16 04:45:00 | 6.047 | 222.807 | 5.781 | 219.848 | 5.401 | 225.6 | 4.246 | 221.333 | 0.282 | 889.858 | 46.165 | 4.478
2020-10-16 05:00:00 | 6.911 | 221.293 | 6.333 | 215.352 | 5.338 | 219.967 | 4.292 | 219.2 | 0.615 | 889.933 | 45.835 | 3.4626
2020-10-16 05:15:00 | 7.099 | 221.067 | 5.569 | 218.336 | 4.124 | 220.733 | 2.817 | 217.967 | 0.698 | 889.925 | 44.949 | 2.3328
2020-10-16 05:30:00 | 6.44 | 225.86 | 5.778 | 221.039 | 4.255 | 228.667 | 3.02 | 224.267 | 0.815 | 889.45 | 44.725 | 1.095
2020-10-16 05:45:00 | 6.313 | 225.5 | 6.278 | 223.99 | 5.134 | 229.967 | 3.783 | 224.633 | 0.366 | 889.758 | 45.643 | 2.8494
2020-10-16 06:00:00 | 5.89 | 223.173 | 6.931 | 221.296 | 5.398 | 227.267 | 4.008 | 227.767 | 0.15 | 890.292 | 46.325 | 4.1149
2020-10-16 06:15:00 | 6.714 | 221.36 | 7.232 | 219.624 | 6.03 | 223.733 | 4.616 | 223.333 | 0.116 | 889.825 | 46.208 | 4.073
2020-10-16 06:30:00 | 6.676 | 223.407 | 5.983 | 223.376 | 4.731 | 229.233 | 3.872 | 225.4 | 0.565 | 889.983 | 46.101 | 2.4699
2020-10-16 06:45:00 | 6.496 | 223.727 | 7.231 | 220.758 | 6.023 | 228.8 | 4.949 | 226.667 | -0.016 | 889.425 | 46.613 | 4.5263
2020-10-16 07:00:00 | 5.984 | 220.587 | 7.324 | 215.165 | 6.674 | 221.633 | 5.595 | 219.867 | 0 | 889.842 | 47.115 | 6.1713
2020-10-16 07:15:00 | 5.715 | 230.36 | 5.902 | 218.521 | 5.742 | 224.833 | 5.224 | 221.9 | -0.602 | 890 | 48.907 | 4.235
2020-10-16 07:30:00 | 5.319 | 229.433 | 6.348 | 217.029 | 5.502 | 222.867 | 5.1 | 222.6 | -0.07 | 889.833 | 49.227 | 3.5798
2020-10-16 07:45:00 | 3.888 | 226.527 | 6.028 | 216.323 | 5.74 | 220.633 | 4.941 | 220 | -0.768 | 889.883 | 50.955 | 3.6871
2020-10-16 08:00:00 | 3.058 | 216.86 | 6.163 | 218.182 | 5.804 | 224.333 | 4.64 | 223.267 | -1.412 | 889.933 | 53.355 | 2.1132
2020-10-16 08:15:00 | 5.989 | 220.48 | 6.611 | 219.481 | 5.156 | 224.4 | 4.137 | 221.067 | 0.014 | 889.758 | 51.264 | 2.5993
2020-10-16 08:30:00 | 5.939 | 220.013 | 6.39 | 212.838 | 5.556 | 220.167 | 4.703 | 219.033 | 0.382 | 889.592 | 48.619 | 4.1419
2020-10-16 08:45:00 | 5.686 | 220.08 | 5.868 | 212.514 | 5.574 | 216.4 | 4.739 | 217.367 | 1.459 | 889.9 | 45.771 | 3.5201
2020-10-16 09:00:00 | 5.424 | 219.44 | 5.582 | 211.26 | 5.42 | 212.467 | 5.193 | 211.2 | 2.692 | 890.342 | 42.528 | 3.8008
2020-10-16 09:15:00 | 5.294 | 217.247 | 5.741 | 212.439 | 5.199 | 214.367 | 4.996 | 214.2 | 4.046 | 890.1 | 39.461 | 4.3274
2020-10-16 09:30:00 | 4.602 | 213.827 | 5.183 | 212.082 | 5.243 | 213 | 4.928 | 212 | 5.842 | 890.033 | 36.208 | 4.8326
2020-10-16 09:45:00 | 4.469 | 212.167 | 4.399 | 209.342 | 4.83 | 211.4 | 4.602 | 209.333 | 6.806 | 889.7 | 33.451 | 4.6244
2020-10-16 10:00:00 | 4.174 | 213.627 | 4.082 | 210.508 | 4.19 | 210.933 | 4.405 | 205.833 | 8.01 | 889.65 | 30.891 | 3.2203
2020-10-16 10:15:00 | 3.923 | 217.567 | 3.812 | 217.186 | 3.946 | 220.767 | 3.837 | 216.233 | 8.674 | 889.8 | 29.136 | 2.4522
2020-10-16 10:30:00 | 3.007 | 220.687 | 2.817 | 219.255 | 2.963 | 224.6 | 3.377 | 218.9 | 9.685 | 890.467 | 27.056 | 1.3472
2020-10-16 10:45:00 | 1.856 | 205.167 | 1.7 | 212.213 | 1.983 | 215.6 | 2.428 | 213.133 | 11.028 | 889.633 | 25.152 | 0.27925
2020-10-16 11:00:00 | 1.666 | 228.747 | 1.647 | 229.368 | 1.843 | 236.4 | 2.116 | 228.5 | 11.868 | 892.433 | 23.696 | 0.26433
2020-10-16 11:15:00 | 0.449 | 220.927 | 0.223 | 218.317 | 0.692 | 230.533 | 1.219 | 230.85 | 12.466 | 901.617 | 22.571 | 0.18191
2020-10-16 11:30:00 | 0.419 | 194.777 | 0.136 | 213.307 | 0.908 | 224.033 | 1.679 | 219 | 12.238 | 893.583 | 21.936 | 0.18475
2020-10-16 11:45:00 | 1.439 | 245.513 | 0.943 | 238.964 | 0.92 | 243.25 | 1.485 | 239.283 | 13.31 | 889.667 | 20.712 | 0.17622
2020-10-16 12:00:00 | 0.925 | 67.194 | 0.28 | 95.913 | 0.436 | 166.8 | 1.162 | 120.8 | 12.474 | 889.917 | 20.528 | 0.18191
2020-10-16 12:15:00 | 1.88 | 273.773 | 1.387 | 270.187 | 1.376 | 271.1 | 1.833 | 271.933 | 12.897 | 889.8 | 18.749 | 0.17764
2020-10-16 12:30:00 | 1.75 | 152.618 | 1.527 | 196.676 | 1.301 | 225.133 | 1.616 | 205.467 | 12.128 | 889.6 | 18.577 | 0.17196
2020-10-16 12:45:00 | 0.526 | 231.667 | 0.2 | 158.176 | 0.04 | 173.917 | 0.302 | 95.5 | 13.303 | 889.4 | 18.528 | 0.15917
2020-10-16 13:00:00 | 2.703 | 178.524 | 2.523 | 254.506 | 2.392 | 186.334 | 2.643 | 265.967 | 12.541 | 889.467 | 17.523 | 0.15632
2020-10-16 13:15:00 | 1.796 | 73.051 | 1.975 | 84.385 | 2.226 | 74.734 | 2.016 | 97.7 | 12.486 | 889.3 | 17.937 | 0.16485
2020-10-16 13:30:00 | 0.986 | 161.418 | 1.067 | 79.94 | 1.109 | 135.6 | 1.384 | 81.1 | 12.564 | 889.267 | 17.977 | 0.1947
2020-10-16 13:45:00 | 1.822 | 33.8 | 1.073 | 41.727 | 0.973 | 92.067 | 1.683 | 65.208 | 12.822 | 889.4 | 17.395 | 0.1478
2020-10-16 14:00:00 | 2.388 | 211.72 | 1.61 | 186.366 | 1.49 | 169.367 | 1.509 | 97.6 | 13.741 | 889.233 | 15.952 | 0.17409
2020-10-16 14:15:00 | 1.258 | 50.387 | 0.367 | 67.1 | 0.706 | 96.167 | 1.199 | 107.6 | 12.784 | 889.467 | 16.032 | 0.17054
2020-10-16 14:30:00 | 1.828 | 279.281 | 0.693 | 265.034 | 0.943 | 241.917 | 1.603 | 190.942 | 13.614 | 889.6 | 15.332 | 0.16769
2020-10-16 14:45:00 | 3.697 | 276.387 | 3.658 | 306.649 | 3.511 | 291.734 | 3.581 | 300.9 | 14.483 | 889.7 | 14.531 | 0.13643
2020-10-16 15:00:00 | 4.442 | 24.231 | 4.302 | 17.417 | 4.193 | 18.033 | 4.833 | 15.9 | 13.372 | 889.133 | 15.765 | 0.48247
2020-10-16 15:15:00 | 3.133 | 47.827 | 3.184 | 60.128 | 3.288 | 52.467 | 3.708 | 89.267 | 12.853 | 890.033 | 17.525 | 3.6907
2020-10-16 15:30:00 | 2.827 | 50.034 | 2.527 | 52.937 | 2.602 | 41.167 | 3.027 | 53.2 | 12.928 | 889.333 | 17.852 | 5.4536
2020-10-16 15:45:00 | 3.657 | 47.306 | 3.467 | 19.089 | 3.816 | 22.838 | 4.148 | 24.333 | 12.478 | 889.3 | 18.728 | 2.7357
2020-10-16 16:00:00 | 2.882 | 55.792 | 2.936 | 37.239 | 2.95 | 43.508 | 3.608 | 40.433 | 12.601 | 889.067 | 19.189 | 2.5808
2020-10-16 16:15:00 | 2.995 | 48.445 | 3.178 | 37.969 | 3.386 | 38.933 | 3.592 | 33.6 | 12.647 | 889.367 | 19.413 | 2.0606
2020-10-16 16:30:00 | 3.015 | 47.054 | 2.919 | 41.091 | 3.17 | 28.633 | 3.266 | 28.333 | 12.436 | 889.7 | 19.239 | 0.41284
2020-10-16 16:45:00 | 1.671 | 28.855 | 1.462 | 38.343 | 1.942 | 39.667 | 2.382 | 23.7 | 12.909 | 889.667 | 19.035 | 0.17409
2020-10-16 17:00:00 | 2.331 | 66.372 | 1.932 | 61.148 | 1.816 | 61.033 | 1.999 | 50 | 12.632 | 889.4 | 19.115 | 0.17906
2020-10-16 17:15:00 | 1.893 | 35.468 | 1.527 | 37.019 | 1.629 | 60.067 | 1.921 | 40.135 | 12.78 | 889.667 | 18.987 | 0.19683
2020-10-16 17:30:00 | 1.489 | 99.113 | 0.91 | 92.112 | 1.03 | 88.667 | 1.689 | 81.733 | 12.653 | 889.533 | 19.091 | 0.12861
2020-10-16 17:45:00 | 2.156 | 42.586 | 1.694 | 40.137 | 1.81 | 46.767 | 2.079 | 44.967 | 12.834 | 889 | 19.072 | 0.15917
2020-10-16 18:00:00 | 2.302 | 41.486 | 1.842 | 31.626 | 2.016 | 29.867 | 2.523 | 31.067 | 12.726 | 889.533 | 19.352 | 0.12435
2020-10-16 18:15:00 | 3.182 | 24.264 | 2.987 | 19.821 | 2.978 | 23.6 | 3.103 | 23.3 | 12.345 | 889.467 | 19.824 | 0.40644
2020-10-16 18:30:00 | 2.927 | 21.337 | 2.745 | 21.297 | 2.846 | 26.133 | 3.184 | 19.733 | 12.274 | 889.467 | 20.192 | 0.54074
2020-10-16 18:45:00 | 3.56 | 11.396 | 3.587 | 5.881 | 4.302 | 8.633 | 3.644 | 8.367 | 11.816 | 889.633 | 20.267 | 1.9292
2020-10-16 19:00:00 | 2.418 | 7.332 | 2.854 | 3.581 | 3.198 | 3.2 | 2.892 | 0 | 11.245 | 889.6 | 20.923 | 1.5618
2020-10-16 19:15:00 | 1.909 | 4.18 | 2.739 | 10.93 | 2.987 | 9.3 | 3.234 | 4.8 | 10.668 | 890.05 | 21.653 | 0.23946
2020-10-16 19:30:00 | 1.872 | 3.942 | 2.432 | 4.014 | 2.701 | 7.7 | 2.588 | 6 | 10.41 | 889.65 | 22.107 | 0.11724
2020-10-16 19:45:00 | 1.119 | 47.467 | 1.676 | 95.14 | 2.202 | 35.333 | 2.96 | 0.133 | 9.766 | 889.833 | 22.635 | 0.16627
2020-10-16 20:00:00 | 0 | 329.067 | 0.27 | 327.554 | 2.007 | 333.133 | 2.73 | 341.3 | 9.454 | 889.617 | 23.528 | 0.17054
2020-10-16 20:15:00 | 1.456 | 241.173 | 1.167 | 285.778 | 2.021 | 311.733 | 2.497 | 327.033 | 8.699 | 890.017 | 24.528 | 0.1883
2020-10-16 20:30:00 | 2.414 | 234.993 | 1.58 | 264.439 | 1.782 | 302.4 | 2.286 | 322.4 | 8.489 | 889.683 | 24.829 | 0.17054
2020-10-16 20:45:00 | 3.521 | 236.053 | 2.029 | 256.727 | 1.777 | 280.067 | 2.172 | 294.967 | 8.297 | 889.667 | 24.968 | 0.17054
2020-10-16 21:00:00 | 5.18 | 235.627 | 3.518 | 245.597 | 2.957 | 266.133 | 2.689 | 279.067 | 8.377 | 889.5 | 24.427 | 0.17125
2020-10-16 21:15:00 | 4.882 | 235.193 | 3.799 | 262.221 | 3.159 | 276 | 3.112 | 274 | 6.687 | 889.1 | 25.496 | 0.56277
2020-10-16 21:30:00 | 5.109 | 226.533 | 4.29 | 255.804 | 3.503 | 266.333 | 3.258 | 274.5 | 4.884 | 890.083 | 26.867 | 1.0488
2020-10-16 21:45:00 | 5.658 | 226.733 | 5.166 | 244.338 | 4.25 | 252.1 | 3.816 | 254.467 | 4.305 | 889.883 | 28.235 | 2.5637
2020-10-16 22:00:00 | 5.706 | 227.433 | 5.55 | 246.192 | 5.013 | 254.9 | 4.794 | 253.233 | 4.67 | 889.833 | 28.187 | 7.5078
2020-10-16 22:15:00 | 5.624 | 229.207 | 5.856 | 249.236 | 5.337 | 261.467 | 5.305 | 263.5 | 4.492 | 889.8 | 26.901 | 11.4721
2020-10-16 22:30:00 | 5.352 | 226.493 | 6.048 | 243.174 | 5.556 | 255.267 | 5.334 | 258.667 | 4.418 | 890 | 26.469 | 11.0657
2020-10-16 22:45:00 | 5.494 | 230.7 | 6.238 | 248.14 | 6.105 | 258.767 | 6.195 | 259.067 | 4.719 | 889.983 | 26.661 | 14.5851
2020-10-16 23:00:00 | 5.675 | 232.9 | 6.032 | 247.565 | 6.133 | 254.8 | 6.368 | 253.3 | 5.218 | 890.033 | 26.379 | 20.1389
2020-10-16 23:15:00 | 5.807 | 234.447 | 6.125 | 243.366 | 6.09 | 254.767 | 6.203 | 254 | 5.272 | 889.533 | 26.027 | 22.623
2020-10-16 23:30:00 | 5.871 | 224.26 | 6.615 | 233.603 | 6.321 | 242.733 | 6.177 | 241.6 | 5.064 | 889.317 | 25.611 | 25.6252
2020-10-16 23:45:00 | 6.349 | 230.067 | 7.008 | 235.006 | 6.739 | 244.1 | 6.432 | 241.867 | 4.769 | 889.483 | 25.979 | 28.9549