## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-17 00:00:00 | 6.117 | 232.22 | 6.815 | 237.386 | 6.697 | 245.767 | 6.556 | 244.5 | 4.845 | 889.817 | 26.155 | 26.5738
2020-10-17 00:15:00 | 6.157 | 228.807 | 6.905 | 235.167 | 6.979 | 242.733 | 6.78 | 240.067 | 5.203 | 889.883 | 26.656 | 28.2692
2020-10-17 00:30:00 | 6.019 | 230.58 | 7.186 | 236.483 | 7.249 | 244.167 | 7.023 | 240.333 | 4.577 | 889.833 | 28.021 | 33.2161
2020-10-17 00:45:00 | 6.556 | 232.047 | 7.595 | 235.227 | 7.672 | 241.867 | 7.41 | 239.3 | 4.51 | 890.183 | 28.864 | 37.7794
2020-10-17 01:00:00 | 6.083 | 229.62 | 7.783 | 235.883 | 8.048 | 244.633 | 7.965 | 242.6 | 4.514 | 890.033 | 29.28 | 42.6219
2020-10-17 01:15:00 | 5.6 | 226.567 | 7.181 | 234.436 | 7.913 | 244.067 | 7.811 | 242.333 | 4.008 | 889.667 | 30.064 | 44.1624
2020-10-17 01:30:00 | 5.823 | 228.067 | 7.527 | 232.416 | 7.683 | 241 | 7.479 | 237.333 | 4.239 | 889.283 | 30.432 | 43.3126
2020-10-17 01:45:00 | 6.1 | 231.687 | 7.187 | 235.183 | 7.408 | 243.233 | 7.192 | 241.333 | 4.315 | 890.2 | 30.384 | 40.0887
2020-10-17 02:00:00 | 5.988 | 241.527 | 7.29 | 243.159 | 7.213 | 251.167 | 6.939 | 249.433 | 4.418 | 889.733 | 30.213 | 36.5928
2020-10-17 02:15:00 | 5.956 | 235.567 | 7.311 | 237.975 | 7.521 | 244.5 | 7.272 | 240.767 | 4.305 | 889.783 | 29.973 | 39.9154
2020-10-17 02:30:00 | 5.355 | 232.067 | 6.48 | 235.196 | 6.801 | 241.733 | 6.836 | 237.967 | 4.471 | 889.5 | 29.888 | 33.6766
2020-10-17 02:45:00 | 5.389 | 223.12 | 7.042 | 230.257 | 7.727 | 237.267 | 7.63 | 235 | 4.116 | 889.683 | 30.128 | 32.3429
2020-10-17 03:00:00 | 6.537 | 236.787 | 8.566 | 237.999 | 9.2 | 246.333 | 9.037 | 242.933 | 4.464 | 889.533 | 30.933 | 45.6091
2020-10-17 03:15:00 | 7.243 | 239.08 | 9.222 | 239.757 | 9.718 | 247.1 | 9.704 | 243.467 | 5.057 | 889.783 | 31.051 | 55.6814
2020-10-17 03:30:00 | 6.794 | 244.833 | 8.561 | 243.244 | 8.839 | 249.9 | 8.81 | 246.3 | 4.869 | 889.9 | 31.317 | 57.4237
2020-10-17 03:45:00 | 5.919 | 244.36 | 7.578 | 242.74 | 8.169 | 249.733 | 8.145 | 245.567 | 5.18 | 889.667 | 31.296 | 46.0504
2020-10-17 04:00:00 | 4.129 | 247.42 | 5.784 | 242.252 | 7.019 | 247.767 | 7.446 | 246.2 | 4.183 | 889.383 | 31.872 | 39.5544
2020-10-17 04:15:00 | 4.3 | 275.3 | 4.356 | 271.539 | 4.522 | 266.967 | 5.121 | 250.55 | 3.455 | 889.65 | 33.093 | 38.8957
2020-10-17 04:30:00 | 3.685 | 251.9 | 4.34 | 236.013 | 5.238 | 233.833 | 6.552 | 227.967 | 2.722 | 889.833 | 33.699 | 36.823
2020-10-17 04:45:00 | 5.044 | 221.993 | 6.88 | 221.577 | 7.559 | 231.433 | 7.82 | 230.733 | 2.18 | 889.35 | 35.819 | 36.2787
2020-10-17 05:00:00 | 6.238 | 225.66 | 8.002 | 227.241 | 8.778 | 236.133 | 8.652 | 233.5 | 2.655 | 890.033 | 35.419 | 44.4012
2020-10-17 05:15:00 | 5.927 | 223.967 | 8.338 | 230.787 | 8.885 | 239.267 | 8.905 | 235.233 | 3.137 | 889.85 | 35.675 | 47.895
2020-10-17 05:30:00 | 5.968 | 231.973 | 8.121 | 233.311 | 8.565 | 242 | 8.391 | 238.5 | 3.097 | 889.5 | 35.925 | 47.8375
2020-10-17 05:45:00 | 6.418 | 227.78 | 7.97 | 233.163 | 8.208 | 240.867 | 8.146 | 237.6 | 3.073 | 889.433 | 36.571 | 45.8372
2020-10-17 06:00:00 | 5.728 | 224.727 | 7.692 | 229.238 | 7.852 | 238.6 | 7.635 | 235.8 | 3.058 | 890 | 36.987 | 40.8547
2020-10-17 06:15:00 | 5.25 | 224.313 | 7.305 | 228.733 | 7.683 | 239.433 | 7.506 | 236.933 | 2.871 | 889.783 | 38.005 | 39.0222
2020-10-17 06:30:00 | 5.974 | 222.9 | 7.844 | 230.668 | 8.143 | 240.2 | 8.055 | 236.967 | 2.508 | 889.6 | 38.859 | 41.797
2020-10-17 06:45:00 | 6.131 | 223.34 | 8.174 | 229.549 | 8.328 | 240.033 | 8.175 | 236.833 | 2.392 | 889.167 | 39.264 | 44.2051
2020-10-17 07:00:00 | 6.509 | 223.387 | 8.296 | 229.417 | 8.387 | 237.8 | 8.11 | 235.5 | 2.135 | 889.733 | 39.68 | 46.0561
2020-10-17 07:15:00 | 6.204 | 226.373 | 7.921 | 232.949 | 8.126 | 242.2 | 8.035 | 238.833 | 2.13 | 889.65 | 40.523 | 47.9412
2020-10-17 07:30:00 | 7.16 | 235.893 | 8.609 | 236.368 | 8.724 | 243.633 | 8.629 | 239.967 | 2.79 | 889.567 | 40.688 | 54.352
2020-10-17 07:45:00 | 6.551 | 233.333 | 8.426 | 235.412 | 8.967 | 243.867 | 8.73 | 242.367 | 3.121 | 889.717 | 39.707 | 56.8972
2020-10-17 08:00:00 | 5.766 | 227.587 | 7.766 | 230.461 | 8.11 | 239.4 | 8.026 | 235.967 | 2.593 | 889.883 | 40.992 | 50.3635
2020-10-17 08:15:00 | 6.083 | 228.407 | 8.191 | 232.567 | 8.383 | 240.833 | 8.233 | 236.8 | 2.76 | 889.692 | 40.848 | 46.3432
2020-10-17 08:30:00 | 6.1 | 236.067 | 7.714 | 239.012 | 7.829 | 246.167 | 7.723 | 242.333 | 3.924 | 890.083 | 39.024 | 39.8024
2020-10-17 08:45:00 | 5.491 | 220.4 | 6.694 | 227.444 | 7.158 | 237.033 | 7.153 | 235.267 | 4.752 | 889.617 | 37.28 | 33.02
2020-10-17 09:00:00 | 5.395 | 220.973 | 6.805 | 224.758 | 7.546 | 233.433 | 7.365 | 232.4 | 4.888 | 889.75 | 36.949 | 32.3045
2020-10-17 09:15:00 | 5.155 | 218.667 | 6.368 | 220.548 | 7.067 | 228.967 | 7.302 | 227.9 | 5.845 | 889.967 | 35.104 | 31.4703
2020-10-17 09:30:00 | 5.547 | 225.467 | 6.151 | 225.407 | 6.684 | 230.633 | 7.096 | 227.4 | 7.006 | 889.85 | 33.205 | 31.5193
2020-10-17 09:45:00 | 5.727 | 227.68 | 5.926 | 227.007 | 6.276 | 230.7 | 6.478 | 225.533 | 8.05 | 890.05 | 31.349 | 22.4447
2020-10-17 10:00:00 | 6.096 | 235.573 | 6.248 | 232.056 | 6.501 | 237.067 | 6.774 | 235.233 | 8.699 | 890.083 | 30.192 | 20.0039
2020-10-17 10:15:00 | 5.931 | 244.247 | 6.006 | 240.31 | 6.191 | 246.483 | 6.003 | 240.85 | 9.478 | 890.267 | 29.056 | 20.4601
2020-10-17 10:30:00 | 6.206 | 248.7 | 6.393 | 244.958 | 6.454 | 248.517 | 6.46 | 243.717 | 9.666 | 889.683 | 28.483 | 18.6097
2020-10-17 10:45:00 | 5.119 | 248.453 | 5.388 | 246.766 | 5.558 | 250.167 | 5.837 | 243.95 | 10.509 | 890 | 27.845 | 13.8696
2020-10-17 11:00:00 | 5.072 | 276.027 | 5.225 | 271.068 | 5.208 | 276.433 | 5.362 | 272.417 | 10.861 | 889.733 | 26.925 | 10.5086
2020-10-17 11:15:00 | 4.565 | 279.253 | 4.71 | 271.8 | 4.802 | 275.167 | 4.951 | 270.167 | 10.664 | 889.95 | 26.448 | 8.4188
2020-10-17 11:30:00 | 4.448 | 314.173 | 4.262 | 301.331 | 4.51 | 301.3 | 4.884 | 295.667 | 10.526 | 889.833 | 25.501 | 5.7755
2020-10-17 11:45:00 | 3.748 | 310.547 | 3.573 | 304.206 | 4.076 | 305.7 | 4.13 | 300.433 | 10.772 | 889.65 | 23.501 | 3.3603
2020-10-17 12:00:00 | 3.15 | 281.513 | 3.388 | 273.292 | 3.413 | 277.733 | 3.547 | 275.967 | 11.011 | 889.883 | 22.736 | 1.3096
2020-10-17 12:15:00 | 1.223 | 290.747 | 1.3 | 284.316 | 1.829 | 283.933 | 2.58 | 283.633 | 12.29 | 889.767 | 21.475 | 0.88323
2020-10-17 12:30:00 | 3.298 | 300.533 | 3.301 | 298.818 | 3.286 | 301.567 | 3.327 | 297.633 | 11.899 | 889.867 | 20.729 | 1.2094
2020-10-17 12:45:00 | 3.02 | 249.113 | 2.914 | 248.658 | 3.097 | 251.517 | 3.346 | 249.667 | 12.793 | 889.233 | 19.743 | 0.75107
2020-10-17 13:00:00 | 1.54 | 257.733 | 1.54 | 272.873 | 2.398 | 291.233 | 2.512 | 275.668 | 13.745 | 889.4 | 18.171 | 0.35031
2020-10-17 13:15:00 | 1.696 | 238.853 | 1.046 | 234.265 | 1.079 | 244.983 | 1.653 | 253.2 | 14.041 | 889.567 | 17.667 | 0.43771
2020-10-17 13:30:00 | 3.454 | 294.68 | 3.731 | 332.249 | 3.894 | 332.3 | 4.143 | 327.767 | 12.762 | 889.567 | 17.755 | 0.12719
2020-10-17 13:45:00 | 3.887 | 316.547 | 3.724 | 330.739 | 3.83 | 330.033 | 3.97 | 323.633 | 13.072 | 889.8 | 17.523 | 0.23164
2020-10-17 14:00:00 | 1.683 | 225.661 | 1.257 | 237.907 | 1.255 | 235.7 | 2.056 | 300 | 12.876 | 889.433 | 16.547 | 0.10943
2020-10-17 14:15:00 | 1.266 | 301.455 | 0.703 | 289.556 | 0.603 | 298.667 | 1.445 | 291.067 | 13.114 | 889.4 | 15.407 | 0.072478
2020-10-17 14:30:00 | 0.709 | 172.727 | 0.32 | 148.772 | 0.5 | 181.533 | 0.783 | 151.138 | 13.122 | 889.267 | 15.408 | 0.17125
2020-10-17 14:45:00 | 1.653 | 196.133 | 1.13 | 191.938 | 1.393 | 197.533 | 1.838 | 186.867 | 14.078 | 889.433 | 14.184 | 0.1414
2020-10-17 15:00:00 | 3.612 | 235.853 | 3.331 | 232.953 | 3.314 | 233.683 | 3.433 | 228.517 | 14.287 | 889.7 | 13.788 | 0.099479
2020-10-17 15:15:00 | 1.702 | 256.093 | 1.65 | 248.663 | 2.089 | 251.633 | 2.466 | 260.433 | 14.608 | 889.433 | 13.632 | 0.10872
2020-10-17 15:30:00 | 1.049 | 241.74 | 0.406 | 189.754 | 0.333 | 174.367 | 0.971 | 201.417 | 14.891 | 889.633 | 13.328 | 0.1414
2020-10-17 15:45:00 | 1.175 | 225.673 | 0.374 | 243.664 | 1.112 | 255.75 | 1.582 | 265.133 | 14.874 | 889.533 | 13.276 | 0.1343
2020-10-17 16:00:00 | 2.965 | 310.2 | 2.78 | 307.345 | 2.969 | 314.533 | 3.394 | 313.867 | 14.283 | 889.7 | 13.444 | 0.13714
2020-10-17 16:15:00 | 0.963 | 160.84 | 0.711 | 125.694 | 0.739 | 109.9 | 0.955 | 251.567 | 14.424 | 889.5 | 14.095 | 0.17977
2020-10-17 16:30:00 | 1.542 | 172.84 | 0.769 | 171.495 | 0.73 | 170.8 | 1.021 | 166.733 | 14.374 | 889.2 | 14 | 0.1343
2020-10-17 16:45:00 | 1.576 | 278.147 | 0.967 | 305.291 | 1.425 | 239.308 | 1.974 | 79.27 | 14.249 | 889.567 | 13.809 | 0.17622
2020-10-17 17:00:00 | 3.466 | 307.893 | 3.371 | 300.654 | 3.436 | 300.2 | 3.711 | 294.567 | 14.143 | 889 | 13.676 | 0.16911
2020-10-17 17:15:00 | 2.09 | 306.387 | 1.93 | 302.294 | 2.474 | 303.033 | 3.047 | 301.733 | 14.087 | 889.6 | 14.037 | 0.15348
2020-10-17 17:30:00 | 0.847 | 233.712 | 0.833 | 210.316 | 0.934 | 245.9 | 1.273 | 325 | 14.241 | 889.9 | 14.279 | 0.15632
2020-10-17 17:45:00 | 1.328 | 32.862 | 0.349 | 48.013 | 0.473 | 92 | 0.652 | 356.5 | 14.328 | 889.4 | 14.219 | 0.16627
2020-10-17 18:00:00 | 1.713 | 327.187 | 1.012 | 327.676 | 1.367 | 299.733 | 2.187 | 335.867 | 13.833 | 889.433 | 14.421 | 0.16698
2020-10-17 18:15:00 | 1.466 | 39.56 | 1.147 | 28.617 | 1.27 | 7.967 | 1.734 | 1.733 | 13.737 | 889.433 | 14.576 | 0.15561
2020-10-17 18:30:00 | 2.686 | 24.288 | 2.411 | 20.186 | 2.451 | 24.733 | 2.696 | 20.433 | 13.795 | 889.4 | 15.28 | 0.13998
2020-10-17 18:45:00 | 3.287 | 23.193 | 3.139 | 20.17 | 3.199 | 25.967 | 3.428 | 22.8 | 13.391 | 889.5 | 16.512 | 0.53008
2020-10-17 19:00:00 | 3.723 | 39.773 | 4.953 | 35.98 | 5.624 | 41.567 | 5.798 | 40.067 | 12.568 | 889.733 | 17.403 | 4.1163
2020-10-17 19:15:00 | 3.437 | 66.828 | 3.67 | 50.23 | 4.063 | 52.133 | 4.269 | 43.533 | 11.732 | 889.233 | 18.925 | 7.1611
2020-10-17 19:30:00 | 2.923 | 64.018 | 3.274 | 56.213 | 2.769 | 59.3 | 2.698 | 52.833 | 11.578 | 889.433 | 19.552 | 4.6627
2020-10-17 19:45:00 | 2.742 | 64.173 | 2.945 | 56.519 | 2.53 | 59.733 | 2.319 | 52.8 | 11.328 | 889.267 | 19.917 | 2.6753
2020-10-17 20:00:00 | 2.064 | 62.58 | 2.054 | 54.154 | 1.79 | 54.367 | 2.082 | 46.367 | 11.178 | 889.567 | 20.205 | 1.0609
2020-10-17 20:15:00 | 1.671 | 88.733 | 2.206 | 66.836 | 2.356 | 68.233 | 2.58 | 63.2 | 11.095 | 889.4 | 20.056 | 0.15561
2020-10-17 20:30:00 | 2.213 | 165.76 | 1.006 | 110.904 | 1.392 | 93.3 | 2.285 | 85.167 | 10.42 | 889.333 | 20.336 | 0.1549
2020-10-17 20:45:00 | 2.882 | 159.2 | 2.78 | 116.281 | 2.717 | 101.3 | 2.876 | 93 | 9.308 | 889.933 | 20.72 | 0.28991
2020-10-17 21:00:00 | 3.421 | 154.973 | 3.246 | 124.518 | 3.088 | 121.1 | 3.438 | 107.867 | 9.004 | 889.967 | 21.104 | 0.79726
2020-10-17 21:15:00 | 3.314 | 167.413 | 2.646 | 132.99 | 2.334 | 131.233 | 2.72 | 123.3 | 8.45 | 889.783 | 21.333 | 1.4936
2020-10-17 21:30:00 | 3.567 | 166.413 | 2.94 | 134.944 | 2.751 | 132.6 | 3.322 | 121.633 | 8.791 | 890.033 | 21.664 | 2.3797
2020-10-17 21:45:00 | 3.344 | 169.007 | 3.496 | 140.075 | 2.684 | 134.933 | 2.54 | 132 | 8.699 | 890.117 | 21.541 | 3.4157
2020-10-17 22:00:00 | 3.022 | 177.473 | 2.6 | 140.253 | 2.019 | 136.967 | 2.661 | 125.6 | 8.187 | 890.233 | 22.149 | 2.3541
2020-10-17 22:15:00 | 3.244 | 175.487 | 2.74 | 142.167 | 2.153 | 139.667 | 2.24 | 131.4 | 8.645 | 889.75 | 22.453 | 2.5147
2020-10-17 22:30:00 | 3.329 | 186.447 | 2.087 | 154.343 | 2.558 | 146.533 | 2.769 | 136.6 | 7.599 | 889.9 | 22.933 | 2.806
2020-10-17 22:45:00 | 4.456 | 202.3 | 2.53 | 161.862 | 2.607 | 149.5 | 2.162 | 136.067 | 6.062 | 889.6 | 23.947 | 1.8432
2020-10-17 23:00:00 | 4.938 | 200.233 | 3.513 | 180.688 | 2.798 | 174.367 | 2.549 | 156.033 | 5.564 | 889.217 | 25.328 | 1.532
2020-10-17 23:15:00 | 3.366 | 187.46 | 2.332 | 154.624 | 2.274 | 151.6 | 2.909 | 147.067 | 8.01 | 889.467 | 23.776 | 1.181
2020-10-17 23:30:00 | 4.93 | 212.993 | 2.481 | 183.536 | 1.774 | 166.467 | 2.304 | 151.633 | 6.323 | 889.95 | 23.888 | 0.41923
2020-10-17 23:45:00 | 4.775 | 213.247 | 2.937 | 194.47 | 1.914 | 180.133 | 2.145 | 152.533 | 6.416 | 889.617 | 25.36 | 0.23307