## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-19 00:00:00 | 5.042 | 234.08 | 4.958 | 244.461 | 4.878 | 257.033 | 5.288 | 259.5 | 7.266 | 890.183 | 27.435 | 10.6329
2020-10-19 00:15:00 | 4.269 | 218.6 | 5.024 | 232.48 | 4.799 | 246.433 | 4.556 | 247.933 | 7.322 | 889.933 | 27.787 | 9.1784
2020-10-19 00:30:00 | 4.892 | 221.3 | 5.568 | 229.577 | 5.403 | 235 | 5.211 | 231.3 | 6.956 | 889.983 | 27.931 | 8.7904
2020-10-19 00:45:00 | 4.987 | 225.567 | 5.149 | 229.537 | 5.55 | 239.4 | 5.982 | 239.133 | 7.656 | 889.65 | 28.464 | 10.7225
2020-10-19 01:00:00 | 4.345 | 237.3 | 5.519 | 245.9 | 5.723 | 253.767 | 5.815 | 251 | 7.306 | 889.867 | 29.376 | 13.9804
2020-10-19 01:15:00 | 4.45 | 229.5 | 5.195 | 247.224 | 5.661 | 256.467 | 6.005 | 254.117 | 7.406 | 889.6 | 29.792 | 10.8724
2020-10-19 01:30:00 | 4.255 | 237.62 | 4.815 | 256.864 | 5.024 | 262.933 | 5.349 | 258.05 | 6.585 | 889.7 | 30.832 | 9.3788
2020-10-19 01:45:00 | 4.262 | 244.1 | 4.221 | 259.366 | 4.511 | 266.2 | 4.727 | 261.733 | 7.022 | 889.467 | 31.059 | 7.9939
2020-10-19 02:00:00 | 4.242 | 232.267 | 3.367 | 257.187 | 3.623 | 270 | 4.184 | 267.067 | 7.122 | 889.867 | 31.096 | 7.9313
2020-10-19 02:15:00 | 4.296 | 233.3 | 4.404 | 248.823 | 4.421 | 255.567 | 4.533 | 251.917 | 7.256 | 889.817 | 30.683 | 8.3513
2020-10-19 02:30:00 | 5.721 | 250.893 | 6.712 | 252.282 | 7.171 | 255.95 | 7.16 | 253.95 | 7.046 | 889.5 | 30.125 | 19.0929
2020-10-19 02:45:00 | 5.232 | 235.987 | 5.505 | 240.503 | 5.91 | 251.067 | 6.287 | 249.167 | 7.579 | 889.35 | 28.651 | 30.921
2020-10-19 03:00:00 | 6.561 | 251.667 | 8.13 | 250.806 | 8.756 | 255.483 | 8.969 | 251.267 | 7.072 | 889.6 | 28.867 | 45.0023
2020-10-19 03:15:00 | 8.003 | 239.833 | 9.947 | 241.257 | 10.854 | 248.533 | 11.219 | 246.867 | 7.089 | 889.8 | 28.677 | 80.3964
2020-10-19 03:30:00 | 9.766 | 250.227 | 11.669 | 248.33 | 12.783 | 252.583 | 12.863 | 250.417 | 7.006 | 890.067 | 29.045 | 94.7221
2020-10-19 03:45:00 | 7.954 | 245.467 | 9.656 | 244.361 | 10.507 | 251.433 | 10.82 | 248.817 | 7.089 | 889.833 | 29.157 | 86.7645
2020-10-19 04:00:00 | 7.964 | 244.02 | 9.772 | 244.267 | 10.219 | 250.7 | 10.386 | 248.033 | 6.85 | 889.9 | 30.048 | 85.8585
2020-10-19 04:15:00 | 9.148 | 244.6 | 9.762 | 242.738 | 10.174 | 248.467 | 10.254 | 243.6 | 7.122 | 889.983 | 29.877 | 79.9856
2020-10-19 04:30:00 | 5.534 | 228.42 | 6.907 | 231.382 | 7.678 | 237.933 | 7.838 | 232.833 | 6.369 | 889.883 | 29.627 | 35.5475
2020-10-19 04:45:00 | 5.478 | 239.667 | 6.069 | 229.083 | 6.233 | 236.933 | 6.337 | 236.2 | 4.852 | 889.8 | 30.779 | 31.2529
2020-10-19 05:00:00 | 6.355 | 214.993 | 6.495 | 216.788 | 6.369 | 220.667 | 6.517 | 218.6 | 4.418 | 889.85 | 32.789 | 26.3293
2020-10-19 05:15:00 | 5.198 | 216.58 | 5.047 | 225.985 | 5.272 | 236.6 | 5.547 | 234.967 | 4.61 | 889.833 | 33.344 | 14.848
2020-10-19 05:30:00 | 4.664 | 215.613 | 4.734 | 229.618 | 4.777 | 245.667 | 4.894 | 248.233 | 4.958 | 889.9 | 32.763 | 9.2502
2020-10-19 05:45:00 | 4.282 | 236.82 | 3.851 | 264.136 | 4.472 | 279.733 | 5.421 | 280.7 | 5.21 | 889.65 | 32.531 | 7.4347
2020-10-19 06:00:00 | 3.621 | 258.013 | 4.343 | 273.9 | 5.2 | 277.9 | 5.968 | 274.233 | 6.121 | 889.3 | 30.952 | 12.8677
2020-10-19 06:15:00 | 5.14 | 276.573 | 6.327 | 276.941 | 6.998 | 279.8 | 7.545 | 277.2 | 6.22 | 889.967 | 30.2 | 22.7189
2020-10-19 06:30:00 | 3.846 | 278.813 | 5.604 | 276.654 | 6.415 | 278.733 | 6.923 | 272.667 | 6.595 | 890.133 | 29.093 | 28.5683
2020-10-19 06:45:00 | 7.287 | 264.833 | 9.339 | 260.363 | 10.23 | 264.25 | 10.469 | 260.183 | 6.949 | 889.6 | 29.059 | 41.4701
2020-10-19 07:00:00 | 7.769 | 258.107 | 9.335 | 257.433 | 10.152 | 260.833 | 10.5 | 256.783 | 7.963 | 889.85 | 27.429 | 63.9027
2020-10-19 07:15:00 | 8.955 | 259.047 | 10.804 | 255.699 | 11.839 | 259.517 | 12.186 | 256.55 | 8.22 | 890.117 | 27.499 | 83.8476
2020-10-19 07:30:00 | 9.48 | 258.247 | 11.838 | 257.049 | 12.926 | 261.733 | 13.445 | 258.367 | 8.28 | 889.733 | 27.109 | 91.0868
2020-10-19 07:45:00 | 9.287 | 259.44 | 11.248 | 254.917 | 11.844 | 259.267 | 12.267 | 255.5 | 8.508 | 889.65 | 27.44 | 88.0449
2020-10-19 08:00:00 | 8.991 | 259.047 | 10.575 | 257.546 | 11.324 | 261.35 | 11.446 | 256.5 | 8.687 | 889.7 | 27.64 | 88.3888
2020-10-19 08:15:00 | 10.905 | 269.9 | 12.288 | 262.613 | 12.962 | 266.817 | 13.602 | 264.633 | 8.887 | 889.583 | 28.299 | 87.237
2020-10-19 08:30:00 | 10.626 | 274.36 | 12.299 | 270.32 | 13.126 | 272.733 | 13.612 | 268.8 | 9.166 | 889.967 | 28.149 | 83.4859
2020-10-19 08:45:00 | 11.532 | 273.747 | 13.216 | 267.479 | 13.927 | 270.933 | 14.148 | 265.867 | 8.954 | 889.467 | 29.301 | 85.4463
2020-10-19 09:00:00 | 11.384 | 266.84 | 13.075 | 259.966 | 13.819 | 264.567 | 13.939 | 259.667 | 8.887 | 889.517 | 30.603 | 84.6626
2020-10-19 09:15:00 | 10.617 | 270.533 | 11.886 | 263.059 | 12.804 | 267.133 | 13.433 | 259.717 | 8.824 | 889.667 | 31.379 | 83.6188
2020-10-19 09:30:00 | 12.839 | 259.773 | 14.614 | 254.531 | 15.077 | 259.467 | 15.653 | 253.717 | 8.849 | 889.7 | 31.989 | 83.4319
2020-10-19 09:45:00 | 12.181 | 253.687 | 13.466 | 251.102 | 13.793 | 255.35 | 13.872 | 250.683 | 9.137 | 889.883 | 31.699 | 83.6337
2020-10-19 10:00:00 | 12.003 | 254.447 | 13.115 | 250.798 | 13.319 | 255.417 | 13.489 | 249.9 | 9.631 | 889.6 | 31.144 | 83.7453
2020-10-19 10:15:00 | 11.673 | 257.393 | 13.022 | 253.998 | 13.578 | 257.867 | 13.584 | 253.75 | 9.766 | 889.517 | 31.003 | 83.655
2020-10-19 10:30:00 | 12.181 | 260.4 | 13.262 | 258.156 | 13.464 | 259.817 | 13.557 | 254.75 | 9.856 | 889.917 | 30.821 | 83.5236
2020-10-19 10:45:00 | 10.492 | 263.22 | 11.688 | 259.311 | 11.998 | 262.583 | 12.324 | 259.633 | 10.012 | 889.8 | 30.627 | 83.8234
2020-10-19 11:00:00 | 10.607 | 262.873 | 11.888 | 258.635 | 11.967 | 262.083 | 11.928 | 254.967 | 10.147 | 889.517 | 30.565 | 82.2481
2020-10-19 11:15:00 | 11.188 | 264.607 | 12.338 | 257.559 | 12.542 | 259.95 | 12.689 | 254.483 | 10.185 | 889.317 | 30.632 | 78.7265
2020-10-19 11:30:00 | 13.261 | 267.007 | 14.356 | 260.873 | 14.492 | 264.333 | 14.118 | 258.45 | 10.795 | 889.483 | 29.848 | 83.4745
2020-10-19 11:45:00 | 13.825 | 256.58 | 15.105 | 251.85 | 15.536 | 256.367 | 15.269 | 253.167 | 10.961 | 889.517 | 28.928 | 83.9755
2020-10-19 12:00:00 | 12.983 | 264.113 | 13.976 | 257.656 | 14.424 | 259.983 | 14.443 | 257.1 | 11.295 | 890.033 | 28.224 | 83.9669
2020-10-19 12:15:00 | 12.737 | 265.06 | 13.848 | 259.318 | 14.487 | 264.8 | 14.569 | 259.483 | 11.72 | 889.967 | 28.315 | 82.9004
2020-10-19 12:30:00 | 13.044 | 277.347 | 13.639 | 271.91 | 14.133 | 276 | 14.467 | 272.367 | 11.895 | 889.6 | 28.107 | 77.2471
2020-10-19 12:45:00 | 12.246 | 279.067 | 13.978 | 273.612 | 13.964 | 277 | 14.54 | 274.1 | 12.436 | 890.2 | 27.592 | 71.1924
2020-10-19 13:00:00 | 13.419 | 279.84 | 14.61 | 276.184 | 14.764 | 280.4 | 14.934 | 278.6 | 12.203 | 890.367 | 27.717 | 69.3414
2020-10-19 13:15:00 | 14.498 | 288.147 | 16.24 | 281.278 | 16.973 | 284.5 | 17.611 | 282.467 | 12.257 | 889.867 | 28.08 | 65.0083
2020-10-19 13:30:00 | 13.599 | 279.707 | 15.123 | 272.197 | 15.704 | 275.7 | 16.189 | 274.933 | 12.455 | 889.4 | 27.965 | 61.9301
2020-10-19 13:45:00 | 14.401 | 285.533 | 15.894 | 279.684 | 16.715 | 282.133 | 17.237 | 281.133 | 12.703 | 890.033 | 26.771 | 59.0779
2020-10-19 14:00:00 | 13.291 | 286.64 | 14.433 | 277.921 | 15.156 | 280.333 | 15.467 | 278.967 | 13.332 | 889.783 | 25.923 | 54.6497
2020-10-19 14:15:00 | 15.023 | 290.027 | 16.301 | 286.121 | 16.707 | 288.533 | 17.38 | 285.5 | 14.178 | 889.65 | 24.232 | 52.9791
2020-10-19 14:30:00 | 17.453 | 286.213 | 18.928 | 280.364 | 19.497 | 284.533 | 19.912 | 282.9 | 13.541 | 889.733 | 24.109 | 52.8399
2020-10-19 14:45:00 | 17.017 | 285.987 | 18.801 | 278.768 | 19.602 | 282.4 | 20.29 | 280.3 | 14.037 | 889.55 | 24.195 | 51.7101
2020-10-19 15:00:00 | 17.034 | 291.213 | 18.351 | 288.237 | 18.938 | 289.267 | 19.931 | 290.2 | 13.949 | 889.883 | 23.941 | 52.13
2020-10-19 15:15:00 | 18.972 | 279.133 | 20.555 | 273.934 | 20.892 | 277.067 | 21.61 | 275 | 14.045 | 889.8 | 23.864 | 42.1949
2020-10-19 15:30:00 | 19.891 | 291.4 | 22.442 | 285.155 | 22.73 | 287.433 | 23.752 | 286.133 | 13.978 | 890.183 | 23.736 | 38.5482
2020-10-19 15:45:00 | 20.081 | 282.533 | 22.492 | 277.509 | 22.95 | 280.167 | 23.466 | 278.267 | 13.499 | 889.917 | 24.125 | 38.5198
2020-10-19 16:00:00 | 19.05 | 291.707 | 20.965 | 286.873 | 21.402 | 287.367 | 22.401 | 284.733 | 13.504 | 889.417 | 24.304 | 38.8104
2020-10-19 16:15:00 | 18.415 | 287.133 | 20.002 | 281.083 | 20.391 | 283.5 | 21.231 | 281.7 | 12.984 | 889.733 | 25.109 | 39.6638
2020-10-19 16:30:00 | 17.112 | 285.053 | 19.173 | 279.217 | 19.813 | 281.133 | 20.463 | 279.067 | 13.362 | 889.633 | 24.917 | 42.1068
2020-10-19 16:45:00 | 18.832 | 292.28 | 20.558 | 284.183 | 20.967 | 287.3 | 21.837 | 286.167 | 13.172 | 889.733 | 25.52 | 42.0996
2020-10-19 17:00:00 | 17.383 | 290.12 | 19.293 | 282.911 | 20.118 | 286.967 | 21.317 | 285.667 | 12.736 | 889.817 | 25.835 | 42.0393
2020-10-19 17:15:00 | 15.675 | 289.4 | 17.734 | 283.175 | 18.499 | 285.5 | 19.234 | 284.7 | 13.018 | 889.85 | 26.315 | 38.6946
2020-10-19 17:30:00 | 17.411 | 285.48 | 19.078 | 277.81 | 19.852 | 280 | 20.918 | 278.6 | 12.524 | 889.983 | 26.749 | 39.58
2020-10-19 17:45:00 | 17.119 | 294.933 | 19.244 | 287.292 | 20.177 | 290.6 | 21.242 | 288.633 | 12.128 | 889.683 | 27.107 | 44.9377
2020-10-19 18:00:00 | 16.273 | 287 | 18.162 | 283.474 | 18.88 | 285.1 | 19.557 | 283.967 | 12.282 | 889.55 | 28.085 | 47.5348
2020-10-19 18:15:00 | 14.714 | 290.987 | 16.828 | 286.002 | 17.775 | 291.033 | 18.747 | 287.833 | 11.561 | 889.183 | 29.541 | 59.9953
2020-10-19 18:30:00 | 13.156 | 285.947 | 15.107 | 280.823 | 15.454 | 282.933 | 16.484 | 281.8 | 11.336 | 889.8 | 30.784 | 79.3177
2020-10-19 18:45:00 | 11.88 | 287.133 | 13.2 | 279.677 | 14.519 | 283.1 | 15.562 | 282.467 | 11.061 | 889.833 | 31.627 | 83.1249
2020-10-19 19:00:00 | 11.192 | 293.107 | 13.226 | 286.927 | 14.213 | 290.6 | 15.368 | 290.6 | 10.593 | 890.033 | 35.616 | 82.2531
2020-10-19 19:15:00 | 9.766 | 286.947 | 10.911 | 282.686 | 11.694 | 286.2 | 12.12 | 285.867 | 10.097 | 890.05 | 37.064 | 82.9189
2020-10-19 19:30:00 | 10.14 | 283.6 | 11.886 | 279.905 | 12.372 | 282.267 | 13.018 | 282.2 | 9.612 | 889.967 | 40.157 | 83.3957
2020-10-19 19:45:00 | 10.563 | 276.907 | 12.113 | 274.068 | 12.452 | 277.9 | 13.113 | 274.233 | 9.17 | 889.783 | 41.925 | 83.5229
2020-10-19 20:00:00 | 10.921 | 274.613 | 12.216 | 268.358 | 12.485 | 272.667 | 12.975 | 270.633 | 8.812 | 890.3 | 43.797 | 83.1931
2020-10-19 20:15:00 | 10.232 | 276.413 | 11.479 | 272.172 | 12.264 | 275.167 | 13.005 | 272.7 | 8.404 | 889.892 | 45.749 | 86.3623
2020-10-19 20:30:00 | 12.058 | 283 | 13.69 | 278.349 | 14.526 | 280.433 | 15.177 | 280.167 | 7.522 | 889.658 | 46.571 | 85.1046
2020-10-19 20:45:00 | 8.563 | 282.133 | 9.752 | 274.038 | 10.364 | 277.867 | 10.656 | 274.833 | 7.222 | 889.567 | 48.24 | 79.6801
2020-10-19 21:00:00 | 7.945 | 290.667 | 9.113 | 283.417 | 9.736 | 287.067 | 10.378 | 284.967 | 6.972 | 890.042 | 48.475 | 71.9911
2020-10-19 21:15:00 | 8.09 | 291.88 | 9.341 | 286.69 | 9.968 | 290.167 | 10.589 | 287.467 | 6.628 | 890.133 | 48.667 | 64.3802
2020-10-19 21:30:00 | 6.046 | 298.96 | 7.195 | 290.169 | 7.901 | 296 | 8.668 | 293.1 | 6.615 | 889.417 | 49.008 | 47.0161
2020-10-19 21:45:00 | 4.514 | 306.4 | 5.316 | 300.962 | 5.806 | 304.9 | 6.496 | 302.3 | 6.177 | 890.133 | 47.717 | 27.9715
2020-10-19 22:00:00 | 3.256 | 288.947 | 4.234 | 288.417 | 4.925 | 295.167 | 5.884 | 293.367 | 5.253 | 889.867 | 45.819 | 12.4477
2020-10-19 22:15:00 | 2.413 | 285.933 | 3.176 | 284.716 | 3.9 | 283.6 | 4.382 | 281.5 | 4.769 | 889.467 | 45.856 | 8.2682
2020-10-19 22:30:00 | 4.605 | 274.08 | 5.489 | 273.128 | 5.766 | 279.7 | 6.121 | 278.9 | 4.805 | 889.783 | 47.237 | 14.2824
2020-10-19 22:45:00 | 4.294 | 272.667 | 5.587 | 272.258 | 5.934 | 277.467 | 6.461 | 275.333 | 4.107 | 890.308 | 48.363 | 20.7514
2020-10-19 23:00:00 | 3.158 | 260.647 | 3.857 | 265.599 | 4.372 | 269.633 | 4.916 | 265.733 | 3.809 | 889.758 | 49.333 | 14.2746
2020-10-19 23:15:00 | 1.684 | 259.4 | 3.256 | 265.765 | 4.289 | 268.983 | 4.946 | 266 | 3.254 | 890.258 | 52.773 | 19.2386
2020-10-19 23:30:00 | 4.317 | 267.373 | 5.048 | 267.046 | 5.627 | 271.933 | 5.99 | 271.367 | 4.463 | 890.258 | 48.128 | 33.0811
2020-10-19 23:45:00 | 3.99 | 273.667 | 4.633 | 270.38 | 5.118 | 273.967 | 5.65 | 270.4 | 5.034 | 889.917 | 45.227 | 41.7984