## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-20 00:00:00 | 7.223 | 250.58 | 8.508 | 250.297 | 9.239 | 253.533 | 9.421 | 249.45 | 4.693 | 889.933 | 45.504 | 67.2516
2020-10-20 00:15:00 | 7.939 | 239.573 | 9.435 | 238.684 | 10.31 | 243.167 | 10.334 | 240.2 | 4.602 | 889.925 | 45.707 | 78.9127
2020-10-20 00:30:00 | 7.35 | 246.213 | 8.698 | 244.274 | 9.656 | 248.367 | 9.979 | 245.617 | 4.66 | 889.95 | 46.795 | 80.9023
2020-10-20 00:45:00 | 8.669 | 271.293 | 10.389 | 266.914 | 11.321 | 269.267 | 12.054 | 265.167 | 4.902 | 889.933 | 42.395 | 85.71
2020-10-20 01:00:00 | 9.975 | 269.513 | 11.52 | 263.619 | 12.346 | 266.933 | 12.859 | 263.25 | 5.356 | 889.717 | 38.728 | 94.2709
2020-10-20 01:15:00 | 8.951 | 261.24 | 11.012 | 255.531 | 11.934 | 261.1 | 12.634 | 258.167 | 5.24 | 889.45 | 39.072 | 89.3815
2020-10-20 01:30:00 | 7.966 | 256.44 | 9.58 | 255.712 | 10.754 | 258.7 | 11.085 | 255.183 | 5.3 | 889.717 | 40.411 | 82.1898
2020-10-20 01:45:00 | 5.068 | 257.86 | 6.633 | 257.218 | 7.758 | 262.133 | 8.204 | 257.867 | 5.455 | 889.667 | 40.547 | 62.1284
2020-10-20 02:00:00 | 9.916 | 252.58 | 11.676 | 251.873 | 12.552 | 259.5 | 13.128 | 255.017 | 5.409 | 889.767 | 39.949 | 59.4531
2020-10-20 02:15:00 | 8.224 | 256.62 | 9.854 | 256.036 | 10.675 | 260.883 | 11.514 | 258.533 | 5.74 | 889.717 | 40.531 | 62.8986
2020-10-20 02:30:00 | 6.843 | 244.227 | 8.059 | 243.372 | 8.754 | 249 | 8.828 | 246.683 | 5.594 | 890 | 41.472 | 57.6497
2020-10-20 02:45:00 | 6.085 | 241.373 | 7.205 | 240.578 | 7.944 | 247.75 | 8.387 | 244.65 | 5.184 | 889.75 | 41.92 | 57.7676
2020-10-20 03:00:00 | 5.982 | 247.78 | 7.109 | 247.833 | 8.195 | 254.117 | 8.573 | 250.217 | 5.322 | 889.667 | 42.016 | 62.2364
2020-10-20 03:15:00 | 5.909 | 256.333 | 7.409 | 251.907 | 8.002 | 256.967 | 8.196 | 253.033 | 5.011 | 889.975 | 41.909 | 67.3837
2020-10-20 03:30:00 | 6.029 | 257.493 | 7.121 | 254.106 | 7.797 | 259.817 | 8.174 | 256.1 | 5.16 | 889.925 | 42.197 | 65.6699
2020-10-20 03:45:00 | 5.818 | 257.04 | 7.068 | 254.5 | 7.532 | 260.267 | 8.312 | 257.05 | 5.418 | 890.017 | 43.781 | 59.1902
2020-10-20 04:00:00 | 6.195 | 258.007 | 7.52 | 256.677 | 7.956 | 263.233 | 8.587 | 260.317 | 5.292 | 890.033 | 44.667 | 58.8847
2020-10-20 04:15:00 | 7.752 | 265.52 | 9.465 | 262.948 | 10.496 | 267.5 | 10.991 | 264.967 | 5.353 | 890.05 | 42.709 | 62.8041
2020-10-20 04:30:00 | 7.725 | 264.58 | 9.093 | 260.657 | 9.932 | 265.767 | 10.37 | 260.75 | 5.673 | 889.675 | 42.24 | 65.3394
2020-10-20 04:45:00 | 7.711 | 256.307 | 9.586 | 254.412 | 10.34 | 260.117 | 10.875 | 256.633 | 5.142 | 889.725 | 42.88 | 64.9792
2020-10-20 05:00:00 | 8.467 | 257.7 | 9.728 | 254.057 | 10.684 | 258.75 | 11.225 | 257.267 | 5.25 | 889.875 | 43.771 | 76.5337
2020-10-20 05:15:00 | 7.033 | 248.213 | 8.898 | 247.022 | 9.258 | 254.233 | 9.598 | 251.017 | 4.709 | 889.9 | 45.28 | 81.345
2020-10-20 05:30:00 | 6.87 | 234.66 | 7.917 | 236.365 | 8.194 | 243.933 | 8.285 | 240.717 | 4.201 | 890.05 | 46.571 | 61.6793
2020-10-20 05:45:00 | 6.563 | 231.813 | 7.744 | 233.59 | 8.217 | 240.4 | 8.216 | 237.1 | 3.863 | 889.825 | 46.848 | 50.9505
2020-10-20 06:00:00 | 6.095 | 225.933 | 7.767 | 230.952 | 8.208 | 238.433 | 8.172 | 235.9 | 3.438 | 889.85 | 47.861 | 46.6238
2020-10-20 06:15:00 | 6.304 | 227.533 | 7.91 | 231.161 | 8.147 | 239.533 | 8.046 | 234.833 | 3.171 | 889.942 | 48.885 | 46.545
2020-10-20 06:30:00 | 5.609 | 223.007 | 7.483 | 225.821 | 8.15 | 232.7 | 8.158 | 229.1 | 3.247 | 890.025 | 49.675 | 42.5878
2020-10-20 06:45:00 | 6.071 | 227.993 | 7.671 | 228.428 | 8.105 | 235.4 | 8.127 | 232.5 | 2.89 | 890.2 | 50.784 | 45.256
2020-10-20 07:00:00 | 6.504 | 223.247 | 8.058 | 224.429 | 8.076 | 230.8 | 8.038 | 228.367 | 2.905 | 889.508 | 51.765 | 49.2565
2020-10-20 07:15:00 | 6.519 | 217.14 | 8.055 | 218.839 | 8.282 | 222.133 | 8.239 | 218.467 | 2.962 | 890.5 | 52.213 | 45.6539
2020-10-20 07:30:00 | 6.333 | 222.287 | 8.089 | 225.355 | 8.369 | 230.533 | 8.4 | 226.6 | 2.484 | 890.175 | 52.117 | 44.3728
2020-10-20 07:45:00 | 6.552 | 220.653 | 8.033 | 224.951 | 8.477 | 230.967 | 8.374 | 227.233 | 2.499 | 889.692 | 51.243 | 48.2986
2020-10-20 08:00:00 | 7.318 | 223.427 | 8.718 | 228.058 | 9.057 | 233.6 | 8.995 | 228.4 | 2.447 | 889.608 | 49.248 | 50.4183
2020-10-20 08:15:00 | 6.727 | 222.48 | 8.167 | 226.264 | 8.482 | 230.9 | 8.484 | 226.533 | 2.988 | 889.875 | 47.872 | 44.5042
2020-10-20 08:30:00 | 7.067 | 225.133 | 7.944 | 227.792 | 8.293 | 231.933 | 8.313 | 227.233 | 3.354 | 889.75 | 45.045 | 36.0009
2020-10-20 08:45:00 | 6.817 | 226.14 | 7.785 | 227.623 | 8.167 | 231.033 | 8.257 | 226.267 | 4.226 | 889.683 | 41.717 | 36.1401
2020-10-20 09:00:00 | 7.15 | 229.54 | 8.054 | 230.848 | 8.366 | 234.767 | 8.562 | 228.967 | 5.254 | 889.683 | 39.541 | 44.2768
2020-10-20 09:15:00 | 5.394 | 235.067 | 6.798 | 233.869 | 7.349 | 235.933 | 7.785 | 229.5 | 6.294 | 889.55 | 36.704 | 41.544
2020-10-20 09:30:00 | 6.221 | 238.3 | 7.153 | 234.77 | 7.871 | 238.2 | 7.99 | 233.467 | 7.689 | 889.567 | 32.747 | 34.5236
2020-10-20 09:45:00 | 6.336 | 240.767 | 6.759 | 236.543 | 7.495 | 241.133 | 7.858 | 233.867 | 8.658 | 889.833 | 30.427 | 28.1932
2020-10-20 10:00:00 | 5.869 | 239.473 | 6.014 | 236.526 | 6.176 | 240.867 | 6.481 | 234.767 | 9.349 | 889.75 | 29.093 | 22.3736
2020-10-20 10:15:00 | 6.355 | 242.927 | 6.44 | 239.281 | 6.677 | 242.6 | 6.823 | 236.167 | 10.082 | 889.967 | 27.387 | 22.7239
2020-10-20 10:30:00 | 5.429 | 249.84 | 5.477 | 245.579 | 5.656 | 251.25 | 5.568 | 245.133 | 10.636 | 889.85 | 24.541 | 21.6964
2020-10-20 10:45:00 | 5.127 | 270.653 | 5.238 | 261.405 | 5.306 | 263.75 | 5.341 | 258.117 | 10.332 | 889.617 | 24.312 | 14.1531
2020-10-20 11:00:00 | 5.253 | 272.1 | 5.853 | 266.357 | 5.924 | 271.6 | 6.114 | 268.45 | 10.534 | 889.9 | 24.013 | 12.5387
2020-10-20 11:15:00 | 5.368 | 282.427 | 5.594 | 277.38 | 5.499 | 278 | 5.558 | 275.5 | 10.855 | 889.75 | 24.613 | 16.3416
2020-10-20 11:30:00 | 4.451 | 277.38 | 4.692 | 270.956 | 4.893 | 272.8 | 4.998 | 269.317 | 10.978 | 889.683 | 24.728 | 18.2601
2020-10-20 11:45:00 | 5.768 | 293.533 | 6.077 | 285.934 | 6.187 | 289.9 | 6.379 | 286.4 | 11.061 | 889.7 | 22.629 | 15.6865
2020-10-20 12:00:00 | 5.618 | 305.8 | 5.482 | 299.691 | 5.643 | 301.667 | 5.91 | 301.1 | 11.649 | 889.833 | 21.741 | 18.4925
2020-10-20 12:15:00 | 5.054 | 298.893 | 5.267 | 294.469 | 5.525 | 297.967 | 5.775 | 294.233 | 11.766 | 889.5 | 20.059 | 11.0202
2020-10-20 12:30:00 | 4.325 | 318.867 | 4.252 | 314.692 | 4.228 | 325.333 | 4.322 | 323.533 | 12.249 | 889.867 | 19.465 | 9.9174
2020-10-20 12:45:00 | 4.632 | 323.173 | 4.602 | 318.446 | 5.064 | 321.933 | 5.272 | 320.7 | 12.776 | 889.6 | 19.24 | 11.6512
2020-10-20 13:00:00 | 4.597 | 322.308 | 4.733 | 310.437 | 4.89 | 312.6 | 5.44 | 322.7 | 12.864 | 889.867 | 17.896 | 11.492
2020-10-20 13:15:00 | 5.516 | 321.92 | 5.55 | 313.036 | 5.811 | 318.067 | 6.017 | 318.4 | 13.285 | 889.867 | 16.7 | 10.7978
2020-10-20 13:30:00 | 3.739 | 293.627 | 3.681 | 320.891 | 3.826 | 319.267 | 4.307 | 320.233 | 12.83 | 889.467 | 16.959 | 10.0922
2020-10-20 13:45:00 | 4.549 | 17.688 | 4.332 | 28.767 | 4.062 | 18.767 | 3.897 | 40.833 | 12.818 | 889.533 | 18.464 | 9.5394
2020-10-20 14:00:00 | 3.427 | 41.695 | 3.488 | 73.995 | 3.512 | 40.901 | 3.581 | 63.133 | 12.628 | 889.867 | 17.819 | 6.5308
2020-10-20 14:15:00 | 2.627 | 76.193 | 2.626 | 85.272 | 2.482 | 88.033 | 2.974 | 98.3 | 12.457 | 889.567 | 17.8 | 4.333
2020-10-20 14:30:00 | 4.391 | 249.907 | 4.236 | 326.887 | 4.293 | 234.967 | 4.192 | 282.5 | 12.424 | 888.967 | 17.473 | 3.9614
2020-10-20 14:45:00 | 3.2 | 232.801 | 3.242 | 289.686 | 3.517 | 195.7 | 3.675 | 196.567 | 12.436 | 889.567 | 17.259 | 2.8373
2020-10-20 15:00:00 | 2.143 | 87.392 | 2.171 | 196.617 | 2.426 | 128.3 | 2.758 | 53.7 | 12.78 | 889.667 | 17.196 | 1.4126
2020-10-20 15:15:00 | 3.114 | 237.108 | 2.922 | 230.843 | 3.327 | 244.634 | 3.345 | 244.833 | 12.697 | 889.633 | 16.771 | 0.48247
2020-10-20 15:30:00 | 2.624 | 43.871 | 2.312 | 33.874 | 2.315 | 32.4 | 2.344 | 25.433 | 12.909 | 889.5 | 16.581 | 0.52511
2020-10-20 15:45:00 | 2.259 | 36.032 | 2.151 | 63.83 | 2.247 | 62.771 | 2.495 | 36.134 | 13.604 | 889.567 | 16.105 | 0.10445
2020-10-20 16:00:00 | 2.295 | 168.557 | 1.413 | 133.332 | 1.352 | 131.57 | 1.835 | 99.867 | 13.243 | 889.233 | 16.032 | 0.18901
2020-10-20 16:15:00 | 1.679 | 50.618 | 0.953 | 120.613 | 1.193 | 130.467 | 1.89 | 345.333 | 13.074 | 889.5 | 16.043 | 0.18119
2020-10-20 16:30:00 | 0.423 | 99.869 | 0 | 334.268 | 0 | 258.733 | 0.662 | 252.767 | 13.526 | 889.233 | 15.725 | 0.16343
2020-10-20 16:45:00 | 1.279 | 126.55 | 0.526 | 271.572 | 0.634 | 109.636 | 1.172 | 84.7 | 13.783 | 889.3 | 15.425 | 0.078162
2020-10-20 17:00:00 | 1.828 | 54.599 | 1.064 | 53.248 | 1.437 | 59.333 | 1.725 | 57.533 | 13.645 | 889.367 | 15.419 | 0.18546
2020-10-20 17:15:00 | 2.432 | 63.885 | 2.188 | 64.113 | 2.354 | 71.233 | 2.882 | 70.967 | 13.808 | 889.333 | 15.715 | 0.17693
2020-10-20 17:30:00 | 1.797 | 88.78 | 1.657 | 78.874 | 1.513 | 77.833 | 1.83 | 77.933 | 13.158 | 889.967 | 16.283 | 0.06253
2020-10-20 17:45:00 | 3.225 | 74.007 | 2.927 | 70.211 | 2.989 | 74.933 | 3.132 | 71.7 | 13.158 | 889.733 | 16.424 | 0.076741
2020-10-20 18:00:00 | 3.012 | 79.38 | 2.637 | 73.974 | 2.616 | 82.067 | 2.815 | 78.567 | 13.108 | 889.167 | 16.645 | 0.15704
2020-10-20 18:15:00 | 1.988 | 80.323 | 1.686 | 77.342 | 1.925 | 86.567 | 2.34 | 87.167 | 12.805 | 889.533 | 16.931 | 0.19612
2020-10-20 18:30:00 | 2.839 | 82.877 | 2.592 | 80.234 | 2.621 | 85.233 | 2.89 | 83.767 | 12.564 | 889.4 | 16.827 | 0.1478
2020-10-20 18:45:00 | 2.38 | 72.147 | 1.983 | 72.231 | 1.983 | 75 | 2.217 | 78.033 | 11.849 | 889.133 | 17.253 | 0.1748
2020-10-20 19:00:00 | 2.398 | 85.78 | 2.078 | 82.671 | 2.249 | 84.1 | 2.303 | 77.9 | 11.932 | 889.5 | 17.4 | 0.15632
2020-10-20 19:15:00 | 2.228 | 79.8 | 2.339 | 72.262 | 2.352 | 78 | 2.607 | 78 | 11.311 | 889.567 | 17.579 | 0.16201
2020-10-20 19:30:00 | 2.456 | 78.233 | 2.553 | 72.552 | 2.516 | 78.033 | 2.79 | 77.9 | 11.245 | 889.567 | 17.947 | 0.16201
2020-10-20 19:45:00 | 2.804 | 72.3 | 2.979 | 67.489 | 2.861 | 72.933 | 3.059 | 70.5 | 11.011 | 889.3 | 18.008 | 0.29773
2020-10-20 20:00:00 | 2.273 | 85.977 | 3 | 69.864 | 3.118 | 72.4 | 3.349 | 70.967 | 10.105 | 889.733 | 17.701 | 1.7679
2020-10-20 20:15:00 | 2.258 | 104.433 | 1.99 | 87.057 | 1.377 | 93.767 | 2.036 | 88.467 | 9.783 | 889.367 | 18.136 | 0.55993
2020-10-20 20:30:00 | 1.766 | 116.823 | 1.303 | 92.595 | 1.201 | 100.033 | 1.659 | 80.567 | 10.085 | 889.4 | 18.349 | 0.22241
2020-10-20 20:45:00 | 0.593 | 147.313 | 0.761 | 99.233 | 0.893 | 105.667 | 1.686 | 105.3 | 9.299 | 889.6 | 19.517 | 0.18759
2020-10-20 21:00:00 | 2.275 | 183.447 | 0.926 | 152.824 | 0.607 | 121.6 | 1.529 | 104.067 | 9.183 | 889.8 | 20.515 | 0.16698
2020-10-20 21:15:00 | 1.419 | 192.233 | 0 | 134.49 | 1.164 | 117.1 | 1.849 | 104.067 | 8.558 | 889.85 | 21.541 | 0.16343
2020-10-20 21:30:00 | 2.206 | 204.847 | 0.227 | 171.429 | 1.381 | 130 | 2.32 | 106 | 8.679 | 890 | 21.936 | 0.16485
2020-10-20 21:45:00 | 1.959 | 212.587 | 0 | 147.51 | 0.374 | 114 | 1.688 | 106 | 8.364 | 889.85 | 22.512 | 0.16911
2020-10-20 22:00:00 | 3.443 | 218.333 | 1.02 | 208.834 | 0.063 | 182.7 | 0.85 | 105.933 | 7.439 | 889.567 | 23.451 | 0.17054
2020-10-20 22:15:00 | 3.94 | 225.093 | 0.39 | 223.665 | 0.36 | 220 | 1.031 | 158 | 6.456 | 890.25 | 24.208 | 0.17338
2020-10-20 22:30:00 | 5.272 | 220.74 | 1.75 | 209.671 | 0.157 | 219.9 | 0 | 159 | 4.392 | 889.8 | 26.512 | 0.17054
2020-10-20 22:45:00 | 5.617 | 223.073 | 2.796 | 218.307 | 1.744 | 219.333 | 0.773 | 159 | 4.623 | 890.433 | 26.736 | 0.17764
2020-10-20 23:00:00 | 5.28 | 214.38 | 2.631 | 204.805 | 1.783 | 206 | 1.998 | 175.833 | 4.61 | 890 | 27.168 | 0.2018
2020-10-20 23:15:00 | 2.917 | 214.027 | 0.027 | 203.473 | 0 | 206.033 | 0.024 | 176 | 4.935 | 889.717 | 27.285 | 0.21459
2020-10-20 23:30:00 | 2.654 | 217.48 | 0 | 159.47 | 0 | 134.067 | 0 | 176 | 6.334 | 889.583 | 26.197 | 0.2288
2020-10-20 23:45:00 | 2.761 | 204.093 | 0.43 | 93.427 | 1.257 | 68.733 | 1.815 | 58.267 | 5.528 | 889.783 | 26.192 | 0.22738