## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-21 00:00:00 | 1.952 | 209.153 | 0 | 96.253 | 0.193 | 17.267 | 1.924 | 18 | 4.547 | 889.933 | 27.877 | 0.23591
2020-10-21 00:15:00 | 0 | 209.54 | 0.33 | 346.985 | 0.881 | 10 | 1.97 | 24.4 | 5.965 | 889.617 | 27.696 | 0.23022
2020-10-21 00:30:00 | 1.034 | 255.847 | 0 | 346.919 | 0 | 48.1 | 1.313 | 48.033 | 6.711 | 889.867 | 27.141 | 0.23733
2020-10-21 00:45:00 | 3.656 | 220.627 | 0 | 289.278 | 0 | 49.467 | 0.44 | 48 | 6.82 | 889.95 | 26.187 | 0.25296
2020-10-21 01:00:00 | 3.518 | 211.047 | 1.164 | 207.777 | 1.209 | 153.933 | 2.367 | 124.233 | 6.813 | 889.55 | 25.536 | 0.28565
2020-10-21 01:15:00 | 2.199 | 230.167 | 0 | 196.435 | 0 | 159.1 | 0.568 | 134.167 | 7.356 | 889.217 | 24.811 | 0.25012
2020-10-21 01:30:00 | 2.032 | 235.153 | 0 | 196.534 | 0 | 159.1 | 1.175 | 134 | 7.579 | 889.9 | 24.875 | 0.24586
2020-10-21 01:45:00 | 1.982 | 230.133 | 0 | 196.53 | 0.11 | 149.767 | 1.794 | 130.867 | 7.89 | 889.317 | 24.795 | 0.24728
2020-10-21 02:00:00 | 2.366 | 253.467 | 0 | 215.483 | 0 | 124.867 | 1.227 | 114 | 7.372 | 889.9 | 25.173 | 0.24728
2020-10-21 02:15:00 | 3.116 | 243.3 | 0.1 | 240.893 | 0 | 105.867 | 1.038 | 61 | 6.857 | 889.7 | 25.853 | 0.23307
2020-10-21 02:30:00 | 4.096 | 234.78 | 1.326 | 248.869 | 0 | 316.6 | 0.034 | 60.267 | 6.565 | 889.9 | 26.667 | 0.23591
2020-10-21 02:45:00 | 3.642 | 239.993 | 1.28 | 256.906 | 0 | 274 | 0 | 38.125 | 6.373 | 890 | 26.525 | 0.23591
2020-10-21 03:00:00 | 5.137 | 236.14 | 2.65 | 241.649 | 0.857 | 253.367 | 0.668 | 290 | 5.219 | 890.15 | 26.875 | 0.23449
2020-10-21 03:15:00 | 6.124 | 226.68 | 3.541 | 240.522 | 2.521 | 254 | 2.027 | 256.267 | 4.229 | 889.433 | 30.741 | 0.24159
2020-10-21 03:30:00 | 5.464 | 230.767 | 3.646 | 234.767 | 2.819 | 247.867 | 2.678 | 251.067 | 2.884 | 889.717 | 32.283 | 0.2487
2020-10-21 03:45:00 | 5.763 | 238.327 | 4.806 | 238.849 | 3.879 | 247.533 | 3.22 | 244.233 | 2.757 | 889.883 | 33.68 | 0.21743
2020-10-21 04:00:00 | 5.754 | 237.367 | 4.236 | 235.18 | 2.944 | 235.333 | 1.974 | 232.467 | 3.555 | 890.05 | 31.093 | 0.15561
2020-10-21 04:15:00 | 5.898 | 231.6 | 4.442 | 234.46 | 3.486 | 241.167 | 2.557 | 231.067 | 3.321 | 889.817 | 30.448 | 0.14353
2020-10-21 04:30:00 | 6.483 | 229.947 | 4.388 | 235.226 | 3.572 | 248.733 | 3.024 | 238.567 | 2.051 | 889.667 | 32.037 | 0.14709
2020-10-21 04:45:00 | 5.243 | 230.127 | 2.959 | 229.535 | 2.094 | 243.133 | 1.929 | 234.7 | 2.321 | 889.767 | 31.339 | 0.16769
2020-10-21 05:00:00 | 5.33 | 228.22 | 2.997 | 220.662 | 1.116 | 228.667 | 0.739 | 235 | 1.105 | 890.067 | 34.139 | 0.2558
2020-10-21 05:15:00 | 4.645 | 221.38 | 1.986 | 200.539 | 0.794 | 210 | 0.578 | 220 | 0.748 | 890.017 | 35.888 | 0.24728
2020-10-21 05:30:00 | 3.958 | 208.573 | 2.128 | 152.658 | 0.12 | 142.267 | 0 | 212.967 | 0.915 | 889.45 | 35.712 | 0.23875
2020-10-21 05:45:00 | 2.464 | 201.607 | 0 | 134.488 | 0 | 49.367 | 1.34 | 59.1 | 2.467 | 889.867 | 33.467 | 0.27428
2020-10-21 06:00:00 | 2.662 | 220 | 0 | 112.556 | 0.26 | 235.7 | 2.051 | 25.942 | 3.504 | 889.85 | 31.008 | 0.19967
2020-10-21 06:15:00 | 3.926 | 211.7 | 1.42 | 181.504 | 0.267 | 220.7 | 0.54 | 17 | 4.006 | 889.733 | 31.499 | 0.2217
2020-10-21 06:30:00 | 3.45 | 206.053 | 2.002 | 189.602 | 1.344 | 185.9 | 1.488 | 17.1 | 5.359 | 889.367 | 28.507 | 0.24586
2020-10-21 06:45:00 | 4.002 | 196.207 | 2.716 | 180.551 | 1.973 | 188.3 | 1.398 | 28.433 | 5.418 | 889.7 | 26.923 | 0.25154
2020-10-21 07:00:00 | 4.41 | 197.447 | 3.145 | 177.689 | 2.37 | 164 | 2.363 | 136.867 | 5.505 | 889.367 | 26.411 | 0.25722
2020-10-21 07:15:00 | 4.313 | 208.08 | 3.086 | 188.612 | 2.345 | 176.833 | 2.478 | 158.033 | 6.317 | 889.783 | 27.296 | 0.24728
2020-10-21 07:30:00 | 4.338 | 220.727 | 2.555 | 209.632 | 2.083 | 199.467 | 2.452 | 183 | 6.77 | 889.367 | 29.493 | 0.25012
2020-10-21 07:45:00 | 5.073 | 216.32 | 3.871 | 213.918 | 3.008 | 209.133 | 2.684 | 190.767 | 4.082 | 889.8 | 33.888 | 0.26291
2020-10-21 08:00:00 | 4.74 | 222.733 | 0.037 | 216.59 | 0.287 | 219.9 | 1.635 | 222.3 | 2.254 | 889.95 | 36.352 | 0.25865
2020-10-21 08:15:00 | 4.289 | 216.333 | 2.283 | 205.931 | 1.689 | 221.767 | 1.723 | 240.267 | 3.458 | 890.267 | 35.04 | 0.2487
2020-10-21 08:30:00 | 5.754 | 212.567 | 3.514 | 198.129 | 2.527 | 197.667 | 2.401 | 197.267 | 3.388 | 889.35 | 36.08 | 0.25154
2020-10-21 08:45:00 | 5.285 | 211.46 | 2.332 | 189.666 | 1.281 | 190.8 | 1.807 | 192 | 4.55 | 889.817 | 34.107 | 0.23733
2020-10-21 09:00:00 | 3.793 | 212.8 | 0.41 | 144.064 | 0.446 | 118.067 | 1.462 | 175.733 | 4.919 | 889.817 | 32.821 | 0.24728
2020-10-21 09:15:00 | 0.972 | 187.073 | 0 | 185.991 | 0 | 69.7 | 1.704 | 73 | 7.619 | 889.667 | 27.173 | 0.25438
2020-10-21 09:30:00 | 1.647 | 232.26 | 0.027 | 149.448 | 0 | 71 | 0.644 | 49 | 8.891 | 889.9 | 26.677 | 0.24301
2020-10-21 09:45:00 | 0.216 | 208.573 | 0 | 149.484 | 0 | 71 | 1.125 | 49.067 | 10.208 | 889.783 | 23.744 | 0.23591
2020-10-21 10:00:00 | 0.176 | 211.173 | 0 | 149.501 | 0 | 79.5 | 0.057 | 49.067 | 11.811 | 889.817 | 21.173 | 0.23307
2020-10-21 10:15:00 | 1.168 | 164.34 | 0.267 | 151.929 | 0.186 | 175.267 | 1.364 | 151 | 11.17 | 889.6 | 18.493 | 0.23875
2020-10-21 10:30:00 | 1.747 | 115.433 | 1.38 | 116.639 | 1.459 | 123.633 | 2.014 | 117.133 | 10.978 | 889.633 | 16.92 | 0.24444
2020-10-21 10:45:00 | 2.308 | 113.167 | 2.105 | 107.511 | 2.158 | 114.167 | 2.515 | 111.2 | 11.228 | 889.333 | 15.221 | 0.26007
2020-10-21 11:00:00 | 2.638 | 117.74 | 2.723 | 113.351 | 2.556 | 120.367 | 2.879 | 111.833 | 12.049 | 889.667 | 15.493 | 0.25083
2020-10-21 11:15:00 | 2.349 | 97.71 | 1.971 | 100.24 | 2.254 | 107.1 | 2.761 | 106.433 | 12.472 | 889.2 | 16.712 | 0.20749
2020-10-21 11:30:00 | 2.545 | 126.817 | 2.217 | 124.155 | 2.177 | 132.567 | 2.491 | 127.667 | 13.122 | 889.167 | 17.749 | 0.15277
2020-10-21 11:45:00 | 1.787 | 110.887 | 1.886 | 114.412 | 2.014 | 124.767 | 2.691 | 116 | 13.828 | 889.3 | 18.459 | 0.25438
2020-10-21 12:00:00 | 3.246 | 86.513 | 3.05 | 83.893 | 2.983 | 86.4 | 3.225 | 86.4 | 14.345 | 889.4 | 17.181 | 0.25509
2020-10-21 12:15:00 | 2.043 | 98.893 | 1.746 | 101.635 | 2.162 | 104 | 2.872 | 99.867 | 14.504 | 889.567 | 17.032 | 0.42847
2020-10-21 12:30:00 | 3.253 | 107.107 | 3.012 | 108.524 | 3.115 | 111.867 | 3.224 | 100.2 | 14.474 | 889.067 | 16.723 | 1.1014
2020-10-21 12:45:00 | 3.3 | 89.993 | 3.445 | 85.21 | 3.364 | 83.467 | 3.723 | 80.1 | 14.958 | 889.467 | 16.963 | 2.4529
2020-10-21 13:00:00 | 4.38 | 74.197 | 4.159 | 72.42 | 4.368 | 75.067 | 4.579 | 72.033 | 14.408 | 889.3 | 16.744 | 4.4744
2020-10-21 13:15:00 | 3.638 | 76.915 | 3.478 | 69.889 | 3.736 | 70.233 | 4.519 | 65.067 | 14.328 | 889.3 | 16.472 | 5.4785
2020-10-21 13:30:00 | 3.867 | 75.807 | 3.84 | 73.536 | 3.842 | 76.533 | 4.172 | 72.5 | 14.599 | 889.4 | 16.469 | 5.4969
2020-10-21 13:45:00 | 3.945 | 53.501 | 3.621 | 54.402 | 3.735 | 58.7 | 4.3 | 61.733 | 14.295 | 889.3 | 16.669 | 6.9394
2020-10-21 14:00:00 | 5.654 | 77.62 | 5.411 | 70.869 | 5.765 | 73.333 | 5.76 | 70.233 | 14.22 | 889.267 | 16.165 | 11.2646
2020-10-21 14:15:00 | 5.479 | 78.087 | 5.266 | 73.857 | 5.473 | 75.067 | 5.86 | 72.933 | 14.099 | 889.4 | 15.195 | 15.2573
2020-10-21 14:30:00 | 6.038 | 81.533 | 5.852 | 76.232 | 6.222 | 79.5 | 6.533 | 74.367 | 14.228 | 889.733 | 15.44 | 21.3582
2020-10-21 14:45:00 | 5.982 | 84.61 | 5.686 | 78.534 | 5.872 | 83.167 | 6.385 | 77.033 | 13.887 | 889.1 | 15.491 | 19.4944
2020-10-21 15:00:00 | 6.503 | 91.433 | 5.864 | 83.543 | 5.977 | 87.133 | 5.982 | 84.6 | 14.283 | 889.367 | 15.269 | 21.1337
2020-10-21 15:15:00 | 6.862 | 72.31 | 6.547 | 71.82 | 6.549 | 79.5 | 6.789 | 75.3 | 14.499 | 889.4 | 15.141 | 23.966
2020-10-21 15:30:00 | 6.28 | 81.207 | 6.474 | 74.973 | 6.777 | 78.6 | 6.701 | 74.233 | 14.478 | 889.533 | 15.859 | 23.8509
2020-10-21 15:45:00 | 5.449 | 70.313 | 5.407 | 64.06 | 5.868 | 69.033 | 6.01 | 68.533 | 13.874 | 889.333 | 16.603 | 17.9468
2020-10-21 16:00:00 | 5.308 | 88.28 | 4.819 | 82.086 | 5.124 | 85.533 | 5.337 | 83.967 | 14.208 | 889.5 | 16.371 | 15.9508
2020-10-21 16:15:00 | 5.149 | 80.93 | 5.165 | 76.408 | 5.395 | 78.567 | 5.536 | 76.233 | 14.366 | 889.3 | 16.099 | 13.9086
2020-10-21 16:30:00 | 5.318 | 90.287 | 4.603 | 89.259 | 4.962 | 92.633 | 5.176 | 83.9 | 14.495 | 889.667 | 15.611 | 14.5268
2020-10-21 16:45:00 | 5.054 | 75.603 | 4.803 | 74.2 | 5.25 | 80.633 | 5.591 | 75.233 | 14.328 | 889.167 | 15.667 | 12.4029
2020-10-21 17:00:00 | 5.076 | 83.237 | 5.015 | 76.6 | 5.485 | 79.467 | 5.734 | 76.167 | 14.62 | 890.067 | 16.032 | 12.3809
2020-10-21 17:15:00 | 5.506 | 78.13 | 5.411 | 74.238 | 5.801 | 78.667 | 6.059 | 74.5 | 14.283 | 890.033 | 16.293 | 11.789
2020-10-21 17:30:00 | 4.915 | 83.233 | 4.583 | 76.947 | 4.749 | 80.567 | 5.114 | 77.6 | 14.366 | 889.8 | 16.395 | 9.3887
2020-10-21 17:45:00 | 4.492 | 73.79 | 4.571 | 69.873 | 4.815 | 76.833 | 5.123 | 73.867 | 14.283 | 889.733 | 16.512 | 8.4678
2020-10-21 18:00:00 | 4.629 | 79.343 | 4.39 | 74.829 | 4.681 | 79.767 | 4.953 | 77.267 | 14.037 | 889.5 | 16.816 | 7.8447
2020-10-21 18:15:00 | 4.128 | 77.073 | 4.188 | 71.734 | 4.423 | 76.2 | 4.828 | 71.8 | 13.649 | 889.433 | 17.061 | 7.343
2020-10-21 18:30:00 | 4.105 | 77.427 | 4.408 | 74.074 | 4.714 | 77.233 | 5.045 | 72.8 | 13.691 | 889.267 | 16.907 | 7.0822
2020-10-21 18:45:00 | 3.434 | 74.247 | 3.692 | 70.149 | 4.038 | 74.533 | 4.351 | 70.567 | 12.77 | 889.2 | 17.301 | 6.2054
2020-10-21 19:00:00 | 3.201 | 75.713 | 3.849 | 72.929 | 4.144 | 76.9 | 4.45 | 73.533 | 12.24 | 889.367 | 17.443 | 5.9482
2020-10-21 19:15:00 | 2.713 | 82.94 | 3.363 | 76.278 | 3.592 | 81.867 | 3.861 | 77.533 | 11.886 | 889.533 | 17.728 | 4.9498
2020-10-21 19:30:00 | 2.93 | 79.62 | 3.26 | 72.813 | 3.338 | 76.4 | 3.713 | 72.033 | 11.507 | 889.233 | 18.032 | 2.9432
2020-10-21 19:45:00 | 2.344 | 84.167 | 2.806 | 78.323 | 2.898 | 83.667 | 3.46 | 77.1 | 10.995 | 889.4 | 18.384 | 1.8091
2020-10-21 20:00:00 | 2.22 | 89.293 | 2.811 | 81.307 | 2.78 | 84.967 | 2.987 | 83.867 | 10.803 | 889.333 | 18.301 | 0.874
2020-10-21 20:15:00 | 1.734 | 99.75 | 2.54 | 79.888 | 2.564 | 83.533 | 2.478 | 80.767 | 10.297 | 889.733 | 18.707 | 0.26007
2020-10-21 20:30:00 | 0.44 | 84.667 | 1.509 | 74.151 | 1.678 | 76.667 | 1.943 | 73.6 | 10.203 | 889.3 | 19.037 | 0.23022
2020-10-21 20:45:00 | 0.369 | 162.753 | 0 | 66.237 | 1.122 | 68 | 1.926 | 73 | 9.004 | 889.55 | 20.384 | 0.2018
2020-10-21 21:00:00 | 1.476 | 233.44 | 0 | 66.268 | 0.067 | 68 | 1.317 | 73.067 | 8.787 | 889.55 | 20.939 | 0.1748
2020-10-21 21:15:00 | 1.881 | 240 | 0 | 56.987 | 0 | 68 | 1.124 | 72.933 | 8.774 | 889.617 | 20.784 | 0.17054
2020-10-21 21:30:00 | 2.075 | 249.307 | 0 | 302.978 | 0 | 68 | 0.739 | 72.967 | 8.837 | 889.55 | 20.971 | 0.17054
2020-10-21 21:45:00 | 2.601 | 244.213 | 0.829 | 282.883 | 0 | 322 | 0 | 73.25 | 8.641 | 889.8 | 20.8 | 0.17054
2020-10-21 22:00:00 | 2.818 | 259.04 | 1.084 | 288.489 | 0.027 | 322.467 | 0.299 | 73.317 | 8.063 | 890.167 | 21.051 | 0.17054
2020-10-21 22:15:00 | 3.021 | 245.28 | 1.01 | 288.844 | 0 | 321.933 | 0.648 | 73.242 | 8.05 | 889.633 | 21.291 | 0.17054
2020-10-21 22:30:00 | 4.176 | 248.5 | 2.135 | 277.011 | 1.196 | 308.133 | 0.265 | 72.058 | 7.689 | 889.417 | 21.189 | 0.17338
2020-10-21 22:45:00 | 4.214 | 256.54 | 2.806 | 277.424 | 1.685 | 299.867 | 1.458 | 336.233 | 7.056 | 889.833 | 21.875 | 0.18333
2020-10-21 23:00:00 | 4.475 | 248.36 | 2.642 | 276.484 | 1.97 | 291.467 | 1.667 | 313.333 | 6.556 | 889.817 | 22.253 | 0.18191
2020-10-21 23:15:00 | 4.937 | 241.167 | 3.097 | 272.029 | 1.952 | 287.133 | 1.516 | 308.133 | 6.658 | 889.633 | 22.093 | 0.21033
2020-10-21 23:30:00 | 4.694 | 241.647 | 2.666 | 271.725 | 2.149 | 283.267 | 1.522 | 304.2 | 4.992 | 889.85 | 24.384 | 0.22312
2020-10-21 23:45:00 | 4.65 | 238.793 | 2.226 | 272.891 | 1.597 | 282.2 | 1.016 | 299.2 | 6.124 | 889.633 | 23.52 | 0.22454