## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-22 00:00:00 | 4.425 | 245.933 | 2.302 | 268.105 | 1.221 | 286.2 | 0.665 | 274 | 5.878 | 889.867 | 24.387 | 0.22028
2020-10-22 00:15:00 | 4.446 | 240.547 | 2.218 | 263.12 | 1.23 | 278 | 0.819 | 274 | 6.217 | 890.033 | 24.155 | 0.22312
2020-10-22 00:30:00 | 3.948 | 233.1 | 1.129 | 269.071 | 0.377 | 273.867 | 0.557 | 274.033 | 6.741 | 889.983 | 23.733 | 0.2288
2020-10-22 00:45:00 | 3.85 | 234.773 | 0.408 | 292.641 | 0.207 | 274 | 1.463 | 274 | 5.749 | 889.633 | 24.757 | 0.24586
2020-10-22 01:00:00 | 2.699 | 245.327 | 1.377 | 310.226 | 1.57 | 319.8 | 1.836 | 312.4 | 6.356 | 889.767 | 24.741 | 0.26433
2020-10-22 01:15:00 | 1.608 | 258.827 | 1.562 | 336.193 | 1.126 | 0 | 2.047 | 17.4 | 6.658 | 889.817 | 24.563 | 0.24728
2020-10-22 01:30:00 | 1.735 | 257.367 | 1.031 | 338.968 | 1.29 | 10.904 | 2.673 | 31.333 | 6.406 | 889.333 | 24.971 | 0.27002
2020-10-22 01:45:00 | 0.97 | 269.313 | 0.789 | 9.231 | 1.723 | 38.102 | 2.688 | 59 | 6.436 | 890.15 | 25.109 | 0.11795
2020-10-22 02:00:00 | 0.116 | 236.167 | 0.133 | 60.601 | 1.714 | 73.367 | 3.239 | 72.533 | 5.878 | 889.733 | 25.584 | 0.34605
2020-10-22 02:15:00 | 0 | 213.813 | 0.353 | 93.807 | 1.869 | 85.9 | 2.522 | 84.333 | 5.554 | 889.933 | 26.032 | 1.6613
2020-10-22 02:30:00 | 0.902 | 216.707 | 0.433 | 114.401 | 1.871 | 99.6 | 2.342 | 93.633 | 5.485 | 889.433 | 26.517 | 3.9806
2020-10-22 02:45:00 | 3.334 | 240.113 | 0.686 | 223.223 | 0.08 | 155.533 | 2.418 | 107.867 | 5.108 | 889.95 | 26.741 | 3.28
2020-10-22 03:00:00 | 4.108 | 227.533 | 1.989 | 223.756 | 0.96 | 211.433 | 1.434 | 169.133 | 5.183 | 890.167 | 26.24 | 0.7262
2020-10-22 03:15:00 | 2.326 | 234.02 | 0.444 | 213.507 | 0 | 188 | 1.148 | 123 | 6.899 | 889.817 | 25.157 | 0.27854
2020-10-22 03:30:00 | 3.13 | 236.573 | 0 | 213.582 | 0 | 120 | 1.357 | 97 | 5.7 | 890.15 | 26.629 | 0.22312
2020-10-22 03:45:00 | 2.736 | 251.793 | 0.55 | 272.418 | 0 | 65.05 | 1.243 | 86.133 | 5.695 | 889.483 | 26.939 | 0.23449
2020-10-22 04:00:00 | 1.456 | 250.16 | 0 | 247.706 | 0 | 256.4 | 0.658 | 86.25 | 6.114 | 889.217 | 26.747 | 0.24017
2020-10-22 04:15:00 | 3.46 | 248.847 | 2.623 | 255.606 | 1.017 | 256.067 | 0.467 | 140.275 | 5.438 | 889.917 | 28.083 | 0.23307
2020-10-22 04:30:00 | 3.892 | 248.173 | 1.942 | 252.548 | 0.787 | 256.133 | 1.28 | 223.05 | 5.004 | 889.633 | 28.992 | 0.23307
2020-10-22 04:45:00 | 4.398 | 237.74 | 2.331 | 268.733 | 1.087 | 258 | 1.081 | 223 | 4.442 | 890.033 | 30.928 | 0.23591
2020-10-22 05:00:00 | 4.488 | 239 | 2.962 | 263.659 | 1.981 | 267.867 | 1.238 | 224.383 | 3.355 | 890.1 | 33.917 | 0.23591
2020-10-22 05:15:00 | 4.979 | 236.867 | 2.927 | 262.486 | 2.48 | 268 | 2.26 | 241.85 | 2.615 | 889.95 | 35.187 | 0.23591
2020-10-22 05:30:00 | 4.059 | 238.76 | 2.716 | 272.846 | 2.418 | 269 | 2.201 | 250.75 | 4.434 | 889.617 | 34.464 | 0.24301
2020-10-22 05:45:00 | 3.032 | 244.567 | 2.413 | 275.125 | 1.787 | 274.067 | 0.822 | 256.967 | 5.448 | 889.567 | 33.019 | 0.24301
2020-10-22 06:00:00 | 2.618 | 237.573 | 1.703 | 275.009 | 0 | 274 | 0 | 256.85 | 5.998 | 889.95 | 31.808 | 0.24017
2020-10-22 06:15:00 | 3.598 | 241.38 | 2.269 | 282.06 | 0 | 274 | 0.171 | 142.783 | 5.802 | 889.55 | 31.595 | 0.23875
2020-10-22 06:30:00 | 3.982 | 238.3 | 1.253 | 269.069 | 0 | 274.2 | 0.148 | 61.05 | 5.78 | 889.65 | 31.347 | 0.26291
2020-10-22 06:45:00 | 2.325 | 237.367 | 0 | 297.388 | 0.393 | 216.333 | 1.508 | 66.421 | 5.778 | 889.533 | 30.824 | 0.25012
2020-10-22 07:00:00 | 0.8 | 214.753 | 0.996 | 44.848 | 1.836 | 54.833 | 2.518 | 56.733 | 6.054 | 890.017 | 29.765 | 0.26575
2020-10-22 07:15:00 | 1.572 | 221.713 | 0.42 | 26.994 | 2.357 | 43.833 | 2.81 | 51.1 | 4.395 | 889.45 | 31.429 | 0.27996
2020-10-22 07:30:00 | 1.49 | 219.173 | 0 | 50.989 | 0.66 | 64.433 | 2.664 | 64 | 4.755 | 889.783 | 31.616 | 0.26788
2020-10-22 07:45:00 | 1.97 | 222.987 | 0 | 51.104 | 0.336 | 61.767 | 2.253 | 62.933 | 4.762 | 890.183 | 31.883 | 0.2487
2020-10-22 08:00:00 | 2.521 | 227.227 | 0 | 51.111 | 0.14 | 73.567 | 1.968 | 69.833 | 4.814 | 889.5 | 31.499 | 0.054003
2020-10-22 08:15:00 | 3.064 | 232.667 | 0 | 194.497 | 0 | 73 | 0.332 | 76.067 | 4.652 | 890.117 | 31.685 | 0.21388
2020-10-22 08:30:00 | 3.896 | 227.94 | 0 | 280.851 | 0 | 73 | 0.097 | 76 | 5.021 | 889.517 | 32.325 | 0.20677
2020-10-22 08:45:00 | 3.008 | 227.967 | 0.166 | 236.294 | 0 | 83.133 | 0.853 | 95.133 | 5.895 | 890.217 | 30.267 | 0.23946
2020-10-22 09:00:00 | 3.051 | 224.98 | 0 | 228.6 | 0 | 87.067 | 0.745 | 75.1 | 5.968 | 889.567 | 29.627 | 0.26291
2020-10-22 09:15:00 | 1.959 | 231.6 | 0 | 228.514 | 0 | 87.067 | 1.509 | 75 | 7.322 | 889.85 | 27.232 | 0.24301
2020-10-22 09:30:00 | 1.536 | 226.727 | 0 | 228.494 | 0.81 | 87.067 | 2.67 | 77 | 8.322 | 889.6 | 25.877 | 0.25296
2020-10-22 09:45:00 | 2.192 | 214.553 | 0.997 | 203.861 | 0.127 | 129.267 | 1.878 | 89.033 | 7.896 | 889.65 | 26.443 | 0.25012
2020-10-22 10:00:00 | 1.104 | 190.627 | 0.096 | 172.561 | 0.354 | 147.333 | 1.67 | 115.667 | 10.097 | 890.133 | 23.333 | 0.26291
2020-10-22 10:15:00 | 0.722 | 132.73 | 0.053 | 136.983 | 0 | 133.667 | 1.236 | 115.7 | 10.426 | 889.6 | 21.547 | 0.26554
2020-10-22 10:30:00 | 1.69 | 132.227 | 1.371 | 122.866 | 1.236 | 124.167 | 2.341 | 123.033 | 9.972 | 889.683 | 21.328 | 0.24444
2020-10-22 10:45:00 | 2.337 | 104.773 | 2.163 | 106.614 | 2.188 | 109.633 | 2.495 | 101.433 | 10.547 | 890.033 | 21.552 | 0.23591
2020-10-22 11:00:00 | 2.323 | 108.797 | 2.248 | 103.801 | 2.235 | 108.533 | 2.586 | 103 | 11.178 | 889.6 | 22.288 | 0.23591
2020-10-22 11:15:00 | 2.387 | 104.387 | 2.393 | 99.3 | 2.353 | 107.3 | 2.886 | 98.233 | 11.428 | 889.933 | 21.68 | 0.80578
2020-10-22 11:30:00 | 3.75 | 81.473 | 3.436 | 83.628 | 3.373 | 90.633 | 3.716 | 87.467 | 11.853 | 889.467 | 19.136 | 3.0633
2020-10-22 11:45:00 | 3.925 | 98.275 | 3.741 | 91.568 | 3.74 | 98.467 | 3.971 | 88.033 | 11.907 | 889.8 | 18.067 | 4.4958
2020-10-22 12:00:00 | 3.724 | 96.04 | 3.482 | 85.444 | 3.599 | 92 | 4.088 | 86.967 | 12.024 | 889.433 | 18.571 | 5.3634
2020-10-22 12:15:00 | 4.245 | 90.12 | 4.127 | 86.866 | 4.214 | 89.1 | 4.54 | 84.267 | 12.066 | 889.333 | 18.709 | 7.0652
2020-10-22 12:30:00 | 5.153 | 76.48 | 4.996 | 73.87 | 4.828 | 78.067 | 5.165 | 77.333 | 12.203 | 889.5 | 17.653 | 7.564
2020-10-22 12:45:00 | 4.19 | 80.142 | 4.056 | 76.902 | 4.112 | 81.933 | 4.412 | 76.033 | 12.776 | 889.767 | 17.032 | 8.1481
2020-10-22 13:00:00 | 4.807 | 78.425 | 4.534 | 69.943 | 4.808 | 75.767 | 4.961 | 71.733 | 13.016 | 889.267 | 16.693 | 7.9484
2020-10-22 13:15:00 | 4.25 | 76.673 | 4.282 | 71.036 | 4.125 | 77.667 | 4.521 | 73.9 | 13.449 | 889.433 | 16.603 | 8.6114
2020-10-22 13:30:00 | 5.351 | 68.967 | 5.22 | 68.542 | 5.589 | 73.267 | 5.963 | 69.467 | 13.524 | 889.633 | 16.621 | 10.0638
2020-10-22 13:45:00 | 4.665 | 72.593 | 4.842 | 72.25 | 5.048 | 77.967 | 5.369 | 75.5 | 14.195 | 889.567 | 16.573 | 9.6175
2020-10-22 14:00:00 | 5.189 | 86.82 | 4.872 | 83.109 | 5.055 | 86.133 | 5.833 | 80.3 | 14.204 | 889.233 | 15.968 | 11.0166
2020-10-22 14:15:00 | 5.48 | 79.343 | 5.32 | 75.398 | 5.363 | 78.367 | 5.799 | 74.367 | 14.037 | 889.367 | 15.968 | 12.2722
2020-10-22 14:30:00 | 5.481 | 74.97 | 5.428 | 70.41 | 5.728 | 76.033 | 5.962 | 71.7 | 14.104 | 889.367 | 16.203 | 15.4598
2020-10-22 14:45:00 | 4.884 | 83.047 | 4.891 | 80.93 | 4.876 | 85.067 | 5.133 | 78.7 | 14.345 | 889.367 | 16.205 | 15.884
2020-10-22 15:00:00 | 5.368 | 71.683 | 5.326 | 66.969 | 5.716 | 73.967 | 5.872 | 71.933 | 15.008 | 889.633 | 16.101 | 15.1635
2020-10-22 15:15:00 | 4.97 | 81.687 | 4.896 | 75.668 | 5.001 | 81.933 | 5.343 | 78.267 | 14.824 | 889.433 | 16.256 | 14.1104
2020-10-22 15:30:00 | 5.053 | 74.58 | 4.995 | 70.564 | 5.327 | 75.533 | 5.7 | 72.567 | 15.029 | 889.4 | 16.749 | 14.6228
2020-10-22 15:45:00 | 5.078 | 88.42 | 4.994 | 83.914 | 5.254 | 86.2 | 5.759 | 79.967 | 15.029 | 889.767 | 16.845 | 15.5316
2020-10-22 16:00:00 | 5.174 | 91.683 | 5.096 | 85.654 | 4.913 | 90.667 | 5.052 | 88.5 | 15.2 | 889.4 | 17.099 | 16.9278
2020-10-22 16:15:00 | 5.366 | 84.157 | 5.007 | 79.072 | 5.026 | 84.767 | 5.752 | 79.433 | 15.058 | 889.467 | 17.211 | 17.4011
2020-10-22 16:30:00 | 5.175 | 81.467 | 5.119 | 73.953 | 5.379 | 79.667 | 5.716 | 74.433 | 14.924 | 889.533 | 17.381 | 16.7012
2020-10-22 16:45:00 | 4.999 | 87.017 | 4.871 | 80.718 | 4.837 | 83.933 | 5.325 | 79.833 | 15.374 | 889.433 | 17.317 | 17.4565
2020-10-22 17:00:00 | 6.397 | 76.797 | 6.197 | 73.568 | 6.39 | 78.767 | 6.617 | 76.867 | 14.791 | 889.4 | 17.635 | 17.2945
2020-10-22 17:15:00 | 5.336 | 73.087 | 5.163 | 71.89 | 5.33 | 77.933 | 5.624 | 74.667 | 14.824 | 889.6 | 17.653 | 15.0804
2020-10-22 17:30:00 | 5.026 | 78.457 | 5.033 | 75.119 | 5.382 | 80.167 | 5.678 | 75.933 | 14.758 | 889.567 | 17.757 | 13.6372
2020-10-22 17:45:00 | 5.57 | 77.387 | 5.416 | 73.946 | 5.87 | 78.567 | 6.153 | 74 | 14.404 | 889.467 | 18.051 | 13.0417
2020-10-22 18:00:00 | 4.789 | 81.813 | 4.864 | 76.657 | 5.253 | 80.567 | 5.531 | 77.8 | 14.308 | 889.1 | 18.472 | 11.389
2020-10-22 18:15:00 | 4.338 | 78.867 | 4.658 | 75.236 | 5.086 | 80.667 | 5.3 | 75.733 | 13.924 | 889.6 | 18.701 | 10.1625
2020-10-22 18:30:00 | 3.774 | 74.707 | 4.04 | 71.005 | 4.355 | 75.6 | 4.796 | 72.3 | 13.387 | 889.167 | 19.147 | 8.5744
2020-10-22 18:45:00 | 3.206 | 71.725 | 3.492 | 69.997 | 3.84 | 73.733 | 4.187 | 70.433 | 12.582 | 889.133 | 19.907 | 5.8238
2020-10-22 19:00:00 | 2.816 | 72.16 | 3.118 | 71.202 | 3.183 | 77.067 | 3.545 | 73.6 | 12.166 | 889.8 | 20.387 | 5.2241
2020-10-22 19:15:00 | 2.224 | 75.633 | 2.43 | 74.797 | 2.462 | 79.733 | 2.859 | 77.733 | 11.345 | 889.917 | 20.853 | 3.4995
2020-10-22 19:30:00 | 1.757 | 59.102 | 2.34 | 64.816 | 2.61 | 68.6 | 3.01 | 66.067 | 10.966 | 889.55 | 21.419 | 1.7523
2020-10-22 19:45:00 | 0.513 | 332.969 | 0.823 | 51.122 | 1.74 | 62.042 | 2.212 | 54 | 10.216 | 889.117 | 22.059 | 0.28138
2020-10-22 20:00:00 | 0.219 | 334.08 | 0.083 | 54.139 | 1.582 | 64.4 | 2.189 | 65 | 9.72 | 889.933 | 22.949 | 0.28067
2020-10-22 20:15:00 | 1.874 | 298 | 0 | 15.88 | 0 | 69.25 | 0 | 65.033 | 9.816 | 889.683 | 23.189 | 0.1748
2020-10-22 20:30:00 | 2.934 | 301.44 | 1.323 | 339.518 | 1.205 | 2.738 | 1.304 | 63 | 9.768 | 889.55 | 22.491 | 0.17054
2020-10-22 20:45:00 | 2.447 | 288.28 | 0.742 | 338.96 | 0.13 | 0 | 0.51 | 63.067 | 9.804 | 889.4 | 22.592 | 0.16911
2020-10-22 21:00:00 | 3.113 | 281.627 | 1.007 | 339.017 | 0.893 | 352.367 | 0.984 | 63.125 | 9.233 | 890.267 | 22.635 | 0.16911
2020-10-22 21:15:00 | 3.282 | 281.867 | 2.034 | 331.486 | 1.533 | 352.433 | 1.794 | 8.727 | 8.574 | 889.233 | 23.296 | 0.17054
2020-10-22 21:30:00 | 3.051 | 268.693 | 1.401 | 329.707 | 1.571 | 352.233 | 1.868 | 0 | 8.643 | 889.517 | 23.387 | 0.18333
2020-10-22 21:45:00 | 2.571 | 280.107 | 2.394 | 346.338 | 2.569 | 0 | 2.575 | 1.867 | 7.496 | 889.683 | 24.331 | 0.17622
2020-10-22 22:00:00 | 3.476 | 271.613 | 2.385 | 316.963 | 2.4 | 347.067 | 2.201 | 0.133 | 7.886 | 889.767 | 24.587 | 0.19256
2020-10-22 22:15:00 | 3.666 | 254.293 | 2.284 | 302.794 | 2.073 | 334.267 | 1.867 | 353 | 7.206 | 889.8 | 25.485 | 0.1748
2020-10-22 22:30:00 | 4.421 | 243.747 | 2.473 | 286.125 | 1.946 | 324 | 2.038 | 334 | 6.283 | 889.867 | 26.173 | 0.18191
2020-10-22 22:45:00 | 4.532 | 247.18 | 2.564 | 276.214 | 1.95 | 311.067 | 2.257 | 334.567 | 5.968 | 889.433 | 27.299 | 0.17764
2020-10-22 23:00:00 | 5.382 | 240.907 | 3.15 | 260.62 | 1.611 | 295.667 | 1.112 | 355.267 | 6.197 | 889.45 | 27.104 | 0.18759
2020-10-22 23:15:00 | 5.278 | 236.293 | 3.166 | 257.854 | 1.632 | 276.067 | 0.252 | 317.7 | 4.799 | 889.533 | 28.661 | 0.20891
2020-10-22 23:30:00 | 6.045 | 230.433 | 4.394 | 253.868 | 3.049 | 263.867 | 1.866 | 273.433 | 4.967 | 889.533 | 28.48 | 0.2217
2020-10-22 23:45:00 | 6.212 | 237.253 | 4.225 | 257.511 | 3.26 | 261.533 | 2.627 | 251.633 | 4.961 | 890.4 | 29.008 | 0.1883