## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-23 00:00:00 | 5.392 | 237.3 | 3.316 | 258.606 | 2.246 | 258.867 | 1.852 | 248.5 | 4.802 | 889.517 | 29.277 | 0.35457
2020-10-23 00:15:00 | 6.084 | 232.453 | 3.715 | 258.486 | 2.255 | 262.367 | 1.556 | 248.8 | 4.68 | 889.7 | 29.643 | 0.19398
2020-10-23 00:30:00 | 5.957 | 231.633 | 3.507 | 255.323 | 2.101 | 256.067 | 1.663 | 248.55 | 4.093 | 889.283 | 29.568 | 0.099479
2020-10-23 00:45:00 | 5.767 | 224.953 | 4.388 | 238.4 | 3.264 | 249.533 | 2 | 250 | 4.464 | 889.617 | 29.957 | 0.10658
2020-10-23 01:00:00 | 5.36 | 229.067 | 3.327 | 246.441 | 2.245 | 250 | 1.535 | 248.067 | 4.206 | 889.667 | 30.101 | 0.35528
2020-10-23 01:15:00 | 6.229 | 225.24 | 4.029 | 237.12 | 2.598 | 249.9 | 1.953 | 247.033 | 4.44 | 889.65 | 29.904 | 0.1208
2020-10-23 01:30:00 | 5.944 | 227.447 | 3.724 | 239.934 | 2.527 | 245.2 | 1.771 | 239.317 | 3.979 | 890 | 30.411 | 0.13856
2020-10-23 01:45:00 | 5.819 | 225.36 | 3.566 | 241.596 | 1.781 | 243.067 | 0.561 | 241.467 | 3.785 | 889.683 | 30.747 | 0.21033
2020-10-23 02:00:00 | 6.225 | 223.947 | 4.07 | 239.266 | 2.812 | 242.033 | 1.666 | 231.233 | 3.762 | 889.667 | 30.768 | 0.1414
2020-10-23 02:15:00 | 5.978 | 226.407 | 5.338 | 239.165 | 4.447 | 244.867 | 3.699 | 235.3 | 3.793 | 890.017 | 31.216 | 0.72833
2020-10-23 02:30:00 | 5.913 | 226.733 | 4.697 | 239.187 | 3.667 | 245.933 | 2.742 | 241.5 | 3.254 | 889.933 | 31.509 | 1.3444
2020-10-23 02:45:00 | 5.844 | 226.067 | 5.151 | 246.568 | 4.071 | 252.033 | 3.21 | 245.533 | 3.472 | 889.35 | 31.755 | 1.3067
2020-10-23 03:00:00 | 6.113 | 225.167 | 4.675 | 244.958 | 4.24 | 254.5 | 3.252 | 245.433 | 3.521 | 889.533 | 31.685 | 1.9228
2020-10-23 03:15:00 | 6.375 | 232.24 | 6.44 | 247.305 | 5.689 | 256.367 | 4.802 | 252.217 | 3.725 | 889.533 | 31.717 | 5.0024
2020-10-23 03:30:00 | 6.084 | 232.58 | 5.942 | 249.149 | 4.818 | 264 | 4.427 | 268.233 | 4.031 | 889.6 | 31.461 | 10.554
2020-10-23 03:45:00 | 6.392 | 233.48 | 6.266 | 250.348 | 5.257 | 263.733 | 4.774 | 266.633 | 4.345 | 890.083 | 31.408 | 8.1729
2020-10-23 04:00:00 | 6.035 | 236.233 | 5.86 | 252.464 | 5.104 | 267.133 | 4.739 | 271.1 | 4.338 | 889.9 | 32.184 | 9.96
2020-10-23 04:15:00 | 5.408 | 242.987 | 5.296 | 268.441 | 4.971 | 286.2 | 5.266 | 293.333 | 4.265 | 889.617 | 33.16 | 7.0296
2020-10-23 04:30:00 | 5.115 | 238.473 | 4.124 | 268.484 | 4.01 | 289.067 | 4.453 | 294.667 | 4.192 | 890.2 | 33.477 | 4.1724
2020-10-23 04:45:00 | 6.041 | 228.133 | 5.455 | 250.844 | 4.504 | 274 | 4.574 | 278.933 | 3.739 | 889.617 | 34.827 | 3.4669
2020-10-23 05:00:00 | 4.722 | 234.267 | 4.772 | 259.302 | 4.007 | 279.8 | 4.147 | 288.9 | 3.388 | 889.8 | 36.187 | 4.0488
2020-10-23 05:15:00 | 4.994 | 229.967 | 5.235 | 245.664 | 4.166 | 258.667 | 3.616 | 270.933 | 3.154 | 889.483 | 35.963 | 3.7525
2020-10-23 05:30:00 | 5.027 | 226.967 | 4.685 | 244.001 | 3.953 | 257.3 | 3.457 | 264.333 | 3.488 | 890.083 | 35.472 | 3.788
2020-10-23 05:45:00 | 5.533 | 225.867 | 5.361 | 243.779 | 4.449 | 251.633 | 3.641 | 257.067 | 3.455 | 890.1 | 35.632 | 3.2516
2020-10-23 06:00:00 | 5.588 | 225.787 | 5.31 | 240.687 | 4.708 | 250.1 | 4.038 | 253.367 | 2.947 | 889.633 | 35.803 | 3.1443
2020-10-23 06:15:00 | 5.255 | 221.64 | 4.834 | 238.015 | 4.298 | 245.333 | 3.718 | 244.633 | 3.18 | 889.667 | 35.904 | 2.4088
2020-10-23 06:30:00 | 4.721 | 214.647 | 4.895 | 232.948 | 4.307 | 240.8 | 3.652 | 239.667 | 2.753 | 889.35 | 35.979 | 2.0486
2020-10-23 06:45:00 | 4.46 | 213.987 | 4.835 | 230.436 | 4.005 | 238.167 | 3.29 | 240.2 | 2.221 | 889.767 | 36.768 | 1.618
2020-10-23 07:00:00 | 4.312 | 208.24 | 4.494 | 227.95 | 3.64 | 235.667 | 3.093 | 235.667 | 2.291 | 889.567 | 36.693 | 0.93582
2020-10-23 07:15:00 | 4.987 | 218.4 | 4.01 | 233.398 | 3.078 | 244.7 | 2.603 | 243.033 | 1.9 | 889.667 | 37.216 | 0.1343
2020-10-23 07:30:00 | 5.483 | 219.82 | 3.2 | 232.104 | 2.401 | 244.433 | 1.958 | 242.867 | 2.679 | 889.883 | 36.784 | 0.21388
2020-10-23 07:45:00 | 5.004 | 224.18 | 2.454 | 236.325 | 1.824 | 244.6 | 1.468 | 243 | 3.073 | 889.733 | 36.613 | 0.30696
2020-10-23 08:00:00 | 5.528 | 225.787 | 3.049 | 238.587 | 2.198 | 251 | 1.734 | 243 | 2.762 | 890.133 | 36.677 | 0.24301
2020-10-23 08:15:00 | 5.553 | 223.033 | 2.992 | 236.72 | 2.16 | 248.9 | 1.78 | 243.033 | 2.7 | 890.15 | 36.475 | 0.22596
2020-10-23 08:30:00 | 4.867 | 224.173 | 2.332 | 234.407 | 1.378 | 245.767 | 1.161 | 243 | 3.726 | 889.65 | 35.536 | 0.2288
2020-10-23 08:45:00 | 4.614 | 223.667 | 1.767 | 237.482 | 0.516 | 247.033 | 0.617 | 243 | 3.304 | 889.65 | 35.52 | 0.22312
2020-10-23 09:00:00 | 3.596 | 225.407 | 0.405 | 238.447 | 0 | 247.533 | 0 | 243.033 | 4.127 | 890 | 34.384 | 0.23591
2020-10-23 09:15:00 | 3.616 | 227.633 | 0.226 | 237.771 | 0 | 247.1 | 0 | 243.067 | 5.895 | 889.833 | 32.267 | 0.2288
2020-10-23 09:30:00 | 2.597 | 220.807 | 0 | 238.394 | 0 | 247.033 | 0.044 | 307.067 | 6.463 | 890.017 | 30.88 | 0.22596
2020-10-23 09:45:00 | 1.448 | 221.6 | 0 | 237.805 | 0 | 246.933 | 0 | 324.067 | 7.506 | 889.8 | 29.616 | 0.23022
2020-10-23 10:00:00 | 0.944 | 216.04 | 0 | 237.587 | 0 | 247 | 1.129 | 76.267 | 9.77 | 889.467 | 27.008 | 0.22596
2020-10-23 10:15:00 | 0.196 | 190.307 | 0 | 128.329 | 0 | 93 | 1.404 | 32.5 | 10.928 | 889.483 | 24.528 | 0.22596
2020-10-23 10:30:00 | 1.389 | 49.285 | 0.579 | 51.606 | 0.777 | 57.933 | 1.73 | 59.067 | 11.307 | 890.017 | 23.216 | 0.22596
2020-10-23 10:45:00 | 1.269 | 59.465 | 0.9 | 58.273 | 0.837 | 64.567 | 1.709 | 59.033 | 11.245 | 890.133 | 22.949 | 0.22454
2020-10-23 11:00:00 | 2.525 | 43.136 | 2.262 | 37.092 | 2.052 | 42.567 | 2.315 | 41.6 | 10.995 | 889.8 | 22.373 | 0.26291
2020-10-23 11:15:00 | 2.14 | 29.097 | 2.049 | 29.64 | 2.141 | 36.933 | 2.473 | 40.1 | 10.961 | 889.65 | 22.064 | 0.21175
2020-10-23 11:30:00 | 2.407 | 35.558 | 2.258 | 33.053 | 2.294 | 39.133 | 2.544 | 33.533 | 11.211 | 889.317 | 21.909 | 0.22525
2020-10-23 11:45:00 | 2.384 | 42.607 | 2.146 | 34.731 | 2.18 | 40.733 | 2.573 | 40.867 | 10.811 | 889.633 | 21.771 | 0.21175
2020-10-23 12:00:00 | 2.494 | 66.317 | 2.563 | 59.408 | 2.376 | 60.8 | 2.26 | 53.333 | 11.161 | 889.85 | 21.136 | 0.12009
2020-10-23 12:15:00 | 2.643 | 41.969 | 2.407 | 43.314 | 2.281 | 47.767 | 2.449 | 49.9 | 11.949 | 889.6 | 20.275 | 0.17977
2020-10-23 12:30:00 | 2.105 | 68.557 | 2.095 | 63.818 | 1.992 | 62.133 | 2.449 | 53.5 | 12.193 | 889.1 | 19.712 | 0.1947
2020-10-23 12:45:00 | 2.784 | 43.759 | 2.687 | 37.005 | 2.791 | 37.733 | 3.17 | 35.6 | 12.374 | 889.567 | 19.413 | 0.12293
2020-10-23 13:00:00 | 2.599 | 34.581 | 2.366 | 36.065 | 2.462 | 40 | 2.737 | 38.867 | 11.586 | 889.7 | 19.456 | 0.092374
2020-10-23 13:15:00 | 2.509 | 70.73 | 2.573 | 65.608 | 2.608 | 69.567 | 3.088 | 63.467 | 11.774 | 889.167 | 19.683 | 0.57982
2020-10-23 13:30:00 | 2.276 | 66.506 | 2.088 | 65.974 | 2.177 | 66.867 | 2.508 | 60.867 | 11.778 | 889.467 | 19.565 | 0.13998
2020-10-23 13:45:00 | 1.05 | 35.486 | 1.007 | 51.462 | 1.03 | 49.933 | 1.599 | 49.733 | 11.774 | 889.3 | 19.589 | 0.20038
2020-10-23 14:00:00 | 1.313 | 29.306 | 0.931 | 38.544 | 1.077 | 41.7 | 1.767 | 48.7 | 11.882 | 889.233 | 18.848 | 0.16343
2020-10-23 14:15:00 | 1.769 | 65.684 | 1.444 | 58.8 | 1.707 | 63.833 | 2.898 | 67.4 | 11.949 | 889.7 | 18.429 | 0.15348
2020-10-23 14:30:00 | 1.721 | 45.18 | 1.846 | 36.242 | 1.852 | 47.1 | 1.838 | 46.633 | 11.845 | 889.467 | 18.621 | 0.10374
2020-10-23 14:45:00 | 2.564 | 150.008 | 2.123 | 96.164 | 2.166 | 48.805 | 2.526 | 33.933 | 12.472 | 889.667 | 18.459 | 0.13501
2020-10-23 15:00:00 | 3.177 | 55.928 | 3.107 | 42.782 | 2.9 | 46.333 | 3.051 | 42.033 | 12.103 | 889.633 | 19.136 | 0.14922
2020-10-23 15:15:00 | 2.569 | 33.065 | 2.604 | 33.292 | 2.821 | 37.967 | 3.273 | 32.067 | 12.286 | 889.6 | 19.44 | 0.13074
2020-10-23 15:30:00 | 2.457 | 22.632 | 2.347 | 76.17 | 2.283 | 43.6 | 2.341 | 18.834 | 12.045 | 889.1 | 19.788 | 0.11298
2020-10-23 15:45:00 | 0.742 | 64.155 | 0.207 | 73.018 | 0.47 | 55.342 | 1.186 | 35.867 | 12.107 | 889.533 | 19.856 | 0.16627
2020-10-23 16:00:00 | 2.054 | 210.153 | 1.647 | 168.034 | 1.63 | 16.306 | 2.042 | 16.9 | 12.557 | 889.267 | 19.652 | 0.18759
2020-10-23 16:15:00 | 1.067 | 37.354 | 0.027 | 36.004 | 0.067 | 32 | 1.166 | 28.133 | 12.082 | 889.5 | 19.987 | 0.14353
2020-10-23 16:30:00 | 0.323 | 138.647 | 0 | 123.266 | 0 | 109 | 0 | 28 | 12.02 | 889.533 | 19.965 | 0.13785
2020-10-23 16:45:00 | 1.629 | 55.477 | 0.779 | 52.192 | 0.87 | 62.767 | 1.579 | 57.433 | 12.22 | 889.3 | 20.045 | 0.12506
2020-10-23 17:00:00 | 0.312 | 86.173 | 0 | 78.255 | 0 | 76.633 | 0.03 | 59 | 12.057 | 889.7 | 20.099 | 0.12648
2020-10-23 17:15:00 | 1.25 | 99.41 | 0.797 | 116.77 | 1.02 | 104.6 | 1.723 | 109.6 | 12.007 | 889.5 | 20.373 | 0.13217
2020-10-23 17:30:00 | 1.765 | 108.647 | 0.72 | 101.924 | 0.953 | 99.933 | 1.622 | 99.9 | 12.24 | 889.433 | 20.509 | 0.13927
2020-10-23 17:45:00 | 1.521 | 89.967 | 1.076 | 90.072 | 1.682 | 89.3 | 2.195 | 89.033 | 12.036 | 889.867 | 20.568 | 0.15632
2020-10-23 18:00:00 | 1.353 | 115.403 | 0.846 | 109.825 | 0.924 | 119.633 | 1.431 | 120.067 | 11.995 | 889.617 | 21.035 | 0.15632
2020-10-23 18:15:00 | 1.558 | 102.5 | 0.387 | 99.261 | 0.696 | 104 | 1.552 | 100.933 | 11.361 | 889.483 | 21.52 | 0.17054
2020-10-23 18:30:00 | 2.067 | 93.027 | 1.608 | 90.564 | 1.745 | 97.033 | 2.068 | 93.167 | 11.332 | 889.65 | 21.851 | 0.16627
2020-10-23 18:45:00 | 2.531 | 116.993 | 2.009 | 110.361 | 2.121 | 111 | 2.397 | 104.067 | 11.316 | 889.733 | 22.523 | 0.17693
2020-10-23 19:00:00 | 1.776 | 132.893 | 2.398 | 113.255 | 2.581 | 123.267 | 2.714 | 115.033 | 10.757 | 890.033 | 22.827 | 0.18262
2020-10-23 19:15:00 | 2.064 | 138.867 | 1.876 | 128.447 | 2.019 | 131.167 | 2.129 | 141 | 10.414 | 889.333 | 23.323 | 0.18048
2020-10-23 19:30:00 | 1.936 | 150.02 | 1.202 | 130.23 | 1.403 | 139.767 | 2.077 | 139.367 | 10.299 | 889.183 | 23.456 | 0.17835
2020-10-23 19:45:00 | 1.401 | 161.747 | 0.28 | 138.635 | 0.886 | 144.967 | 1.283 | 141.033 | 9.441 | 889.967 | 24.037 | 0.18333
2020-10-23 20:00:00 | 1.631 | 169.873 | 1.523 | 137.859 | 0.861 | 142.867 | 1.412 | 140.867 | 9.637 | 890.017 | 24.992 | 0.1947
2020-10-23 20:15:00 | 2.106 | 154.333 | 1.546 | 124.69 | 1.61 | 132.4 | 1.873 | 140 | 9.633 | 889.467 | 24.667 | 0.20322
2020-10-23 20:30:00 | 1.841 | 197.493 | 0 | 124.612 | 0 | 131 | 0 | 140.033 | 8.995 | 889.65 | 25.099 | 0.1947
2020-10-23 20:45:00 | 2.506 | 194.007 | 0 | 125.24 | 0 | 131 | 0.815 | 140.067 | 8.17 | 889.683 | 25.84 | 0.17764
2020-10-23 21:00:00 | 2.781 | 198.733 | 0 | 125.216 | 0 | 131.067 | 0.746 | 140 | 8.24 | 889.6 | 26.128 | 0.17054
2020-10-23 21:15:00 | 2.876 | 194.96 | 0.196 | 125.268 | 0.12 | 131.067 | 1.149 | 140.033 | 8.26 | 889.8 | 26.251 | 0.17054
2020-10-23 21:30:00 | 2.473 | 206.6 | 0 | 137.407 | 0 | 131 | 0.976 | 140.033 | 7.556 | 889.867 | 26.757 | 0.18475
2020-10-23 21:45:00 | 2.973 | 217.3 | 0 | 138.503 | 0 | 130.967 | 1.059 | 140 | 7.422 | 889.683 | 26.875 | 0.19754
2020-10-23 22:00:00 | 3.079 | 211.233 | 0.654 | 151.872 | 0 | 131 | 1.289 | 139.933 | 7.673 | 890.183 | 26.811 | 0.21175
2020-10-23 22:15:00 | 4.303 | 221.033 | 1.176 | 178.056 | 0 | 131.033 | 1.124 | 140.033 | 6.442 | 889.4 | 27.003 | 0.2217
2020-10-23 22:30:00 | 4.95 | 227.5 | 1.63 | 216.502 | 0 | 147.067 | 0 | 139.833 | 4.271 | 889.6 | 29.013 | 0.22738
2020-10-23 22:45:00 | 5.254 | 226.647 | 1.907 | 218.05 | 0.047 | 188 | 0 | 140 | 3.712 | 889.933 | 30.48 | 0.22028
2020-10-23 23:00:00 | 5.335 | 227 | 2.273 | 217.558 | 0.976 | 201.167 | 0.027 | 139.867 | 3.622 | 889.883 | 31.221 | 0.22312
2020-10-23 23:15:00 | 5.274 | 225.22 | 2.593 | 212.485 | 1.928 | 202 | 1.382 | 141.267 | 4.995 | 889.783 | 30.571 | 0.22454
2020-10-23 23:30:00 | 5.878 | 226.127 | 3.087 | 217.516 | 1.93 | 210 | 1.723 | 166.067 | 3.226 | 889.783 | 32.053 | 0.23307
2020-10-23 23:45:00 | 6.26 | 224.867 | 3.566 | 220.814 | 2.483 | 212 | 2.115 | 186 | 2.598 | 889.733 | 33.019 | 0.22312