## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-24 00:00:00 | 6.044 | 226.953 | 4.041 | 233.4 | 2.596 | 225.033 | 1.873 | 200 | 2.476 | 890.283 | 33.573 | 0.23591
2020-10-24 00:15:00 | 6.049 | 225.32 | 4.005 | 237.451 | 3.184 | 234.2 | 2.494 | 216.033 | 2.484 | 890.183 | 34 | 0.24159
2020-10-24 00:30:00 | 6.516 | 223.18 | 4.037 | 228.589 | 2.965 | 223.5 | 2.448 | 212 | 2.618 | 889.567 | 34.197 | 0.24159
2020-10-24 00:45:00 | 6.251 | 223.76 | 4.569 | 235.55 | 3.455 | 235.067 | 2.731 | 218 | 2.016 | 889.317 | 34.784 | 0.20393
2020-10-24 01:00:00 | 6.162 | 224.067 | 5.34 | 235.289 | 4.144 | 236.633 | 3.221 | 225.767 | 2.148 | 888.883 | 34.533 | 0.12364
2020-10-24 01:15:00 | 6.558 | 222.647 | 5.555 | 233.354 | 4.45 | 236.867 | 3.553 | 225.133 | 1.786 | 890.117 | 35.397 | 0.88821
2020-10-24 01:30:00 | 6.385 | 222.28 | 5.126 | 229.245 | 4.082 | 235.433 | 3.199 | 227 | 1.816 | 889.8 | 35.099 | 1.2861
2020-10-24 01:45:00 | 6.377 | 226.207 | 5.52 | 236.617 | 4.566 | 245.733 | 3.888 | 246.733 | 1.718 | 890.083 | 35.2 | 2.1665
2020-10-24 02:00:00 | 6.162 | 225.36 | 5.114 | 237.458 | 4.352 | 247.733 | 3.934 | 244.967 | 1.985 | 889.733 | 35.131 | 2.163
2020-10-24 02:15:00 | 6.612 | 226.193 | 5.459 | 237.766 | 4.653 | 247.033 | 4.114 | 244 | 1.733 | 889.6 | 35.477 | 2.3577
2020-10-24 02:30:00 | 6.452 | 222.02 | 5.405 | 235.973 | 4.222 | 244.433 | 3.133 | 244.167 | 1.765 | 889.967 | 35.653 | 4.1021
2020-10-24 02:45:00 | 6.242 | 225.74 | 5.781 | 238.857 | 4.625 | 249.4 | 3.823 | 247.033 | 2.032 | 889.65 | 35.643 | 2.4479
2020-10-24 03:00:00 | 6.272 | 223.353 | 4.468 | 241.026 | 3.507 | 256.133 | 2.999 | 256.633 | 1.948 | 889.617 | 35.936 | 4.24
2020-10-24 03:15:00 | 6.425 | 222.913 | 5.316 | 238.896 | 4.269 | 248.867 | 3.276 | 256.5 | 1.559 | 889.85 | 36.261 | 3.1848
2020-10-24 03:30:00 | 6.47 | 222.133 | 5.141 | 235.16 | 4.462 | 247.567 | 3.396 | 246.867 | 1.869 | 889.85 | 36.731 | 2.6199
2020-10-24 03:45:00 | 6.499 | 219.813 | 4.99 | 228.3 | 4.001 | 240.267 | 3.232 | 244.067 | 1.629 | 889.783 | 36.869 | 2.2823
2020-10-24 04:00:00 | 6.309 | 218.467 | 5.606 | 228.444 | 4.889 | 239 | 4.126 | 236.967 | 1.682 | 889.533 | 37.472 | 4.0929
2020-10-24 04:15:00 | 6.524 | 219.807 | 6.093 | 229.028 | 5.22 | 237.8 | 4.588 | 236.667 | 1.379 | 889.567 | 38.027 | 5.3918
2020-10-24 04:30:00 | 6.433 | 225.907 | 6.258 | 237.623 | 5.666 | 247.6 | 5.067 | 246.8 | 1.479 | 889.617 | 38.133 | 7.1924
2020-10-24 04:45:00 | 6.244 | 229.72 | 6.473 | 242.656 | 5.795 | 253.133 | 5.152 | 253.267 | 1.089 | 889.883 | 38.811 | 8.59
2020-10-24 05:00:00 | 6.356 | 236.007 | 7.001 | 248.404 | 5.966 | 260.867 | 5.406 | 267.367 | 1.349 | 889.867 | 39.333 | 11.8665
2020-10-24 05:15:00 | 6.424 | 229.587 | 6.232 | 245.828 | 5.039 | 262.933 | 4.628 | 274.1 | 1.439 | 889.6 | 39.067 | 13.9811
2020-10-24 05:30:00 | 6.326 | 230.433 | 6.307 | 247.186 | 5.408 | 260.533 | 5.157 | 266.833 | 1.299 | 889.95 | 38.768 | 10.6009
2020-10-24 05:45:00 | 6.394 | 235.707 | 6.744 | 249.048 | 6.137 | 259.133 | 6.062 | 260.767 | 1.906 | 889.2 | 38.208 | 16.213
2020-10-24 06:00:00 | 6.043 | 234.807 | 6.523 | 249.016 | 6.19 | 259.267 | 6.127 | 260.167 | 2.467 | 889.333 | 37.397 | 18.8862
2020-10-24 06:15:00 | 5.329 | 238.96 | 6.243 | 254.249 | 6.232 | 267.133 | 6.481 | 268.633 | 2.556 | 889.567 | 37.213 | 21.9075
2020-10-24 06:30:00 | 5.509 | 244.973 | 6.779 | 257.916 | 6.534 | 270.667 | 6.764 | 272.367 | 2.291 | 889.667 | 37.765 | 21.9338
2020-10-24 06:45:00 | 5.121 | 243.027 | 7.699 | 251.073 | 9.042 | 261.2 | 9.999 | 261.117 | 2.79 | 889.8 | 37.144 | 29.173
2020-10-24 07:00:00 | 6.741 | 252.767 | 8.958 | 255.623 | 10.489 | 263.433 | 11.276 | 260.367 | 3.037 | 889.6 | 36.896 | 29.8928
2020-10-24 07:15:00 | 5.831 | 244.62 | 7.876 | 251.059 | 9.196 | 257.467 | 10.297 | 255.8 | 2.931 | 889.9 | 36.597 | 29.8196
2020-10-24 07:30:00 | 6.148 | 246.053 | 8.549 | 248.346 | 10.071 | 256.5 | 11.079 | 253.95 | 2.931 | 889.817 | 37.557 | 28.5349
2020-10-24 07:45:00 | 8.006 | 254.933 | 10.95 | 255.537 | 12.27 | 260.933 | 13.155 | 257.717 | 3.221 | 889.65 | 36.867 | 28.2599
2020-10-24 08:00:00 | 9.433 | 256.927 | 11.753 | 254.27 | 13.119 | 260.05 | 13.97 | 255.983 | 4.315 | 889.45 | 35.939 | 28.358
2020-10-24 08:15:00 | 8.975 | 254.187 | 11.073 | 253.39 | 12.513 | 258.333 | 13.374 | 254.383 | 4.165 | 889.65 | 40.136 | 22.4795
2020-10-24 08:30:00 | 9.976 | 257.393 | 12.183 | 253.312 | 13.528 | 258.5 | 14.391 | 255.067 | 4.216 | 890.308 | 46.069 | 21.5621
2020-10-24 08:45:00 | 10.529 | 255.007 | 12.355 | 250.363 | 13.427 | 257.3 | 14.25 | 253.15 | 4.64 | 889.875 | 46.096 | 19.7204
2020-10-24 09:00:00 | 11.477 | 257.873 | 12.709 | 254.197 | 13.533 | 257.733 | 14.343 | 254.75 | 5.095 | 889.783 | 45.803 | 16.7132
2020-10-24 09:15:00 | 10.772 | 260.633 | 12.489 | 256.072 | 13.349 | 261.083 | 14.03 | 255.667 | 5.409 | 889.717 | 46.651 | 12.8414
2020-10-24 09:30:00 | 10.886 | 262.18 | 12.778 | 256.249 | 13.85 | 260.7 | 14.332 | 256.833 | 5.862 | 889.85 | 47.739 | 12.852
2020-10-24 09:45:00 | 11.587 | 259.48 | 13.423 | 256.637 | 14.322 | 258.65 | 14.661 | 253.75 | 6.238 | 889.7 | 48.549 | 13.3039
2020-10-24 10:00:00 | 13.324 | 258.68 | 14.528 | 254.627 | 15.112 | 258.717 | 15.41 | 253.983 | 7.006 | 889.95 | 48.059 | 13.9406
2020-10-24 10:15:00 | 13.612 | 260.927 | 15.004 | 255.666 | 15.446 | 259.85 | 15.355 | 255.65 | 7.389 | 889.808 | 45.851 | 14.7009
2020-10-24 10:30:00 | 12.754 | 266.56 | 14.076 | 263.347 | 14.162 | 267.067 | 14.202 | 260.333 | 8.053 | 889.475 | 43.136 | 15.2139
2020-10-24 10:45:00 | 12.496 | 266.507 | 13.492 | 260.768 | 14.051 | 265.567 | 13.928 | 260.183 | 9.045 | 889.775 | 40.669 | 15.4641
2020-10-24 11:00:00 | 12.121 | 272.96 | 13.028 | 267.242 | 13.235 | 270.667 | 13.563 | 266.083 | 9.062 | 889.667 | 37.363 | 16.8141
2020-10-24 11:15:00 | 13.648 | 278.96 | 15.135 | 270.067 | 15.624 | 274.167 | 15.563 | 270.067 | 9.824 | 889.733 | 34.299 | 16.8262
2020-10-24 11:30:00 | 14.915 | 272.12 | 15.594 | 267.023 | 16.257 | 270 | 16.609 | 266.75 | 9.437 | 890.05 | 34.384 | 16.2343
2020-10-24 11:45:00 | 13.82 | 275.613 | 15.175 | 270.306 | 15.453 | 274.333 | 15.472 | 270.233 | 9.787 | 890.083 | 34.424 | 15.0725
2020-10-24 12:00:00 | 15.646 | 277.787 | 16.958 | 272.12 | 17.239 | 276.3 | 17.286 | 272.433 | 9.283 | 889.55 | 34.413 | 15.0207
2020-10-24 12:15:00 | 14.671 | 278 | 16.254 | 271.942 | 16.69 | 274.933 | 17.137 | 272.1 | 9.583 | 889.65 | 33.883 | 15.4207
2020-10-24 12:30:00 | 13.965 | 278.187 | 15.36 | 272.573 | 15.299 | 274.2 | 15.638 | 271.467 | 9.872 | 889.75 | 34.491 | 15.1734
2020-10-24 12:45:00 | 14.296 | 274.933 | 15.39 | 268.472 | 15.903 | 271.267 | 15.836 | 269.333 | 10.02 | 889.85 | 35.403 | 14.7848
2020-10-24 13:00:00 | 15.198 | 281.6 | 16.318 | 275.12 | 16.461 | 278.633 | 16.568 | 275.433 | 9.697 | 889.767 | 35.984 | 14.3606
2020-10-24 13:15:00 | 14.664 | 281.04 | 15.452 | 273.96 | 15.827 | 277 | 15.965 | 274.267 | 9.878 | 889.633 | 37.309 | 14.1047
2020-10-24 13:30:00 | 14.507 | 275.027 | 15.697 | 271.72 | 16.267 | 275.2 | 16.342 | 271.033 | 9.858 | 889.867 | 38.493 | 14.5687
2020-10-24 13:45:00 | 14.652 | 279.813 | 15.982 | 273.781 | 16.118 | 277 | 16.349 | 274.467 | 10.014 | 889.717 | 39.187 | 14.5503
2020-10-24 14:00:00 | 14.726 | 281.533 | 16.217 | 276.807 | 16.406 | 278.5 | 16.628 | 275.5 | 10.02 | 889.833 | 38.667 | 14.3627
2020-10-24 14:15:00 | 14.456 | 277.653 | 15.543 | 274.626 | 15.722 | 276.6 | 15.644 | 273.333 | 9.558 | 889.967 | 38.171 | 14.1119
2020-10-24 14:30:00 | 14.72 | 274.293 | 15.921 | 267.6 | 16.27 | 272.6 | 16.669 | 271.067 | 9.824 | 889.667 | 37.04 | 13.7978
2020-10-24 14:45:00 | 13.799 | 282.827 | 15.01 | 276.259 | 15.268 | 279.033 | 15.541 | 277.2 | 10.212 | 889.867 | 39.125 | 13.7864
2020-10-24 15:00:00 | 14.423 | 282.8 | 15.406 | 277.581 | 15.647 | 279.367 | 15.741 | 275.667 | 9.528 | 889.508 | 41.432 | 13.7523
2020-10-24 15:15:00 | 13.862 | 280.267 | 14.95 | 273.428 | 15.328 | 276.833 | 15.834 | 274.333 | 9.683 | 889.383 | 42.197 | 13.2848
2020-10-24 15:30:00 | 14.906 | 287.467 | 15.537 | 280.965 | 16.166 | 283.4 | 16.474 | 282.233 | 9.358 | 889.758 | 42.88 | 13.2379
2020-10-24 15:45:00 | 15.079 | 282.467 | 15.708 | 276.95 | 16.263 | 279.8 | 16.801 | 277.7 | 9.424 | 889.833 | 43.616 | 13.0261
2020-10-24 16:00:00 | 14.067 | 287.907 | 15.526 | 281.536 | 16.169 | 285 | 16.651 | 282.033 | 9.137 | 889.358 | 44.395 | 13.1277
2020-10-24 16:15:00 | 15.429 | 288.76 | 17.152 | 284.55 | 17.489 | 286.033 | 17.862 | 285.633 | 9.012 | 890.2 | 45.029 | 14.4153
2020-10-24 16:30:00 | 13.515 | 286.707 | 14.882 | 279.134 | 15.395 | 283.233 | 15.736 | 280.867 | 8.612 | 889.692 | 46.757 | 14.2554
2020-10-24 16:45:00 | 13.772 | 280.387 | 15.338 | 276.1 | 15.592 | 279.5 | 16.133 | 276.9 | 8.427 | 890.208 | 47.381 | 14.0301
2020-10-24 17:00:00 | 13.469 | 287.627 | 14.482 | 282.303 | 15.296 | 286.7 | 15.849 | 283.567 | 8.116 | 889.908 | 49.008 | 13.7928
2020-10-24 17:15:00 | 13.55 | 279.96 | 14.925 | 274.19 | 15.536 | 277.1 | 16.083 | 275.3 | 7.833 | 890.025 | 50.939 | 13.5981
2020-10-24 17:30:00 | 12.826 | 279.32 | 14.084 | 271.724 | 14.375 | 276.233 | 14.811 | 272.633 | 7.342 | 890.058 | 52.507 | 13.0652
2020-10-24 17:45:00 | 12.735 | 285.267 | 14.184 | 278.509 | 14.622 | 281.9 | 15.349 | 280.033 | 7.522 | 889.825 | 54.208 | 12.4534
2020-10-24 18:00:00 | 12.469 | 280 | 13.52 | 273.291 | 14.29 | 276.5 | 14.696 | 274.733 | 6.989 | 890.217 | 54.933 | 12.5109
2020-10-24 18:15:00 | 11.87 | 285.68 | 13.698 | 279.22 | 14.108 | 280.033 | 14.789 | 278.867 | 6.843 | 889.567 | 56.901 | 15.501
2020-10-24 18:30:00 | 10.758 | 284.067 | 12.557 | 277.545 | 13.139 | 280.9 | 13.954 | 279 | 6.409 | 890.217 | 60 | 17.5503
2020-10-24 18:45:00 | 11.116 | 275.587 | 12.456 | 267.064 | 13.023 | 272.3 | 13.616 | 269.3 | 6.124 | 890.158 | 61.435 | 17.691
2020-10-24 19:00:00 | 11.739 | 271.933 | 13.355 | 265.714 | 14.041 | 271.233 | 14.447 | 267.6 | 5.647 | 889.892 | 61.915 | 18.1628
2020-10-24 19:15:00 | 10.37 | 269.727 | 12.496 | 264.398 | 13.551 | 268.133 | 13.955 | 264.983 | 5.409 | 889.867 | 62.235 | 14.0721
2020-10-24 19:30:00 | 10.778 | 267.82 | 12.453 | 262.004 | 13.581 | 266.833 | 13.988 | 263.6 | 5.398 | 889.55 | 62.213 | 14.0912
2020-10-24 19:45:00 | 11.908 | 265.24 | 13.352 | 260.246 | 14.141 | 265.267 | 14.217 | 261.167 | 5.628 | 889.558 | 63.051 | 13.6834
2020-10-24 20:00:00 | 10.864 | 266.5 | 12.181 | 260.798 | 13.065 | 266 | 13.468 | 262.617 | 5.453 | 890.017 | 64.037 | 12.7831
2020-10-24 20:15:00 | 11.788 | 269.32 | 13.407 | 262.164 | 13.925 | 266.667 | 14.326 | 261.367 | 5.389 | 889.608 | 64.539 | 11.0259
2020-10-24 20:30:00 | 10.956 | 263.147 | 12.803 | 256.427 | 13.761 | 261.067 | 13.759 | 258.317 | 5.061 | 890.075 | 64.037 | 12.2139
2020-10-24 20:45:00 | 11.671 | 263.473 | 13.236 | 259.215 | 13.876 | 261.567 | 13.858 | 257 | 5.2 | 890.092 | 64.229 | 14.8899
2020-10-24 21:00:00 | 10.878 | 264.107 | 12.819 | 258.425 | 13.361 | 263.117 | 13.432 | 258.75 | 4.958 | 889.767 | 64.779 | 17.023
2020-10-24 21:15:00 | 10.176 | 267.827 | 11.846 | 262.136 | 12.549 | 266.8 | 12.908 | 262.3 | 4.752 | 890.008 | 65.419 | 23.9276
2020-10-24 21:30:00 | 9.607 | 268.007 | 11.356 | 262.813 | 11.9 | 266.917 | 12.024 | 262.7 | 4.464 | 889.875 | 66.176 | 21.5238
2020-10-24 21:45:00 | 10.338 | 265.893 | 11.292 | 261.93 | 11.934 | 265.867 | 12.272 | 261.1 | 4.345 | 889.75 | 66.272 | 20.1183
2020-10-24 22:00:00 | 9.474 | 256.467 | 10.811 | 252.762 | 11.742 | 256.083 | 12.045 | 251.267 | 3.849 | 889.825 | 66.955 | 19.9705
2020-10-24 22:15:00 | 8.506 | 257.2 | 10.113 | 252.824 | 10.983 | 255.933 | 11.43 | 250.117 | 3.689 | 889.9 | 68.011 | 18.253
2020-10-24 22:30:00 | 8.868 | 259.4 | 10.19 | 257.531 | 11.016 | 259.267 | 11.532 | 254.183 | 3.405 | 889.775 | 69.488 | 16.3196
2020-10-24 22:45:00 | 9.001 | 267.233 | 10.369 | 261.249 | 11.076 | 265.767 | 11.488 | 260.617 | 3.489 | 889.992 | 70.491 | 19.5484
2020-10-24 23:00:00 | 8.807 | 269.267 | 10.148 | 266.951 | 10.742 | 268.733 | 11.418 | 264.883 | 3.338 | 890.05 | 69.152 | 28.0212
2020-10-24 23:15:00 | 6.885 | 278.533 | 8.38 | 274.072 | 9.357 | 275.767 | 9.987 | 271.367 | 3.488 | 890.45 | 70.251 | 28.12
2020-10-24 23:30:00 | 6.54 | 282.4 | 7.638 | 276.676 | 8.079 | 281.267 | 8.74 | 278.333 | 3.304 | 890.092 | 71.285 | 27.6965
2020-10-24 23:45:00 | 6.747 | 283.667 | 7.875 | 279.146 | 8.827 | 283.833 | 9.232 | 280.4 | 3.238 | 889.725 | 71.264 | 25.0596