## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-25 00:00:00 | 7.157 | 283.4 | 8.236 | 279.47 | 9.051 | 283.2 | 9.478 | 280.333 | 3.221 | 889.858 | 71.211 | 22.6884
2020-10-25 00:15:00 | 7.072 | 282.267 | 8.323 | 279.184 | 9.057 | 282.633 | 9.775 | 279.233 | 3.271 | 889.608 | 71.733 | 20.6619
2020-10-25 00:30:00 | 7.192 | 264.233 | 8.44 | 264.02 | 9.094 | 270.567 | 9.763 | 266.767 | 3.271 | 889.633 | 72.032 | 16.0005
2020-10-25 00:45:00 | 9.697 | 272.867 | 11.216 | 270.347 | 12.211 | 274.467 | 13.077 | 271.167 | 3.338 | 889.792 | 73.317 | 14.87
2020-10-25 01:00:00 | 9.469 | 273.2 | 11.144 | 269.304 | 12.323 | 270.967 | 12.873 | 267.733 | 3.069 | 890.425 | 74.592 | 14.5311
2020-10-25 01:15:00 | 10.744 | 268.893 | 13.036 | 262.175 | 14.032 | 266.633 | 14.571 | 262.517 | 2.94 | 890.475 | 72.304 | 14.5048
2020-10-25 01:30:00 | 10.048 | 265.927 | 12.435 | 260.506 | 13.813 | 263.667 | 14.467 | 259.933 | 2.901 | 889.567 | 73.653 | 14.6284
2020-10-25 01:45:00 | 12.166 | 262.727 | 13.775 | 261.533 | 14.764 | 266.567 | 14.897 | 263.2 | 2.877 | 889.983 | 73.824 | 17.325
2020-10-25 02:00:00 | 9.689 | 270.173 | 11.501 | 263.679 | 12.34 | 268.6 | 13 | 264.967 | 2.594 | 890.1 | 73.056 | 16.5775
2020-10-25 02:15:00 | 7.998 | 263.893 | 9.639 | 261.91 | 10.597 | 267.267 | 11.285 | 264.267 | 2.968 | 889.6 | 71.477 | 14.7457
2020-10-25 02:30:00 | 9.063 | 277.613 | 11.011 | 271.687 | 12.124 | 277.467 | 12.842 | 274.867 | 2.844 | 890.142 | 72.832 | 13.4986
2020-10-25 02:45:00 | 11.167 | 275.92 | 12.93 | 269.654 | 14.368 | 273.1 | 15.25 | 269.267 | 3.093 | 889.917 | 71.579 | 12.3646
2020-10-25 03:00:00 | 9.716 | 274.347 | 11.655 | 267.909 | 12.787 | 273.1 | 13.619 | 268.8 | 3.095 | 889.783 | 71.365 | 12.5586
2020-10-25 03:15:00 | 9.7 | 269.68 | 11.302 | 265.378 | 12.452 | 269.667 | 13.127 | 267.067 | 3.029 | 889.917 | 72.421 | 12.2772
2020-10-25 03:30:00 | 10.068 | 266.887 | 12.134 | 261.589 | 13.053 | 266.267 | 13.421 | 263.233 | 2.757 | 889.892 | 73.6 | 12.2758
2020-10-25 03:45:00 | 8.817 | 260.72 | 10.74 | 258.913 | 12.193 | 262.733 | 12.699 | 258.417 | 2.72 | 889.867 | 74.229 | 13.213
2020-10-25 04:00:00 | 8.426 | 283.333 | 10.153 | 276.736 | 10.586 | 280.333 | 11.149 | 276.5 | 2.901 | 889.917 | 73.024 | 14.578
2020-10-25 04:15:00 | 7.307 | 287.16 | 8.352 | 280.1 | 8.882 | 283.867 | 9.56 | 281.167 | 2.517 | 889.392 | 74.635 | 14.8643
2020-10-25 04:30:00 | 7.288 | 283 | 8.396 | 277.532 | 8.736 | 282.267 | 9.103 | 280.7 | 2.766 | 889.383 | 73.941 | 14.8352
2020-10-25 04:45:00 | 8.501 | 283.787 | 9.804 | 280.667 | 10.662 | 288 | 11.262 | 286.767 | 2.807 | 889.783 | 73.797 | 14.7293
2020-10-25 05:00:00 | 9.71 | 277.853 | 10.866 | 274.266 | 11.386 | 278.033 | 11.804 | 275.3 | 2.925 | 889.658 | 71.579 | 15.1329
2020-10-25 05:15:00 | 8.998 | 274.733 | 10.487 | 270.691 | 11.131 | 275.6 | 11.473 | 273.433 | 2.818 | 889.792 | 71.525 | 14.88
2020-10-25 05:30:00 | 9.479 | 285.787 | 11.522 | 281.26 | 12.382 | 283.667 | 12.923 | 281.567 | 2.705 | 889.542 | 71.472 | 14.6938
2020-10-25 05:45:00 | 10.368 | 277.12 | 11.73 | 270.316 | 12.548 | 274.5 | 13.259 | 270.9 | 2.458 | 889.625 | 71.003 | 14.6554
2020-10-25 06:00:00 | 10.455 | 268.907 | 12.215 | 264.215 | 12.807 | 269.733 | 13.122 | 265.9 | 2.593 | 889.908 | 68.725 | 14.7016
2020-10-25 06:15:00 | 8.207 | 264.82 | 10.472 | 258.996 | 11.078 | 261.85 | 11.023 | 256.733 | 2.295 | 889.767 | 70.32 | 12.1798
2020-10-25 06:30:00 | 8.575 | 266.24 | 10.483 | 259.89 | 11.006 | 263.633 | 11.074 | 257.5 | 2.144 | 889.842 | 70 | 13.1974
2020-10-25 06:45:00 | 8.897 | 255.527 | 10.736 | 251.731 | 11.222 | 256.083 | 11.019 | 252.05 | 1.706 | 889.925 | 70.72 | 15.6033
2020-10-25 07:00:00 | 7.906 | 254.48 | 9.309 | 251.39 | 9.912 | 256.517 | 10.254 | 252.433 | 1.416 | 889.708 | 69.216 | 17.2817
2020-10-25 07:15:00 | 7.234 | 243.767 | 8.716 | 241.308 | 8.928 | 247.8 | 8.755 | 245.817 | 1.416 | 889.792 | 69.973 | 20.222
2020-10-25 07:30:00 | 6.091 | 240.96 | 7.843 | 236.777 | 8.286 | 244.367 | 8.123 | 240.733 | 1.019 | 889.225 | 70.411 | 25.5271
2020-10-25 07:45:00 | 7.057 | 240.753 | 8.229 | 240.308 | 8.835 | 248.767 | 8.906 | 246.417 | 0.998 | 890.075 | 70.325 | 31.1932
2020-10-25 08:00:00 | 7.793 | 247.293 | 9.625 | 246.239 | 10.294 | 253.3 | 10.424 | 251.783 | 1.032 | 890.025 | 68.171 | 31.5584
2020-10-25 08:15:00 | 8.238 | 245.727 | 10.212 | 246.768 | 11.043 | 255.983 | 11.351 | 253.65 | 0.798 | 890.025 | 67.424 | 27.7562
2020-10-25 08:30:00 | 7.419 | 248.533 | 9.239 | 249.37 | 10.2 | 255.933 | 10.127 | 254.283 | 1.309 | 890.008 | 65.472 | 24.8634
2020-10-25 08:45:00 | 6.888 | 255.213 | 8.878 | 255.087 | 9.856 | 261.2 | 10.33 | 258.4 | 1.896 | 890.342 | 63.179 | 22.9328
2020-10-25 09:00:00 | 7.441 | 261.947 | 9.114 | 259.777 | 9.701 | 266.6 | 10.139 | 262.767 | 2.679 | 890.983 | 59.125 | 21.2232
2020-10-25 09:15:00 | 7.175 | 264.2 | 8.249 | 260.567 | 9.029 | 266.267 | 9.375 | 262.717 | 3.472 | 890.033 | 57.093 | 19.7964
2020-10-25 09:30:00 | 8.272 | 266.267 | 9.399 | 262.571 | 9.852 | 267.167 | 10.241 | 263.05 | 3.622 | 889.908 | 55.819 | 19.3963
2020-10-25 09:45:00 | 9.48 | 266.393 | 10.08 | 261.378 | 10.313 | 266.333 | 10.364 | 262.517 | 3.98 | 889.5 | 53.024 | 16.7395
2020-10-25 10:00:00 | 9.038 | 270.02 | 9.935 | 265.671 | 10.445 | 269.133 | 10.749 | 265.867 | 4.434 | 889.508 | 50.848 | 15.56
2020-10-25 10:15:00 | 9.075 | 272.96 | 9.76 | 267.206 | 9.794 | 272.3 | 9.768 | 267.817 | 4.361 | 889.767 | 49.424 | 13.3565
2020-10-25 10:30:00 | 10.01 | 283.173 | 10.82 | 276.789 | 10.67 | 279.633 | 11.028 | 276.733 | 4.563 | 889.617 | 47.781 | 11.6796
2020-10-25 10:45:00 | 9.199 | 283.147 | 10.088 | 278.34 | 10.308 | 281.067 | 10.412 | 277.733 | 4.64 | 889.425 | 48.016 | 11.8459
2020-10-25 11:00:00 | 9.834 | 287.213 | 10.412 | 281.68 | 10.876 | 283.867 | 11.393 | 281.833 | 4.871 | 889.55 | 47.227 | 13.2414
2020-10-25 11:15:00 | 10.378 | 301.093 | 10.873 | 295.988 | 11.337 | 299.967 | 11.62 | 298.133 | 5.108 | 890.3 | 43.776 | 12.754
2020-10-25 11:30:00 | 8.542 | 297.04 | 9.081 | 292.976 | 9.604 | 296.9 | 9.967 | 293.967 | 5.558 | 891.1 | 42.085 | 11.7592
2020-10-25 11:45:00 | 8.727 | 312.16 | 9.258 | 307.346 | 9.706 | 309.867 | 10.006 | 307.367 | 5.521 | 890.067 | 41.123 | 10.424
2020-10-25 12:00:00 | 8.443 | 308.987 | 8.73 | 306.98 | 8.957 | 310.367 | 9.41 | 308.567 | 5.395 | 889.425 | 40.771 | 10.2172
2020-10-25 12:15:00 | 8.629 | 294.867 | 8.995 | 287.832 | 9.565 | 292.733 | 9.866 | 290.367 | 5.497 | 889.267 | 40.656 | 9.9643
2020-10-25 12:30:00 | 8.189 | 296.387 | 8.466 | 289.824 | 8.412 | 292.233 | 8.915 | 289.267 | 5.544 | 889.383 | 41.149 | 11.4977
2020-10-25 12:45:00 | 8.904 | 301.613 | 9.251 | 296.968 | 9.59 | 302.833 | 9.748 | 299.5 | 6.115 | 889.883 | 40.035 | 11.4046
2020-10-25 13:00:00 | 8.864 | 299.973 | 9.364 | 294.575 | 9.302 | 299.267 | 9.807 | 296.133 | 5.657 | 889.283 | 39.725 | 11.897
2020-10-25 13:15:00 | 9.519 | 297.147 | 9.922 | 291.461 | 10.017 | 297.467 | 10.302 | 296.1 | 5.898 | 889.583 | 38.952 | 12.1571
2020-10-25 13:30:00 | 9.448 | 310.747 | 9.656 | 305.717 | 9.903 | 309.967 | 10.097 | 306.367 | 6.114 | 889.8 | 38.683 | 12.6332
2020-10-25 13:45:00 | 8.644 | 310.213 | 9.13 | 302.184 | 9.352 | 305.267 | 9.774 | 302.433 | 6.314 | 889.283 | 38.203 | 12.9245
2020-10-25 14:00:00 | 8.621 | 298.92 | 9.163 | 293.453 | 9.605 | 297.033 | 10.014 | 293.3 | 6.29 | 889.35 | 38.384 | 11.9247
2020-10-25 14:15:00 | 9.627 | 300.587 | 10.237 | 295.437 | 10.664 | 297.1 | 11.075 | 297.067 | 6.373 | 890.217 | 38.408 | 11.158
2020-10-25 14:30:00 | 9.881 | 290.44 | 10.258 | 285.177 | 10.656 | 289.233 | 11.018 | 287.433 | 6.601 | 889.467 | 37.525 | 11.7393
2020-10-25 14:45:00 | 9.09 | 301.907 | 9.766 | 295.069 | 10.509 | 298.133 | 10.878 | 294.7 | 6.799 | 889.55 | 36.32 | 11.3698
2020-10-25 15:00:00 | 9.398 | 293.947 | 9.895 | 288.856 | 10.457 | 293.9 | 10.967 | 291.5 | 6.314 | 889.55 | 36.915 | 11.6412
2020-10-25 15:15:00 | 9.707 | 293.587 | 10.379 | 288.928 | 10.503 | 291.367 | 10.681 | 291.833 | 6.589 | 890.15 | 36.845 | 11.7336
2020-10-25 15:30:00 | 8.703 | 294.107 | 9.218 | 290.274 | 9.498 | 293 | 9.823 | 292.067 | 6.849 | 889.467 | 36.104 | 11.7769
2020-10-25 15:45:00 | 8.524 | 287.267 | 9.378 | 281.946 | 9.791 | 287.4 | 10.116 | 284.933 | 6.691 | 889.967 | 36.672 | 12.0143
2020-10-25 16:00:00 | 9.526 | 290.68 | 10.055 | 285.277 | 10.38 | 287.667 | 10.667 | 285.233 | 6.694 | 889.8 | 35.331 | 11.8018
2020-10-25 16:15:00 | 8.384 | 297.533 | 8.869 | 293.442 | 8.974 | 295.7 | 9.374 | 294.633 | 6.591 | 889.567 | 35.405 | 11.7791
2020-10-25 16:30:00 | 8.381 | 290.213 | 8.933 | 282.29 | 9.262 | 284.6 | 9.497 | 282.233 | 6.86 | 889.85 | 32.045 | 12.2615
2020-10-25 16:45:00 | 9.323 | 286.387 | 9.67 | 280.457 | 10.023 | 283.5 | 10.063 | 282.1 | 7.002 | 890.05 | 32.539 | 11.951
2020-10-25 17:00:00 | 9.291 | 287.333 | 10.035 | 280.699 | 10.271 | 282.767 | 10.606 | 281.733 | 6.807 | 890.3 | 33.045 | 11.8544
2020-10-25 17:15:00 | 7.899 | 290.333 | 8.66 | 286.803 | 9.134 | 291.133 | 9.756 | 291.933 | 6.857 | 889.767 | 32.72 | 11.195
2020-10-25 17:30:00 | 8.575 | 293.88 | 8.789 | 287.177 | 8.826 | 294.333 | 9.369 | 291.1 | 6.611 | 889.733 | 32.064 | 13.2158
2020-10-25 17:45:00 | 7.168 | 295.32 | 7.814 | 291.896 | 8.092 | 294.3 | 8.566 | 290.233 | 6.704 | 889.95 | 31.579 | 14.352
2020-10-25 18:00:00 | 7.974 | 281.547 | 9.035 | 276.848 | 9.26 | 279.1 | 9.321 | 276.533 | 6.562 | 889.767 | 30.883 | 20.4366
2020-10-25 18:15:00 | 7.04 | 289.733 | 7.53 | 282.26 | 7.918 | 286.967 | 8.343 | 285.967 | 6.492 | 889.917 | 30.229 | 22.7985
2020-10-25 18:30:00 | 5.734 | 290.24 | 6.529 | 284.711 | 6.878 | 287 | 7.238 | 284.9 | 5.888 | 889.617 | 30.965 | 18.5522
2020-10-25 18:45:00 | 5.405 | 291.227 | 6.382 | 286.207 | 6.905 | 288.167 | 7.52 | 287.967 | 5.754 | 889.983 | 32.408 | 17.0877
2020-10-25 19:00:00 | 5.262 | 282.627 | 6.444 | 282.083 | 6.708 | 287.167 | 7.148 | 286.033 | 5.14 | 889.433 | 33.355 | 16.6202
2020-10-25 19:15:00 | 5.088 | 284.2 | 6.323 | 281.574 | 6.74 | 284.033 | 7.214 | 282.1 | 4.602 | 889.783 | 34.395 | 19.0915
2020-10-25 19:30:00 | 4.676 | 283.693 | 5.804 | 283.748 | 6.182 | 286.733 | 6.586 | 285.133 | 4.296 | 889.717 | 35.152 | 21.3397
2020-10-25 19:45:00 | 4.129 | 286.467 | 5.108 | 286.106 | 5.433 | 292.133 | 5.775 | 289.633 | 4.206 | 889.367 | 35.843 | 16.6997
2020-10-25 20:00:00 | 3.539 | 281.2 | 4.785 | 286.608 | 5.136 | 293 | 5.853 | 291 | 3.538 | 890.1 | 37.507 | 14.104
2020-10-25 20:15:00 | 4.416 | 279.867 | 5.042 | 284.482 | 5.373 | 289.667 | 5.824 | 288.533 | 3.471 | 889.917 | 38.821 | 14.7308
2020-10-25 20:30:00 | 4.268 | 275.093 | 5.101 | 281.343 | 5.332 | 285.8 | 5.603 | 284.9 | 3.005 | 889.55 | 40.053 | 13.839
2020-10-25 20:45:00 | 4.037 | 275.267 | 4.815 | 281.974 | 5.029 | 288.433 | 5.347 | 288.567 | 2.884 | 889.692 | 41.341 | 10.0517
2020-10-25 21:00:00 | 3.618 | 249.313 | 3.896 | 270.147 | 4.136 | 280.2 | 4.708 | 282.5 | 1.742 | 890.117 | 42.123 | 9.0775
2020-10-25 21:15:00 | 4.633 | 252.9 | 4.377 | 267.247 | 4.566 | 276.367 | 4.849 | 275.867 | 1.539 | 889.792 | 43.936 | 10.4688
2020-10-25 21:30:00 | 5.068 | 255.56 | 4.942 | 269.462 | 5.19 | 276.433 | 5.521 | 274.9 | 1.229 | 890.275 | 45.509 | 12.9487
2020-10-25 21:45:00 | 5.928 | 243.28 | 6.47 | 257.549 | 6.613 | 264.667 | 6.774 | 262.033 | 0.972 | 889.792 | 45.968 | 19.3764
2020-10-25 22:00:00 | 5.024 | 244.127 | 5.94 | 256.366 | 6.043 | 264.133 | 6.235 | 260.167 | 0.565 | 889.6 | 48.784 | 18.8485
2020-10-25 22:15:00 | 5.086 | 243.053 | 5.885 | 252.792 | 5.936 | 260.933 | 5.981 | 258.6 | 1.065 | 890.192 | 48.544 | 17.8494
2020-10-25 22:30:00 | 4.962 | 230.707 | 5.351 | 236.742 | 5.356 | 254.833 | 5.152 | 257 | 0.249 | 890.133 | 47.733 | 14.0387
2020-10-25 22:45:00 | 5.166 | 240.527 | 5.586 | 249.403 | 5.091 | 260.333 | 4.782 | 260.867 | -0.542 | 890.133 | 47.627 | 12.0931
2020-10-25 23:00:00 | 4.674 | 231.44 | 4.956 | 243.738 | 4.327 | 255.133 | 4.069 | 259.867 | -0.552 | 889.458 | 48.715 | 9.0121
2020-10-25 23:15:00 | 4.61 | 227.42 | 5.115 | 244.948 | 4.458 | 258 | 4.316 | 263.267 | -0.08 | 889.767 | 49.152 | 8.7918
2020-10-25 23:30:00 | 6.248 | 239.82 | 5.368 | 249.568 | 4.855 | 259.6 | 4.998 | 264.833 | -0.735 | 889.8 | 49.056 | 10.6613
2020-10-25 23:45:00 | 5.673 | 242.76 | 6.034 | 249.573 | 5.361 | 262.067 | 5.412 | 262.3 | -1.266 | 890.2 | 50.507 | 13.0965