## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-26 00:00:00 | 6.22 | 226.227 | 5.914 | 238.139 | 5.311 | 248.9 | 5.046 | 249.267 | -1.72 | 890.033 | 51.787 | 11.5623
2020-10-26 00:15:00 | 5.511 | 217.6 | 6.182 | 233.952 | 6.043 | 242.367 | 5.676 | 241.833 | -1.6 | 890.4 | 52.907 | 14.136
2020-10-26 00:30:00 | 5.25 | 223.253 | 5.747 | 235.722 | 5.656 | 243.2 | 5.529 | 239.967 | -1.896 | 889.85 | 54.048 | 14.443
2020-10-26 00:45:00 | 6.013 | 230.88 | 6.18 | 238.229 | 5.864 | 246.067 | 5.695 | 244.833 | -1.66 | 889.692 | 54.443 | 13.5065
2020-10-26 01:00:00 | 5.869 | 226.487 | 6.358 | 235.023 | 6.13 | 246.167 | 5.853 | 243.967 | -1.835 | 889.975 | 54.848 | 15.9139
2020-10-26 01:15:00 | 5.228 | 215.247 | 6.443 | 225.816 | 6.002 | 237.2 | 5.552 | 236.267 | -2.524 | 889.733 | 56.501 | 15.9238
2020-10-26 01:30:00 | 5.993 | 216.613 | 6.578 | 227.393 | 6.397 | 240.833 | 6.12 | 239.933 | -2.923 | 890.108 | 57.184 | 19.0915
2020-10-26 01:45:00 | 6.362 | 224.333 | 7.154 | 230.926 | 6.896 | 240.267 | 6.556 | 238.5 | -2.091 | 889.733 | 57.344 | 24.1891
2020-10-26 02:00:00 | 6.633 | 231.273 | 7.013 | 233.034 | 6.943 | 240.667 | 6.688 | 237.867 | -2.014 | 890.175 | 57.024 | 26.5994
2020-10-26 02:15:00 | 5.289 | 216.293 | 7.228 | 228.242 | 7.068 | 237.133 | 6.805 | 234.967 | -2.18 | 890.15 | 57.717 | 30.5856
2020-10-26 02:30:00 | 5.98 | 227.407 | 7.262 | 232.677 | 7.205 | 242.167 | 7.009 | 240.633 | -2.28 | 890.075 | 57.568 | 29.362
2020-10-26 02:45:00 | 5.442 | 226.633 | 6.415 | 240.496 | 6.664 | 249.9 | 6.488 | 247.717 | -1.713 | 889.667 | 57.013 | 26.8836
2020-10-26 03:00:00 | 5.594 | 225.7 | 6.401 | 238.468 | 6.71 | 249.133 | 6.332 | 247.667 | -2.519 | 889.892 | 57.867 | 24.8762
2020-10-26 03:15:00 | 5.942 | 231.58 | 6.828 | 244.038 | 6.578 | 254.5 | 6.347 | 254.5 | -2.337 | 890.533 | 58.485 | 21.3781
2020-10-26 03:30:00 | 5.294 | 215.16 | 6.644 | 227.887 | 6.451 | 237.6 | 6.081 | 236.4 | -2.639 | 889.85 | 59.328 | 20.6981
2020-10-26 03:45:00 | 6.959 | 219.653 | 7.688 | 225.1 | 7.415 | 232.567 | 7.053 | 231.467 | -2.679 | 890.35 | 59.051 | 27.4733
2020-10-26 04:00:00 | 5.881 | 220.933 | 8.087 | 221.999 | 7.734 | 229.933 | 7.367 | 229.1 | -2.519 | 889.842 | 58.955 | 29.5283
2020-10-26 04:15:00 | 5.742 | 217.387 | 8.107 | 219.33 | 7.601 | 226.6 | 7.373 | 226.6 | -2.597 | 890.275 | 59.787 | 30.4471
2020-10-26 04:30:00 | 6.642 | 217.587 | 8.353 | 218.229 | 8.02 | 223.133 | 7.672 | 221.9 | -2.39 | 890.15 | 60.32 | 32.7749
2020-10-26 04:45:00 | 6.22 | 217.847 | 8.356 | 220.211 | 7.824 | 224.233 | 7.772 | 222.5 | -2.446 | 889.917 | 61.248 | 31.0788
2020-10-26 05:00:00 | 6.267 | 218.307 | 7.488 | 226.512 | 7.478 | 235.267 | 7.26 | 233.133 | -2.768 | 890.717 | 62.699 | 29.6072
2020-10-26 05:15:00 | 6.659 | 212.6 | 7.94 | 218.588 | 7.462 | 227.3 | 7.205 | 227.1 | -2.902 | 890.383 | 62.763 | 28.4902
2020-10-26 05:30:00 | 6.066 | 218.913 | 7.396 | 222.217 | 7.076 | 230.3 | 6.908 | 228.767 | -2.821 | 889.442 | 59.488 | 27.6709
2020-10-26 05:45:00 | 6.052 | 215.867 | 7.006 | 223.938 | 6.962 | 232.933 | 6.807 | 230.867 | -3.321 | 889.867 | 59.019 | 24.8279
2020-10-26 06:00:00 | 6.012 | 218.007 | 6.773 | 225.873 | 6.779 | 233.5 | 6.738 | 232.6 | -3.213 | 890.017 | 59.189 | 23.5894
2020-10-26 06:15:00 | 5.797 | 212.767 | 6.522 | 225.082 | 6.442 | 234.6 | 6.276 | 232.367 | -3.404 | 890.05 | 60.725 | 22.4752
2020-10-26 06:30:00 | 6.206 | 212.793 | 7.258 | 211.508 | 7.2 | 218.5 | 6.816 | 219.467 | -3.16 | 890.017 | 61.493 | 20.7997
2020-10-26 06:45:00 | 5.677 | 214.393 | 6.666 | 216.246 | 6.089 | 222.5 | 5.782 | 223.033 | -3.026 | 889.042 | 64.053 | 14.6561
2020-10-26 07:00:00 | 5.918 | 225.033 | 6.499 | 226.036 | 6.171 | 235.267 | 6.037 | 235.333 | -3.237 | 890.033 | 65.152 | 14.0301
2020-10-26 07:15:00 | 5.598 | 211.407 | 7.987 | 214.235 | 7.417 | 219.433 | 6.618 | 214.833 | -4.06 | 889.775 | 68.427 | 17.2
2020-10-26 07:30:00 | 6.407 | 210.933 | 6.863 | 210.421 | 6.813 | 211.3 | 6.756 | 208.233 | -3.488 | 889.775 | 69.013 | 19.2606
2020-10-26 07:45:00 | 6.479 | 211.587 | 7.514 | 210.393 | 7.192 | 211.967 | 6.707 | 207.567 | -2.882 | 890.283 | 68.224 | 20.998
2020-10-26 08:00:00 | 6.395 | 212.8 | 7.495 | 212.412 | 7.16 | 212.9 | 6.594 | 211.733 | -3.522 | 889.533 | 69.909 | 21.6566
2020-10-26 08:15:00 | 5.739 | 217.167 | 7.33 | 214.893 | 7.057 | 217.533 | 6.719 | 214.967 | -3.756 | 890.167 | 70.389 | 17.7308
2020-10-26 08:30:00 | 5.489 | 217.267 | 6.504 | 219.004 | 6.344 | 224.267 | 5.9 | 221.2 | -3.154 | 889.867 | 67.883 | 15.0747
2020-10-26 08:45:00 | 5.956 | 219.78 | 7.357 | 213.54 | 6.945 | 215.667 | 6.601 | 212.567 | -2.177 | 890.208 | 63.083 | 16.9079
2020-10-26 09:00:00 | 5.599 | 216.027 | 7.409 | 212.9 | 7.016 | 213.967 | 6.673 | 210.433 | -0.848 | 890.125 | 53.451 | 16.4986
2020-10-26 09:15:00 | 4.668 | 203.647 | 5.945 | 202.998 | 6.865 | 210.3 | 6.426 | 204.767 | 0.1 | 889.617 | 50.827 | 16.3629
2020-10-26 09:30:00 | 5.022 | 207.927 | 5.91 | 206.587 | 6.042 | 208.967 | 5.975 | 205.533 | 1.199 | 889.858 | 47.904 | 14.131
2020-10-26 09:45:00 | 4.398 | 214.007 | 5.039 | 212.504 | 5.777 | 214 | 5.409 | 208.533 | 2.464 | 889.875 | 44.64 | 10.559
2020-10-26 10:00:00 | 4.1 | 211.88 | 4.116 | 211.877 | 4.367 | 213.7 | 4.502 | 211.1 | 3.628 | 889.908 | 40.635 | 8.0116
2020-10-26 10:15:00 | 4.294 | 220.58 | 4.253 | 216.872 | 4.359 | 218.433 | 4.454 | 212.333 | 4.147 | 890.167 | 36.821 | 4.9775
2020-10-26 10:30:00 | 3.552 | 221.833 | 3.59 | 220.392 | 3.657 | 223.933 | 3.727 | 218.367 | 5.316 | 889.267 | 32.976 | 2.3157
2020-10-26 10:45:00 | 3.341 | 226.027 | 3.536 | 223.77 | 3.725 | 228.3 | 3.642 | 223.033 | 6.041 | 889.65 | 29.44 | 1.1895
2020-10-26 11:00:00 | 2.411 | 246.58 | 2.541 | 235.64 | 2.958 | 241.933 | 3.153 | 232.783 | 6.989 | 890.117 | 26.837 | 0.33894
2020-10-26 11:15:00 | 1.633 | 267.38 | 1.523 | 265.51 | 1.627 | 270.567 | 2.178 | 266.217 | 6.754 | 889.617 | 24.819 | 0.18759
2020-10-26 11:30:00 | 3.317 | 276.18 | 3.427 | 270.613 | 3.476 | 274.133 | 3.533 | 270.933 | 6.562 | 890.017 | 23.2 | 0.32402
2020-10-26 11:45:00 | 2.973 | 302.133 | 2.976 | 299.842 | 3.271 | 304.3 | 3.515 | 303.967 | 6.061 | 890.183 | 24.336 | 0.61251
2020-10-26 12:00:00 | 3.4 | 339.28 | 3.308 | 327.547 | 3.499 | 325.533 | 3.542 | 320.967 | 6.513 | 889.783 | 25.269 | 1.0005
2020-10-26 12:15:00 | 2.457 | 264.707 | 2.567 | 267.135 | 2.969 | 267.233 | 2.95 | 269.117 | 7.239 | 889.683 | 23.584 | 0.86973
2020-10-26 12:30:00 | 0.963 | 291.58 | 1.49 | 249.802 | 1.761 | 302.05 | 2.075 | 300.633 | 7.289 | 889.8 | 23.64 | 0.42847
2020-10-26 12:45:00 | 2.942 | 309.92 | 3.121 | 312.593 | 3.516 | 313 | 3.789 | 308.767 | 7.596 | 889.4 | 21.829 | 0.18972
2020-10-26 13:00:00 | 2.978 | 290.193 | 3.184 | 288.529 | 3.455 | 297.567 | 3.307 | 296.567 | 7.622 | 889.15 | 20.3 | 0.11014
2020-10-26 13:15:00 | 3.555 | 302.533 | 3.587 | 290.915 | 3.581 | 293.8 | 3.598 | 291.5 | 8.574 | 889.267 | 18.68 | 0.10019
2020-10-26 13:30:00 | 2.326 | 204.213 | 1.906 | 206.133 | 2.153 | 221.338 | 2.406 | 204.417 | 9.822 | 889.4 | 18.604 | 0.1073
2020-10-26 13:45:00 | 3.572 | 316.533 | 3.202 | 313.179 | 3.39 | 312.5 | 3.818 | 303.367 | 8.824 | 889.4 | 17.415 | 0.068214
2020-10-26 14:00:00 | 1.386 | 297.373 | 1.52 | 296.758 | 1.991 | 287.5 | 2.342 | 286.55 | 9.308 | 889.1 | 16.963 | 0.084558
2020-10-26 14:15:00 | 2.49 | 291.467 | 2.794 | 294.659 | 2.913 | 293 | 3.135 | 290.867 | 9.254 | 889.367 | 15.852 | 0.29489
2020-10-26 14:30:00 | 2.502 | 304.32 | 2.7 | 319.408 | 3.103 | 330.9 | 3.454 | 292.2 | 8.999 | 889.5 | 16.429 | 0.17764
2020-10-26 14:45:00 | 3.287 | 327.667 | 3.204 | 319.395 | 3.353 | 322.567 | 3.624 | 324.367 | 9.32 | 889.567 | 16.42 | 0.5919
2020-10-26 15:00:00 | 1.887 | 262.545 | 1.62 | 268.589 | 1.917 | 324.867 | 2.218 | 334.667 | 8.912 | 889.733 | 18.063 | 0.97277
2020-10-26 15:15:00 | 2.836 | 201.127 | 3.162 | 288.496 | 3.362 | 290.633 | 3.589 | 277.4 | 9.662 | 889.6 | 17.137 | 0.40929
2020-10-26 15:30:00 | 3.188 | 244.56 | 3.238 | 275.682 | 3.719 | 287.233 | 4.2 | 323.033 | 10.018 | 889.5 | 16.507 | 0.65727
2020-10-26 15:45:00 | 3.14 | 62.093 | 3.109 | 62.018 | 3.452 | 14.167 | 3.628 | 42.001 | 9.474 | 889.267 | 16.911 | 0.45618
2020-10-26 16:00:00 | 3.894 | 322.56 | 3.764 | 315.947 | 3.865 | 321.167 | 4.059 | 318.267 | 9.858 | 889.6 | 16.539 | 0.61322
2020-10-26 16:15:00 | 2.413 | 299.533 | 2.284 | 306.418 | 2.464 | 282.367 | 2.806 | 280.4 | 9.776 | 889.633 | 16.599 | 0.35386
2020-10-26 16:30:00 | 2.72 | 100.309 | 2.371 | 80.449 | 2.538 | 103.733 | 2.79 | 96.667 | 9.804 | 889.467 | 16.376 | 0.18475
2020-10-26 16:45:00 | 2.886 | 221.233 | 2.841 | 231.294 | 2.858 | 220.367 | 2.983 | 345.9 | 9.735 | 889.5 | 15.949 | 0.36452
2020-10-26 17:00:00 | 3.412 | 274.48 | 3.332 | 330.822 | 3.282 | 342.733 | 3.498 | 338.867 | 9.516 | 889.7 | 15.955 | 0.47892
2020-10-26 17:15:00 | 2.711 | 301.88 | 2.508 | 298.713 | 2.774 | 302.933 | 2.963 | 302.267 | 9.704 | 889 | 15.941 | 0.18119
2020-10-26 17:30:00 | 1.618 | 243.539 | 1.528 | 224.164 | 1.63 | 221.439 | 2.08 | 228.3 | 9.437 | 889.333 | 16.997 | 0.41071
2020-10-26 17:45:00 | 2.842 | 292.76 | 2.786 | 336.116 | 2.821 | 291.733 | 2.924 | 268.3 | 9.224 | 889.5 | 19.592 | 0.16201
2020-10-26 18:00:00 | 2.307 | 283.52 | 2.022 | 344.65 | 2.086 | 348.167 | 2.265 | 347.833 | 9.008 | 889.267 | 20.304 | 0.25509
2020-10-26 18:15:00 | 2.884 | 10.624 | 2.615 | 8.259 | 2.909 | 9.567 | 2.773 | 7.667 | 8.612 | 889.833 | 21.451 | 0.2018
2020-10-26 18:30:00 | 2.519 | 16.06 | 2.618 | 9.933 | 2.57 | 9.567 | 2.367 | 4.133 | 8.15 | 889.45 | 22.021 | 0.099479
2020-10-26 18:45:00 | 2.252 | 28.088 | 2.131 | 22.222 | 2.214 | 25.867 | 2.506 | 21.333 | 7.813 | 889.683 | 23.515 | 0.15632
2020-10-26 19:00:00 | 1.881 | 36.061 | 2.138 | 21.405 | 2.462 | 20.333 | 2.562 | 17.033 | 7.206 | 889.533 | 24.101 | 0.16059
2020-10-26 19:15:00 | 1.465 | 41.15 | 1.533 | 20.736 | 1.782 | 21.667 | 2.173 | 18.067 | 7.039 | 889.817 | 24.763 | 0.21814
2020-10-26 19:30:00 | 1.367 | 41.13 | 2.348 | 23.075 | 2.385 | 28 | 2.531 | 18.067 | 6.668 | 890.35 | 25.397 | 0.16769
2020-10-26 19:45:00 | 0.828 | 127.813 | 0.534 | 46.712 | 1.98 | 29.967 | 2.555 | 20 | 6.147 | 889.633 | 25.648 | 0.17267
2020-10-26 20:00:00 | 0.829 | 130.003 | 0 | 54.117 | 0.786 | 38 | 1.725 | 20.9 | 5.971 | 889.733 | 25.925 | 0.17906
2020-10-26 20:15:00 | 0.243 | 133.753 | 0 | 54.13 | 0 | 37.9 | 1.084 | 21 | 5.806 | 889.967 | 26.197 | 0.17196
2020-10-26 20:30:00 | 2.392 | 172.3 | 0.805 | 140.356 | 0 | 37.867 | 0 | 21 | 5.398 | 889.9 | 26.571 | 0.17196
2020-10-26 20:45:00 | 1.923 | 195.607 | 0 | 140.483 | 0 | 38 | 0 | 21 | 5.402 | 889.483 | 26.811 | 0.1748
2020-10-26 21:00:00 | 3.018 | 194.113 | 0.741 | 151.494 | 0 | 59.433 | 0.518 | 20.9 | 4.809 | 889.65 | 27.285 | 0.20464
2020-10-26 21:15:00 | 4.45 | 191.64 | 3.114 | 175.402 | 2.117 | 175.667 | 1.859 | 110.133 | 3.659 | 889.933 | 27.232 | 0.22738
2020-10-26 21:30:00 | 3.478 | 192.633 | 2.221 | 169.339 | 2.095 | 161.667 | 2.142 | 135 | 3.321 | 889.65 | 29.008 | 0.24017
2020-10-26 21:45:00 | 3.52 | 203.3 | 2.269 | 172.748 | 2.048 | 161.633 | 2.074 | 141.033 | 3.338 | 889.683 | 28.736 | 0.23449
2020-10-26 22:00:00 | 4.122 | 200.847 | 3.055 | 165.587 | 2.514 | 157.533 | 2.369 | 151 | 2.668 | 889.45 | 29.36 | 0.25438
2020-10-26 22:15:00 | 4.254 | 197.3 | 3.386 | 165.505 | 3.022 | 159.667 | 2.874 | 150.867 | 2.7 | 889.833 | 30.272 | 0.2622
2020-10-26 22:30:00 | 3.75 | 199.96 | 3.116 | 165.37 | 2.865 | 158.6 | 2.77 | 149.833 | 1.946 | 890.15 | 30.901 | 0.10872
2020-10-26 22:45:00 | 4.611 | 208.467 | 3.453 | 171.256 | 2.884 | 168.067 | 2.917 | 156.3 | 1.015 | 890.15 | 31.483 | 0.11582
2020-10-26 23:00:00 | 3.523 | 205.667 | 1.743 | 155.206 | 2.161 | 148.033 | 2.422 | 143.8 | 2.32 | 890.033 | 31.6 | 0.2423
2020-10-26 23:15:00 | 4.8 | 210.893 | 3.129 | 179.835 | 2.901 | 172.633 | 2.754 | 161.567 | 0.093 | 889.317 | 33.781 | 0.22951
2020-10-26 23:30:00 | 5.65 | 215.22 | 4.078 | 186.562 | 3.418 | 181 | 3.24 | 169.033 | -0.552 | 889.95 | 33.936 | 0.19967
2020-10-26 23:45:00 | 5.247 | 216.94 | 3.06 | 182.072 | 2.055 | 174.433 | 1.74 | 166 | -1.503 | 889.95 | 35.168 | 0.27712