## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-27 00:00:00 | 4.777 | 214.327 | 2.468 | 179.54 | 1.627 | 177.067 | 2.057 | 167.533 | 0.246 | 889.667 | 34.757 | 0.25936
2020-10-27 00:15:00 | 4.234 | 208.88 | 2.348 | 159.481 | 2.3 | 145.767 | 2.562 | 132.4 | -1.382 | 889.95 | 37.099 | 0.24372
2020-10-27 00:30:00 | 3.507 | 194.44 | 2.282 | 129.206 | 2.582 | 117 | 3.153 | 109.067 | -0.582 | 889.667 | 37.307 | 0.24728
2020-10-27 00:45:00 | 2.459 | 197.707 | 1.998 | 121.596 | 2.622 | 105.667 | 2.926 | 93.767 | 0.399 | 889.8 | 33.728 | 0.081715
2020-10-27 01:00:00 | 2.652 | 212.12 | 1.173 | 106.637 | 2.459 | 94.267 | 2.992 | 86 | 1.539 | 889.45 | 30.688 | 0.20251
2020-10-27 01:15:00 | 2.648 | 209.1 | 1.13 | 144.561 | 1.5 | 109.567 | 2.506 | 102.1 | 1.9 | 889.833 | 27.312 | 0.082426
2020-10-27 01:30:00 | 3.339 | 222.68 | 1.014 | 151.284 | 1.306 | 138.567 | 2.458 | 114.967 | 1.742 | 889.883 | 25.323 | 0.14069
2020-10-27 01:45:00 | 4.269 | 215.307 | 1.463 | 209.317 | 1.121 | 168.133 | 2.196 | 137.7 | -1.566 | 889.5 | 25.701 | 0.1009
2020-10-27 02:00:00 | 4.675 | 210.66 | 3.064 | 190.113 | 2.223 | 191.767 | 2.723 | 170.067 | -0.546 | 889.85 | 23.963 | 0.12293
2020-10-27 02:15:00 | 4.301 | 209.66 | 2.922 | 160.345 | 2.374 | 130.633 | 2.617 | 113.3 | -1.199 | 889.983 | 24.688 | 0.22099
2020-10-27 02:30:00 | 4.376 | 201.593 | 2.638 | 156.443 | 2.668 | 123.033 | 3.25 | 106.3 | -0.182 | 889.717 | 25.152 | 0.22028
2020-10-27 02:45:00 | 3.739 | 195.727 | 2.37 | 146.652 | 2.69 | 123.633 | 3.084 | 107.867 | 1.289 | 889.9 | 22.517 | 0.086689
2020-10-27 03:00:00 | 3.641 | 194.653 | 2.194 | 134.996 | 2.698 | 117.867 | 3.128 | 105.633 | 0.615 | 889.65 | 23.072 | 0.19398
2020-10-27 03:15:00 | 4.377 | 195.567 | 3.591 | 140.883 | 3.343 | 133.167 | 3.323 | 123.433 | -0.642 | 889.85 | 24.501 | 1.5632
2020-10-27 03:30:00 | 4.741 | 189.8 | 3.907 | 143.816 | 3.734 | 136 | 3.884 | 129.933 | -1.7 | 889.467 | 26.539 | 2.3605
2020-10-27 03:45:00 | 4.292 | 176.507 | 3.72 | 144.121 | 3.756 | 141.667 | 3.812 | 135.267 | 1.232 | 889.817 | 27.504 | 2.3449
2020-10-27 04:00:00 | 3.885 | 193.193 | 2.905 | 146.3 | 2.979 | 140.533 | 3.479 | 133.7 | -0.688 | 889.617 | 27.461 | 1.4247
2020-10-27 04:15:00 | 4.043 | 196.873 | 2.037 | 166.295 | 2.24 | 152.5 | 2.707 | 141.533 | -0.11 | 889.733 | 25.723 | 0.2487
2020-10-27 04:30:00 | 4.318 | 199.433 | 1.941 | 168.775 | 2.186 | 154.967 | 2.754 | 138 | 0.382 | 889.383 | 25.003 | 0.1414
2020-10-27 04:45:00 | 3.503 | 201.153 | 1.255 | 169.309 | 0.806 | 151 | 1.954 | 137.367 | 0.765 | 889.783 | 23.547 | 0.33397
2020-10-27 05:00:00 | 3.582 | 199.287 | 1.18 | 178.491 | 0.183 | 151 | 1.612 | 137.667 | 1.165 | 889.567 | 22.864 | 0.27144
2020-10-27 05:15:00 | 2.608 | 181.373 | 1.339 | 150.534 | 1.586 | 137.933 | 2.536 | 116.567 | 1.439 | 889.833 | 23.355 | 0.26717
2020-10-27 05:30:00 | 2.511 | 203.18 | 1.017 | 138.54 | 1.471 | 122.433 | 2.487 | 108.9 | 1.609 | 889.467 | 22.677 | 0.2757
2020-10-27 05:45:00 | 2.598 | 212.013 | 0 | 135.495 | 0.897 | 121.167 | 1.686 | 107 | 1.292 | 889.833 | 22.912 | 0.28565
2020-10-27 06:00:00 | 2.838 | 200.493 | 1.646 | 172.553 | 1.354 | 134.533 | 2.121 | 109.9 | 1.312 | 889.467 | 22.411 | 0.27286
2020-10-27 06:15:00 | 3.633 | 201.527 | 2.188 | 152.862 | 1.704 | 134.333 | 1.845 | 110 | 1.543 | 889.817 | 22.336 | 0.29133
2020-10-27 06:30:00 | 4.612 | 196.473 | 2.717 | 150.101 | 2.429 | 140.533 | 2.539 | 128.533 | -0.918 | 889.7 | 25.461 | 0.29702
2020-10-27 06:45:00 | 5.643 | 197.26 | 3.196 | 165.668 | 3.066 | 160.767 | 3.405 | 152.1 | -0.136 | 889.95 | 25.552 | 0.21885
2020-10-27 07:00:00 | 5.509 | 204.947 | 3.948 | 170.151 | 3.506 | 165.033 | 3.904 | 151.2 | -2.637 | 889.483 | 27.285 | 1.3671
2020-10-27 07:15:00 | 4.929 | 203.46 | 3.093 | 167.478 | 2.272 | 164.1 | 2.775 | 150.567 | -1.72 | 889.75 | 27.136 | 1.2051
2020-10-27 07:30:00 | 4.649 | 210.413 | 2.329 | 171.89 | 1.75 | 155.867 | 2.404 | 148 | -1.205 | 889.8 | 25.429 | 0.26504
2020-10-27 07:45:00 | 4.563 | 215.213 | 1.941 | 180.964 | 0.577 | 160 | 1.272 | 147.967 | -1.76 | 889.6 | 27.019 | 0.28849
2020-10-27 08:00:00 | 4.663 | 213.933 | 1.768 | 183.856 | 0.203 | 165 | 1.123 | 148.033 | -0.578 | 889.35 | 25.467 | 0.26859
2020-10-27 08:15:00 | 3.942 | 209.493 | 1.451 | 166.954 | 0 | 154 | 1.148 | 148.033 | 0.432 | 889.8 | 24.064 | 0.27996
2020-10-27 08:30:00 | 3.261 | 211.84 | 0.186 | 139.959 | 0.806 | 103 | 2.147 | 102.1 | 0.848 | 890.15 | 23.989 | 0.27854
2020-10-27 08:45:00 | 2.073 | 193.247 | 1.083 | 91.229 | 2.258 | 80.1 | 3.186 | 71.267 | 1.66 | 889.517 | 23.232 | 0.30128
2020-10-27 09:00:00 | 1.466 | 168.107 | 0.983 | 102.836 | 2.095 | 84.033 | 2.731 | 86.767 | 2.676 | 889.933 | 22.853 | 0.2757
2020-10-27 09:15:00 | 1.226 | 192.4 | 0.516 | 87.489 | 2.13 | 65.867 | 3.088 | 62.6 | 3.387 | 889.65 | 21.925 | 0.13145
2020-10-27 09:30:00 | 1.163 | 99.683 | 1.813 | 66.094 | 2.665 | 68.267 | 3.201 | 69.633 | 3.688 | 889.4 | 21.195 | 0.14069
2020-10-27 09:45:00 | 1.692 | 117.777 | 1.901 | 93.762 | 2.026 | 91.033 | 2.509 | 89.2 | 3.217 | 889.6 | 21.771 | 0.52866
2020-10-27 10:00:00 | 0.9 | 117.193 | 0.746 | 98.728 | 0.733 | 96.6 | 1.656 | 86.8 | 3.898 | 889.767 | 21.413 | 0.88537
2020-10-27 10:15:00 | 2.496 | 99.02 | 2.18 | 98.034 | 1.854 | 102.533 | 2.052 | 99.733 | 4.127 | 889.617 | 20.869 | 1.122
2020-10-27 10:30:00 | 2.552 | 119.88 | 2.459 | 112.416 | 2.659 | 113.3 | 3.488 | 108.9 | 4.769 | 889.483 | 20.397 | 2.2909
2020-10-27 10:45:00 | 4.34 | 115.897 | 4.324 | 111.934 | 4.474 | 112.267 | 4.564 | 104.567 | 5.73 | 889.75 | 21.707 | 3.9728
2020-10-27 11:00:00 | 5.761 | 107.237 | 5.197 | 101.652 | 5.012 | 103.367 | 5.342 | 99.333 | 5.865 | 889.783 | 22.411 | 9.7333
2020-10-27 11:15:00 | 5.246 | 102.233 | 4.994 | 96.238 | 4.638 | 97.433 | 4.964 | 92.167 | 6.062 | 889.933 | 22.843 | 14.4558
2020-10-27 11:30:00 | 6.344 | 102.37 | 5.873 | 100.09 | 5.915 | 104.9 | 6.432 | 99.033 | 6.363 | 889.65 | 23.195 | 19.7445
2020-10-27 11:45:00 | 6.357 | 104.333 | 6.446 | 101.566 | 6.599 | 106.467 | 6.544 | 103.767 | 6.492 | 889.35 | 23.061 | 20.2227
2020-10-27 12:00:00 | 5.949 | 100.59 | 6.313 | 96.009 | 6.218 | 101.233 | 6.258 | 99.167 | 7.416 | 889.683 | 22.805 | 20.9056
2020-10-27 12:15:00 | 5.73 | 107.423 | 5.371 | 99.272 | 5.428 | 100.1 | 5.65 | 96.567 | 7.599 | 889.533 | 22.032 | 26.0607
2020-10-27 12:30:00 | 7.201 | 98.673 | 6.73 | 96.662 | 6.691 | 101.867 | 6.787 | 96.6 | 7.916 | 889.55 | 21.008 | 28.4802
2020-10-27 12:45:00 | 6.321 | 88.59 | 6.204 | 86.327 | 6.221 | 91.367 | 6.431 | 89.8 | 8.284 | 889.4 | 20.419 | 30.5885
2020-10-27 13:00:00 | 6.816 | 84.775 | 7.039 | 78.241 | 7.316 | 82.667 | 7.453 | 79.267 | 8.143 | 889.45 | 21.371 | 31.9229
2020-10-27 13:15:00 | 8.115 | 78.43 | 7.789 | 74.6 | 7.946 | 79.367 | 8.059 | 76.533 | 8.357 | 889.883 | 22.101 | 25.4326
2020-10-27 13:30:00 | 7.234 | 88.027 | 7.184 | 84.111 | 7.481 | 85.433 | 7.678 | 82.3 | 8.949 | 889.65 | 20.008 | 16.164
2020-10-27 13:45:00 | 7.526 | 81.853 | 7.297 | 76.273 | 7.949 | 79.267 | 8.245 | 77.033 | 9.141 | 889.817 | 20.051 | 16.2592
2020-10-27 14:00:00 | 7.676 | 88.447 | 7.124 | 85.374 | 6.782 | 92.567 | 7.025 | 86.133 | 8.974 | 889.9 | 20.632 | 16.2457
2020-10-27 14:15:00 | 6.83 | 87.567 | 6.326 | 82.688 | 6.347 | 88.633 | 6.725 | 84.5 | 8.758 | 889.167 | 20.349 | 18.1195
2020-10-27 14:30:00 | 6.692 | 84.303 | 6.782 | 78.36 | 7.153 | 81.933 | 7.246 | 76.9 | 9.404 | 889.8 | 19.859 | 19.0311
2020-10-27 14:45:00 | 5.438 | 85.567 | 5.421 | 81.186 | 5.499 | 84.467 | 5.845 | 81.733 | 9.204 | 889.533 | 19.549 | 15.6971
2020-10-27 15:00:00 | 7.393 | 86.753 | 6.849 | 83.726 | 6.519 | 85.8 | 6.882 | 88.033 | 9.504 | 889.567 | 19.16 | 15.4747
2020-10-27 15:15:00 | 7.519 | 88.813 | 7.115 | 87.033 | 6.946 | 93.7 | 7.03 | 86.867 | 10.099 | 889.333 | 18.952 | 15.3987
2020-10-27 15:30:00 | 7.061 | 91.733 | 6.221 | 87.41 | 6.031 | 90.8 | 6.348 | 87.2 | 9.616 | 889.267 | 18.563 | 18.1294
2020-10-27 15:45:00 | 6.395 | 91.033 | 6.257 | 85.006 | 5.985 | 91.6 | 5.808 | 86 | 9.849 | 889.133 | 18.363 | 16.4027
2020-10-27 16:00:00 | 7.061 | 87.657 | 6.878 | 79.921 | 7.066 | 85.8 | 7.344 | 79.9 | 10.135 | 889.5 | 18.4 | 14.686
2020-10-27 16:15:00 | 5.922 | 79.16 | 6.002 | 75.718 | 6.311 | 81.567 | 6.417 | 79.5 | 9.978 | 889.833 | 18.317 | 14.9404
2020-10-27 16:30:00 | 7.317 | 76.547 | 7.372 | 74.06 | 7.566 | 78.4 | 7.595 | 75.067 | 10.016 | 889.433 | 17.877 | 14.8942
2020-10-27 16:45:00 | 6.976 | 79.123 | 6.983 | 75.369 | 7.42 | 78.633 | 7.592 | 74.567 | 10.135 | 889.867 | 17.683 | 15.1919
2020-10-27 17:00:00 | 7.129 | 76.613 | 7.028 | 72.812 | 7.434 | 77.033 | 7.628 | 75.033 | 9.999 | 889.133 | 17.867 | 18.5309
2020-10-27 17:15:00 | 7.734 | 80.233 | 7.485 | 77.986 | 7.58 | 82.833 | 7.586 | 78.567 | 9.633 | 889.7 | 17.219 | 19.0986
2020-10-27 17:30:00 | 7.131 | 78.747 | 7.389 | 74.255 | 7.622 | 79.233 | 7.693 | 74.533 | 9.574 | 889.533 | 16.653 | 20.7962
2020-10-27 17:45:00 | 5.855 | 79.673 | 6.113 | 74.785 | 6.293 | 78.433 | 6.536 | 73.633 | 9.337 | 889.667 | 16.651 | 28.9947
2020-10-27 18:00:00 | 5.529 | 75.787 | 5.733 | 73.858 | 6.282 | 76.267 | 6.594 | 73.7 | 9.02 | 889.767 | 16.867 | 20.8445
2020-10-27 18:15:00 | 4.161 | 67.432 | 4.243 | 64.399 | 4.629 | 70.067 | 4.791 | 68.667 | 8.688 | 889.667 | 17.019 | 14.8587
2020-10-27 18:30:00 | 3.939 | 69.347 | 4.092 | 67.326 | 4.518 | 72 | 4.993 | 69.867 | 7.97 | 889.2 | 17.96 | 10.5498
2020-10-27 18:45:00 | 3.143 | 58.47 | 3.53 | 60.095 | 3.586 | 63.567 | 3.839 | 62.667 | 7.456 | 889.467 | 18.856 | 8.4692
2020-10-27 19:00:00 | 2.446 | 52.56 | 2.919 | 53.529 | 3.218 | 61.933 | 3.694 | 59.7 | 6.589 | 889.333 | 20.037 | 6.1805
2020-10-27 19:15:00 | 0.386 | 14.804 | 1.336 | 48.285 | 1.794 | 56.4 | 2.19 | 61.033 | 6.138 | 889.417 | 20.923 | 2.3321
2020-10-27 19:30:00 | 0.32 | 19.402 | 1.257 | 42.568 | 1.681 | 52.5 | 1.901 | 53.233 | 5.392 | 889.8 | 22.144 | 0.30057
2020-10-27 19:45:00 | 0.034 | 356.707 | 1.07 | 31.568 | 1.723 | 49.967 | 1.889 | 54 | 5.607 | 889.483 | 22.523 | 0.23875
2020-10-27 20:00:00 | 0 | 356.64 | 0 | 37.132 | 0.908 | 51 | 1.479 | 54 | 5.508 | 889.8 | 23.003 | 0.19612
2020-10-27 20:15:00 | 1.243 | 315.4 | 1.802 | 26.649 | 1.47 | 42.533 | 1.886 | 53.5 | 5.495 | 889.533 | 23.259 | 0.1947
2020-10-27 20:30:00 | 1.47 | 100.73 | 1.246 | 33.158 | 1.649 | 35.515 | 1.925 | 52.467 | 5.339 | 889.65 | 23.109 | 0.20535
2020-10-27 20:45:00 | 1.883 | 279.387 | 0.107 | 311.858 | 0.273 | 324.633 | 0.953 | 18 | 5.031 | 889.883 | 23.333 | 0.23733
2020-10-27 21:00:00 | 3.668 | 248.22 | 1.417 | 260.162 | 0.89 | 279 | 0.9 | 1.202 | 4.032 | 889.983 | 23.091 | 0.20606
2020-10-27 21:15:00 | 3.444 | 251.64 | 1.426 | 255.513 | 0.984 | 278 | 0.678 | 0 | 3.809 | 889.717 | 23.621 | 0.21459
2020-10-27 21:30:00 | 3.416 | 246.993 | 1.803 | 268.213 | 0.443 | 278.133 | 0 | 0 | 4.122 | 889.733 | 23.395 | 0.2217
2020-10-27 21:45:00 | 4.022 | 242.1 | 2.327 | 253.44 | 1.63 | 257.933 | 1.067 | 311.767 | 3.472 | 889.883 | 23.979 | 0.22596
2020-10-27 22:00:00 | 4.467 | 237.067 | 2.72 | 252.434 | 2.006 | 260 | 1.623 | 289 | 2.245 | 889.583 | 23.915 | 0.20322
2020-10-27 22:15:00 | 4.954 | 233.087 | 2.57 | 256.175 | 2.094 | 260 | 1.892 | 283 | 2.704 | 889.7 | 24.264 | 0.093084
2020-10-27 22:30:00 | 4.578 | 240.06 | 2.858 | 253.074 | 2.529 | 260 | 2.372 | 265 | 2.689 | 889.65 | 24.667 | 0.23307
2020-10-27 22:45:00 | 3.268 | 235.62 | 1.317 | 278.36 | 0.66 | 277.867 | 1.279 | 270 | 2.214 | 890.067 | 25.845 | 0.27428
2020-10-27 23:00:00 | 3.496 | 193.767 | 0.822 | 217.928 | 0.073 | 228 | 0 | 270 | 1.895 | 889.867 | 26.203 | 0.23164
2020-10-27 23:15:00 | 2.209 | 174.067 | 0.273 | 134.882 | 0.5 | 171.433 | 1.137 | 268 | 2.724 | 890.017 | 28.64 | 0.24159
2020-10-27 23:30:00 | 3.592 | 158.173 | 1.87 | 142.254 | 2.358 | 138.433 | 2.217 | 108.733 | 4.174 | 889.85 | 24.773 | 0.30839
2020-10-27 23:45:00 | 4.343 | 163.7 | 3.1 | 137.902 | 2.547 | 140.9 | 2.587 | 125.133 | 3.539 | 889.483 | 24.496 | 0.28494