## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-28 00:00:00 | 3.856 | 159.5 | 3.879 | 120.392 | 3.72 | 112.633 | 3.567 | 100.033 | 3.572 | 889.767 | 25.877 | 3.7454
2020-10-28 00:15:00 | 4.053 | 130.67 | 4.498 | 110.013 | 4.341 | 109.067 | 4.579 | 102.1 | 4.487 | 889.567 | 24.843 | 8.131
2020-10-28 00:30:00 | 4.606 | 114.21 | 4.416 | 99.28 | 3.602 | 97.633 | 3.407 | 93.933 | 5.988 | 889.683 | 22.725 | 13.7026
2020-10-28 00:45:00 | 4.126 | 119.837 | 4.608 | 105.901 | 4.224 | 108.233 | 4.491 | 102.567 | 5.825 | 890.133 | 22.747 | 14.3243
2020-10-28 01:00:00 | 2.217 | 166.147 | 3.193 | 120.868 | 3.216 | 116 | 3.619 | 107 | 4.195 | 889.1 | 24.384 | 8.9972
2020-10-28 01:15:00 | 3.024 | 146.433 | 3.455 | 118.615 | 3.791 | 117.233 | 4.155 | 111.967 | 4.802 | 889.717 | 24.251 | 4.6521
2020-10-28 01:30:00 | 2.671 | 165.093 | 2.676 | 119.791 | 2.906 | 110.767 | 3.259 | 100.2 | 4.864 | 889.583 | 24.555 | 2.6909
2020-10-28 01:45:00 | 2.493 | 161.587 | 2.649 | 120.379 | 2.715 | 111.1 | 2.795 | 95.633 | 5.326 | 890.15 | 23.941 | 1.2904
2020-10-28 02:00:00 | 3.519 | 145.053 | 3.76 | 130.138 | 3.514 | 125.9 | 4.059 | 109.8 | 5.478 | 889.517 | 23.157 | 2.8309
2020-10-28 02:15:00 | 3.49 | 123.92 | 3.522 | 113.5 | 3.649 | 111.7 | 4.122 | 100.9 | 6.038 | 889.983 | 22.261 | 3.555
2020-10-28 02:30:00 | 3.668 | 137.273 | 3.648 | 125.462 | 3.768 | 125.233 | 4.3 | 118.467 | 6.18 | 889.517 | 21.84 | 4.6791
2020-10-28 02:45:00 | 3.36 | 145.867 | 3.286 | 124.895 | 3.496 | 122.867 | 3.968 | 115.733 | 5.663 | 889.817 | 22.219 | 5.3776
2020-10-28 03:00:00 | 3.56 | 156.5 | 3.936 | 123.608 | 4.007 | 119.833 | 4.469 | 114.567 | 4.735 | 889.633 | 22.523 | 5.3911
2020-10-28 03:15:00 | 3.65 | 150.533 | 3.809 | 124.946 | 3.935 | 124.8 | 4.315 | 118.733 | 4.869 | 889.917 | 23.003 | 4.5981
2020-10-28 03:30:00 | 4.218 | 155.213 | 4.364 | 125.966 | 4.471 | 125.9 | 4.589 | 120.633 | 4.709 | 889.883 | 22.699 | 5.6604
2020-10-28 03:45:00 | 4.691 | 153.16 | 4.485 | 130.371 | 4.283 | 129.233 | 4.588 | 123.9 | 4.102 | 890 | 24.123 | 7.5491
2020-10-28 04:00:00 | 4.518 | 128.217 | 4.894 | 117.353 | 5.287 | 119 | 5.609 | 113.767 | 6.204 | 890.05 | 22.021 | 10.1945
2020-10-28 04:15:00 | 4.067 | 147.56 | 4.59 | 123.932 | 4.658 | 126.833 | 5.387 | 121.867 | 4.6 | 890.017 | 22.725 | 13.1064
2020-10-28 04:30:00 | 3.734 | 161.727 | 4.076 | 130.719 | 3.814 | 128.933 | 4.234 | 121.833 | 4.186 | 890.017 | 24.224 | 9.0079
2020-10-28 04:45:00 | 4.254 | 125.373 | 4.461 | 113.721 | 4.397 | 113.767 | 4.535 | 106.4 | 5.74 | 889.867 | 23.232 | 7.6365
2020-10-28 05:00:00 | 4.237 | 139.01 | 4.528 | 118.363 | 4.645 | 116.1 | 4.899 | 108.967 | 5.432 | 889.533 | 21.909 | 8.4664
2020-10-28 05:15:00 | 2.998 | 136.023 | 3.427 | 107.684 | 3.042 | 106.2 | 3.299 | 99.967 | 4.023 | 890 | 24.165 | 7.5178
2020-10-28 05:30:00 | 3.501 | 125.18 | 3.49 | 105.47 | 2.632 | 101.533 | 2.836 | 90 | 5.274 | 889.367 | 23.253 | 6.3887
2020-10-28 05:45:00 | 3.929 | 140.023 | 4.309 | 123.726 | 4.299 | 122.033 | 4.614 | 113.5 | 4.912 | 889.517 | 23.296 | 5.9524
2020-10-28 06:00:00 | 4.755 | 127.873 | 4.792 | 118.43 | 4.848 | 119.6 | 5.473 | 114.633 | 5.031 | 889.367 | 23.285 | 6.7923
2020-10-28 06:15:00 | 4.473 | 137.56 | 4.517 | 118.923 | 4.673 | 118.933 | 5.051 | 113.1 | 4.574 | 889.583 | 23.392 | 8.0976
2020-10-28 06:30:00 | 3.717 | 132.483 | 3.915 | 113.321 | 3.75 | 114.933 | 4.081 | 108.1 | 4.935 | 889.783 | 23.003 | 6.8627
2020-10-28 06:45:00 | 3.734 | 131.6 | 3.839 | 109.823 | 3.726 | 109.433 | 4.115 | 104.833 | 4.159 | 889.7 | 24.245 | 5.2049
2020-10-28 07:00:00 | 3.501 | 114.953 | 2.441 | 96.088 | 1.959 | 97.8 | 2.424 | 86.2 | 4.623 | 889.533 | 24.091 | 4.7395
2020-10-28 07:15:00 | 1.55 | 190.193 | 1.858 | 92.916 | 2.059 | 90.633 | 2.233 | 80.433 | 2.148 | 889.6 | 25.989 | 1.6848
2020-10-28 07:30:00 | 1.659 | 128.857 | 1.704 | 89.908 | 2.263 | 89.267 | 2.785 | 85.1 | 2.496 | 889.55 | 27.104 | 0.095216
2020-10-28 07:45:00 | 2.354 | 113.523 | 2.694 | 86.936 | 2.842 | 90.1 | 3.141 | 85.833 | 2.921 | 889.767 | 27.035 | 0.1613
2020-10-28 08:00:00 | 1.576 | 147.95 | 1.051 | 81.901 | 1.346 | 83.3 | 2.055 | 73.333 | 2.112 | 889.7 | 27.115 | 0.30341
2020-10-28 08:15:00 | 1.116 | 165.673 | 1.353 | 112.086 | 2.074 | 98.633 | 2.376 | 91.367 | 2.032 | 889.917 | 28.891 | 0.32473
2020-10-28 08:30:00 | 2.12 | 167.487 | 0.86 | 137.239 | 2.162 | 116.533 | 2.912 | 113.6 | 2.696 | 889.683 | 28.533 | 0.25865
2020-10-28 08:45:00 | 1.377 | 199.92 | 0 | 111.214 | 1.292 | 104.5 | 2.243 | 96.867 | 2.131 | 889.733 | 28.88 | 0.27144
2020-10-28 09:00:00 | 2.982 | 242.867 | 0.136 | 173.591 | 0 | 102 | 0.46 | 76 | 3.137 | 889.65 | 28.229 | 0.26717
2020-10-28 09:15:00 | 2.628 | 226.347 | 1.678 | 218.911 | 1.097 | 226.033 | 1.182 | 132.667 | 4.147 | 889.817 | 26.779 | 0.2487
2020-10-28 09:30:00 | 0.862 | 213.5 | 0 | 201.537 | 1.119 | 143.8 | 2.442 | 110 | 6.061 | 889.867 | 24.624 | 0.26149
2020-10-28 09:45:00 | 1.595 | 156 | 2.21 | 128.789 | 2.922 | 120.767 | 3.669 | 103.4 | 6.061 | 889.6 | 23.275 | 0.62104
2020-10-28 10:00:00 | 2.848 | 133.377 | 3.414 | 120.094 | 3.792 | 116.8 | 4.314 | 108.133 | 5.616 | 889.967 | 23.179 | 4.2868
2020-10-28 10:15:00 | 3.556 | 127.737 | 3.93 | 119.302 | 4.192 | 119.567 | 4.785 | 111.9 | 6.241 | 889.65 | 22.725 | 6.226
2020-10-28 10:30:00 | 3.574 | 126.733 | 3.774 | 121.264 | 4.161 | 122.767 | 4.632 | 116.933 | 6.972 | 890.1 | 21.376 | 6.5329
2020-10-28 10:45:00 | 3.859 | 120.173 | 3.996 | 114.438 | 3.807 | 119.467 | 4.257 | 113.033 | 7.719 | 889.35 | 20.587 | 3.6004
2020-10-28 11:00:00 | 5.235 | 118.917 | 5.385 | 114.152 | 5.328 | 115.1 | 5.112 | 108.7 | 7.526 | 889.65 | 20.187 | 7.532
2020-10-28 11:15:00 | 4.618 | 106.913 | 4.289 | 103.258 | 4.182 | 105.867 | 4.467 | 100.933 | 7.909 | 889.333 | 19.632 | 8.5559
2020-10-28 11:30:00 | 4.417 | 91.16 | 4.41 | 92.177 | 4.28 | 94 | 4.267 | 91.6 | 8.28 | 889.333 | 19.387 | 6.7895
2020-10-28 11:45:00 | 4.817 | 105.77 | 4.222 | 99.35 | 4.037 | 101.633 | 4.452 | 98.467 | 8.22 | 889.467 | 18.981 | 6.6175
2020-10-28 12:00:00 | 5.407 | 104.72 | 4.948 | 97.465 | 4.978 | 99.167 | 5.644 | 96.133 | 8.666 | 889.633 | 18.523 | 7.0481
2020-10-28 12:15:00 | 6.698 | 103.073 | 5.981 | 97.207 | 5.934 | 100.7 | 6.175 | 94.967 | 9.37 | 888.9 | 18.392 | 10.1703
2020-10-28 12:30:00 | 6.302 | 101.507 | 5.598 | 97.064 | 5.636 | 94.833 | 5.949 | 90.7 | 9.612 | 889.333 | 17.675 | 19.4752
2020-10-28 12:45:00 | 5.616 | 99.52 | 5.156 | 93.97 | 5.213 | 96.7 | 5.643 | 91.033 | 10.208 | 889.967 | 17.027 | 20.9184
2020-10-28 13:00:00 | 6.014 | 94.09 | 5.598 | 89.358 | 5.697 | 90.367 | 5.758 | 88.833 | 10.522 | 889.3 | 16.813 | 23.2298
2020-10-28 13:15:00 | 5.914 | 97.837 | 5.777 | 91.324 | 5.661 | 95.767 | 5.908 | 88.533 | 10.755 | 889.667 | 16.347 | 23.3663
2020-10-28 13:30:00 | 6.594 | 87.49 | 6.2 | 83.925 | 6.003 | 90.8 | 6.134 | 84.6 | 10.826 | 889.767 | 16.221 | 25.5257
2020-10-28 13:45:00 | 5.577 | 82.495 | 5.077 | 77.467 | 5.494 | 83.833 | 5.754 | 81.733 | 11.011 | 889.4 | 15.891 | 21.6389
2020-10-28 14:00:00 | 5.234 | 79.862 | 4.985 | 75.68 | 5.478 | 81.867 | 5.688 | 78.8 | 11.211 | 889.767 | 15.589 | 14.2767
2020-10-28 14:15:00 | 5.998 | 75.948 | 5.779 | 74.582 | 6.08 | 77.9 | 6.245 | 78.333 | 11.411 | 889.5 | 15.085 | 14.3833
2020-10-28 14:30:00 | 5.355 | 81.66 | 5.074 | 78.601 | 5.008 | 84.933 | 5.325 | 83.467 | 11.616 | 889.6 | 15.139 | 14.9262
2020-10-28 14:45:00 | 5.721 | 70.572 | 5.44 | 67.426 | 5.632 | 75.9 | 5.731 | 73.533 | 11.686 | 889.633 | 15.027 | 14.8302
2020-10-28 15:00:00 | 5.512 | 81.64 | 5.198 | 79.154 | 5.526 | 82.867 | 5.806 | 77.767 | 11.749 | 889.667 | 15.168 | 15.7931
2020-10-28 15:15:00 | 5.541 | 72.723 | 5.342 | 68.874 | 5.922 | 72.3 | 6.138 | 69.133 | 12.124 | 889.467 | 14.845 | 16.1014
2020-10-28 15:30:00 | 5.662 | 70.107 | 5.577 | 68.272 | 5.969 | 72.5 | 6.121 | 70.033 | 11.924 | 889.1 | 14.883 | 17.1275
2020-10-28 15:45:00 | 6.363 | 72.878 | 6.394 | 67.674 | 6.956 | 71.2 | 7.123 | 69.967 | 11.828 | 889.9 | 15.189 | 20.3087
2020-10-28 16:00:00 | 6.162 | 75.882 | 6.115 | 70.031 | 6.375 | 74.233 | 6.624 | 70 | 11.724 | 889.733 | 15.301 | 20.4395
2020-10-28 16:15:00 | 5.55 | 84.355 | 5.552 | 80.055 | 5.611 | 82.333 | 5.584 | 79 | 11.84 | 889.233 | 15.469 | 18.236
2020-10-28 16:30:00 | 5.745 | 84.6 | 5.312 | 79.064 | 5.77 | 83.933 | 5.729 | 80.067 | 11.682 | 889.6 | 15.877 | 16.2769
2020-10-28 16:45:00 | 5.683 | 75.795 | 5.578 | 70.989 | 5.864 | 76.7 | 6.023 | 72.4 | 11.99 | 889.567 | 16.027 | 16.9726
2020-10-28 17:00:00 | 5.253 | 78.7 | 5.146 | 73.876 | 5.644 | 78.933 | 5.871 | 73.833 | 11.632 | 889.167 | 15.947 | 15.5039
2020-10-28 17:15:00 | 5.156 | 81.967 | 5.058 | 80.267 | 4.898 | 85.033 | 5.052 | 81.4 | 11.74 | 889.533 | 16.947 | 13.3977
2020-10-28 17:30:00 | 4.37 | 74.905 | 4.499 | 71.065 | 4.813 | 77.7 | 4.956 | 75.233 | 11.666 | 889.6 | 17.677 | 8.9759
2020-10-28 17:45:00 | 3.628 | 85.02 | 3.644 | 82.422 | 3.54 | 88.533 | 3.549 | 83.367 | 11.607 | 889.533 | 18.429 | 6.3255
2020-10-28 18:00:00 | 2.934 | 91.033 | 2.685 | 84.989 | 2.48 | 87.567 | 2.388 | 87.067 | 11.145 | 889.267 | 18.781 | 3.1059
2020-10-28 18:15:00 | 2.054 | 74.733 | 1.764 | 70.898 | 2.007 | 76.467 | 2.249 | 77.733 | 11.061 | 889.267 | 19.181 | 0.50024
2020-10-28 18:30:00 | 1.728 | 91.903 | 1.406 | 87.362 | 1.266 | 93.6 | 1.502 | 87.967 | 10.434 | 889.767 | 20.181 | 0.25794
2020-10-28 18:45:00 | 1.169 | 73.8 | 0.782 | 69.329 | 1.17 | 78 | 1.811 | 76.067 | 9.866 | 889.733 | 20.747 | 0.24159
2020-10-28 19:00:00 | 0.083 | 73.07 | 0.26 | 58.832 | 1.211 | 77.9 | 1.455 | 76 | 9.547 | 890.117 | 21.755 | 0.17196
2020-10-28 19:15:00 | 0 | 73.12 | 0 | 58.19 | 0 | 77.933 | 0.33 | 76 | 8.958 | 889.9 | 22.891 | 0.16627
2020-10-28 19:30:00 | 0.116 | 73.233 | 0 | 58.411 | 0 | 78 | 0 | 76 | 8.29 | 889.917 | 23.717 | 0.16911
2020-10-28 19:45:00 | 1.434 | 248.527 | 0 | 58.456 | 0 | 77.833 | 0 | 76 | 8.01 | 889.667 | 24.224 | 0.17054
2020-10-28 20:00:00 | 2.18 | 250.547 | 0 | 282.237 | 0.166 | 123.9 | 1.324 | 78.267 | 7.95 | 889.5 | 24.187 | 0.17054
2020-10-28 20:15:00 | 3.665 | 249.767 | 2.248 | 254.169 | 2.042 | 250.017 | 2.099 | 252 | 8.066 | 889.783 | 23.376 | 0.1748
2020-10-28 20:30:00 | 7.028 | 254.107 | 8.763 | 259.206 | 9.11 | 264.333 | 8.919 | 259.7 | 7.04 | 889.8 | 22.445 | 0.64306
2020-10-28 20:45:00 | 8.229 | 291.36 | 10.18 | 286.764 | 10.846 | 290.533 | 11.6 | 290.533 | 6.433 | 889.3 | 28.539 | 40.4817
2020-10-28 21:00:00 | 6.056 | 275.16 | 7.615 | 274.299 | 7.823 | 279.767 | 8.286 | 278.3 | 5.968 | 889.483 | 29.355 | 58.5464
2020-10-28 21:15:00 | 5.761 | 256.653 | 6.965 | 259.639 | 7.45 | 268.233 | 7.715 | 265.067 | 5.352 | 889.633 | 30.488 | 38.7564
2020-10-28 21:30:00 | 6.192 | 255.467 | 7.448 | 255.523 | 7.768 | 261.517 | 7.968 | 257.4 | 5.088 | 889.783 | 32.872 | 34.6288
2020-10-28 21:45:00 | 5.628 | 252.193 | 6.941 | 257.06 | 7.403 | 261.867 | 7.603 | 259.883 | 4.964 | 889.717 | 34.851 | 35.7401
2020-10-28 22:00:00 | 5.322 | 250 | 6.404 | 256.466 | 6.728 | 261.533 | 7.253 | 259.8 | 4.621 | 889.367 | 35.891 | 27.4122
2020-10-28 22:15:00 | 4.732 | 241.687 | 5.963 | 248.782 | 6.08 | 257.667 | 6.512 | 257.433 | 4.729 | 890.017 | 36.539 | 24.7611
2020-10-28 22:30:00 | 4.918 | 240.633 | 6.466 | 244.864 | 6.565 | 253.7 | 6.474 | 252.4 | 3.989 | 890.067 | 37.781 | 28.5349
2020-10-28 22:45:00 | 5.312 | 229.467 | 6.759 | 234.544 | 6.778 | 244.4 | 6.535 | 243.1 | 3.773 | 889.983 | 39.488 | 35.0558
2020-10-28 23:00:00 | 5.418 | 247.307 | 7.176 | 244.84 | 7.752 | 249.15 | 7.736 | 244.067 | 3.725 | 890.158 | 41.205 | 42.1252
2020-10-28 23:15:00 | 6.079 | 253.467 | 7.399 | 250.51 | 7.615 | 252.783 | 7.756 | 247.383 | 3.672 | 889.608 | 42.08 | 36.5544
2020-10-28 23:30:00 | 6.101 | 244.333 | 7.365 | 243.39 | 7.559 | 248.083 | 7.47 | 242.767 | 3.639 | 889.725 | 42.005 | 41.738
2020-10-28 23:45:00 | 6.973 | 242.067 | 8.117 | 240.449 | 8.531 | 245.267 | 8.774 | 240.767 | 3.221 | 890 | 41.035 | 55.3482