## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-30 00:00:00 | 12.148 | 276.413 | 13.539 | 273.061 | 13.871 | 274.067 | 14.193 | 268 | 1.479 | 890.033 | 62.928 | 64.1571
2020-10-30 00:15:00 | 11.129 | 288.547 | 12.37 | 282.381 | 12.789 | 284.167 | 13.469 | 281.433 | 1.58 | 889.242 | 63.941 | 56.8389
2020-10-30 00:30:00 | 9.392 | 291.32 | 10.542 | 286.122 | 10.732 | 288.533 | 11.369 | 285.5 | 1.436 | 889.867 | 64.405 | 55.7155
2020-10-30 00:45:00 | 10.984 | 281.04 | 12.268 | 276.658 | 12.857 | 279.2 | 13.184 | 276.9 | 1.112 | 889.508 | 63.552 | 55.1194
2020-10-30 01:00:00 | 12.45 | 286.68 | 14.35 | 281.698 | 14.756 | 283.2 | 15.026 | 282.2 | 1.182 | 890.025 | 64.613 | 55.7667
2020-10-30 01:15:00 | 11.06 | 284.987 | 12.536 | 279.533 | 13.348 | 280.367 | 13.917 | 280.233 | 1.068 | 889.55 | 64.459 | 56.5739
2020-10-30 01:30:00 | 11.381 | 285.187 | 12.784 | 278.821 | 13.483 | 280.3 | 14.115 | 277.5 | 0.765 | 889.575 | 64.341 | 56.78
2020-10-30 01:45:00 | 11.889 | 282.627 | 13.229 | 275.015 | 13.997 | 277.367 | 14.304 | 274.367 | 0.848 | 889.575 | 63.701 | 56.8482
2020-10-30 02:00:00 | 13.657 | 276.04 | 15.223 | 269.228 | 15.49 | 274.133 | 15.767 | 270.567 | 0.682 | 889.567 | 62.112 | 52.6366
2020-10-30 02:15:00 | 12.858 | 281.293 | 14.55 | 275.032 | 15.319 | 279.167 | 15.764 | 275.4 | 0.499 | 889.575 | 61.835 | 55.1975
2020-10-30 02:30:00 | 10.69 | 279.48 | 12.028 | 273.812 | 12.571 | 275.8 | 12.906 | 274.167 | 0.665 | 889.992 | 61.563 | 63.6582
2020-10-30 02:45:00 | 11.346 | 275.267 | 12.413 | 271.001 | 13.082 | 275.233 | 13.142 | 273.867 | 0.515 | 889.65 | 60.741 | 74.6131
2020-10-30 03:00:00 | 9.334 | 279.747 | 10.493 | 272.773 | 10.956 | 275.333 | 11.183 | 271.25 | 0.582 | 890.217 | 60.16 | 72.8267
2020-10-30 03:15:00 | 8.893 | 273.493 | 9.733 | 267.994 | 10.189 | 270.867 | 10.329 | 267.7 | 0.266 | 889.892 | 60.085 | 73.1152
2020-10-30 03:30:00 | 9.127 | 275.16 | 10.469 | 268.039 | 10.655 | 271.867 | 10.781 | 267.167 | 0.415 | 890.008 | 59.557 | 76.4648
2020-10-30 03:45:00 | 10.223 | 271.2 | 11.843 | 265.147 | 12.318 | 268.267 | 12.524 | 265.567 | 0.615 | 889.983 | 59.227 | 79.4122
2020-10-30 04:00:00 | 12.492 | 270.48 | 14.112 | 264.135 | 14.3 | 267.133 | 14.236 | 263.367 | 0.216 | 889.95 | 60.224 | 79.3561
2020-10-30 04:15:00 | 11.165 | 270.28 | 12.795 | 264.849 | 12.998 | 269.133 | 13.25 | 265.267 | 0.399 | 890.15 | 60.491 | 63.5701
2020-10-30 04:30:00 | 11.546 | 271.053 | 12.334 | 265.317 | 12.572 | 269.833 | 12.406 | 267.2 | 0.166 | 889.492 | 60.693 | 51.4777
2020-10-30 04:45:00 | 9.24 | 269.14 | 10.269 | 262.435 | 10.372 | 266.733 | 10.593 | 262.35 | 0.216 | 890.05 | 61.611 | 54.2162
2020-10-30 05:00:00 | 8.897 | 263.12 | 9.798 | 257.42 | 9.793 | 262.133 | 9.843 | 257.267 | -0.016 | 889.517 | 61.824 | 66.0045
2020-10-30 05:15:00 | 8.512 | 263.007 | 9.306 | 257.503 | 9.836 | 261.083 | 9.848 | 254.95 | 0.133 | 889.725 | 60.816 | 74.8163
2020-10-30 05:30:00 | 10.098 | 262.853 | 11.886 | 258.21 | 12.615 | 263.1 | 12.591 | 258.45 | 0.05 | 889.783 | 60.347 | 74.5065
2020-10-30 05:45:00 | 10.03 | 275.733 | 11.222 | 268.168 | 11.704 | 272.133 | 12.107 | 268.333 | -0.199 | 890.058 | 59.867 | 76.8378
2020-10-30 06:00:00 | 10.222 | 273.16 | 11.481 | 267.067 | 12.078 | 270.633 | 12.226 | 266.867 | -0.066 | 889.325 | 59.584 | 72.2852
2020-10-30 06:15:00 | 9.44 | 271.733 | 10.567 | 264.367 | 10.982 | 269.633 | 11.234 | 266.217 | -0.173 | 890.05 | 57.931 | 75.141
2020-10-30 06:30:00 | 10.7 | 270.233 | 12.212 | 265.391 | 12.651 | 269.567 | 12.962 | 266.5 | -0.13 | 889.658 | 57.899 | 74.3352
2020-10-30 06:45:00 | 10.079 | 267.047 | 11.19 | 262.287 | 11.408 | 266.067 | 11.494 | 261.583 | -0.322 | 889.942 | 59.888 | 83.3424
2020-10-30 07:00:00 | 10.695 | 271.08 | 11.929 | 264.589 | 12.277 | 267.267 | 11.968 | 263.283 | -0.312 | 889.842 | 61.024 | 84.2149
2020-10-30 07:15:00 | 9.815 | 265.067 | 10.827 | 259.835 | 11.02 | 263.983 | 11.31 | 260.967 | -0.538 | 889.958 | 61.552 | 85.0484
2020-10-30 07:30:00 | 10.882 | 262.44 | 12.281 | 259.616 | 12.339 | 264.967 | 12.491 | 260.667 | -1.075 | 889.675 | 63.072 | 85.9672
2020-10-30 07:45:00 | 8.922 | 268.36 | 10.274 | 260.591 | 10.891 | 263.033 | 11.323 | 258.883 | -1.032 | 889.942 | 64.715 | 82.7078
2020-10-30 08:00:00 | 5.917 | 259.133 | 6.803 | 256.924 | 7.294 | 261.7 | 7.37 | 257.667 | -1.192 | 889.992 | 66 | 51.5175
2020-10-30 08:15:00 | 6.525 | 256.38 | 7.374 | 255.101 | 7.846 | 259.4 | 8.073 | 255.217 | -1.7 | 889.833 | 67.552 | 46.5691
2020-10-30 08:30:00 | 7.806 | 259.48 | 9.182 | 256.216 | 9.625 | 260.2 | 9.693 | 254.783 | -1.62 | 890.158 | 67.36 | 68.272
2020-10-30 08:45:00 | 8.086 | 263.1 | 8.983 | 258.925 | 9.323 | 262.433 | 9.298 | 259.067 | -1.065 | 889.733 | 65.483 | 76.3944
2020-10-30 09:00:00 | 7.011 | 273.22 | 8.014 | 266.025 | 8.352 | 269.9 | 8.658 | 265.4 | -0.712 | 889.492 | 63.765 | 78.438
2020-10-30 09:15:00 | 11.12 | 266.28 | 12.058 | 258.958 | 12.624 | 262.317 | 12.649 | 256.783 | -0.326 | 889.767 | 62.773 | 78.4601
2020-10-30 09:30:00 | 13.37 | 256.733 | 14.335 | 252.924 | 14.791 | 257.383 | 14.882 | 253.55 | 0.2 | 889.908 | 60.539 | 74.2798
2020-10-30 09:45:00 | 14.196 | 252.06 | 14.853 | 249.799 | 15.34 | 253.433 | 15.087 | 248.483 | 0.515 | 890.05 | 58.864 | 56.7004
2020-10-30 10:00:00 | 13.424 | 262.007 | 14.634 | 256.637 | 14.956 | 259.417 | 14.772 | 254.133 | 0.299 | 889.6 | 58.315 | 50.6435
2020-10-30 10:15:00 | 13.11 | 267.48 | 14.328 | 260.065 | 14.725 | 264 | 14.692 | 259.65 | 0.832 | 889.575 | 57.28 | 49.5691
2020-10-30 10:30:00 | 13.971 | 268.28 | 14.987 | 263.315 | 15.612 | 266.633 | 15.769 | 263.233 | 0.615 | 892.508 | 56.389 | 42.752
2020-10-30 10:45:00 | 13.514 | 275.907 | 14.645 | 270.475 | 15.43 | 273.533 | 15.39 | 269.767 | 0.532 | 891.825 | 55.312 | 45.4095
2020-10-30 11:00:00 | 12.843 | 273.987 | 13.781 | 266.72 | 13.93 | 270.233 | 14.046 | 265.8 | 0.815 | 894.775 | 53.808 | 54.2702
2020-10-30 11:15:00 | 12.858 | 269.92 | 13.826 | 263.577 | 14.042 | 266.867 | 14.016 | 262.6 | 1.128 | 897.858 | 53.227 | 52.7425
2020-10-30 11:30:00 | 12.066 | 276.787 | 12.611 | 270.414 | 12.887 | 274.567 | 13.154 | 270.133 | 1.775 | 906.65 | 49.435 | 52.8306
2020-10-30 11:45:00 | 11.464 | 283.12 | 12.487 | 274.724 | 13.05 | 277.2 | 13.406 | 274.8 | 1.519 | 893.525 | 50.192 | 51.0372
2020-10-30 12:00:00 | 11.435 | 282.5 | 12.381 | 273.744 | 12.88 | 276.133 | 12.834 | 273.45 | 1.779 | 889.658 | 48.805 | 45.0435
2020-10-30 12:15:00 | 10.868 | 279.12 | 11.849 | 275.37 | 11.906 | 276.6 | 12.161 | 273.6 | 1.998 | 889.717 | 49.445 | 41.3905
2020-10-30 12:30:00 | 10.342 | 267.7 | 11.149 | 264.464 | 11.398 | 267.517 | 11.382 | 263.417 | 2.556 | 889.425 | 46.741 | 34.5712
2020-10-30 12:45:00 | 12.005 | 282.067 | 13.288 | 275.769 | 13.375 | 277.2 | 13.396 | 274.1 | 2.496 | 889.642 | 44.128 | 27.5103
2020-10-30 13:00:00 | 12.419 | 270.24 | 13.3 | 266.584 | 13.594 | 269.767 | 13.876 | 266.983 | 3.301 | 889.625 | 42.992 | 20.8502
2020-10-30 13:15:00 | 12.708 | 283.48 | 13.385 | 276.943 | 13.822 | 279.933 | 14.06 | 277.767 | 2.877 | 890.108 | 44.331 | 18.4904
2020-10-30 13:30:00 | 12.541 | 276.8 | 13.427 | 271.414 | 14.168 | 274.367 | 14.278 | 270.667 | 2.8 | 889.992 | 45.136 | 23.9283
2020-10-30 13:45:00 | 13.005 | 275.733 | 14.114 | 270.542 | 14.624 | 273.7 | 14.633 | 271.033 | 3.137 | 889.783 | 44.128 | 18.8179
2020-10-30 14:00:00 | 13.152 | 262.68 | 14.212 | 259.372 | 14.583 | 263.667 | 14.593 | 259.183 | 3.709 | 889.908 | 42.299 | 19.4333
2020-10-30 14:15:00 | 11.626 | 266.133 | 12.611 | 263.376 | 12.84 | 265.85 | 12.968 | 260.883 | 3.254 | 889.892 | 44.085 | 19.4923
2020-10-30 14:30:00 | 11.754 | 264.9 | 12.759 | 260.9 | 12.963 | 266 | 12.935 | 264.1 | 3.372 | 889.875 | 43.653 | 19.6983
2020-10-30 14:45:00 | 11.512 | 268.867 | 12.17 | 262.471 | 12.415 | 266.5 | 12.579 | 262.5 | 3.689 | 889.683 | 41.787 | 19.4525
2020-10-30 15:00:00 | 12.169 | 264.54 | 13.231 | 258.581 | 13.638 | 262.083 | 13.472 | 258.1 | 3.983 | 890.9 | 41.461 | 19.0069
2020-10-30 15:15:00 | 12.689 | 267.667 | 13.569 | 265.867 | 13.873 | 267.9 | 13.679 | 263.583 | 4.125 | 889.925 | 41.069 | 19.2336
2020-10-30 15:30:00 | 12.626 | 275.48 | 13.794 | 271.171 | 14.259 | 273.867 | 14.122 | 270.767 | 3.976 | 890.008 | 41.877 | 18.6325
2020-10-30 15:45:00 | 12.623 | 272.533 | 13.695 | 266.834 | 13.842 | 271.567 | 13.944 | 267.333 | 3.939 | 889.592 | 41.979 | 18.7661
2020-10-30 16:00:00 | 13.767 | 274.28 | 14.765 | 270.093 | 14.96 | 273.633 | 14.962 | 268.217 | 3.875 | 889.733 | 41.781 | 18.5877
2020-10-30 16:15:00 | 12.957 | 261.9 | 14.334 | 258.765 | 14.715 | 261.617 | 14.551 | 258.417 | 3.874 | 889.733 | 41.888 | 18.2076
2020-10-30 16:30:00 | 13.763 | 268.68 | 15.181 | 264.255 | 15.613 | 270.1 | 15.606 | 264.467 | 3.808 | 889.433 | 42.171 | 18.2118
2020-10-30 16:45:00 | 12.818 | 275.973 | 14.597 | 272.158 | 15.044 | 274.567 | 14.901 | 270.7 | 3.914 | 889.525 | 41.771 | 17.7471
2020-10-30 17:00:00 | 12.228 | 271.107 | 13.335 | 266.512 | 13.562 | 269.933 | 13.79 | 266.167 | 4.082 | 890.208 | 41.016 | 17.5958
2020-10-30 17:15:00 | 12.546 | 282.147 | 13.435 | 275.124 | 13.974 | 277.2 | 14.35 | 274.4 | 4.125 | 889.625 | 40.8 | 25.7687
2020-10-30 17:30:00 | 10.74 | 265.927 | 11.599 | 261.021 | 11.707 | 266.7 | 11.691 | 263.567 | 3.947 | 889.942 | 41.048 | 45.6056
2020-10-30 17:45:00 | 9.347 | 268.493 | 10.464 | 265.84 | 11.03 | 271 | 11.357 | 268.8 | 3.962 | 889.275 | 41.744 | 47.6918
2020-10-30 18:00:00 | 9.783 | 269.867 | 10.673 | 265.76 | 11.275 | 269.4 | 11.432 | 264.867 | 3.807 | 889.892 | 42.368 | 56.3373
2020-10-30 18:15:00 | 10.691 | 267.033 | 11.974 | 259.933 | 12.296 | 265 | 12.606 | 259.867 | 3.572 | 890.4 | 43.003 | 72.951
2020-10-30 18:30:00 | 9.073 | 271.413 | 10.71 | 265.258 | 11.19 | 270.267 | 11.118 | 264.367 | 3.163 | 889.4 | 44.496 | 79.2772
2020-10-30 18:45:00 | 8.976 | 276.04 | 10.268 | 269.997 | 10.738 | 274 | 10.886 | 270.833 | 2.578 | 890.242 | 45.392 | 83.9506
2020-10-30 19:00:00 | 9.16 | 281.227 | 10.518 | 274.906 | 10.786 | 278.1 | 11.239 | 277.5 | 2.72 | 889.775 | 46.773 | 78.0657
2020-10-30 19:15:00 | 7.084 | 280.173 | 7.934 | 274.819 | 8.34 | 277 | 8.888 | 273.333 | 2.503 | 890.042 | 47.733 | 70.4506
2020-10-30 19:30:00 | 6.275 | 288.067 | 7.199 | 282.47 | 7.776 | 284.533 | 8.334 | 280.6 | 2.16 | 889.325 | 49.445 | 56.5064
2020-10-30 19:45:00 | 6.601 | 276.773 | 7.648 | 272.953 | 8.221 | 274.7 | 8.818 | 271.767 | 1.64 | 890.142 | 50.24 | 44.4118
2020-10-30 20:00:00 | 6.206 | 272.827 | 7.587 | 268.016 | 7.99 | 273.767 | 8.32 | 269.867 | 1.616 | 890.05 | 50.805 | 44.0715
2020-10-30 20:15:00 | 6.718 | 265.04 | 7.699 | 260.58 | 8.16 | 264.95 | 8.331 | 261.533 | 1.519 | 890.158 | 51.376 | 39.4514
2020-10-30 20:30:00 | 6.129 | 245.587 | 7.419 | 246.527 | 7.993 | 252.967 | 8.05 | 249.883 | 1.035 | 889.792 | 52.821 | 54.1182
2020-10-30 20:45:00 | 6.519 | 243.853 | 7.52 | 241.168 | 8.049 | 247.6 | 8.362 | 242.667 | 0.982 | 889.683 | 53.899 | 67.6019
2020-10-30 21:00:00 | 6.893 | 249 | 8.307 | 247.394 | 9.07 | 251.383 | 9.39 | 246.583 | 0.831 | 889.733 | 54.032 | 81.8537
2020-10-30 21:15:00 | 7.398 | 250.613 | 8.723 | 247.581 | 9.512 | 252.983 | 9.626 | 248.483 | 0.781 | 889.983 | 54.443 | 78.0472
2020-10-30 21:30:00 | 8.405 | 255.167 | 10.063 | 251.132 | 10.738 | 255.417 | 10.96 | 253.583 | 0.965 | 890.175 | 55.045 | 75.6512
2020-10-30 21:45:00 | 7.668 | 252.147 | 9.174 | 249.878 | 10.092 | 255.9 | 10.515 | 251.7 | 1.152 | 889.442 | 54.816 | 76.4406
2020-10-30 22:00:00 | 8.294 | 256.827 | 9.988 | 252.195 | 10.891 | 257.917 | 10.87 | 252.983 | 1.015 | 889.925 | 55.504 | 72.443
2020-10-30 22:15:00 | 6.233 | 246.507 | 7.704 | 245.929 | 8.381 | 253.317 | 8.954 | 250 | 0.299 | 890.1 | 55.36 | 56.1873
2020-10-30 22:30:00 | 5.158 | 227.94 | 6.252 | 239.284 | 7.132 | 250.333 | 7.317 | 248.15 | -0.492 | 889.833 | 57.045 | 41.2974
2020-10-30 22:45:00 | 5.179 | 230.013 | 5.985 | 235.873 | 6.374 | 246.467 | 6.672 | 245.233 | -0.865 | 889.617 | 58.901 | 34.0631
2020-10-30 23:00:00 | 5.559 | 224.6 | 6.114 | 231.655 | 6.45 | 242.367 | 6.98 | 243.4 | -0.989 | 890.042 | 58.123 | 34.2031
2020-10-30 23:15:00 | 5.073 | 225.92 | 5.767 | 233.727 | 6.281 | 246.967 | 6.748 | 247.133 | -0.495 | 890.008 | 56.768 | 41.6939
2020-10-30 23:30:00 | 5.014 | 224.347 | 6.47 | 233.027 | 7.329 | 245.033 | 7.78 | 243.8 | -0.828 | 889.883 | 56.213 | 48.18
2020-10-30 23:45:00 | 5.039 | 225.573 | 6.317 | 231.946 | 7.178 | 242.533 | 7.593 | 241.567 | -1.082 | 889.825 | 55.221 | 53.7437