## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-31 00:00:00 | 5.132 | 224.48 | 6.199 | 229.127 | 6.623 | 239.4 | 7.365 | 241.4 | -0.972 | 889.525 | 54.816 | 46.9912
2020-10-31 00:15:00 | 5.058 | 232.693 | 6.777 | 237.042 | 7.782 | 246.5 | 7.923 | 245.3 | -0.828 | 889.817 | 52.907 | 39.273
2020-10-31 00:30:00 | 4.889 | 243.287 | 6.889 | 244.402 | 7.853 | 252.9 | 8.154 | 250.333 | -0.525 | 889.958 | 51.221 | 37.4568
2020-10-31 00:45:00 | 5.367 | 238.6 | 6.721 | 241.686 | 7.806 | 249.6 | 8.152 | 246.767 | -0.698 | 890.05 | 50.283 | 39.4649
2020-10-31 01:00:00 | 6.175 | 246.653 | 8.002 | 243.734 | 8.838 | 248.9 | 8.789 | 244.4 | 0.067 | 890.167 | 49.76 | 48.8479
2020-10-31 01:15:00 | 7.251 | 249.607 | 9.089 | 249.863 | 9.928 | 257 | 10.17 | 256.7 | 0.432 | 889.825 | 48.475 | 49.1392
2020-10-31 01:30:00 | 7.613 | 254.44 | 9.946 | 254.051 | 10.43 | 258.683 | 10.639 | 256.333 | 0.332 | 889.825 | 49.387 | 59.2328
2020-10-31 01:45:00 | 7.05 | 248.407 | 8.433 | 246.77 | 8.931 | 251.2 | 9.387 | 247.633 | 0.749 | 890 | 47.232 | 70.1265
2020-10-31 02:00:00 | 5.338 | 243.32 | 6.658 | 247.248 | 7.56 | 253.6 | 7.836 | 250.967 | 0.266 | 889.733 | 47.856 | 64.4356
2020-10-31 02:15:00 | 5.702 | 237.913 | 6.308 | 240.51 | 6.753 | 248.667 | 6.969 | 245.45 | -0.066 | 889.883 | 49.227 | 60.978
2020-10-31 02:30:00 | 4.295 | 264.867 | 5.593 | 262.216 | 5.716 | 270.3 | 5.851 | 267.4 | -0.376 | 889.983 | 50.645 | 47.5127
2020-10-31 02:45:00 | 4.377 | 264.987 | 5.235 | 264.008 | 5.492 | 271.3 | 5.826 | 265.233 | -0.955 | 889.95 | 52.645 | 36.8201
2020-10-31 03:00:00 | 6.099 | 255.413 | 6.732 | 257.825 | 6.95 | 263.667 | 7.355 | 259.8 | -0.635 | 889.858 | 53.397 | 43.8
2020-10-31 03:15:00 | 6.739 | 267.333 | 8.539 | 264.846 | 9.22 | 271.1 | 9.468 | 266.167 | -0.518 | 889.508 | 54.208 | 50.0679
2020-10-31 03:30:00 | 7.217 | 251.747 | 8.469 | 251.618 | 9.123 | 256.7 | 9.366 | 253.967 | 0.017 | 889.942 | 53.819 | 61.393
2020-10-31 03:45:00 | 7.422 | 251.72 | 8.68 | 250.248 | 9.239 | 255.433 | 9.366 | 252.217 | 0.432 | 889.758 | 53.835 | 77.5534
2020-10-31 04:00:00 | 8.132 | 254.913 | 9.518 | 251.674 | 9.886 | 255.933 | 10.005 | 252.833 | 0.332 | 889.658 | 54.496 | 85.0563
2020-10-31 04:15:00 | 7.942 | 252.92 | 9.456 | 251.886 | 10.041 | 256.967 | 10.408 | 253.4 | 0.465 | 889.683 | 54.928 | 85.9146
2020-10-31 04:30:00 | 7.663 | 250.96 | 8.982 | 247.788 | 9.61 | 254.5 | 9.761 | 251.25 | 0.548 | 890.2 | 55.216 | 85.1813
2020-10-31 04:45:00 | 8.022 | 246.387 | 9.133 | 246.244 | 9.723 | 252.85 | 9.7 | 250.533 | 0.382 | 889.967 | 55.456 | 78.3023
2020-10-31 05:00:00 | 6.339 | 226.26 | 6.935 | 231.108 | 7.362 | 240.533 | 7.664 | 237.533 | 0.515 | 889.525 | 55.072 | 73.7099
2020-10-31 05:15:00 | 5.771 | 223.233 | 6.654 | 228.041 | 7.058 | 233.667 | 7.07 | 231.233 | 0.249 | 890.008 | 55.819 | 54.7527
2020-10-31 05:30:00 | 5.1 | 234.567 | 5.82 | 231.95 | 6.243 | 237.067 | 6.432 | 233.3 | -0.033 | 889.175 | 57.109 | 39.116
2020-10-31 05:45:00 | 5.188 | 215.073 | 5.371 | 223.841 | 6.128 | 234.167 | 6.42 | 232.133 | -0.05 | 889.708 | 55.797 | 36.2275
2020-10-31 06:00:00 | 4.542 | 228.107 | 6.172 | 226.79 | 6.699 | 234.967 | 6.668 | 233.567 | -0.11 | 890.15 | 57.856 | 43.2337
2020-10-31 06:15:00 | 6.196 | 234.253 | 7.378 | 233.607 | 8.111 | 240.767 | 8.134 | 237.1 | 0.515 | 890.208 | 57.152 | 50.5184
2020-10-31 06:30:00 | 6.025 | 235.553 | 7.077 | 237.543 | 7.843 | 243.567 | 8.399 | 240.1 | 1.089 | 889.692 | 55.808 | 43.8647
2020-10-31 06:45:00 | 5.707 | 257.353 | 6.851 | 260.655 | 7.502 | 266.067 | 8.015 | 263.667 | 1.202 | 889.833 | 55.611 | 22.3381
2020-10-31 07:00:00 | 6.398 | 253.7 | 7.463 | 252.089 | 8.079 | 256.683 | 8.194 | 253.4 | 1.629 | 890.242 | 54.827 | 20.4885
2020-10-31 07:15:00 | 5.614 | 258.46 | 6.445 | 259.009 | 6.882 | 265.2 | 7.287 | 261.033 | 1.439 | 890.017 | 54.773 | 23.9283
2020-10-31 07:30:00 | 5.249 | 285.227 | 6.378 | 279.103 | 6.909 | 280.833 | 7.286 | 276.8 | 1.459 | 889.758 | 54.347 | 16.8369
2020-10-31 07:45:00 | 5.409 | 269.627 | 6.608 | 265.075 | 6.864 | 268.133 | 7.269 | 263.167 | 1.66 | 889.675 | 54.453 | 17.2483
2020-10-31 08:00:00 | 5.274 | 277.4 | 6.065 | 271.166 | 6.646 | 274.667 | 7.078 | 271.033 | 1.612 | 889.892 | 54.635 | 19.3416
2020-10-31 08:15:00 | 3.403 | 300.213 | 4.279 | 292.184 | 4.82 | 292.567 | 5.287 | 288.467 | 1.379 | 890.183 | 55.04 | 16.8809
2020-10-31 08:30:00 | 5.395 | 294.08 | 6.283 | 288.416 | 6.821 | 294.067 | 7.541 | 289.333 | 1.636 | 890.1 | 56.725 | 18.6183
2020-10-31 08:45:00 | 5.846 | 285.813 | 6.51 | 280.354 | 6.828 | 284.567 | 7.283 | 282.5 | 1.479 | 889.992 | 57.701 | 32.5447
2020-10-31 09:00:00 | 5.619 | 283.16 | 6.423 | 279.622 | 6.788 | 284.167 | 7.03 | 281.3 | 1.459 | 889.667 | 58.651 | 33.6809
2020-10-31 09:15:00 | 6.722 | 277.413 | 7.416 | 270.007 | 7.842 | 272.533 | 8.182 | 269.233 | 1.479 | 890.05 | 58.944 | 36.3988
2020-10-31 09:30:00 | 6.345 | 271.707 | 7.511 | 268.978 | 7.848 | 273.533 | 8.162 | 270.633 | 1.64 | 889.65 | 58.688 | 40.8206
2020-10-31 09:45:00 | 6.239 | 277.68 | 7.075 | 271.659 | 7.516 | 274.733 | 7.694 | 270.967 | 1.379 | 889.908 | 58.752 | 35.0189
2020-10-31 10:00:00 | 6.084 | 283.453 | 6.665 | 276.062 | 7.118 | 279.8 | 7.343 | 274.4 | 1.602 | 889.75 | 58.475 | 29.5987
2020-10-31 10:15:00 | 6.742 | 278.493 | 7.272 | 273 | 7.638 | 273.667 | 7.621 | 269.933 | 2.329 | 889.742 | 56 | 26.1673
2020-10-31 10:30:00 | 7.48 | 271.82 | 8.224 | 268.279 | 8.348 | 270.133 | 8.471 | 264.217 | 2.982 | 890.025 | 53.595 | 30.1387
2020-10-31 10:45:00 | 8.2 | 275.867 | 8.728 | 271.808 | 9.104 | 275.433 | 9.071 | 271.433 | 3.204 | 889.708 | 51.835 | 40.4021
2020-10-31 11:00:00 | 8.99 | 278.733 | 9.836 | 274.617 | 10.118 | 276.5 | 10.315 | 274.933 | 3.355 | 889.775 | 50.528 | 35.9781
2020-10-31 11:15:00 | 10.106 | 274.6 | 10.837 | 269.85 | 10.995 | 272.033 | 11.091 | 268.2 | 3.388 | 890.05 | 50.741 | 26.6796
2020-10-31 11:30:00 | 9.771 | 277.08 | 10.185 | 273.161 | 10.509 | 276 | 10.638 | 271.067 | 3.791 | 889.4 | 49.712 | 26.7322
2020-10-31 11:45:00 | 9.462 | 279.92 | 9.934 | 275.45 | 10.248 | 277.467 | 10.298 | 275.3 | 3.869 | 889.983 | 49.435 | 26.6143
2020-10-31 12:00:00 | 8.96 | 289.48 | 9.53 | 285.866 | 9.868 | 289.667 | 10.078 | 288.267 | 3.675 | 889.875 | 49.04 | 23.4444
2020-10-31 12:15:00 | 9.55 | 290.107 | 10.159 | 285.314 | 10.478 | 287.467 | 10.872 | 284.533 | 4.166 | 890.033 | 48.192 | 23.1154
2020-10-31 12:30:00 | 10.894 | 286.067 | 11.457 | 279.822 | 11.43 | 282.767 | 11.58 | 281.9 | 4.785 | 890.108 | 44.549 | 22.3281
2020-10-31 12:45:00 | 9.757 | 283.4 | 10.173 | 276.995 | 10.313 | 280.267 | 10.632 | 279.033 | 4.785 | 889.975 | 42.811 | 18.6495
2020-10-31 13:00:00 | 10.034 | 288.68 | 10.621 | 281.463 | 11.076 | 284.433 | 11.355 | 282.967 | 5.154 | 889.767 | 39.205 | 18.1855
2020-10-31 13:15:00 | 9.076 | 281.28 | 9.777 | 277.951 | 9.905 | 280.367 | 10.19 | 277.067 | 5.733 | 889.567 | 36.981 | 18.2857
2020-10-31 13:30:00 | 8.671 | 289.013 | 9.221 | 280.16 | 9.561 | 284.4 | 9.798 | 282.733 | 6.28 | 889.733 | 33.915 | 18.1337
2020-10-31 13:45:00 | 10.103 | 290.733 | 10.735 | 285.076 | 10.996 | 288.533 | 11.139 | 288.667 | 6.525 | 889.517 | 31.053 | 18.4243
2020-10-31 14:00:00 | 9.11 | 293.827 | 10.066 | 287.44 | 10.351 | 291.5 | 10.775 | 292.067 | 6.234 | 889.9 | 32.371 | 18.1756
2020-10-31 14:15:00 | 10.112 | 299.88 | 10.269 | 295.163 | 10.59 | 299.433 | 10.66 | 296 | 6.446 | 889.9 | 33.027 | 18.0441
2020-10-31 14:30:00 | 9.846 | 286.68 | 10.499 | 282.073 | 10.602 | 284.533 | 10.96 | 281.467 | 6.314 | 889.667 | 35.011 | 19.3601
2020-10-31 14:45:00 | 9.293 | 292.8 | 9.784 | 287.384 | 10.07 | 291.8 | 10.067 | 289.8 | 6.79 | 889.883 | 36.795 | 19.7438
2020-10-31 15:00:00 | 8.655 | 291.507 | 9.127 | 283.871 | 9.214 | 285.233 | 9.631 | 280.6 | 6.783 | 889.867 | 36.323 | 19.8326
2020-10-31 15:15:00 | 8.717 | 283.747 | 9.38 | 278.259 | 9.696 | 280.1 | 9.95 | 277.633 | 6.893 | 889.9 | 36.864 | 19.9826
2020-10-31 15:30:00 | 8.648 | 278.24 | 9.207 | 270.267 | 9.339 | 274.9 | 9.392 | 271.7 | 6.846 | 890.017 | 36.856 | 21.295
2020-10-31 15:45:00 | 8.622 | 287.2 | 9.232 | 280.329 | 9.385 | 284 | 9.705 | 279.033 | 7.072 | 890.1 | 36.2 | 22.6138
2020-10-31 16:00:00 | 8.337 | 291.933 | 8.941 | 285.346 | 9.38 | 286.133 | 9.773 | 286.567 | 7.006 | 889.667 | 36.549 | 20.9383
2020-10-31 16:15:00 | 9.079 | 280.533 | 9.694 | 275.571 | 10.056 | 277.967 | 10.049 | 274.233 | 7.089 | 890.167 | 36.093 | 16.623
2020-10-31 16:30:00 | 8.12 | 286.387 | 8.341 | 284.075 | 8.611 | 288.567 | 8.819 | 285.667 | 7.052 | 889.8 | 37.373 | 20.8693
2020-10-31 16:45:00 | 7.347 | 295.56 | 7.566 | 286.762 | 7.709 | 288.3 | 8.213 | 286.467 | 6.913 | 890.067 | 37.509 | 32.6342
2020-10-31 17:00:00 | 7.224 | 294.787 | 7.665 | 285.885 | 8.023 | 289.367 | 8.334 | 285.7 | 6.936 | 890.05 | 36.437 | 47.1475
2020-10-31 17:15:00 | 7.473 | 289.547 | 7.789 | 289.314 | 7.909 | 290 | 8.195 | 286.1 | 6.694 | 889.767 | 35.656 | 46.8029
2020-10-31 17:30:00 | 7.728 | 284.373 | 8.614 | 274.193 | 8.959 | 277.933 | 9.348 | 274.467 | 6.85 | 889.383 | 36.056 | 53.2165
2020-10-31 17:45:00 | 7.873 | 279.64 | 8.462 | 274.821 | 8.849 | 280.933 | 9.111 | 276.133 | 6.585 | 889.9 | 36.912 | 53.6115
2020-10-31 18:00:00 | 7.077 | 285.4 | 8.078 | 280.942 | 8.544 | 284.8 | 8.868 | 282.033 | 5.895 | 889.683 | 37.571 | 44.1731
2020-10-31 18:15:00 | 7.375 | 287.587 | 8.165 | 281.894 | 8.479 | 283.6 | 8.968 | 281.7 | 6.041 | 890.067 | 38.664 | 40.8846
2020-10-31 18:30:00 | 6.952 | 288.56 | 7.434 | 284.43 | 7.868 | 289.533 | 8.212 | 287.2 | 5.488 | 889.733 | 39.52 | 38.9128
2020-10-31 18:45:00 | 5.938 | 294.253 | 7.213 | 291.558 | 7.521 | 295 | 7.796 | 291.1 | 4.948 | 889.85 | 40.584 | 34.547
2020-10-31 19:00:00 | 5.454 | 281.08 | 6.802 | 278.656 | 7.159 | 280.833 | 7.576 | 279.067 | 4.507 | 889.833 | 41.563 | 29.5553
2020-10-31 19:15:00 | 5.771 | 277.147 | 7.032 | 272.224 | 7.358 | 276.367 | 7.682 | 272.767 | 4.44 | 890.192 | 42.8 | 28.9051
2020-10-31 19:30:00 | 5.144 | 280.987 | 6.581 | 277.672 | 6.963 | 280.333 | 7.398 | 277.733 | 3.785 | 889.542 | 44.859 | 31.0056
2020-10-31 19:45:00 | 5.056 | 278.733 | 6.392 | 276.685 | 6.868 | 280.7 | 7.291 | 279.133 | 3.739 | 889.925 | 45.909 | 27.3085
2020-10-31 20:00:00 | 4.59 | 279.787 | 5.879 | 278.841 | 5.953 | 283 | 6.377 | 281.033 | 3.16 | 889.758 | 46.944 | 29.1645
2020-10-31 20:15:00 | 4.884 | 272.84 | 6.009 | 273.382 | 6.183 | 278.2 | 6.37 | 275.067 | 2.999 | 890.258 | 48.101 | 28.2578
2020-10-31 20:30:00 | 5.385 | 270.2 | 6.221 | 274.254 | 6.337 | 279.067 | 6.707 | 276.633 | 2.339 | 889.833 | 49.173 | 28.7545
2020-10-31 20:45:00 | 4.403 | 275.28 | 5.87 | 272.095 | 6.42 | 278.667 | 6.94 | 277.133 | 2.392 | 889.767 | 50.085 | 26.0238
2020-10-31 21:00:00 | 5.676 | 267.513 | 7.583 | 264.639 | 8.06 | 271.767 | 8.302 | 268.967 | 2.385 | 889.983 | 51.429 | 34.6259
2020-10-31 21:15:00 | 6.709 | 267.627 | 8.194 | 267.664 | 8.809 | 273.6 | 9.1 | 271.7 | 2.659 | 890.292 | 51.104 | 39.9807
2020-10-31 21:30:00 | 5.898 | 263.187 | 7.218 | 263.831 | 7.535 | 270.6 | 7.804 | 268.367 | 2.56 | 889.817 | 52.139 | 41.6413
2020-10-31 21:45:00 | 5.606 | 259.027 | 6.896 | 260.034 | 7.282 | 268.3 | 7.568 | 264.567 | 1.66 | 889.725 | 54.363 | 40.5563
2020-10-31 22:00:00 | 6.27 | 256.073 | 7.742 | 260.674 | 8.172 | 266.533 | 8.496 | 265 | 1.718 | 889.767 | 55.365 | 43.8022
2020-10-31 22:15:00 | 6.755 | 250.447 | 8.068 | 257.237 | 8.568 | 264.533 | 8.709 | 262.333 | 1.139 | 890.117 | 57.339 | 40.0319
2020-10-31 22:30:00 | 6.619 | 249.947 | 7.886 | 256.727 | 8.162 | 262.267 | 8.366 | 260.333 | 1.032 | 889.817 | 57.963 | 31.8796
2020-10-31 22:45:00 | 6.299 | 251.093 | 7.317 | 257.949 | 7.695 | 266.133 | 8.009 | 264.733 | 0.598 | 889.883 | 58.667 | 32.5496
2020-10-31 23:00:00 | 5.753 | 244.32 | 5.88 | 249.918 | 5.816 | 259.433 | 5.968 | 258.717 | -0.242 | 890.083 | 60.896 | 27.8137
2020-10-31 23:15:00 | 5.576 | 236.233 | 6.832 | 242.39 | 6.632 | 250.833 | 6.245 | 248.833 | -0.296 | 889.508 | 62.059 | 26.3862
2020-10-31 23:30:00 | 5.873 | 230.287 | 7.037 | 241.135 | 7.012 | 250.3 | 6.745 | 248.55 | -1.065 | 889.8 | 62.283 | 25.7858
2020-10-31 23:45:00 | 5.353 | 228.84 | 6.827 | 240.444 | 7.077 | 248.4 | 7.095 | 244.167 | -1.082 | 889.733 | 63.061 | 26.2981