## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-01 00:00:00 | 4.706 | 235.313 | 6.58 | 244.316 | 7.052 | 252.3 | 7.018 | 249.317 | -1.115 | 889.85 | 62.784 | 30.6865
2020-11-01 00:15:00 | 4.023 | 237.307 | 5.923 | 246.306 | 6.245 | 255.967 | 6.379 | 254.667 | -0.815 | 890.158 | 63.104 | 28.1811
2020-11-01 00:30:00 | 5.125 | 228.007 | 6.115 | 239.836 | 6.194 | 249.4 | 6.268 | 246.967 | -1.396 | 890 | 63.2 | 26.0501
2020-11-01 00:45:00 | 5.406 | 230.767 | 5.94 | 239.491 | 6.092 | 247.6 | 6.255 | 247.6 | -1.6 | 889.392 | 64.448 | 21.6268
2020-11-01 01:00:00 | 5.166 | 231.953 | 6.556 | 244.778 | 6.744 | 253.433 | 6.938 | 253.533 | -1.866 | 889.675 | 65.301 | 20.6903
2020-11-01 01:15:00 | 5.12 | 226.427 | 6.247 | 243.115 | 6.404 | 254.3 | 6.601 | 253.383 | -1.802 | 889.45 | 66.432 | 17.9724
2020-11-01 01:30:00 | 5.579 | 225.353 | 5.653 | 242.005 | 5.572 | 254.967 | 6.068 | 256.317 | -2.131 | 890.075 | 67.189 | 14.2284
2020-11-01 01:45:00 | 5.562 | 222.693 | 5.213 | 234.047 | 5.069 | 250.8 | 5.337 | 254.217 | -2.263 | 890.433 | 67.659 | 11.4288
2020-11-01 02:00:00 | 5.556 | 225.687 | 5.206 | 236.69 | 4.917 | 254.533 | 5.164 | 259.183 | -1.835 | 889.7 | 68.651 | 9.8712
2020-11-01 02:15:00 | 5.616 | 223.833 | 5.728 | 231.252 | 5.191 | 239.233 | 4.707 | 245.8 | -1.882 | 889.375 | 69.355 | 10.8624
2020-11-01 02:30:00 | 5.547 | 223.067 | 5.697 | 229.162 | 5.182 | 234.6 | 4.617 | 234.3 | -2.008 | 889.717 | 69.451 | 11.1786
2020-11-01 02:45:00 | 5.621 | 226.34 | 5.272 | 233.668 | 4.79 | 242.4 | 4.407 | 244.133 | -2.032 | 890.108 | 70.027 | 10.9946
2020-11-01 03:00:00 | 5.435 | 227.187 | 5.011 | 237.069 | 4.666 | 245.767 | 4.652 | 247.167 | -2.319 | 889.458 | 70.475 | 10.4453
2020-11-01 03:15:00 | 5.261 | 223.487 | 4.813 | 236.585 | 4.686 | 244.633 | 4.646 | 244.4 | -2.311 | 889.783 | 71.115 | 10.6997
2020-11-01 03:30:00 | 5.66 | 220.053 | 5.662 | 233.05 | 5.389 | 240.7 | 5.126 | 236.333 | -2.679 | 889.733 | 71.029 | 14.3065
2020-11-01 03:45:00 | 5.984 | 216.92 | 6.244 | 229.921 | 5.925 | 241 | 5.96 | 237.8 | -2.781 | 889.892 | 71.627 | 19.51
2020-11-01 04:00:00 | 6.319 | 219.587 | 7.316 | 228.787 | 7.16 | 237.867 | 6.832 | 236.133 | -2.916 | 889.775 | 70.997 | 24.5877
2020-11-01 04:15:00 | 6.5 | 222.967 | 7.842 | 230.705 | 7.707 | 240.4 | 7.573 | 237.367 | -3.137 | 890.167 | 68.928 | 29.1204
2020-11-01 04:30:00 | 6.334 | 222.84 | 7.706 | 232.646 | 7.597 | 240.933 | 7.472 | 237.567 | -2.963 | 889.942 | 67.499 | 31.584
2020-11-01 04:45:00 | 5.888 | 224.447 | 7.651 | 231.994 | 7.495 | 239.667 | 7.395 | 236.467 | -2.724 | 889.658 | 66.443 | 33.3639
2020-11-01 05:00:00 | 5.912 | 219.22 | 7.41 | 229.709 | 7.471 | 237.967 | 7.398 | 235.5 | -2.679 | 889.842 | 65.493 | 32.4061
2020-11-01 05:15:00 | 6.36 | 218.667 | 7.198 | 226.342 | 7.54 | 235.333 | 7.38 | 232.267 | -3.102 | 890.267 | 65.483 | 32.0771
2020-11-01 05:30:00 | 5.992 | 216.687 | 6.83 | 221.331 | 6.841 | 231.2 | 6.645 | 231.2 | -2.982 | 889.633 | 66.059 | 25.191
2020-11-01 05:45:00 | 5.965 | 220.387 | 6.692 | 229.463 | 6.562 | 239.6 | 6.403 | 237.433 | -2.77 | 889.608 | 65.995 | 25.0766
2020-11-01 06:00:00 | 5.318 | 222.527 | 6.949 | 228.423 | 6.916 | 239.433 | 6.656 | 236.233 | -2.74 | 890.258 | 66.357 | 22.908
2020-11-01 06:15:00 | 5.563 | 226.613 | 7.291 | 230.892 | 7.04 | 238.767 | 6.767 | 236.733 | -2.72 | 890.425 | 66.475 | 21.0804
2020-11-01 06:30:00 | 5.393 | 221.693 | 6.59 | 233.1 | 6.515 | 241.867 | 6.557 | 239.167 | -2.84 | 889.675 | 66.283 | 19.1107
2020-11-01 06:45:00 | 5.92 | 222.933 | 6.634 | 231.657 | 6.043 | 238.567 | 6.116 | 235.5 | -3.237 | 889.917 | 67.317 | 15.8719
2020-11-01 07:00:00 | 6.013 | 227.033 | 6.203 | 236.329 | 5.971 | 244.833 | 5.843 | 241.033 | -3.404 | 889.675 | 66.048 | 13.2961
2020-11-01 07:15:00 | 5.784 | 226.133 | 5.819 | 237.61 | 5.668 | 244.7 | 5.466 | 239.633 | -3.337 | 889.733 | 65.589 | 11.8096
2020-11-01 07:30:00 | 5.368 | 232.8 | 6.143 | 242.052 | 5.766 | 248.467 | 5.376 | 243 | -3.606 | 889.925 | 65.728 | 9.4107
2020-11-01 07:45:00 | 5.148 | 233.867 | 5.968 | 240.927 | 5.675 | 246.6 | 5.42 | 241.033 | -3.555 | 890.083 | 65.056 | 9.906
2020-11-01 08:00:00 | 5.537 | 234.233 | 6.094 | 238.508 | 5.744 | 245.6 | 5.379 | 240.6 | -3.739 | 889.692 | 63.616 | 10.4176
2020-11-01 08:15:00 | 5.213 | 230.667 | 5.76 | 237.527 | 5.49 | 244.8 | 5.137 | 240.067 | -3.287 | 889.617 | 62.123 | 8.988
2020-11-01 08:30:00 | 4.713 | 226.233 | 5.869 | 232.134 | 5.342 | 239.7 | 4.791 | 236 | -3.187 | 890.625 | 60.512 | 8.5169
2020-11-01 08:45:00 | 6.412 | 223.353 | 6.41 | 228.353 | 6.077 | 233.433 | 5.507 | 229.133 | -2.999 | 889.908 | 56.917 | 10.0446
2020-11-01 09:00:00 | 5.537 | 225.093 | 6.32 | 231.458 | 5.664 | 239.233 | 4.989 | 235.833 | -2.541 | 889.708 | 54.315 | 8.7869
2020-11-01 09:15:00 | 4.646 | 235.667 | 5.042 | 228.462 | 4.695 | 240.5 | 4.484 | 241.867 | -1.216 | 889.617 | 48.053 | 5.4365
2020-11-01 09:30:00 | 4.281 | 235.773 | 4.323 | 228.154 | 3.832 | 234.167 | 3.624 | 237.133 | 0.2 | 889.833 | 41.451 | 2.5282
2020-11-01 09:45:00 | 2.641 | 238.627 | 3.233 | 241.977 | 3.355 | 246.633 | 3.344 | 238.733 | 1.342 | 889.3 | 37.461 | 0.8541
2020-11-01 10:00:00 | 2.484 | 249.267 | 3.11 | 249.38 | 3.642 | 254.833 | 3.666 | 251.333 | 2.936 | 889.75 | 32.944 | 0.58906
2020-11-01 10:15:00 | 2.601 | 262.233 | 2.77 | 259.096 | 2.962 | 264.133 | 2.837 | 264.7 | 4.353 | 889.633 | 29.603 | 0.23662
2020-11-01 10:30:00 | 2.072 | 284.987 | 1.624 | 283.952 | 1.638 | 283.3 | 1.848 | 267.867 | 4.766 | 889.633 | 32.917 | 0.20535
2020-11-01 10:45:00 | 1.556 | 298.827 | 1.02 | 291.08 | 1.084 | 280.367 | 1.637 | 275.9 | 4.825 | 889.517 | 33.24 | 0.26433
2020-11-01 11:00:00 | 1.941 | 285.253 | 1.782 | 277.66 | 1.897 | 275.267 | 2.077 | 264.583 | 4.769 | 889.617 | 30.301 | 0.25296
2020-11-01 11:15:00 | 1.262 | 268.38 | 0.64 | 281.362 | 0.86 | 288.367 | 1.292 | 279.967 | 5.713 | 889.65 | 28.016 | 0.25154
2020-11-01 11:30:00 | 1.243 | 300.06 | 0.883 | 296.294 | 0.859 | 284.833 | 1.192 | 297.867 | 6.253 | 889.717 | 26.104 | 0.26291
2020-11-01 11:45:00 | 2.375 | 336.267 | 2.68 | 331.352 | 2.538 | 322.6 | 2.601 | 329.7 | 5.928 | 889.817 | 28.768 | 0.18404
2020-11-01 12:00:00 | 2.405 | 326.96 | 2.568 | 327.407 | 2.557 | 321.9 | 2.771 | 334.1 | 5.885 | 889.05 | 29.805 | 0.8676
2020-11-01 12:15:00 | 4.031 | 199.654 | 4.242 | 279.184 | 4.108 | 233.6 | 4.086 | 233.433 | 5.712 | 890.133 | 32.093 | 2.4614
2020-11-01 12:30:00 | 2.797 | 285.49 | 2.619 | 294.631 | 2.75 | 292.267 | 3.147 | 289.233 | 5.935 | 890 | 30.544 | 2.9176
2020-11-01 12:45:00 | 2.505 | 26.332 | 2.521 | 62.394 | 2.613 | 108.133 | 2.769 | 130.333 | 6.314 | 889.833 | 31.744 | 1.672
2020-11-01 13:00:00 | 3.113 | 98.019 | 3.168 | 153.014 | 3.006 | 119.5 | 3.228 | 128.2 | 6.406 | 889.783 | 30.987 | 0.39863
2020-11-01 13:15:00 | 2.244 | 89.635 | 2.236 | 174.116 | 2.236 | 139.133 | 2.656 | 221.633 | 6.972 | 889.233 | 29.235 | 0.12577
2020-11-01 13:30:00 | 2.03 | 118.476 | 1.964 | 134.624 | 1.949 | 46.003 | 2.186 | 44.001 | 7.539 | 889.6 | 28.211 | 0.23449
2020-11-01 13:45:00 | 1.862 | 124.116 | 1.473 | 58.359 | 1.69 | 23.643 | 1.579 | 20.967 | 7.609 | 889.733 | 28.133 | 0.21885
2020-11-01 14:00:00 | 3.024 | 39.009 | 2.723 | 103.417 | 2.688 | 117.9 | 2.987 | 44.834 | 7.576 | 889.25 | 27.909 | 0.14211
2020-11-01 14:15:00 | 1.423 | 14.048 | 1.047 | 24.675 | 1.002 | 33.267 | 1.736 | 29.9 | 7.75 | 889.8 | 26.909 | 0.2352
2020-11-01 14:30:00 | 1.999 | 93.797 | 1.617 | 83.889 | 1.59 | 66.267 | 2.096 | 50.933 | 7.519 | 889.65 | 26.581 | 0.19185
2020-11-01 14:45:00 | 1.489 | 128.984 | 1.618 | 82.284 | 1.861 | 43.208 | 2.293 | 53.8 | 7.816 | 889.717 | 27.728 | 0.1748
2020-11-01 15:00:00 | 1.873 | 69.875 | 1.674 | 66.865 | 1.923 | 42.233 | 2.314 | 24.7 | 7.95 | 889.833 | 28.395 | 0.22099
2020-11-01 15:15:00 | 2.872 | 46.385 | 2.694 | 23.414 | 2.852 | 19.434 | 2.98 | 18.7 | 7.9 | 890.183 | 29.408 | 0.98484
2020-11-01 15:30:00 | 3.26 | 59.741 | 3.174 | 57.695 | 3.38 | 65.333 | 3.52 | 58.967 | 7.769 | 889.317 | 29.813 | 2.3726
2020-11-01 15:45:00 | 3.313 | 74.832 | 3.427 | 69.997 | 3.717 | 75.533 | 3.816 | 75.4 | 7.489 | 889.567 | 31.2 | 2.7748
2020-11-01 16:00:00 | 3.092 | 52.58 | 2.958 | 49.952 | 3.034 | 57.067 | 3.34 | 54 | 7.422 | 889.467 | 31.013 | 2.1779
2020-11-01 16:15:00 | 2.664 | 53.837 | 2.66 | 56.926 | 2.88 | 66.633 | 3.127 | 59.533 | 7.456 | 889.967 | 30.816 | 0.80223
2020-11-01 16:30:00 | 2.254 | 69.442 | 2.171 | 68.765 | 2.567 | 78.233 | 2.921 | 76.833 | 7.573 | 889.95 | 30.843 | 0.12648
2020-11-01 16:45:00 | 2.475 | 49.778 | 2.16 | 51.46 | 2.266 | 54.1 | 2.48 | 63.367 | 7.562 | 889.733 | 30.875 | 0.17622
2020-11-01 17:00:00 | 1.9 | 82.887 | 1.636 | 68.56 | 1.907 | 77.633 | 2.39 | 76.233 | 7.519 | 889.75 | 30.757 | 0.21317
2020-11-01 17:15:00 | 1.977 | 119.147 | 1.73 | 104.21 | 1.916 | 107.633 | 2.16 | 100.333 | 7.653 | 889.6 | 31.147 | 0.16059
2020-11-01 17:30:00 | 2.363 | 82.033 | 2.16 | 79.525 | 1.94 | 86.967 | 2.243 | 79.9 | 7.406 | 889.833 | 31.952 | 0.078162
2020-11-01 17:45:00 | 2.865 | 80.995 | 2.632 | 77.481 | 2.634 | 86.1 | 2.69 | 82.667 | 7.006 | 889.45 | 32.581 | 0.25296
2020-11-01 18:00:00 | 2.683 | 92.167 | 2.347 | 86.342 | 2.3 | 89.367 | 2.539 | 84.267 | 7.039 | 889.583 | 33.243 | 0.78447
2020-11-01 18:15:00 | 2.734 | 75.687 | 2.801 | 76.41 | 2.738 | 82.7 | 2.95 | 81.167 | 6.678 | 889.467 | 33.328 | 0.98058
2020-11-01 18:30:00 | 2.952 | 81.263 | 2.804 | 76.816 | 2.864 | 83.8 | 2.965 | 81.833 | 6.356 | 889.883 | 33.835 | 1.4353
2020-11-01 18:45:00 | 2.51 | 89.357 | 2.491 | 83.826 | 2.411 | 88.967 | 2.346 | 81.833 | 6.184 | 889.683 | 33.707 | 1.6641
2020-11-01 19:00:00 | 2.98 | 89.07 | 3.08 | 82.115 | 2.99 | 87.367 | 3.095 | 82.333 | 5.6 | 889.817 | 33.893 | 1.4673
2020-11-01 19:15:00 | 2.343 | 98.527 | 2.056 | 96.721 | 1.7 | 93.033 | 1.997 | 90.3 | 5.458 | 889.917 | 35.077 | 1.316
2020-11-01 19:30:00 | 2.377 | 103.927 | 2.244 | 91.865 | 1.753 | 94.933 | 1.94 | 87.867 | 5.094 | 889.917 | 36.779 | 1.4709
2020-11-01 19:45:00 | 2.658 | 113.507 | 2.01 | 97.154 | 1.601 | 103.733 | 1.962 | 91.133 | 4.958 | 889.783 | 37.728 | 1.0907
2020-11-01 20:00:00 | 2.223 | 131.07 | 3.083 | 105.106 | 3.001 | 108.533 | 3.122 | 103.333 | 3.892 | 889.533 | 38.757 | 1.586
2020-11-01 20:15:00 | 2.182 | 136.533 | 2.666 | 103.662 | 2.317 | 105.833 | 2.599 | 102 | 3.773 | 890.092 | 40.576 | 1.4375
2020-11-01 20:30:00 | 2.374 | 144.367 | 2.787 | 108.003 | 2.838 | 110.7 | 3.031 | 103.767 | 3.422 | 889.992 | 41.888 | 1.6911
2020-11-01 20:45:00 | 2.128 | 150.633 | 2.778 | 105.249 | 2.849 | 106.4 | 2.951 | 102.767 | 3.121 | 889.65 | 42.933 | 1.9192
2020-11-01 21:00:00 | 1.948 | 142.9 | 2.278 | 102.768 | 1.656 | 96.767 | 1.962 | 97.367 | 3.338 | 889.958 | 43.04 | 1.7686
2020-11-01 21:15:00 | 2.31 | 148.9 | 2.702 | 111.227 | 2.374 | 104.9 | 2.699 | 104.033 | 3.237 | 890.2 | 43.339 | 1.3238
2020-11-01 21:30:00 | 2.709 | 162.4 | 2.484 | 134.395 | 2.505 | 135.933 | 3.006 | 130.7 | 3.622 | 889.6 | 43.125 | 3.68
2020-11-01 21:45:00 | 3.519 | 187.12 | 2.799 | 153.117 | 3.132 | 149.5 | 3.906 | 142.9 | 2.589 | 889.6 | 43.744 | 5.3719
2020-11-01 22:00:00 | 3.909 | 192.053 | 2.919 | 159.617 | 2.734 | 155.367 | 3.379 | 146.967 | 1.219 | 889.825 | 46.144 | 4.9512
2020-11-01 22:15:00 | 3.619 | 195.187 | 2.573 | 153.217 | 2.314 | 143.367 | 2.495 | 128.6 | 1.463 | 889.767 | 47.019 | 3.6871
2020-11-01 22:30:00 | 3.779 | 202.3 | 2.189 | 153.378 | 2.035 | 139.4 | 2.913 | 123.2 | 1.656 | 889.775 | 45.952 | 2.0351
2020-11-01 22:45:00 | 4.471 | 203.867 | 2.511 | 161.721 | 2.012 | 148.3 | 2.468 | 128.1 | 1.239 | 890.133 | 46.965 | 0.70559
2020-11-01 23:00:00 | 3.897 | 199.653 | 2.078 | 158.151 | 1.736 | 141.367 | 2.181 | 128.3 | 1.735 | 889.758 | 46.699 | 0.17906
2020-11-01 23:15:00 | 4.296 | 204.9 | 2.036 | 165.694 | 2.154 | 149.767 | 2.55 | 130 | 1.669 | 889.933 | 45.92 | 0.29346
2020-11-01 23:30:00 | 4.307 | 213.46 | 1.665 | 166.954 | 1.677 | 147.267 | 2.269 | 122.567 | 0.965 | 890.075 | 46.677 | 0.34036
2020-11-01 23:45:00 | 3.938 | 214.093 | 1.177 | 152.232 | 1.243 | 117.933 | 2.08 | 102.567 | 1.443 | 889.617 | 46.816 | 0.3027